## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-02 00:00:00 | 3.071 | 213.38 | 0.027 | 156.594 | 0.79 | 98.9 | 2.129 | 84.467 | 2.269 | 890.533 | 46.005 | 0.25722
2020-11-02 00:15:00 | 2.447 | 205.793 | 0.353 | 122.453 | 0.866 | 91.833 | 1.679 | 72 | 2.278 | 889.483 | 44.288 | 0.25154
2020-11-02 00:30:00 | 1.614 | 195.013 | 1.236 | 110.138 | 1.703 | 102.867 | 2.096 | 76.133 | 2.089 | 889.492 | 44.331 | 0.25225
2020-11-02 00:45:00 | 1.824 | 194.027 | 0.524 | 111.354 | 1.748 | 101.667 | 2.634 | 99.7 | 2.18 | 890.033 | 44.704 | 0.26149
2020-11-02 01:00:00 | 2.25 | 178.487 | 1.687 | 110.075 | 2.29 | 101.867 | 2.67 | 100 | 2.062 | 889.533 | 44.437 | 0.21601
2020-11-02 01:15:00 | 2.293 | 190.02 | 0.71 | 127.961 | 1.819 | 104.133 | 2.44 | 100.067 | 1.874 | 889.825 | 44.149 | 0.2352
2020-11-02 01:30:00 | 1.856 | 180.753 | 1.006 | 111.225 | 1.432 | 106 | 1.76 | 100 | 1.835 | 889.55 | 44.469 | 0.27215
2020-11-02 01:45:00 | 1.938 | 202.573 | 0.958 | 111.258 | 1.178 | 106 | 1.681 | 100 | 1.662 | 889.958 | 44.085 | 0.25296
2020-11-02 02:00:00 | 2.222 | 208.947 | 0.193 | 144.522 | 0.053 | 106 | 2.129 | 108.267 | 1.76 | 890.117 | 43.893 | 0.26859
2020-11-02 02:15:00 | 1.378 | 197.573 | 0.157 | 144.589 | 0.936 | 112.933 | 2.244 | 100 | 2.032 | 890.158 | 43.221 | 0.25865
2020-11-02 02:30:00 | 2.333 | 215.793 | 0.033 | 137.511 | 1.084 | 126.333 | 1.859 | 100 | 1.915 | 889.808 | 42.464 | 0.26433
2020-11-02 02:45:00 | 1.712 | 218.46 | 0 | 130.216 | 0.554 | 101.267 | 2.2 | 87.033 | 1.872 | 889.95 | 42.325 | 0.27854
2020-11-02 03:00:00 | 1.434 | 141.993 | 2.272 | 96.259 | 2.866 | 93.633 | 3.614 | 83.067 | 1.833 | 889.917 | 43.136 | 0.20322
2020-11-02 03:15:00 | 1.394 | 110.05 | 2.517 | 83.911 | 3.023 | 86.667 | 3.693 | 80.733 | 1.539 | 889.692 | 43.445 | 0.4235
2020-11-02 03:30:00 | 1.084 | 193.587 | 0.174 | 100.284 | 1.444 | 105.2 | 1.636 | 84.733 | 0.033 | 890.408 | 44.747 | 0.73117
2020-11-02 03:45:00 | 1.698 | 217.633 | 0 | 128.555 | 1.014 | 107.333 | 2.003 | 88.5 | 0.299 | 889.8 | 45.205 | 0.2153
2020-11-02 04:00:00 | 1.982 | 228.14 | 0 | 128.626 | 0.927 | 106.633 | 2.1 | 91.1 | 0.915 | 889.992 | 43.979 | 0.11724
2020-11-02 04:15:00 | 2.346 | 241.987 | 0 | 115.88 | 1.083 | 102.467 | 2.61 | 85.833 | 0.915 | 889.867 | 42.123 | 0.34818
2020-11-02 04:30:00 | 2.318 | 236.307 | 0 | 206.399 | 0.153 | 129.567 | 1.956 | 98.467 | 0.765 | 889.367 | 43.541 | 1.149
2020-11-02 04:45:00 | 1.644 | 234.273 | 0 | 203.447 | 0.023 | 140.333 | 1.444 | 99.067 | 1.129 | 889.667 | 40.747 | 0.1947
2020-11-02 05:00:00 | 0.918 | 214.533 | 0 | 156.667 | 1.022 | 96 | 1.838 | 95.5 | 1.042 | 890.017 | 40.128 | 0.19114
2020-11-02 05:15:00 | 1.947 | 248.087 | 0 | 79.076 | 0.654 | 66.567 | 2.167 | 74.633 | 0.998 | 889.617 | 40.261 | 0.16983
2020-11-02 05:30:00 | 1.827 | 254.147 | 0 | 26.175 | 1.396 | 51.242 | 2.764 | 65.333 | 0.549 | 889.933 | 40.379 | 0.28991
2020-11-02 05:45:00 | 1.533 | 256.86 | 0.167 | 0 | 0.613 | 63.254 | 2.493 | 64.533 | 0.432 | 890 | 40.896 | 0.12861
2020-11-02 06:00:00 | 0.858 | 226.247 | 0 | 60.953 | 0.21 | 80.967 | 2.338 | 83.167 | 0.549 | 889.633 | 40.795 | 0.08811
2020-11-02 06:15:00 | 2.382 | 239.673 | 0 | 110.306 | 0 | 93.933 | 1.26 | 71.267 | 0.499 | 889.783 | 40.704 | 0.13643
2020-11-02 06:30:00 | 1.605 | 240.14 | 0.199 | 222.91 | 0 | 188 | 0 | 62.967 | 0.316 | 889.458 | 40.997 | 0.25083
2020-11-02 06:45:00 | 2.381 | 258.687 | 0.758 | 246.752 | 0 | 204.617 | 0 | 62.9 | 0.548 | 889.867 | 41.008 | 0.27854
2020-11-02 07:00:00 | 2.404 | 238.233 | 0 | 275.021 | 0 | 194.567 | 1.266 | 74.9 | -0.216 | 889.7 | 41.397 | 0.26575
2020-11-02 07:15:00 | 2.979 | 235 | 1.007 | 259.938 | 0 | 178.433 | 0 | 75 | 0.249 | 889.933 | 41.152 | 0.27002
2020-11-02 07:30:00 | 3.019 | 243.367 | 0.948 | 244.496 | 0 | 247.083 | 0 | 212.967 | -0.043 | 889.983 | 40.843 | 0.26859
2020-11-02 07:45:00 | 3.454 | 229.3 | 0.203 | 256.229 | 0 | 251.033 | 0 | 213.1 | -0.376 | 889.567 | 40.557 | 0.26433
2020-11-02 08:00:00 | 3.465 | 227.267 | 0.785 | 231.449 | 0 | 251 | 0.027 | 213 | -0.093 | 889.983 | 39.077 | 0.27002
2020-11-02 08:15:00 | 3.419 | 235.76 | 0 | 254.438 | 0 | 251 | 0.054 | 109 | -0.422 | 889.667 | 39.253 | 0.26433
2020-11-02 08:30:00 | 2.438 | 235.587 | 0 | 254.519 | 0 | 251 | 1.132 | 65.033 | 0.033 | 890.05 | 39.035 | 0.26717
2020-11-02 08:45:00 | 2.824 | 237.2 | 0 | 254.491 | 0 | 251 | 0.605 | 65 | 0.399 | 889.333 | 38.117 | 0.28423
2020-11-02 09:00:00 | 1.624 | 222.627 | 0 | 231.383 | 0.21 | 58.867 | 1.892 | 66.067 | 0.748 | 889.483 | 37.888 | 0.27854
2020-11-02 09:15:00 | 1.601 | 218.867 | 0 | 231.517 | 0 | 59.067 | 2.069 | 72.767 | 1.048 | 889.6 | 37.488 | 0.28565
2020-11-02 09:30:00 | 1.731 | 217.353 | 0 | 117.261 | 0 | 86.067 | 2.108 | 90.167 | 2.409 | 889.967 | 34.981 | 0.25865
2020-11-02 09:45:00 | 0.858 | 209.1 | 0.234 | 115.98 | 1.961 | 98.5 | 3.068 | 95.467 | 3.488 | 889.767 | 33.595 | 0.24444
2020-11-02 10:00:00 | 1.109 | 198.633 | 1.241 | 107.594 | 2.544 | 104.633 | 3.531 | 96.6 | 4.107 | 890.233 | 32.885 | 0.11653
2020-11-02 10:15:00 | 0.349 | 114 | 0.107 | 100.081 | 0.372 | 80.433 | 1.562 | 85.233 | 3.874 | 889.683 | 32.885 | 1.0971
2020-11-02 10:30:00 | 2.709 | 70.607 | 2.681 | 64.192 | 2.702 | 70.933 | 3.131 | 69.667 | 4.285 | 889.85 | 33.728 | 0.56561
2020-11-02 10:45:00 | 3.306 | 91.083 | 3.012 | 86.711 | 2.583 | 90.633 | 3.107 | 87.6 | 4.305 | 889.7 | 33.211 | 1.4567
2020-11-02 11:00:00 | 3.05 | 91.21 | 2.966 | 90.237 | 2.913 | 99.333 | 3.049 | 91.767 | 4.332 | 889.683 | 31.829 | 2.0422
2020-11-02 11:15:00 | 3.061 | 103.767 | 2.703 | 96.642 | 2.612 | 101.433 | 2.93 | 96.167 | 4.602 | 889.617 | 30.608 | 1.8176
2020-11-02 11:30:00 | 3.07 | 98.963 | 2.885 | 97.525 | 2.915 | 100.133 | 3.278 | 99.733 | 5.478 | 889.817 | 28.091 | 1.4723
2020-11-02 11:45:00 | 4.752 | 86.12 | 4.42 | 83.44 | 4.542 | 87.033 | 4.564 | 82.433 | 6.23 | 889.95 | 27.968 | 4.1277
2020-11-02 12:00:00 | 4.877 | 93.267 | 4.803 | 90.332 | 4.494 | 90.7 | 4.407 | 85.5 | 5.945 | 889.8 | 29.845 | 11.1758
2020-11-02 12:15:00 | 5.032 | 91.813 | 4.616 | 85.579 | 4.785 | 91.567 | 5.515 | 85.367 | 6.294 | 889.383 | 30.16 | 11.4828
2020-11-02 12:30:00 | 5.614 | 80.988 | 5.506 | 78.11 | 5.78 | 80.5 | 5.844 | 76.433 | 6.621 | 889.75 | 31.675 | 14.4089
2020-11-02 12:45:00 | 5.874 | 78.597 | 5.713 | 74.595 | 6.048 | 80.6 | 6.406 | 75.567 | 6.396 | 889.583 | 32.523 | 17.5311
2020-11-02 13:00:00 | 4.764 | 83.41 | 4.743 | 78.424 | 4.836 | 78.333 | 5.201 | 73.967 | 6.291 | 889.817 | 32.667 | 17.475
2020-11-02 13:15:00 | 5.826 | 94.017 | 5.198 | 87.84 | 4.576 | 96.9 | 4.925 | 91.067 | 6.807 | 889.85 | 31.397 | 19.6187
2020-11-02 13:30:00 | 5.902 | 69.622 | 5.756 | 64.96 | 6.095 | 70.633 | 6.436 | 66.633 | 7.072 | 889.933 | 30.677 | 16.8902
2020-11-02 13:45:00 | 5.789 | 72.373 | 5.184 | 67.493 | 5.588 | 72.667 | 6.048 | 66.633 | 7.272 | 889.917 | 30 | 17.1865
2020-11-02 14:00:00 | 5.227 | 69.012 | 5.317 | 64.426 | 5.76 | 69.2 | 5.983 | 64.367 | 7.272 | 889.75 | 29.179 | 17.2312
2020-11-02 14:15:00 | 6.118 | 70.665 | 6.224 | 66.656 | 6.678 | 68.3 | 6.556 | 63.833 | 7.556 | 889.85 | 27.36 | 17.6391
2020-11-02 14:30:00 | 5.769 | 83.462 | 5.338 | 77.039 | 5.918 | 79.633 | 6.165 | 76.567 | 7.456 | 889.617 | 27.019 | 17.7812
2020-11-02 14:45:00 | 5.44 | 69.187 | 5.368 | 64.058 | 5.764 | 68.333 | 5.991 | 65.4 | 7.856 | 890.433 | 26.155 | 17.9269
2020-11-02 15:00:00 | 5.409 | 73.928 | 5.4 | 68.832 | 5.997 | 71.767 | 6.08 | 68.967 | 8.116 | 889.65 | 26.128 | 17.3059
2020-11-02 15:15:00 | 5.464 | 63.63 | 5.086 | 56.465 | 5.453 | 64.133 | 5.245 | 61.533 | 8.05 | 889.217 | 25.968 | 16.2563
2020-11-02 15:30:00 | 5.535 | 63.697 | 5.114 | 55.729 | 5.555 | 62.433 | 5.726 | 61.667 | 7.556 | 889.533 | 25.877 | 13.9079
2020-11-02 15:45:00 | 5.268 | 69.522 | 5.008 | 65.987 | 5.286 | 72.767 | 5.512 | 69.467 | 7.572 | 889.867 | 26.149 | 11.8046
2020-11-02 16:00:00 | 4.747 | 72.74 | 4.371 | 67.719 | 4.603 | 69.133 | 4.675 | 64.033 | 7.893 | 889.717 | 25.957 | 11.1872
2020-11-02 16:15:00 | 4.996 | 60.779 | 4.435 | 57.501 | 4.763 | 65.567 | 4.708 | 62.233 | 7.722 | 889.717 | 25.509 | 9.9188
2020-11-02 16:30:00 | 4.31 | 77.03 | 3.924 | 70.785 | 4.033 | 74.067 | 4.436 | 69.533 | 8.14 | 889.85 | 25.419 | 9.2232
2020-11-02 16:45:00 | 4.47 | 76.023 | 4.416 | 74.706 | 4.74 | 79.567 | 4.882 | 76.667 | 7.522 | 889.667 | 25.872 | 7.5768
2020-11-02 17:00:00 | 3.535 | 83.012 | 3.258 | 76.48 | 3.519 | 80.133 | 3.89 | 76.833 | 7.756 | 889.967 | 26.128 | 4.8269
2020-11-02 17:15:00 | 3.556 | 75.217 | 3.523 | 69.546 | 3.674 | 75.933 | 3.829 | 73.3 | 7.512 | 890 | 26.955 | 4.4815
2020-11-02 17:30:00 | 2.797 | 60.782 | 2.729 | 56.598 | 2.708 | 61.267 | 2.962 | 56.667 | 7.456 | 889.467 | 27.147 | 3.3546
2020-11-02 17:45:00 | 2.976 | 71.508 | 2.665 | 64.14 | 2.714 | 68.933 | 2.779 | 62 | 7.322 | 889.65 | 27.92 | 2.1608
2020-11-02 18:00:00 | 2.094 | 60.447 | 1.904 | 55.88 | 2.041 | 57.5 | 2.277 | 59.467 | 7.122 | 889.85 | 28.784 | 0.68854
2020-11-02 18:15:00 | 2.364 | 74.023 | 2.269 | 72.217 | 2.428 | 79 | 2.632 | 73.2 | 6.582 | 890.2 | 29.584 | 0.15846
2020-11-02 18:30:00 | 2.365 | 72.757 | 2.065 | 71.538 | 2.269 | 73.633 | 2.567 | 71.833 | 6.632 | 889.7 | 30.608 | 0.21388
2020-11-02 18:45:00 | 2.519 | 68.24 | 2.468 | 65.554 | 2.563 | 64.033 | 2.879 | 70.9 | 6.383 | 889.267 | 31.312 | 0.18404
2020-11-02 19:00:00 | 0.176 | 56.06 | 1.904 | 54.103 | 2.139 | 62 | 2.313 | 65.1 | 5.037 | 889.833 | 31.531 | 0.25012
2020-11-02 19:15:00 | 1.116 | 73.862 | 1.609 | 68.371 | 1.798 | 63.367 | 2.126 | 66 | 4.769 | 889.5 | 34.229 | 0.18901
2020-11-02 19:30:00 | 0.401 | 97.207 | 1.455 | 70.734 | 1.649 | 76 | 1.959 | 71.033 | 5.108 | 889.65 | 33.419 | 0.17622
2020-11-02 19:45:00 | 0.668 | 198.52 | 0 | 51.083 | 1.225 | 63 | 1.552 | 70.833 | 3.933 | 889.517 | 35.397 | 0.1748
2020-11-02 20:00:00 | 1.444 | 202.387 | 0 | 51.124 | 0.16 | 63.133 | 0.924 | 71.033 | 3.866 | 890.183 | 36.432 | 0.18759
2020-11-02 20:15:00 | 2.425 | 224.233 | 0.136 | 181.743 | 0 | 72.467 | 0.111 | 70.833 | 3.554 | 890.233 | 36.523 | 0.19043
2020-11-02 20:30:00 | 2.055 | 196.96 | 0 | 145.538 | 0.22 | 91.667 | 0.964 | 71 | 4.417 | 889.95 | 35.541 | 0.2217
2020-11-02 20:45:00 | 2.678 | 206.313 | 0.692 | 177.953 | 0.177 | 172 | 0.93 | 93 | 4.13 | 889.683 | 35.573 | 0.2288
2020-11-02 21:00:00 | 2.248 | 212.367 | 0.1 | 164.318 | 0.07 | 133 | 0.265 | 93 | 3.555 | 889.833 | 36.507 | 0.23022
2020-11-02 21:15:00 | 3.613 | 212.133 | 2.032 | 194.79 | 1.1 | 173 | 1.357 | 93.1 | 3.337 | 889.65 | 36.528 | 0.23591
2020-11-02 21:30:00 | 3.018 | 204.153 | 1.184 | 171.658 | 0.51 | 169.067 | 1.249 | 93.933 | 3.284 | 889.9 | 36.347 | 0.2288
2020-11-02 21:45:00 | 3.9 | 203.16 | 1.625 | 179.057 | 1.22 | 165 | 1.764 | 94 | 2.364 | 889.5 | 36.213 | 0.23164
2020-11-02 22:00:00 | 4.211 | 208.467 | 2.557 | 181.444 | 2.009 | 165 | 2.238 | 142 | 1.642 | 889.383 | 36.267 | 0.26007
2020-11-02 22:15:00 | 4.587 | 221.493 | 2.73 | 199.804 | 1.703 | 187.267 | 1.542 | 142 | 0.782 | 890 | 37.424 | 0.2558
2020-11-02 22:30:00 | 4.634 | 217.227 | 3.241 | 201.294 | 3.128 | 197.467 | 2.842 | 186 | 1.436 | 889.767 | 38.827 | 0.2622
2020-11-02 22:45:00 | 5.486 | 228.02 | 4.562 | 235.228 | 3.39 | 236 | 3.322 | 224.4 | 0.432 | 889.55 | 39.365 | 0.22028
2020-11-02 23:00:00 | 5.633 | 243.733 | 6.358 | 249.725 | 5.845 | 257.167 | 5.446 | 252.2 | 0.382 | 889.75 | 41.691 | 3.0945
2020-11-02 23:15:00 | 5.392 | 246.073 | 6.146 | 246.687 | 5.498 | 257.7 | 4.793 | 263.2 | 0.266 | 889.375 | 44.331 | 10.3864
2020-11-02 23:30:00 | 5.947 | 238.067 | 5.666 | 246.1 | 5.179 | 257.1 | 4.818 | 263.933 | 0.382 | 889.467 | 44.651 | 12.4733
2020-11-02 23:45:00 | 6.613 | 235.02 | 6.369 | 239.67 | 5.97 | 250.6 | 5.227 | 256.2 | 0.349 | 889.958 | 45.035 | 12.6147