## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-03 00:00:00 | 6.071 | 235.88 | 6.319 | 243.388 | 6.038 | 250.733 | 5.378 | 249.2 | 0.832 | 889.75 | 44.16 | 13.0119
2020-11-03 00:15:00 | 6.003 | 236.86 | 6.012 | 246.039 | 5.818 | 253.433 | 5.31 | 251 | 0.782 | 890.192 | 44.949 | 13.37
2020-11-03 00:30:00 | 5.952 | 238.96 | 6.54 | 245.088 | 6.305 | 251.967 | 5.729 | 249.017 | 0.233 | 890.15 | 46.123 | 12.5891
2020-11-03 00:45:00 | 5.458 | 244.987 | 5.772 | 252.99 | 5.426 | 263.267 | 5.147 | 259.733 | 1.065 | 889.817 | 44.608 | 11.4941
2020-11-03 01:00:00 | 5.548 | 246.447 | 5.464 | 260.832 | 5.08 | 273.667 | 5.024 | 272.167 | 0.665 | 890.117 | 44.869 | 10.5747
2020-11-03 01:15:00 | 5.451 | 251.86 | 5.354 | 272.298 | 5.32 | 284.067 | 5.673 | 286.3 | 0.133 | 889.708 | 46.443 | 11.4941
2020-11-03 01:30:00 | 5.3 | 240.347 | 5.335 | 267.355 | 5.524 | 280.2 | 5.786 | 281.367 | -0.449 | 889.858 | 48.043 | 11.9169
2020-11-03 01:45:00 | 6.34 | 242.04 | 4.786 | 265.02 | 4.885 | 279.4 | 5.257 | 282.3 | -0.748 | 889.95 | 49.867 | 11.5254
2020-11-03 02:00:00 | 5.7 | 236.567 | 4.931 | 268.292 | 4.914 | 284.933 | 5.374 | 288.7 | -0.555 | 889.942 | 50.843 | 11.0721
2020-11-03 02:15:00 | 6.604 | 232.407 | 5.364 | 255.214 | 4.964 | 281.667 | 5.289 | 292.133 | -1.165 | 889.833 | 53.797 | 9.992
2020-11-03 02:30:00 | 6.04 | 231.12 | 5.362 | 247.026 | 5.056 | 260.067 | 4.948 | 270.5 | -1.025 | 889.558 | 54.336 | 8.5353
2020-11-03 02:45:00 | 5.593 | 226.033 | 5.325 | 244.776 | 5.187 | 265.067 | 5.135 | 280.5 | -1.048 | 890.025 | 55.584 | 7.1781
2020-11-03 03:00:00 | 5.888 | 224.787 | 5.331 | 241.802 | 5.042 | 261.867 | 4.82 | 278.4 | -1.149 | 889.792 | 56.523 | 5.379
2020-11-03 03:15:00 | 6.046 | 223.293 | 4.969 | 241.786 | 4.747 | 256.167 | 4.424 | 266.733 | -1.122 | 890.225 | 57.675 | 4.279
2020-11-03 03:30:00 | 6.009 | 221.793 | 5.008 | 236.954 | 4.701 | 247.533 | 4.157 | 254.8 | -1.72 | 889.992 | 59.648 | 4.6897
2020-11-03 03:45:00 | 5.96 | 217.327 | 5.074 | 227.839 | 4.616 | 237.833 | 4.119 | 238.333 | -2.016 | 890.175 | 61.099 | 4.4439
2020-11-03 04:00:00 | 6.234 | 217.56 | 5.304 | 221.553 | 4.814 | 229.167 | 4.333 | 228.467 | -2.263 | 889.667 | 62.624 | 4.0119
2020-11-03 04:15:00 | 6.415 | 219.8 | 5.034 | 224.562 | 4.726 | 232.667 | 4.258 | 233.033 | -1.656 | 890.15 | 62.496 | 4.3814
2020-11-03 04:30:00 | 6.981 | 219 | 5.162 | 220.295 | 4.7 | 222.233 | 4.179 | 219.833 | -1.996 | 889.517 | 62.453 | 5.109
2020-11-03 04:45:00 | 6.719 | 220.313 | 5.354 | 220.749 | 4.799 | 221.8 | 4.256 | 217 | -2.246 | 889.942 | 62.752 | 4.618
2020-11-03 05:00:00 | 6.375 | 221.433 | 5.34 | 224.938 | 4.792 | 226.967 | 4.214 | 218.333 | -2.148 | 889.942 | 63.552 | 4.6613
2020-11-03 05:15:00 | 6.088 | 216.647 | 5.686 | 221.871 | 5.509 | 228.233 | 4.936 | 222.7 | -2.082 | 889.55 | 63.093 | 6.3233
2020-11-03 05:30:00 | 5.698 | 218.547 | 5.213 | 226.573 | 4.693 | 237.233 | 4.381 | 232.833 | -2.25 | 890.3 | 62.816 | 6.2878
2020-11-03 05:45:00 | 6.264 | 221.073 | 6.367 | 220.139 | 5.499 | 227.3 | 4.814 | 230.033 | -2.28 | 890.325 | 60.405 | 6.204
2020-11-03 06:00:00 | 6.446 | 219.8 | 7.464 | 218.623 | 6.69 | 222.933 | 5.688 | 222.4 | -2.23 | 889.942 | 59.744 | 7.4752
2020-11-03 06:15:00 | 6.161 | 225.88 | 6.158 | 223.21 | 5.61 | 229.967 | 5.291 | 231.833 | -2.094 | 889.508 | 59.552 | 10.3835
2020-11-03 06:30:00 | 5.881 | 225.947 | 6.952 | 226.659 | 6.329 | 229.933 | 5.758 | 224.867 | -2.258 | 889.75 | 61.739 | 10.6706
2020-11-03 06:45:00 | 6.412 | 225.107 | 7.207 | 224.392 | 6.512 | 232.233 | 6.066 | 230.833 | -1.189 | 889.558 | 59.403 | 15.8954
2020-11-03 07:00:00 | 6.419 | 219.527 | 6.598 | 226.253 | 6.175 | 235.2 | 5.725 | 233.5 | -2.111 | 889.45 | 59.371 | 15.0931
2020-11-03 07:15:00 | 6.19 | 220.507 | 6.435 | 228.783 | 5.908 | 238.267 | 5.448 | 237.133 | -2.205 | 889.867 | 60.192 | 12.15
2020-11-03 07:30:00 | 6.043 | 220.593 | 6.229 | 224.244 | 5.981 | 233.033 | 5.616 | 231.467 | -2.752 | 890 | 60.288 | 11.1417
2020-11-03 07:45:00 | 6.191 | 219.287 | 6.122 | 220.346 | 5.524 | 228.367 | 5.244 | 228.933 | -2.781 | 889.908 | 59.691 | 11.0365
2020-11-03 08:00:00 | 6.07 | 219.947 | 6.276 | 218.605 | 5.361 | 222.5 | 4.833 | 222.667 | -2.329 | 890.017 | 58.112 | 8.875
2020-11-03 08:15:00 | 6.199 | 215.907 | 6.081 | 214.059 | 5.564 | 217.4 | 5.209 | 216.067 | -2.28 | 889.933 | 57.877 | 8.9311
2020-11-03 08:30:00 | 6.331 | 216.753 | 6.582 | 213.002 | 5.971 | 216.1 | 5.442 | 213.667 | -2.214 | 889.842 | 57.12 | 8.4465
2020-11-03 08:45:00 | 5.964 | 219.007 | 7.135 | 217.479 | 5.706 | 224.133 | 4.762 | 222.967 | -1.165 | 890.25 | 53.632 | 8.2646
2020-11-03 09:00:00 | 6.107 | 219.573 | 7.292 | 221.352 | 6.148 | 228.6 | 5.479 | 228.733 | -0.11 | 889.658 | 51.371 | 12.4307
2020-11-03 09:15:00 | 6.046 | 218.7 | 7.388 | 218.749 | 6.685 | 224.9 | 5.868 | 225.133 | 0.465 | 889.5 | 48.48 | 16.7076
2020-11-03 09:30:00 | 5.378 | 227.427 | 6.812 | 223.804 | 6.643 | 230.467 | 6.302 | 229.1 | 1.576 | 889.725 | 45.013 | 19.4361
2020-11-03 09:45:00 | 4.958 | 225.993 | 6.595 | 226.251 | 6.648 | 232.033 | 6.342 | 229.833 | 2.98 | 889.625 | 40.875 | 17.5993
2020-11-03 10:00:00 | 4.729 | 226.3 | 5.599 | 226.689 | 6.094 | 235.333 | 5.807 | 232.167 | 4.602 | 889.7 | 36.827 | 15.4662
2020-11-03 10:15:00 | 4.113 | 224.1 | 4.407 | 222.672 | 4.983 | 228.667 | 5.171 | 228.733 | 5.962 | 890.083 | 33.84 | 12.1557
2020-11-03 10:30:00 | 4.465 | 223.7 | 4.43 | 221.601 | 4.608 | 226.6 | 4.785 | 225.367 | 6.989 | 890.033 | 31.36 | 10.2748
2020-11-03 10:45:00 | 5.28 | 240.193 | 5.4 | 235.428 | 5.654 | 238.433 | 5.639 | 234.433 | 7.659 | 889.833 | 29.275 | 9.329
2020-11-03 11:00:00 | 5.546 | 250.233 | 5.768 | 245.72 | 6.02 | 252.783 | 5.95 | 248.067 | 8.03 | 889.767 | 28.128 | 11.6803
2020-11-03 11:15:00 | 6.209 | 259.587 | 6.421 | 254.121 | 6.502 | 258.617 | 6.38 | 255.7 | 7.792 | 889.9 | 27.776 | 15.9089
2020-11-03 11:30:00 | 5.485 | 283.333 | 5.753 | 278.175 | 6.034 | 280.367 | 6.222 | 276.4 | 8.257 | 889.717 | 27.067 | 16.0034
2020-11-03 11:45:00 | 5.445 | 270.44 | 5.52 | 267.633 | 5.53 | 270.733 | 5.533 | 266.733 | 8.15 | 889.7 | 26.853 | 12.695
2020-11-03 12:00:00 | 3.703 | 260.033 | 3.938 | 257.42 | 4.298 | 258.75 | 4.449 | 255.367 | 8.424 | 890.017 | 26.189 | 9.4939
2020-11-03 12:15:00 | 3.25 | 315.12 | 3.174 | 307.592 | 3.374 | 306.6 | 3.554 | 301.133 | 9.37 | 889.433 | 25.027 | 4.7025
2020-11-03 12:30:00 | 4.077 | 319.04 | 3.984 | 309.622 | 3.88 | 310.667 | 4.154 | 308.8 | 9.02 | 889.667 | 24.765 | 3.4434
2020-11-03 12:45:00 | 4.216 | 298.947 | 4.405 | 294.425 | 4.554 | 297.1 | 4.669 | 297.333 | 9.208 | 890.05 | 24.331 | 3.9778
2020-11-03 13:00:00 | 4.431 | 317.72 | 4.579 | 313.186 | 5.059 | 314.267 | 5.335 | 310.3 | 9.195 | 890.233 | 23.853 | 6.0313
2020-11-03 13:15:00 | 5.181 | 301.4 | 5.342 | 295.054 | 5.468 | 297 | 5.687 | 292.533 | 9.876 | 889.817 | 23.072 | 8.8068
2020-11-03 13:30:00 | 5.347 | 301.52 | 5.382 | 292.725 | 5.445 | 297.3 | 5.684 | 294.3 | 10.116 | 889.833 | 23.157 | 11.1488
2020-11-03 13:45:00 | 6.393 | 306 | 6.489 | 297.947 | 6.837 | 303.5 | 6.726 | 300.233 | 9.833 | 889.683 | 22.928 | 11.8238
2020-11-03 14:00:00 | 5.091 | 317.44 | 5.201 | 311.477 | 5.394 | 315.533 | 5.354 | 316.3 | 9.995 | 890.05 | 22.925 | 17.4139
2020-11-03 14:15:00 | 4.84 | 311.027 | 5.176 | 307.15 | 5.282 | 302.667 | 5.429 | 309.033 | 10.212 | 889.733 | 22.533 | 16.618
2020-11-03 14:30:00 | 6.426 | 318.213 | 6.262 | 311.506 | 6.66 | 314.6 | 6.889 | 315.033 | 10.114 | 890.117 | 22.275 | 16.5463
2020-11-03 14:45:00 | 5.277 | 312.853 | 5.528 | 309.128 | 5.688 | 315.1 | 5.856 | 314.533 | 10.647 | 889.45 | 22.485 | 17.8978
2020-11-03 15:00:00 | 5.188 | 326.68 | 5.139 | 329.409 | 5.652 | 320.933 | 5.712 | 327.767 | 10.68 | 889.833 | 22.877 | 18.9707
2020-11-03 15:15:00 | 8.364 | 308.12 | 8.539 | 302.9 | 8.805 | 308.067 | 8.901 | 305.633 | 10.58 | 889.767 | 22.709 | 20.8153
2020-11-03 15:30:00 | 6.954 | 315.107 | 7.208 | 308.773 | 7.261 | 315.1 | 7.519 | 314.467 | 10.576 | 889.617 | 23.024 | 37.3481
2020-11-03 15:45:00 | 6.802 | 328.267 | 7.012 | 321.875 | 7.627 | 326.9 | 7.841 | 322.933 | 10.795 | 889.8 | 22.171 | 25.5989
2020-11-03 16:00:00 | 6.466 | 324.2 | 6.841 | 317.694 | 7.087 | 321.733 | 7.528 | 319.3 | 11.145 | 890.067 | 21.389 | 33.062
2020-11-03 16:15:00 | 6.238 | 320.133 | 6.433 | 315.45 | 6.756 | 318.3 | 6.974 | 315.7 | 11.011 | 889.717 | 20.995 | 33.9985
2020-11-03 16:30:00 | 7.065 | 322 | 7.2 | 316.009 | 7.657 | 320.267 | 7.803 | 318.433 | 10.945 | 890.05 | 21.571 | 27.1458
2020-11-03 16:45:00 | 7.599 | 326.267 | 8.156 | 316.948 | 8.348 | 320.633 | 8.616 | 319.433 | 10.811 | 889.767 | 21.829 | 34.719
2020-11-03 17:00:00 | 7.121 | 318.533 | 7.567 | 311.869 | 8.14 | 315.367 | 8.282 | 311.933 | 10.945 | 889.75 | 21.688 | 36.1252
2020-11-03 17:15:00 | 7.509 | 317.133 | 8.219 | 309.421 | 8.481 | 314.9 | 8.793 | 312.833 | 10.391 | 889.567 | 22.107 | 47.0345
2020-11-03 17:30:00 | 7.106 | 318.413 | 7.569 | 311.658 | 7.969 | 314.2 | 8.306 | 313.4 | 10.434 | 890.183 | 22.733 | 35.939
2020-11-03 17:45:00 | 6.18 | 319.56 | 6.843 | 312.427 | 7.414 | 316.333 | 7.783 | 313.433 | 9.612 | 889.7 | 23.445 | 30.4975
2020-11-03 18:00:00 | 5.897 | 313.227 | 6.732 | 309.92 | 7.284 | 314.633 | 7.627 | 312.833 | 9.541 | 889.75 | 23.939 | 26.0003
2020-11-03 18:15:00 | 5.269 | 308.453 | 5.857 | 303.656 | 6.563 | 309.833 | 7.112 | 307 | 9.162 | 890.233 | 24.659 | 25.0063
2020-11-03 18:30:00 | 4.24 | 293.44 | 5.298 | 288.381 | 5.897 | 290.633 | 6.369 | 287.433 | 8.578 | 889.683 | 24.995 | 18.8563
2020-11-03 18:45:00 | 5.428 | 287.787 | 6.856 | 284.51 | 7.364 | 288.533 | 7.789 | 286.267 | 8.77 | 889.55 | 23.768 | 23.1936
2020-11-03 19:00:00 | 5.688 | 294.667 | 7.061 | 290.14 | 7.452 | 291.633 | 8.195 | 289.533 | 7.806 | 889.5 | 24.213 | 28.5932
2020-11-03 19:15:00 | 5.085 | 288.76 | 6.302 | 285.485 | 6.767 | 288.7 | 7.404 | 287.167 | 7.766 | 889.967 | 25.296 | 29.5795
2020-11-03 19:30:00 | 4.608 | 288.933 | 6.258 | 287.435 | 6.721 | 290.933 | 7.239 | 289.667 | 7.172 | 889.733 | 26.563 | 26.2235
2020-11-03 19:45:00 | 3.853 | 277.013 | 4.707 | 286.702 | 5.11 | 292.333 | 5.574 | 289.767 | 6.545 | 889.967 | 27.704 | 19.1654
2020-11-03 20:00:00 | 3.853 | 261.92 | 4.741 | 276 | 5.08 | 283.9 | 5.68 | 283.2 | 5.521 | 889.783 | 28.915 | 14.9169
2020-11-03 20:15:00 | 4.344 | 264.867 | 4.916 | 270.488 | 5.162 | 276.2 | 5.437 | 272.967 | 4.835 | 890.433 | 29.901 | 17.0621
2020-11-03 20:30:00 | 3.804 | 257.453 | 4.661 | 268.042 | 5.62 | 278.767 | 6.22 | 279.167 | 5.462 | 889.783 | 29.491 | 16.5313
2020-11-03 20:45:00 | 4.172 | 239.813 | 5.324 | 256.932 | 5.916 | 266.933 | 6.316 | 265.267 | 4.162 | 889.8 | 31.2 | 14.5815
2020-11-03 21:00:00 | 4.174 | 241.433 | 5.222 | 257.779 | 5.558 | 264.6 | 5.965 | 260.733 | 3.288 | 889.983 | 32.645 | 15.3426
2020-11-03 21:15:00 | 4.82 | 239.467 | 5.046 | 252.995 | 5.449 | 259.667 | 5.729 | 257.067 | 3.672 | 889.983 | 33.107 | 18.0434
2020-11-03 21:30:00 | 4.842 | 247.367 | 5.736 | 255.145 | 6.141 | 261.933 | 6.477 | 258.283 | 3.371 | 889.967 | 34.059 | 21.1244
2020-11-03 21:45:00 | 4.907 | 234.2 | 5.911 | 246.64 | 6.094 | 255.533 | 6.431 | 252.65 | 3.321 | 889.783 | 33.12 | 17.7677
2020-11-03 22:00:00 | 5.276 | 228.873 | 5.945 | 247.209 | 6.301 | 255.067 | 6.795 | 252.75 | 2.201 | 889.75 | 33.061 | 16.8745
2020-11-03 22:15:00 | 5.895 | 225.12 | 5.817 | 242.244 | 6.176 | 253.233 | 6.512 | 250.2 | 1.74 | 889.617 | 33.851 | 20.767
2020-11-03 22:30:00 | 5.294 | 220.733 | 5.355 | 238.49 | 5.467 | 253.633 | 5.733 | 253.25 | 1.625 | 889.733 | 34.432 | 16.5598
2020-11-03 22:45:00 | 5.593 | 225.433 | 5.147 | 240.157 | 5.148 | 254.967 | 5.324 | 258.233 | 0.798 | 890.033 | 35.579 | 10.6571
2020-11-03 23:00:00 | 5.734 | 224.193 | 4.864 | 237.619 | 4.699 | 255.433 | 4.744 | 258.7 | 1.005 | 890.067 | 35.477 | 9.7738
2020-11-03 23:15:00 | 5.406 | 222.127 | 5.176 | 231.771 | 4.754 | 248.233 | 4.697 | 255.767 | 1.099 | 889.867 | 35.808 | 9.6687
2020-11-03 23:30:00 | 5.928 | 226.353 | 5.255 | 234.047 | 5.035 | 242.867 | 4.648 | 244.1 | 0.982 | 889.65 | 35.84 | 10.0112
2020-11-03 23:45:00 | 5.311 | 232.72 | 5.226 | 244.527 | 5.204 | 250.6 | 5.034 | 247.2 | 1.195 | 889.9 | 34.949 | 10.9513