## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-04 00:00:00 | 4.321 | 232.273 | 4.63 | 247.212 | 4.804 | 255.033 | 4.926 | 250.667 | 1.379 | 889.883 | 33.824 | 8.2781
2020-11-04 00:15:00 | 4.552 | 226.38 | 5.476 | 232.032 | 5.21 | 245.1 | 5.094 | 243.067 | 0.432 | 889.733 | 34.645 | 9.1237
2020-11-04 00:30:00 | 4.553 | 222.18 | 5.671 | 226.059 | 5.54 | 236 | 5.607 | 235.867 | 0.415 | 889.5 | 34.603 | 10.7061
2020-11-04 00:45:00 | 2.944 | 239.4 | 5.508 | 223.746 | 5.795 | 230.767 | 5.355 | 229.7 | 0.548 | 889.5 | 34.357 | 12.1308
2020-11-04 01:00:00 | 2.188 | 238.727 | 4.294 | 227.246 | 5.868 | 230.3 | 5.544 | 226.367 | 0.249 | 890.017 | 34.827 | 15.8009
2020-11-04 01:15:00 | 2.361 | 248.327 | 4.274 | 226.628 | 6.722 | 228.75 | 6.388 | 226.067 | 0.798 | 889.85 | 34.112 | 18.9352
2020-11-04 01:30:00 | 2.41 | 251.473 | 4.714 | 229.874 | 6.26 | 232.333 | 6.064 | 229.767 | 0.482 | 890.067 | 33.589 | 21.9167
2020-11-04 01:45:00 | 3.568 | 242.933 | 5.392 | 229.586 | 6.388 | 237.667 | 6.13 | 237.133 | 1.519 | 889.667 | 31.739 | 21.722
2020-11-04 02:00:00 | 5.162 | 236.2 | 6.799 | 231.933 | 6.882 | 242.433 | 6.655 | 241.067 | 1.072 | 889.533 | 31.803 | 21.4854
2020-11-04 02:15:00 | 5.603 | 234.127 | 6.384 | 239.239 | 6.474 | 247.233 | 6.304 | 244.333 | 1.182 | 889.833 | 31.131 | 22.618
2020-11-04 02:30:00 | 5.347 | 227.933 | 6.327 | 236.89 | 6.567 | 246 | 6.401 | 244.667 | 1.095 | 889.533 | 30.816 | 20.8111
2020-11-04 02:45:00 | 4.627 | 230.087 | 5.562 | 241.135 | 6.353 | 251.767 | 6.437 | 250.117 | 1.81 | 889.8 | 29.333 | 24.5494
2020-11-04 03:00:00 | 6.098 | 226.587 | 8.548 | 232.561 | 8.771 | 239.933 | 8.724 | 239.433 | 1.456 | 889.95 | 29.707 | 37.8718
2020-11-04 03:15:00 | 7.019 | 220.833 | 7.604 | 228.778 | 7.915 | 237.7 | 7.818 | 235.867 | 1.339 | 889.767 | 28.912 | 48.6781
2020-11-04 03:30:00 | 6.394 | 214.413 | 7.004 | 225.686 | 7.081 | 238.033 | 7.011 | 237.3 | 1.162 | 889.633 | 29.52 | 39.6617
2020-11-04 03:45:00 | 6.828 | 211.18 | 6.858 | 222.835 | 7.166 | 233.833 | 7.131 | 232.9 | 1.282 | 889.617 | 29.285 | 32.1418
2020-11-04 04:00:00 | 4.925 | 210.633 | 5.581 | 219.991 | 5.735 | 233.4 | 5.597 | 234.2 | 1.499 | 889.433 | 28.869 | 23.3613
2020-11-04 04:15:00 | 3.358 | 211.933 | 5.041 | 225.185 | 5.471 | 237 | 5.25 | 235.5 | 1.446 | 889.9 | 29.893 | 19.5605
2020-11-04 04:30:00 | 3.616 | 223.34 | 4.809 | 231.309 | 5.201 | 240 | 5.288 | 236.1 | 0.932 | 889.317 | 31.2 | 16.5271
2020-11-04 04:45:00 | 4.489 | 222.573 | 4.342 | 234.863 | 4.61 | 245.933 | 4.912 | 243.367 | 1.105 | 889.95 | 31.627 | 14.0628
2020-11-04 05:00:00 | 5.423 | 215.38 | 5.516 | 224.256 | 5.702 | 232.7 | 5.772 | 230.7 | 2.34 | 889.533 | 29.6 | 14.7478
2020-11-04 05:15:00 | 5.214 | 213 | 5.265 | 218.154 | 5.842 | 227 | 6.311 | 226.667 | 3.321 | 890.1 | 27.888 | 18.2836
2020-11-04 05:30:00 | 4.23 | 217.133 | 4.644 | 217.548 | 5.445 | 222.967 | 6.285 | 222.167 | 2.938 | 889.8 | 28.288 | 22.5434
2020-11-04 05:45:00 | 4.852 | 208.887 | 5.979 | 214.696 | 6.581 | 224.5 | 6.998 | 225.567 | 2.311 | 889.983 | 28.736 | 25.3516
2020-11-04 06:00:00 | 5.671 | 207.447 | 6.441 | 217.684 | 7.298 | 231.533 | 7.963 | 235.833 | 1.262 | 889.967 | 30.485 | 30.9622
2020-11-04 06:15:00 | 3.952 | 220.48 | 6.491 | 229.433 | 7.878 | 240.383 | 8.032 | 243.333 | 0.449 | 889.767 | 31.637 | 38.0011
2020-11-04 06:30:00 | 1.23 | 131.307 | 0.78 | 82.698 | 1.244 | 81.567 | 1.742 | 135.733 | 0.915 | 889.883 | 33.216 | 30.8308
2020-11-04 06:45:00 | 2.013 | 241.96 | 1.576 | 285.644 | 1.27 | 278.35 | 2.122 | 276.367 | 1.533 | 889.833 | 33.149 | 24.3866
2020-11-04 07:00:00 | 1.406 | 319.08 | 1.18 | 320.24 | 1.271 | 327.833 | 1.504 | 261.417 | 2.114 | 889.8 | 31.392 | 15.1706
2020-11-04 07:15:00 | 2.55 | 289.167 | 2.926 | 306.557 | 2.618 | 315.833 | 2.405 | 298.017 | 1.926 | 889.85 | 30.717 | 8.1161
2020-11-04 07:30:00 | 2.656 | 253.347 | 2.698 | 328.232 | 2.463 | 294.867 | 2.815 | 285.65 | 2.271 | 890.1 | 30.643 | 5.2852
2020-11-04 07:45:00 | 2.142 | 254.293 | 1.924 | 263.742 | 2.208 | 269.6 | 2.619 | 266.75 | 2.634 | 889.617 | 30.493 | 1.5839
2020-11-04 08:00:00 | 2.526 | 220.6 | 2.52 | 229.867 | 2.966 | 238.667 | 3.451 | 238.7 | 1.769 | 889.817 | 31.328 | 2.8657
2020-11-04 08:15:00 | 2.711 | 238.653 | 2.864 | 246.295 | 3.745 | 250.667 | 4.665 | 248.183 | 1.439 | 889.533 | 32.117 | 10.5612
2020-11-04 08:30:00 | 0.949 | 198.642 | 1.09 | 273.319 | 2.503 | 261.983 | 4.194 | 242.083 | 2.032 | 889.55 | 32.147 | 20.06
2020-11-04 08:45:00 | 0.963 | 277.02 | 2.055 | 245.698 | 4.708 | 250 | 6.48 | 248.333 | 2.065 | 889.567 | 32.48 | 26.691
2020-11-04 09:00:00 | 5.063 | 240.813 | 7.061 | 242.625 | 7.461 | 250.767 | 7.451 | 249.7 | 2.99 | 889.833 | 32.053 | 32.2533
2020-11-04 09:15:00 | 5.952 | 242.533 | 7.302 | 243.369 | 7.336 | 250.633 | 7.297 | 248.6 | 3.504 | 889.967 | 30.373 | 36.9011
2020-11-04 09:30:00 | 5.245 | 241.393 | 6.311 | 242.787 | 6.532 | 251.767 | 6.626 | 250.683 | 3.936 | 889.933 | 29.659 | 33.2069
2020-11-04 09:45:00 | 4.578 | 243.7 | 5.741 | 245.589 | 5.945 | 254.1 | 6.025 | 253.767 | 4.107 | 889.567 | 29.883 | 25.3708
2020-11-04 10:00:00 | 3.547 | 250.233 | 4.469 | 251.439 | 5.093 | 259.433 | 5.892 | 259.9 | 4.998 | 890.233 | 29.168 | 18.7071
2020-11-04 10:15:00 | 5.089 | 248.66 | 6.179 | 248.046 | 6.756 | 255.683 | 7.153 | 253.017 | 5.379 | 889.917 | 28.741 | 24.8016
2020-11-04 10:30:00 | 6.186 | 254.24 | 6.932 | 250.339 | 7.603 | 255.783 | 7.966 | 252.867 | 6.571 | 890.033 | 27.541 | 32.5802
2020-11-04 10:45:00 | 7.484 | 259.96 | 8.096 | 254.513 | 8.044 | 256.733 | 8.542 | 254.983 | 7.89 | 889.9 | 25.869 | 36.106
2020-11-04 11:00:00 | 7.524 | 263.987 | 8.238 | 260.98 | 8.505 | 264.317 | 8.4 | 259.183 | 8.354 | 889.15 | 25.037 | 39.5153
2020-11-04 11:15:00 | 7.784 | 261.133 | 8.693 | 261.038 | 8.795 | 263.183 | 8.845 | 259.933 | 8.337 | 890.067 | 24.584 | 43.0547
2020-11-04 11:30:00 | 8.602 | 272.08 | 9.408 | 267.299 | 9.58 | 270.367 | 9.548 | 264.65 | 8.053 | 889.767 | 24.773 | 58.1187
2020-11-04 11:45:00 | 8.085 | 271.553 | 8.491 | 263.576 | 8.559 | 265.733 | 8.561 | 260.767 | 8.471 | 889.483 | 24.709 | 58.9856
2020-11-04 12:00:00 | 8.437 | 272.04 | 8.658 | 265.613 | 8.734 | 269.733 | 8.704 | 265.217 | 9.12 | 890.05 | 23.936 | 48.9829
2020-11-04 12:15:00 | 8.05 | 270.807 | 8.757 | 265.73 | 8.971 | 267.283 | 9.062 | 265.683 | 9.316 | 889.317 | 23.373 | 42.2965
2020-11-04 12:30:00 | 9.183 | 289.16 | 9.84 | 283.813 | 10.052 | 286.167 | 10.149 | 283.833 | 9.183 | 889.467 | 23.189 | 40.4533
2020-11-04 12:45:00 | 8.88 | 280.533 | 9.367 | 276.68 | 9.69 | 281.6 | 9.893 | 279.167 | 9.22 | 889.583 | 23.496 | 35.9802
2020-11-04 13:00:00 | 9.54 | 298.947 | 10.188 | 295.76 | 10.516 | 297.367 | 10.789 | 294.933 | 9.345 | 889.783 | 23.648 | 32.7976
2020-11-04 13:15:00 | 10.114 | 296.12 | 10.738 | 291 | 11.267 | 296.133 | 11.56 | 293.2 | 9.454 | 889.667 | 23.963 | 28.5605
2020-11-04 13:30:00 | 9.067 | 296.013 | 9.902 | 291.522 | 10.244 | 295 | 10.578 | 293.233 | 9.108 | 889.35 | 24.907 | 25.228
2020-11-04 13:45:00 | 9.46 | 293.213 | 10.143 | 289.069 | 10.446 | 291 | 10.897 | 287.633 | 9.228 | 890.05 | 25.299 | 23.0522
2020-11-04 14:00:00 | 10.714 | 289.56 | 11.424 | 284.728 | 11.592 | 287.433 | 12.124 | 287.333 | 9.012 | 889.883 | 25.533 | 21.7661
2020-11-04 14:15:00 | 11.306 | 297.84 | 12.28 | 292.159 | 12.506 | 295.133 | 13.203 | 292.367 | 8.64 | 889.933 | 26.008 | 16.0737
2020-11-04 14:30:00 | 12.267 | 297.76 | 13.332 | 293.374 | 13.576 | 294.3 | 14.217 | 292.3 | 8.317 | 889.933 | 26.352 | 13.7281
2020-11-04 14:45:00 | 12.28 | 298.44 | 13.482 | 291.803 | 13.962 | 295.433 | 14.716 | 293.233 | 7.98 | 889.667 | 27.715 | 13.8987
2020-11-04 15:00:00 | 13.982 | 300.467 | 15.104 | 291.943 | 15.638 | 294.967 | 16.22 | 293.533 | 7.289 | 889.6 | 28.68 | 13.9903
2020-11-04 15:15:00 | 13.823 | 295.787 | 15.27 | 291.264 | 15.732 | 294.6 | 16.41 | 293.933 | 6.904 | 889.933 | 30.171 | 13.9669
2020-11-04 15:30:00 | 13.652 | 300.48 | 14.489 | 294.069 | 15.198 | 298.267 | 16.093 | 295.6 | 6.363 | 890.083 | 32.507 | 13.7566
2020-11-04 15:45:00 | 12.619 | 291.413 | 13.518 | 285.482 | 14.083 | 288.067 | 14.787 | 287.8 | 5.6 | 890.183 | 35.373 | 13.4866
2020-11-04 16:00:00 | 11.835 | 294.32 | 13.133 | 289.685 | 13.796 | 292.4 | 14.574 | 291.067 | 5.312 | 890.083 | 39.176 | 14.3044
2020-11-04 16:15:00 | 11.865 | 288.413 | 13.32 | 281.998 | 13.762 | 283.1 | 14.513 | 283.9 | 4.822 | 890.058 | 44.005 | 17.4849
2020-11-04 16:30:00 | 13.34 | 284.387 | 14.894 | 278.948 | 15.353 | 280.233 | 15.817 | 279.833 | 4.318 | 890.017 | 49.029 | 23.4572
2020-11-04 16:45:00 | 13.029 | 279.227 | 14.363 | 274.364 | 14.843 | 277.2 | 15.266 | 274.867 | 3.762 | 890.192 | 54.709 | 31.8085
2020-11-04 17:00:00 | 14.978 | 276.467 | 16.804 | 272.038 | 17.046 | 274.467 | 17.428 | 271.533 | 3.321 | 889.792 | 59.227 | 44.6101
2020-11-04 17:15:00 | 13.197 | 281.187 | 14.754 | 276.598 | 15.089 | 279.033 | 15.271 | 276.967 | 3.21 | 889.775 | 61.851 | 63.2362
2020-11-04 17:30:00 | 12.749 | 282.32 | 14.293 | 276.826 | 14.704 | 279.9 | 15.259 | 278.5 | 2.908 | 889.975 | 64.773 | 80.2166
2020-11-04 17:45:00 | 10.56 | 286.32 | 11.412 | 281.414 | 11.87 | 283.9 | 12.317 | 280.467 | 2.992 | 890.2 | 65.525 | 81.1318
2020-11-04 18:00:00 | 11.416 | 286.467 | 12.584 | 282.282 | 13.102 | 283.933 | 13.956 | 282.2 | 2.617 | 889.658 | 69.92 | 80.6337
2020-11-04 18:15:00 | 12.541 | 292.387 | 13.537 | 285.549 | 14.416 | 286.733 | 14.778 | 285 | 2.271 | 889.933 | 69.621 | 81.5212
2020-11-04 18:30:00 | 11.019 | 280.56 | 12.338 | 276.939 | 12.935 | 279.2 | 13.421 | 276.867 | 1.968 | 889.867 | 72.149 | 81.183
2020-11-04 18:45:00 | 10.622 | 262.56 | 11.933 | 259.701 | 11.891 | 264.8 | 11.938 | 261.133 | 1.749 | 889.733 | 71.024 | 78.0401
2020-11-04 19:00:00 | 11.009 | 261.6 | 12.275 | 257.8 | 12.9 | 261.717 | 13.445 | 258.883 | 1.519 | 889.925 | 71.669 | 76.6062
2020-11-04 19:15:00 | 11.874 | 255.56 | 13.602 | 250.169 | 14.138 | 254.1 | 14.246 | 249.817 | 1.359 | 889.942 | 69.275 | 71.645
2020-11-04 19:30:00 | 11.491 | 243.107 | 13.399 | 241.638 | 14.185 | 245.967 | 14.334 | 240.633 | 1.612 | 889.542 | 69.067 | 60.9737
2020-11-04 19:45:00 | 11.872 | 246.64 | 13.277 | 244.767 | 14.791 | 249.7 | 14.908 | 245.417 | 1.419 | 890.017 | 65.664 | 59.6641
2020-11-04 20:00:00 | 11.28 | 241.913 | 12.776 | 237.865 | 13.884 | 244.7 | 13.822 | 239.433 | 1.472 | 890.25 | 64.427 | 56.5469
2020-11-04 20:15:00 | 9.162 | 249.793 | 10.667 | 246.775 | 11.836 | 253.6 | 12.32 | 250.1 | 1.333 | 889.875 | 64.101 | 56.63
2020-11-04 20:30:00 | 8.462 | 251.887 | 10.239 | 249.327 | 11.227 | 254.55 | 11.483 | 250.467 | 1.642 | 889.617 | 61.659 | 50.49
2020-11-04 20:45:00 | 8.484 | 261.947 | 9.79 | 260.126 | 10.72 | 263.433 | 11.102 | 260.733 | 1.399 | 889.775 | 60.619 | 47.0068
2020-11-04 21:00:00 | 8.129 | 255.48 | 9.631 | 252.678 | 10.316 | 257.517 | 10.599 | 254.817 | 1.532 | 890.042 | 60.731 | 44.1695
2020-11-04 21:15:00 | 7.025 | 246.68 | 8.21 | 246.294 | 8.8 | 251.633 | 8.935 | 248.083 | 1.459 | 889.958 | 61.403 | 43.4902
2020-11-04 21:30:00 | 7.636 | 259.053 | 8.794 | 255.768 | 9.598 | 261.55 | 9.865 | 258 | 1.556 | 889.908 | 63.371 | 41.5262
2020-11-04 21:45:00 | 9.179 | 263.173 | 10.687 | 259.848 | 11.631 | 264.983 | 11.914 | 260.35 | 1.379 | 890 | 63.712 | 41.4786
2020-11-04 22:00:00 | 6.67 | 256.533 | 7.714 | 251.648 | 8.592 | 256.567 | 8.775 | 252.65 | 1.576 | 889.725 | 63.52 | 43.314
2020-11-04 22:15:00 | 8.846 | 264.787 | 10.243 | 260.812 | 10.897 | 263.683 | 11.007 | 258.267 | 1.759 | 889.55 | 64.064 | 43.5165
2020-11-04 22:30:00 | 7.364 | 256.673 | 8.706 | 252.911 | 9.161 | 258.167 | 9.335 | 251.9 | 1.512 | 889.667 | 64.197 | 45.7221
2020-11-04 22:45:00 | 7.931 | 262.953 | 8.936 | 259.959 | 9.657 | 263.767 | 10.015 | 258.917 | 2.078 | 889.85 | 64.64 | 46.7489
2020-11-04 23:00:00 | 7.567 | 260.207 | 9.07 | 255.206 | 9.891 | 260.15 | 9.883 | 256.183 | 1.852 | 889.658 | 64.24 | 50.3515
2020-11-04 23:15:00 | 8 | 272.693 | 8.745 | 268.682 | 8.967 | 272.367 | 9.032 | 269.733 | 1.955 | 889.483 | 63.696 | 52.3474
2020-11-04 23:30:00 | 7.476 | 271.253 | 8.394 | 266.973 | 8.653 | 272.467 | 8.733 | 270.033 | 1.519 | 889.967 | 65.947 | 52.4277
2020-11-04 23:45:00 | 8.501 | 270.893 | 9.297 | 267.76 | 9.882 | 270.8 | 10.137 | 267.933 | 1.422 | 889.867 | 69.333 | 51.5729