## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-05 00:00:00 | 8.862 | 269.347 | 9.948 | 264.546 | 10.381 | 268.567 | 10.664 | 264.367 | 1.159 | 890.008 | 68.715 | 51.2446
2020-11-05 00:15:00 | 8.302 | 267.413 | 9.656 | 263.037 | 10.418 | 266.7 | 10.829 | 263.4 | 1.319 | 890.008 | 66.075 | 63.1836
2020-11-05 00:30:00 | 8.681 | 267.693 | 9.686 | 261.742 | 10.406 | 263.133 | 10.654 | 260.7 | 1.048 | 889.942 | 65.195 | 70.2232
2020-11-05 00:45:00 | 9.712 | 264.773 | 11.324 | 258.271 | 11.878 | 262.4 | 12.179 | 258.267 | 0.965 | 889.533 | 64.549 | 62.1923
2020-11-05 01:00:00 | 10.634 | 270.567 | 12.026 | 264.816 | 12.93 | 270.033 | 13.662 | 266.467 | 1.139 | 890.033 | 64.56 | 50.8204
2020-11-05 01:15:00 | 10.782 | 266.267 | 12.202 | 262.187 | 13.579 | 265.5 | 13.67 | 262.333 | 1.015 | 889.825 | 64.811 | 40.9819
2020-11-05 01:30:00 | 10.899 | 263.533 | 12.855 | 259.014 | 14.057 | 263.5 | 14.607 | 259.067 | 0.732 | 889.825 | 65.819 | 38.6989
2020-11-05 01:45:00 | 10.779 | 268.04 | 12.008 | 263.508 | 13.081 | 266.533 | 13.934 | 262.733 | 0.682 | 890.517 | 65.248 | 29.4182
2020-11-05 02:00:00 | 11.104 | 278.147 | 12.789 | 270.86 | 13.601 | 272.367 | 14.22 | 270.1 | 0.482 | 890.142 | 65.947 | 23.0913
2020-11-05 02:15:00 | 12.397 | 272.64 | 14.268 | 264.983 | 15.366 | 270.367 | 16.085 | 267.4 | 0.25 | 889.817 | 66.315 | 22.7509
2020-11-05 02:30:00 | 12.598 | 274.2 | 14.304 | 266.968 | 15.163 | 270.933 | 15.669 | 267.333 | 0.2 | 889.683 | 66.699 | 22.3978
2020-11-05 02:45:00 | 11.567 | 279.8 | 13.583 | 270.325 | 14.192 | 274.133 | 15.02 | 270.267 | -0.259 | 889.583 | 66.907 | 22.4106
2020-11-05 03:00:00 | 11.834 | 275.56 | 13.347 | 270.433 | 14.009 | 271.967 | 14.447 | 268.433 | -0.103 | 889.667 | 65.861 | 22.4788
2020-11-05 03:15:00 | 11.183 | 279.547 | 12.838 | 273.625 | 13.47 | 274.433 | 14.4 | 271.733 | -0.452 | 889.592 | 65.787 | 24.0946
2020-11-05 03:30:00 | 11.725 | 290.28 | 13.521 | 282.299 | 13.905 | 282.567 | 14.749 | 282.3 | -0.675 | 889.908 | 66.667 | 26.2938
2020-11-05 03:45:00 | 13.347 | 281.8 | 15.05 | 274.635 | 15.49 | 277.5 | 15.973 | 275.233 | -1.132 | 889.975 | 67.696 | 28.2187
2020-11-05 04:00:00 | 10.1 | 274.8 | 12.26 | 269.988 | 12.961 | 272.9 | 13.285 | 269.167 | -1.416 | 890.5 | 68.037 | 27.6915
2020-11-05 04:15:00 | 10.433 | 274.933 | 12.249 | 267.855 | 13.419 | 269.533 | 14.069 | 265.567 | -1.516 | 889.967 | 67.845 | 25.1136
2020-11-05 04:30:00 | 11.066 | 263.333 | 12.793 | 259.868 | 13.719 | 263.9 | 14.314 | 260.133 | -1.563 | 889.708 | 67.189 | 27.2772
2020-11-05 04:45:00 | 11.48 | 262.633 | 13.52 | 258.588 | 14.6 | 262.433 | 14.726 | 258.883 | -1.926 | 889.883 | 66.581 | 30.079
2020-11-05 05:00:00 | 11.499 | 255.08 | 13.203 | 251.401 | 13.97 | 254.8 | 13.929 | 251.567 | -1.913 | 890.125 | 65.829 | 31.007
2020-11-05 05:15:00 | 10.303 | 254.633 | 11.734 | 250.491 | 12.671 | 257.4 | 12.941 | 253.833 | -2.214 | 889.917 | 67.157 | 30.295
2020-11-05 05:30:00 | 9.535 | 260.047 | 11.308 | 255.279 | 12.002 | 262.067 | 12.464 | 256.35 | -1.961 | 889.858 | 65.349 | 32.0366
2020-11-05 05:45:00 | 8.629 | 256.74 | 10.813 | 256.025 | 11.674 | 260.15 | 12.318 | 255.4 | -2.045 | 890.017 | 64.987 | 32.6768
2020-11-05 06:00:00 | 8.679 | 258.647 | 10.128 | 254.898 | 11.084 | 259.45 | 11.252 | 253.683 | -2.082 | 890.117 | 63.291 | 31.0333
2020-11-05 06:15:00 | 8.725 | 259.747 | 10.078 | 256.781 | 10.967 | 261.233 | 11.248 | 256.4 | -2.344 | 889.9 | 62.08 | 32.5518
2020-11-05 06:30:00 | 8.37 | 266.6 | 10.071 | 263.207 | 10.954 | 267.7 | 11.459 | 263.733 | -2.711 | 890.225 | 59.632 | 32.8552
2020-11-05 06:45:00 | 8.218 | 270.44 | 10.152 | 264.796 | 11.308 | 268.333 | 11.806 | 265.333 | -2.528 | 889.983 | 57.888 | 33.1927
2020-11-05 07:00:00 | 7.761 | 273.24 | 9.324 | 267.628 | 10.113 | 270.6 | 10.718 | 267.567 | -2.495 | 890.183 | 56.987 | 35.1759
2020-11-05 07:15:00 | 10.072 | 273.12 | 11.969 | 267.118 | 12.976 | 270.9 | 13.778 | 268.133 | -2.744 | 889.533 | 54.768 | 38.603
2020-11-05 07:30:00 | 9.336 | 272.44 | 10.82 | 266.011 | 11.675 | 267.933 | 12.009 | 265.233 | -2.966 | 889.575 | 52.832 | 44.3927
2020-11-05 07:45:00 | 9.522 | 270.133 | 10.608 | 267.044 | 11.288 | 270.9 | 11.883 | 266.633 | -3.069 | 889.792 | 52.891 | 48.4486
2020-11-05 08:00:00 | 10.19 | 261.867 | 12.072 | 259.484 | 13.334 | 262.667 | 13.995 | 258.733 | -3.154 | 889.842 | 55.915 | 52.999
2020-11-05 08:15:00 | 10.633 | 261.1 | 12.289 | 258.237 | 13.328 | 261.933 | 13.681 | 258.55 | -3.404 | 890.092 | 58.539 | 62.2122
2020-11-05 08:30:00 | 10.885 | 257.7 | 12.126 | 253.68 | 13.188 | 258.85 | 13.271 | 254.667 | -2.888 | 890.242 | 58.192 | 63.9062
2020-11-05 08:45:00 | 10.853 | 255.013 | 12.141 | 252.568 | 12.917 | 258.067 | 12.993 | 252.733 | -2.923 | 890.233 | 57.899 | 63.6
2020-11-05 09:00:00 | 9.182 | 255.307 | 10.265 | 251.816 | 10.925 | 255.817 | 10.979 | 253.233 | -2.131 | 889.95 | 57.456 | 63.8529
2020-11-05 09:15:00 | 9.749 | 263.76 | 10.648 | 259.653 | 11.422 | 265.4 | 11.859 | 261.083 | -1.72 | 889.45 | 56.795 | 65.4247
2020-11-05 09:30:00 | 10.759 | 271.213 | 12.079 | 268.408 | 12.826 | 270.7 | 13.306 | 268.817 | -1.496 | 890.325 | 54.373 | 64.4569
2020-11-05 09:45:00 | 12.3 | 275.4 | 13.393 | 269.198 | 14.075 | 272.667 | 14.425 | 269.067 | -1.216 | 889.625 | 50.784 | 51.0848
2020-11-05 10:00:00 | 12.421 | 273.24 | 13.548 | 268.136 | 14.438 | 270.767 | 14.674 | 264.367 | -1.149 | 889.992 | 48.816 | 46.3254
2020-11-05 10:15:00 | 14.094 | 274.013 | 15.479 | 266.512 | 15.835 | 270.933 | 16.154 | 267.3 | -0.692 | 890.058 | 50.277 | 42.0059
2020-11-05 10:30:00 | 13.943 | 274.707 | 15.186 | 270.082 | 15.604 | 273.033 | 16.225 | 269.233 | -0.366 | 890.167 | 51.328 | 37.012
2020-11-05 10:45:00 | 12.002 | 276.373 | 13.566 | 270.574 | 13.711 | 275.033 | 14.399 | 270.367 | -0.735 | 890.042 | 51.659 | 31.3737
2020-11-05 11:00:00 | 12.721 | 270.507 | 13.73 | 263.983 | 14.022 | 267.567 | 13.903 | 263.217 | -0.149 | 889.85 | 50.432 | 29.2675
2020-11-05 11:15:00 | 12.35 | 275.64 | 13.47 | 270.948 | 13.46 | 271.767 | 13.536 | 267.067 | 0.067 | 889.475 | 49.2 | 26.1162
2020-11-05 11:30:00 | 11.166 | 269.08 | 11.864 | 264.421 | 12.107 | 268.367 | 12.322 | 264.683 | 0.615 | 889.758 | 47.115 | 20.74
2020-11-05 11:45:00 | 12.467 | 281.6 | 13.589 | 275.205 | 13.863 | 279 | 14.156 | 276.067 | 0.732 | 889.975 | 43.131 | 19.9541
2020-11-05 12:00:00 | 10.958 | 276.987 | 11.714 | 269.592 | 11.932 | 274.667 | 12.177 | 270.7 | 1.252 | 889.833 | 41.771 | 18.5543
2020-11-05 12:15:00 | 10.248 | 278.84 | 11.056 | 273.794 | 11.085 | 276.533 | 11.404 | 271.267 | 1.439 | 889.283 | 39.477 | 16.812
2020-11-05 12:30:00 | 11.221 | 268.02 | 11.821 | 263.656 | 11.824 | 265.4 | 11.791 | 261.333 | 1.649 | 889.4 | 37.963 | 17.1389
2020-11-05 12:45:00 | 10.406 | 272.153 | 11.09 | 268.669 | 11.187 | 271.567 | 11.315 | 266.5 | 2.082 | 889.683 | 35.752 | 14.5901
2020-11-05 13:00:00 | 11.231 | 276.2 | 12.438 | 271.969 | 12.483 | 274.867 | 12.5 | 270.833 | 2.429 | 889.7 | 33.925 | 11.7556
2020-11-05 13:15:00 | 11.274 | 278.627 | 12.075 | 274.03 | 12.56 | 275.533 | 12.838 | 275.2 | 2.618 | 889.717 | 31.832 | 11.5801
2020-11-05 13:30:00 | 11.448 | 282.16 | 12.589 | 276.645 | 13.158 | 278.767 | 13.706 | 277.2 | 2.786 | 889.667 | 30.869 | 12.0626
2020-11-05 13:45:00 | 11.754 | 278.667 | 12.452 | 273.431 | 12.633 | 274.933 | 12.957 | 271.233 | 2.918 | 889.8 | 30.029 | 10.7679
2020-11-05 14:00:00 | 12.712 | 279.2 | 13.474 | 275.57 | 13.463 | 277.033 | 13.728 | 273.05 | 3.204 | 889.783 | 29.155 | 10.6969
2020-11-05 14:15:00 | 13.811 | 281.067 | 14.747 | 276.527 | 15.259 | 278.933 | 15.404 | 275.533 | 3.321 | 889.717 | 29.712 | 10.721
2020-11-05 14:30:00 | 12.99 | 273.067 | 14.181 | 270.024 | 14.43 | 272.167 | 14.464 | 268.867 | 3.137 | 889.767 | 30.853 | 10.8262
2020-11-05 14:45:00 | 12.241 | 277.733 | 12.67 | 274.548 | 12.751 | 276.033 | 13.287 | 274.233 | 3.288 | 889.75 | 30.488 | 11.0522
2020-11-05 15:00:00 | 11.241 | 279.947 | 12.4 | 274.489 | 12.397 | 276.333 | 12.508 | 275.467 | 3.877 | 889.617 | 28.36 | 10.9548
2020-11-05 15:15:00 | 12.641 | 274.533 | 13.843 | 268.426 | 14.37 | 270.75 | 14.068 | 265.767 | 3.655 | 889.367 | 29.997 | 11.1516
2020-11-05 15:30:00 | 13.376 | 279.093 | 14.576 | 273.075 | 14.902 | 275.6 | 15.011 | 272.367 | 3.662 | 889.633 | 29.68 | 11.3755
2020-11-05 15:45:00 | 13.063 | 268.233 | 14.16 | 263.418 | 14.253 | 267.2 | 14.062 | 263.067 | 3.622 | 889.217 | 31.037 | 11.2376
2020-11-05 16:00:00 | 12.607 | 261.94 | 13.578 | 258.834 | 13.816 | 263.35 | 13.806 | 258.667 | 3.998 | 889.833 | 29.653 | 11.4465
2020-11-05 16:15:00 | 11.282 | 274.44 | 12.44 | 270.795 | 12.695 | 274.6 | 12.891 | 270.067 | 4.165 | 889.45 | 28.208 | 11.3108
2020-11-05 16:30:00 | 12.267 | 276.32 | 13.04 | 270.489 | 13.193 | 272.733 | 13.365 | 268.433 | 4.268 | 889.667 | 28.043 | 10.9036
2020-11-05 16:45:00 | 12.1 | 282.947 | 13.202 | 278.335 | 13.908 | 279.033 | 14.303 | 279.767 | 3.942 | 890.317 | 27.656 | 11.0543
2020-11-05 17:00:00 | 11.076 | 286.44 | 12.482 | 278.744 | 13.305 | 281.2 | 13.873 | 279.8 | 4 | 889.5 | 27.16 | 10.8134
2020-11-05 17:15:00 | 12.052 | 279.48 | 13.046 | 273.13 | 13.52 | 276.6 | 13.683 | 273.533 | 4.241 | 889.617 | 26.845 | 12.7852
2020-11-05 17:30:00 | 10.085 | 278.333 | 11.558 | 274.65 | 11.652 | 278.967 | 12.113 | 276.3 | 3.756 | 890.083 | 26.539 | 18.0896
2020-11-05 17:45:00 | 10.971 | 270.987 | 12.185 | 266.774 | 12.556 | 270.833 | 12.604 | 267.3 | 3.985 | 889.617 | 25.093 | 22.7992
2020-11-05 18:00:00 | 11.157 | 278.267 | 12.787 | 275.72 | 13.464 | 278.567 | 14.032 | 277.233 | 3.171 | 889.6 | 25.685 | 48.8174
2020-11-05 18:15:00 | 10.496 | 280.347 | 12.356 | 273.882 | 12.995 | 277.133 | 13.409 | 275.433 | 3.045 | 889.633 | 26.68 | 65.8198
2020-11-05 18:30:00 | 9.145 | 278.853 | 10.244 | 275.593 | 10.906 | 277.2 | 11.28 | 274 | 2.646 | 889.717 | 27.056 | 69.5375
2020-11-05 18:45:00 | 7.883 | 270.64 | 9.116 | 266.103 | 9.568 | 271.6 | 9.781 | 266.533 | 2.691 | 890.3 | 27.269 | 64.2082
2020-11-05 19:00:00 | 7.674 | 270.547 | 8.356 | 263.75 | 8.726 | 269.5 | 8.99 | 266.9 | 1.859 | 889.767 | 28.672 | 43.0262
2020-11-05 19:15:00 | 6.576 | 261.487 | 7.743 | 258.254 | 8.086 | 264.3 | 8.11 | 260.567 | 1.68 | 889.217 | 29.304 | 48.2112
2020-11-05 19:30:00 | 5.512 | 245.387 | 5.958 | 246.173 | 6.083 | 251.533 | 6.104 | 247.567 | 0.399 | 889.783 | 32.027 | 59.7651
2020-11-05 19:45:00 | 7.128 | 243.373 | 8.208 | 242.509 | 9.032 | 247.9 | 9.073 | 243.333 | 0.499 | 889.717 | 34.496 | 71.3402
2020-11-05 20:00:00 | 7.881 | 248.527 | 8.926 | 246.224 | 9.704 | 249.4 | 9.828 | 245.233 | 0.698 | 889.983 | 34.472 | 81.6938
2020-11-05 20:15:00 | 8.509 | 245.22 | 9.675 | 242.176 | 10.407 | 247.15 | 10.38 | 242.5 | 0.299 | 889.85 | 33.12 | 89.2074
2020-11-05 20:30:00 | 6.923 | 242.927 | 7.926 | 239.829 | 8.709 | 245.033 | 9.188 | 240.8 | 0.382 | 889.55 | 32.245 | 80.3978
2020-11-05 20:45:00 | 6.403 | 243.987 | 7.602 | 240.256 | 8.679 | 246.5 | 8.808 | 241.983 | 0.332 | 889.65 | 31.765 | 52.4874
2020-11-05 21:00:00 | 7.086 | 251.807 | 8.179 | 248.034 | 9.433 | 252.333 | 9.968 | 247.333 | 0.565 | 890.15 | 32.856 | 55.6104
2020-11-05 21:15:00 | 7.855 | 241.32 | 9.512 | 238.336 | 10.643 | 245.1 | 10.956 | 240.233 | 0.632 | 889.717 | 32.368 | 74.9612
2020-11-05 21:30:00 | 8.231 | 240.5 | 9.914 | 237.064 | 11.13 | 243.967 | 11.638 | 237.633 | 0.748 | 889.767 | 30.373 | 76.5621
2020-11-05 21:45:00 | 5.309 | 221.407 | 6.636 | 224.193 | 7.316 | 230.167 | 7.564 | 229.933 | 0.116 | 889.817 | 32.651 | 67.0569
2020-11-05 22:00:00 | 6.824 | 224.86 | 8.54 | 223.368 | 9.42 | 228.167 | 9.654 | 224.5 | -0.462 | 889.833 | 35.045 | 74.6756
2020-11-05 22:15:00 | 7.661 | 234.853 | 9.517 | 230.297 | 10.65 | 232.833 | 11.068 | 227.4 | -0.203 | 889.517 | 36.517 | 79.3284
2020-11-05 22:30:00 | 7.591 | 229.907 | 9.398 | 226.999 | 10.29 | 232.8 | 10.266 | 230.933 | -0.272 | 889.633 | 35.483 | 84.3848
2020-11-05 22:45:00 | 7.587 | 226.553 | 9.595 | 224.057 | 10.667 | 229.667 | 10.746 | 227.633 | -0.223 | 889.817 | 35.147 | 87.9255
2020-11-05 23:00:00 | 7.838 | 227.06 | 9.384 | 228.948 | 10.172 | 236.167 | 10.074 | 234.2 | -0.016 | 889.1 | 34.661 | 90.1063
2020-11-05 23:15:00 | 8.223 | 220.28 | 10.038 | 220.472 | 10.523 | 226.733 | 10.698 | 223.867 | -0.066 | 889.683 | 33.264 | 84.7905
2020-11-05 23:30:00 | 7.85 | 222.647 | 9.189 | 224.18 | 10.072 | 230.833 | 10.256 | 228.667 | -0.033 | 889.783 | 32.469 | 81.6825
2020-11-05 23:45:00 | 6.437 | 218.233 | 8.102 | 220.348 | 8.996 | 228.667 | 9.351 | 226.833 | 0.05 | 889.967 | 31.947 | 73.1464