## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-06 00:00:00 | 6.138 | 230.813 | 7.586 | 231.477 | 8.47 | 237.8 | 8.833 | 234.167 | 0.2 | 890.083 | 32.869 | 63.374
2020-11-06 00:15:00 | 6.792 | 233.027 | 7.895 | 230.846 | 8.755 | 235.9 | 8.932 | 234.5 | 0.532 | 889.567 | 35.477 | 69.3037
2020-11-06 00:30:00 | 8.395 | 241.667 | 10.565 | 240.301 | 12.219 | 246.533 | 12.497 | 241.8 | 0.615 | 889.733 | 38.331 | 71.3615
2020-11-06 00:45:00 | 6.038 | 229.907 | 7.427 | 237.562 | 9.187 | 245.3 | 10.205 | 244.317 | 0.382 | 889.883 | 36.304 | 75.2824
2020-11-06 01:00:00 | 7.137 | 258.273 | 8.953 | 253.789 | 10.068 | 257.85 | 10.519 | 252.033 | 0.932 | 889.65 | 32.816 | 68.4333
2020-11-06 01:15:00 | 7.081 | 271.547 | 8.894 | 267.928 | 9.628 | 269.9 | 10.01 | 266.467 | 1.169 | 889.867 | 31.379 | 45.3015
2020-11-06 01:30:00 | 6.219 | 277.28 | 8.049 | 269.656 | 8.735 | 273.333 | 8.93 | 266.583 | 1.349 | 889.767 | 29.909 | 40.869
2020-11-06 01:45:00 | 6.152 | 251.787 | 7.612 | 247.003 | 8.303 | 252.533 | 8.422 | 248.067 | 0.831 | 889.417 | 29.771 | 43.243
2020-11-06 02:00:00 | 3.409 | 225.66 | 4.665 | 242.638 | 6.107 | 255.933 | 6.934 | 252.917 | 0.332 | 889.767 | 30.539 | 30.9004
2020-11-06 02:15:00 | 5.473 | 225.067 | 6.522 | 233.656 | 7.166 | 244.2 | 7.566 | 242.133 | -0.518 | 889.683 | 34.576 | 33.1025
2020-11-06 02:30:00 | 5.508 | 227.82 | 6.779 | 236.198 | 7.715 | 248.5 | 8.043 | 245.15 | -1.195 | 889.717 | 35.856 | 38.8524
2020-11-06 02:45:00 | 5.93 | 233.673 | 7.741 | 238.998 | 8.545 | 246.767 | 8.68 | 242.2 | -1.503 | 889.867 | 36.533 | 38.3805
2020-11-06 03:00:00 | 5.916 | 242.047 | 7.478 | 240.736 | 7.727 | 247.167 | 7.78 | 242.967 | -0.705 | 889.7 | 34.645 | 36.1167
2020-11-06 03:15:00 | 6.559 | 229.76 | 7.361 | 234.274 | 7.716 | 245.333 | 7.848 | 245.533 | -0.975 | 889.867 | 34.208 | 39.3974
2020-11-06 03:30:00 | 5.759 | 238.013 | 7.563 | 240.685 | 8.065 | 248.9 | 8.282 | 245.5 | -1.376 | 889.383 | 34.677 | 48.224
2020-11-06 03:45:00 | 5.924 | 246.073 | 7.347 | 247.053 | 7.576 | 254.033 | 7.65 | 251.717 | -0.875 | 889.683 | 33.893 | 53.0658
2020-11-06 04:00:00 | 6.132 | 252.553 | 7.662 | 250.932 | 8.275 | 256.917 | 8.442 | 254.667 | -0.738 | 889.817 | 34.789 | 46.6345
2020-11-06 04:15:00 | 6.24 | 253.347 | 7.699 | 251.41 | 8.246 | 255.883 | 8.608 | 253 | -0.578 | 889.633 | 34.16 | 44.6861
2020-11-06 04:30:00 | 5.986 | 250.633 | 7.376 | 251.962 | 7.729 | 256.45 | 7.933 | 253.75 | -0.05 | 889.7 | 33.208 | 44.6975
2020-11-06 04:45:00 | 5.421 | 232.867 | 6.864 | 233.789 | 7.031 | 241.3 | 7.009 | 238.967 | -0.638 | 889.75 | 32.677 | 37.5151
2020-11-06 05:00:00 | 6.023 | 236.8 | 7.518 | 235.729 | 7.695 | 240.967 | 7.48 | 236 | -0.598 | 890.083 | 32.859 | 44.9725
2020-11-06 05:15:00 | 7.913 | 242.167 | 9.601 | 239.392 | 10.153 | 244.033 | 10.131 | 238.933 | -0.116 | 889.783 | 31.355 | 63.1239
2020-11-06 05:30:00 | 9.036 | 238.867 | 10.546 | 235.632 | 11.456 | 241.867 | 11.503 | 237 | 0.765 | 889.55 | 29.595 | 78.5865
2020-11-06 05:45:00 | 8.495 | 228.98 | 10.233 | 228.544 | 11.203 | 234.133 | 11.28 | 230.267 | 0.999 | 889.7 | 28.875 | 83.7595
2020-11-06 06:00:00 | 9.49 | 232.567 | 10.915 | 231.126 | 12.039 | 236.233 | 12.252 | 231.333 | 0.882 | 889.967 | 29.184 | 87.3024
2020-11-06 06:15:00 | 8.048 | 222.913 | 9.753 | 222.74 | 10.731 | 229.5 | 11.087 | 226.467 | 0.765 | 889.817 | 31.541 | 85.5217
2020-11-06 06:30:00 | 8.884 | 222.353 | 10.797 | 224.179 | 12.301 | 232.867 | 12.713 | 229.567 | 0.948 | 889.833 | 31.163 | 87.9149
2020-11-06 06:45:00 | 8.502 | 223.327 | 10.663 | 221.674 | 11.995 | 229.3 | 12.364 | 227.8 | 0.965 | 889.9 | 32.027 | 88.835
2020-11-06 07:00:00 | 9.603 | 225.84 | 11.292 | 224.147 | 12.914 | 231.133 | 13.233 | 229.467 | 0.998 | 889.917 | 32.133 | 89.8355
2020-11-06 07:15:00 | 9.026 | 225.733 | 10.912 | 226.93 | 12.303 | 233.4 | 12.416 | 231.9 | 1.299 | 889.733 | 32.459 | 88.0705
2020-11-06 07:30:00 | 9.83 | 225.447 | 11.77 | 225.662 | 12.627 | 230.533 | 12.745 | 227.4 | 2.119 | 889.967 | 34.192 | 88.7185
2020-11-06 07:45:00 | 9.124 | 229.7 | 11.238 | 230.074 | 12.372 | 236.333 | 12.566 | 234.567 | 2.065 | 889.767 | 35.589 | 88.9693
2020-11-06 08:00:00 | 9.706 | 234.673 | 11.726 | 234.454 | 12.625 | 242.467 | 12.713 | 239.2 | 2.676 | 889.767 | 37.195 | 88.3597
2020-11-06 08:15:00 | 8.855 | 233.807 | 10.461 | 235.335 | 11.136 | 241.867 | 11.247 | 240.267 | 2.726 | 889.65 | 38.624 | 88.3462
2020-11-06 08:30:00 | 8.56 | 231.933 | 10.139 | 233.028 | 10.608 | 240.4 | 10.554 | 239.667 | 2.851 | 890.083 | 40.171 | 85.9907
2020-11-06 08:45:00 | 7.404 | 229.38 | 8.94 | 229.977 | 9.648 | 236.733 | 9.544 | 234.767 | 2.938 | 889.792 | 42.816 | 78.4714
2020-11-06 09:00:00 | 6.742 | 215.747 | 8.41 | 220.316 | 9.001 | 229.567 | 9.246 | 230.067 | 2.77 | 889.45 | 40.731 | 63.9759
2020-11-06 09:15:00 | 6.338 | 214.56 | 7.966 | 219.035 | 9.205 | 227.767 | 9.534 | 226.867 | 2.537 | 889.042 | 40.805 | 57.2909
2020-11-06 09:30:00 | 6.293 | 212.333 | 8.015 | 213.41 | 9.06 | 220.533 | 8.692 | 220.333 | 3.304 | 889.75 | 38.768 | 55.3972
2020-11-06 09:45:00 | 5.866 | 217.727 | 7.246 | 216.217 | 8.494 | 221.767 | 8.454 | 222.6 | 4.765 | 889.633 | 38.304 | 46.3986
2020-11-06 10:00:00 | 6.487 | 217.42 | 7.512 | 217.7 | 8.056 | 225.167 | 8.341 | 224.667 | 5.756 | 889.767 | 37.632 | 40.2273
2020-11-06 10:15:00 | 6.219 | 227.187 | 6.556 | 227.465 | 7.145 | 234.533 | 7.527 | 231.667 | 6.667 | 890.117 | 36.56 | 32.9149
2020-11-06 10:30:00 | 6.983 | 241.113 | 7.343 | 237.16 | 7.774 | 242.633 | 7.973 | 237.1 | 7.966 | 889.25 | 38.219 | 30.2524
2020-11-06 10:45:00 | 7.415 | 236.8 | 8.076 | 234.15 | 8.497 | 239.067 | 8.21 | 235.933 | 8.508 | 889.1 | 37.051 | 31.2834
2020-11-06 11:00:00 | 6.67 | 245.58 | 7.216 | 241.569 | 7.588 | 247.067 | 7.854 | 241 | 9.166 | 889.917 | 35.563 | 28.4632
2020-11-06 11:15:00 | 7.411 | 256.753 | 8.095 | 253.921 | 8.388 | 256.05 | 8.584 | 253.333 | 10.066 | 889.9 | 34.419 | 22.687
2020-11-06 11:30:00 | 8.639 | 263.173 | 9.134 | 258.025 | 9.12 | 261.817 | 8.918 | 255.717 | 10.203 | 889.717 | 34.045 | 21.4044
2020-11-06 11:45:00 | 10.322 | 272.32 | 11.132 | 264.864 | 11.62 | 268.85 | 11.578 | 264.867 | 10.786 | 889.817 | 34.605 | 22.0738
2020-11-06 12:00:00 | 9.808 | 281.547 | 10.547 | 274.216 | 10.779 | 278.133 | 11.188 | 275.133 | 10.478 | 889.767 | 34.341 | 22.0219
2020-11-06 12:15:00 | 9.649 | 288.667 | 10.425 | 279.251 | 10.877 | 281.3 | 11.057 | 278.767 | 10.795 | 889.8 | 33.328 | 22.6458
2020-11-06 12:30:00 | 9.348 | 297.013 | 10.055 | 292.866 | 10.349 | 297.6 | 10.984 | 293.033 | 11.64 | 889.567 | 32.517 | 22.5143
2020-11-06 12:45:00 | 10.888 | 286.147 | 11.597 | 281.531 | 11.758 | 283.933 | 12.077 | 284.133 | 11.949 | 889.967 | 32.067 | 22.0887
2020-11-06 13:00:00 | 12.16 | 276.227 | 13.382 | 272.072 | 13.502 | 275.333 | 13.229 | 271.7 | 12.211 | 889.817 | 31.067 | 22.3281
2020-11-06 13:15:00 | 11.169 | 273.2 | 11.987 | 268.405 | 11.848 | 272.067 | 12.226 | 271 | 13.078 | 889.5 | 29.645 | 22.3999
2020-11-06 13:30:00 | 13.056 | 274.88 | 13.888 | 268.737 | 14.097 | 272.5 | 14.118 | 270.1 | 13.316 | 889.8 | 29.597 | 22.1711
2020-11-06 13:45:00 | 11.919 | 278.48 | 13.106 | 270.132 | 13.406 | 273.867 | 13.269 | 268.167 | 13.478 | 889.75 | 28.808 | 21.1536
2020-11-06 14:00:00 | 11.707 | 289.347 | 12.437 | 285.309 | 12.29 | 286.1 | 12.578 | 283.467 | 13.149 | 889.35 | 26.709 | 22.2756
2020-11-06 14:15:00 | 11.172 | 294.947 | 11.596 | 288.938 | 11.943 | 289.8 | 12.579 | 286.933 | 13.349 | 889.717 | 25.928 | 22.5129
2020-11-06 14:30:00 | 10.168 | 312.133 | 10.37 | 309.271 | 10.992 | 311.567 | 11.469 | 308.933 | 12.764 | 889.85 | 23.744 | 22.5399
2020-11-06 14:45:00 | 10.344 | 317.573 | 10.998 | 310.49 | 11.351 | 316.4 | 11.809 | 313.633 | 12.438 | 889.85 | 22.243 | 22.515
2020-11-06 15:00:00 | 9.565 | 316.013 | 10.404 | 312.399 | 10.819 | 315.633 | 11.275 | 313.3 | 12.784 | 889.883 | 21.455 | 22.7765
2020-11-06 15:15:00 | 9.835 | 319.64 | 10.191 | 313.333 | 10.559 | 316.167 | 11.312 | 313.567 | 12.566 | 890.117 | 21.512 | 22.8092
2020-11-06 15:30:00 | 10.201 | 322.84 | 10.651 | 315.858 | 11.143 | 319.8 | 11.314 | 317.133 | 12.516 | 890.033 | 21.483 | 23.1673
2020-11-06 15:45:00 | 10.075 | 318.12 | 10.551 | 311.1 | 10.962 | 315 | 11.376 | 312.9 | 12.559 | 889.933 | 21.707 | 23.2107
2020-11-06 16:00:00 | 9.71 | 315.187 | 10.012 | 308.839 | 10.125 | 313.067 | 10.422 | 309.8 | 12.405 | 889.833 | 22.253 | 22.9918
2020-11-06 16:15:00 | 8.584 | 316.84 | 8.922 | 310.592 | 9.106 | 315.2 | 9.404 | 312.4 | 12.303 | 889.667 | 23.267 | 23.8622
2020-11-06 16:30:00 | 7.886 | 317.733 | 8.426 | 310.668 | 8.422 | 318 | 8.751 | 316.467 | 12.078 | 889.8 | 22.709 | 34.994
2020-11-06 16:45:00 | 8.258 | 318 | 8.86 | 311.806 | 9.241 | 315.167 | 9.544 | 314.167 | 11.77 | 890.3 | 23.139 | 42.1664
2020-11-06 17:00:00 | 8.344 | 314.84 | 9.046 | 309.905 | 9.416 | 314.8 | 9.716 | 312.933 | 11.132 | 889.567 | 24.077 | 50.5732
2020-11-06 17:15:00 | 8.066 | 316.933 | 8.486 | 310.704 | 8.942 | 316.7 | 9.341 | 314.567 | 11.328 | 889.8 | 24.645 | 55.0511
2020-11-06 17:30:00 | 6.649 | 315.2 | 7.298 | 308.036 | 7.642 | 312.1 | 8.229 | 311.533 | 10.861 | 889.867 | 25.088 | 50.9164
2020-11-06 17:45:00 | 6.582 | 312.707 | 7.136 | 305.056 | 7.586 | 308.9 | 7.971 | 306.2 | 10.416 | 889.75 | 24.939 | 36.3924
2020-11-06 18:00:00 | 4.898 | 312.267 | 5.492 | 305.263 | 5.966 | 310.967 | 6.449 | 307.3 | 10.347 | 889.75 | 25.709 | 23.5539
2020-11-06 18:15:00 | 4.201 | 302.6 | 4.685 | 297.132 | 5.043 | 302.167 | 5.778 | 299.233 | 9.943 | 889.717 | 25.92 | 16.1341
2020-11-06 18:30:00 | 2.712 | 307.32 | 2.917 | 308.046 | 3.384 | 310.667 | 3.857 | 306 | 9.454 | 889.783 | 26.373 | 10.343
2020-11-06 18:45:00 | 2.779 | 318.427 | 3.123 | 313.584 | 3.504 | 314.933 | 4.07 | 305.667 | 9.454 | 889.567 | 27.072 | 6.1386
2020-11-06 19:00:00 | 2.46 | 312.787 | 2.76 | 318.121 | 2.749 | 312.233 | 3.224 | 302.7 | 8.687 | 889.75 | 27.795 | 3.8918
2020-11-06 19:15:00 | 2.364 | 257.42 | 1.873 | 280.535 | 2.752 | 280.667 | 3.834 | 282.967 | 8.224 | 889.55 | 29.059 | 1.5355
2020-11-06 19:30:00 | 3.176 | 258.42 | 3.717 | 273.754 | 4.216 | 280.567 | 4.858 | 280.5 | 6.989 | 889.567 | 30.699 | 1.7743
2020-11-06 19:45:00 | 4.314 | 205.34 | 3.15 | 232.516 | 3.191 | 254.233 | 3.418 | 269.683 | 6.512 | 889.517 | 31.123 | 0.96282
2020-11-06 20:00:00 | 3.68 | 194.7 | 2.442 | 207.873 | 2.31 | 215.633 | 2.19 | 231.133 | 6.624 | 889.95 | 32.667 | 0.16769
2020-11-06 20:15:00 | 3.761 | 213.167 | 3.063 | 212.351 | 2.998 | 227.533 | 2.832 | 232.967 | 7.522 | 889.633 | 31.547 | 0.25083
2020-11-06 20:30:00 | 3.646 | 224.413 | 3.54 | 228.35 | 3.536 | 237.8 | 3.054 | 247.367 | 7.816 | 889.3 | 31.2 | 0.44908
2020-11-06 20:45:00 | 4.601 | 222.813 | 3.32 | 230.266 | 3.169 | 239.8 | 3.142 | 241.233 | 6.499 | 889.417 | 32.037 | 0.33752
2020-11-06 21:00:00 | 4.299 | 231.693 | 3.228 | 238.168 | 3.382 | 248.033 | 3.564 | 249.367 | 5.924 | 889.767 | 32.997 | 0.545
2020-11-06 21:15:00 | 3.644 | 231.987 | 3.517 | 250.551 | 3.892 | 262.333 | 4.237 | 263.533 | 6.452 | 889.767 | 33.221 | 1.0992
2020-11-06 21:30:00 | 4.436 | 231.853 | 4.013 | 245.181 | 4.435 | 258.2 | 4.828 | 260.717 | 6.071 | 889.7 | 34.429 | 2.271
2020-11-06 21:45:00 | 4.733 | 224.033 | 4.151 | 226.23 | 4.547 | 240.667 | 4.998 | 248.367 | 6.989 | 889.867 | 34.267 | 5.0244
2020-11-06 22:00:00 | 5.118 | 226 | 4.264 | 230.541 | 4.519 | 245.533 | 4.89 | 251 | 7.472 | 889.7 | 34.336 | 4.3039
2020-11-06 22:15:00 | 5.464 | 226.56 | 4.433 | 232.549 | 4.754 | 245.767 | 5.111 | 248.75 | 5.412 | 889.7 | 37.435 | 5.6725
2020-11-06 22:30:00 | 5.329 | 226.08 | 4.432 | 231.008 | 4.87 | 242.567 | 5.318 | 244.4 | 5.356 | 889.95 | 37.824 | 6.0057
2020-11-06 22:45:00 | 5.469 | 219.753 | 4.417 | 220.26 | 4.699 | 237.2 | 5.472 | 237.267 | 6.303 | 889.883 | 36.501 | 5.6398
2020-11-06 23:00:00 | 5.373 | 222.607 | 4.213 | 222.482 | 3.962 | 233.9 | 4.178 | 239.7 | 5.998 | 889.583 | 36.256 | 4.149
2020-11-06 23:15:00 | 6.286 | 223.593 | 4.361 | 221.945 | 3.926 | 238.1 | 3.97 | 241.267 | 4.981 | 889.883 | 39.083 | 4.0758
2020-11-06 23:30:00 | 6.98 | 218.233 | 5.07 | 218.102 | 4.492 | 228.067 | 4.706 | 232.767 | 3.338 | 889.725 | 41.317 | 4.9143
2020-11-06 23:45:00 | 5.641 | 217.353 | 4.353 | 218.717 | 3.637 | 230.7 | 3.787 | 237.467 | 3.451 | 889.775 | 42.933 | 3.1556