## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-07 00:00:00 | 2.407 | 187.9 | 2.633 | 215.081 | 2.522 | 235.917 | 2.158 | 246.133 | 2.336 | 890.042 | 44.64 | 0.96495
2020-11-07 00:15:00 | 2.496 | 149.18 | 2.597 | 160.015 | 2.435 | 178.733 | 2.305 | 208.767 | 2.598 | 889.675 | 44.373 | 0.12222
2020-11-07 00:30:00 | 1.394 | 123.467 | 1.333 | 113.288 | 1.087 | 127.067 | 1.739 | 155.6 | 3.154 | 889.483 | 44.747 | 0.17693
2020-11-07 00:45:00 | 2.832 | 115.933 | 3.276 | 106.749 | 3.328 | 107.667 | 2.971 | 103.533 | 4.172 | 890.067 | 38.805 | 0.86618
2020-11-07 01:00:00 | 1.952 | 140.533 | 2.288 | 117.196 | 2.544 | 118.967 | 2.379 | 113 | 3.304 | 889.617 | 39.312 | 0.77452
2020-11-07 01:15:00 | 1.553 | 153.067 | 2.338 | 123.142 | 2.57 | 121.133 | 2.694 | 112.933 | 3.237 | 890.133 | 41.6 | 0.46045
2020-11-07 01:30:00 | 1.881 | 177.6 | 2.052 | 136.311 | 1.955 | 127.733 | 2.455 | 120 | 3.689 | 889.7 | 42.336 | 0.15846
2020-11-07 01:45:00 | 2.412 | 203.267 | 0.453 | 137.501 | 1.211 | 127.033 | 2.196 | 120 | 3.656 | 890.067 | 42.293 | 0.20749
2020-11-07 02:00:00 | 2.562 | 240.933 | 0 | 168.676 | 0 | 126.9 | 0.067 | 120.033 | 3.471 | 890.017 | 43.445 | 0.24159
2020-11-07 02:15:00 | 1.563 | 225.567 | 0 | 214.624 | 0 | 76.067 | 0.077 | 120 | 3.823 | 890.017 | 43.221 | 0.20393
2020-11-07 02:30:00 | 0.15 | 257.38 | 0 | 279.292 | 0 | 334 | 0.138 | 120.25 | 3.678 | 890.025 | 44.053 | 0.1684
2020-11-07 02:45:00 | 1.634 | 253.8 | 0.473 | 334.989 | 0 | 334.4 | 1.158 | 119.517 | 3.79 | 889.4 | 44.288 | 0.25154
2020-11-07 03:00:00 | 0.612 | 287.667 | 0 | 335.089 | 0 | 334.067 | 0.856 | 118.417 | 3.154 | 889.533 | 44.981 | 0.24301
2020-11-07 03:15:00 | 0.033 | 287.067 | 0 | 335.175 | 0 | 90 | 1.34 | 118 | 3.186 | 890.067 | 46.037 | 0.25083
2020-11-07 03:30:00 | 0.715 | 288.16 | 0 | 335.005 | 0.077 | 90 | 1.326 | 118.067 | 3.09 | 889.942 | 47.68 | 0.25012
2020-11-07 03:45:00 | 1.142 | 250.627 | 0.227 | 80.639 | 2.126 | 99.067 | 2.371 | 112.767 | 2.271 | 890.1 | 46.485 | 0.2487
2020-11-07 04:00:00 | 1.051 | 264.98 | 0 | 99.274 | 2.224 | 89.05 | 2.941 | 92 | 2.932 | 889.758 | 45.611 | 0.18901
2020-11-07 04:15:00 | 1.19 | 268.693 | 0 | 99.277 | 0.637 | 96.025 | 1.596 | 92 | 3.106 | 890.175 | 43.104 | 0.24515
2020-11-07 04:30:00 | 1.888 | 269.6 | 0 | 99.196 | 0 | 96.117 | 0.131 | 91.867 | 2.065 | 889.958 | 44.992 | 0.25012
2020-11-07 04:45:00 | 2.03 | 277.467 | 0 | 43.459 | 0 | 95.917 | 1.702 | 92 | 2.41 | 889.733 | 44.16 | 0.25438
2020-11-07 05:00:00 | 2.789 | 270.8 | 0.037 | 127.756 | 0.767 | 59.092 | 2.436 | 81.667 | 2.733 | 889.625 | 43.467 | 0.26149
2020-11-07 05:15:00 | 2.138 | 258.227 | 0.03 | 212.227 | 1.293 | 52.362 | 3.184 | 71.7 | 2.427 | 889.95 | 44.48 | 0.26717
2020-11-07 05:30:00 | 2.372 | 265.187 | 0.03 | 279.124 | 0.237 | 43.729 | 2.37 | 58.1 | 2.757 | 889.925 | 43.621 | 0.28707
2020-11-07 05:45:00 | 1.727 | 271.933 | 0 | 79.997 | 1.07 | 45.188 | 2.98 | 59 | 2.7 | 890.267 | 42.336 | 0.25794
2020-11-07 06:00:00 | 1.265 | 214.7 | 0.313 | 109.515 | 1.362 | 97.633 | 2.267 | 86 | 2.418 | 889.675 | 42.069 | 0.2622
2020-11-07 06:15:00 | 1.44 | 219 | 0 | 120.263 | 1.566 | 93 | 2.394 | 87.267 | 2.516 | 889.867 | 42.251 | 0.26433
2020-11-07 06:30:00 | 1.871 | 237.727 | 0 | 123.266 | 0 | 106 | 1.751 | 87 | 2.439 | 889.85 | 42.645 | 0.27428
2020-11-07 06:45:00 | 1.841 | 240.36 | 0 | 123.27 | 0.31 | 106 | 1.774 | 87.1 | 2.368 | 889.583 | 43.083 | 0.27144
2020-11-07 07:00:00 | 2.034 | 235.9 | 0 | 146.606 | 0 | 118 | 1.417 | 87.067 | 2.598 | 889.892 | 42.88 | 0.28138
2020-11-07 07:15:00 | 2.001 | 225.847 | 0 | 175.402 | 0.037 | 118 | 1.832 | 87.233 | 2.99 | 890.292 | 41.419 | 0.27002
2020-11-07 07:30:00 | 1.444 | 227.02 | 0 | 175.411 | 0 | 118 | 1.811 | 87 | 3.234 | 890.033 | 40.416 | 0.27002
2020-11-07 07:45:00 | 1.852 | 220.24 | 0 | 175.448 | 0 | 118.067 | 1.31 | 87 | 2.894 | 889.733 | 40.715 | 0.28565
2020-11-07 08:00:00 | 2.642 | 215.273 | 0 | 175.475 | 0.254 | 118 | 0.215 | 87 | 2.456 | 889.975 | 41.429 | 0.28565
2020-11-07 08:15:00 | 2.903 | 212.387 | 1.286 | 181.238 | 0.544 | 131.533 | 0.413 | 87 | 2.476 | 889.758 | 41.221 | 0.28991
2020-11-07 08:30:00 | 2.078 | 210 | 0.276 | 184.728 | 0.22 | 143.8 | 0.319 | 87 | 3.104 | 889.733 | 39.936 | 0.28138
2020-11-07 08:45:00 | 2.452 | 199 | 1.258 | 139.669 | 1.72 | 118 | 1.955 | 87.067 | 3.438 | 889.833 | 39.637 | 0.28991
2020-11-07 09:00:00 | 3.107 | 197.073 | 1.336 | 151.514 | 1.252 | 127.433 | 1.53 | 87 | 4.309 | 889.8 | 38.005 | 0.28138
2020-11-07 09:15:00 | 2.4 | 197.28 | 0.676 | 151.365 | 1.192 | 126.4 | 1.515 | 87 | 4.577 | 889.833 | 36.523 | 0.28849
2020-11-07 09:30:00 | 2.802 | 200.287 | 1.124 | 151.564 | 1.171 | 124 | 1.672 | 87 | 5.359 | 889.65 | 34.651 | 0.28423
2020-11-07 09:45:00 | 2.651 | 203.367 | 0.568 | 162.351 | 0 | 123.9 | 1.099 | 87 | 5.795 | 889.417 | 32.912 | 0.28281
2020-11-07 10:00:00 | 2.586 | 214.973 | 0.942 | 179.967 | 0 | 123.967 | 0.847 | 87 | 4.987 | 889.95 | 35.184 | 0.27286
2020-11-07 10:15:00 | 1.779 | 202.807 | 0.964 | 180.64 | 0.54 | 127.533 | 1.494 | 87 | 6.264 | 889.933 | 34.091 | 0.27002
2020-11-07 10:30:00 | 1.446 | 178 | 0.48 | 156.939 | 0.433 | 142.4 | 1.293 | 87.167 | 7.222 | 889.933 | 29.819 | 0.27144
2020-11-07 10:45:00 | 0.376 | 142.73 | 0.023 | 144.402 | 0.163 | 118.9 | 0.652 | 87.067 | 7.896 | 889.583 | 27.664 | 0.26575
2020-11-07 11:00:00 | 0.691 | 73.14 | 0.033 | 76.33 | 0.033 | 88.833 | 0.658 | 87 | 8.204 | 889.9 | 27.515 | 0.25865
2020-11-07 11:15:00 | 1.779 | 46.225 | 1.406 | 49.287 | 1.606 | 60.167 | 1.764 | 65.367 | 8.294 | 889.633 | 26.923 | 0.25438
2020-11-07 11:30:00 | 2.138 | 52.757 | 1.883 | 46.401 | 2.07 | 48.033 | 2.344 | 47.833 | 7.95 | 889.717 | 27.003 | 0.25865
2020-11-07 11:45:00 | 2.767 | 64.282 | 2.432 | 60.057 | 2.605 | 62.533 | 2.994 | 55.5 | 8.277 | 889.217 | 27.317 | 0.19114
2020-11-07 12:00:00 | 3.052 | 62.227 | 2.896 | 57.665 | 3.264 | 63.133 | 3.629 | 57.467 | 8.666 | 889.5 | 28.8 | 0.48745
2020-11-07 12:15:00 | 2.813 | 89.04 | 2.558 | 91.268 | 2.649 | 92.567 | 3.104 | 85.4 | 8.891 | 889.517 | 27.957 | 1.306
2020-11-07 12:30:00 | 3.942 | 66.793 | 3.534 | 64.832 | 3.91 | 71.333 | 4.042 | 65.167 | 9.437 | 889.533 | 26.784 | 2.3108
2020-11-07 12:45:00 | 3.637 | 74.94 | 3.451 | 67.254 | 3.594 | 68.967 | 3.933 | 65.8 | 8.949 | 889.7 | 25.989 | 3.1507
2020-11-07 13:00:00 | 3.312 | 60.112 | 3.29 | 61.69 | 3.434 | 66.567 | 3.6 | 61.333 | 9.395 | 889.667 | 25.008 | 3.7838
2020-11-07 13:15:00 | 3.733 | 69.75 | 3.615 | 63.403 | 3.787 | 65.033 | 4.068 | 64.133 | 9.154 | 889.717 | 24.043 | 4.0211
2020-11-07 13:30:00 | 3.671 | 54.097 | 3.48 | 53.406 | 3.449 | 57.3 | 3.824 | 52.933 | 9.428 | 889.4 | 24.613 | 4.2378
2020-11-07 13:45:00 | 4.166 | 69.733 | 3.979 | 71.027 | 4.293 | 76.233 | 4.58 | 70.9 | 9.399 | 889.517 | 24.56 | 5.9361
2020-11-07 14:00:00 | 4.177 | 73.08 | 4.087 | 73.525 | 4.295 | 77.633 | 4.6 | 71.9 | 9.32 | 889.717 | 24.864 | 7.2179
2020-11-07 14:15:00 | 4.494 | 78.477 | 4.453 | 74.275 | 4.705 | 77.933 | 4.74 | 73.667 | 9.262 | 889.9 | 24.608 | 7.429
2020-11-07 14:30:00 | 4.277 | 69.407 | 4.077 | 68.059 | 4.227 | 69.6 | 4.516 | 64.967 | 8.995 | 889.967 | 24.149 | 6.9842
2020-11-07 14:45:00 | 3.995 | 69.447 | 4.101 | 65.23 | 4.261 | 69.2 | 4.482 | 69.167 | 9.141 | 890.017 | 23.979 | 5.9709
2020-11-07 15:00:00 | 4.087 | 73.203 | 4.019 | 69.456 | 4.406 | 73.533 | 4.81 | 73.067 | 9.304 | 889.917 | 24.229 | 5.5062
2020-11-07 15:15:00 | 3.182 | 81.457 | 3.11 | 76.218 | 3.323 | 77.833 | 3.621 | 74.967 | 10.07 | 889.933 | 24.331 | 5.4742
2020-11-07 15:30:00 | 3.992 | 77.853 | 3.774 | 74.853 | 4.116 | 78.567 | 4.682 | 74.3 | 9.72 | 889.75 | 24.165 | 4.6322
2020-11-07 15:45:00 | 3.202 | 90.6 | 3.09 | 87.933 | 3.255 | 88.667 | 3.876 | 83.2 | 9.649 | 889.567 | 23.931 | 4.9285
2020-11-07 16:00:00 | 4.107 | 70.438 | 3.925 | 70.078 | 3.959 | 71.7 | 4.275 | 70.467 | 9.735 | 890.317 | 23.813 | 3.7646
2020-11-07 16:15:00 | 3.276 | 74.668 | 3.124 | 73.447 | 3.378 | 82.033 | 3.774 | 75 | 9.808 | 890.083 | 23.877 | 3.712
2020-11-07 16:30:00 | 3.723 | 88.983 | 3.431 | 86.867 | 3.34 | 96.067 | 3.435 | 89.233 | 9.86 | 890.017 | 24.176 | 3.8975
2020-11-07 16:45:00 | 3.678 | 69.955 | 3.713 | 70.111 | 4.01 | 74.567 | 4.486 | 71.833 | 9.98 | 889.9 | 24.325 | 3.96
2020-11-07 17:00:00 | 3.285 | 84.827 | 2.925 | 78.17 | 3.046 | 81.933 | 3.404 | 77.033 | 9.633 | 889.467 | 24.645 | 4.063
2020-11-07 17:15:00 | 3.562 | 84.053 | 3.527 | 82.484 | 3.577 | 86.167 | 3.532 | 84.367 | 9.787 | 889.417 | 24.731 | 4.1106
2020-11-07 17:30:00 | 3.47 | 91.78 | 2.946 | 82.691 | 3.054 | 87.533 | 3.324 | 78.267 | 9.758 | 889.6 | 25.168 | 3.9039
2020-11-07 17:45:00 | 3.263 | 84.9 | 3.13 | 80.957 | 3.12 | 87.667 | 3.279 | 81.533 | 9.458 | 889.733 | 25.579 | 2.8622
2020-11-07 18:00:00 | 3.366 | 79.007 | 3.385 | 75.355 | 3.456 | 79.733 | 3.73 | 74.867 | 9.083 | 889.717 | 26.133 | 2.3328
2020-11-07 18:15:00 | 2.611 | 73.567 | 2.582 | 72.594 | 2.685 | 76.433 | 3.052 | 74.9 | 8.608 | 889.75 | 26.944 | 1.1731
2020-11-07 18:30:00 | 2.451 | 75.3 | 2.34 | 71.537 | 2.48 | 78.067 | 2.71 | 74.767 | 8.274 | 889.717 | 27.733 | 0.91095
2020-11-07 18:45:00 | 2.576 | 73.9 | 2.594 | 69.75 | 2.673 | 73.567 | 2.899 | 74.067 | 7.422 | 889.567 | 28.149 | 0.46755
2020-11-07 19:00:00 | 2.041 | 90.1 | 2.494 | 77.555 | 2.504 | 83.033 | 2.583 | 81.533 | 7.456 | 889.5 | 28.347 | 0.59261
2020-11-07 19:15:00 | 2.299 | 88.033 | 2.659 | 78.141 | 2.672 | 81.2 | 2.759 | 79.833 | 6.906 | 889.75 | 29.04 | 0.89531
2020-11-07 19:30:00 | 2.269 | 122.503 | 2.287 | 100.988 | 1.974 | 102.8 | 2.237 | 103.233 | 6.704 | 889.633 | 29.429 | 0.21317
2020-11-07 19:45:00 | 1.714 | 156.593 | 2.21 | 108.576 | 1.758 | 107.767 | 1.776 | 102.233 | 6.058 | 889.717 | 29.989 | 0.72762
2020-11-07 20:00:00 | 1.749 | 149.773 | 1.798 | 104.825 | 1.186 | 103.2 | 1.686 | 102.833 | 6.313 | 890.083 | 30.229 | 0.72762
2020-11-07 20:15:00 | 1.894 | 147.02 | 2.508 | 112.346 | 2.548 | 108 | 2.559 | 97.867 | 5.954 | 889.417 | 30.48 | 1.2335
2020-11-07 20:30:00 | 2.428 | 190.74 | 2.088 | 137.97 | 2.454 | 118.7 | 2.684 | 101.533 | 5.584 | 889.85 | 30.176 | 2.914
2020-11-07 20:45:00 | 2.203 | 178.827 | 1.497 | 143.997 | 2.174 | 117.1 | 2.026 | 102.3 | 5.031 | 889.883 | 31.179 | 0.48745
2020-11-07 21:00:00 | 2.17 | 205.133 | 1.154 | 130.7 | 1.29 | 105.1 | 1.129 | 86 | 4.802 | 889.5 | 31.968 | 0.26504
2020-11-07 21:15:00 | 2.761 | 189.093 | 1.333 | 152.084 | 1.564 | 141.267 | 2.325 | 111.2 | 4.682 | 889.733 | 32.784 | 0.27002
2020-11-07 21:30:00 | 2.038 | 179.507 | 1.443 | 129.319 | 2.028 | 120.033 | 2.59 | 110.9 | 5.749 | 889.617 | 32.032 | 0.23875
2020-11-07 21:45:00 | 1.65 | 216.433 | 0 | 121.24 | 0.713 | 103.867 | 1.906 | 91.833 | 5.166 | 889.55 | 32.645 | 0.23449
2020-11-07 22:00:00 | 1.333 | 220.033 | 0 | 116.535 | 0.643 | 104 | 1.896 | 92 | 4.57 | 890.117 | 33.477 | 0.21885
2020-11-07 22:15:00 | 1.237 | 236.133 | 0 | 200.41 | 0 | 104 | 0.634 | 92 | 4.388 | 889.717 | 34.293 | 0.22738
2020-11-07 22:30:00 | 2.202 | 232.413 | 0 | 200.564 | 0 | 104 | 0 | 92 | 4.444 | 890.05 | 34.336 | 0.23164
2020-11-07 22:45:00 | 2.604 | 234.44 | 0 | 200.499 | 0 | 104 | 0 | 92 | 4.375 | 889.783 | 34.368 | 0.23449
2020-11-07 23:00:00 | 2.516 | 237.107 | 0.107 | 241.121 | 0 | 104.067 | 0.5 | 92 | 3.575 | 890.017 | 34.699 | 0.23022
2020-11-07 23:15:00 | 1.97 | 241.573 | 0 | 241.426 | 0.333 | 86.8 | 1.926 | 90 | 3.959 | 889.9 | 35.099 | 0.23591
2020-11-07 23:30:00 | 2.061 | 234.707 | 0 | 180.1 | 0.951 | 98.9 | 1.986 | 90.067 | 3.725 | 889.983 | 34.613 | 0.24301
2020-11-07 23:45:00 | 1.623 | 219.753 | 0 | 121.239 | 0.214 | 99 | 1.882 | 85.467 | 3.748 | 889.783 | 34.72 | 0.2487