## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-08 00:00:00 | 0.972 | 217.12 | 0 | 121.245 | 1.023 | 98.9 | 2.216 | 86.233 | 4.331 | 890.25 | 35.051 | 0.22383
2020-11-08 00:15:00 | 1.404 | 207.067 | 0 | 121.273 | 1.246 | 107.2 | 2.687 | 97.267 | 3.672 | 889.7 | 35.419 | 0.2352
2020-11-08 00:30:00 | 1.018 | 201.1 | 0.127 | 136.122 | 1.827 | 113.9 | 3.02 | 102.1 | 3.639 | 889.883 | 35.621 | 0.24088
2020-11-08 00:45:00 | 1.994 | 203.64 | 0.893 | 167.576 | 0.882 | 152.767 | 2.358 | 131.2 | 3.776 | 889.35 | 35.573 | 0.27854
2020-11-08 01:00:00 | 2.459 | 198.8 | 1.551 | 151.428 | 1.972 | 139.833 | 2.77 | 124.633 | 3.739 | 889.733 | 35.952 | 0.25722
2020-11-08 01:15:00 | 3.054 | 210.033 | 1.74 | 166.3 | 1.418 | 155.133 | 2.227 | 131.9 | 3.238 | 889.817 | 35.888 | 0.25154
2020-11-08 01:30:00 | 3.432 | 221.307 | 1.512 | 195.089 | 1.303 | 186.733 | 1.818 | 158.533 | 2.76 | 890.083 | 37.237 | 0.26149
2020-11-08 01:45:00 | 2.569 | 178.7 | 1.999 | 134.211 | 2.604 | 120.967 | 3.302 | 110.933 | 3.605 | 889.817 | 36.197 | 0.23164
2020-11-08 02:00:00 | 3.009 | 217.393 | 1.134 | 197.819 | 0.467 | 166.467 | 1.482 | 140.333 | 2.785 | 889.95 | 37.579 | 0.27286
2020-11-08 02:15:00 | 3.54 | 209.18 | 1.917 | 170.927 | 1.85 | 145.4 | 2.612 | 131 | 3.223 | 889.25 | 35.355 | 0.25154
2020-11-08 02:30:00 | 2.797 | 201.867 | 1.219 | 158.854 | 1.29 | 132.4 | 2.149 | 127 | 3.438 | 889.967 | 35.701 | 0.2487
2020-11-08 02:45:00 | 2.48 | 197.533 | 0.723 | 151.429 | 0.847 | 133 | 1.701 | 116 | 3.338 | 890.1 | 35.728 | 0.25865
2020-11-08 03:00:00 | 2.484 | 193.967 | 1.322 | 149.465 | 1.492 | 138 | 2.008 | 117 | 3.221 | 889.683 | 35.819 | 0.26007
2020-11-08 03:15:00 | 2.136 | 211.687 | 0 | 151.521 | 0.353 | 131.533 | 1.911 | 116.933 | 2.378 | 889.867 | 36.075 | 0.27144
2020-11-08 03:30:00 | 3.291 | 217.833 | 0.697 | 181.392 | 0.544 | 179 | 1.351 | 117.533 | 2.99 | 889.867 | 36 | 0.23378
2020-11-08 03:45:00 | 1.938 | 210.9 | 1.153 | 177.315 | 1.237 | 172.967 | 1.888 | 163.533 | 3.605 | 889.583 | 36.267 | 0.31194
2020-11-08 04:00:00 | 2.782 | 224 | 0.083 | 188.51 | 0.698 | 153.8 | 1.959 | 138.167 | 3.554 | 889.7 | 35.68 | 0.28849
2020-11-08 04:15:00 | 2.395 | 214.767 | 0 | 188.501 | 1.439 | 107.433 | 2.962 | 99.167 | 3.254 | 889.283 | 35.712 | 0.2352
2020-11-08 04:30:00 | 1.637 | 159.82 | 1.931 | 118.506 | 2.821 | 114.167 | 3.976 | 108.333 | 3.983 | 889.583 | 35.531 | 1.9605
2020-11-08 04:45:00 | 3.09 | 173.02 | 2.917 | 121.231 | 3.846 | 117.433 | 4.645 | 107.133 | 3.317 | 889.7 | 35.269 | 3.9678
2020-11-08 05:00:00 | 3.952 | 166.067 | 3.079 | 138.236 | 3.414 | 128.933 | 4.462 | 115.533 | 2.851 | 889.733 | 37.125 | 4.3742
2020-11-08 05:15:00 | 4.186 | 163.013 | 4.258 | 126.936 | 4.434 | 122.833 | 4.79 | 115.933 | 1.725 | 889.833 | 38.421 | 5.794
2020-11-08 05:30:00 | 3.997 | 161.033 | 4.456 | 122.998 | 4.598 | 120.5 | 5.113 | 114.833 | 2.41 | 889.933 | 35.968 | 8.5922
2020-11-08 05:45:00 | 3.812 | 161.7 | 4.32 | 124.401 | 4.359 | 122.567 | 5.01 | 116.6 | 3.254 | 889.583 | 34.181 | 8.9709
2020-11-08 06:00:00 | 3.364 | 156.033 | 3.927 | 125.531 | 4.056 | 123.4 | 4.538 | 118.367 | 3.321 | 889.283 | 33.349 | 8.1339
2020-11-08 06:15:00 | 2.97 | 172.44 | 3.387 | 121.901 | 3.682 | 117.833 | 4.088 | 110.333 | 2.499 | 889.667 | 33.024 | 6.5116
2020-11-08 06:30:00 | 2.973 | 176.487 | 3.038 | 121.402 | 3.037 | 109.833 | 3.248 | 104.067 | 1.722 | 889.95 | 35.376 | 4.2236
2020-11-08 06:45:00 | 3.286 | 173.187 | 3.118 | 126.458 | 3.492 | 114.033 | 4.238 | 104.467 | 1.948 | 890.117 | 34.539 | 2.7279
2020-11-08 07:00:00 | 3.158 | 179.46 | 2.587 | 132.386 | 3.032 | 114.7 | 3.773 | 110.3 | 1.436 | 889.467 | 35.397 | 2.3122
2020-11-08 07:15:00 | 2.753 | 185.28 | 1.687 | 145.442 | 2.336 | 111.6 | 2.21 | 93.5 | 1.742 | 890.033 | 35.36 | 1.4211
2020-11-08 07:30:00 | 1.857 | 184.247 | 0.403 | 103.138 | 1.043 | 88.8 | 1.955 | 85.933 | 2.082 | 889.683 | 35.237 | 0.60682
2020-11-08 07:45:00 | 2.398 | 193.18 | 1.06 | 123.042 | 1.714 | 110.8 | 2.653 | 109 | 2.082 | 889.667 | 35.787 | 0.10658
2020-11-08 08:00:00 | 1.474 | 202.667 | 0 | 117.261 | 0.347 | 110 | 2.001 | 119 | 3.154 | 889.833 | 34.891 | 0.25367
2020-11-08 08:15:00 | 1.191 | 211.18 | 0 | 115.523 | 1.285 | 106.2 | 1.946 | 104.2 | 2.63 | 889.783 | 34.896 | 0.27641
2020-11-08 08:30:00 | 1.87 | 207.76 | 0 | 114.051 | 1.668 | 92 | 2.582 | 92.833 | 1.915 | 889.85 | 35.771 | 0.27286
2020-11-08 08:45:00 | 3.281 | 214.513 | 0.113 | 181.011 | 0 | 87 | 1.616 | 78.933 | 1.459 | 889.833 | 34.309 | 0.26149
2020-11-08 09:00:00 | 2.324 | 241.513 | 0 | 176.399 | 0.127 | 50.467 | 2.001 | 63.167 | 2.72 | 889.75 | 33.061 | 0.26007
2020-11-08 09:15:00 | 1.732 | 252.687 | 0.433 | 284.059 | 1.76 | 16.904 | 2.505 | 26.767 | 2.048 | 889.683 | 32.944 | 0.28423
2020-11-08 09:30:00 | 1.05 | 229.96 | 0.036 | 18.075 | 1.289 | 38 | 2.168 | 54.033 | 2.962 | 889.817 | 31.659 | 0.22596
2020-11-08 09:45:00 | 1.878 | 249.527 | 0 | 304.93 | 0.04 | 18.433 | 1.855 | 61.233 | 2.357 | 889.733 | 32.005 | 0.17764
2020-11-08 10:00:00 | 1.014 | 245.253 | 0 | 304.996 | 0.283 | 65.733 | 2.648 | 72.833 | 2.864 | 889.867 | 31.584 | 0.25154
2020-11-08 10:15:00 | 0.635 | 274.52 | 0 | 345.691 | 0.3 | 48.467 | 2.431 | 73.667 | 2.79 | 889.583 | 32.392 | 0.92018
2020-11-08 10:30:00 | 0.113 | 312 | 0.033 | 110.494 | 2.033 | 58.712 | 3.142 | 75.833 | 3.505 | 889.75 | 30.893 | 0.42066
2020-11-08 10:45:00 | 0.556 | 196.927 | 0.643 | 67.648 | 1.277 | 78.85 | 2.345 | 95.367 | 5.786 | 889.733 | 29.205 | 0.95358
2020-11-08 11:00:00 | 1.16 | 79.143 | 1.229 | 77.844 | 1.456 | 81.967 | 2.134 | 82.5 | 6.038 | 889.683 | 28.453 | 1.8397
2020-11-08 11:15:00 | 3.25 | 103.87 | 2.971 | 93.702 | 3.097 | 96.933 | 3.255 | 90 | 6.373 | 889.717 | 28.187 | 1.3529
2020-11-08 11:30:00 | 3.488 | 107.77 | 3.377 | 100.253 | 3.295 | 105.667 | 3.63 | 92 | 6.644 | 889.217 | 28.416 | 3.1478
2020-11-08 11:45:00 | 4.868 | 92.133 | 4.283 | 90.036 | 4.163 | 91.633 | 4.491 | 85.6 | 7.072 | 889.7 | 28.112 | 4.9782
2020-11-08 12:00:00 | 5.142 | 87.757 | 4.855 | 83.939 | 5.06 | 86.333 | 5.112 | 81.8 | 7.682 | 889.683 | 27.6 | 8.6611
2020-11-08 12:15:00 | 5.734 | 78.833 | 5.679 | 78.358 | 6.067 | 81.3 | 6.025 | 78.5 | 7.489 | 889.267 | 27.52 | 13.5988
2020-11-08 12:30:00 | 6.649 | 81.12 | 6.256 | 77.132 | 6.497 | 81.533 | 6.544 | 77.333 | 7.603 | 890.1 | 27.483 | 14.8899
2020-11-08 12:45:00 | 5.339 | 87.8 | 5.045 | 85.393 | 5.09 | 86.6 | 5.558 | 79.833 | 7.99 | 890.067 | 26.848 | 15.069
2020-11-08 13:00:00 | 5.578 | 71.38 | 5.303 | 67.736 | 5.711 | 74.633 | 5.89 | 71.9 | 8.491 | 889.433 | 26.219 | 17.0316
2020-11-08 13:15:00 | 6.608 | 73.48 | 6.181 | 68.43 | 6.661 | 75.767 | 6.808 | 73.367 | 8.77 | 889.867 | 25.808 | 17.1723
2020-11-08 13:30:00 | 5.259 | 89.053 | 4.822 | 85.165 | 4.573 | 89.933 | 5.111 | 84.533 | 8.904 | 889.867 | 25.691 | 17.5666
2020-11-08 13:45:00 | 6.002 | 76.403 | 5.645 | 74.727 | 6.336 | 78.167 | 6.386 | 76.833 | 9.474 | 889.667 | 25.568 | 17.0749
2020-11-08 14:00:00 | 5.189 | 79.033 | 5.078 | 75.599 | 5.386 | 80.3 | 5.735 | 75.633 | 8.995 | 890.1 | 25.381 | 20.7016
2020-11-08 14:15:00 | 5.194 | 74.1 | 5.017 | 69.901 | 5.315 | 77.033 | 5.768 | 73.3 | 8.891 | 889.967 | 25.12 | 19.1562
2020-11-08 14:30:00 | 5.355 | 82.037 | 5.069 | 78.222 | 5.248 | 85.633 | 5.724 | 80.367 | 8.783 | 889.483 | 24.619 | 14.5567
2020-11-08 14:45:00 | 5.125 | 85.44 | 4.913 | 80.189 | 5.29 | 86.4 | 5.482 | 83.4 | 9.266 | 889.6 | 24.523 | 17.3101
2020-11-08 15:00:00 | 5.942 | 86.183 | 5.1 | 82.689 | 5.463 | 84.7 | 5.884 | 81.3 | 9.312 | 889.617 | 24.56 | 18.2331
2020-11-08 15:15:00 | 5.963 | 75.407 | 5.949 | 73.252 | 6.257 | 80.1 | 6.461 | 76.5 | 9.778 | 889.783 | 24.683 | 17.3911
2020-11-08 15:30:00 | 4.402 | 87.647 | 4.614 | 84.315 | 4.638 | 89.1 | 4.432 | 82.8 | 9.558 | 889.617 | 24.821 | 17.4259
2020-11-08 15:45:00 | 5.153 | 73.067 | 4.812 | 70.771 | 5.206 | 73.667 | 5.488 | 69.8 | 9.749 | 889.517 | 24.603 | 13.6152
2020-11-08 16:00:00 | 4.552 | 70.617 | 4.298 | 66.764 | 4.906 | 72.867 | 5.024 | 69.3 | 9.912 | 889.883 | 24.704 | 9.2594
2020-11-08 16:15:00 | 4.4 | 65.9 | 4.192 | 61.305 | 4.299 | 66.767 | 4.733 | 65.033 | 9.649 | 889.95 | 24.827 | 10.4659
2020-11-08 16:30:00 | 4.28 | 71.625 | 4.4 | 66.684 | 4.634 | 69.433 | 4.976 | 67.367 | 9.806 | 889.467 | 24.923 | 10.1391
2020-11-08 16:45:00 | 4.327 | 86.29 | 4.241 | 80.676 | 4.588 | 84.1 | 4.754 | 81.067 | 10.001 | 890.117 | 24.907 | 7.2137
2020-11-08 17:00:00 | 2.334 | 64.33 | 2.094 | 61.404 | 2.32 | 65.8 | 2.626 | 62.733 | 9.776 | 889.483 | 25.131 | 4.8056
2020-11-08 17:15:00 | 3.283 | 64.15 | 3.265 | 57.837 | 3.41 | 64.067 | 3.798 | 61.733 | 9.812 | 889.667 | 25.264 | 1.8986
2020-11-08 17:30:00 | 2.822 | 56.803 | 2.705 | 55.263 | 2.81 | 57.467 | 3.22 | 56.7 | 9.428 | 889.667 | 25.456 | 2.5914
2020-11-08 17:45:00 | 2.938 | 55.183 | 2.841 | 46.322 | 2.947 | 49.567 | 3.082 | 46.8 | 9.583 | 889.483 | 25.717 | 1.1881
2020-11-08 18:00:00 | 2.558 | 47.897 | 2.475 | 46.814 | 2.44 | 50.833 | 2.97 | 51.633 | 8.904 | 890.083 | 26.389 | 1.2826
2020-11-08 18:15:00 | 2.656 | 33.86 | 2.94 | 35.783 | 3.043 | 42.367 | 3.126 | 43.533 | 8.448 | 889.55 | 27.477 | 0.79441
2020-11-08 18:30:00 | 2.722 | 21.86 | 2.891 | 30.928 | 3.054 | 38.767 | 3.182 | 44.033 | 8.15 | 890.017 | 28.219 | 0.11724
2020-11-08 18:45:00 | 2.539 | 25.843 | 3.64 | 33.459 | 3.941 | 38.3 | 3.954 | 37.6 | 7.306 | 889.967 | 29.077 | 0.38157
2020-11-08 19:00:00 | 2.139 | 36.315 | 3.211 | 38.964 | 3.044 | 45.8 | 2.882 | 46.4 | 6.559 | 889.567 | 30.373 | 0.25438
2020-11-08 19:15:00 | 1.84 | 45.32 | 1.647 | 52.513 | 1.683 | 56.7 | 1.981 | 55.967 | 6.483 | 890.3 | 31.285 | 0.25083
2020-11-08 19:30:00 | 0 | 52.107 | 0.18 | 63.144 | 0.805 | 61.867 | 1.448 | 56.1 | 6.024 | 889.683 | 31.813 | 0.20749
2020-11-08 19:45:00 | 0 | 54.072 | 1.132 | 69.971 | 1.366 | 62.967 | 1.865 | 57.067 | 5.954 | 889.133 | 32.987 | 0.16911
2020-11-08 20:00:00 | 1.109 | 177.733 | 0 | 73.289 | 0.52 | 71 | 1.432 | 63 | 5.269 | 890.183 | 33.435 | 0.1748
2020-11-08 20:15:00 | 1.836 | 204.9 | 0 | 73.231 | 0 | 71 | 0.743 | 63.067 | 4.952 | 889.633 | 33.76 | 0.17196
2020-11-08 20:30:00 | 3.387 | 222.953 | 0.233 | 163.815 | 0 | 70.933 | 0.054 | 63 | 5.077 | 889.717 | 32.923 | 0.18617
2020-11-08 20:45:00 | 3.584 | 220.18 | 1.403 | 199.313 | 0 | 169.733 | 0.799 | 63 | 5.272 | 889.967 | 33.109 | 0.20606
2020-11-08 21:00:00 | 4.572 | 220.56 | 2.269 | 202.515 | 1.275 | 172.267 | 1.581 | 87.933 | 3.026 | 889.85 | 33.872 | 0.21743
2020-11-08 21:15:00 | 4.663 | 214.62 | 2.376 | 199.458 | 2.127 | 182.533 | 2.055 | 144.067 | 3.664 | 889.533 | 32.021 | 0.23449
2020-11-08 21:30:00 | 5.519 | 220.313 | 3.277 | 208.385 | 2.99 | 204.333 | 2.796 | 185.8 | 1.246 | 889.633 | 37.115 | 0.24444
2020-11-08 21:45:00 | 6.082 | 221.827 | 3.054 | 211.533 | 2.396 | 205.9 | 2.474 | 192.033 | 0.832 | 889.35 | 37.381 | 0.27428
2020-11-08 22:00:00 | 6.616 | 220.08 | 3.322 | 212.072 | 2.613 | 205.8 | 2.579 | 190.6 | 0.017 | 889.917 | 40.208 | 0.25865
2020-11-08 22:15:00 | 6.269 | 217.393 | 3.515 | 209.41 | 2.494 | 206 | 2.443 | 190.2 | 0.067 | 890.067 | 40.875 | 0.2558
2020-11-08 22:30:00 | 6.595 | 216.787 | 3.651 | 207.503 | 2.883 | 207.333 | 2.507 | 192 | 0.166 | 889.908 | 41.189 | 0.24159
2020-11-08 22:45:00 | 5.87 | 215.98 | 2.943 | 208.423 | 1.93 | 205.067 | 1.926 | 190.867 | 0.366 | 889.492 | 40.923 | 0.24444
2020-11-08 23:00:00 | 6.389 | 220.707 | 3.055 | 215.502 | 1.66 | 218.033 | 1.466 | 191.867 | 0.482 | 889.733 | 41.008 | 0.23875
2020-11-08 23:15:00 | 5.702 | 215.327 | 2.8 | 202.853 | 1.39 | 203 | 1.184 | 191.933 | -0.016 | 889.917 | 41.707 | 0.24444
2020-11-08 23:30:00 | 4.214 | 213.807 | 1.278 | 209.421 | 0.03 | 203 | 0.534 | 192 | 0.948 | 889.558 | 40.928 | 0.25722
2020-11-08 23:45:00 | 2.138 | 201.18 | 0 | 209.628 | 0 | 203 | 1.54 | 190 | 4.079 | 889.617 | 36.816 | 0.24728