## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-09 00:00:00 | 1.787 | 203.113 | 0 | 209.439 | 0.876 | 157.733 | 1.852 | 145.667 | 4.594 | 889.9 | 34.939 | 0.25154
2020-11-09 00:15:00 | 2.82 | 214.333 | 0 | 178.494 | 1.128 | 142 | 1.939 | 123 | 3.773 | 889.95 | 34.944 | 0.26575
2020-11-09 00:30:00 | 2.205 | 219.273 | 0 | 146.175 | 1.197 | 115.033 | 1.808 | 113.033 | 4.557 | 889.683 | 34.475 | 0.26149
2020-11-09 00:45:00 | 3.788 | 229.947 | 0 | 173.183 | 0 | 114.067 | 0 | 113 | 3.979 | 889.817 | 33.867 | 0.26149
2020-11-09 01:00:00 | 2.518 | 229.633 | 0 | 214.396 | 0 | 71.867 | 1.76 | 112.067 | 4.487 | 889.5 | 32.608 | 0.22738
2020-11-09 01:15:00 | 3.117 | 242.7 | 0.033 | 222.342 | 0 | 53.167 | 0.972 | 110.867 | 4.487 | 889.933 | 31.355 | 0.26575
2020-11-09 01:30:00 | 4.728 | 229.847 | 1.616 | 258.115 | 0.566 | 302.6 | 0.972 | 159.142 | 3.022 | 889.983 | 29.821 | 0.19541
2020-11-09 01:45:00 | 5.524 | 216.647 | 2.298 | 226.142 | 1.834 | 238.933 | 1.35 | 247.333 | -0.605 | 890.1 | 33.76 | 0.50308
2020-11-09 02:00:00 | 3.492 | 193.4 | 2.908 | 189.212 | 2.212 | 196.2 | 1.987 | 177.667 | 0.932 | 889.617 | 34.309 | 0.35315
2020-11-09 02:15:00 | 4.078 | 187.067 | 3.148 | 174.516 | 2.447 | 178.967 | 2.5 | 173.333 | 3.521 | 889.35 | 30.005 | 0.50806
2020-11-09 02:30:00 | 4.666 | 180.54 | 3.234 | 156.244 | 2.823 | 153.267 | 2.958 | 146.6 | 2.295 | 889.733 | 28.853 | 1.5519
2020-11-09 02:45:00 | 4.337 | 186.867 | 2.862 | 154.828 | 2.5 | 153.2 | 2.677 | 146.367 | 4.42 | 889.717 | 26.699 | 1.4993
2020-11-09 03:00:00 | 4.594 | 190.913 | 2.909 | 164.754 | 2.562 | 155.5 | 2.641 | 137 | 1.789 | 889.317 | 29.504 | 0.71128
2020-11-09 03:15:00 | 4.455 | 182.927 | 3.18 | 147.914 | 2.73 | 140.333 | 2.761 | 128.833 | 2.678 | 889.783 | 28.571 | 1.4389
2020-11-09 03:30:00 | 4.188 | 162.147 | 3.609 | 132.724 | 3.215 | 131.433 | 3.868 | 124.133 | 3.812 | 889.6 | 28.064 | 2.9318
2020-11-09 03:45:00 | 4.727 | 179.6 | 3.666 | 151.457 | 3.398 | 145.6 | 3.246 | 139.167 | 3.488 | 889.183 | 27.04 | 3.2373
2020-11-09 04:00:00 | 4.134 | 171.907 | 3.07 | 155.771 | 2.694 | 150.033 | 2.795 | 136.467 | 4.125 | 889.717 | 26.747 | 1.5554
2020-11-09 04:15:00 | 4.495 | 178.133 | 3.17 | 157.71 | 2.721 | 155.267 | 3.003 | 145.667 | 4.156 | 889.483 | 26.245 | 1.5448
2020-11-09 04:30:00 | 4.099 | 166.607 | 2.857 | 135.135 | 2.869 | 130.833 | 3.59 | 124.067 | 4.158 | 889.467 | 25.904 | 1.9903
2020-11-09 04:45:00 | 3.901 | 176.207 | 3.454 | 145.439 | 3.264 | 143.6 | 3.176 | 138.1 | 4.226 | 890.333 | 26.464 | 3.5948
2020-11-09 05:00:00 | 3.858 | 172.233 | 2.91 | 134.511 | 3.003 | 128.467 | 3.661 | 120.167 | 3.756 | 889.717 | 27.152 | 2.3726
2020-11-09 05:15:00 | 3.44 | 187.9 | 2.21 | 147.132 | 2.008 | 139.267 | 2.791 | 124.367 | 2.091 | 889.6 | 28.741 | 1.3543
2020-11-09 05:30:00 | 3.8 | 200.587 | 1.861 | 159.112 | 2.101 | 150.667 | 2.67 | 140.333 | 2.214 | 889.967 | 28.059 | 0.15135
2020-11-09 05:45:00 | 4.405 | 200.407 | 1.507 | 153.913 | 1.587 | 140.2 | 1.992 | 131.2 | 2.58 | 889.75 | 27.275 | 0.28778
2020-11-09 06:00:00 | 3.984 | 173.387 | 2.195 | 129.941 | 2.808 | 126.433 | 3.62 | 124 | 2.382 | 890.083 | 27.392 | 0.20535
2020-11-09 06:15:00 | 4.351 | 184.533 | 2.297 | 138.76 | 1.8 | 136.267 | 2.355 | 129.267 | 1.782 | 889.95 | 27.899 | 0.44908
2020-11-09 06:30:00 | 4.656 | 198.953 | 2.783 | 162.918 | 2.175 | 154.667 | 2.579 | 141.133 | 3.1 | 889.733 | 26.336 | 0.19541
2020-11-09 06:45:00 | 4.255 | 187.347 | 2.536 | 157.512 | 1.966 | 148.867 | 2.062 | 135.833 | 2.713 | 890.3 | 26.149 | 0.21033
2020-11-09 07:00:00 | 4.987 | 190.707 | 2.267 | 154.723 | 1.843 | 145.9 | 2.022 | 127.233 | 2.532 | 889.933 | 26.24 | 0.27286
2020-11-09 07:15:00 | 4.675 | 182.367 | 2.807 | 140.892 | 2.59 | 130.233 | 3.097 | 114.567 | 0.382 | 889.983 | 29.371 | 0.21033
2020-11-09 07:30:00 | 4.862 | 195.307 | 2.234 | 154.784 | 2.528 | 147.133 | 2.445 | 138.933 | -1.145 | 889.517 | 32.571 | 0.16769
2020-11-09 07:45:00 | 4.621 | 201.947 | 2.482 | 166.411 | 2.034 | 156.7 | 2.363 | 143.467 | 0.922 | 889.783 | 29.632 | 0.27002
2020-11-09 08:00:00 | 5.285 | 209.08 | 3.512 | 189.992 | 2.216 | 185.933 | 1.868 | 161.8 | 1.269 | 889.617 | 29.328 | 0.28423
2020-11-09 08:15:00 | 4.682 | 217.607 | 2.394 | 194.393 | 1.188 | 189.033 | 0.927 | 162 | 2.962 | 889.783 | 26.485 | 0.2558
2020-11-09 08:30:00 | 4.832 | 218.7 | 1.91 | 211.919 | 0.16 | 196.033 | 0.219 | 161.8 | 3.237 | 889.733 | 25.765 | 0.28138
2020-11-09 08:45:00 | 2.966 | 193.373 | 0.083 | 139.708 | 0.674 | 113.167 | 2.319 | 90.667 | 3.348 | 889.683 | 25.653 | 0.28565
2020-11-09 09:00:00 | 3.577 | 194.267 | 1.6 | 146.284 | 1.979 | 116.967 | 2.62 | 100.733 | 2.151 | 889.85 | 27.179 | 0.28281
2020-11-09 09:15:00 | 3.709 | 204.253 | 2.517 | 168.173 | 1.631 | 149.133 | 2.172 | 121.767 | 1.546 | 889.75 | 28.187 | 0.28281
2020-11-09 09:30:00 | 3.022 | 201.36 | 1.316 | 149.508 | 1.782 | 119.3 | 2.412 | 110.167 | 4.119 | 889.85 | 26.155 | 0.26859
2020-11-09 09:45:00 | 3.527 | 206.667 | 2.109 | 186.887 | 1.36 | 143.133 | 1.922 | 120.767 | 3.321 | 889.433 | 27.195 | 0.27002
2020-11-09 10:00:00 | 1.567 | 208.993 | 0.104 | 136.552 | 0.31 | 87.533 | 1.542 | 89.3 | 4.633 | 889.583 | 26.176 | 0.25865
2020-11-09 10:15:00 | 0.919 | 80.797 | 1.044 | 70.608 | 1.446 | 60.667 | 2.082 | 61 | 6.846 | 889.7 | 24.059 | 0.25225
2020-11-09 10:30:00 | 0.379 | 31.922 | 0 | 65.236 | 0 | 56 | 0.628 | 61 | 5.663 | 890.1 | 23.76 | 0.22312
2020-11-09 10:45:00 | 1.562 | 58.002 | 0.61 | 57.659 | 0.36 | 80.1 | 1.774 | 127 | 5.66 | 889.75 | 23.381 | 0.29133
2020-11-09 11:00:00 | 1.58 | 57.525 | 0.934 | 62.259 | 1.59 | 83.133 | 2.236 | 92.9 | 5.786 | 889.6 | 23.547 | 0.19754
2020-11-09 11:15:00 | 3.068 | 66.148 | 2.622 | 65.167 | 2.395 | 77.433 | 2.651 | 76.6 | 6.834 | 889.75 | 22.859 | 0.1144
2020-11-09 11:30:00 | 3.228 | 78.267 | 3.076 | 75.132 | 2.9 | 79.533 | 2.97 | 80.733 | 7.256 | 889.617 | 22.208 | 0.68072
2020-11-09 11:45:00 | 3.941 | 76.452 | 3.928 | 72.131 | 3.947 | 79.6 | 4.114 | 79.767 | 7.589 | 889.417 | 22.363 | 4.1184
2020-11-09 12:00:00 | 5.446 | 98.755 | 5.138 | 94.342 | 4.692 | 97.7 | 4.82 | 92.3 | 8.08 | 889.567 | 22.235 | 10.2769
2020-11-09 12:15:00 | 5.443 | 92.447 | 5.237 | 87.013 | 5.392 | 89.367 | 5.277 | 87.767 | 8.193 | 889.5 | 22.592 | 11.3136
2020-11-09 12:30:00 | 5.431 | 110.213 | 5.031 | 105.501 | 5.117 | 107.433 | 4.948 | 102.7 | 8.284 | 890.4 | 22.971 | 10.1625
2020-11-09 12:45:00 | 5.407 | 100.433 | 5.109 | 93.417 | 5.294 | 97.033 | 5.413 | 89.2 | 8.524 | 889.967 | 23.248 | 9.2416
2020-11-09 13:00:00 | 5.298 | 84.573 | 5.084 | 81.992 | 5.309 | 88.567 | 5.835 | 84.8 | 9.183 | 889.85 | 22.912 | 15.4022
2020-11-09 13:15:00 | 6.937 | 84.707 | 6.28 | 81.871 | 6.482 | 89.6 | 6.358 | 83.867 | 9.595 | 889.717 | 22.949 | 32.0075
2020-11-09 13:30:00 | 6.64 | 75.748 | 6.647 | 72.679 | 7.034 | 78.467 | 7.42 | 75.3 | 9.787 | 889.567 | 23.456 | 36.6979
2020-11-09 13:45:00 | 6.781 | 88.82 | 6.336 | 84.729 | 6.676 | 88.7 | 7.11 | 82 | 9.704 | 889.667 | 23.499 | 36.165
2020-11-09 14:00:00 | 7.382 | 85.94 | 7.008 | 82.674 | 7.019 | 87.767 | 6.932 | 85.467 | 9.266 | 889.733 | 23.568 | 37.8
2020-11-09 14:15:00 | 7.784 | 82.36 | 7.804 | 80.184 | 7.929 | 84.367 | 8.252 | 78.8 | 9.204 | 889.683 | 23.653 | 38.264
2020-11-09 14:30:00 | 7.141 | 82.837 | 6.718 | 81.248 | 6.51 | 87 | 6.813 | 83.9 | 9.095 | 889.783 | 23.328 | 36.2069
2020-11-09 14:45:00 | 7.494 | 76.527 | 7.399 | 74.995 | 7.782 | 80.267 | 7.864 | 76.9 | 9.478 | 889.85 | 23.627 | 35.4466
2020-11-09 15:00:00 | 8.009 | 84.72 | 8.035 | 80.31 | 8.376 | 81.7 | 8.499 | 78.367 | 9.245 | 890.017 | 23.723 | 34.5726
2020-11-09 15:15:00 | 7.834 | 78.59 | 7.818 | 76.744 | 8.188 | 79.167 | 8.645 | 74.367 | 9.445 | 889.65 | 23.445 | 34.5279
2020-11-09 15:30:00 | 7.95 | 76.633 | 7.799 | 72.216 | 8.214 | 77.667 | 8.414 | 75.033 | 9.512 | 889.2 | 23.541 | 34.5058
2020-11-09 15:45:00 | 7.477 | 78.917 | 7.539 | 73.039 | 7.93 | 78.5 | 8.257 | 74.867 | 9.037 | 889.983 | 23.493 | 34.2969
2020-11-09 16:00:00 | 7.272 | 79.307 | 7.408 | 75.899 | 7.757 | 81 | 8.015 | 75.367 | 9.558 | 889.967 | 23.829 | 35.5269
2020-11-09 16:15:00 | 6.19 | 77.76 | 6.156 | 77.508 | 6.464 | 80.233 | 7.04 | 76.2 | 9.104 | 889.55 | 23.84 | 29.4537
2020-11-09 16:30:00 | 5.327 | 75.537 | 5.004 | 69.846 | 5.528 | 74.367 | 5.824 | 71.167 | 8.824 | 890.083 | 23.829 | 21.1578
2020-11-09 16:45:00 | 5.423 | 79.613 | 5.317 | 73.101 | 5.57 | 76.433 | 5.697 | 70.633 | 8.72 | 889.617 | 23.904 | 15.8655
2020-11-09 17:00:00 | 4.593 | 69.953 | 4.335 | 65.182 | 4.86 | 67.667 | 5.04 | 64.4 | 9.12 | 890.05 | 24.213 | 12.1201
2020-11-09 17:15:00 | 4.504 | 68.277 | 4.031 | 62.857 | 4.293 | 66.867 | 4.416 | 62.033 | 8.708 | 890.083 | 24.459 | 8.3605
2020-11-09 17:30:00 | 3.996 | 66.81 | 3.562 | 60.272 | 3.675 | 63.1 | 3.818 | 58.3 | 8.401 | 889.867 | 24.747 | 7.4034
2020-11-09 17:45:00 | 2.57 | 45.623 | 2.644 | 45.58 | 2.811 | 50.567 | 2.931 | 47.433 | 8.043 | 889.6 | 25.573 | 4.7196
2020-11-09 18:00:00 | 2.85 | 28.675 | 2.935 | 33.321 | 3.385 | 44.067 | 3.474 | 42.933 | 7.322 | 889.683 | 26.416 | 2.6298
2020-11-09 18:15:00 | 1.904 | 13.112 | 1.527 | 10.33 | 2.479 | 21.833 | 2.59 | 20.867 | 6.907 | 889.367 | 27.328 | 0.31549
2020-11-09 18:30:00 | 2.263 | 23.92 | 2.274 | 8.595 | 2.422 | 17.1 | 2.489 | 17.2 | 6.238 | 889.8 | 28.011 | 0.30128
2020-11-09 18:45:00 | 3.426 | 322.44 | 2.994 | 327.842 | 3.017 | 343.267 | 3.134 | 349.7 | 6.452 | 889.417 | 27.96 | 0.23662
2020-11-09 19:00:00 | 3.098 | 325.107 | 3.235 | 337.11 | 3.229 | 338.333 | 3.334 | 344.4 | 6.386 | 889.6 | 27.947 | 0.51516
2020-11-09 19:15:00 | 2.883 | 313.093 | 3.288 | 332.017 | 3.356 | 338.5 | 3.517 | 338.9 | 5.471 | 889.867 | 28.733 | 1.4361
2020-11-09 19:30:00 | 2.876 | 283.373 | 2.624 | 325.516 | 2.681 | 326.9 | 2.547 | 326.5 | 5.227 | 889.5 | 29 | 0.37802
2020-11-09 19:45:00 | 3.886 | 270.96 | 3.1 | 286.435 | 2.912 | 306.267 | 3.116 | 304.967 | 5.074 | 889.767 | 29.328 | 0.49953
2020-11-09 20:00:00 | 5.118 | 261.713 | 4.589 | 277.527 | 4.491 | 291.367 | 4.843 | 292.567 | 3.858 | 889.883 | 30.277 | 2.7705
2020-11-09 20:15:00 | 6.835 | 263.907 | 8.662 | 267.441 | 8.089 | 274.867 | 8.137 | 274.1 | 3.799 | 889.5 | 31.008 | 14.0046
2020-11-09 20:30:00 | 6.479 | 277.413 | 8.146 | 276.566 | 8.541 | 283.167 | 8.977 | 282.7 | 4.59 | 889.55 | 29.832 | 36.7875
2020-11-09 20:45:00 | 5.53 | 281.613 | 7.12 | 282.545 | 7.8 | 287.467 | 8.371 | 286.3 | 4.922 | 889.65 | 29.291 | 44.3273
2020-11-09 21:00:00 | 5.609 | 277.587 | 6.897 | 276.483 | 7.27 | 279.733 | 7.551 | 274.633 | 4.335 | 889.5 | 31.411 | 38.9653
2020-11-09 21:15:00 | 8.663 | 268.733 | 10.081 | 264.366 | 10.51 | 268.4 | 10.559 | 264.5 | 4.471 | 889.567 | 35.891 | 56.603
2020-11-09 21:30:00 | 6.459 | 269.76 | 7.604 | 265.398 | 7.967 | 270.45 | 8.238 | 265.633 | 4.246 | 889.867 | 36.464 | 64.9238
2020-11-09 21:45:00 | 9.824 | 258.433 | 11.748 | 254.876 | 12.626 | 260.2 | 12.876 | 253.2 | 3.538 | 889.55 | 38.043 | 70.3447
2020-11-09 22:00:00 | 12.148 | 257.933 | 13.665 | 252.386 | 14.516 | 256.133 | 14.668 | 251.667 | 3.221 | 889.917 | 39 | 85.9217
2020-11-09 22:15:00 | 11.908 | 258.733 | 13.088 | 254.762 | 13.668 | 258.333 | 13.936 | 253.467 | 3.354 | 889.7 | 39.528 | 91.3895
2020-11-09 22:30:00 | 10.041 | 256.24 | 11.648 | 252.66 | 12.225 | 255.867 | 12.105 | 251.933 | 2.716 | 889.6 | 40.211 | 88.4812
2020-11-09 22:45:00 | 7.929 | 258.007 | 9.066 | 256.038 | 9.692 | 262.1 | 9.993 | 257.767 | 2.401 | 889.45 | 40.68 | 79.9515
2020-11-09 23:00:00 | 10.865 | 259.2 | 12.129 | 255.766 | 12.509 | 259.4 | 12.593 | 255.033 | 2.214 | 889.95 | 40.389 | 77.159
2020-11-09 23:15:00 | 10.179 | 268.873 | 11.873 | 265.39 | 12.524 | 268.7 | 12.948 | 262.617 | 2.175 | 889.533 | 40.288 | 84.6136
2020-11-09 23:30:00 | 12.937 | 268.707 | 13.891 | 262.848 | 14.474 | 267.433 | 15.111 | 263.067 | 2.409 | 889.558 | 40.989 | 87.286
2020-11-09 23:45:00 | 12.414 | 265.353 | 14.024 | 260.635 | 14.743 | 265.033 | 15.716 | 260.217 | 2.179 | 889.892 | 41.845 | 87.6775