## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-10 00:00:00 | 13.29 | 267.667 | 15.222 | 262.074 | 16.311 | 265.233 | 16.732 | 260.6 | 2.016 | 889.608 | 41.979 | 78.9752
2020-11-10 00:15:00 | 11.79 | 267.987 | 13.929 | 262.693 | 15.116 | 264.767 | 15.743 | 261.6 | 2.016 | 889.867 | 41.968 | 65.991
2020-11-10 00:30:00 | 10.532 | 269.587 | 12.157 | 264.958 | 12.956 | 268.2 | 13.598 | 264.967 | 1.772 | 889.725 | 43.621 | 56.8958
2020-11-10 00:45:00 | 11.578 | 265.72 | 13.346 | 261.496 | 14.409 | 264.2 | 15.025 | 261.917 | 1.459 | 889.983 | 44.437 | 55.7312
2020-11-10 01:00:00 | 10.19 | 261.107 | 12.2 | 256.541 | 13.435 | 261.233 | 14.674 | 258.433 | 1.359 | 889.883 | 44.741 | 56.9874
2020-11-10 01:15:00 | 10.526 | 251.16 | 12.657 | 248.576 | 13.744 | 253.933 | 14.214 | 250.45 | 1.519 | 889.8 | 44.843 | 57.8629
2020-11-10 01:30:00 | 9.282 | 250.853 | 11.317 | 248.301 | 12.922 | 252.45 | 13.595 | 249.017 | 1.399 | 889.942 | 44.651 | 58.1478
2020-11-10 01:45:00 | 9.087 | 249.793 | 11.08 | 244.975 | 12.245 | 250.35 | 12.705 | 245.233 | 1.539 | 889.975 | 44.96 | 56.6712
2020-11-10 02:00:00 | 9.611 | 239.687 | 11.029 | 236.002 | 12.443 | 240.733 | 12.943 | 236.067 | 1.666 | 889.65 | 44.395 | 53.4424
2020-11-10 02:15:00 | 7.73 | 234.033 | 8.965 | 232.7 | 10.271 | 237.5 | 10.847 | 235 | 2.23 | 889.842 | 42.421 | 51.936
2020-11-10 02:30:00 | 6.31 | 221.953 | 7.858 | 222.362 | 8.739 | 228.9 | 8.957 | 227.067 | 2.044 | 889.925 | 42.837 | 48.3072
2020-11-10 02:45:00 | 6.751 | 220.213 | 8.872 | 220.964 | 9.765 | 228.567 | 9.921 | 226.467 | 1.66 | 889.833 | 44.437 | 45.8564
2020-11-10 03:00:00 | 6.799 | 221.56 | 8.656 | 217.219 | 10.165 | 221.167 | 10.329 | 221.033 | 0.798 | 889.733 | 47.872 | 44.8702
2020-11-10 03:15:00 | 8.169 | 223.413 | 10.143 | 218.88 | 11.555 | 220.533 | 12.08 | 217.333 | 0.815 | 889.392 | 49.632 | 44.3344
2020-11-10 03:30:00 | 8.274 | 220.407 | 10.263 | 217.674 | 11.838 | 219.6 | 12.616 | 217.2 | 0.549 | 890.058 | 51.691 | 42.72
2020-11-10 03:45:00 | 8.059 | 221.12 | 10.086 | 217.729 | 11.624 | 219.5 | 12.629 | 215.633 | 0.515 | 890.458 | 52.811 | 41.3216
2020-11-10 04:00:00 | 8.747 | 221.387 | 10.323 | 217.41 | 11.717 | 219.833 | 12.528 | 217.1 | 0.432 | 890.05 | 53.664 | 40.8441
2020-11-10 04:15:00 | 5.522 | 263.267 | 6.242 | 255.348 | 6.804 | 254 | 7.242 | 243.5 | 0.266 | 889.592 | 54.368 | 37.2671
2020-11-10 04:30:00 | 5.99 | 246.467 | 7.487 | 238.247 | 8.073 | 241.05 | 8.027 | 235.167 | -0.066 | 889.425 | 55.936 | 32.1006
2020-11-10 04:45:00 | 7.415 | 237.36 | 9.201 | 230.741 | 9.872 | 235.433 | 9.626 | 231.933 | -0.282 | 889.533 | 56.341 | 30.246
2020-11-10 05:00:00 | 6.822 | 234.827 | 8.694 | 228.711 | 9.449 | 233.5 | 9.479 | 231.067 | -0.099 | 889.758 | 56.459 | 29.3294
2020-11-10 05:15:00 | 6.611 | 225.333 | 8.405 | 222.14 | 9.758 | 227.8 | 10.106 | 225.4 | -0.05 | 889.65 | 57.376 | 28.2052
2020-11-10 05:30:00 | 7.867 | 216.387 | 10.256 | 213.25 | 11.765 | 216.1 | 11.695 | 215.967 | -0.262 | 889.95 | 58.101 | 27.1252
2020-11-10 05:45:00 | 9.078 | 213.093 | 11.522 | 211.88 | 12.443 | 218.233 | 11.975 | 218.333 | -0.222 | 889.8 | 58.059 | 26.9454
2020-11-10 06:00:00 | 8.816 | 218.653 | 11.001 | 214.7 | 12.348 | 220.433 | 12.078 | 221.233 | 0.15 | 889.958 | 58.133 | 28.8995
2020-11-10 06:15:00 | 8.63 | 220.14 | 10.845 | 217.397 | 11.915 | 224 | 11.806 | 223.2 | 0.266 | 889.925 | 57.312 | 34.3694
2020-11-10 06:30:00 | 7.924 | 217.213 | 9.706 | 215.15 | 11.172 | 222.5 | 11.129 | 221.767 | 0.415 | 889.675 | 56.469 | 44.5319
2020-11-10 06:45:00 | 6.92 | 221.087 | 8.91 | 220.493 | 9.973 | 227.9 | 10.045 | 228.5 | 0.765 | 890.358 | 54.763 | 52.405
2020-11-10 07:00:00 | 5.224 | 221.167 | 6.785 | 225.04 | 7.787 | 232.067 | 8.453 | 230.567 | 1.499 | 889.792 | 53.035 | 54.9247
2020-11-10 07:15:00 | 4.6 | 224 | 6.079 | 224.593 | 7.353 | 232.433 | 7.781 | 230.467 | 1.882 | 889.792 | 50.848 | 48.882
2020-11-10 07:30:00 | 6.476 | 220.24 | 7.792 | 219.268 | 8.326 | 226.467 | 8.299 | 223.867 | 1.718 | 889.3 | 51.435 | 55.3382
2020-11-10 07:45:00 | 6.043 | 223.467 | 7.647 | 220.824 | 8.229 | 228.4 | 8.287 | 226.267 | 1.713 | 889.917 | 50.805 | 54.5104
2020-11-10 08:00:00 | 5.569 | 218.993 | 7.379 | 219.522 | 7.8 | 226.833 | 7.784 | 225.6 | 1.589 | 889.983 | 51.061 | 39.0094
2020-11-10 08:15:00 | 5.874 | 220.473 | 7.532 | 222.038 | 8.151 | 231.067 | 8.112 | 230.967 | 1.649 | 889.717 | 51.275 | 42.9943
2020-11-10 08:30:00 | 6.345 | 231 | 8.226 | 233.338 | 8.501 | 242.3 | 8.315 | 240.333 | 1.399 | 889.867 | 51.787 | 45.8898
2020-11-10 08:45:00 | 6.026 | 231.44 | 7.556 | 232.158 | 7.965 | 241.167 | 7.906 | 239.867 | 1.95 | 889.592 | 49.76 | 44.4445
2020-11-10 09:00:00 | 4.702 | 227.34 | 5.564 | 234.208 | 5.725 | 247.033 | 5.495 | 250.6 | 2.197 | 889.867 | 49.493 | 30.0044
2020-11-10 09:15:00 | 5.838 | 225.48 | 6.864 | 228.723 | 6.728 | 237.133 | 6.352 | 236.5 | 2.99 | 889.742 | 47.968 | 27.5004
2020-11-10 09:30:00 | 4.687 | 222.633 | 5.328 | 228.578 | 5.419 | 240.933 | 5.453 | 239.967 | 3.905 | 889.717 | 45.483 | 19.5832
2020-11-10 09:45:00 | 6.623 | 228 | 7.054 | 229.613 | 7.098 | 238.867 | 6.714 | 236.7 | 4.802 | 890.017 | 43.296 | 21.9139
2020-11-10 10:00:00 | 5.948 | 219.24 | 6.905 | 217.29 | 7.006 | 224.667 | 6.583 | 224.933 | 4.905 | 890.1 | 42.645 | 28.4298
2020-11-10 10:15:00 | 5.006 | 222.36 | 5.584 | 219.097 | 6.174 | 226.467 | 6.431 | 223.433 | 5.825 | 889.683 | 40.485 | 24.7753
2020-11-10 10:30:00 | 5.95 | 224.653 | 6.163 | 223.134 | 6.684 | 227.167 | 6.93 | 225.867 | 6.784 | 889.65 | 38.235 | 19.1661
2020-11-10 10:45:00 | 5.12 | 228.5 | 5.219 | 228.27 | 5.306 | 232.967 | 5.457 | 227.133 | 7.139 | 889.85 | 36.832 | 16.5399
2020-11-10 11:00:00 | 4.929 | 250.82 | 4.996 | 248.992 | 5.139 | 251.217 | 5.412 | 245.983 | 8.307 | 889.433 | 35.813 | 18.1962
2020-11-10 11:15:00 | 5.49 | 258.453 | 5.988 | 254.264 | 6.06 | 256.567 | 6.102 | 253.25 | 8.387 | 890.183 | 35.608 | 18.8059
2020-11-10 11:30:00 | 6.315 | 272.953 | 6.55 | 272.622 | 6.575 | 276.3 | 6.524 | 271.333 | 8.448 | 889.75 | 35.4 | 16.3487
2020-11-10 11:45:00 | 5.927 | 284.267 | 6.301 | 280.7 | 6.33 | 280.7 | 6.45 | 276.967 | 7.906 | 889.883 | 35.648 | 14.9617
2020-11-10 12:00:00 | 5.08 | 293.68 | 5.312 | 288.601 | 5.536 | 293.1 | 5.746 | 290.067 | 7.986 | 889.667 | 35.392 | 10.6478
2020-11-10 12:15:00 | 5.301 | 292.547 | 5.282 | 289.154 | 5.315 | 294.2 | 5.602 | 291.1 | 8.321 | 890.05 | 34.325 | 9.7312
2020-11-10 12:30:00 | 4.551 | 293.82 | 4.804 | 285.009 | 4.898 | 287.867 | 5.02 | 284.567 | 8.147 | 889.783 | 33.456 | 11.3421
2020-11-10 12:45:00 | 4.854 | 298.133 | 5.202 | 293.184 | 5.478 | 294.467 | 5.756 | 288.267 | 8.658 | 889.733 | 32.875 | 12.5138
2020-11-10 13:00:00 | 5 | 294.533 | 5.287 | 288.267 | 5.722 | 292.9 | 5.996 | 292.433 | 9.137 | 889.9 | 31.811 | 12.7945
2020-11-10 13:15:00 | 5.612 | 297.08 | 5.512 | 293.82 | 5.938 | 297.167 | 6.272 | 295.733 | 9.654 | 890 | 31.325 | 15.2147
2020-11-10 13:30:00 | 6.434 | 304.187 | 6.717 | 301.209 | 6.9 | 307.4 | 7.123 | 306.767 | 9.316 | 889.667 | 31.632 | 19.6095
2020-11-10 13:45:00 | 6.639 | 308.867 | 6.688 | 300.016 | 6.708 | 303.5 | 7.044 | 300.933 | 9.545 | 889.717 | 31.776 | 21.4257
2020-11-10 14:00:00 | 5.958 | 301.28 | 5.854 | 294.106 | 6.231 | 296.767 | 6.685 | 293.633 | 9.704 | 889.617 | 31.896 | 21.2111
2020-11-10 14:15:00 | 6.693 | 309.373 | 6.817 | 304.098 | 7.175 | 308 | 7.126 | 304.1 | 9.17 | 889.717 | 31.92 | 20.5347
2020-11-10 14:30:00 | 6.12 | 315.253 | 6.052 | 309.061 | 6.416 | 316.667 | 6.498 | 312.933 | 9.333 | 889.467 | 32.136 | 19.483
2020-11-10 14:45:00 | 5.625 | 316.76 | 5.81 | 307.199 | 5.953 | 310.833 | 6.074 | 307.867 | 9.304 | 889.7 | 31.763 | 15.8371
2020-11-10 15:00:00 | 4.829 | 303.867 | 5.035 | 297.89 | 5.122 | 299.5 | 5.238 | 296.433 | 9.545 | 889.633 | 31.739 | 11.7279
2020-11-10 15:15:00 | 5.277 | 324.293 | 5.13 | 318.204 | 5.457 | 321.633 | 5.375 | 321.4 | 9.908 | 889.883 | 31.453 | 10.1583
2020-11-10 15:30:00 | 4.198 | 315.333 | 4.182 | 313.789 | 4.488 | 320.6 | 4.822 | 319.667 | 9.699 | 890.167 | 31.467 | 9.189
2020-11-10 15:45:00 | 4.604 | 315 | 4.676 | 306.76 | 4.859 | 315.6 | 5.105 | 313.533 | 9.412 | 889.717 | 31.861 | 6.8087
2020-11-10 16:00:00 | 5.579 | 319.387 | 5.383 | 317.05 | 5.49 | 319.5 | 5.642 | 316.567 | 9.574 | 889.6 | 31.84 | 6.5003
2020-11-10 16:15:00 | 3.683 | 319.893 | 3.55 | 310.561 | 3.739 | 315.833 | 4.073 | 312.2 | 9.391 | 889.55 | 31.867 | 6.2317
2020-11-10 16:30:00 | 3.653 | 334.88 | 3.832 | 319.91 | 4.049 | 319.6 | 4.402 | 314 | 9.278 | 889.567 | 32.259 | 5.7797
2020-11-10 16:45:00 | 3.546 | 310.813 | 3.563 | 310.24 | 3.548 | 315.567 | 3.906 | 315.467 | 9.57 | 889.917 | 32.024 | 5.0166
2020-11-10 17:00:00 | 3.831 | 330.147 | 3.836 | 323.24 | 4.014 | 327.4 | 4.142 | 326.1 | 9.433 | 889.417 | 32.467 | 4.8709
2020-11-10 17:15:00 | 3.803 | 332.773 | 3.889 | 327.153 | 4.022 | 329.2 | 4.238 | 328.067 | 9.699 | 889.767 | 32.653 | 3.653
2020-11-10 17:30:00 | 3.67 | 333.693 | 3.827 | 328.362 | 3.833 | 333.1 | 4.133 | 331.033 | 9.337 | 889.75 | 33.357 | 3.5649
2020-11-10 17:45:00 | 3.608 | 344.133 | 3.531 | 338.251 | 3.523 | 342.933 | 3.852 | 340.1 | 8.708 | 889.917 | 33.688 | 3.4804
2020-11-10 18:00:00 | 2.919 | 340.547 | 3.834 | 332.276 | 3.996 | 337.7 | 4.224 | 334.467 | 8.87 | 889.667 | 34.253 | 4.2272
2020-11-10 18:15:00 | 3.413 | 335.147 | 3.682 | 329.577 | 3.883 | 333.7 | 4.229 | 333.633 | 8.716 | 889.767 | 34.989 | 3.3859
2020-11-10 18:30:00 | 3.597 | 331.24 | 3.519 | 328.201 | 3.684 | 331.533 | 3.959 | 330.233 | 8.314 | 890.4 | 35.448 | 1.4936
2020-11-10 18:45:00 | 3.241 | 323.973 | 3.44 | 323.107 | 3.733 | 328.3 | 4.147 | 327.433 | 8.397 | 889.7 | 35.723 | 0.6189
2020-11-10 19:00:00 | 2.131 | 343.933 | 1.979 | 334.696 | 2.963 | 324.667 | 3.698 | 321.567 | 6.923 | 889.35 | 37.131 | 0.18191
2020-11-10 19:15:00 | 2.19 | 328.133 | 1.95 | 336.194 | 1.702 | 345.467 | 2.474 | 346 | 6.972 | 890.217 | 38.099 | 0.19185
2020-11-10 19:30:00 | 1.562 | 293.507 | 2.374 | 308.642 | 3.51 | 321.233 | 3.794 | 323.333 | 6.535 | 889.667 | 38.253 | 0.15135
2020-11-10 19:45:00 | 2.295 | 270.48 | 2.846 | 301.339 | 3.101 | 314.667 | 3.641 | 315.867 | 5.054 | 890.133 | 40.485 | 0.056135
2020-11-10 20:00:00 | 2.13 | 226.72 | 3.877 | 290.611 | 3.739 | 306.667 | 4.01 | 312 | 3.983 | 889.692 | 42.128 | 0.16059
2020-11-10 20:15:00 | 2.03 | 227.833 | 4.746 | 292.312 | 5.304 | 303.833 | 5.651 | 304.367 | 3.538 | 889.633 | 43.755 | 0.55211
2020-11-10 20:30:00 | 3.133 | 263.56 | 4.128 | 301.437 | 4.752 | 312.167 | 5.343 | 309.967 | 2.668 | 889.483 | 46.373 | 2.244
2020-11-10 20:45:00 | 3.293 | 274.533 | 3.819 | 292.067 | 3.898 | 304.1 | 4.58 | 303.833 | 3.104 | 889.908 | 47.381 | 3.8413
2020-11-10 21:00:00 | 4.426 | 271.573 | 5.221 | 287.919 | 6.231 | 302.767 | 6.97 | 300.933 | 4.299 | 889.917 | 46.325 | 7.8674
2020-11-10 21:15:00 | 4.262 | 240.733 | 4.266 | 266.244 | 4.939 | 284.133 | 5.941 | 292.367 | 4.085 | 889.683 | 45.867 | 13.8738
2020-11-10 21:30:00 | 4.118 | 245.933 | 3.907 | 269.017 | 4.431 | 286.4 | 5.59 | 295.533 | 3.622 | 890.167 | 47.685 | 12.7966
2020-11-10 21:45:00 | 4.868 | 237.62 | 4.631 | 261.511 | 4.994 | 277.867 | 5.778 | 284.3 | 2.488 | 889.792 | 48.853 | 12.7
2020-11-10 22:00:00 | 4.454 | 240.793 | 4.287 | 266.353 | 4.671 | 284.667 | 5.632 | 293.7 | 2.106 | 889.758 | 51.493 | 14.1772
2020-11-10 22:15:00 | 4.464 | 230.187 | 3.948 | 256.017 | 4.56 | 276.433 | 5.568 | 290.633 | 2.3 | 889.942 | 51.573 | 13.7651
2020-11-10 22:30:00 | 5.219 | 231.696 | 4.612 | 250.365 | 4.624 | 272.345 | 5.242 | 281.172 | 1.651 | 889.957 | 52.177 | 11.1879
2020-11-10 22:45:00 | 5.477 | 226.993 | 4.682 | 235.063 | 4.407 | 247.8 | 4.335 | 260.7 | 0.955 | 890.058 | 53.184 | 7.2002
2020-11-10 23:00:00 | 5.427 | 220.453 | 5.42 | 227.762 | 4.974 | 235.867 | 4.585 | 241.533 | 0.815 | 890.075 | 53.781 | 6.9934
2020-11-10 23:15:00 | 5.75 | 220.407 | 5.592 | 227.84 | 5.026 | 236.3 | 4.503 | 241.2 | 0.399 | 889.683 | 54.421 | 8.4842
2020-11-10 23:30:00 | 6.276 | 220.38 | 6.106 | 227.763 | 5.776 | 236.567 | 5.148 | 240.433 | 0.216 | 889.783 | 54.933 | 12.2779
2020-11-10 23:45:00 | 6.106 | 218.533 | 6.305 | 231.459 | 5.998 | 243.767 | 5.798 | 244.9 | 0.116 | 890.242 | 55.733 | 17.3414