## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-11 00:00:00 | 6.48 | 215.567 | 6.509 | 229.141 | 6.227 | 239.367 | 6.152 | 238.133 | -0.256 | 889.508 | 57.088 | 20.1112
2020-11-11 00:15:00 | 6.852 | 223.687 | 7.547 | 236.096 | 7.337 | 245.467 | 7.211 | 243.3 | -0.123 | 890 | 56.939 | 30.3817
2020-11-11 00:30:00 | 7.564 | 230.82 | 8.132 | 238.8 | 8.058 | 246.8 | 7.893 | 243.467 | -0.083 | 889.758 | 56.576 | 38.2974
2020-11-11 00:45:00 | 7.729 | 231.38 | 8.096 | 237.889 | 8.241 | 245.967 | 8.099 | 243.1 | 0.415 | 889.933 | 55.136 | 43.5421
2020-11-11 01:00:00 | 6.357 | 229.513 | 7.367 | 234.927 | 7.157 | 242.3 | 7.21 | 239.3 | 0.582 | 890.158 | 55.317 | 39.1188
2020-11-11 01:15:00 | 5.276 | 227.207 | 6.996 | 237.293 | 7.566 | 246.567 | 7.495 | 243.2 | 0.282 | 889.775 | 56.117 | 32.2441
2020-11-11 01:30:00 | 4.939 | 232.64 | 6.643 | 237.977 | 6.952 | 245.933 | 6.881 | 242.8 | 0.831 | 889.808 | 55.488 | 31.9378
2020-11-11 01:45:00 | 4.921 | 221.313 | 6.676 | 229.982 | 6.662 | 242.467 | 6.47 | 240.433 | 0.698 | 889.808 | 55.883 | 28.1804
2020-11-11 02:00:00 | 5.054 | 220.667 | 6.678 | 229.769 | 6.817 | 244.433 | 6.612 | 242.367 | 0.017 | 889.5 | 57.088 | 25.3686
2020-11-11 02:15:00 | 5.644 | 223.993 | 7.023 | 233.315 | 6.772 | 243.7 | 6.641 | 241.567 | -0.016 | 889.558 | 57.109 | 25.3893
2020-11-11 02:30:00 | 5.974 | 217.78 | 6.976 | 227.384 | 6.718 | 240.067 | 6.404 | 238.6 | -0.033 | 890.117 | 56.917 | 23.6398
2020-11-11 02:45:00 | 5.686 | 213.62 | 6.363 | 225.006 | 6.127 | 236.433 | 5.758 | 235.4 | 0.233 | 889.825 | 56.352 | 21.3511
2020-11-11 03:00:00 | 6.029 | 218.013 | 6.346 | 226.35 | 5.788 | 239.733 | 5.715 | 238.367 | -0.149 | 889.658 | 55.701 | 17.7585
2020-11-11 03:15:00 | 5.965 | 217.587 | 6.694 | 225.932 | 5.952 | 238.2 | 5.698 | 237.233 | 0.067 | 889.85 | 55.339 | 15.9913
2020-11-11 03:30:00 | 6.252 | 216.927 | 7.403 | 221.245 | 6.772 | 231.367 | 6.128 | 229.6 | 0.116 | 889.85 | 54.88 | 19.7893
2020-11-11 03:45:00 | 6.188 | 217.633 | 7.574 | 222.209 | 7.156 | 230.467 | 6.596 | 229.6 | 0.382 | 890.183 | 53.803 | 23.1879
2020-11-11 04:00:00 | 5.956 | 220.127 | 7.293 | 222.435 | 6.871 | 229.333 | 6.7 | 227.233 | 0.732 | 890.458 | 53.216 | 21.5629
2020-11-11 04:15:00 | 6.017 | 219.44 | 7.927 | 221.55 | 7.534 | 228.633 | 7.324 | 226.2 | 0.648 | 889.683 | 53.227 | 23.8388
2020-11-11 04:30:00 | 6.488 | 216.847 | 8.524 | 220.177 | 7.961 | 226 | 7.847 | 224.333 | 0.349 | 889.683 | 53.931 | 31.0113
2020-11-11 04:45:00 | 6.016 | 221.58 | 7.724 | 226.65 | 7.753 | 234.733 | 7.467 | 233.567 | 0.133 | 889.675 | 54.272 | 30.9509
2020-11-11 05:00:00 | 5.691 | 218.853 | 7.241 | 230.17 | 7.081 | 240.967 | 6.964 | 238.7 | 0.166 | 889.917 | 54.283 | 31.1086
2020-11-11 05:15:00 | 5.4 | 223.66 | 7.209 | 230.797 | 7.03 | 240.133 | 6.788 | 237.8 | 0.067 | 889.783 | 54.891 | 26.2405
2020-11-11 05:30:00 | 5.572 | 219.667 | 6.944 | 231.608 | 6.938 | 243.733 | 6.842 | 242.467 | -0.193 | 889.833 | 55.456 | 25.1747
2020-11-11 05:45:00 | 5.712 | 216.2 | 7.216 | 227.041 | 6.967 | 236.867 | 6.666 | 234.833 | -0.518 | 890.167 | 56.224 | 24.0221
2020-11-11 06:00:00 | 5.936 | 217.933 | 7.159 | 228.154 | 6.852 | 238 | 6.639 | 236.833 | -0.618 | 889.767 | 56.331 | 23.4444
2020-11-11 06:15:00 | 6.02 | 216.82 | 7.116 | 224.114 | 6.736 | 234.033 | 6.351 | 232.6 | -1.045 | 890.175 | 56.821 | 23.0486
2020-11-11 06:30:00 | 6.037 | 221 | 7.049 | 228.502 | 6.476 | 238.5 | 6.072 | 237.167 | -1.196 | 889.758 | 57.259 | 21.0264
2020-11-11 06:45:00 | 6.334 | 215.067 | 7.142 | 219.863 | 6.25 | 227.6 | 5.793 | 225.9 | -1.018 | 890.008 | 58.101 | 16.3466
2020-11-11 07:00:00 | 6.87 | 212.413 | 8.116 | 211.627 | 7.133 | 213.867 | 6.801 | 213.3 | -1.246 | 890.033 | 58.752 | 15.7838
2020-11-11 07:15:00 | 6.054 | 210.613 | 8.346 | 209.622 | 7.589 | 214.867 | 6.971 | 212.3 | -1.329 | 890.108 | 59.701 | 19.105
2020-11-11 07:30:00 | 6.182 | 214.047 | 7.294 | 210.686 | 7.136 | 214.3 | 6.745 | 212.233 | -1.292 | 889.625 | 59.627 | 17.4366
2020-11-11 07:45:00 | 6.135 | 214.467 | 6.905 | 210.01 | 6.679 | 213.3 | 6.467 | 212 | -1.216 | 890.083 | 58.517 | 16.4347
2020-11-11 08:00:00 | 5.358 | 212.78 | 7.065 | 208.291 | 6.664 | 211.933 | 6.279 | 211.067 | -1.382 | 889.783 | 59.232 | 16.6052
2020-11-11 08:15:00 | 6.765 | 218.093 | 7.146 | 213.086 | 6.521 | 219.367 | 5.804 | 221.267 | -1.182 | 890.225 | 57.824 | 15.4193
2020-11-11 08:30:00 | 6.806 | 217.56 | 7.086 | 212.42 | 7.171 | 216.267 | 6.95 | 214.467 | -0.995 | 889.983 | 56.853 | 16.9712
2020-11-11 08:45:00 | 7.343 | 219.887 | 7.802 | 212.338 | 7.252 | 214.867 | 7.098 | 212.333 | -0.815 | 890.367 | 56.203 | 20.394
2020-11-11 09:00:00 | 5.736 | 214.187 | 7.738 | 206.567 | 7.763 | 209.733 | 7.163 | 206.633 | -0.083 | 889.733 | 54.123 | 23.0543
2020-11-11 09:15:00 | 6.696 | 217.98 | 8.2 | 211.423 | 7.205 | 213.633 | 6.581 | 210.967 | 0.748 | 890.267 | 51.541 | 23.3727
2020-11-11 09:30:00 | 5.644 | 220.84 | 7.282 | 214.446 | 6.701 | 216.7 | 6.342 | 213 | 1.849 | 889.867 | 48.651 | 25.2493
2020-11-11 09:45:00 | 5.577 | 225.253 | 6.864 | 219.31 | 6.537 | 220.967 | 6.229 | 214.267 | 2.679 | 889.867 | 46.293 | 21.3817
2020-11-11 10:00:00 | 4.895 | 228.487 | 5.799 | 225.449 | 6.199 | 226.2 | 5.851 | 216.1 | 4.015 | 889.692 | 42.944 | 15.4356
2020-11-11 10:15:00 | 5.259 | 228.233 | 5.78 | 224.817 | 6.264 | 226.067 | 6.478 | 216.667 | 4.935 | 889.633 | 39.861 | 15.4825
2020-11-11 10:30:00 | 5.019 | 240.633 | 4.879 | 238.407 | 5.165 | 239.867 | 5.496 | 227.7 | 6.062 | 889.433 | 37.077 | 12.9771
2020-11-11 10:45:00 | 3.422 | 255.313 | 3.235 | 250.425 | 3.278 | 250.5 | 3.424 | 242.817 | 7.272 | 890 | 34.979 | 4.7153
2020-11-11 11:00:00 | 3.234 | 262.713 | 3.283 | 254.492 | 3.356 | 256.75 | 3.514 | 250.25 | 7.946 | 889.733 | 33.464 | 2.1871
2020-11-11 11:15:00 | 2.725 | 271.547 | 2.763 | 265.518 | 2.915 | 268.3 | 3.176 | 264.117 | 7.839 | 889.817 | 32.792 | 0.27144
2020-11-11 11:30:00 | 2.453 | 284.613 | 2.274 | 268.079 | 2.347 | 270.567 | 2.53 | 264.067 | 8.584 | 890.05 | 30.824 | 0.17764
2020-11-11 11:45:00 | 2.898 | 287.967 | 2.659 | 280.711 | 2.706 | 278.15 | 2.988 | 273.533 | 8.937 | 889.867 | 29.384 | 0.12648
2020-11-11 12:00:00 | 1.36 | 275.633 | 1.323 | 276.348 | 1.472 | 281.067 | 2.134 | 283.05 | 10.312 | 889.817 | 27.856 | 0.23662
2020-11-11 12:15:00 | 1.588 | 331.4 | 0.95 | 313.749 | 0.907 | 300.767 | 1.4 | 327.567 | 9.766 | 889.317 | 27.117 | 0.19896
2020-11-11 12:30:00 | 0.926 | 58.731 | 0.253 | 43.822 | 0.22 | 93.267 | 0.376 | 0 | 10.278 | 889.75 | 25.952 | 0.17338
2020-11-11 12:45:00 | 1.582 | 46.858 | 0.797 | 30.25 | 0.762 | 20.233 | 0.52 | 23.233 | 10.826 | 889.767 | 24.96 | 0.19754
2020-11-11 13:00:00 | 2.358 | 91.625 | 1.933 | 91.145 | 2.341 | 99.3 | 2.167 | 95.8 | 10.58 | 889.767 | 24.795 | 0.2018
2020-11-11 13:15:00 | 1.621 | 94.18 | 0.994 | 81.849 | 1.111 | 83.375 | 1.814 | 68.2 | 10.555 | 890.05 | 24.272 | 0.21317
2020-11-11 13:30:00 | 3.156 | 59.651 | 2.996 | 56.659 | 3.044 | 65.067 | 2.982 | 64.2 | 10.809 | 889.883 | 26.219 | 0.12222
2020-11-11 13:45:00 | 3.091 | 64.427 | 3.048 | 67.946 | 3.039 | 74.233 | 3.228 | 68.233 | 10.612 | 890.233 | 26.757 | 0.1748
2020-11-11 14:00:00 | 3.233 | 54.638 | 3.118 | 53.665 | 3.314 | 59.4 | 3.477 | 56.967 | 10.384 | 889.467 | 25.861 | 0.11298
2020-11-11 14:15:00 | 2.281 | 42.238 | 2.374 | 50.302 | 2.812 | 52.5 | 3.111 | 52.433 | 10.409 | 889.617 | 25.733 | 0.13998
2020-11-11 14:30:00 | 2.506 | 60.273 | 2.299 | 55.259 | 2.188 | 52.233 | 2.592 | 41.233 | 10.995 | 889.767 | 24.949 | 0.42776
2020-11-11 14:45:00 | 2.333 | 77.803 | 2.373 | 69.584 | 2.133 | 68.033 | 2.796 | 71.233 | 10.945 | 889.733 | 25.173 | 0.13572
2020-11-11 15:00:00 | 2.912 | 78.113 | 2.638 | 74.807 | 2.73 | 78.8 | 3.066 | 77.367 | 11.245 | 889.967 | 25.323 | 1.4289
2020-11-11 15:15:00 | 3.478 | 99.833 | 3.293 | 99.229 | 3.323 | 101.8 | 3.626 | 96.4 | 11.211 | 889.9 | 25.461 | 1.7096
2020-11-11 15:30:00 | 3.106 | 89.52 | 2.977 | 91.369 | 2.953 | 97.233 | 3.272 | 91.8 | 11.461 | 890.2 | 25.733 | 1.2001
2020-11-11 15:45:00 | 3.06 | 92.353 | 2.9 | 90.218 | 3.078 | 99.633 | 3.34 | 96.067 | 11.761 | 889.683 | 24.197 | 0.83207
2020-11-11 16:00:00 | 2.843 | 104.743 | 2.503 | 96.08 | 2.853 | 100.8 | 3.383 | 99.167 | 11.361 | 889.933 | 23.893 | 1.068
2020-11-11 16:15:00 | 3.398 | 99.527 | 3.164 | 97.531 | 3.054 | 102.967 | 3.198 | 94.9 | 11.636 | 889.383 | 23.984 | 2.978
2020-11-11 16:30:00 | 3.844 | 105.867 | 3.685 | 102.477 | 3.702 | 106.633 | 3.912 | 102 | 11.653 | 889.583 | 23.925 | 4.4503
2020-11-11 16:45:00 | 3.652 | 112.87 | 3.504 | 104.516 | 3.526 | 110.233 | 3.846 | 102.333 | 11.316 | 889.983 | 24.197 | 4.0524
2020-11-11 17:00:00 | 3.947 | 103.027 | 3.507 | 98.813 | 3.163 | 100.733 | 3.585 | 90.733 | 11.249 | 889.867 | 24.389 | 5.0308
2020-11-11 17:15:00 | 4.227 | 90.387 | 3.793 | 89.575 | 3.642 | 91.967 | 3.753 | 91.367 | 11.645 | 889.783 | 23.408 | 6.1556
2020-11-11 17:30:00 | 3.946 | 94.233 | 3.407 | 91.417 | 3.41 | 92.3 | 3.914 | 87.9 | 10.945 | 889.633 | 24.096 | 7.0176
2020-11-11 17:45:00 | 4.206 | 83.667 | 4.103 | 79.049 | 4.238 | 83.733 | 4.526 | 79.167 | 11.045 | 889.767 | 24.368 | 7.7516
2020-11-11 18:00:00 | 3.829 | 92.033 | 3.598 | 90.016 | 2.794 | 100.967 | 2.873 | 93.1 | 10.557 | 889.467 | 23.909 | 7.8056
2020-11-11 18:15:00 | 3.568 | 99.463 | 2.937 | 94.018 | 2.193 | 98.433 | 2.538 | 92.167 | 10.16 | 889.933 | 24.443 | 8.6924
2020-11-11 18:30:00 | 3.877 | 87.567 | 4.161 | 81.964 | 4.177 | 86.3 | 4.274 | 83.167 | 9.341 | 889.833 | 26.395 | 10.8006
2020-11-11 18:45:00 | 3.789 | 96.34 | 3.909 | 92.302 | 3.06 | 98.167 | 2.873 | 93.133 | 8.548 | 889.35 | 29.189 | 11.7478
2020-11-11 19:00:00 | 3.751 | 104.467 | 3.681 | 97.601 | 3.393 | 103.267 | 3.802 | 99.633 | 8.04 | 889.333 | 29.573 | 9.6815
2020-11-11 19:15:00 | 3.96 | 112.46 | 4.213 | 104.247 | 3.858 | 105.333 | 3.708 | 101.233 | 7.98 | 889.85 | 30.448 | 8.5616
2020-11-11 19:30:00 | 4.05 | 119.73 | 3.778 | 105.666 | 3.89 | 111.433 | 4.337 | 107.633 | 7.559 | 889.717 | 31.957 | 7.5746
2020-11-11 19:45:00 | 3.239 | 120.563 | 3.287 | 107.637 | 2.982 | 111.767 | 3.759 | 109.6 | 6.721 | 889.783 | 33.365 | 6.9472
2020-11-11 20:00:00 | 2.627 | 153.567 | 3.347 | 120.061 | 3.557 | 121.3 | 3.953 | 114.5 | 6.873 | 889.633 | 32.613 | 7.1426
2020-11-11 20:15:00 | 3.018 | 149.373 | 3.901 | 119.3 | 3.881 | 119.7 | 4.46 | 115.767 | 6.628 | 889.433 | 33.371 | 9.2189
2020-11-11 20:30:00 | 2.707 | 156.8 | 3.474 | 116.554 | 3.888 | 115.8 | 4.414 | 110.5 | 6.027 | 889.65 | 34.267 | 7.3117
2020-11-11 20:45:00 | 2.518 | 172.933 | 3.03 | 126.76 | 3.363 | 119 | 3.692 | 109 | 6.077 | 889.817 | 34.208 | 5.0877
2020-11-11 21:00:00 | 2.565 | 181.887 | 2.758 | 126.834 | 2.911 | 117.733 | 2.927 | 104.467 | 5.673 | 889.667 | 34.005 | 2.7428
2020-11-11 21:15:00 | 2.557 | 193.62 | 1.674 | 129.755 | 2.293 | 117.4 | 2.535 | 108.467 | 5.458 | 890.083 | 33.557 | 0.85979
2020-11-11 21:30:00 | 2.488 | 201.76 | 0.726 | 133.848 | 1.403 | 109.7 | 1.381 | 106.033 | 5.081 | 889.567 | 33.723 | 0.13927
2020-11-11 21:45:00 | 2.545 | 212.587 | 0.52 | 150.578 | 1.106 | 118 | 2.095 | 105.867 | 5.095 | 889.533 | 33.301 | 0.15775
2020-11-11 22:00:00 | 3.096 | 215.88 | 0.969 | 151.042 | 1.236 | 122.1 | 1.956 | 106 | 5.057 | 889.533 | 31.947 | 0.17125
2020-11-11 22:15:00 | 2.939 | 213.953 | 1.255 | 173.21 | 1.711 | 123 | 1.856 | 106 | 5.177 | 889.633 | 30.4 | 0.29489
2020-11-11 22:30:00 | 3.549 | 219.107 | 1.744 | 169.715 | 2.127 | 131.1 | 2.438 | 109.033 | 4.988 | 889.433 | 29.312 | 0.19541
2020-11-11 22:45:00 | 3.283 | 226.153 | 0.216 | 185.44 | 1.157 | 134.967 | 2.542 | 109.2 | 5.359 | 889.6 | 28.875 | 0.2558
2020-11-11 23:00:00 | 3.232 | 226.387 | 0.15 | 182.447 | 1.03 | 139.233 | 2.131 | 107 | 5.591 | 889.517 | 28.981 | 0.23307
2020-11-11 23:15:00 | 4.028 | 232.107 | 0.06 | 201.75 | 0 | 139.967 | 0.729 | 107 | 5.352 | 890.117 | 29.2 | 0.22312
2020-11-11 23:30:00 | 3.831 | 229.14 | 0.502 | 216.67 | 0 | 139.933 | 0.057 | 107 | 4.822 | 889.85 | 30.341 | 0.2288
2020-11-11 23:45:00 | 3.985 | 226.453 | 0.944 | 241.374 | 0 | 139.933 | 0 | 107 | 3.914 | 889.617 | 31.989 | 0.23875