## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-12 00:00:00 | 4.921 | 228.62 | 2.258 | 233.977 | 0.027 | 226.867 | 0 | 107.067 | 3.199 | 889.767 | 33.6 | 0.23449
2020-11-12 00:15:00 | 4.817 | 226.867 | 1.986 | 229.313 | 0.304 | 258.2 | 0 | 106.908 | 2.868 | 889.95 | 35.771 | 0.2288
2020-11-12 00:30:00 | 3.857 | 225.913 | 0.409 | 245.512 | 0 | 258 | 0 | 106 | 2.337 | 889.733 | 36.555 | 0.24159
2020-11-12 00:45:00 | 3.351 | 223.713 | 0 | 245.459 | 0 | 258 | 0.218 | 106 | 3.928 | 889.633 | 33.936 | 0.23449
2020-11-12 01:00:00 | 2.804 | 224.987 | 0.03 | 183.033 | 0.747 | 144.067 | 1.638 | 76.708 | 3.866 | 889.817 | 34.016 | 0.27144
2020-11-12 01:15:00 | 1.626 | 217.24 | 0 | 23.06 | 1.357 | 45.6 | 2.083 | 38.267 | 3.793 | 889.467 | 33.317 | 0.26717
2020-11-12 01:30:00 | 1.295 | 231.68 | 0 | 24.27 | 1.453 | 47.033 | 1.819 | 42 | 3.762 | 889.7 | 33.568 | 0.25296
2020-11-12 01:45:00 | 1.367 | 234.567 | 0.951 | 24.727 | 2.029 | 33.667 | 2.528 | 41.233 | 3.204 | 889.9 | 34.416 | 0.25865
2020-11-12 02:00:00 | 0.25 | 256.407 | 0.483 | 43.329 | 2.142 | 47.038 | 2.801 | 40.667 | 3.021 | 889.7 | 34.576 | 0.19896
2020-11-12 02:15:00 | 0 | 330.787 | 1.186 | 21.253 | 2.357 | 12.44 | 2.761 | 21.867 | 2.47 | 889.683 | 35.317 | 0.2757
2020-11-12 02:30:00 | 1.21 | 277.947 | 2.26 | 328.595 | 3.539 | 338.033 | 2.909 | 270.6 | 2.054 | 889.6 | 36.621 | 0.29702
2020-11-12 02:45:00 | 2.538 | 267.827 | 3.31 | 299.12 | 3.71 | 322.133 | 3.026 | 345.933 | 1.673 | 889.667 | 36.741 | 0.25865
2020-11-12 03:00:00 | 3.612 | 289.013 | 3.961 | 318.864 | 4.099 | 334.1 | 3.572 | 344.8 | 1.156 | 889.383 | 35.464 | 0.2082
2020-11-12 03:15:00 | 3.757 | 282.067 | 3.374 | 319.947 | 3.325 | 337.9 | 3.062 | 341.467 | 1.252 | 889.85 | 36.701 | 0.28494
2020-11-12 03:30:00 | 3.735 | 263.933 | 2.829 | 305.748 | 2.285 | 329.367 | 1.866 | 106.333 | -0.136 | 889.65 | 39.512 | 0.31478
2020-11-12 03:45:00 | 4.476 | 249.92 | 2.915 | 278.644 | 0.957 | 312.733 | 0.796 | 0.133 | -0.346 | 889.833 | 39.341 | 0.27002
2020-11-12 04:00:00 | 3.774 | 264.667 | 2.567 | 284.521 | 1.537 | 296.467 | 0.362 | 352 | -0.439 | 889.633 | 40.112 | 0.25865
2020-11-12 04:15:00 | 3.92 | 263.36 | 2.068 | 283.937 | 0.96 | 296.467 | 0.205 | 352 | 0.416 | 889.467 | 39.056 | 0.27286
2020-11-12 04:30:00 | 5.052 | 253.28 | 3.497 | 270.136 | 2.167 | 270.133 | 1.289 | 302.767 | -0.196 | 889.717 | 38.781 | 0.26149
2020-11-12 04:45:00 | 4.868 | 262.893 | 3.287 | 282.41 | 1.98 | 288.467 | 1.619 | 288.967 | -1.075 | 889.7 | 39.765 | 0.26717
2020-11-12 05:00:00 | 4.647 | 260.4 | 3.559 | 289.1 | 2.205 | 289.433 | 1.389 | 288.6 | -1.032 | 889.617 | 39.896 | 0.27712
2020-11-12 05:15:00 | 5.081 | 249.6 | 3.288 | 282.976 | 1.82 | 298.067 | 1.103 | 288.133 | -1.979 | 889.625 | 41.267 | 0.28423
2020-11-12 05:30:00 | 5.53 | 245.387 | 3.76 | 268.059 | 3.026 | 284.467 | 2.082 | 289.767 | -2.394 | 889.908 | 42.901 | 0.29275
2020-11-12 05:45:00 | 5.286 | 248.12 | 3.678 | 265.94 | 2.092 | 272.867 | 1.266 | 289.233 | -2.687 | 889.767 | 43.483 | 0.27925
2020-11-12 06:00:00 | 5.625 | 242.033 | 3.484 | 265.217 | 1.749 | 278 | 1.202 | 288 | -3.304 | 889.725 | 43.936 | 0.19896
2020-11-12 06:15:00 | 4.4 | 246.553 | 3.152 | 277.389 | 2.012 | 294.333 | 1.267 | 289.467 | -1.402 | 889.65 | 41.648 | 0.26788
2020-11-12 06:30:00 | 2.918 | 264.733 | 1.42 | 292.709 | 0 | 300.367 | 1.486 | 290 | -0.319 | 889.883 | 40.747 | 0.28423
2020-11-12 06:45:00 | 2.157 | 269.433 | 0.911 | 341.889 | 1.219 | 21.754 | 2.787 | 50.767 | -0.033 | 890.217 | 40.221 | 0.25225
2020-11-12 07:00:00 | 2.277 | 258.713 | 0.033 | 352.821 | 0.793 | 37.3 | 2.355 | 68.133 | -0.033 | 889.75 | 39.813 | 0.28707
2020-11-12 07:15:00 | 1.876 | 257.307 | 0.107 | 118.059 | 0.797 | 61.167 | 3.316 | 80.2 | 0.1 | 889.833 | 39.872 | 0.48247
2020-11-12 07:30:00 | 1.83 | 219.3 | 0 | 86.067 | 1.716 | 108.7 | 3.628 | 102.9 | -1.523 | 889.65 | 42.069 | 1.5163
2020-11-12 07:45:00 | 2.506 | 214.007 | 1.08 | 169.391 | 2.136 | 132.167 | 3.943 | 119.3 | -1.519 | 889.467 | 41.792 | 2.1509
2020-11-12 08:00:00 | 4.077 | 209.967 | 2.227 | 187.117 | 2.02 | 154.033 | 2.72 | 133.167 | -1.048 | 889.908 | 41.653 | 1.7253
2020-11-12 08:15:00 | 3.851 | 213.48 | 2.48 | 192.868 | 2.392 | 171.633 | 2.978 | 147.067 | -0.715 | 889.667 | 40.629 | 1.1213
2020-11-12 08:30:00 | 3.878 | 193.4 | 1.853 | 185.978 | 2.129 | 152.6 | 3.163 | 130.133 | 0.266 | 889.35 | 38.709 | 1.5028
2020-11-12 08:45:00 | 3.211 | 191.313 | 2.844 | 174.064 | 2.08 | 167.3 | 2.245 | 141.067 | 0.665 | 889.9 | 37.813 | 1.2122
2020-11-12 09:00:00 | 3.992 | 203.36 | 2.701 | 161.273 | 2.098 | 144.967 | 2.636 | 126.867 | -0.202 | 889.25 | 37.216 | 1.2897
2020-11-12 09:15:00 | 3.239 | 184.8 | 3.517 | 137.963 | 3.926 | 122 | 4.212 | 108.033 | 0.05 | 889.75 | 37.984 | 3.7475
2020-11-12 09:30:00 | 2.749 | 151.987 | 3.876 | 110.313 | 3.934 | 105.8 | 3.846 | 98.9 | 1.609 | 889.867 | 35.931 | 6.4924
2020-11-12 09:45:00 | 2.91 | 136.613 | 3.541 | 107.678 | 3.608 | 108.433 | 3.928 | 101.433 | 2.7 | 889.8 | 35.211 | 6.8975
2020-11-12 10:00:00 | 2.04 | 111.8 | 2.717 | 86.585 | 3.217 | 88.433 | 3.731 | 83.933 | 3.454 | 890.05 | 33.797 | 3.7909
2020-11-12 10:15:00 | 2.329 | 77.05 | 2.615 | 75.466 | 2.61 | 84.733 | 2.404 | 86.7 | 4.255 | 889.883 | 33.904 | 2.1267
2020-11-12 10:30:00 | 1.854 | 101.853 | 1.48 | 100.22 | 1.612 | 103.467 | 2.503 | 108.233 | 4.325 | 889.883 | 32.939 | 0.33823
2020-11-12 10:45:00 | 2.35 | 91.665 | 1.703 | 88.326 | 1.65 | 94.633 | 2.618 | 96.2 | 4.769 | 889.5 | 31.984 | 1.3316
2020-11-12 11:00:00 | 2.541 | 97.043 | 2.418 | 93.502 | 2.477 | 96.667 | 2.792 | 90.6 | 5.392 | 889.867 | 31.499 | 2.109
2020-11-12 11:15:00 | 4.028 | 91.807 | 3.559 | 88.387 | 2.976 | 95.133 | 3.155 | 92.9 | 5.587 | 890.017 | 31.845 | 4.1909
2020-11-12 11:30:00 | 3.482 | 106.357 | 3.073 | 96.074 | 3.237 | 100.267 | 3.616 | 92.267 | 5.521 | 889.9 | 32.256 | 4.6947
2020-11-12 11:45:00 | 4.679 | 105.967 | 4.164 | 99.531 | 4.178 | 99.767 | 4.469 | 99.667 | 5.795 | 889.667 | 33.211 | 5.2539
2020-11-12 12:00:00 | 5.244 | 81.237 | 4.849 | 78.446 | 5.113 | 84.2 | 4.911 | 81.9 | 6.433 | 889.617 | 32.389 | 6.7689
2020-11-12 12:15:00 | 3.805 | 87.847 | 3.433 | 86.73 | 3.37 | 96.833 | 4.021 | 91.533 | 6.489 | 889.317 | 31.883 | 7.2101
2020-11-12 12:30:00 | 5.226 | 85.4 | 5.132 | 83.03 | 5.239 | 85.567 | 5.213 | 84.467 | 7.089 | 889.417 | 30.293 | 10.0837
2020-11-12 12:45:00 | 4.82 | 100.373 | 4.413 | 94.131 | 4.456 | 95.467 | 4.659 | 97.333 | 8.217 | 889.933 | 26.832 | 17.1865
2020-11-12 13:00:00 | 5.446 | 101.507 | 5.563 | 93.189 | 5.656 | 97.6 | 5.739 | 90.9 | 9.133 | 889.617 | 24.816 | 22.3303
2020-11-12 13:15:00 | 6.494 | 93.107 | 6.386 | 91.259 | 6.479 | 97.267 | 6.587 | 90.567 | 9.524 | 890.133 | 23.787 | 24.4264
2020-11-12 13:30:00 | 6.424 | 96.747 | 6.139 | 89.076 | 6.339 | 94 | 6.545 | 89.8 | 9.47 | 889.95 | 23.973 | 31.1896
2020-11-12 13:45:00 | 6.382 | 82.693 | 5.923 | 79.756 | 6.567 | 85 | 6.821 | 80.767 | 9.462 | 889.617 | 24.379 | 36.4855
2020-11-12 14:00:00 | 7.045 | 85.453 | 7.062 | 80.156 | 7.115 | 84.1 | 6.975 | 84.9 | 9.262 | 889.95 | 23.899 | 37.0411
2020-11-12 14:15:00 | 7.194 | 97 | 6.965 | 91.989 | 6.76 | 95.333 | 6.401 | 89.433 | 9.083 | 889.65 | 23.472 | 35.377
2020-11-12 14:30:00 | 6.748 | 94.48 | 6.249 | 85.521 | 6.596 | 88.867 | 6.97 | 82.467 | 8.904 | 889.967 | 23.125 | 37.94
2020-11-12 14:45:00 | 6.878 | 109.02 | 6.477 | 101.435 | 6.162 | 106.433 | 6.42 | 97.733 | 9.383 | 889.383 | 23.243 | 37.2998
2020-11-12 15:00:00 | 8.377 | 108.453 | 7.498 | 102.771 | 7.355 | 103.533 | 7.773 | 98.733 | 9.416 | 889.55 | 23.163 | 37.1392
2020-11-12 15:15:00 | 7.705 | 101.553 | 6.936 | 96.842 | 6.564 | 100.667 | 6.708 | 93.6 | 9.57 | 889.483 | 22.976 | 35.9788
2020-11-12 15:30:00 | 6.641 | 102.053 | 6.246 | 96.927 | 5.522 | 100.133 | 6.048 | 97.567 | 8.766 | 889.733 | 23.04 | 39.3625
2020-11-12 15:45:00 | 6.512 | 100.453 | 5.742 | 98.582 | 5.171 | 100.233 | 5.288 | 94.133 | 8.833 | 889.683 | 23.141 | 38.7209
2020-11-12 16:00:00 | 6.423 | 89.38 | 6.132 | 86.636 | 6.069 | 89.267 | 6.234 | 86.033 | 9.058 | 889.867 | 22.981 | 34.5634
2020-11-12 16:15:00 | 6.838 | 90.873 | 6.055 | 87.916 | 5.873 | 90.2 | 5.989 | 85.3 | 9.012 | 889.6 | 23.189 | 32.2555
2020-11-12 16:30:00 | 6.467 | 92.787 | 5.736 | 89.492 | 5.177 | 93.1 | 4.838 | 89.867 | 8.887 | 889.717 | 23.296 | 30.3192
2020-11-12 16:45:00 | 5.986 | 88.32 | 5.919 | 83.761 | 6.113 | 88.867 | 6.169 | 83.333 | 8.787 | 889.783 | 23.504 | 24.9686
2020-11-12 17:00:00 | 5.081 | 82.235 | 5.021 | 76.413 | 5.492 | 80.333 | 5.839 | 75.6 | 8.234 | 889.817 | 24.043 | 20.0259
2020-11-12 17:15:00 | 5.417 | 80.083 | 5.334 | 76.083 | 5.879 | 81.067 | 6.188 | 77.9 | 8.173 | 889.817 | 25.013 | 20.7386
2020-11-12 17:30:00 | 6.019 | 82.667 | 5.986 | 77.712 | 6.351 | 82.333 | 6.478 | 81.8 | 7.406 | 889.7 | 26.363 | 18.1727
2020-11-12 17:45:00 | 5.283 | 85.533 | 5.068 | 81.268 | 5.245 | 85.033 | 5.374 | 81.867 | 7.539 | 889.733 | 26.891 | 18.7362
2020-11-12 18:00:00 | 4.079 | 93.967 | 3.771 | 94.804 | 3.103 | 99.667 | 3.538 | 92.667 | 7.322 | 889.767 | 26.997 | 18.7327
2020-11-12 18:15:00 | 5.021 | 103.233 | 4.643 | 100.55 | 4.574 | 105.067 | 4.576 | 96.433 | 7.106 | 889.85 | 26.72 | 17.2575
2020-11-12 18:30:00 | 5.575 | 110.867 | 5.471 | 106.166 | 5.452 | 108.433 | 5.742 | 103.333 | 6.376 | 889.65 | 26.955 | 16.2208
2020-11-12 18:45:00 | 4.636 | 108.65 | 4.404 | 101.735 | 4.178 | 105.4 | 4.479 | 99.567 | 6.542 | 890.2 | 27.333 | 13.3885
2020-11-12 19:00:00 | 2.925 | 137.653 | 3.422 | 113.651 | 3.685 | 117.933 | 4.216 | 111.833 | 5.968 | 889.833 | 28.133 | 11.7919
2020-11-12 19:15:00 | 1.036 | 120.753 | 1.996 | 94.499 | 2.243 | 88.567 | 2.45 | 85.4 | 5.508 | 890 | 29.008 | 5.4458
2020-11-12 19:30:00 | 3.626 | 89.207 | 4.228 | 78.8 | 4.709 | 82.8 | 4.958 | 80.5 | 5.372 | 889.717 | 28.949 | 4.8198
2020-11-12 19:45:00 | 0.536 | 89.293 | 1.587 | 61.107 | 2.567 | 76.9 | 2.59 | 82.467 | 4.862 | 889.617 | 29.387 | 4.5157
2020-11-12 20:00:00 | 2.285 | 85.47 | 3.2 | 83.553 | 2.553 | 95.367 | 2.812 | 93.267 | 3.709 | 890.1 | 31.856 | 2.995
2020-11-12 20:15:00 | 0.804 | 118.487 | 2.825 | 85.991 | 2.784 | 92.167 | 2.655 | 91.767 | 4.201 | 889.083 | 31.136 | 6.0199
2020-11-12 20:30:00 | 0.951 | 223.967 | 0.11 | 62.713 | 2.432 | 78.1 | 2.94 | 81.867 | 3.572 | 889.517 | 31.968 | 5.3889
2020-11-12 20:45:00 | 0 | 142 | 0 | 21.231 | 2.472 | 75.433 | 3.592 | 79.367 | 3.321 | 889.767 | 33.093 | 3.4477
2020-11-12 21:00:00 | 0.682 | 211.947 | 0 | 47.966 | 1.062 | 62.283 | 2.984 | 71.967 | 3.03 | 889.567 | 33.971 | 3.4981
2020-11-12 21:15:00 | 1.154 | 237.807 | 0.761 | 230.723 | 0.89 | 194.933 | 1.559 | 158.85 | 3.341 | 889.733 | 32.259 | 2.288
2020-11-12 21:30:00 | 1.103 | 33.255 | 0.914 | 49.035 | 1.473 | 60.167 | 2.536 | 67.433 | 4.411 | 890.183 | 32.005 | 2.978
2020-11-12 21:45:00 | 2.432 | 287.347 | 1.111 | 286.086 | 0 | 321.7 | 0.114 | 83.092 | 3.448 | 889.817 | 32.131 | 0.31194
2020-11-12 22:00:00 | 2.461 | 262.307 | 2.104 | 269.772 | 2.312 | 278.133 | 1.848 | 296.067 | 1.499 | 889.8 | 33.397 | 0.24728
2020-11-12 22:15:00 | 3.638 | 287.627 | 2.722 | 301.941 | 2.242 | 314.3 | 1.148 | 307.067 | 2.164 | 889.25 | 33.952 | 0.26433
2020-11-12 22:30:00 | 3.856 | 284.347 | 3.064 | 317.448 | 3.074 | 325.833 | 2.897 | 334.633 | 1.426 | 890.033 | 35.099 | 0.27144
2020-11-12 22:45:00 | 4.651 | 287.147 | 3.965 | 306.104 | 3.046 | 320.233 | 2.846 | 321.567 | 1.649 | 889.667 | 34.955 | 0.15277
2020-11-12 23:00:00 | 4.373 | 272.467 | 3.699 | 288.117 | 2.657 | 298.567 | 1.922 | 311.067 | 1.512 | 889.617 | 34.677 | 0.091663
2020-11-12 23:15:00 | 5.19 | 257.473 | 4.035 | 275.002 | 3.378 | 281.633 | 2.832 | 286.1 | 1.349 | 890.367 | 34.941 | 0.21743
2020-11-12 23:30:00 | 4.528 | 260.693 | 3.876 | 278.694 | 3.387 | 293.267 | 2.464 | 294.567 | 0.898 | 890.1 | 36.539 | 0.11298
2020-11-12 23:45:00 | 4.967 | 251.893 | 4.11 | 272.185 | 3.052 | 283.567 | 2.224 | 276.6 | 0.965 | 889.883 | 36.539 | 0.24657