## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-13 00:00:00 | 4.733 | 255.647 | 4.029 | 276.433 | 2.713 | 287.933 | 1.945 | 295.4 | 0.565 | 889.8 | 37.467 | 0.16769
2020-11-13 00:15:00 | 4.912 | 265.12 | 3.919 | 281.254 | 2.899 | 292.833 | 2.277 | 296.533 | -0.016 | 890.183 | 38.635 | 0.068214
2020-11-13 00:30:00 | 4.544 | 257.433 | 3.446 | 284.716 | 2.675 | 304.3 | 1.74 | 296.333 | 0.133 | 889.883 | 38.728 | 0.12932
2020-11-13 00:45:00 | 4.782 | 262.02 | 3.39 | 294.211 | 2.583 | 316.533 | 2.2 | 329.533 | 1.456 | 889.833 | 36.197 | 0.25012
2020-11-13 01:00:00 | 5.041 | 256.827 | 4.354 | 288.425 | 3.68 | 310.533 | 3.267 | 321.167 | 1.002 | 889.117 | 36.256 | 0.20677
2020-11-13 01:15:00 | 5.015 | 263.98 | 4.602 | 295.658 | 4.405 | 316.6 | 4.158 | 324.1 | 0.283 | 889.45 | 37.739 | 0.97632
2020-11-13 01:30:00 | 4.602 | 272.973 | 4.738 | 300.17 | 4.255 | 319.067 | 3.845 | 329.867 | 0.496 | 889.45 | 38.853 | 1.6016
2020-11-13 01:45:00 | 5.065 | 245.4 | 4.847 | 281.12 | 4.287 | 313.467 | 3.714 | 327.133 | -0.126 | 889.867 | 37.811 | 1.6911
2020-11-13 02:00:00 | 4.778 | 240.267 | 3.973 | 271.245 | 3.225 | 299.967 | 2.598 | 318.567 | 0.516 | 889.7 | 37.784 | 0.29418
2020-11-13 02:15:00 | 4.282 | 257.807 | 4.158 | 278.765 | 3.771 | 295.433 | 3.307 | 304.4 | 0.499 | 889.75 | 37.731 | 0.40715
2020-11-13 02:30:00 | 4.342 | 258.68 | 4 | 277.716 | 3.901 | 288.967 | 3.876 | 293.8 | 0.282 | 889.867 | 38.789 | 0.28352
2020-11-13 02:45:00 | 4.371 | 250.707 | 3.999 | 279.582 | 3.702 | 297.167 | 3.536 | 299.667 | 0.349 | 889.733 | 38.355 | 0.65727
2020-11-13 03:00:00 | 5.022 | 236.72 | 4.213 | 265.06 | 3.69 | 282 | 3.726 | 288.767 | -1.119 | 889.75 | 40.219 | 1.549
2020-11-13 03:15:00 | 5.377 | 232.313 | 3.952 | 260.208 | 3.192 | 284 | 3.225 | 293 | -1.563 | 889.842 | 42.341 | 0.55424
2020-11-13 03:30:00 | 5.343 | 235.453 | 3.874 | 260.925 | 3.183 | 282 | 3.161 | 294.533 | -2.157 | 889.983 | 43.568 | 0.57414
2020-11-13 03:45:00 | 5.341 | 234.607 | 4.507 | 260.847 | 3.789 | 277 | 3.72 | 292.233 | -1.636 | 889.917 | 43.819 | 1.1397
2020-11-13 04:00:00 | 4.583 | 236.08 | 3.503 | 268.622 | 3.042 | 282.733 | 3.106 | 292.133 | -1.76 | 889.9 | 44.315 | 1.4012
2020-11-13 04:15:00 | 4.282 | 248.693 | 2.634 | 283.088 | 2.612 | 300.067 | 2.765 | 304.033 | -1.182 | 889.917 | 44.352 | 0.15348
2020-11-13 04:30:00 | 4.775 | 235.9 | 2.89 | 278.628 | 2.571 | 300 | 2.832 | 304 | -1.692 | 889.933 | 43.344 | 0.19541
2020-11-13 04:45:00 | 4.991 | 243.547 | 3.166 | 272.771 | 2.66 | 305.467 | 2.772 | 306.633 | -2.124 | 889.767 | 44.437 | 0.26504
2020-11-13 05:00:00 | 4.636 | 248.067 | 3.098 | 282.878 | 2.772 | 310.4 | 2.661 | 328.1 | -1.519 | 890.367 | 44.16 | 0.2956
2020-11-13 05:15:00 | 4.46 | 246.433 | 3.151 | 278.967 | 2.433 | 298 | 2.545 | 314.833 | -0.538 | 889.833 | 42.795 | 0.29773
2020-11-13 05:30:00 | 4.349 | 241.527 | 2.352 | 274.823 | 1.508 | 298 | 1.171 | 314.867 | -0.628 | 889.633 | 42.453 | 0.29844
2020-11-13 05:45:00 | 4.34 | 242.333 | 2.106 | 261.999 | 0.989 | 298 | 0.41 | 315.8 | -0.478 | 889.825 | 42.293 | 0.26717
2020-11-13 06:00:00 | 4.734 | 236.507 | 2.146 | 259.007 | 1.062 | 295.733 | 1.012 | 314.1 | -0.819 | 889.933 | 42.656 | 0.27854
2020-11-13 06:15:00 | 5.122 | 237.653 | 2.796 | 259.037 | 1.627 | 290.067 | 1.635 | 314 | -1.579 | 890.325 | 42.336 | 0.27286
2020-11-13 06:30:00 | 5.62 | 233.207 | 3.048 | 255.018 | 1.843 | 267.933 | 1.798 | 296.033 | -2.201 | 889.992 | 44.011 | 0.27712
2020-11-13 06:45:00 | 5.194 | 235.26 | 3.344 | 245.468 | 2.244 | 254.467 | 1.9 | 272 | -2.098 | 889.742 | 44.971 | 0.29133
2020-11-13 07:00:00 | 4.809 | 231.933 | 2.978 | 237.601 | 2.065 | 249.2 | 1.533 | 267.333 | -1.813 | 890.025 | 44.789 | 0.28423
2020-11-13 07:15:00 | 5.557 | 234.44 | 3.059 | 242.576 | 1.82 | 247.3 | 1.696 | 244 | -2.467 | 889.967 | 44.064 | 0.29844
2020-11-13 07:30:00 | 5.76 | 231.333 | 3.549 | 249.088 | 2.511 | 256 | 1.784 | 244.5 | -3.756 | 889.825 | 46.197 | 0.29133
2020-11-13 07:45:00 | 5.903 | 227 | 4 | 252.166 | 2.979 | 258.667 | 2.413 | 251.533 | -4.206 | 890.117 | 47.328 | 0.28281
2020-11-13 08:00:00 | 5.524 | 230.387 | 3.718 | 253.703 | 3.519 | 263.667 | 3.234 | 269.2 | -4.929 | 890.05 | 48.533 | 0.18759
2020-11-13 08:15:00 | 4.996 | 228.733 | 3.579 | 254.767 | 2.787 | 263.8 | 2.483 | 267.167 | -4.802 | 889.967 | 49.189 | 0.15917
2020-11-13 08:30:00 | 5.605 | 235.66 | 3.657 | 261.169 | 2.88 | 264.867 | 2.552 | 266.333 | -4.153 | 889.533 | 48.421 | 0.23804
2020-11-13 08:45:00 | 5.114 | 235.253 | 3.668 | 265.626 | 2.578 | 272.067 | 2.404 | 269.467 | -4.364 | 889.883 | 48.219 | 0.055424
2020-11-13 09:00:00 | 4.574 | 244.113 | 3.672 | 275.872 | 3.113 | 295.1 | 3.121 | 300.3 | -2.468 | 889.85 | 46.245 | 0.16698
2020-11-13 09:15:00 | 3.986 | 233.327 | 2.359 | 282.02 | 1.992 | 304 | 2.716 | 310.6 | -2.845 | 889.458 | 45.387 | 0.1947
2020-11-13 09:30:00 | 3.308 | 246.573 | 2.127 | 292.846 | 2.084 | 316.8 | 2.464 | 324.333 | 0.283 | 889.717 | 41.771 | 0.3027
2020-11-13 09:45:00 | 3.657 | 271.84 | 3.7 | 299.939 | 3.616 | 319.867 | 3.262 | 322.1 | 1.015 | 889.783 | 38.72 | 0.30057
2020-11-13 10:00:00 | 3.88 | 277.213 | 3.704 | 294.75 | 3.109 | 315.1 | 2.914 | 329.367 | 1.649 | 889.917 | 38.149 | 0.13998
2020-11-13 10:15:00 | 2.264 | 287.773 | 2.953 | 301.109 | 3.254 | 317.767 | 3.245 | 333.933 | 2.131 | 889.7 | 36.968 | 0.14211
2020-11-13 10:30:00 | 3.616 | 294.4 | 3.605 | 296.638 | 3.834 | 310.267 | 3.523 | 322.867 | 2.328 | 889.9 | 36.251 | 0.51871
2020-11-13 10:45:00 | 3.787 | 303.52 | 3.716 | 298.753 | 3.708 | 303.167 | 3.716 | 308.933 | 2.823 | 889.8 | 35.339 | 1.1376
2020-11-13 11:00:00 | 3.266 | 300.467 | 3.035 | 298.644 | 3.087 | 303.033 | 3.479 | 302.3 | 3.488 | 889.867 | 33.776 | 0.53577
2020-11-13 11:15:00 | 3.402 | 325.32 | 3.218 | 317.242 | 3.21 | 318.833 | 3.452 | 322.2 | 3.902 | 889.45 | 32.395 | 0.1073
2020-11-13 11:30:00 | 2.304 | 216.316 | 2.217 | 258.849 | 2 | 246.634 | 2.569 | 256.867 | 4.424 | 889.5 | 31.099 | 0.14069
2020-11-13 11:45:00 | 3.203 | 311.6 | 3.038 | 311.382 | 2.93 | 313.6 | 3.021 | 313.133 | 4.968 | 889.983 | 29.728 | 0.19327
2020-11-13 12:00:00 | 3.639 | 320.827 | 3.696 | 317.866 | 4.135 | 323.867 | 4.537 | 323 | 5.19 | 889.933 | 29.365 | 0.90526
2020-11-13 12:15:00 | 4.616 | 318.28 | 4.679 | 313.824 | 4.854 | 320 | 5.087 | 316.767 | 5.319 | 889.95 | 29.203 | 3.8527
2020-11-13 12:30:00 | 4.835 | 302.28 | 4.854 | 310.567 | 5.117 | 318.767 | 5.582 | 317.5 | 5.57 | 889.767 | 28.693 | 7.4261
2020-11-13 12:45:00 | 6.243 | 328.493 | 5.984 | 318.442 | 6.165 | 321.367 | 6.63 | 318.5 | 6.167 | 889.817 | 28.24 | 12.7497
2020-11-13 13:00:00 | 6.885 | 315.653 | 7.232 | 311.14 | 7.324 | 315.133 | 7.782 | 313.4 | 6.589 | 889.317 | 27.739 | 25.2201
2020-11-13 13:15:00 | 8.829 | 317.667 | 9.222 | 309.173 | 9.647 | 314.7 | 10.15 | 311.967 | 6.609 | 889.7 | 30.531 | 41.6939
2020-11-13 13:30:00 | 9.614 | 317.253 | 9.995 | 308.621 | 10.202 | 312.7 | 10.587 | 310.8 | 6.737 | 889.767 | 33.259 | 55.7617
2020-11-13 13:45:00 | 8.932 | 307.52 | 9.504 | 301.559 | 9.683 | 307.733 | 10.153 | 305.9 | 6.936 | 889.317 | 31.704 | 44.3081
2020-11-13 14:00:00 | 9.718 | 309.493 | 10.301 | 305.653 | 10.608 | 309.267 | 11.155 | 307 | 6.88 | 889.633 | 32.883 | 34.12
2020-11-13 14:15:00 | 10.536 | 301.6 | 10.9 | 295.428 | 11.49 | 299.767 | 12.014 | 299.367 | 6.642 | 889.9 | 33.597 | 30.0676
2020-11-13 14:30:00 | 9.539 | 308.987 | 10.039 | 303.939 | 10.291 | 308.867 | 10.621 | 307.5 | 6.837 | 889.95 | 34.736 | 26.281
2020-11-13 14:45:00 | 9.007 | 315.2 | 9.355 | 309.81 | 9.668 | 313.2 | 9.984 | 311.767 | 6.641 | 889.383 | 35.331 | 25.9904
2020-11-13 15:00:00 | 8.803 | 317.227 | 9.471 | 311.646 | 9.641 | 317.467 | 9.822 | 316.5 | 6.946 | 889.95 | 36.283 | 25.5044
2020-11-13 15:15:00 | 9.209 | 326 | 9.368 | 316.335 | 9.448 | 320.7 | 9.84 | 319.633 | 7.039 | 889.75 | 35.893 | 27.7647
2020-11-13 15:30:00 | 8.665 | 298.933 | 9.486 | 292.666 | 9.767 | 297.2 | 10.007 | 296.567 | 7.239 | 889.567 | 34.653 | 31.1107
2020-11-13 15:45:00 | 9.474 | 316.4 | 9.495 | 307.763 | 9.856 | 309.667 | 10.21 | 308.167 | 7.089 | 889.767 | 35.349 | 38.2107
2020-11-13 16:00:00 | 9.493 | 302.573 | 10.151 | 296.988 | 10.746 | 301.167 | 10.958 | 298.767 | 6.949 | 890.05 | 36.781 | 39.9672
2020-11-13 16:15:00 | 8.303 | 307.187 | 8.75 | 299.338 | 9.016 | 303.433 | 9.452 | 299.9 | 6.638 | 889.633 | 37.424 | 54.4351
2020-11-13 16:30:00 | 8.17 | 304.48 | 8.648 | 297.144 | 8.858 | 301.333 | 9.157 | 299.4 | 6.528 | 889.783 | 38.04 | 50.7302
2020-11-13 16:45:00 | 8.077 | 298.72 | 8.575 | 293.768 | 8.806 | 298.133 | 9.187 | 295.367 | 6.258 | 889.75 | 38.731 | 45.5345
2020-11-13 17:00:00 | 7.26 | 292.533 | 7.654 | 286.142 | 8.018 | 289.767 | 8.357 | 285.333 | 6.26 | 889.767 | 39.659 | 33.6233
2020-11-13 17:15:00 | 6.009 | 292.16 | 6.563 | 286.354 | 6.799 | 288.7 | 7.018 | 285.167 | 5.918 | 889.633 | 40.587 | 22.6792
2020-11-13 17:30:00 | 5.821 | 285.693 | 6.333 | 278.11 | 6.622 | 280.633 | 7.008 | 277.2 | 6.316 | 889.592 | 40.893 | 24.2673
2020-11-13 17:45:00 | 5.227 | 284.547 | 6.094 | 280.22 | 6.597 | 282.233 | 6.881 | 279.467 | 5.933 | 889.792 | 41.872 | 25.439
2020-11-13 18:00:00 | 4.598 | 298.427 | 5.368 | 291.108 | 5.699 | 295.233 | 6.175 | 292.833 | 5.222 | 889.933 | 42.891 | 16.5143
2020-11-13 18:15:00 | 4.349 | 298.107 | 5.492 | 292.68 | 5.794 | 296.067 | 6.282 | 291.7 | 5.045 | 889.933 | 43.995 | 13.8852
2020-11-13 18:30:00 | 4.569 | 281.507 | 5.373 | 281.1 | 5.578 | 286.3 | 5.9 | 283.6 | 4.299 | 889.908 | 45.259 | 16.4333
2020-11-13 18:45:00 | 5.36 | 283.307 | 5.99 | 279.989 | 6.189 | 282.567 | 6.643 | 281.9 | 4.249 | 889.825 | 46.187 | 18.8918
2020-11-13 19:00:00 | 4.702 | 283.293 | 5.594 | 280.367 | 5.898 | 284.267 | 6.13 | 279.867 | 3.662 | 889.883 | 47.339 | 27.1934
2020-11-13 19:15:00 | 3.992 | 286.6 | 4.902 | 283.504 | 5.189 | 284.733 | 5.652 | 279.133 | 3.221 | 890.108 | 48.917 | 21.7014
2020-11-13 19:30:00 | 5.111 | 272.347 | 6.384 | 270.348 | 7.141 | 274.167 | 7.584 | 270.333 | 3.013 | 889.65 | 49.419 | 23.0138
2020-11-13 19:45:00 | 4.839 | 286.8 | 6.53 | 281.107 | 7.217 | 283.567 | 7.431 | 280.833 | 3.221 | 890.483 | 48.875 | 34.6543
2020-11-13 20:00:00 | 6.356 | 278.133 | 7.167 | 274.108 | 7.709 | 277.8 | 8.289 | 275.3 | 3.405 | 889.908 | 48.656 | 41.5284
2020-11-13 20:15:00 | 5.689 | 275.533 | 6.97 | 270.486 | 7.335 | 274.533 | 7.6 | 269.733 | 3.254 | 889.875 | 49.227 | 27.327
2020-11-13 20:30:00 | 3.8 | 252.887 | 5.426 | 257.484 | 5.911 | 262.967 | 6.335 | 257.817 | 2.184 | 889.917 | 51.323 | 17.5354
2020-11-13 20:45:00 | 4.804 | 259.247 | 5.855 | 259.358 | 6.178 | 263.033 | 6.52 | 258.667 | 2.225 | 890.142 | 52.48 | 17.5773
2020-11-13 21:00:00 | 4.537 | 249.3 | 5.843 | 252.444 | 6.349 | 256.583 | 6.458 | 252.683 | 1.802 | 889.867 | 53.179 | 19.8433
2020-11-13 21:15:00 | 4.946 | 255.4 | 6.674 | 254.337 | 7.046 | 260.183 | 7.216 | 255.9 | 1.596 | 889.625 | 52.677 | 25.1136
2020-11-13 21:30:00 | 3.505 | 259.1 | 5.318 | 259.144 | 5.962 | 265.3 | 6.196 | 261.933 | 1.589 | 889.825 | 53.152 | 22.0659
2020-11-13 21:45:00 | 4.336 | 260.647 | 5.302 | 260.701 | 5.721 | 266.367 | 5.933 | 261.467 | 1.739 | 890.008 | 53.909 | 17.4984
2020-11-13 22:00:00 | 4.249 | 237.733 | 5.238 | 250.05 | 5.706 | 256.1 | 6.02 | 255.65 | 1.412 | 889.875 | 54.187 | 16.5349
2020-11-13 22:15:00 | 4.513 | 234.787 | 5.182 | 249.204 | 5.96 | 258.167 | 6.25 | 256.983 | 1.302 | 890.233 | 55.147 | 16.2791
2020-11-13 22:30:00 | 3.527 | 243.533 | 5.087 | 257.868 | 5.763 | 266.533 | 6.179 | 265.3 | 0.832 | 890.05 | 57.045 | 16.505
2020-11-13 22:45:00 | 4.497 | 243.347 | 5.643 | 250.574 | 6.154 | 260.967 | 6.666 | 260.033 | 0.932 | 889.792 | 58.757 | 19.6706
2020-11-13 23:00:00 | 4.683 | 237.333 | 5.519 | 243.416 | 6.133 | 253.767 | 6.448 | 253.133 | 0.965 | 889.708 | 58.315 | 24.9324
2020-11-13 23:15:00 | 5.362 | 243.027 | 6.436 | 246.627 | 6.843 | 253.5 | 7.121 | 250.333 | 1.519 | 889.892 | 58.112 | 33.079
2020-11-13 23:30:00 | 5.726 | 243.693 | 6.78 | 243.827 | 7.064 | 250.067 | 7.18 | 246.967 | 1.789 | 889.817 | 57.611 | 34.245
2020-11-13 23:45:00 | 6.136 | 243.747 | 6.94 | 245.115 | 7.388 | 252.3 | 7.636 | 249.217 | 2.082 | 890.142 | 57.312 | 31.4753