## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-14 00:00:00 | 5.191 | 243.407 | 6.542 | 246.832 | 7.15 | 256 | 7.422 | 251.833 | 2.308 | 890.15 | 57.605 | 31.4376
2020-11-14 00:15:00 | 5.195 | 245.687 | 6.551 | 247.106 | 6.817 | 253.533 | 7.042 | 250.9 | 1.822 | 890.183 | 58.421 | 31.9464
2020-11-14 00:30:00 | 5.951 | 239.94 | 6.943 | 242.083 | 7.333 | 249.2 | 7.407 | 247.083 | 1.592 | 889.75 | 59.264 | 36.2872
2020-11-14 00:45:00 | 5.301 | 247.08 | 6.585 | 248.289 | 6.833 | 255.3 | 7.058 | 251.933 | 1.66 | 889.642 | 59.979 | 35.6562
2020-11-14 01:00:00 | 6.04 | 244.44 | 7.29 | 246.536 | 7.186 | 253.933 | 7.253 | 252.55 | 1.135 | 889.258 | 61.312 | 36.3384
2020-11-14 01:15:00 | 5.967 | 243.387 | 7.07 | 244.884 | 6.996 | 251.5 | 7.132 | 249.5 | 0.715 | 889.617 | 62.133 | 36.8358
2020-11-14 01:30:00 | 6.225 | 245.667 | 7.237 | 247.567 | 7.387 | 254.033 | 7.54 | 251.867 | 0.699 | 889.142 | 62.379 | 36.3682
2020-11-14 01:45:00 | 5.584 | 242.26 | 6.655 | 245.545 | 6.617 | 252.567 | 6.899 | 249.783 | 0.532 | 889.983 | 62.816 | 34.9805
2020-11-14 02:00:00 | 5.315 | 231.167 | 6.62 | 237.81 | 6.409 | 246.767 | 6.506 | 244.967 | 0.034 | 889.9 | 63.499 | 29.8687
2020-11-14 02:15:00 | 4.47 | 220.08 | 5.691 | 233.367 | 5.926 | 243.533 | 5.933 | 238.667 | 0.299 | 889.983 | 64.011 | 22.1178
2020-11-14 02:30:00 | 4.94 | 225.367 | 5.882 | 234.527 | 5.936 | 243.6 | 6.035 | 240.967 | -0.698 | 890.383 | 65.643 | 16.2499
2020-11-14 02:45:00 | 4.554 | 226.04 | 5.842 | 235.329 | 6.053 | 245.767 | 6.159 | 242.633 | -0.938 | 890.017 | 67.115 | 14.1879
2020-11-14 03:00:00 | 4.484 | 227.78 | 5.994 | 230.471 | 5.8 | 240.167 | 5.748 | 238.033 | -1.199 | 890.3 | 68.864 | 17.5979
2020-11-14 03:15:00 | 5.167 | 224.047 | 6.28 | 231.438 | 5.938 | 240.333 | 5.764 | 237.733 | -1.032 | 890.375 | 70.197 | 17.7208
2020-11-14 03:30:00 | 5.682 | 223.493 | 6.127 | 229.896 | 5.874 | 238.333 | 5.704 | 235.133 | -1.252 | 889.942 | 71.136 | 16.7964
2020-11-14 03:45:00 | 5.292 | 222.147 | 6.189 | 230.553 | 5.927 | 238.567 | 5.756 | 234.933 | -1.269 | 889.842 | 71.296 | 14.4956
2020-11-14 04:00:00 | 5.142 | 223.94 | 6.112 | 231.658 | 5.868 | 242.033 | 5.663 | 239.667 | -1.68 | 889.75 | 72.139 | 15.4769
2020-11-14 04:15:00 | 5.836 | 214.22 | 6.592 | 217.983 | 5.93 | 224.033 | 5.661 | 222.6 | -1.539 | 889.742 | 72.768 | 13.1341
2020-11-14 04:30:00 | 5.548 | 218.747 | 6.82 | 218.616 | 5.942 | 224.067 | 5.498 | 222.1 | -1.812 | 889.692 | 73.419 | 12.7021
2020-11-14 04:45:00 | 5.555 | 217.707 | 6.554 | 220.132 | 5.712 | 223.367 | 5.088 | 223.267 | -1.68 | 889.925 | 73.813 | 12.997
2020-11-14 05:00:00 | 5.979 | 217.727 | 6.86 | 221.903 | 5.879 | 226.9 | 5.665 | 224.533 | -1.928 | 890.075 | 73.568 | 13.785
2020-11-14 05:15:00 | 6.195 | 216.64 | 7.527 | 217.224 | 6.943 | 223.367 | 6.172 | 219.667 | -2.128 | 890.1 | 73.973 | 15.9352
2020-11-14 05:30:00 | 6.137 | 213.433 | 7.456 | 210.749 | 7.176 | 212.533 | 6.736 | 212.033 | -1.795 | 889.7 | 74.027 | 17.8295
2020-11-14 05:45:00 | 5.318 | 211.887 | 6.867 | 207.306 | 6.676 | 209.333 | 6.474 | 205.833 | -2.131 | 889.775 | 73.621 | 22.5704
2020-11-14 06:00:00 | 5.688 | 213.76 | 7.059 | 211.472 | 6.532 | 212.633 | 6.05 | 209.033 | -1.876 | 890.167 | 72.533 | 19.9449
2020-11-14 06:15:00 | 5.802 | 218.833 | 7.047 | 213.248 | 6.863 | 215.6 | 6.738 | 212.633 | -1.7 | 890.092 | 71.253 | 19.0233
2020-11-14 06:30:00 | 6.432 | 221.047 | 7.226 | 216.435 | 6.906 | 220.033 | 6.434 | 219.133 | -1.76 | 889.792 | 69.557 | 17.3478
2020-11-14 06:45:00 | 6.272 | 223.2 | 7.511 | 220.495 | 7.035 | 225 | 6.449 | 221.8 | -1.6 | 889.492 | 68.032 | 19.1555
2020-11-14 07:00:00 | 6.466 | 219.793 | 8.324 | 219.125 | 7.464 | 222.833 | 6.734 | 219.7 | -1.789 | 890.375 | 67.243 | 23.3421
2020-11-14 07:15:00 | 6.399 | 214.627 | 7.996 | 213.575 | 7.354 | 218.1 | 6.727 | 217.3 | -2.111 | 890.008 | 67.371 | 23.4224
2020-11-14 07:30:00 | 6.002 | 217.88 | 8.27 | 213.604 | 7.539 | 217.067 | 7.018 | 213.633 | -2.107 | 890.283 | 66.539 | 18.1877
2020-11-14 07:45:00 | 6.135 | 217.82 | 7.426 | 215.352 | 6.992 | 218.7 | 6.49 | 217.967 | -2.296 | 889.917 | 65.611 | 22.6379
2020-11-14 08:00:00 | 4.974 | 212.24 | 6.873 | 209.354 | 6.322 | 211.467 | 5.803 | 208.867 | -2.114 | 890.258 | 65.216 | 17.4217
2020-11-14 08:15:00 | 5.02 | 219.993 | 6.289 | 213.502 | 5.768 | 215.5 | 5.356 | 209.433 | -2.18 | 889.967 | 65.419 | 13.5683
2020-11-14 08:30:00 | 6.33 | 225.807 | 7.682 | 222.975 | 7.162 | 225.9 | 6.216 | 222.8 | -2.128 | 889.925 | 64.693 | 15.496
2020-11-14 08:45:00 | 5.914 | 218.887 | 8.087 | 217.464 | 7.672 | 220.733 | 6.984 | 217.733 | -1.84 | 889.792 | 63.637 | 23.983
2020-11-14 09:00:00 | 5.465 | 224.293 | 7.567 | 219.446 | 7.382 | 222.433 | 6.815 | 218.733 | -1.513 | 889.975 | 62.923 | 20.9631
2020-11-14 09:15:00 | 5.427 | 222.947 | 6.887 | 220.949 | 6.248 | 225.4 | 5.721 | 223.467 | -0.865 | 889.883 | 60.405 | 17.3712
2020-11-14 09:30:00 | 5.54 | 219.493 | 6.688 | 220.119 | 5.991 | 223.2 | 5.449 | 220.533 | 0.083 | 889.667 | 57.515 | 14.5091
2020-11-14 09:45:00 | 4.467 | 217.76 | 5.457 | 219.972 | 4.905 | 225.433 | 4.775 | 224.833 | 1.099 | 889.725 | 54.229 | 10.0822
2020-11-14 10:00:00 | 4.718 | 217.58 | 5.847 | 215.686 | 5.775 | 222.533 | 5.535 | 220.433 | 2.25 | 890.1 | 51.019 | 8.8792
2020-11-14 10:15:00 | 4.439 | 212.653 | 4.506 | 208.695 | 5.226 | 212.833 | 5.088 | 213.233 | 3.731 | 889.858 | 46.848 | 7.7288
2020-11-14 10:30:00 | 4.15 | 201.167 | 4.071 | 198.192 | 4.112 | 201.733 | 4.168 | 202.6 | 4.752 | 889.908 | 43.616 | 5.3527
2020-11-14 10:45:00 | 3.86 | 185.453 | 3.776 | 181.537 | 3.788 | 184 | 3.934 | 182.267 | 5.359 | 889.933 | 41.179 | 1.149
2020-11-14 11:00:00 | 3.257 | 182.66 | 3.184 | 180.425 | 3.172 | 185.067 | 3.579 | 186.7 | 5.181 | 889.45 | 39.915 | 0.20677
2020-11-14 11:15:00 | 2.248 | 243.12 | 2.274 | 240.278 | 2.305 | 246.733 | 2.483 | 243.867 | 6.823 | 889.9 | 38.307 | 0.30696
2020-11-14 11:30:00 | 1.473 | 198.842 | 1.127 | 274.828 | 1.407 | 267 | 1.656 | 258.1 | 6.472 | 889.7 | 37.256 | 0.26291
2020-11-14 11:45:00 | 2.93 | 317.947 | 2.713 | 310.427 | 2.884 | 314.633 | 3.15 | 313.467 | 6.015 | 889.817 | 37.717 | 0.24372
2020-11-14 12:00:00 | 2.714 | 319.36 | 2.42 | 312.972 | 2.334 | 312.467 | 2.681 | 306.367 | 6.167 | 889.667 | 37.381 | 0.21601
2020-11-14 12:15:00 | 1.155 | 289.547 | 0.933 | 326.18 | 1.363 | 309.233 | 2.121 | 311.967 | 6.174 | 889.617 | 36.653 | 0.27499
2020-11-14 12:30:00 | 1.097 | 125.631 | 1.083 | 119.964 | 1.026 | 148.467 | 1.51 | 258.467 | 7.489 | 889.817 | 33.997 | 0.21743
2020-11-14 12:45:00 | 0.862 | 5.018 | 0.04 | 14.306 | 0 | 348 | 0.546 | 343.867 | 6.904 | 889.45 | 34.661 | 0.20606
2020-11-14 13:00:00 | 1.417 | 225.173 | 0.28 | 109.129 | 0.17 | 105.567 | 0.672 | 342.4 | 7.339 | 889.417 | 32.333 | 0.20749
2020-11-14 13:15:00 | 1.726 | 66.978 | 1.287 | 54.961 | 1.35 | 46.3 | 1.857 | 23.467 | 7.306 | 889.65 | 32.416 | 0.19896
2020-11-14 13:30:00 | 1.004 | 59.787 | 0.17 | 32.072 | 0.153 | 54.771 | 1.078 | 25.667 | 7.456 | 889.7 | 32.096 | 0.19896
2020-11-14 13:45:00 | 2.36 | 152.992 | 1.803 | 120.084 | 1.656 | 146.067 | 1.667 | 3.834 | 7.442 | 889.733 | 32.816 | 0.20322
2020-11-14 14:00:00 | 1.779 | 78.552 | 1.665 | 71.833 | 1.82 | 73.633 | 1.974 | 61.233 | 7.456 | 889.633 | 32.976 | 0.1947
2020-11-14 14:15:00 | 2.852 | 65.548 | 2.673 | 60.415 | 2.872 | 63.467 | 3.234 | 64.9 | 7.406 | 890.433 | 32.715 | 0.15419
2020-11-14 14:30:00 | 2.06 | 79.076 | 1.814 | 60.902 | 1.957 | 67.7 | 2.513 | 66.333 | 7.77 | 889.8 | 32.677 | 0.17622
2020-11-14 14:45:00 | 1.643 | 107.233 | 1.726 | 82.089 | 1.659 | 81 | 1.736 | 78.667 | 7.736 | 890.1 | 33.429 | 0.17551
2020-11-14 15:00:00 | 2.047 | 91.153 | 1.995 | 80.525 | 2.615 | 82.333 | 3.006 | 78.6 | 7.75 | 889.717 | 32.939 | 0.51445
2020-11-14 15:15:00 | 2.262 | 112.99 | 1.944 | 106.974 | 2.296 | 106.267 | 2.679 | 102.367 | 7.786 | 889.767 | 32.219 | 1.3792
2020-11-14 15:30:00 | 3.587 | 112.123 | 3.382 | 108.185 | 3.336 | 109.033 | 3.584 | 105.8 | 7.719 | 889.483 | 32.219 | 2.5666
2020-11-14 15:45:00 | 4.188 | 80.2 | 3.736 | 79.116 | 4.156 | 81.333 | 4.508 | 81.533 | 7.92 | 890.033 | 33.707 | 3.3702
2020-11-14 16:00:00 | 3.606 | 79.14 | 3.404 | 78.502 | 3.595 | 81 | 3.809 | 77.867 | 7.843 | 889.8 | 35.2 | 3.351
2020-11-14 16:15:00 | 3.104 | 73.947 | 3.118 | 69.848 | 3.293 | 71.9 | 3.853 | 68.967 | 7.406 | 889.45 | 35.589 | 2.8494
2020-11-14 16:30:00 | 3.261 | 55.152 | 3.086 | 50.44 | 3.303 | 57.267 | 3.818 | 57.067 | 7.356 | 889.85 | 35.717 | 2.8359
2020-11-14 16:45:00 | 3.535 | 65.753 | 3.37 | 60.333 | 3.625 | 63.9 | 3.739 | 60.367 | 7.836 | 889.45 | 35.659 | 3.5919
2020-11-14 17:00:00 | 4.093 | 46.145 | 3.97 | 44.752 | 4.177 | 52.433 | 4.098 | 52.533 | 7.089 | 890.183 | 36.981 | 4.7601
2020-11-14 17:15:00 | 4.122 | 56.873 | 3.77 | 55.602 | 3.881 | 60.733 | 4.096 | 61.733 | 6.87 | 889.683 | 37.835 | 6.6736
2020-11-14 17:30:00 | 4.671 | 73.45 | 4.364 | 68.935 | 4.729 | 72.633 | 5.008 | 67.633 | 6.559 | 889.567 | 39.072 | 8.9915
2020-11-14 17:45:00 | 3.913 | 68.915 | 3.401 | 63.613 | 3.512 | 68.033 | 3.81 | 63.033 | 6.376 | 889.267 | 40.267 | 6.2516
2020-11-14 18:00:00 | 3.782 | 77.897 | 3.872 | 73.492 | 4.242 | 78.367 | 4.394 | 76.067 | 5.678 | 890.125 | 41.28 | 5.315
2020-11-14 18:15:00 | 4.17 | 78.293 | 4.402 | 75.334 | 4.71 | 80.333 | 4.883 | 76.2 | 5.441 | 889.325 | 42.155 | 7.1042
2020-11-14 18:30:00 | 4.106 | 86.79 | 3.979 | 84.18 | 3.9 | 91.333 | 3.919 | 86.267 | 4.659 | 889.392 | 43.232 | 8.3172
2020-11-14 18:45:00 | 4.856 | 88.037 | 5.093 | 82.07 | 5.34 | 86.733 | 5.436 | 82.867 | 4.524 | 890.242 | 44.437 | 9.2047
2020-11-14 19:00:00 | 3.915 | 88.007 | 4.074 | 83.24 | 3.753 | 88.567 | 3.874 | 84.8 | 3.863 | 889.9 | 45.589 | 11.4245
2020-11-14 19:15:00 | 2.367 | 95.333 | 2.116 | 88.983 | 1.655 | 94.467 | 1.86 | 96.533 | 3.706 | 890.075 | 47.008 | 6.4079
2020-11-14 19:30:00 | 2.314 | 101 | 2.043 | 89.477 | 1.803 | 90.233 | 2.18 | 88.667 | 3.472 | 889.717 | 47.339 | 4.8482
2020-11-14 19:45:00 | 2.091 | 99.667 | 2.016 | 91.158 | 1.698 | 97.567 | 2.22 | 96.233 | 3.237 | 889.85 | 47.477 | 3.982
2020-11-14 20:00:00 | 1.913 | 105.667 | 1.48 | 94.887 | 1.487 | 91.2 | 2.123 | 95.567 | 3.455 | 889.933 | 47.787 | 1.8979
2020-11-14 20:15:00 | 0.113 | 93.12 | 2.014 | 74.655 | 2.297 | 79.4 | 2.781 | 76.833 | 2.76 | 890.05 | 48.16 | 0.32615
2020-11-14 20:30:00 | 0 | 94.123 | 0.85 | 81.25 | 1.89 | 86.367 | 2.026 | 78.933 | 2.093 | 890.292 | 50.485 | 0.12435
2020-11-14 20:45:00 | 0 | 94.14 | 0.28 | 72.244 | 1.784 | 81.9 | 2.613 | 72.733 | 1.66 | 890.275 | 52.181 | 0.30767
2020-11-14 21:00:00 | 0 | 94.203 | 0 | 72.292 | 1.304 | 82 | 2.272 | 72.867 | 1.372 | 889.45 | 54.187 | 0.18972
2020-11-14 21:15:00 | 1.573 | 317.12 | 0 | 30.732 | 0.52 | 52.821 | 2.194 | 57.967 | 2.016 | 889.983 | 54.101 | 0.13003
2020-11-14 21:30:00 | 1.885 | 302.84 | 0.087 | 11.963 | 1.571 | 49.238 | 2.724 | 51.567 | 2.409 | 889.9 | 51.413 | 0.27073
2020-11-14 21:45:00 | 3.492 | 301.373 | 2.732 | 327.377 | 2.168 | 355 | 2.245 | 5.608 | 2.221 | 890.217 | 50.672 | 0.30696
2020-11-14 22:00:00 | 3.408 | 289.08 | 2.638 | 315.375 | 2.287 | 344.833 | 2.002 | 6.204 | 1.662 | 889.858 | 49.477 | 0.26007
2020-11-14 22:15:00 | 1.848 | 305.947 | 2.036 | 117.533 | 2.4 | 23.865 | 3.195 | 32.833 | 1.693 | 889.775 | 50.133 | 0.44695
2020-11-14 22:30:00 | 0.406 | 280.155 | 1.46 | 43.424 | 2.961 | 58.531 | 3.537 | 60.6 | 1.282 | 889.908 | 51.456 | 1.7459
2020-11-14 22:45:00 | 3.419 | 103.673 | 3.582 | 99.958 | 3.778 | 105.533 | 4.719 | 103.533 | 1.999 | 890.167 | 50.741 | 5.8849
2020-11-14 23:00:00 | 4.512 | 117.707 | 5.562 | 110.91 | 6.054 | 114.6 | 6.041 | 107.167 | 1.859 | 889.692 | 51.445 | 22.3416
2020-11-14 23:15:00 | 3.798 | 116.947 | 4.218 | 107.272 | 4.35 | 109.4 | 4.264 | 103.267 | 1.815 | 889.725 | 51.723 | 19.3153
2020-11-14 23:30:00 | 2.441 | 141.693 | 2.612 | 130.911 | 2.846 | 133.133 | 3.102 | 126 | 1.62 | 889.783 | 52.843 | 4.7715
2020-11-14 23:45:00 | 0.902 | 161.747 | 0.856 | 133.14 | 1.554 | 130.267 | 1.788 | 126.867 | 0.922 | 890.05 | 54.539 | 0.83634