## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-16 00:00:00 | 12.463 | 252.907 | 13.86 | 250.708 | 14.975 | 254.15 | 14.944 | 249.567 | -0.965 | 889.875 | 69.387 | 83.7588
2020-11-16 00:15:00 | 12.634 | 254.973 | 14.11 | 251.37 | 15.111 | 254.717 | 15.334 | 249.25 | -1.132 | 890.225 | 68.533 | 76.786
2020-11-16 00:30:00 | 10.934 | 249.84 | 12.497 | 245.666 | 13.646 | 250.3 | 13.948 | 244.15 | -0.755 | 889.667 | 67.904 | 66.4458
2020-11-16 00:45:00 | 10.905 | 239.833 | 12.335 | 236.466 | 13.15 | 241.6 | 13.353 | 238.167 | -0.945 | 889.933 | 67.243 | 58.2984
2020-11-16 01:00:00 | 11.151 | 237.633 | 12.318 | 233.623 | 13.09 | 239.5 | 13.384 | 233 | -0.949 | 890.133 | 67.445 | 57.5531
2020-11-16 01:15:00 | 10.527 | 235.26 | 11.647 | 231.733 | 12.317 | 237.3 | 12.221 | 233.7 | -1.099 | 889.925 | 68.427 | 56.7586
2020-11-16 01:30:00 | 9.495 | 241.293 | 10.644 | 238.14 | 11.483 | 243.733 | 11.836 | 239.267 | -1.019 | 889.625 | 69.205 | 64.8136
2020-11-16 01:45:00 | 10.63 | 246.993 | 11.67 | 244.06 | 12.395 | 249.75 | 12.396 | 245.783 | -0.915 | 889.9 | 68.117 | 63.2127
2020-11-16 02:00:00 | 11.108 | 254.48 | 12.788 | 250.961 | 13.542 | 255.583 | 13.712 | 252.35 | -0.342 | 889.858 | 66.683 | 64.2487
2020-11-16 02:15:00 | 11.664 | 260.32 | 13.499 | 255.211 | 14.582 | 258.533 | 14.821 | 254.683 | -0.478 | 889.817 | 66.251 | 64.2573
2020-11-16 02:30:00 | 11.878 | 260.453 | 13.53 | 256.802 | 14.363 | 261.167 | 14.954 | 257.233 | -0.718 | 889.558 | 66.709 | 64.491
2020-11-16 02:45:00 | 11.887 | 265.08 | 13.283 | 259.025 | 13.959 | 263.117 | 14.688 | 258.183 | -0.518 | 889.75 | 67.115 | 66.1076
2020-11-16 03:00:00 | 11.625 | 267.113 | 13.127 | 263.445 | 13.997 | 267.333 | 14.458 | 262.717 | -0.103 | 889.683 | 67.131 | 67.1521
2020-11-16 03:15:00 | 13.128 | 268.04 | 15.019 | 263.438 | 15.412 | 266.733 | 15.532 | 262.833 | -0.236 | 889.917 | 66.336 | 67.8968
2020-11-16 03:30:00 | 12.54 | 269.687 | 14.009 | 262.75 | 14.76 | 266.833 | 15.385 | 262.533 | -0.046 | 889.492 | 66.48 | 68.964
2020-11-16 03:45:00 | 12.796 | 268.293 | 14.482 | 265.564 | 15.026 | 268.8 | 15.366 | 265.3 | -0.279 | 889.817 | 67.397 | 69.239
2020-11-16 04:00:00 | 12.07 | 273.947 | 13.066 | 264.84 | 13.763 | 268.467 | 14.132 | 266.2 | -0.11 | 889.883 | 67.285 | 70.3909
2020-11-16 04:15:00 | 12.225 | 268.993 | 13.744 | 261.678 | 14.372 | 263.983 | 15.133 | 259.933 | -0.462 | 890.342 | 67.253 | 78.0344
2020-11-16 04:30:00 | 12.476 | 268.213 | 13.868 | 262.798 | 14.73 | 266.583 | 15.045 | 262.033 | 0.096 | 890.033 | 67.413 | 83.2727
2020-11-16 04:45:00 | 11.109 | 271.507 | 12.693 | 263.782 | 13.542 | 267.2 | 13.853 | 261.95 | 0.067 | 889.7 | 67.925 | 83.8327
2020-11-16 05:00:00 | 10.877 | 264.747 | 12.514 | 261.045 | 13.535 | 265.9 | 13.891 | 260.633 | -0.036 | 890.092 | 67.989 | 83.7573
2020-11-16 05:15:00 | 11.707 | 270.147 | 12.951 | 262.567 | 13.414 | 264.4 | 13.928 | 259.75 | -0.133 | 889.983 | 68.656 | 84.114
2020-11-16 05:30:00 | 10.308 | 272.773 | 11.462 | 265.676 | 12.422 | 267.3 | 12.913 | 263.517 | 0 | 889.883 | 71.003 | 84.1261
2020-11-16 05:45:00 | 11.494 | 268.987 | 12.691 | 262.681 | 13.241 | 266.533 | 13.432 | 263.033 | -0.346 | 889.925 | 71.328 | 83.9051
2020-11-16 06:00:00 | 10.227 | 274.387 | 11.687 | 265.826 | 12.186 | 269.5 | 12.518 | 265.2 | -0.379 | 889.367 | 72.208 | 83.9954
2020-11-16 06:15:00 | 10.466 | 271.773 | 12.042 | 265.815 | 12.668 | 269.433 | 12.961 | 264.667 | -0.405 | 889.725 | 72.384 | 84.6889
2020-11-16 06:30:00 | 12.089 | 269.267 | 13.605 | 264.193 | 14.001 | 267.567 | 14.254 | 263.717 | -0.558 | 890 | 72.603 | 83.1875
2020-11-16 06:45:00 | 10.139 | 262.993 | 11.676 | 257.776 | 12.399 | 261.333 | 12.575 | 256 | -0.645 | 890.017 | 73.797 | 83.8525
2020-11-16 07:00:00 | 11.129 | 254.933 | 12.28 | 249.772 | 12.659 | 252.167 | 12.536 | 246.8 | -0.915 | 889.583 | 74.304 | 85.3952
2020-11-16 07:15:00 | 10.668 | 245.953 | 11.638 | 241.135 | 12.135 | 245.733 | 12.08 | 240.133 | -0.738 | 889.6 | 73.749 | 84.6917
2020-11-16 07:30:00 | 9.273 | 251.307 | 10.36 | 248.687 | 10.974 | 253.45 | 11.156 | 248.967 | -1.015 | 890.058 | 71.307 | 85.3341
2020-11-16 07:45:00 | 8.513 | 244.8 | 9.308 | 243.609 | 9.854 | 248.5 | 9.759 | 243.067 | -0.658 | 889.858 | 68.96 | 82.8364
2020-11-16 08:00:00 | 7.751 | 233.16 | 8.537 | 231.541 | 8.904 | 235.333 | 8.86 | 230.033 | -0.319 | 889.842 | 67.925 | 77.4674
2020-11-16 08:15:00 | 7.094 | 232.953 | 8.038 | 230.985 | 8.422 | 235.433 | 8.483 | 231.167 | -0.242 | 889.85 | 67.136 | 72.7165
2020-11-16 08:30:00 | 7.19 | 245.287 | 8.304 | 238.615 | 8.901 | 242.9 | 8.947 | 235.8 | -0.083 | 889.725 | 66.037 | 55.7347
2020-11-16 08:45:00 | 8.01 | 249.267 | 8.793 | 244.514 | 9.343 | 247.117 | 9.502 | 241.567 | 0.399 | 890.017 | 64.757 | 46.189
2020-11-16 09:00:00 | 6.752 | 239.96 | 7.798 | 237.378 | 8.522 | 240.167 | 8.718 | 233.233 | 0.216 | 890.067 | 63.456 | 40.2053
2020-11-16 09:15:00 | 5.372 | 228.68 | 6.287 | 226.986 | 6.901 | 230.267 | 7.05 | 224.467 | 0.415 | 889.9 | 61.877 | 37.8768
2020-11-16 09:30:00 | 5.771 | 225.58 | 6.058 | 224.395 | 6.555 | 229.133 | 6.95 | 225.9 | 0.765 | 889.783 | 60.789 | 36.9246
2020-11-16 09:45:00 | 6.011 | 224.047 | 6.491 | 221.381 | 6.789 | 227.067 | 6.606 | 225.967 | 0.582 | 890.117 | 62.603 | 37.3481
2020-11-16 10:00:00 | 6.662 | 236.613 | 7.091 | 233.288 | 7.551 | 239.1 | 7.592 | 235.133 | 1.132 | 890.175 | 58.613 | 36.8706
2020-11-16 10:15:00 | 8.685 | 237.087 | 9.239 | 233.458 | 9.712 | 236.667 | 9.671 | 230.8 | 1.439 | 889.758 | 55.776 | 46.0895
2020-11-16 10:30:00 | 9.103 | 246.827 | 9.582 | 242.27 | 10.124 | 247.15 | 10.129 | 241.633 | 2.238 | 889.95 | 53.205 | 57.6476
2020-11-16 10:45:00 | 8.664 | 243.567 | 9.734 | 240.288 | 10.146 | 245.833 | 9.875 | 239.817 | 2.065 | 890.008 | 52.128 | 67.2928
2020-11-16 11:00:00 | 7.89 | 250.52 | 8.517 | 248.892 | 8.828 | 252.133 | 8.641 | 246.05 | 1.95 | 889.292 | 51.445 | 65.7374
2020-11-16 11:15:00 | 9.346 | 251.773 | 9.879 | 247.148 | 10.356 | 249.617 | 10.323 | 245.65 | 2.43 | 889.633 | 49.877 | 72.897
2020-11-16 11:30:00 | 8.769 | 254.92 | 9.122 | 251.177 | 9.258 | 255.767 | 9.073 | 250.967 | 3.134 | 890.317 | 47.408 | 66.6874
2020-11-16 11:45:00 | 8.467 | 256.8 | 8.992 | 252.346 | 9.058 | 255.633 | 9.157 | 250.767 | 3.622 | 890.067 | 44.32 | 60.8863
2020-11-16 12:00:00 | 8.65 | 263.767 | 9.214 | 258.777 | 9.214 | 263.233 | 8.984 | 256.467 | 3.655 | 889.858 | 43.392 | 63.5836
2020-11-16 12:15:00 | 9.142 | 265.867 | 9.678 | 258.77 | 9.975 | 264.267 | 10.019 | 258.5 | 3.973 | 889.925 | 41.661 | 61.788
2020-11-16 12:30:00 | 8.8 | 255.687 | 9.286 | 253.307 | 9.514 | 258.75 | 9.739 | 253.8 | 4.048 | 889.35 | 40.381 | 66.3158
2020-11-16 12:45:00 | 9.48 | 263.833 | 9.794 | 258.086 | 9.97 | 262.3 | 10.086 | 257.783 | 4.697 | 889.65 | 38.325 | 59.947
2020-11-16 13:00:00 | 10.701 | 261.5 | 11.533 | 257.144 | 11.551 | 261.517 | 11.544 | 258.45 | 4.58 | 889.467 | 38.069 | 44.004
2020-11-16 13:15:00 | 9.859 | 269.487 | 10.72 | 262.622 | 10.818 | 266.933 | 10.769 | 261.517 | 4.229 | 889.883 | 38.52 | 42.9687
2020-11-16 13:30:00 | 11.09 | 260.813 | 11.585 | 256.47 | 11.812 | 260.35 | 11.715 | 257.083 | 4.547 | 889.483 | 39.355 | 48.5992
2020-11-16 13:45:00 | 11.619 | 265.78 | 12.655 | 262.326 | 12.751 | 266.5 | 12.718 | 261.8 | 4.683 | 889.85 | 38.899 | 48.3178
2020-11-16 14:00:00 | 12.102 | 268.107 | 13.149 | 263.575 | 13.165 | 267 | 13.082 | 262.983 | 3.95 | 890.033 | 40.269 | 48.7406
2020-11-16 14:15:00 | 11.051 | 272.68 | 11.744 | 269.259 | 11.74 | 272.867 | 11.819 | 267.317 | 3.977 | 889.4 | 38.971 | 60.7321
2020-11-16 14:30:00 | 10.263 | 274.52 | 11.372 | 270.424 | 11.235 | 274.133 | 11.647 | 270.1 | 4.035 | 889.8 | 38.819 | 62.2812
2020-11-16 14:45:00 | 10.546 | 270.313 | 11.1 | 266.464 | 11.041 | 269.967 | 11.078 | 267.783 | 3.759 | 889.65 | 38.496 | 69.7293
2020-11-16 15:00:00 | 10.205 | 272.6 | 10.838 | 267.062 | 11.232 | 271.533 | 11.204 | 268.4 | 3.588 | 889.417 | 38.312 | 72.5389
2020-11-16 15:15:00 | 8.025 | 283.133 | 8.928 | 281.465 | 9.131 | 283.133 | 9.285 | 279.767 | 4.107 | 889.667 | 37.917 | 64.3908
2020-11-16 15:30:00 | 7.608 | 266.66 | 7.88 | 263.819 | 7.999 | 272.2 | 8.495 | 267.933 | 4.474 | 889.45 | 38.101 | 55.2032
2020-11-16 15:45:00 | 8.955 | 264.18 | 9.303 | 260.188 | 9.364 | 264.1 | 9.268 | 262.283 | 4.328 | 889.55 | 39.205 | 53.5853
2020-11-16 16:00:00 | 8.203 | 270.367 | 8.738 | 266.403 | 8.829 | 269.733 | 9.05 | 265.533 | 3.706 | 889.95 | 39.395 | 57.3527
2020-11-16 16:15:00 | 8.09 | 270.773 | 8.872 | 264.28 | 8.82 | 269.633 | 8.914 | 266.35 | 3.268 | 889.733 | 42.432 | 61.0533
2020-11-16 16:30:00 | 7.779 | 271.507 | 8.392 | 264.551 | 8.691 | 267.65 | 8.743 | 264.283 | 2.712 | 890.233 | 43.467 | 55.9124
2020-11-16 16:45:00 | 6.915 | 264.74 | 7.681 | 259.922 | 8.138 | 263.933 | 8.268 | 260.667 | 2.676 | 890.258 | 45.072 | 48.0535
2020-11-16 17:00:00 | 7.722 | 261.34 | 8.586 | 256.717 | 8.794 | 261.4 | 8.902 | 257.083 | 2.537 | 889.908 | 46.123 | 53.0488
2020-11-16 17:15:00 | 8.5 | 259.64 | 9.245 | 254.874 | 9.731 | 257.783 | 9.837 | 253.05 | 1.901 | 889.95 | 48.928 | 68.1114
2020-11-16 17:30:00 | 8.967 | 261.7 | 9.785 | 256.311 | 10.354 | 259.7 | 10.421 | 256.217 | 1.678 | 889.967 | 50.549 | 71.7004
2020-11-16 17:45:00 | 9.712 | 260.08 | 10.414 | 254.996 | 10.961 | 258.583 | 11.029 | 253.817 | 1.795 | 889.842 | 50.565 | 79.9053
2020-11-16 18:00:00 | 9.523 | 258.673 | 11.009 | 254.786 | 11.268 | 257.483 | 11.204 | 251.483 | 1.389 | 889.883 | 51.637 | 85.8755
2020-11-16 18:15:00 | 9.412 | 262.8 | 10.739 | 256.44 | 11.055 | 259.75 | 11.227 | 254.717 | 1.182 | 889.842 | 53.579 | 80.9371
2020-11-16 18:30:00 | 9.649 | 257.967 | 11 | 255.042 | 11.452 | 258.25 | 11.672 | 253.383 | 0.782 | 889.858 | 56.107 | 85.8293
2020-11-16 18:45:00 | 11.022 | 254.713 | 11.82 | 249.386 | 12.568 | 253.633 | 12.528 | 247.617 | 0.615 | 889.983 | 57.675 | 85.1117
2020-11-16 19:00:00 | 11.346 | 253.84 | 11.867 | 249.697 | 12.376 | 254.25 | 12.506 | 249.4 | 0.465 | 889.225 | 59.019 | 85.5835
2020-11-16 19:15:00 | 10.646 | 253.193 | 11.773 | 248.603 | 12.423 | 252.383 | 12.359 | 247.633 | 0.382 | 890.217 | 58.784 | 85.5806
2020-11-16 19:30:00 | 10.209 | 255.473 | 11.696 | 250.142 | 12.223 | 254.25 | 12.269 | 249.767 | 0.1 | 889.392 | 60.331 | 85.6467
2020-11-16 19:45:00 | 10.186 | 252.933 | 11.089 | 249.111 | 11.789 | 252.317 | 11.902 | 247.683 | 0.532 | 889.667 | 59.627 | 85.5607
2020-11-16 20:00:00 | 10.442 | 252.547 | 11.074 | 250.103 | 11.471 | 252.867 | 11.498 | 247.633 | 0.432 | 889.508 | 59.237 | 85.2858
2020-11-16 20:15:00 | 10.292 | 256.053 | 11.376 | 251.738 | 11.855 | 254.65 | 11.701 | 250.633 | 0.499 | 890.008 | 59.563 | 85.3518
2020-11-16 20:30:00 | 10.079 | 251 | 11.275 | 248.044 | 11.669 | 251.583 | 11.905 | 246.517 | 0.499 | 889.925 | 59.467 | 85.177
2020-11-16 20:45:00 | 9.679 | 258.107 | 10.873 | 251.758 | 11.245 | 254.65 | 11.106 | 249.55 | 0.532 | 889.867 | 58.56 | 85.408
2020-11-16 21:00:00 | 9.958 | 257.173 | 10.819 | 250.068 | 11.26 | 253.517 | 11.147 | 249.517 | 0.499 | 889.867 | 57.365 | 91.1657
2020-11-16 21:15:00 | 8.511 | 252.067 | 9.495 | 247.986 | 9.537 | 252.4 | 9.682 | 247.817 | 0.183 | 890.008 | 57.712 | 91.948
2020-11-16 21:30:00 | 7.184 | 253.467 | 7.852 | 248.679 | 8.394 | 254.283 | 8.459 | 249.117 | 0.083 | 889.633 | 56.357 | 78.5226
2020-11-16 21:45:00 | 6.591 | 259.507 | 7.456 | 255.936 | 7.656 | 259.683 | 8.064 | 254.183 | 0.465 | 889.842 | 54.72 | 61.2125
2020-11-16 22:00:00 | 7.398 | 259.64 | 8.203 | 253.32 | 8.404 | 258.267 | 8.416 | 254.333 | 0.216 | 889.883 | 54.053 | 48.6632
2020-11-16 22:15:00 | 8.281 | 260.187 | 9.408 | 256.628 | 9.799 | 261.367 | 9.846 | 254.85 | 0.216 | 889.85 | 54.197 | 56.0729
2020-11-16 22:30:00 | 7.402 | 254.387 | 8.248 | 249.455 | 8.593 | 255.533 | 8.587 | 250.95 | 0.449 | 889.875 | 56.107 | 71.1654
2020-11-16 22:45:00 | 8.284 | 268.813 | 8.673 | 261.574 | 9.1 | 266.083 | 9.406 | 261.033 | 0.233 | 889.533 | 62.469 | 71.4318
2020-11-16 23:00:00 | 7.65 | 271.52 | 8.516 | 262.946 | 8.679 | 267.533 | 8.874 | 261.6 | -0.642 | 890.167 | 65.856 | 65.213
2020-11-16 23:15:00 | 8.602 | 276.467 | 9.734 | 268.852 | 10.198 | 272.133 | 10.259 | 266.833 | -0.359 | 889.833 | 72.251 | 65.4539
2020-11-16 23:30:00 | 8.627 | 271.787 | 9.725 | 266.656 | 10.062 | 270.333 | 10.258 | 264.133 | -1.249 | 890.338 | 81.403 | 70.3433
2020-11-16 23:45:00 | 9.046 | 268.707 | 10.125 | 263.513 | 10.525 | 265.6 | 10.741 | 261.65 | -1.459 | 889.829 | 84.693 | 63.2319