## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-17 00:00:00 | 8.884 | 273.64 | 9.519 | 268.729 | 9.854 | 270.9 | 10.155 | 265.767 | -1.539 | 890.179 | 84.747 | 60.5225
2020-11-17 00:15:00 | 8.316 | 268.267 | 8.934 | 262.798 | 9.513 | 267.717 | 9.656 | 262.2 | -1.499 | 889.792 | 85.536 | 60.5232
2020-11-17 00:30:00 | 8.833 | 265.913 | 9.869 | 262.375 | 10.459 | 267 | 11.116 | 262.55 | -1.499 | 889.8 | 82.859 | 69.5382
2020-11-17 00:45:00 | 9.997 | 266.173 | 11.105 | 259.365 | 11.401 | 262.667 | 11.21 | 257.483 | -1.74 | 890.075 | 81.915 | 70.3447
2020-11-17 01:00:00 | 9.948 | 256.393 | 10.918 | 254.097 | 11.626 | 259.533 | 11.631 | 254.567 | -1.76 | 889.854 | 81.499 | 74.6685
2020-11-17 01:15:00 | 9.027 | 250.053 | 9.907 | 247.918 | 10.514 | 253.067 | 10.734 | 248.583 | -1.913 | 889.746 | 81.867 | 78.6249
2020-11-17 01:30:00 | 8.811 | 252.7 | 9.826 | 247.932 | 10.432 | 253.683 | 10.466 | 248.783 | -1.72 | 889.425 | 81.68 | 85.6311
2020-11-17 01:45:00 | 9.092 | 248.66 | 10.249 | 247.727 | 10.885 | 252.533 | 10.929 | 249.083 | -1.66 | 890.329 | 82.624 | 86.1214
2020-11-17 02:00:00 | 8.035 | 245.36 | 9.518 | 244.732 | 10.14 | 250.683 | 10.296 | 246.1 | -1.95 | 890.4 | 82.667 | 84.4736
2020-11-17 02:15:00 | 8.466 | 248.747 | 9.526 | 244.104 | 10.19 | 250.217 | 10.174 | 245.3 | -1.546 | 890.375 | 78.112 | 83.3424
2020-11-17 02:30:00 | 7.891 | 243.293 | 8.974 | 241.119 | 9.517 | 245.833 | 9.485 | 240.8 | -1.099 | 889.908 | 76.331 | 84.0231
2020-11-17 02:45:00 | 7.474 | 243.04 | 8.378 | 240.837 | 9.135 | 245.267 | 9.151 | 239.6 | -1.165 | 889.875 | 74.645 | 75.6789
2020-11-17 03:00:00 | 8.369 | 243.987 | 9.213 | 241.206 | 9.745 | 246.367 | 9.984 | 241.367 | -1.045 | 889.867 | 73.547 | 73.7852
2020-11-17 03:15:00 | 8.846 | 241.42 | 9.737 | 238.488 | 10.239 | 243.7 | 10.413 | 239.2 | -0.718 | 889.933 | 74.891 | 80.0176
2020-11-17 03:30:00 | 8.717 | 240.153 | 9.299 | 237.301 | 9.656 | 241.1 | 9.536 | 236.033 | -1.463 | 890.192 | 77.195 | 76.4463
2020-11-17 03:45:00 | 7.736 | 240.867 | 8.535 | 236.233 | 9.099 | 240.833 | 9.138 | 235.7 | -1.132 | 890.2 | 75.659 | 57.7016
2020-11-17 04:00:00 | 7.049 | 245.58 | 7.889 | 241.194 | 8.485 | 242.983 | 8.714 | 238.467 | -0.862 | 889.892 | 73.163 | 55.7262
2020-11-17 04:15:00 | 8.191 | 244.113 | 8.974 | 239.368 | 9.422 | 242.8 | 9.628 | 238.7 | -0.705 | 889.983 | 70.293 | 60.4827
2020-11-17 04:30:00 | 8.174 | 246.333 | 8.882 | 240.94 | 9.67 | 247.567 | 9.824 | 241.85 | -0.459 | 889.967 | 68.704 | 73.2751
2020-11-17 04:45:00 | 8.45 | 238.633 | 9.535 | 236.136 | 10.139 | 240.1 | 10.165 | 235.367 | -0.758 | 890.242 | 65.749 | 73.005
2020-11-17 05:00:00 | 9.181 | 238.14 | 10.492 | 234.693 | 11.132 | 239.367 | 11.32 | 232.867 | -0.212 | 889.908 | 64.384 | 72.6249
2020-11-17 05:15:00 | 7.505 | 237.433 | 8.398 | 233.451 | 8.981 | 238.2 | 9.01 | 232.333 | 0.266 | 890.233 | 64.395 | 72.3215
2020-11-17 05:30:00 | 6.471 | 241.02 | 7.399 | 238.381 | 8.24 | 243.667 | 8.391 | 239.033 | -0.166 | 889.892 | 63.723 | 57.2177
2020-11-17 05:45:00 | 7.265 | 243.46 | 8.105 | 240.455 | 8.734 | 243.133 | 8.837 | 238.067 | 0.017 | 890.017 | 58.283 | 42.0186
2020-11-17 06:00:00 | 5.086 | 229.413 | 6.194 | 228.173 | 6.691 | 233 | 6.823 | 228.433 | 0.1 | 890.158 | 64.331 | 32.9404
2020-11-17 06:15:00 | 4.452 | 233.8 | 5.598 | 230.274 | 6.09 | 234.733 | 6.215 | 230.633 | -0.359 | 889.583 | 66.667 | 25.38
2020-11-17 06:30:00 | 4.402 | 229.953 | 5.769 | 229.656 | 6.166 | 234.567 | 6.121 | 230 | -1.025 | 889.925 | 66.539 | 24.8862
2020-11-17 06:45:00 | 4.781 | 223.767 | 5.961 | 221.738 | 6.001 | 227.833 | 5.917 | 226.067 | -0.862 | 889.867 | 68 | 25.1967
2020-11-17 07:00:00 | 5.192 | 219.96 | 5.802 | 221.802 | 6.08 | 229.567 | 6.107 | 227.567 | -1.236 | 889.842 | 68.843 | 25.9428
2020-11-17 07:15:00 | 5.752 | 224.187 | 7.476 | 220.854 | 7.475 | 224.6 | 7.075 | 221.167 | -1.666 | 890.117 | 68.384 | 32.7649
2020-11-17 07:30:00 | 5.665 | 220.627 | 7.83 | 219.735 | 7.912 | 224.133 | 7.466 | 220.433 | -2.194 | 889.692 | 68.395 | 37.4255
2020-11-17 07:45:00 | 6.091 | 221.32 | 8.265 | 219.171 | 8.964 | 222.1 | 8.884 | 218.7 | -2.307 | 889.658 | 68.576 | 48.0521
2020-11-17 08:00:00 | 6.436 | 220.273 | 8.43 | 219.24 | 8.859 | 222.8 | 8.318 | 220.133 | -2.737 | 889.983 | 67.52 | 50.215
2020-11-17 08:15:00 | 6.318 | 221.807 | 8.267 | 219.994 | 8.54 | 223.4 | 8.088 | 219.6 | -2.76 | 890.058 | 66.112 | 49.6643
2020-11-17 08:30:00 | 6.566 | 221.873 | 8.474 | 220.76 | 9.023 | 223.233 | 9.025 | 218.5 | -3.047 | 890.158 | 65.867 | 51.3804
2020-11-17 08:45:00 | 7.258 | 223.613 | 8.92 | 220.915 | 9.172 | 224.633 | 8.732 | 223.433 | -2.72 | 889.708 | 65.568 | 58.2608
2020-11-17 09:00:00 | 6.986 | 226.947 | 8.423 | 225.07 | 8.548 | 229.267 | 8.398 | 226.3 | -2.622 | 889.625 | 64.757 | 59.2932
2020-11-17 09:15:00 | 7.298 | 221.08 | 9.006 | 219.606 | 9.272 | 222.4 | 9.174 | 219.767 | -2.246 | 889.725 | 62.155 | 57.7854
2020-11-17 09:30:00 | 5.839 | 220.58 | 7.891 | 218.743 | 8.14 | 224.5 | 7.93 | 222.367 | -1.76 | 889.792 | 61.355 | 54.4628
2020-11-17 09:45:00 | 6.341 | 220.527 | 7.933 | 218.996 | 8.417 | 224.867 | 8.251 | 224.067 | -1.182 | 890.058 | 59.669 | 50.4978
2020-11-17 10:00:00 | 6.12 | 231.233 | 7.648 | 228.481 | 8.517 | 235.233 | 8.646 | 233.767 | 0.083 | 890.2 | 55.488 | 52.0419
2020-11-17 10:15:00 | 7.263 | 240.46 | 7.934 | 235.907 | 8.43 | 239.633 | 8.544 | 235.967 | 0.932 | 889.642 | 48.416 | 50.5064
2020-11-17 10:30:00 | 6.413 | 242.093 | 7.23 | 239.776 | 8.012 | 243.533 | 8.156 | 239.133 | 1.519 | 889.742 | 46.421 | 51.6909
2020-11-17 10:45:00 | 7.933 | 257.687 | 8.787 | 252.503 | 9.088 | 255.85 | 9.167 | 252.2 | 2.234 | 889.842 | 42.005 | 60.5516
2020-11-17 11:00:00 | 7.77 | 260.073 | 8.429 | 255.73 | 8.721 | 260.533 | 8.791 | 254.95 | 2.618 | 890.05 | 39.96 | 64.8946
2020-11-17 11:15:00 | 8.912 | 264.773 | 9.445 | 262.311 | 9.49 | 265.817 | 9.698 | 263.25 | 3.284 | 889.333 | 38.128 | 58.4427
2020-11-17 11:30:00 | 8.769 | 275.067 | 9.574 | 269.457 | 9.738 | 271.833 | 9.714 | 266.033 | 2.711 | 889.633 | 37.813 | 48.0777
2020-11-17 11:45:00 | 8.256 | 269.293 | 9.153 | 266.822 | 9.302 | 270.983 | 9.172 | 268.167 | 2.855 | 889.9 | 36.691 | 52.3027
2020-11-17 12:00:00 | 10.383 | 270.913 | 10.965 | 265.554 | 11.267 | 268.733 | 11.23 | 264.5 | 2.877 | 889.733 | 35.408 | 64.0057
2020-11-17 12:15:00 | 8.896 | 268.387 | 9.563 | 266.075 | 9.728 | 270.367 | 9.71 | 268.233 | 2.814 | 889.567 | 35.683 | 67.6658
2020-11-17 12:30:00 | 7.219 | 278.933 | 7.679 | 272.184 | 8.124 | 275.467 | 8.372 | 271.8 | 3.137 | 890 | 35.261 | 57.5843
2020-11-17 12:45:00 | 9.138 | 276.733 | 9.496 | 270.895 | 9.809 | 274.6 | 9.869 | 272.567 | 3.104 | 889.95 | 35.093 | 61.9294
2020-11-17 13:00:00 | 9.5 | 277.4 | 10.02 | 274.463 | 10.096 | 278.567 | 10.364 | 273.967 | 3.204 | 889.817 | 35.512 | 66.3243
2020-11-17 13:15:00 | 8.286 | 282.667 | 8.93 | 278.074 | 9.318 | 278.5 | 9.359 | 273.683 | 3.154 | 889.517 | 35.509 | 57.7918
2020-11-17 13:30:00 | 8.852 | 275.773 | 9.542 | 271.412 | 9.834 | 277.067 | 9.92 | 273.9 | 3.184 | 889.45 | 36.461 | 59.7139
2020-11-17 13:45:00 | 9.282 | 282.933 | 10.098 | 277.919 | 10.118 | 278.967 | 10.206 | 276.733 | 3.321 | 889.567 | 37.664 | 66.4728
2020-11-17 14:00:00 | 8.442 | 282.267 | 9.283 | 277.335 | 9.293 | 280.533 | 9.138 | 276.533 | 3.221 | 889.367 | 38.109 | 65.1554
2020-11-17 14:15:00 | 8.19 | 280.933 | 8.891 | 275.663 | 9.056 | 277.767 | 9.174 | 273.467 | 3.121 | 889.717 | 38.797 | 54.752
2020-11-17 14:30:00 | 8.53 | 266.033 | 8.899 | 264.588 | 8.8 | 271.733 | 9.021 | 269.4 | 3.071 | 889.45 | 38.899 | 52.0845
2020-11-17 14:45:00 | 7.979 | 279.667 | 8.503 | 276.284 | 8.63 | 280.767 | 8.922 | 277.133 | 3.271 | 889.933 | 37.715 | 50.8503
2020-11-17 15:00:00 | 7.9 | 282.333 | 8.484 | 281.568 | 8.662 | 285.133 | 8.898 | 281.933 | 3.321 | 889.35 | 37.851 | 47.129
2020-11-17 15:15:00 | 8.087 | 280.733 | 8.554 | 275.434 | 8.712 | 278.6 | 8.878 | 276.7 | 3.522 | 889.5 | 37.517 | 44.4594
2020-11-17 15:30:00 | 8.077 | 284.667 | 8.725 | 283.849 | 8.935 | 287.567 | 9.184 | 285.533 | 3.304 | 889.467 | 38.696 | 45.045
2020-11-17 15:45:00 | 7.562 | 288.867 | 8.135 | 283.383 | 8.334 | 286 | 8.502 | 282.2 | 3.338 | 889.5 | 39.621 | 47.5248
2020-11-17 16:00:00 | 8.073 | 281.933 | 8.783 | 277.658 | 9.077 | 281.833 | 9.362 | 279.767 | 3.421 | 890.25 | 40.029 | 43.8235
2020-11-17 16:15:00 | 7.833 | 289.547 | 8.317 | 285.082 | 8.516 | 288 | 8.668 | 285.333 | 3.062 | 890.142 | 41.381 | 49.427
2020-11-17 16:30:00 | 7.666 | 293.2 | 7.959 | 288.222 | 8.278 | 291.9 | 8.811 | 289.267 | 2.648 | 890.267 | 42.763 | 54.622
2020-11-17 16:45:00 | 8.499 | 291.733 | 9.164 | 284.333 | 9.081 | 288.333 | 9.43 | 286.2 | 2.598 | 890.358 | 44.608 | 52.4064
2020-11-17 17:00:00 | 7.723 | 289.013 | 8.505 | 281.759 | 9.169 | 284.767 | 9.593 | 277.8 | 2.561 | 890.308 | 47.147 | 53.5504
2020-11-17 17:15:00 | 7.6 | 287.2 | 8.688 | 282.33 | 9.2 | 282 | 9.627 | 268 | 2.395 | 891.5 | 47.2 | 53.7807
2020-11-17 17:30:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 50.8219
2020-11-17 17:45:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 52.9671
2020-11-17 18:00:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 54.3043
2020-11-17 18:15:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 49.0902
2020-11-17 18:30:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 58.8392
2020-11-17 18:45:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 65.0225
2020-11-17 19:00:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 69.3335
2020-11-17 19:15:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 59.4275
2020-11-17 19:30:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 49.8221
2020-11-17 19:45:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 46.12
2020-11-17 20:00:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 50.7878
2020-11-17 20:15:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 60.4408
2020-11-17 20:30:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 61.469
2020-11-17 20:45:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 72.4579
2020-11-17 21:00:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 80.0432
2020-11-17 21:15:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 75.4757
2020-11-17 21:30:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 62.4162
2020-11-17 21:45:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 48.7655
2020-11-17 22:00:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 48.6731
2020-11-17 22:15:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 56.3259
2020-11-17 22:30:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 60.1146
2020-11-17 22:45:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 65.5661
2020-11-17 23:00:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 70.9536
2020-11-17 23:15:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 71.6073
2020-11-17 23:30:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 71.4716
2020-11-17 23:45:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 70.3553