## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-18 00:00:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 76.5088
2020-11-18 00:15:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 71.7161
2020-11-18 00:30:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 63.0941
2020-11-18 00:45:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 56.1575
2020-11-18 01:00:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 52.3574
2020-11-18 01:15:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 46.0888
2020-11-18 01:30:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 40.5726
2020-11-18 01:45:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 34.5499
2020-11-18 02:00:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 32.2356
2020-11-18 02:15:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 41.0764
2020-11-18 02:30:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 49.0319
2020-11-18 02:45:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 46.3673
2020-11-18 03:00:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 46.5919
2020-11-18 03:15:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 49.2117
2020-11-18 03:30:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 56.2477
2020-11-18 03:45:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 59.8326
2020-11-18 04:00:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 49.7169
2020-11-18 04:15:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 46.13
2020-11-18 04:30:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 40.6018
2020-11-18 04:45:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 46.8462
2020-11-18 05:00:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 49.9145
2020-11-18 05:15:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 50.3159
2020-11-18 05:30:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 52.5535
2020-11-18 05:45:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 55.0988
2020-11-18 06:00:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 55.3631
2020-11-18 06:15:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 49.0554
2020-11-18 06:30:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 44.5341
2020-11-18 06:45:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 50.0743
2020-11-18 07:00:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 52.5414
2020-11-18 07:15:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 50.463
2020-11-18 07:30:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 48.779
2020-11-18 07:45:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 55.4832
2020-11-18 08:00:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 40.3538
2020-11-18 08:15:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 24.8236
2020-11-18 08:30:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 24.4222
2020-11-18 08:45:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 34.3481
2020-11-18 09:00:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 30.3234
2020-11-18 09:15:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 29.7798
2020-11-18 09:30:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 24.9082
2020-11-18 09:45:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 22.4432
2020-11-18 10:00:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 27.2417
2020-11-18 10:15:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 32.188
2020-11-18 10:30:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 33.0165
2020-11-18 10:45:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 23.6313
2020-11-18 11:00:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 12.6701
2020-11-18 11:15:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 7.4816
2020-11-18 11:30:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 4.3195
2020-11-18 11:45:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 1.2279
2020-11-18 12:00:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 0.27854
2020-11-18 12:15:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 0.65585
2020-11-18 12:30:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 1.1596
2020-11-18 12:45:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 1.5114
2020-11-18 13:00:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 2.2738
2020-11-18 13:15:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 3.2068
2020-11-18 13:30:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 3.8506
2020-11-18 13:45:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 4.0055
2020-11-18 14:00:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 2.7996
2020-11-18 14:15:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 2.9354
2020-11-18 14:30:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 8.9766
2020-11-18 14:45:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 12.6225
2020-11-18 15:00:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 8.9404
2020-11-18 15:15:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 11.2447
2020-11-18 15:30:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 11.3541
2020-11-18 15:45:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 11.3897
2020-11-18 16:00:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 14.6675
2020-11-18 16:15:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 18.5962
2020-11-18 16:30:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 24.3859
2020-11-18 16:45:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 25.4397
2020-11-18 17:00:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 23.6029
2020-11-18 17:15:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 25.7282
2020-11-18 17:30:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 20.998
2020-11-18 17:45:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 19.9072
2020-11-18 18:00:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 16.7289
2020-11-18 18:15:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 15.2246
2020-11-18 18:30:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 15.9956
2020-11-18 18:45:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 12.9401
2020-11-18 19:00:00 | 8.913 | 282.8 | 8.575 | 271.11 | 8.587 | 270 | 8.806 | 275 | 1.299 | 890.5 | 49.44 | 12.776
2020-11-18 19:15:00 | 4.668 | 275.267 | 5.492 | 271.681 | 5.932 | 274.733 | 6.148 | 269.467 | -3.488 | 889.858 | 63.579 | 16.0396
2020-11-18 19:30:00 | 5.2 | 272 | 5.188 | 275.342 | 5.387 | 270 | 6.076 | 269 | -4.008 | 888.75 | 63.68 | 13.8816
2020-11-18 19:45:00 | 5.103 | 277.427 | 5.68 | 273.168 | 5.976 | 277.333 | 6.22 | 272.433 | -3.93 | 889.275 | 64.533 | 17.2192
2020-11-18 20:00:00 | 4.63 | 286.88 | 5.679 | 281.056 | 6.138 | 281.967 | 6.332 | 278.433 | -4.125 | 889.85 | 64.928 | 16.9754
2020-11-18 20:15:00 | 4 | 284 | 4.5 | 278.288 | 4.875 | 283 | 5.555 | 282 | -4.008 | 891.5 | 65.12 | 16.8106
2020-11-18 20:30:00 | 4.525 | 272 | 6.394 | 269.848 | 6.688 | 274 | 6.344 | 282 | -4.008 | 889 | 65.76 | 17.7414
2020-11-18 20:45:00 | 4.73 | 284.04 | 5.708 | 280.452 | 6.113 | 283.267 | 6.376 | 279.067 | -4.364 | 890.15 | 66.357 | 16.3558
2020-11-18 21:00:00 | 5.14 | 282.027 | 6.112 | 277.024 | 6.496 | 280.467 | 6.891 | 278.067 | -4.345 | 889.808 | 66.235 | 16.0794
2020-11-18 21:15:00 | 5.372 | 280.827 | 6.62 | 274.379 | 6.971 | 277.1 | 7.163 | 273.867 | -4.709 | 890.258 | 65.456 | 18.7618
2020-11-18 21:30:00 | 6.562 | 276.2 | 7.461 | 271.178 | 7.785 | 274.9 | 8.077 | 270.6 | -4.869 | 889.125 | 64.187 | 27.344
2020-11-18 21:45:00 | 7.341 | 276.067 | 8.54 | 269.861 | 8.965 | 272.433 | 9.26 | 268.6 | -5.235 | 889.717 | 64.453 | 37.8334
2020-11-18 22:00:00 | 6.062 | 272.8 | 7.072 | 265.831 | 7.634 | 269.367 | 7.824 | 263.467 | -5.369 | 889.983 | 65.323 | 33.7086
2020-11-18 22:15:00 | 6.05 | 264.327 | 7.092 | 261.654 | 7.329 | 264.55 | 7.393 | 259.867 | -5.452 | 889.783 | 65.728 | 27.3398
2020-11-18 22:30:00 | 5.949 | 264.973 | 7.033 | 260.474 | 7.273 | 263.867 | 7.202 | 260 | -5.753 | 890.042 | 66.496 | 31.7005
2020-11-18 22:45:00 | 5.966 | 260.7 | 7.058 | 257.738 | 7.402 | 261.767 | 7.47 | 256.967 | -5.938 | 889.75 | 66.779 | 32.4566
2020-11-18 23:00:00 | 5.695 | 257.293 | 6.698 | 254.808 | 7.146 | 259.317 | 7.267 | 256.467 | -5.8 | 889.808 | 67.381 | 37.1882
2020-11-18 23:15:00 | 5.573 | 255.073 | 6.865 | 252.082 | 7.564 | 257.833 | 7.805 | 254.267 | -6.372 | 890.308 | 67.328 | 39.7519
2020-11-18 23:30:00 | 5.476 | 265.587 | 6.582 | 262.194 | 7.229 | 265.1 | 7.548 | 261.8 | -6.176 | 889.95 | 66.923 | 37.5613
2020-11-18 23:45:00 | 5.73 | 264.313 | 6.652 | 261.502 | 7.248 | 265.267 | 7.356 | 259.483 | -6.425 | 889.967 | 66.043 | 32.664