## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-19 00:00:00 | 5.432 | 260.347 | 6.337 | 257.419 | 6.928 | 260.267 | 7.147 | 258.883 | -6.173 | 889.983 | 65.552 | 32.6996
2020-11-19 00:15:00 | 5.055 | 243.827 | 5.859 | 245.513 | 6.463 | 252.233 | 6.635 | 248.1 | -6.595 | 890.292 | 65.36 | 31.4994
2020-11-19 00:30:00 | 6.027 | 248.92 | 6.953 | 247.483 | 7.581 | 252.067 | 7.534 | 249.45 | -6.289 | 889.692 | 66.037 | 34.0752
2020-11-19 00:45:00 | 5.452 | 243.94 | 6.369 | 241.638 | 6.712 | 247.567 | 6.943 | 243.3 | -6.392 | 889.833 | 66.464 | 35.4672
2020-11-19 01:00:00 | 5.082 | 243.7 | 6.095 | 242.994 | 6.548 | 247.533 | 6.654 | 243.5 | -6.478 | 890.3 | 66.016 | 31.5584
2020-11-19 01:15:00 | 5.006 | 252.573 | 5.762 | 250.023 | 5.968 | 255.233 | 6.037 | 250.883 | -6.319 | 889.942 | 65.632 | 29.1986
2020-11-19 01:30:00 | 4.138 | 258.273 | 5.352 | 257.045 | 5.779 | 261.467 | 6.078 | 257.133 | -6.562 | 889.367 | 65.611 | 26.2583
2020-11-19 01:45:00 | 4.498 | 259.127 | 5.748 | 254.788 | 6.116 | 259 | 6.412 | 253.767 | -6.21 | 889.925 | 65.637 | 23.966
2020-11-19 02:00:00 | 4.31 | 261.06 | 5.556 | 259.214 | 6.095 | 262.3 | 6.38 | 257.75 | -6.378 | 889.958 | 65.376 | 22.024
2020-11-19 02:15:00 | 3.953 | 255.62 | 4.939 | 256.079 | 5.408 | 260.833 | 5.636 | 254.883 | -6.28 | 889.683 | 65.653 | 16.8049
2020-11-19 02:30:00 | 3.91 | 248.8 | 4.843 | 248.193 | 5.096 | 253.767 | 5.212 | 248.367 | -6.545 | 889.592 | 65.835 | 17.0422
2020-11-19 02:45:00 | 4.088 | 261.72 | 4.917 | 259.786 | 5.188 | 264.633 | 5.491 | 258.6 | -6.375 | 889.858 | 66.027 | 17.4608
2020-11-19 03:00:00 | 4.238 | 263.533 | 5.247 | 258.498 | 5.607 | 260.833 | 5.755 | 254.6 | -6.246 | 890 | 66.043 | 17.2653
2020-11-19 03:15:00 | 4.001 | 260.94 | 5.382 | 260.68 | 5.713 | 264.2 | 5.87 | 258.283 | -6.425 | 889.55 | 66.123 | 19.8241
2020-11-19 03:30:00 | 4.381 | 272.293 | 5.622 | 268.308 | 6.153 | 272.8 | 6.422 | 267.767 | -6.104 | 889.55 | 66.064 | 20.7187
2020-11-19 03:45:00 | 5.893 | 263.773 | 6.878 | 261.235 | 7.304 | 263.9 | 7.549 | 259.883 | -5.918 | 890.15 | 65.413 | 25.8128
2020-11-19 04:00:00 | 6.949 | 260.987 | 7.906 | 256.449 | 8.602 | 260.467 | 8.897 | 257.283 | -5.898 | 890.008 | 65.019 | 37.3993
2020-11-19 04:15:00 | 7.088 | 261.013 | 8.18 | 255.79 | 8.533 | 260.133 | 8.813 | 254.783 | -5.481 | 889.475 | 64.453 | 52.4533
2020-11-19 04:30:00 | 6.414 | 251.793 | 7.23 | 251.172 | 7.732 | 255.783 | 7.856 | 250.383 | -5.442 | 889.608 | 63.776 | 53.0033
2020-11-19 04:45:00 | 6.618 | 247.433 | 7.506 | 244.883 | 7.966 | 250.8 | 7.937 | 247.017 | -5.7 | 889.95 | 63.52 | 53.0999
2020-11-19 05:00:00 | 6.14 | 247.56 | 6.969 | 246.961 | 7.578 | 253.8 | 7.788 | 249.75 | -5.753 | 890.275 | 63.515 | 52.8775
2020-11-19 05:15:00 | 6.302 | 256.093 | 7.466 | 253.876 | 7.73 | 257.817 | 7.83 | 254.05 | -5.581 | 889.717 | 62.219 | 53.4353
2020-11-19 05:30:00 | 6.928 | 258.273 | 8.047 | 257.044 | 8.51 | 260.433 | 8.828 | 257.733 | -5.671 | 889.783 | 61.808 | 45.5608
2020-11-19 05:45:00 | 6.953 | 263.28 | 7.861 | 257.988 | 7.982 | 262.067 | 8.008 | 258.817 | -5.469 | 889.617 | 61.205 | 39.5715
2020-11-19 06:00:00 | 6.745 | 254.873 | 7.602 | 252.241 | 7.712 | 257.467 | 7.756 | 253.283 | -5.352 | 889.85 | 60.864 | 36.6887
2020-11-19 06:15:00 | 6.111 | 252.833 | 6.968 | 248.643 | 7.195 | 252.617 | 7.36 | 248.9 | -5.502 | 889.608 | 61.141 | 39.1785
2020-11-19 06:30:00 | 5.962 | 247.72 | 6.755 | 246.818 | 7.069 | 251.733 | 7.187 | 247.967 | -5.661 | 889.767 | 61.557 | 39.2055
2020-11-19 06:45:00 | 5.504 | 252.627 | 6.487 | 251.097 | 6.896 | 257.067 | 7.173 | 253.883 | -5.485 | 889.892 | 61.877 | 35.1127
2020-11-19 07:00:00 | 5.351 | 254.82 | 6.1 | 252.509 | 6.424 | 257.55 | 6.576 | 252.817 | -5.601 | 890.342 | 62.624 | 34.9684
2020-11-19 07:15:00 | 5.262 | 256.813 | 6.478 | 253.801 | 6.868 | 257.933 | 7.015 | 255.167 | -5.918 | 889.758 | 63.323 | 34.6749
2020-11-19 07:30:00 | 5.582 | 261.18 | 6.667 | 260.179 | 7.038 | 263.35 | 7.282 | 260.367 | -5.879 | 889.217 | 64.032 | 33.0676
2020-11-19 07:45:00 | 5.289 | 265.107 | 6.388 | 262.42 | 6.79 | 265.867 | 7.15 | 261.667 | -6.306 | 890.375 | 64.864 | 33.295
2020-11-19 08:00:00 | 5.286 | 268 | 6.804 | 265.107 | 7.296 | 268.8 | 7.574 | 263.833 | -6.362 | 890.3 | 65.035 | 30.3412
2020-11-19 08:15:00 | 5.36 | 267.08 | 7.049 | 265.274 | 7.232 | 270.367 | 7.308 | 266.4 | -6.764 | 890.267 | 65.12 | 29.5184
2020-11-19 08:30:00 | 6.148 | 269 | 7.459 | 264.58 | 8.088 | 268.6 | 8.277 | 265.567 | -6.648 | 889.708 | 64.965 | 32.7152
2020-11-19 08:45:00 | 5.51 | 263.673 | 6.771 | 260.236 | 7.377 | 264.65 | 7.633 | 261.517 | -6.843 | 889.917 | 64.261 | 29.9831
2020-11-19 09:00:00 | 4.844 | 256.507 | 5.973 | 254.759 | 6.407 | 260.867 | 6.807 | 257.8 | -6.893 | 889.55 | 64.592 | 32.6775
2020-11-19 09:15:00 | 5.602 | 259.607 | 6.648 | 257.189 | 7.282 | 262.167 | 7.701 | 257.717 | -6.933 | 889.8 | 63.387 | 31.9755
2020-11-19 09:30:00 | 6.69 | 265.667 | 7.432 | 260.828 | 7.912 | 264.017 | 8.327 | 260.917 | -6.136 | 889.95 | 60.859 | 39.2112
2020-11-19 09:45:00 | 7.299 | 260.673 | 8.161 | 257.254 | 8.504 | 259.417 | 8.504 | 255.25 | -5.564 | 890.108 | 59.2 | 45.0769
2020-11-19 10:00:00 | 7.206 | 257.733 | 8.067 | 254.414 | 8.48 | 260.05 | 8.604 | 255.85 | -5.74 | 889.992 | 58.581 | 46.8036
2020-11-19 10:15:00 | 7.208 | 261.227 | 7.875 | 260.027 | 8.097 | 264.65 | 8.355 | 258.117 | -5.369 | 889.892 | 58.256 | 43.9187
2020-11-19 10:30:00 | 7.849 | 267.627 | 8.86 | 263.895 | 9.163 | 267.533 | 9.453 | 262.15 | -5.019 | 890.008 | 56.683 | 41.5951
2020-11-19 10:45:00 | 8.91 | 266.287 | 9.349 | 259.674 | 9.51 | 262.417 | 9.298 | 255.933 | -4.421 | 889.733 | 54.661 | 46.4966
2020-11-19 11:00:00 | 8.944 | 268.867 | 9.285 | 265.202 | 9.505 | 267.267 | 9.469 | 262.183 | -4.105 | 889.9 | 52.384 | 59.6151
2020-11-19 11:15:00 | 12.23 | 276.8 | 13.192 | 270.253 | 13.161 | 272.9 | 13.078 | 267.533 | -4.586 | 890.058 | 50.725 | 73.5543
2020-11-19 11:30:00 | 11.563 | 268.453 | 12.355 | 263.307 | 12.761 | 264.883 | 12.791 | 262.083 | -4.543 | 889.958 | 50.795 | 74.9271
2020-11-19 11:45:00 | 11.588 | 273.7 | 12.033 | 267.719 | 12.37 | 270.833 | 12.341 | 268.2 | -3.79 | 889.425 | 49.76 | 73.307
2020-11-19 12:00:00 | 12.065 | 276 | 12.901 | 271.65 | 12.798 | 273.567 | 12.914 | 270.267 | -3.371 | 889.683 | 48.832 | 69.5559
2020-11-19 12:15:00 | 12.954 | 277.4 | 13.791 | 270.562 | 13.908 | 273.4 | 13.971 | 269.3 | -3.823 | 889.817 | 49.072 | 67.3788
2020-11-19 12:30:00 | 13.185 | 269.733 | 14.325 | 264.057 | 14.377 | 267.967 | 14.292 | 264.1 | -3.973 | 889.542 | 49.675 | 66.9446
2020-11-19 12:45:00 | 11.983 | 276.987 | 12.885 | 271.874 | 12.62 | 275.267 | 12.69 | 271.367 | -4.003 | 889.8 | 49.691 | 63.9986
2020-11-19 13:00:00 | 11.477 | 279.267 | 12.145 | 273.868 | 12.29 | 276.767 | 12.267 | 272.633 | -3.723 | 890.017 | 48.304 | 57.8536
2020-11-19 13:15:00 | 10.551 | 282.333 | 11.796 | 276.235 | 12.024 | 278.467 | 12.321 | 276.767 | -3.823 | 890.333 | 48.283 | 54.5061
2020-11-19 13:30:00 | 12.832 | 287.133 | 14.029 | 281.453 | 14.319 | 283.8 | 14.696 | 281.8 | -3.924 | 889.967 | 48.709 | 49.5684
2020-11-19 13:45:00 | 12.226 | 280.267 | 13.372 | 275.708 | 13.575 | 278 | 13.798 | 275.7 | -3.689 | 889.758 | 48.896 | 45.8379
2020-11-19 14:00:00 | 13.49 | 292.267 | 14.449 | 285.851 | 14.386 | 287.767 | 14.619 | 285.933 | -3.354 | 889.783 | 47.312 | 43.3851
2020-11-19 14:15:00 | 13.352 | 279.6 | 14.429 | 275.71 | 14.752 | 279.1 | 15.151 | 277.933 | -3.739 | 889.95 | 48.331 | 42.2709
2020-11-19 14:30:00 | 14.141 | 283.227 | 15.559 | 278.059 | 15.725 | 280.167 | 15.88 | 277.633 | -4.246 | 889.592 | 49.552 | 49.7368
2020-11-19 14:45:00 | 14.255 | 281.16 | 16.249 | 274.876 | 16.717 | 276.833 | 17.186 | 274.6 | -4.859 | 889.583 | 49.248 | 49.8221
2020-11-19 15:00:00 | 13.657 | 287.253 | 15.103 | 281.45 | 15.492 | 281.6 | 16.186 | 280.6 | -4.666 | 890.108 | 49.877 | 48.7058
2020-11-19 15:15:00 | 13.116 | 280.067 | 14.218 | 276.392 | 14.477 | 277.733 | 15.316 | 276.2 | -4.835 | 889.667 | 50.752 | 47.9391
2020-11-19 15:30:00 | 14.729 | 283.4 | 16.142 | 278.064 | 16.603 | 281.533 | 17.18 | 279.567 | -5.152 | 889.442 | 51.515 | 52.7702
2020-11-19 15:45:00 | 14.405 | 280.867 | 15.789 | 275.751 | 16.142 | 277.433 | 16.346 | 276.567 | -5.285 | 889.958 | 52.235 | 58.2594
2020-11-19 16:00:00 | 13.523 | 274.2 | 15.124 | 270.018 | 15.397 | 272.233 | 15.773 | 270.033 | -5.469 | 890.092 | 52.245 | 77.741
2020-11-19 16:15:00 | 12.344 | 280.133 | 13.836 | 274.429 | 14.449 | 276.633 | 14.591 | 274.9 | -5.61 | 889.983 | 52.251 | 80.7438
2020-11-19 16:30:00 | 11.079 | 271.64 | 11.924 | 268.286 | 12.417 | 270.767 | 12.71 | 267.633 | -5.727 | 889.633 | 51.872 | 83.7225
2020-11-19 16:45:00 | 11.549 | 272.387 | 12.696 | 269.331 | 12.862 | 271.667 | 13 | 267.367 | -5.829 | 890.008 | 52.288 | 82.5686
2020-11-19 17:00:00 | 10.575 | 267.747 | 11.695 | 263.542 | 12.082 | 267.733 | 12.256 | 264.817 | -5.921 | 889.717 | 52.448 | 82.3142
2020-11-19 17:15:00 | 11.365 | 265.72 | 12.798 | 260.914 | 13.13 | 264.4 | 13.315 | 260.45 | -5.879 | 890.042 | 53.339 | 84.5283
2020-11-19 17:30:00 | 11.565 | 256.553 | 12.738 | 252.547 | 13.266 | 256.517 | 13.433 | 252.867 | -6.057 | 890.042 | 53.419 | 88.2431
2020-11-19 17:45:00 | 11.081 | 252.54 | 11.987 | 250.442 | 12.484 | 254.783 | 12.376 | 251.9 | -6.436 | 889.658 | 53.301 | 89.8341
2020-11-19 18:00:00 | 10.911 | 258.827 | 12.309 | 255.867 | 13.176 | 260.483 | 13.349 | 259.083 | -6.389 | 889.558 | 53.355 | 87.2675
2020-11-19 18:15:00 | 11.044 | 270.673 | 12.702 | 267.361 | 13.271 | 270.267 | 13.38 | 266.967 | -6.525 | 889.942 | 53.883 | 78.5887
2020-11-19 18:30:00 | 10.6 | 282.88 | 11.628 | 278.469 | 12.202 | 280.2 | 12.819 | 278.733 | -6.548 | 889.708 | 54.576 | 78.4906
2020-11-19 18:45:00 | 10.905 | 285.347 | 11.853 | 280.75 | 12.16 | 281.867 | 12.512 | 279.267 | -7.21 | 889.533 | 55.76 | 76.3653
2020-11-19 19:00:00 | 10.824 | 280.827 | 12.219 | 275.897 | 12.763 | 276.567 | 13.566 | 273.833 | -7.197 | 890.15 | 55.952 | 73.9437
2020-11-19 19:15:00 | 11.81 | 262.927 | 12.253 | 257.003 | 12.478 | 262.1 | 12.571 | 257.917 | -7.786 | 889.417 | 56.027 | 76.8485
2020-11-19 19:30:00 | 13.284 | 270.12 | 14.896 | 262.585 | 15.378 | 264.933 | 16.258 | 260.4 | -8.174 | 889.642 | 55.749 | 77.4461
2020-11-19 19:45:00 | 11.307 | 267.987 | 12.83 | 263.809 | 13.347 | 265.767 | 13.336 | 261.933 | -8.077 | 890.383 | 55.275 | 77.2485
2020-11-19 20:00:00 | 10.622 | 274.92 | 11.8 | 269.507 | 11.789 | 270.033 | 11.972 | 266.05 | -8.21 | 889.8 | 55.269 | 75.3194
2020-11-19 20:15:00 | 12.444 | 275.827 | 14.495 | 268.253 | 14.724 | 271.267 | 15.117 | 266.8 | -8.418 | 889.85 | 55.744 | 71.8489
2020-11-19 20:30:00 | 11.226 | 281.307 | 12.37 | 272.744 | 12.944 | 275.733 | 13.382 | 272.867 | -8.481 | 890.067 | 55.861 | 76.9302
2020-11-19 20:45:00 | 12.039 | 265.84 | 13.122 | 260.137 | 13.689 | 263.833 | 13.602 | 260.067 | -8.724 | 889.508 | 56.96 | 78.8352
2020-11-19 21:00:00 | 10.645 | 259.633 | 11.98 | 255.397 | 12.394 | 259.733 | 12.802 | 255.617 | -8.958 | 889.658 | 57.787 | 78.686
2020-11-19 21:15:00 | 10.843 | 258.507 | 12.435 | 257.016 | 12.933 | 261.267 | 13.598 | 257.767 | -8.791 | 889.725 | 57.691 | 78.2803
2020-11-19 21:30:00 | 13.951 | 272.853 | 16.046 | 267.12 | 16.56 | 271.2 | 16.96 | 267.033 | -9.108 | 889.867 | 57.76 | 77.5193
2020-11-19 21:45:00 | 14.868 | 279.2 | 16.792 | 272.249 | 17.817 | 274.333 | 18.037 | 270 | -8.774 | 889.783 | 57.093 | 76.813
2020-11-19 22:00:00 | 14.345 | 275.8 | 15.881 | 269.292 | 16.786 | 271.867 | 17.233 | 267.867 | -8.958 | 890.017 | 57.157 | 77.8021
2020-11-19 22:15:00 | 12.761 | 269.073 | 14.545 | 263.705 | 15.593 | 266.267 | 16.005 | 263.033 | -9.224 | 890.033 | 56.981 | 76.393
2020-11-19 22:30:00 | 12.653 | 268.067 | 14.372 | 263.423 | 15.105 | 266.167 | 15.316 | 260.8 | -9.174 | 889.692 | 56.501 | 74.6187
2020-11-19 22:45:00 | 12.566 | 265.267 | 14.172 | 261.33 | 14.804 | 263.067 | 14.793 | 257.267 | -9.191 | 889.933 | 56.091 | 74.4148
2020-11-19 23:00:00 | 13.245 | 266.733 | 15.153 | 261.204 | 15.582 | 262.667 | 15.856 | 259.883 | -9.208 | 889.858 | 56.341 | 74.7161
2020-11-19 23:15:00 | 12.378 | 266.307 | 13.858 | 261.632 | 14.458 | 265.667 | 14.792 | 261.617 | -9.274 | 889.775 | 56.432 | 74.947
2020-11-19 23:30:00 | 10.982 | 267.8 | 11.786 | 263.56 | 12.14 | 266.767 | 12.236 | 261.617 | -9.324 | 889.775 | 56.112 | 74.4162
2020-11-19 23:45:00 | 10.501 | 276.8 | 11.884 | 270.423 | 12.228 | 272.667 | 12.357 | 268.3 | -9.324 | 889.783 | 56.965 | 71.1483