## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-20 00:00:00 | 7.219 | 286.467 | 8.331 | 280.689 | 8.899 | 284.033 | 9.466 | 279.433 | -9.291 | 889.892 | 58.197 | 62.5221
2020-11-20 00:15:00 | 7.048 | 269.693 | 7.851 | 265.421 | 8.342 | 268.1 | 8.705 | 263.767 | -9.391 | 889.65 | 59.979 | 55.9976
2020-11-20 00:30:00 | 7.702 | 261.393 | 8.708 | 256.765 | 9.288 | 260.383 | 9.657 | 257.317 | -9.662 | 890.267 | 59.925 | 52.3574
2020-11-20 00:45:00 | 10.053 | 259.533 | 10.965 | 257.293 | 11.443 | 260.833 | 11.535 | 255.467 | -9.462 | 890.1 | 59.008 | 60.9652
2020-11-20 01:00:00 | 9.631 | 259.98 | 11.086 | 259.532 | 11.618 | 261.567 | 11.517 | 257.117 | -9.599 | 889.625 | 58.992 | 70.7824
2020-11-20 01:15:00 | 9.815 | 260.573 | 11.526 | 257.364 | 12.395 | 260.417 | 12.795 | 255.15 | -9.324 | 890.3 | 58.288 | 70.862
2020-11-20 01:30:00 | 9.325 | 260.48 | 10.255 | 256.639 | 10.866 | 259.983 | 11.165 | 256.233 | -9.849 | 889.867 | 58.507 | 70.6076
2020-11-20 01:45:00 | 11.487 | 266.727 | 12.195 | 263.379 | 12.798 | 266.067 | 13.227 | 261.767 | -9.812 | 889.617 | 55.691 | 71.7893
2020-11-20 02:00:00 | 11.331 | 261.173 | 12.803 | 258.64 | 13.249 | 263.05 | 13.602 | 258.817 | -9.683 | 889.625 | 50.197 | 74.1555
2020-11-20 02:15:00 | 10.875 | 261.94 | 12.428 | 258.447 | 12.928 | 262.8 | 12.927 | 259.25 | -9.87 | 889.283 | 46.331 | 74.1249
2020-11-20 02:30:00 | 10.392 | 266.073 | 11.788 | 259.154 | 12.539 | 262.867 | 12.964 | 258.767 | -9.641 | 889.533 | 44.277 | 73.0256
2020-11-20 02:45:00 | 10.506 | 256.207 | 11.45 | 252.478 | 12.138 | 253.983 | 12.268 | 249.817 | -9.912 | 889.983 | 42.107 | 72.2852
2020-11-20 03:00:00 | 9.841 | 260.72 | 11.066 | 255.677 | 11.69 | 258.183 | 11.633 | 254.517 | -9.787 | 889.825 | 40.787 | 73.3042
2020-11-20 03:15:00 | 10.575 | 264.16 | 11.515 | 261.344 | 11.98 | 265.967 | 12.238 | 262.25 | -9.808 | 889.5 | 40.176 | 72.136
2020-11-20 03:30:00 | 11.523 | 266.313 | 12.912 | 261.167 | 13.461 | 264.6 | 13.557 | 261.317 | -10.07 | 890.033 | 42.896 | 68.4141
2020-11-20 03:45:00 | 12.001 | 265.667 | 13.759 | 262.495 | 14.63 | 266.033 | 15.177 | 261.45 | -10.366 | 889.675 | 45.248 | 64.221
2020-11-20 04:00:00 | 11.032 | 265.733 | 12.819 | 263.231 | 13.608 | 265.733 | 14.162 | 261.883 | -10.333 | 889.9 | 45.205 | 64.0782
2020-11-20 04:15:00 | 11.485 | 267.127 | 12.666 | 263.741 | 13.184 | 265.667 | 13.508 | 263.433 | -10.564 | 889.808 | 45.776 | 64.0142
2020-11-20 04:30:00 | 10.471 | 267.1 | 11.983 | 262.937 | 13.131 | 265.667 | 13.701 | 263.433 | -10.853 | 889.85 | 46.581 | 63.1132
2020-11-20 04:45:00 | 10.886 | 265.007 | 12.305 | 262.466 | 13.066 | 264.7 | 13.623 | 261.233 | -11.074 | 889.642 | 46.896 | 61.6481
2020-11-20 05:00:00 | 10.265 | 261.073 | 11.551 | 257.092 | 12.225 | 262.183 | 12.589 | 257.05 | -10.984 | 889.617 | 49.131 | 61.5571
2020-11-20 05:15:00 | 10.648 | 265.493 | 11.882 | 260.792 | 12.823 | 263.133 | 13.404 | 259.583 | -11.428 | 890.192 | 51.509 | 61.9564
2020-11-20 05:30:00 | 9.914 | 256.913 | 11.136 | 252.131 | 11.848 | 256.45 | 12.137 | 252.25 | -11.245 | 889.867 | 52.725 | 64.0661
2020-11-20 05:45:00 | 10.906 | 258.033 | 12.506 | 253.633 | 13.457 | 257.05 | 13.903 | 253.3 | -11.228 | 889.592 | 54.213 | 65.1256
2020-11-20 06:00:00 | 12.577 | 261.72 | 14.106 | 257.674 | 14.748 | 261.383 | 15.062 | 258.083 | -11.666 | 889.892 | 54.981 | 64.6559
2020-11-20 06:15:00 | 12.252 | 260.18 | 13.856 | 256.465 | 14.797 | 260.367 | 14.988 | 256.55 | -11.466 | 890.375 | 55.04 | 64.4953
2020-11-20 06:30:00 | 13.155 | 257.86 | 15.198 | 253.697 | 15.75 | 259.233 | 16.055 | 255.617 | -11.528 | 889.85 | 55.707 | 64.4839
2020-11-20 06:45:00 | 11.773 | 253.213 | 13.537 | 251.187 | 14.292 | 256.433 | 15.058 | 252.633 | -11.611 | 889.975 | 55.888 | 64.1087
2020-11-20 07:00:00 | 10.989 | 249.707 | 12.9 | 249.183 | 13.936 | 254 | 14.385 | 249.65 | -12.036 | 889.992 | 56.603 | 64.4356
2020-11-20 07:15:00 | 11.126 | 254.187 | 13.296 | 251.82 | 14.21 | 255.5 | 14.8 | 249.85 | -12.282 | 890.367 | 57.056 | 64.9486
2020-11-20 07:30:00 | 10.271 | 256.307 | 12.108 | 251.516 | 13.131 | 256.7 | 13.609 | 253.117 | -12.453 | 889.958 | 57.184 | 65.8468
2020-11-20 07:45:00 | 10.079 | 256.953 | 11.479 | 256.176 | 12.601 | 258.283 | 13.403 | 254.55 | -12.553 | 889.508 | 57.483 | 66.4742
2020-11-20 08:00:00 | 9.772 | 260.36 | 11.566 | 257.333 | 13.198 | 260.6 | 14.038 | 257.6 | -12.586 | 889.842 | 57.648 | 68.2158
2020-11-20 08:15:00 | 10.72 | 265.6 | 12.773 | 262.377 | 13.74 | 265.967 | 14.234 | 260.1 | -12.503 | 889.858 | 58 | 69.0429
2020-11-20 08:30:00 | 11.785 | 266.473 | 13.342 | 262.761 | 14.03 | 266.267 | 14.727 | 263.5 | -12.328 | 890.092 | 57.621 | 68.6059
2020-11-20 08:45:00 | 12.42 | 268.787 | 13.989 | 263.325 | 14.82 | 267.867 | 15.356 | 263.7 | -12.057 | 889.758 | 56.064 | 68.0666
2020-11-20 09:00:00 | 11.904 | 271.227 | 13.63 | 264.611 | 14.599 | 267.233 | 15.396 | 263.833 | -11.974 | 889.475 | 55.931 | 67.5138
2020-11-20 09:15:00 | 11.603 | 271.06 | 13.732 | 266.368 | 14.606 | 270.3 | 15.247 | 267.2 | -11.995 | 889.617 | 55.835 | 67.5642
2020-11-20 09:30:00 | 11.489 | 268.593 | 13.162 | 261.744 | 14.097 | 264.767 | 14.889 | 260.483 | -11.295 | 890.133 | 53.28 | 67.4413
2020-11-20 09:45:00 | 12.613 | 263.54 | 13.595 | 259.573 | 14.228 | 262.95 | 14.521 | 259.117 | -10.391 | 889.425 | 50.405 | 67.9664
2020-11-20 10:00:00 | 12.186 | 270.813 | 13.854 | 265.822 | 14.626 | 269.167 | 15.165 | 266.183 | -10.46 | 889.833 | 45.429 | 71.655
2020-11-20 10:15:00 | 13.49 | 274.533 | 14.752 | 269.28 | 15.177 | 270.6 | 15.469 | 266.967 | -10.416 | 889.767 | 43.397 | 73.6133
2020-11-20 10:30:00 | 14.076 | 273.267 | 15.052 | 266.595 | 15.524 | 270.533 | 15.662 | 265.9 | -10.416 | 889.717 | 41.453 | 73.7071
2020-11-20 10:45:00 | 13.213 | 270.027 | 14.325 | 265.022 | 14.933 | 268.367 | 15.318 | 265.1 | -9.804 | 889.783 | 39.856 | 74.353
2020-11-20 11:00:00 | 13.777 | 277 | 14.544 | 268.6 | 14.763 | 271.633 | 15.033 | 267.567 | -10.028 | 889.7 | 39.904 | 72.8622
2020-11-20 11:15:00 | 13.505 | 271.347 | 14.924 | 267.178 | 15.501 | 270.167 | 15.48 | 268.217 | -9.966 | 890.142 | 41.984 | 72.7151
2020-11-20 11:30:00 | 13.78 | 278.533 | 15.026 | 271.272 | 15.472 | 274.9 | 15.581 | 270.3 | -10.283 | 889.725 | 42.437 | 74.4461
2020-11-20 11:45:00 | 12.939 | 279.253 | 14.143 | 274.087 | 14.17 | 276.933 | 14.59 | 274.1 | -9.87 | 890.083 | 43.099 | 73.9458
2020-11-20 12:00:00 | 13.398 | 276.447 | 14.249 | 270.564 | 14.47 | 273.333 | 14.74 | 270.7 | -9.745 | 889.908 | 42.155 | 71.6656
2020-11-20 12:15:00 | 12.723 | 284.173 | 13.625 | 276.96 | 13.886 | 278.5 | 14.223 | 276.2 | -9.395 | 889.925 | 41.333 | 70.2509
2020-11-20 12:30:00 | 11.916 | 278.133 | 12.619 | 270.196 | 12.872 | 273.6 | 13.036 | 270.467 | -8.991 | 889.9 | 41.2 | 69.1751
2020-11-20 12:45:00 | 11.874 | 276.533 | 12.851 | 271.261 | 12.73 | 273.4 | 12.902 | 271.6 | -8.774 | 889.558 | 40.635 | 67.4662
2020-11-20 13:00:00 | 12.514 | 282.267 | 13.225 | 277.709 | 13.632 | 278.533 | 13.892 | 275.5 | -8.674 | 889.7 | 39.203 | 67.3319
2020-11-20 13:15:00 | 12.01 | 283.867 | 13.331 | 278.231 | 13.451 | 280.033 | 13.761 | 278.133 | -8.658 | 889.85 | 39.685 | 70.9153
2020-11-20 13:30:00 | 12.123 | 280.347 | 12.995 | 274.92 | 13.507 | 278.7 | 13.855 | 275.667 | -8.437 | 889.917 | 38.664 | 70.7127
2020-11-20 13:45:00 | 11.084 | 278.707 | 11.81 | 271.956 | 11.813 | 274.067 | 12.11 | 272.233 | -8.03 | 889.717 | 37.832 | 70.8876
2020-11-20 14:00:00 | 10.602 | 289.133 | 10.921 | 282.787 | 11.095 | 284.7 | 11.313 | 280.733 | -8.09 | 889.533 | 38.637 | 75.4309
2020-11-20 14:15:00 | 10.08 | 288.52 | 10.697 | 284.502 | 10.723 | 285.067 | 11.178 | 282.233 | -7.993 | 889.733 | 37.557 | 74.8859
2020-11-20 14:30:00 | 11.153 | 282.667 | 12.23 | 276.32 | 12.073 | 277.533 | 12.348 | 276.5 | -8.023 | 889.783 | 38.68 | 74.7914
2020-11-20 14:45:00 | 10.526 | 282.973 | 11.138 | 277.673 | 11.243 | 281.3 | 11.74 | 279 | -8.247 | 889.617 | 39.373 | 76.0939
2020-11-20 15:00:00 | 10.618 | 280.933 | 11.636 | 274.469 | 12.007 | 276.233 | 12.013 | 275.567 | -8.09 | 889.442 | 40.528 | 77.9605
2020-11-20 15:15:00 | 9.238 | 297.64 | 9.853 | 289.27 | 10.07 | 292.7 | 10.447 | 289.8 | -8.23 | 889.95 | 39.413 | 79.5444
2020-11-20 15:30:00 | 9.543 | 279.693 | 9.97 | 277.662 | 10.13 | 280.533 | 10.434 | 278.6 | -8.501 | 889.6 | 39.736 | 77.709
2020-11-20 15:45:00 | 9.871 | 288.067 | 10.586 | 281.929 | 10.75 | 283.833 | 10.991 | 282.233 | -8.307 | 889.817 | 39.939 | 74.7758
2020-11-20 16:00:00 | 9.933 | 286.693 | 10.614 | 280.35 | 10.686 | 284.3 | 10.993 | 282.533 | -8.15 | 889.908 | 41.493 | 75.028
2020-11-20 16:15:00 | 9.766 | 278.28 | 10.553 | 273.077 | 10.642 | 275.7 | 11.068 | 273.6 | -8.15 | 890.175 | 41.552 | 74.5349
2020-11-20 16:30:00 | 9.358 | 282.773 | 10.15 | 277.178 | 10.417 | 279.967 | 10.857 | 279 | -8.074 | 889.542 | 41.28 | 67.2594
2020-11-20 16:45:00 | 9.778 | 276.067 | 10.146 | 272.976 | 10.509 | 275.3 | 10.743 | 272.867 | -8.374 | 890 | 42.107 | 67.1486
2020-11-20 17:00:00 | 8.486 | 278.667 | 9.093 | 273.18 | 9.052 | 278.867 | 9.258 | 277.2 | -8.824 | 889.708 | 42.128 | 62.8269
2020-11-20 17:15:00 | 7.942 | 279.6 | 8.684 | 272.175 | 8.872 | 274.733 | 9.064 | 273.233 | -8.758 | 889.508 | 43.259 | 55.2167
2020-11-20 17:30:00 | 7.124 | 267.453 | 7.749 | 263.562 | 7.918 | 266 | 8.071 | 263.367 | -8.658 | 890.292 | 42.901 | 52.1293
2020-11-20 17:45:00 | 7.137 | 264.153 | 7.71 | 259.334 | 7.681 | 263.867 | 8.081 | 259.633 | -8.958 | 890.083 | 44.859 | 58.6623
2020-11-20 18:00:00 | 6.916 | 263.86 | 7.855 | 258.733 | 8.056 | 261.483 | 8.165 | 258.4 | -9.437 | 889.892 | 46.208 | 51.3349
2020-11-20 18:15:00 | 6.77 | 267.553 | 7.964 | 261.554 | 8.2 | 265.833 | 8.293 | 260.433 | -9.704 | 889.642 | 47.872 | 44.2385
2020-11-20 18:30:00 | 6.713 | 266.467 | 8.053 | 261.408 | 8.552 | 265.733 | 8.703 | 261.967 | -10.349 | 889.775 | 49.333 | 50.559
2020-11-20 18:45:00 | 6.006 | 244.733 | 6.687 | 245.442 | 7.326 | 250.5 | 7.526 | 246.9 | -10.78 | 889.817 | 49.557 | 49.729
2020-11-20 19:00:00 | 5.772 | 239.467 | 6.215 | 238.644 | 6.851 | 245.967 | 6.895 | 243.3 | -11.428 | 889.533 | 50.603 | 49.1534
2020-11-20 19:15:00 | 6.42 | 241.033 | 7.663 | 237.398 | 8.096 | 242.3 | 8.125 | 237.1 | -11.411 | 889.875 | 51.136 | 53.861
2020-11-20 19:30:00 | 6.521 | 240.267 | 7.512 | 238.461 | 8.283 | 243.567 | 8.273 | 236.833 | -11.478 | 889.65 | 51.051 | 46.8654
2020-11-20 19:45:00 | 6.781 | 237.5 | 7.929 | 236.274 | 8.417 | 241.3 | 8.359 | 235.267 | -11.378 | 890.025 | 50.283 | 45.8841
2020-11-20 20:00:00 | 6.583 | 237.267 | 7.963 | 236.089 | 8.516 | 241.2 | 8.581 | 236.733 | -11.77 | 889.758 | 50.891 | 46.6622
2020-11-20 20:15:00 | 6.03 | 241.587 | 7.345 | 238.84 | 7.64 | 245.2 | 7.396 | 242.3 | -11.895 | 890.117 | 50.987 | 43.2636
2020-11-20 20:30:00 | 6.281 | 234.84 | 7.656 | 235.282 | 7.832 | 241.1 | 7.784 | 237.467 | -12.14 | 889.7 | 51.904 | 42.6297
2020-11-20 20:45:00 | 6.554 | 234.467 | 7.914 | 232.831 | 8.062 | 237.3 | 7.785 | 233.633 | -12.52 | 889.742 | 51.605 | 42.4763
2020-11-20 21:00:00 | 6.21 | 243.827 | 7.362 | 242.057 | 7.772 | 247.967 | 7.547 | 244.767 | -12.161 | 889.592 | 52.011 | 37.67
2020-11-20 21:15:00 | 5.831 | 236.567 | 7.035 | 237.349 | 7.562 | 244 | 7.528 | 239.8 | -12.436 | 890.242 | 52.192 | 35.5148
2020-11-20 21:30:00 | 5.57 | 227.133 | 6.339 | 231.949 | 6.99 | 242.933 | 6.743 | 239.567 | -12.486 | 890.242 | 53.184 | 31.9499
2020-11-20 21:45:00 | 5.813 | 230.833 | 6.88 | 231.296 | 7.166 | 236.867 | 6.941 | 233.433 | -12.986 | 889.908 | 53.621 | 33.3334
2020-11-20 22:00:00 | 5.855 | 231.3 | 6.805 | 233.037 | 6.985 | 241.3 | 6.521 | 238.9 | -12.986 | 889.95 | 53.376 | 31.7538
2020-11-20 22:15:00 | 6.605 | 229.3 | 7.333 | 232.489 | 7.495 | 239.5 | 7.234 | 237.133 | -13.23 | 889.85 | 53.643 | 33.6162
2020-11-20 22:30:00 | 5.93 | 222.767 | 7.407 | 227.639 | 7.629 | 233.667 | 7.231 | 231.367 | -13.297 | 889.908 | 54.059 | 36.7313
2020-11-20 22:45:00 | 5.441 | 232.5 | 6.724 | 234.039 | 7.085 | 241.267 | 6.97 | 237.633 | -13.341 | 889.983 | 54.624 | 34.0731
2020-11-20 23:00:00 | 5.832 | 234.593 | 6.871 | 236.104 | 7.256 | 243.633 | 7.21 | 239.7 | -13.541 | 889.758 | 54.624 | 30.2041
2020-11-20 23:15:00 | 6.376 | 218.293 | 7.506 | 222.779 | 7.769 | 232.333 | 7.378 | 230.233 | -13.945 | 890.067 | 55.221 | 33.7697
2020-11-20 23:30:00 | 6.461 | 224.4 | 7.377 | 226.901 | 7.394 | 236.033 | 7.016 | 235.467 | -14.116 | 890.017 | 57.109 | 33.7732
2020-11-20 23:45:00 | 6.476 | 219.567 | 7.471 | 221.532 | 7.063 | 231.6 | 6.732 | 230.267 | -14.183 | 889.742 | 57.749 | 27.8492