## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-21 00:00:00 | 5.881 | 226.533 | 6.701 | 230.508 | 6.642 | 239.633 | 6.501 | 236.967 | -14.066 | 889.492 | 57.931 | 24.7696
2020-11-21 00:15:00 | 5.678 | 220.427 | 7.301 | 223.819 | 6.961 | 237.167 | 6.592 | 235.333 | -14.487 | 889.892 | 59.104 | 24.5998
2020-11-21 00:30:00 | 6.012 | 226.253 | 7.013 | 230.062 | 6.741 | 238.1 | 6.305 | 235.933 | -14.599 | 889.708 | 58.72 | 23.2924
2020-11-21 00:45:00 | 5.962 | 224.513 | 7.023 | 229.454 | 6.647 | 238.467 | 6.264 | 236.267 | -14.662 | 890.017 | 57.867 | 22.0894
2020-11-21 01:00:00 | 5.965 | 220.553 | 6.804 | 227.561 | 6.427 | 237.4 | 5.984 | 235.2 | -14.599 | 889.758 | 57.493 | 18.5316
2020-11-21 01:15:00 | 5.832 | 226.473 | 6.826 | 232.132 | 6.638 | 240.133 | 6.208 | 237.7 | -14.828 | 889.658 | 57.461 | 18.3575
2020-11-21 01:30:00 | 5.941 | 220.227 | 6.9 | 226.486 | 6.426 | 238.733 | 5.874 | 237.033 | -14.849 | 889.683 | 56.949 | 16.6202
2020-11-21 01:45:00 | 6.3 | 216.967 | 7.452 | 220.097 | 6.572 | 228.367 | 5.974 | 227.6 | -15.108 | 889.533 | 56.896 | 17.227
2020-11-21 02:00:00 | 6.475 | 220.013 | 7.727 | 220.375 | 6.811 | 227.633 | 6.23 | 226.8 | -14.87 | 889.542 | 56.48 | 19.5434
2020-11-21 02:15:00 | 6.711 | 213.38 | 8.726 | 213.184 | 7.811 | 218.267 | 7.083 | 218.167 | -14.662 | 889.708 | 55.371 | 22.7431
2020-11-21 02:30:00 | 6.46 | 214.833 | 8.139 | 214.735 | 7.898 | 219.367 | 7.134 | 217.833 | -14.891 | 889.433 | 54.315 | 23.8502
2020-11-21 02:45:00 | 6.047 | 214.2 | 8.517 | 212.744 | 7.813 | 216.233 | 7.397 | 213.633 | -14.683 | 889.833 | 53.237 | 21.8855
2020-11-21 03:00:00 | 5.892 | 217.133 | 7.897 | 214.56 | 7.57 | 219.333 | 7.01 | 215.8 | -14.304 | 890.008 | 51.648 | 20.2291
2020-11-21 03:15:00 | 6.198 | 213.28 | 8.809 | 213.678 | 8.251 | 217.5 | 7.657 | 213.6 | -14.766 | 890.092 | 51.264 | 22.3324
2020-11-21 03:30:00 | 6.907 | 214.06 | 8.625 | 209.381 | 8.375 | 214.267 | 8.092 | 212.367 | -14.641 | 889.925 | 51.211 | 25.7147
2020-11-21 03:45:00 | 6.557 | 214.507 | 8.284 | 209.567 | 8.042 | 212.967 | 7.766 | 211.3 | -14.587 | 890.033 | 51.424 | 28.223
2020-11-21 04:00:00 | 5.698 | 205.667 | 8.073 | 202.968 | 8.395 | 205.667 | 8.163 | 202.8 | -14.891 | 889.917 | 52.395 | 30.6205
2020-11-21 04:15:00 | 5.727 | 205.6 | 7.432 | 203.051 | 7.965 | 205.667 | 7.763 | 202.7 | -14.578 | 889.95 | 52.331 | 24.2772
2020-11-21 04:30:00 | 6.084 | 212.713 | 7.688 | 210.123 | 7.274 | 212.7 | 6.921 | 212 | -14.558 | 890.067 | 52.555 | 19.3118
2020-11-21 04:45:00 | 6.57 | 213.653 | 8.127 | 211.84 | 7.764 | 216.833 | 7.188 | 213.933 | -14.599 | 890.142 | 51.787 | 19.8454
2020-11-21 05:00:00 | 6.325 | 219.033 | 8.49 | 214.266 | 8.399 | 217.033 | 8.219 | 215.133 | -14.445 | 889.267 | 51.371 | 20.0792
2020-11-21 05:15:00 | 6.37 | 216.507 | 8.375 | 212.688 | 7.713 | 216.767 | 7.594 | 213.3 | -14.62 | 889.9 | 50.624 | 21.867
2020-11-21 05:30:00 | 6.406 | 212.093 | 9.014 | 212.596 | 8.343 | 215.6 | 7.994 | 212.567 | -14.745 | 889.817 | 49.941 | 25.9989
2020-11-21 05:45:00 | 6.458 | 214.573 | 8.571 | 212.872 | 8.193 | 217.967 | 8.107 | 214.4 | -14.828 | 889.6 | 49.675 | 26.0657
2020-11-21 06:00:00 | 6.689 | 208.66 | 8.189 | 204.612 | 8.297 | 210.233 | 8.138 | 208.3 | -14.849 | 890.008 | 49.835 | 29.4032
2020-11-21 06:15:00 | 5.992 | 211.947 | 8.176 | 209.247 | 7.882 | 212.267 | 7.97 | 209.7 | -14.454 | 889.133 | 49.579 | 30.0953
2020-11-21 06:30:00 | 6.104 | 209.007 | 7.722 | 205.754 | 7.807 | 209.767 | 7.618 | 207.733 | -14.724 | 889.742 | 49.333 | 27.4058
2020-11-21 06:45:00 | 5.939 | 209.6 | 7.932 | 207.811 | 7.672 | 211 | 7.722 | 209.167 | -14.683 | 889.492 | 49.248 | 24.8784
2020-11-21 07:00:00 | 6.407 | 213.233 | 7.77 | 210.512 | 7.364 | 214.567 | 7.28 | 214.667 | -13.966 | 889.833 | 48.416 | 22.9513
2020-11-21 07:15:00 | 5.299 | 208.953 | 7.494 | 205.446 | 7.291 | 210.033 | 6.888 | 207.633 | -14.704 | 890.233 | 48.683 | 20.2632
2020-11-21 07:30:00 | 5.598 | 206.073 | 8.239 | 203.872 | 8.095 | 206.933 | 7.784 | 204 | -14.724 | 889.667 | 49.12 | 22.6486
2020-11-21 07:45:00 | 5.562 | 203.98 | 8.232 | 201.433 | 7.592 | 203.933 | 7.452 | 201.9 | -14.42 | 889.867 | 48.299 | 22.4049
2020-11-21 08:00:00 | 6.619 | 206.8 | 8.834 | 203.026 | 7.811 | 205.1 | 7.366 | 203.967 | -14.199 | 890.183 | 47.019 | 22.7957
2020-11-21 08:15:00 | 6.497 | 205.3 | 8.69 | 202.929 | 7.773 | 207.867 | 6.908 | 204.5 | -13.883 | 889.725 | 46.475 | 21.5984
2020-11-21 08:30:00 | 6.282 | 205.033 | 9.061 | 198.456 | 8.496 | 201.167 | 7.733 | 199.4 | -13.999 | 889.508 | 46.965 | 24.3383
2020-11-21 08:45:00 | 6.416 | 203.867 | 8.858 | 198.577 | 8.04 | 201.033 | 7.493 | 197.067 | -13.391 | 889.65 | 46.304 | 24.4392
2020-11-21 09:00:00 | 5.582 | 200.067 | 7.707 | 199.856 | 8.502 | 200.3 | 8.049 | 196.567 | -12.703 | 889.55 | 44.533 | 23.2803
2020-11-21 09:15:00 | 5.145 | 202.893 | 7.382 | 201.65 | 7.242 | 204.267 | 6.937 | 198.267 | -12.161 | 889.825 | 43.531 | 20.4238
2020-11-21 09:30:00 | 6.077 | 200.2 | 7.759 | 197.794 | 7.825 | 199.9 | 7.084 | 196.333 | -11.495 | 890.033 | 41.909 | 19.2699
2020-11-21 09:45:00 | 5.902 | 203.96 | 7.737 | 200.42 | 8.698 | 201.5 | 7.944 | 196.867 | -10.091 | 889.417 | 39.504 | 22.4447
2020-11-21 10:00:00 | 6.241 | 206.333 | 7.184 | 201.289 | 7.808 | 202.733 | 7.439 | 200 | -9.391 | 889.717 | 37.339 | 21.2843
2020-11-21 10:15:00 | 5.563 | 207.913 | 6.222 | 203.836 | 6.988 | 205.367 | 7.012 | 202.067 | -8.284 | 890.15 | 34.837 | 18.0072
2020-11-21 10:30:00 | 5.634 | 213.367 | 5.695 | 209.926 | 6.044 | 211.867 | 6.674 | 210.367 | -7.656 | 889.917 | 32.443 | 11.4721
2020-11-21 10:45:00 | 5.779 | 210.593 | 5.866 | 206.811 | 6.179 | 206.567 | 6.498 | 201.7 | -6.806 | 890 | 30.149 | 9.8648
2020-11-21 11:00:00 | 6.271 | 210.14 | 6.405 | 208.148 | 6.57 | 210.267 | 6.753 | 205.667 | -6.283 | 889.267 | 28.507 | 13.3146
2020-11-21 11:15:00 | 5.508 | 206.933 | 5.561 | 204.011 | 5.73 | 208.2 | 5.824 | 205.1 | -5.634 | 889.733 | 27.109 | 11.9496
2020-11-21 11:30:00 | 5.129 | 205 | 5.155 | 202.809 | 5.275 | 208.4 | 5.288 | 203.867 | -5.035 | 889.7 | 25.92 | 10.9633
2020-11-21 11:45:00 | 4.29 | 199.68 | 4.415 | 197.011 | 4.658 | 198.633 | 4.812 | 194.533 | -4.543 | 889.65 | 24.64 | 5.7932
2020-11-21 12:00:00 | 3.872 | 202.7 | 3.847 | 196.835 | 3.838 | 196.9 | 4.255 | 189.433 | -3.907 | 889.367 | 23.419 | 1.2293
2020-11-21 12:15:00 | 2.427 | 231.007 | 2.468 | 221.118 | 2.416 | 213.2 | 2.739 | 204.367 | -3.263 | 889.867 | 22.576 | 0.14851
2020-11-21 12:30:00 | 1.446 | 135.78 | 0.62 | 121.676 | 0.78 | 129.6 | 1.663 | 133.067 | -3.599 | 889.817 | 21.595 | 0.31691
2020-11-21 12:45:00 | 0.659 | 135.733 | 0.127 | 146.733 | 0.492 | 144.45 | 1.435 | 156.133 | -3.404 | 889.9 | 21.563 | 0.31265
2020-11-21 13:00:00 | 2.202 | 100.433 | 1.983 | 107.488 | 2.186 | 112.2 | 2.51 | 114.633 | -3.857 | 889.717 | 21.509 | 0.2956
2020-11-21 13:15:00 | 0.562 | 111.72 | 0.617 | 100.62 | 0.773 | 113.833 | 0.96 | 113.433 | -3.231 | 889.517 | 21.509 | 0.29275
2020-11-21 13:30:00 | 1.503 | 91.12 | 1.454 | 90.271 | 1.578 | 97.9 | 1.982 | 97.9 | -3.113 | 889.867 | 20.696 | 0.29773
2020-11-21 13:45:00 | 2.023 | 75.312 | 2.34 | 77.174 | 2.637 | 79.833 | 2.912 | 76.7 | -2.902 | 889.85 | 21.301 | 0.31123
2020-11-21 14:00:00 | 0.915 | 99.867 | 1.174 | 96.048 | 1.113 | 104.633 | 1.747 | 104.2 | -3.874 | 889.8 | 22.139 | 0.28991
2020-11-21 14:15:00 | 2.083 | 136.933 | 1.9 | 133.376 | 2.217 | 137.333 | 2.598 | 126.9 | -3.823 | 889.717 | 22.155 | 0.26291
2020-11-21 14:30:00 | 2.307 | 116.267 | 1.78 | 99.275 | 1.789 | 100.8 | 1.825 | 102.533 | -3.488 | 889.733 | 22.064 | 0.21388
2020-11-21 14:45:00 | 2.921 | 115.033 | 2.947 | 110.703 | 3.031 | 115.667 | 3.46 | 111.133 | -3.672 | 889.567 | 22.021 | 0.19185
2020-11-21 15:00:00 | 2.237 | 112.8 | 2.094 | 101.185 | 2.301 | 112.267 | 2.803 | 104 | -3.337 | 889.817 | 21.632 | 0.16769
2020-11-21 15:15:00 | 2.722 | 147.867 | 2.757 | 147.374 | 2.86 | 148.267 | 3.065 | 143.467 | -3.438 | 889.7 | 21.963 | 0.1947
2020-11-21 15:30:00 | 3.206 | 87.233 | 2.964 | 86.82 | 2.722 | 93.9 | 2.832 | 89.8 | -3.387 | 889.867 | 22.043 | 0.19114
2020-11-21 15:45:00 | 2.245 | 89.207 | 2.117 | 89.083 | 2.076 | 92.233 | 2.475 | 97.433 | -3.14 | 889.8 | 22.288 | 0.18901
2020-11-21 16:00:00 | 2.378 | 100.933 | 2.242 | 95.595 | 2.216 | 105.967 | 2.557 | 107.767 | -3.354 | 889.433 | 22.693 | 0.14069
2020-11-21 16:15:00 | 2.643 | 69.133 | 2.209 | 64.264 | 2.023 | 67.9 | 2.507 | 66.067 | -3.371 | 890 | 22.976 | 0.22099
2020-11-21 16:30:00 | 3.504 | 77.3 | 3.534 | 74.691 | 3.325 | 80.867 | 3.769 | 81.267 | -3.404 | 889.85 | 23.179 | 0.46755
2020-11-21 16:45:00 | 4.115 | 83.367 | 4.16 | 82.17 | 4.402 | 87.167 | 4.63 | 84.133 | -3.354 | 889.683 | 23.109 | 2.2696
2020-11-21 17:00:00 | 4.682 | 80.867 | 4.915 | 74.171 | 5.005 | 80.367 | 5.267 | 77 | -3.857 | 889.367 | 23.584 | 6.3446
2020-11-21 17:15:00 | 5.1 | 82.347 | 4.727 | 79.427 | 4.84 | 84.367 | 5.105 | 77.733 | -3.869 | 889.9 | 24.235 | 11.4295
2020-11-21 17:30:00 | 4.71 | 76.127 | 4.487 | 71.942 | 5.103 | 76.3 | 5.411 | 73.2 | -4.364 | 889.533 | 24.672 | 11.8054
2020-11-21 17:45:00 | 4.741 | 81.16 | 4.734 | 77.321 | 4.932 | 82.9 | 5.221 | 77.133 | -4.812 | 889.667 | 25.2 | 10.4837
2020-11-21 18:00:00 | 4.198 | 81.967 | 4.272 | 78.613 | 4.553 | 84.3 | 4.555 | 81.4 | -4.819 | 889.267 | 26.085 | 9.3027
2020-11-21 18:15:00 | 4.387 | 82.567 | 4.47 | 79.394 | 4.569 | 84.467 | 4.381 | 79.533 | -5.402 | 889.75 | 27.168 | 7.6542
2020-11-21 18:30:00 | 4.2 | 84.137 | 4.237 | 81.306 | 4.116 | 87.733 | 3.965 | 83.567 | -5.819 | 889.567 | 28.112 | 6.8158
2020-11-21 18:45:00 | 3.088 | 91.827 | 3.042 | 89.399 | 2.582 | 93.233 | 2.56 | 87.167 | -6.422 | 889.9 | 28.869 | 6.2459
2020-11-21 19:00:00 | 2.492 | 93.343 | 2.785 | 85.656 | 2.581 | 90.4 | 2.75 | 88.567 | -6.721 | 889.533 | 29.525 | 5.0429
2020-11-21 19:15:00 | 3.331 | 84.94 | 3.781 | 79.96 | 3.702 | 84.8 | 3.672 | 79.567 | -6.635 | 889.85 | 30.235 | 3.5699
2020-11-21 19:30:00 | 2.927 | 90.037 | 3.384 | 82.81 | 2.852 | 88.667 | 2.839 | 84.033 | -7.111 | 889.267 | 30.555 | 2.7442
2020-11-21 19:45:00 | 3.018 | 89.133 | 3.325 | 81.135 | 3.215 | 85.9 | 3.208 | 83.8 | -7.539 | 889.783 | 31.211 | 2.956
2020-11-21 20:00:00 | 2.458 | 97.623 | 2.15 | 89.423 | 1.794 | 92.667 | 1.895 | 85.933 | -7.816 | 889.85 | 32.24 | 2.3832
2020-11-21 20:15:00 | 2.263 | 102.203 | 2.54 | 86.014 | 2.343 | 91.7 | 2.698 | 84.4 | -7.87 | 890.067 | 32.56 | 2.072
2020-11-21 20:30:00 | 2.454 | 115.15 | 2.619 | 102.025 | 2.344 | 107.133 | 2.651 | 103.8 | -8.09 | 889.7 | 33.595 | 1.0182
2020-11-21 20:45:00 | 2.175 | 125.413 | 2.379 | 101.476 | 2.022 | 102.3 | 2.478 | 103.3 | -8.304 | 889.917 | 33.973 | 0.79583
2020-11-21 21:00:00 | 2.63 | 127.533 | 2.772 | 108.052 | 2.592 | 110.533 | 2.809 | 103.767 | -8.608 | 889.267 | 34.843 | 0.85623
2020-11-21 21:15:00 | 1.882 | 136.707 | 1.943 | 97.001 | 1.743 | 92.167 | 1.925 | 88.967 | -8.708 | 889.55 | 34.997 | 0.46258
2020-11-21 21:30:00 | 2.304 | 166.333 | 2.256 | 112.592 | 1.533 | 100.2 | 1.663 | 93.567 | -9.041 | 889.933 | 35.424 | 0.80081
2020-11-21 21:45:00 | 2.08 | 161.233 | 2.053 | 120.867 | 2.305 | 110.767 | 2.937 | 105.7 | -9.191 | 890.067 | 35.76 | 1.3806
2020-11-21 22:00:00 | 1.616 | 157 | 1.944 | 109.322 | 1.46 | 99.1 | 2.107 | 87.733 | -9.074 | 889.85 | 35.557 | 1.775
2020-11-21 22:15:00 | 1.294 | 160.433 | 1.357 | 102.579 | 1.247 | 97.5 | 1.881 | 81.4 | -9.058 | 889.5 | 35.867 | 0.77594
2020-11-21 22:30:00 | 1.576 | 174.567 | 1.374 | 129.465 | 1.741 | 106.6 | 1.801 | 90.1 | -9.358 | 889.433 | 36.859 | 0.23946
2020-11-21 22:45:00 | 1.323 | 164.5 | 1.163 | 104.538 | 1.023 | 91.867 | 2.039 | 75.6 | -8.924 | 889.767 | 36.528 | 0.11227
2020-11-21 23:00:00 | 0.482 | 169.4 | 0.67 | 88.542 | 2.178 | 86.6 | 2.873 | 76.033 | -9.108 | 889.533 | 36.843 | 0.1478
2020-11-21 23:15:00 | 0 | 154.407 | 0.11 | 73.397 | 1.894 | 81.333 | 2.479 | 70.733 | -8.804 | 889.55 | 37.525 | 0.1748
2020-11-21 23:30:00 | 0.18 | 129.44 | 0.877 | 83.581 | 1.828 | 85.967 | 2.19 | 81.067 | -8.891 | 889.233 | 37.552 | 0.33041
2020-11-21 23:45:00 | 0 | 123.187 | 0.733 | 78.258 | 1.737 | 78 | 2.273 | 81.8 | -9.349 | 889.55 | 37.787 | 0.33254