## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-22 00:00:00 | 1.16 | 212 | 0 | 76.24 | 0.944 | 78 | 1.866 | 81.9 | -10.349 | 889.783 | 38.848 | 0.29844
2020-11-22 00:15:00 | 1.422 | 214.707 | 0 | 76.26 | 0 | 77.9 | 1.286 | 82 | -10.354 | 889.617 | 39.819 | 0.29844
2020-11-22 00:30:00 | 2.22 | 226.38 | 0 | 76.239 | 0 | 78 | 1.123 | 82 | -10.778 | 889.933 | 39.072 | 0.29844
2020-11-22 00:45:00 | 1.333 | 240.333 | 0 | 76.204 | 0 | 78 | 0 | 82 | -10.333 | 889.75 | 39.461 | 0.29844
2020-11-22 01:00:00 | 1.601 | 249.64 | 0 | 58.281 | 0 | 78 | 0.749 | 82 | -10.647 | 889.617 | 39.301 | 0.29844
2020-11-22 01:15:00 | 2.905 | 235 | 0 | 23.06 | 0 | 78 | 0.813 | 82 | -11.145 | 890.067 | 39.867 | 0.30128
2020-11-22 01:30:00 | 2.027 | 240.713 | 0 | 17.053 | 0 | 78 | 1.364 | 81.9 | -11.176 | 889.85 | 40 | 0.29986
2020-11-22 01:45:00 | 2.758 | 234.567 | 0 | 17.06 | 0 | 78.067 | 0.252 | 82 | -11.378 | 889.983 | 40.101 | 0.29844
2020-11-22 02:00:00 | 1.736 | 227.267 | 0 | 17.061 | 0 | 78 | 2.345 | 82 | -11.495 | 889.9 | 40.469 | 0.28352
2020-11-22 02:15:00 | 1.823 | 228.767 | 0 | 78.735 | 1.29 | 92.167 | 2.549 | 83.967 | -11.278 | 889.608 | 40.56 | 0.088821
2020-11-22 02:30:00 | 2.178 | 227.767 | 0 | 124.261 | 0.104 | 102.967 | 2.132 | 91 | -11.478 | 889.542 | 40.779 | 0.23662
2020-11-22 02:45:00 | 1.917 | 232.34 | 0 | 124.225 | 0.097 | 92.967 | 2.006 | 87 | -11.534 | 889.842 | 41.152 | 0.31123
2020-11-22 03:00:00 | 1.431 | 231.6 | 0 | 124.2 | 0.998 | 93.033 | 2.19 | 89 | -11.328 | 889.483 | 42.133 | 0.30128
2020-11-22 03:15:00 | 2.426 | 224.02 | 0 | 124.203 | 0.237 | 93 | 1.911 | 89 | -11.636 | 890.025 | 41.749 | 0.29986
2020-11-22 03:30:00 | 1.909 | 221.433 | 0 | 124.251 | 1.153 | 102.667 | 2.446 | 121.133 | -11.478 | 889.758 | 41.877 | 0.32402
2020-11-22 03:45:00 | 2.099 | 222.653 | 0 | 124.276 | 1.162 | 126.1 | 3.074 | 117.233 | -11.653 | 889.642 | 42.219 | 0.29204
2020-11-22 04:00:00 | 1.264 | 233.2 | 0 | 138.528 | 0.863 | 119.767 | 2.496 | 104.8 | -11.511 | 890.45 | 42.389 | 1.0481
2020-11-22 04:15:00 | 0 | 235.453 | 0.49 | 89.263 | 1.853 | 94.533 | 2.87 | 93.933 | -11.774 | 889.458 | 42.827 | 1.4794
2020-11-22 04:30:00 | 1.318 | 199.373 | 0.323 | 112.731 | 1.174 | 106.1 | 2.77 | 95.7 | -11.724 | 890.283 | 43.296 | 1.6585
2020-11-22 04:45:00 | 0.027 | 171.167 | 1.611 | 82.319 | 2.863 | 84.833 | 3.691 | 80.567 | -11.361 | 889.683 | 44.021 | 3.4363
2020-11-22 05:00:00 | 1.02 | 99.953 | 2.943 | 77.122 | 3.78 | 84.867 | 3.923 | 86 | -11.87 | 889.55 | 44 | 9.0953
2020-11-22 05:15:00 | 2.714 | 130.37 | 4.067 | 104.536 | 4.101 | 108.733 | 4.544 | 105.9 | -11.916 | 890.017 | 44.981 | 8.7179
2020-11-22 05:30:00 | 2.091 | 158.633 | 2.961 | 119.069 | 3.05 | 118.3 | 3.241 | 109.767 | -12.92 | 889.633 | 45.589 | 2.4365
2020-11-22 05:45:00 | 2.368 | 187.16 | 1.517 | 144.824 | 2.087 | 132.267 | 2.755 | 127.233 | -13.27 | 890.117 | 45.909 | 0.33752
2020-11-22 06:00:00 | 2.326 | 183.9 | 2.271 | 132.163 | 2.811 | 119.433 | 3.497 | 110.133 | -12.453 | 890 | 45.675 | 0.49882
2020-11-22 06:15:00 | 1.753 | 205.2 | 1.214 | 135.698 | 1.901 | 113.467 | 2.176 | 99.833 | -12.97 | 889.867 | 45.909 | 0.13003
2020-11-22 06:30:00 | 1.147 | 219.5 | 0.1 | 109.722 | 1.813 | 90.233 | 2.913 | 82.533 | -13.02 | 889.792 | 46.133 | 1.1589
2020-11-22 06:45:00 | 0.08 | 218.4 | 0.593 | 83.307 | 2.309 | 86.733 | 2.939 | 83.567 | -12.953 | 889.75 | 46.315 | 2.1381
2020-11-22 07:00:00 | 0.133 | 132.633 | 2.41 | 97.767 | 2.598 | 98.967 | 3.323 | 98.567 | -13.484 | 889.858 | 48.139 | 3.717
2020-11-22 07:15:00 | 1.37 | 137.323 | 2.962 | 100.874 | 2.676 | 97.467 | 2.7 | 91.5 | -12.953 | 889.692 | 49.536 | 4.3892
2020-11-22 07:30:00 | 2.015 | 153.563 | 3.058 | 112.329 | 3.44 | 110.567 | 3.591 | 105.967 | -13.203 | 889.958 | 48.736 | 5.6398
2020-11-22 07:45:00 | 2.25 | 158.627 | 3.174 | 112.066 | 4.012 | 112.867 | 4.248 | 107.433 | -13.193 | 890.142 | 48.597 | 4.8752
2020-11-22 08:00:00 | 2.04 | 138.697 | 2.298 | 114.74 | 2.33 | 121.2 | 2.717 | 115.467 | -13.297 | 889.767 | 51.264 | 1.9064
2020-11-22 08:15:00 | 2.524 | 197.327 | 1.75 | 149.809 | 1.746 | 144.1 | 1.803 | 130.167 | -13.962 | 889.825 | 50.027 | 2.0521
2020-11-22 08:30:00 | 2.993 | 214.933 | 1.707 | 182.032 | 0.42 | 157.867 | 1.445 | 148 | -13.672 | 890.192 | 49.771 | 0.21601
2020-11-22 08:45:00 | 2.812 | 220.273 | 0.704 | 186.531 | 0 | 158.1 | 1.27 | 148 | -13.428 | 890.108 | 48.501 | 0.26504
2020-11-22 09:00:00 | 2.804 | 225.893 | 0.03 | 186.489 | 0 | 158.1 | 1.917 | 135.8 | -12.211 | 890 | 47.509 | 0.14851
2020-11-22 09:15:00 | 2.67 | 229.867 | 0 | 186.486 | 0.524 | 123.3 | 2.31 | 108.267 | -11.378 | 889.983 | 44.213 | 0.11298
2020-11-22 09:30:00 | 2.226 | 224.58 | 0.25 | 129.573 | 1.553 | 121.567 | 2.979 | 108.767 | -10.458 | 889.983 | 41.867 | 1.0801
2020-11-22 09:45:00 | 1.713 | 189.393 | 0.806 | 153.956 | 1.356 | 138.667 | 2.349 | 119.2 | -9.662 | 889.658 | 40.475 | 1.1994
2020-11-22 10:00:00 | 0.813 | 171.533 | 0.667 | 116.576 | 2.481 | 114 | 3.303 | 106.067 | -9.124 | 889.633 | 38.368 | 0.81502
2020-11-22 10:15:00 | 0 | 164.4 | 0.963 | 106.693 | 2.218 | 95.433 | 2.997 | 93.433 | -9.108 | 889.767 | 37.056 | 0.51871
2020-11-22 10:30:00 | 0 | 164.6 | 0 | 107.312 | 1.481 | 103.567 | 2.603 | 102.033 | -7.572 | 890.117 | 35.163 | 0.44695
2020-11-22 10:45:00 | 0.745 | 36.171 | 0.04 | 52.701 | 0.34 | 81.367 | 1.894 | 83.733 | -7.639 | 890 | 34.373 | 0.70986
2020-11-22 11:00:00 | 2.166 | 49.443 | 2.141 | 58.668 | 2.488 | 72.167 | 2.761 | 79.3 | -8.11 | 889.8 | 34.203 | 0.77949
2020-11-22 11:15:00 | 3.783 | 106.327 | 3.844 | 103.891 | 3.73 | 107.533 | 3.853 | 101.8 | -8.07 | 889.45 | 34.523 | 2.9631
2020-11-22 11:30:00 | 4.21 | 79.727 | 3.936 | 76.543 | 4.46 | 79.767 | 4.573 | 78.4 | -8.03 | 889.667 | 34.885 | 5.6973
2020-11-22 11:45:00 | 4.982 | 81.565 | 4.51 | 80.287 | 4.819 | 85.467 | 4.994 | 83.267 | -7.92 | 889.817 | 34.965 | 7.7118
2020-11-22 12:00:00 | 5.192 | 75.557 | 5.087 | 75.406 | 5.499 | 80.533 | 5.471 | 79.1 | -8.05 | 889.8 | 35.707 | 13.6813
2020-11-22 12:15:00 | 5.174 | 93.017 | 4.718 | 84.286 | 4.867 | 87.733 | 5.264 | 80.233 | -7.739 | 889.833 | 35.952 | 13.046
2020-11-22 12:30:00 | 5.462 | 83.233 | 5.204 | 79.611 | 5.445 | 84 | 5.875 | 80.6 | -7.572 | 890.033 | 34.704 | 14.3492
2020-11-22 12:45:00 | 5.559 | 98.967 | 5.437 | 97.31 | 5.385 | 99.1 | 5.114 | 96.133 | -6.428 | 889.467 | 32.603 | 17.3933
2020-11-22 13:00:00 | 6.276 | 85.3 | 5.687 | 81.197 | 5.899 | 88.833 | 6.009 | 81.433 | -6.578 | 889.117 | 31.488 | 20.8836
2020-11-22 13:15:00 | 6.132 | 88.587 | 5.521 | 86.57 | 5.882 | 87.9 | 6.352 | 83.533 | -6.316 | 889.45 | 30.741 | 25.5598
2020-11-22 13:30:00 | 6.648 | 82.803 | 6.328 | 76.242 | 6.68 | 79.433 | 6.725 | 78.467 | -6.067 | 889.45 | 30.624 | 30.0705
2020-11-22 13:45:00 | 6.984 | 86.523 | 6.365 | 85.791 | 6.388 | 92.267 | 6.568 | 88.267 | -6.136 | 889.733 | 29.867 | 37.1221
2020-11-22 14:00:00 | 7.199 | 85.542 | 6.864 | 85.704 | 6.997 | 90.4 | 7.097 | 87.233 | -5.879 | 889.867 | 29.221 | 39.4428
2020-11-22 14:15:00 | 7.245 | 91.01 | 6.881 | 85.325 | 7.037 | 88.933 | 7.353 | 82.6 | -6.057 | 889.733 | 28.533 | 42.1636
2020-11-22 14:30:00 | 7.348 | 88.127 | 6.984 | 82.77 | 7.008 | 87.2 | 7.08 | 85.167 | -5.76 | 889.583 | 27.691 | 46.9415
2020-11-22 14:45:00 | 7.411 | 90.867 | 6.974 | 88.15 | 6.518 | 93.9 | 6.83 | 88.267 | -5.452 | 890.183 | 26.693 | 53.3039
2020-11-22 15:00:00 | 6.99 | 88.2 | 7.032 | 84.207 | 7.306 | 88.133 | 7.145 | 85.8 | -5.052 | 889.8 | 25.456 | 54.3299
2020-11-22 15:15:00 | 7.072 | 92.732 | 6.739 | 89.781 | 6.635 | 91.733 | 7.028 | 88.133 | -4.835 | 889.483 | 24.784 | 53.9881
2020-11-22 15:30:00 | 7.872 | 91.24 | 6.966 | 86.62 | 6.737 | 89.033 | 7.677 | 83.867 | -4.527 | 889.733 | 24.277 | 55.5116
2020-11-22 15:45:00 | 6.925 | 90.847 | 6.16 | 87.016 | 6.012 | 90.7 | 6.14 | 90.433 | -4.533 | 889.9 | 23.941 | 53.0623
2020-11-22 16:00:00 | 7.775 | 84.893 | 7.726 | 81.738 | 7.582 | 89.7 | 7.519 | 87.133 | -4.364 | 890.117 | 23.376 | 54.2582
2020-11-22 16:15:00 | 7.946 | 89.07 | 7.755 | 84.832 | 7.554 | 89.167 | 8.044 | 81.733 | -4.557 | 889.417 | 23.701 | 51.3981
2020-11-22 16:30:00 | 7.459 | 90.683 | 7.006 | 86.902 | 6.452 | 92.433 | 6.563 | 86.467 | -4.322 | 889.967 | 23.824 | 48.7633
2020-11-22 16:45:00 | 6.219 | 94.097 | 5.76 | 87.372 | 6.069 | 90.067 | 6.336 | 87.3 | -4.766 | 890.017 | 24.117 | 42.9118
2020-11-22 17:00:00 | 7.113 | 82.433 | 6.983 | 78.838 | 7.454 | 82.067 | 7.18 | 79.767 | -5.152 | 889.483 | 24.757 | 41.1717
2020-11-22 17:15:00 | 6.832 | 84.467 | 7.016 | 79.773 | 7.452 | 82.033 | 7.309 | 79.2 | -5.352 | 890 | 25.627 | 43.7531
2020-11-22 17:30:00 | 6.602 | 85.85 | 6.606 | 80.023 | 6.688 | 83.667 | 6.812 | 80.367 | -5.634 | 889.817 | 26.443 | 38.8893
2020-11-22 17:45:00 | 6.04 | 87.323 | 5.714 | 83.071 | 5.581 | 87.567 | 5.866 | 83.733 | -6.286 | 890.2 | 27.259 | 30.9587
2020-11-22 18:00:00 | 5.363 | 87.067 | 5.09 | 85.92 | 4.982 | 90.533 | 4.856 | 85.4 | -6.662 | 889.833 | 27.915 | 23.9795
2020-11-22 18:15:00 | 4.635 | 89.37 | 4.208 | 87.575 | 3.832 | 93.533 | 3.707 | 89.233 | -7.111 | 889.55 | 28.384 | 18.7519
2020-11-22 18:30:00 | 4.066 | 88 | 3.791 | 86.941 | 3.179 | 94.567 | 3.31 | 88.267 | -7.489 | 889.7 | 29.008 | 16.1249
2020-11-22 18:45:00 | 4.467 | 90.04 | 4.223 | 86.77 | 3.617 | 93.6 | 3.688 | 87.867 | -7.883 | 889.583 | 29.536 | 16.9406
2020-11-22 19:00:00 | 4.185 | 86.157 | 4.032 | 83.154 | 3.45 | 91.433 | 3.591 | 82.9 | -8.05 | 890.067 | 30.197 | 14.5254
2020-11-22 19:15:00 | 3.785 | 86.537 | 3.818 | 83.91 | 3.433 | 90.6 | 3.248 | 84.267 | -8.571 | 889.9 | 30.821 | 11.2952
2020-11-22 19:30:00 | 3.666 | 89.4 | 3.394 | 88.918 | 2.692 | 95.7 | 2.923 | 86.467 | -8.574 | 889.483 | 31.296 | 7.9875
2020-11-22 19:45:00 | 3.841 | 88.977 | 3.708 | 86.586 | 3.064 | 96.867 | 3.078 | 89.9 | -8.414 | 889.683 | 31.419 | 6.4527
2020-11-22 20:00:00 | 3.34 | 116.893 | 3.445 | 105.888 | 3.358 | 110.367 | 3.885 | 106.333 | -9.112 | 889.983 | 32.085 | 5.4628
2020-11-22 20:15:00 | 2.897 | 109.3 | 2.331 | 102.046 | 2.09 | 105.533 | 2.634 | 94.133 | -8.758 | 889.517 | 32.107 | 4.7963
2020-11-22 20:30:00 | 1.951 | 109 | 1.661 | 91.111 | 1.4 | 93.2 | 2.461 | 87.2 | -8.724 | 889.967 | 32.736 | 6.6829
2020-11-22 20:45:00 | 2.666 | 110 | 3.138 | 100.15 | 3.27 | 104.267 | 3.909 | 99.467 | -8.624 | 890.283 | 33.445 | 6.5266
2020-11-22 21:00:00 | 2.682 | 98.603 | 2.825 | 98.351 | 2.366 | 100.033 | 3.129 | 98.233 | -8.521 | 889.767 | 33.109 | 8.0635
2020-11-22 21:15:00 | 2.817 | 91.933 | 2.99 | 92.506 | 2.65 | 100.533 | 3.917 | 99.667 | -8.641 | 889.75 | 33.259 | 9.2452
2020-11-22 21:30:00 | 2.737 | 95.567 | 3.127 | 88.293 | 2.836 | 97.433 | 3.464 | 99.067 | -8.974 | 889.733 | 33.301 | 8.9091
2020-11-22 21:45:00 | 1.694 | 131.843 | 3.189 | 102.212 | 3.602 | 101.133 | 4.493 | 99.833 | -10.778 | 889.467 | 34.699 | 11.0763
2020-11-22 22:00:00 | 4.255 | 111.767 | 4.943 | 104.25 | 5.379 | 107.667 | 5.863 | 104.7 | -9.124 | 889.9 | 34.224 | 20.2043
2020-11-22 22:15:00 | 4.136 | 129.167 | 5.057 | 115.174 | 5.996 | 114.7 | 6.459 | 109.7 | -8.824 | 889.95 | 32.949 | 22.3885
2020-11-22 22:30:00 | 3.73 | 127.827 | 4.667 | 113.642 | 5.541 | 114.033 | 5.813 | 105.567 | -9.287 | 889.717 | 33.429 | 17.3066
2020-11-22 22:45:00 | 3.722 | 111.333 | 3.306 | 94.217 | 2.923 | 95.567 | 3.397 | 90 | -8.791 | 889.85 | 32.827 | 14.3137
2020-11-22 23:00:00 | 3.341 | 98.633 | 3.825 | 89.656 | 3.194 | 96.3 | 3.535 | 88.8 | -9.074 | 889.7 | 33.029 | 12.9153
2020-11-22 23:15:00 | 2.927 | 85.32 | 3.667 | 76.943 | 4.309 | 84.7 | 5.016 | 82.133 | -9.641 | 890 | 34.315 | 15.1471
2020-11-22 23:30:00 | 1.477 | 129.402 | 2.013 | 57.747 | 4.008 | 71.467 | 4.572 | 75.267 | -10.797 | 890.15 | 35.451 | 11.568
2020-11-22 23:45:00 | 3.537 | 70.687 | 4.017 | 71.488 | 4.636 | 78 | 5.424 | 77 | -10.228 | 890.167 | 37.973 | 10.8347