## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-23 00:00:00 | 4.024 | 78.08 | 4.466 | 76.642 | 4.847 | 82.367 | 5.1 | 80.433 | -9.87 | 889.433 | 36.085 | 14.649
2020-11-23 00:15:00 | 4.506 | 72.313 | 4.507 | 69.917 | 5.311 | 76.1 | 5.934 | 74.633 | -10.008 | 889.15 | 36.235 | 18.0825
2020-11-23 00:30:00 | 4.806 | 71.42 | 5.355 | 70.009 | 6.242 | 76.067 | 6.878 | 75.5 | -9.849 | 890.033 | 36.341 | 23.9575
2020-11-23 00:45:00 | 5.495 | 74.2 | 5.827 | 73.038 | 6.715 | 79.067 | 7.278 | 75.767 | -10.149 | 889.7 | 36.533 | 32.8488
2020-11-23 01:00:00 | 4.312 | 88.267 | 4.397 | 86.802 | 4.122 | 93.233 | 3.808 | 92.667 | -10.266 | 889.283 | 36.816 | 23.4736
2020-11-23 01:15:00 | 2.93 | 130.703 | 3.447 | 103.474 | 3.391 | 100.767 | 3.904 | 97.6 | -11.307 | 889.517 | 38.075 | 11.0102
2020-11-23 01:30:00 | 2.236 | 167.2 | 3.077 | 115.832 | 3.381 | 108.033 | 3.457 | 97.833 | -12.403 | 889.383 | 40.256 | 7.2123
2020-11-23 01:45:00 | 2.131 | 189.547 | 2.116 | 119.088 | 3.344 | 112.033 | 4.399 | 106.633 | -12.199 | 889.742 | 41.211 | 4.7914
2020-11-23 02:00:00 | 1.616 | 199.753 | 2.311 | 105.733 | 2.507 | 99.133 | 2.888 | 88.533 | -13.182 | 890.1 | 41.531 | 2.9297
2020-11-23 02:15:00 | 1.499 | 213.76 | 0.799 | 121.936 | 3.034 | 95.733 | 3.63 | 87.167 | -14.366 | 889.642 | 41.675 | 4.2911
2020-11-23 02:30:00 | 2.139 | 221.833 | 0.137 | 117.715 | 2.138 | 90.167 | 3.49 | 80.1 | -14.237 | 890.183 | 42.165 | 3.4541
2020-11-23 02:45:00 | 1.197 | 230.32 | 0 | 72.84 | 1.608 | 67.733 | 4.137 | 69.967 | -14.462 | 889.883 | 43.157 | 3.5955
2020-11-23 03:00:00 | 1.619 | 242 | 0 | 0 | 0.087 | 82.633 | 2.179 | 76.567 | -14.166 | 889.575 | 44.512 | 1.792
2020-11-23 03:15:00 | 1.487 | 253.5 | 0 | 0 | 0 | 78 | 2.24 | 72.033 | -13.451 | 889.85 | 45.387 | 0.37376
2020-11-23 03:30:00 | 1.883 | 267.267 | 0 | 0 | 0.067 | 64.692 | 1.941 | 74.467 | -13.484 | 890.042 | 44.587 | 1.1056
2020-11-23 03:45:00 | 4.093 | 244.54 | 2.137 | 250.398 | 0.09 | 268 | 0.161 | 78.875 | -13.24 | 889.992 | 43.776 | 0.36026
2020-11-23 04:00:00 | 4.309 | 249.267 | 2.372 | 259.201 | 0.57 | 254.133 | 0.349 | 124.15 | -14.083 | 889.875 | 42.981 | 0.31123
2020-11-23 04:15:00 | 4.233 | 241.353 | 0.559 | 244.086 | 0 | 212 | 0.517 | 155 | -13.409 | 889.675 | 42.379 | 0.3027
2020-11-23 04:30:00 | 4.606 | 252.32 | 3.086 | 259.634 | 1.419 | 260.1 | 0.175 | 155.483 | -15.541 | 889.875 | 45.813 | 0.29986
2020-11-23 04:45:00 | 1.974 | 307.76 | 0.177 | 212.36 | 0.573 | 65.788 | 2.507 | 77.5 | -12.09 | 890.058 | 44.859 | 0.30128
2020-11-23 05:00:00 | 2.028 | 312.467 | 2.433 | 29.277 | 2.547 | 51.538 | 3.591 | 65.767 | -12.97 | 889.633 | 40.8 | 0.5045
2020-11-23 05:15:00 | 2.633 | 260.233 | 0.073 | 229.04 | 0.911 | 46.271 | 2.547 | 72.4 | -13.933 | 889.967 | 43.339 | 2.9659
2020-11-23 05:30:00 | 0.166 | 244.72 | 0.12 | 77.858 | 2.287 | 84.533 | 3.065 | 84.3 | -14.341 | 890.075 | 45.536 | 3.1308
2020-11-23 05:45:00 | 2.338 | 225.267 | 0.027 | 113.431 | 0.757 | 105.3 | 2.533 | 86.4 | -14.683 | 890.292 | 46.496 | 3.1158
2020-11-23 06:00:00 | 4.502 | 227.173 | 1.533 | 199.479 | 0.763 | 159 | 2.217 | 109.7 | -16.617 | 890.267 | 46.635 | 1.3863
2020-11-23 06:15:00 | 3.583 | 256.12 | 1.897 | 247.886 | 0.68 | 228.517 | 0.299 | 152.983 | -15.474 | 890.125 | 48.624 | 0.34036
2020-11-23 06:30:00 | 2.925 | 262.773 | 0.586 | 262.27 | 0 | 213.067 | 0.598 | 113.967 | -13.916 | 890.158 | 46.72 | 0.31123
2020-11-23 06:45:00 | 4.103 | 253.5 | 1.354 | 299.774 | 0 | 258.167 | 0 | 73.408 | -15.541 | 890.067 | 46.672 | 0.29844
2020-11-23 07:00:00 | 2.385 | 284.64 | 1.092 | 337.936 | 0.306 | 137.779 | 1.727 | 70.883 | -13.503 | 889.842 | 45.509 | 0.3027
2020-11-23 07:15:00 | 1.71 | 292.333 | 1.261 | 11.193 | 2.222 | 44.29 | 3.124 | 57.633 | -13.916 | 889.833 | 46.123 | 0.20962
2020-11-23 07:30:00 | 1.464 | 292.707 | 3.016 | 2.941 | 2.97 | 16.422 | 3.077 | 28.133 | -14.058 | 889.917 | 45.077 | 0.24515
2020-11-23 07:45:00 | 2.19 | 310.32 | 2.276 | 24.781 | 2.705 | 19.629 | 3.307 | 30.9 | -14.537 | 890.05 | 47.509 | 0.24657
2020-11-23 08:00:00 | 2.778 | 343.92 | 2.323 | 4.145 | 2.398 | 22.85 | 2.452 | 32.367 | -13.728 | 889.642 | 48.768 | 0.27641
2020-11-23 08:15:00 | 2.122 | 287.293 | 2.307 | 335.601 | 2.253 | 26.204 | 2.944 | 17.838 | -14.766 | 889.642 | 49.355 | 0.3226
2020-11-23 08:30:00 | 3.108 | 291.133 | 3.065 | 331.854 | 2.739 | 0.701 | 2.451 | 15.933 | -14.578 | 890.058 | 50.843 | 0.34107
2020-11-23 08:45:00 | 4.128 | 263.073 | 3.318 | 312.735 | 2.41 | 353.567 | 2.088 | 13.022 | -15.341 | 889.908 | 51.291 | 0.3297
2020-11-23 09:00:00 | 3.738 | 269.553 | 3.387 | 306.009 | 3.471 | 351.933 | 3.164 | 13.184 | -15.508 | 890.075 | 52.64 | 0.30554
2020-11-23 09:15:00 | 2.925 | 275.68 | 2.506 | 333.602 | 1.718 | 6.776 | 2.261 | 30.733 | -14.637 | 889.525 | 52.709 | 0.32402
2020-11-23 09:30:00 | 2.343 | 266.987 | 1.8 | 308.278 | 1.927 | 354 | 1.916 | 18.244 | -13.409 | 889.667 | 49.205 | 0.29844
2020-11-23 09:45:00 | 3.695 | 243.2 | 2.433 | 286.599 | 1.945 | 324.267 | 2.1 | 237.94 | -12.736 | 889.617 | 45.115 | 0.3027
2020-11-23 10:00:00 | 3.087 | 250.6 | 2.921 | 270.206 | 2.277 | 285.7 | 1.978 | 302.333 | -12.211 | 889.9 | 44.576 | 0.30981
2020-11-23 10:15:00 | 2.974 | 258.707 | 2.943 | 262.771 | 2.642 | 275.233 | 2.526 | 274.3 | -10.528 | 889.992 | 42.432 | 0.31123
2020-11-23 10:30:00 | 2.452 | 279.613 | 2.325 | 279.054 | 2.25 | 290 | 2.356 | 283.267 | -10.928 | 889.858 | 40.984 | 0.25509
2020-11-23 10:45:00 | 2.023 | 297.08 | 1.734 | 295.354 | 1.643 | 300.067 | 1.902 | 299.733 | -11.055 | 889.942 | 41.296 | 0.32828
2020-11-23 11:00:00 | 2.343 | 307.387 | 1.341 | 303.876 | 1.348 | 301.233 | 1.443 | 290.633 | -10.76 | 889.75 | 40.469 | 0.3027
2020-11-23 11:15:00 | 1.81 | 319.02 | 1.562 | 336.887 | 1.05 | 337.7 | 1.684 | 334.1 | -9.883 | 889.95 | 39.192 | 0.30412
2020-11-23 11:30:00 | 1.571 | 208.62 | 0.877 | 190.064 | 0.924 | 91.833 | 1.65 | 39.602 | -9.324 | 889.683 | 37.592 | 0.29844
2020-11-23 11:45:00 | 1.699 | 20.615 | 1.454 | 27.972 | 1.374 | 32.633 | 1.962 | 32.933 | -8.654 | 890.133 | 35.531 | 0.30412
2020-11-23 12:00:00 | 2.143 | 45.539 | 1.454 | 39.36 | 1.507 | 50.733 | 1.972 | 47.1 | -8.558 | 889.733 | 33.675 | 0.29844
2020-11-23 12:15:00 | 0.856 | 103.231 | 0.329 | 88.242 | 0.203 | 93.933 | 1.156 | 76.633 | -7.656 | 889.65 | 31.771 | 0.29986
2020-11-23 12:30:00 | 1.51 | 78.687 | 1.087 | 93.651 | 1.037 | 101.6 | 1.659 | 109.1 | -7.071 | 889.85 | 29.781 | 0.29702
2020-11-23 12:45:00 | 1.578 | 85.298 | 1.353 | 89.764 | 1.064 | 99.8 | 1.583 | 94.233 | -6.641 | 889.867 | 29.035 | 0.29702
2020-11-23 13:00:00 | 0.472 | 137.487 | 0 | 131.753 | 0.24 | 126.867 | 0.921 | 143.267 | -6.123 | 889.433 | 28.043 | 0.3027
2020-11-23 13:15:00 | 2.033 | 65.264 | 1.423 | 52.919 | 1.441 | 52.933 | 2.16 | 31.767 | -4.659 | 889.467 | 26.176 | 0.31549
2020-11-23 13:30:00 | 1.69 | 145.558 | 1.164 | 83.334 | 1.322 | 84.951 | 1.408 | 98.667 | -5.918 | 889.467 | 27.795 | 0.22738
2020-11-23 13:45:00 | 1.435 | 228.302 | 1.147 | 138.758 | 1.347 | 141.623 | 2.099 | 21.867 | -5.302 | 889.7 | 30.181 | 0.24586
2020-11-23 14:00:00 | 2.873 | 145.269 | 2.844 | 121.565 | 2.775 | 67.068 | 3.3 | 81.735 | -5.502 | 889.55 | 31.744 | 3.8008
2020-11-23 14:15:00 | 5.107 | 77.023 | 4.928 | 67.934 | 5.259 | 67.267 | 5.6 | 61.567 | -5.035 | 889.483 | 33.029 | 10.0382
2020-11-23 14:30:00 | 5.1 | 62.778 | 4.637 | 57.698 | 4.831 | 58.133 | 5.127 | 56.2 | -4.835 | 890.033 | 32.603 | 15.1351
2020-11-23 14:45:00 | 6.507 | 77.028 | 6.14 | 72.763 | 6.7 | 75.233 | 6.772 | 69.5 | -4.599 | 889.85 | 30.96 | 21.2609
2020-11-23 15:00:00 | 5.798 | 76.843 | 5.818 | 75.487 | 6.293 | 79.433 | 6.515 | 76.133 | -4 | 889.383 | 28.912 | 19.8383
2020-11-23 15:15:00 | 5.99 | 84.3 | 5.779 | 80.454 | 6.051 | 87.7 | 6.365 | 82.567 | -3.656 | 889.517 | 27.333 | 26.0664
2020-11-23 15:30:00 | 7.162 | 78.833 | 6.965 | 73.95 | 7.19 | 79.867 | 7.54 | 75.567 | -3.622 | 889.95 | 27.904 | 33.0819
2020-11-23 15:45:00 | 7.006 | 80.433 | 6.763 | 79.836 | 6.586 | 83.367 | 6.977 | 79.1 | -3.538 | 890.017 | 27.749 | 34.3772
2020-11-23 16:00:00 | 6.634 | 83.267 | 6.218 | 79.598 | 6.457 | 87.2 | 6.557 | 80.1 | -3.271 | 890 | 27.291 | 38.5589
2020-11-23 16:15:00 | 6.367 | 85.167 | 5.882 | 82.662 | 5.69 | 88.833 | 5.693 | 84.8 | -3.656 | 889.8 | 27.264 | 33.1977
2020-11-23 16:30:00 | 6.807 | 89.233 | 6.117 | 87.371 | 5.785 | 90.5 | 6.154 | 87.733 | -3.472 | 889.733 | 26.853 | 34.7389
2020-11-23 16:45:00 | 6.673 | 83.633 | 6.262 | 80.48 | 6.37 | 82.167 | 6.898 | 77.767 | -3.655 | 890.033 | 27.493 | 35.2413
2020-11-23 17:00:00 | 5.986 | 81.097 | 5.893 | 75.908 | 6.046 | 78.8 | 6.149 | 73.467 | -4.102 | 889.517 | 27.285 | 29.3464
2020-11-23 17:15:00 | 4.878 | 74.893 | 4.946 | 70.116 | 5.229 | 75.3 | 5.698 | 71.533 | -4.297 | 889.85 | 28.229 | 19.2798
2020-11-23 17:30:00 | 5.123 | 83.323 | 5.005 | 76.473 | 5.402 | 81.333 | 5.691 | 75.267 | -4.345 | 889.517 | 28.613 | 15.8272
2020-11-23 17:45:00 | 4.383 | 83.333 | 4.206 | 77.732 | 4.502 | 80.167 | 4.692 | 75.767 | -4.935 | 890 | 30.224 | 14.0209
2020-11-23 18:00:00 | 4.174 | 76.767 | 4.279 | 73.642 | 4.719 | 78.033 | 5.004 | 73.2 | -5.402 | 889.417 | 32.16 | 11.7592
2020-11-23 18:15:00 | 4.459 | 78.813 | 4.511 | 75.725 | 4.948 | 79.533 | 5.386 | 75.533 | -6.076 | 890.017 | 33.664 | 8.8259
2020-11-23 18:30:00 | 4.559 | 84.56 | 4.532 | 79.52 | 4.412 | 85.167 | 4.761 | 80.9 | -6.256 | 889.75 | 35.301 | 8.2603
2020-11-23 18:45:00 | 4.212 | 85.527 | 4.276 | 80.412 | 4.169 | 85.967 | 4.166 | 81.533 | -6.737 | 890.017 | 36.501 | 7.4453
2020-11-23 19:00:00 | 3.297 | 78.897 | 3.334 | 77.201 | 3.454 | 82.6 | 3.742 | 79.667 | -7.071 | 889.45 | 38.427 | 5.0095
2020-11-23 19:15:00 | 2.558 | 110.033 | 2.334 | 94.558 | 2.172 | 99.667 | 2.58 | 92.7 | -7.706 | 889.667 | 39.525 | 2.2653
2020-11-23 19:30:00 | 1.902 | 107.663 | 1.236 | 95.603 | 1.11 | 102.4 | 1.922 | 93.2 | -7.809 | 889.675 | 40.955 | 1.1902
2020-11-23 19:45:00 | 1.076 | 161.153 | 1.696 | 103.755 | 1.422 | 102.633 | 2.395 | 108.467 | -8.581 | 889.767 | 41.131 | 0.56632
2020-11-23 20:00:00 | 0.78 | 175.1 | 1.166 | 110.88 | 0.959 | 94.133 | 1.734 | 88.1 | -8.691 | 890.083 | 43.157 | 0.58266
2020-11-23 20:15:00 | 1.557 | 175.833 | 1.458 | 135.848 | 2.094 | 114.467 | 2.588 | 111.067 | -8.691 | 889.45 | 44.672 | 0.15348
2020-11-23 20:30:00 | 1.584 | 184.3 | 0.366 | 142.521 | 1.263 | 107.667 | 2.068 | 107.233 | -8.874 | 889.567 | 44.416 | 0.15988
2020-11-23 20:45:00 | 1.017 | 203.5 | 0 | 121.212 | 1.033 | 125.567 | 2.291 | 111.333 | -9.158 | 890.225 | 44.021 | 0.23946
2020-11-23 21:00:00 | 1.558 | 224.88 | 0 | 121.288 | 0 | 98.667 | 1.962 | 108.833 | -9.787 | 890.117 | 45.035 | 0.19114
2020-11-23 21:15:00 | 1.953 | 242.987 | 0 | 121.25 | 0.033 | 137.667 | 1.528 | 124.6 | -9.604 | 890.083 | 44.853 | 0.28778
2020-11-23 21:30:00 | 2.673 | 274.12 | 0.453 | 4.949 | 0.027 | 65.967 | 1.7 | 78.533 | -10.191 | 889.992 | 43.531 | 0.19683
2020-11-23 21:45:00 | 2.949 | 246.927 | 0 | 356.942 | 0 | 56 | 1.75 | 96 | -10.947 | 889.975 | 44.779 | 0.30057
2020-11-23 22:00:00 | 3.244 | 247.34 | 0 | 357.012 | 0 | 75.1 | 1.966 | 96.1 | -10.647 | 889.633 | 44.821 | 0.29844
2020-11-23 22:15:00 | 3.155 | 257.707 | 1.249 | 292.756 | 0 | 75.092 | 0.998 | 96 | -10.872 | 890.058 | 46.896 | 0.29986
2020-11-23 22:30:00 | 2.262 | 260.96 | 0 | 292.835 | 0 | 75.342 | 1.77 | 95.8 | -10.591 | 889.85 | 48.213 | 0.29844
2020-11-23 22:45:00 | 2.701 | 258.607 | 0.918 | 352.763 | 1.395 | 34.592 | 1.882 | 60.033 | -10.385 | 890.2 | 45.621 | 0.33965
2020-11-23 23:00:00 | 3.769 | 241.367 | 1.005 | 301.57 | 1.034 | 34.1 | 2.085 | 55 | -11.545 | 889.508 | 46.8 | 0.31123
2020-11-23 23:15:00 | 4.806 | 246.387 | 2.659 | 261.939 | 1.674 | 294.933 | 1.159 | 352.167 | -11.67 | 889.625 | 47.547 | 0.29844
2020-11-23 23:30:00 | 4.681 | 251.3 | 2.434 | 277.942 | 0.954 | 277.867 | 0.833 | 351.933 | -12.703 | 890.075 | 49.152 | 0.29844
2020-11-23 23:45:00 | 4.772 | 246.353 | 2.614 | 284.086 | 1.272 | 277.933 | 1.174 | 352.467 | -12.186 | 890.3 | 49.349 | 0.30128