## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-24 00:00:00 | 5.218 | 245.98 | 3.255 | 284.086 | 2.046 | 308.067 | 1.675 | 352.967 | -13.372 | 889.708 | 50.027 | 0.29844
2020-11-24 00:15:00 | 5.523 | 242.613 | 3.84 | 277.378 | 2.328 | 308 | 1.662 | 352.967 | -13.432 | 889.742 | 50.667 | 0.29844
2020-11-24 00:30:00 | 4.369 | 260.86 | 3.505 | 299.126 | 2.486 | 319.6 | 2.056 | 352.2 | -12.586 | 889.883 | 51.616 | 0.29844
2020-11-24 00:45:00 | 5.341 | 249.5 | 4.435 | 284.368 | 3.693 | 313.533 | 2.999 | 333.267 | -13.053 | 889.792 | 51.147 | 0.25225
2020-11-24 01:00:00 | 5.872 | 245.1 | 5.394 | 275.697 | 4.235 | 293.667 | 3.528 | 305.467 | -13.783 | 889.875 | 52.485 | 0.47537
2020-11-24 01:15:00 | 5.168 | 249.367 | 5.114 | 282.766 | 4.23 | 296 | 3.973 | 297.867 | -13.02 | 890.042 | 53.712 | 2.3548
2020-11-24 01:30:00 | 5.13 | 246.727 | 4.753 | 285.217 | 3.837 | 305.267 | 3.801 | 302.267 | -13.209 | 890.083 | 53.157 | 2.9602
2020-11-24 01:45:00 | 5.468 | 232 | 5.099 | 263.68 | 3.994 | 290.533 | 3.805 | 302.367 | -14.083 | 889.817 | 53.109 | 2.4834
2020-11-24 02:00:00 | 5.576 | 245.767 | 5.491 | 278.82 | 4.735 | 292.067 | 4.624 | 298.133 | -13.999 | 889.933 | 55.653 | 3.3361
2020-11-24 02:15:00 | 5.818 | 236.68 | 5.246 | 266.202 | 4.467 | 289.867 | 4.564 | 292.333 | -14.766 | 890.45 | 55.376 | 4.9413
2020-11-24 02:30:00 | 6.196 | 228.1 | 4.772 | 258.492 | 3.965 | 284 | 4.148 | 290.867 | -14.683 | 890.417 | 55.947 | 4.0126
2020-11-24 02:45:00 | 5.826 | 229.6 | 4.865 | 259.996 | 4.109 | 282 | 4.169 | 291 | -14.683 | 889.692 | 56.651 | 2.5069
2020-11-24 03:00:00 | 6.094 | 228.433 | 5.939 | 251.603 | 4.519 | 271.333 | 4.28 | 278.067 | -15.241 | 889.708 | 56.843 | 3.3652
2020-11-24 03:15:00 | 6.209 | 229.833 | 5.708 | 252.346 | 4.516 | 272 | 4.346 | 278.067 | -14.891 | 889.908 | 57.083 | 4.4766
2020-11-24 03:30:00 | 6.043 | 224.2 | 6.679 | 239.817 | 5.687 | 248.5 | 4.507 | 258.667 | -15.291 | 889.817 | 57.056 | 8.0791
2020-11-24 03:45:00 | 5.744 | 223.913 | 6.267 | 236.996 | 5.749 | 246.233 | 4.857 | 245.967 | -14.87 | 889.617 | 56.811 | 8.4266
2020-11-24 04:00:00 | 5.83 | 217.267 | 5.936 | 228.523 | 5.308 | 238.067 | 4.642 | 239.667 | -15.074 | 889.925 | 56.8 | 6.3113
2020-11-24 04:15:00 | 6.517 | 220.367 | 7.523 | 228.429 | 6.746 | 238.167 | 5.943 | 237.533 | -15.091 | 889.867 | 57.813 | 9.8207
2020-11-24 04:30:00 | 6.366 | 219.54 | 7.324 | 230.396 | 6.795 | 240.5 | 5.801 | 240.333 | -14.878 | 889.775 | 58.56 | 12.5657
2020-11-24 04:45:00 | 6.399 | 219.88 | 7.078 | 227.125 | 6.588 | 236.967 | 5.798 | 237.533 | -14.766 | 889.767 | 59.445 | 12.1095
2020-11-24 05:00:00 | 5.896 | 219.56 | 6.429 | 228.248 | 6.088 | 239.667 | 5.296 | 239.5 | -14.745 | 889.742 | 60.171 | 9.5458
2020-11-24 05:15:00 | 5.822 | 218.68 | 6.388 | 228.079 | 5.833 | 239.1 | 5.211 | 238.433 | -14.87 | 890.225 | 61.451 | 8.0592
2020-11-24 05:30:00 | 6.046 | 219.04 | 6.59 | 229.199 | 6.115 | 239.4 | 4.986 | 239.167 | -14.724 | 889.733 | 61.451 | 6.8811
2020-11-24 05:45:00 | 5.849 | 219.7 | 6.577 | 231.804 | 5.724 | 243 | 4.355 | 241.033 | -14.149 | 890.075 | 61.376 | 7.4077
2020-11-24 06:00:00 | 5.313 | 219.367 | 5.775 | 233.933 | 4.809 | 244.367 | 3.515 | 244.533 | -14.049 | 890.183 | 61.184 | 6.3816
2020-11-24 06:15:00 | 5.284 | 214.7 | 5.2 | 229.828 | 4.241 | 240.8 | 3.1 | 240.1 | -14.083 | 889.667 | 61.077 | 4.1945
2020-11-24 06:30:00 | 5.479 | 218.067 | 4.733 | 227.973 | 3.631 | 239.033 | 2.934 | 238.1 | -14.016 | 889.933 | 61.376 | 1.3273
2020-11-24 06:45:00 | 5.223 | 218.433 | 5.564 | 227.92 | 4.402 | 236.367 | 3.494 | 238 | -13.983 | 890.075 | 61.365 | 1.3515
2020-11-24 07:00:00 | 4.844 | 213.8 | 4.664 | 226.448 | 3.576 | 234.2 | 2.614 | 238 | -14.183 | 890.083 | 62.155 | 1.8304
2020-11-24 07:15:00 | 4.493 | 218.033 | 4.136 | 228.083 | 2.894 | 242.167 | 2.272 | 245.967 | -14.083 | 889.642 | 62.411 | 0.43984
2020-11-24 07:30:00 | 4.821 | 227.213 | 3.518 | 238.227 | 2.581 | 254.5 | 2.089 | 264.1 | -13.653 | 889.542 | 61.856 | 0.29915
2020-11-24 07:45:00 | 4.578 | 225.993 | 3.788 | 239.279 | 3.119 | 253.6 | 2.633 | 257.367 | -13.259 | 890.008 | 60.395 | 0.1414
2020-11-24 08:00:00 | 5.298 | 224.433 | 5.329 | 234.594 | 4.586 | 243.933 | 3.965 | 245.233 | -13.053 | 890.258 | 59.371 | 0.17125
2020-11-24 08:15:00 | 4.568 | 223.5 | 5.099 | 235.71 | 4.42 | 245.033 | 3.902 | 243.2 | -12.149 | 889.883 | 57.579 | 1.6492
2020-11-24 08:30:00 | 4.12 | 226.3 | 3.77 | 242.804 | 3.239 | 247.133 | 2.946 | 243.333 | -11.995 | 889.467 | 57.067 | 1.4787
2020-11-24 08:45:00 | 4.23 | 220.033 | 4.686 | 230.665 | 4.416 | 238.967 | 4.084 | 233.233 | -11.578 | 890.017 | 56.139 | 1.4503
2020-11-24 09:00:00 | 3.696 | 228.267 | 4.105 | 238.039 | 3.725 | 247.233 | 3.505 | 241.917 | -11.495 | 890.125 | 55.264 | 2.2589
2020-11-24 09:15:00 | 2.533 | 228.36 | 1.706 | 258.618 | 1.063 | 264 | 1.572 | 267 | -10.947 | 889.475 | 54.224 | 0.24657
2020-11-24 09:30:00 | 4.089 | 230.72 | 3.921 | 243.554 | 2.743 | 257.267 | 2.337 | 265 | -10.909 | 889.558 | 53.856 | 0.31833
2020-11-24 09:45:00 | 3.845 | 225 | 3.384 | 236.218 | 2.671 | 243.867 | 2.309 | 243.233 | -10.433 | 889.917 | 52.363 | 0.23378
2020-11-24 10:00:00 | 3.032 | 225.487 | 2.712 | 241.337 | 1.884 | 244.967 | 1.767 | 244 | -10.049 | 890.067 | 50.635 | 0.20251
2020-11-24 10:15:00 | 2.545 | 233.067 | 2.533 | 248.201 | 1.97 | 258.067 | 2.096 | 254.6 | -9.704 | 890.217 | 49.216 | 0.31407
2020-11-24 10:30:00 | 1.844 | 241.167 | 1.836 | 256.797 | 1.421 | 263.933 | 2.059 | 265.8 | -8.974 | 890.017 | 47.595 | 0.29844
2020-11-24 10:45:00 | 1.194 | 265.2 | 0.926 | 276.678 | 0.916 | 278.833 | 1.781 | 266 | -8.291 | 889.708 | 45.995 | 0.30554
2020-11-24 11:00:00 | 0.655 | 270.933 | 0 | 282.91 | 0.023 | 279 | 1.7 | 265.9 | -8.19 | 890.083 | 44.448 | 0.29986
2020-11-24 11:15:00 | 0.203 | 271.2 | 0.063 | 283.111 | 0.592 | 279 | 1.572 | 266 | -7.456 | 889.9 | 43.328 | 0.30128
2020-11-24 11:30:00 | 2.2 | 274.227 | 1.979 | 270.824 | 1.847 | 273.433 | 2.259 | 265.7 | -7.114 | 889.6 | 41.68 | 0.30412
2020-11-24 11:45:00 | 2.106 | 321.733 | 2.06 | 311.378 | 2.108 | 312.4 | 2.333 | 304.633 | -6.445 | 889.5 | 38.387 | 0.30696
2020-11-24 12:00:00 | 1.644 | 339.84 | 1.377 | 328.052 | 1.353 | 296.267 | 1.963 | 280.767 | -6.057 | 889.867 | 37.12 | 0.31549
2020-11-24 12:15:00 | 1.969 | 293.267 | 1.916 | 300.707 | 1.776 | 302.067 | 2.128 | 300.367 | -5.135 | 889.467 | 35.621 | 0.29986
2020-11-24 12:30:00 | 0.546 | 293.947 | 0.034 | 277.974 | 0.106 | 290.8 | 1.313 | 296.767 | -5.238 | 889.367 | 35.536 | 0.29986
2020-11-24 12:45:00 | 0.36 | 306.067 | 0.06 | 303.197 | 0 | 306.733 | 0.786 | 302 | -5.035 | 889.917 | 33.296 | 0.29844
2020-11-24 13:00:00 | 1.777 | 237.014 | 1.34 | 335.446 | 1.562 | 282.535 | 2.062 | 321.933 | -4.785 | 889.417 | 32.136 | 0.30554
2020-11-24 13:15:00 | 1.766 | 253.854 | 1.543 | 318.248 | 1.685 | 279.867 | 2.321 | 303.667 | -4.583 | 889.667 | 31.533 | 0.3027
2020-11-24 13:30:00 | 2.227 | 275.541 | 2.074 | 233.676 | 2.54 | 244.434 | 2.808 | 281.833 | -4.434 | 889.867 | 32.037 | 0.28138
2020-11-24 13:45:00 | 3.123 | 329.133 | 3.069 | 322.978 | 3.137 | 323.267 | 3.467 | 322.7 | -4.719 | 889.65 | 32.912 | 0.16698
2020-11-24 14:00:00 | 2.92 | 329.6 | 2.766 | 323.562 | 3.237 | 317.534 | 3.53 | 322.933 | -5.019 | 889.983 | 33.184 | 0.1549
2020-11-24 14:15:00 | 2.476 | 313.84 | 2.283 | 275.26 | 2.584 | 309.9 | 3.186 | 316.633 | -4.749 | 889.867 | 32.597 | 0.44197
2020-11-24 14:30:00 | 2.048 | 280.093 | 1.389 | 289.198 | 1.227 | 294.867 | 1.896 | 295.1 | -4.802 | 889.883 | 33.885 | 0.50024
2020-11-24 14:45:00 | 2.469 | 238.8 | 2.146 | 333.95 | 2.3 | 325.733 | 2.498 | 321.067 | -4.882 | 889.467 | 34.704 | 0.59688
2020-11-24 15:00:00 | 3.558 | 43.849 | 3.409 | 90.477 | 3.496 | 42.734 | 3.819 | 77.633 | -4.749 | 889.55 | 35.616 | 0.2082
2020-11-24 15:15:00 | 2.774 | 39.276 | 2.656 | 33.25 | 2.788 | 33.667 | 3.196 | 27.933 | -5.035 | 889.817 | 37.125 | 0.62956
2020-11-24 15:30:00 | 3.002 | 25.797 | 3.109 | 15.318 | 3.1 | 19.333 | 3.305 | 18.767 | -4.885 | 889.883 | 36.848 | 0.58124
2020-11-24 15:45:00 | 3.079 | 287.907 | 2.915 | 286.868 | 2.753 | 264.1 | 2.79 | 299.7 | -4.709 | 889.55 | 37.448 | 0.22454
2020-11-24 16:00:00 | 2.739 | 26.292 | 2.656 | 13.533 | 2.722 | 12.633 | 2.728 | 22.1 | -4.653 | 889.483 | 38.288 | 0.28565
2020-11-24 16:15:00 | 3.38 | 71.08 | 3.31 | 95.546 | 3.22 | 14.133 | 3.347 | 48.167 | -4.935 | 889.75 | 39.461 | 0.22667
2020-11-24 16:30:00 | 2.717 | 94.108 | 2.681 | 92.93 | 2.561 | 81.87 | 2.654 | 12.467 | -4.919 | 890.083 | 39.84 | 0.11014
2020-11-24 16:45:00 | 2.084 | 156.248 | 2.032 | 143.66 | 1.997 | 54.1 | 2.087 | 160.534 | -5.252 | 889.758 | 40.776 | 0.21388
2020-11-24 17:00:00 | 2.282 | 75.085 | 2.175 | 121.222 | 2.23 | 64.267 | 2.335 | 5.8 | -5.335 | 889.467 | 40.811 | 0.31833
2020-11-24 17:15:00 | 1.726 | 13.315 | 0.916 | 14.056 | 1.13 | 17.7 | 1.676 | 11.267 | -5.335 | 890.042 | 41.643 | 0.30199
2020-11-24 17:30:00 | 2.484 | 24.392 | 2.168 | 18.43 | 1.954 | 19.933 | 2.131 | 19.867 | -5.469 | 889.825 | 42.421 | 0.27286
2020-11-24 17:45:00 | 3.408 | 11.618 | 3.236 | 9.501 | 3.543 | 12.767 | 3.602 | 13.167 | -5.707 | 889.508 | 43.456 | 0.28636
2020-11-24 18:00:00 | 3.339 | 17.882 | 3.496 | 10.335 | 3.704 | 13.433 | 3.365 | 13.7 | -6.295 | 890.183 | 45.248 | 1.5803
2020-11-24 18:15:00 | 2.313 | 25.968 | 2.926 | 13.886 | 3.171 | 18.067 | 3.364 | 18.967 | -6.601 | 889.692 | 46.517 | 0.80649
2020-11-24 18:30:00 | 2.325 | 9.791 | 2.526 | 2.744 | 2.604 | 6 | 2.625 | 8 | -6.711 | 890.317 | 47.296 | 0.18759
2020-11-24 18:45:00 | 1.99 | 237.573 | 2.399 | 0 | 2.101 | 5.64 | 2.217 | 0.133 | -7.074 | 889.833 | 47.957 | 0.24799
2020-11-24 19:00:00 | 2.012 | 0 | 2.077 | 0 | 1.828 | 0 | 2.274 | 306.8 | -6.793 | 890.267 | 47.968 | 0.28067
2020-11-24 19:15:00 | 1.85 | 358.28 | 1.983 | 0 | 1.679 | 11.867 | 2.181 | 354 | -6.913 | 889.492 | 48.288 | 0.29986
2020-11-24 19:30:00 | 0.83 | 349.133 | 1.507 | 352.857 | 0.924 | 346.733 | 1.91 | 341.4 | -7.24 | 889.942 | 48.544 | 0.29986
2020-11-24 19:45:00 | 0.796 | 349.2 | 0.694 | 357.983 | 0.497 | 337 | 1.471 | 338 | -7.622 | 889.5 | 49.952 | 0.29702
2020-11-24 20:00:00 | 0 | 349.12 | 0 | 358.269 | 0 | 335.4 | 0.505 | 338.8 | -7.826 | 889.775 | 51.349 | 0.29986
2020-11-24 20:15:00 | 0 | 349.147 | 0 | 358.258 | 0 | 335.2 | 1.417 | 328.833 | -7.836 | 889.55 | 52.928 | 0.29844
2020-11-24 20:30:00 | 0.28 | 303.053 | 0 | 358.548 | 0 | 325.4 | 1.405 | 328.967 | -8.391 | 890.175 | 53.813 | 0.29844
2020-11-24 20:45:00 | 1.653 | 212.68 | 0 | 326.04 | 0 | 296.067 | 1.114 | 298.1 | -8.15 | 890.15 | 52.491 | 0.29844
2020-11-24 21:00:00 | 1.114 | 227.4 | 0.033 | 273.677 | 0.03 | 296 | 1.216 | 298 | -8.391 | 889.808 | 53.333 | 0.29844
2020-11-24 21:15:00 | 1.852 | 248.553 | 1.394 | 254.92 | 1.376 | 273.733 | 2.366 | 285.1 | -8.013 | 890.3 | 52.752 | 0.3027
2020-11-24 21:30:00 | 2.64 | 277.093 | 2.846 | 286.458 | 3.28 | 300.1 | 3.696 | 303 | -8.033 | 889.733 | 53.221 | 0.2757
2020-11-24 21:45:00 | 2.472 | 266.587 | 2.383 | 284.691 | 2.527 | 301.1 | 3.081 | 312 | -8.16 | 889.892 | 53.595 | 0.75746
2020-11-24 22:00:00 | 2.35 | 274.867 | 2.337 | 296.672 | 2.61 | 310.8 | 3.163 | 312.067 | -8.608 | 889.817 | 56.683 | 0.15064
2020-11-24 22:15:00 | 1.962 | 268.933 | 2.046 | 301.208 | 2.091 | 314.867 | 2.662 | 312.4 | -9.108 | 889.867 | 57.595 | 0.17125
2020-11-24 22:30:00 | 2.213 | 268.773 | 2.431 | 301.71 | 2.543 | 314.167 | 2.932 | 312.667 | -9.412 | 889.642 | 60.059 | 0.12151
2020-11-24 22:45:00 | 1.756 | 261.433 | 2.189 | 312.379 | 2.347 | 314.467 | 2.741 | 312.633 | -9.912 | 889.408 | 61.851 | 0.16485
2020-11-24 23:00:00 | 1.971 | 273.48 | 2.26 | 318.343 | 2.612 | 319.467 | 2.972 | 313.4 | -9.954 | 889.45 | 65.461 | 0.24372
2020-11-24 23:15:00 | 2.553 | 268.747 | 3.205 | 301.128 | 3.329 | 306.233 | 3.957 | 306.933 | -9.849 | 889.825 | 67.061 | 1.5135
2020-11-24 23:30:00 | 3.354 | 275.267 | 3.497 | 299.256 | 3.523 | 304.433 | 3.954 | 303.067 | -10.366 | 890.008 | 69.163 | 4.0517
2020-11-24 23:45:00 | 2.867 | 262.28 | 2.818 | 289.032 | 2.578 | 308.567 | 3.134 | 302.967 | -10.104 | 890.017 | 66.923 | 1.77