## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-25 00:00:00 | 3.038 | 240.333 | 2.186 | 291.816 | 1.966 | 301.267 | 2.422 | 301.6 | -10.703 | 889.767 | 66.261 | 0.11227
2020-11-25 00:15:00 | 3.295 | 234.467 | 2.307 | 276.856 | 1.858 | 289.067 | 2.239 | 290.467 | -10.233 | 890.058 | 67.627 | 0.16556
2020-11-25 00:30:00 | 3.419 | 233.96 | 2.182 | 268.595 | 1.812 | 280.333 | 2.107 | 278.467 | -10.964 | 889.883 | 64.208 | 0.33397
2020-11-25 00:45:00 | 3.557 | 233.2 | 2.538 | 260.117 | 2.112 | 272.067 | 2.2 | 278.767 | -10.416 | 889.892 | 66.619 | 0.30839
2020-11-25 01:00:00 | 3.606 | 242.96 | 2.955 | 261.077 | 2.613 | 272.667 | 2.595 | 278.833 | -10.853 | 889.975 | 59.488 | 0.21743
2020-11-25 01:15:00 | 4.139 | 233.28 | 3.544 | 256.929 | 2.876 | 277.867 | 2.934 | 280.067 | -10.966 | 889.7 | 61.248 | 0.10943
2020-11-25 01:30:00 | 3.404 | 242.22 | 2.545 | 266.568 | 2.102 | 278 | 2.489 | 281.733 | -11.582 | 889.95 | 62.075 | 0.23449
2020-11-25 01:45:00 | 3.053 | 248.54 | 2.578 | 287.906 | 2.497 | 301.067 | 2.883 | 301.167 | -11.034 | 889.825 | 60.971 | 0.31194
2020-11-25 02:00:00 | 3.81 | 230.893 | 2.371 | 264.344 | 1.966 | 278 | 2.164 | 288 | -11.607 | 890.117 | 57.483 | 0.29631
2020-11-25 02:15:00 | 3.207 | 223.813 | 1.746 | 249.594 | 1.231 | 268.867 | 1.448 | 288.033 | -10.872 | 889.8 | 63.563 | 0.31691
2020-11-25 02:30:00 | 3.511 | 215.713 | 2.134 | 224.454 | 1.519 | 233 | 1.764 | 247.567 | -10.685 | 889.917 | 61.867 | 0.29844
2020-11-25 02:45:00 | 2.396 | 207.4 | 0.12 | 223.516 | 0 | 233 | 0 | 240.033 | -10.924 | 889.367 | 59.573 | 0.29844
2020-11-25 03:00:00 | 2.413 | 230.693 | 0.572 | 202.516 | 0 | 233 | 0 | 239.9 | -11.89 | 889.992 | 58.997 | 0.29986
2020-11-25 03:15:00 | 2.614 | 253.867 | 0.92 | 252.999 | 0 | 244.217 | 1.137 | 239.833 | -10.872 | 890.275 | 68.523 | 0.30554
2020-11-25 03:30:00 | 4.17 | 253.893 | 3.05 | 254.833 | 1.465 | 256.067 | 1.655 | 240.533 | -10.703 | 889.9 | 64.8 | 0.30696
2020-11-25 03:45:00 | 3.527 | 254.8 | 3.15 | 251.514 | 2.404 | 256 | 2.424 | 250.4 | -10.249 | 890.267 | 60.843 | 0.30554
2020-11-25 04:00:00 | 3.264 | 239.987 | 2.594 | 244.533 | 2.425 | 241 | 2.618 | 244 | -9.516 | 890.183 | 57.963 | 0.25509
2020-11-25 04:15:00 | 2.571 | 219.9 | 2.488 | 231.678 | 2.568 | 234 | 2.91 | 226.667 | -9.808 | 889.558 | 56.864 | 0.31407
2020-11-25 04:30:00 | 4.068 | 219.267 | 3.346 | 219.737 | 3.404 | 223.867 | 3.542 | 219.467 | -10.51 | 889.675 | 58.251 | 0.22099
2020-11-25 04:45:00 | 4.286 | 224.747 | 3.48 | 221.477 | 3.336 | 224 | 3.56 | 216.033 | -9.441 | 889.7 | 55.84 | 0.35884
2020-11-25 05:00:00 | 4.421 | 226.007 | 4.408 | 226.377 | 3.97 | 227.3 | 4.031 | 219.267 | -10.437 | 889.842 | 60.032 | 0.58124
2020-11-25 05:15:00 | 5.504 | 222.907 | 4.978 | 215.363 | 4.267 | 217.8 | 3.84 | 214 | -10.928 | 889.967 | 70.912 | 1.505
2020-11-25 05:30:00 | 4.745 | 222.94 | 5.111 | 218.202 | 4.438 | 218.1 | 3.833 | 213.333 | -10.928 | 889.742 | 77.472 | 1.9207
2020-11-25 05:45:00 | 4.872 | 223.173 | 3.211 | 210.487 | 2.747 | 212.033 | 2.525 | 204 | -10.741 | 889.983 | 79.264 | 1.2492
2020-11-25 06:00:00 | 4.961 | 214.067 | 4.468 | 211.914 | 3.41 | 207.033 | 3.278 | 201.067 | -11.361 | 889.975 | 75.669 | 0.29844
2020-11-25 06:15:00 | 5.097 | 215.033 | 5.135 | 216.542 | 4.139 | 214.7 | 3.399 | 200.033 | -11.395 | 889.925 | 75.179 | 1.3771
2020-11-25 06:30:00 | 4.032 | 205.48 | 4.732 | 207.514 | 4.176 | 207.133 | 3.892 | 190.433 | -12.213 | 889.8 | 76.341 | 1.4965
2020-11-25 06:45:00 | 3.651 | 212.233 | 3.918 | 208.559 | 3.31 | 199.367 | 3.49 | 188.033 | -11.478 | 889.817 | 79.861 | 0.72904
2020-11-25 07:00:00 | 3.8 | 212.047 | 3.243 | 210.05 | 2.66 | 197.867 | 2.812 | 169.233 | -11.545 | 889.958 | 79.275 | 0.25367
2020-11-25 07:15:00 | 4.454 | 220.313 | 2.434 | 218.414 | 1.591 | 211.9 | 1.866 | 179.967 | -12.482 | 890.2 | 77.547 | 0.35741
2020-11-25 07:30:00 | 1.323 | 262.813 | 2.786 | 254.908 | 2.918 | 257.433 | 2.791 | 247.417 | -12.87 | 889.958 | 77.483 | 0.33681
2020-11-25 07:45:00 | 1.963 | 304.6 | 2.583 | 278.657 | 2.813 | 263.433 | 2.972 | 251.083 | -12.97 | 889.7 | 79.664 | 0.32189
2020-11-25 08:00:00 | 2.991 | 277.28 | 3.212 | 290.788 | 3.276 | 306.067 | 3.592 | 307.033 | -11.47 | 890.1 | 82.229 | 0.14353
2020-11-25 08:15:00 | 2.952 | 267.707 | 1.74 | 289.684 | 1.845 | 312.3 | 2.27 | 317 | -11.086 | 889.617 | 79.92 | 0.23733
2020-11-25 08:30:00 | 2.414 | 252.907 | 1.951 | 263.054 | 2.53 | 271.8 | 3.195 | 272.8 | -11.143 | 889.958 | 80.176 | 0.17835
2020-11-25 08:45:00 | 4.176 | 226.993 | 4.176 | 241.234 | 3.517 | 267.8 | 2.619 | 266.6 | -12.04 | 890.15 | 78.411 | 0.17054
2020-11-25 09:00:00 | 4.892 | 226.767 | 4.218 | 257.75 | 2.833 | 283.467 | 2.553 | 289 | -12.803 | 890.192 | 76.96 | 0.90242
2020-11-25 09:15:00 | 5.21 | 230.867 | 3.898 | 260.519 | 3.14 | 275.333 | 2.934 | 288.467 | -13.153 | 890.317 | 77.888 | 1.0438
2020-11-25 09:30:00 | 4.819 | 230.833 | 3.386 | 266.826 | 2.636 | 286.733 | 2.632 | 290.1 | -12.753 | 889.742 | 76.517 | 0.77381
2020-11-25 09:45:00 | 4.26 | 230.393 | 2.845 | 264.946 | 2.061 | 287.267 | 2.117 | 290.467 | -11.678 | 890.067 | 75.376 | 0.16627
2020-11-25 10:00:00 | 3.798 | 226.28 | 3.122 | 252.116 | 2.214 | 274 | 2.224 | 291 | -10.872 | 889.95 | 73.995 | 0.32402
2020-11-25 10:15:00 | 3.554 | 233.7 | 3.466 | 251.49 | 2.566 | 274 | 2.514 | 287.067 | -9.808 | 890.225 | 71.541 | 0.32828
2020-11-25 10:30:00 | 2.741 | 236.12 | 2.812 | 242.106 | 2.048 | 261.067 | 1.72 | 278 | -8.331 | 889.925 | 67.883 | 0.23946
2020-11-25 10:45:00 | 2.423 | 236.94 | 2.406 | 234.903 | 2.19 | 238.9 | 1.879 | 244 | -7.903 | 889.95 | 67.136 | 0.32544
2020-11-25 11:00:00 | 2.054 | 276.813 | 1.992 | 271.568 | 1.859 | 272.2 | 2.104 | 257.533 | -7.606 | 889.767 | 66.443 | 0.29986
2020-11-25 11:15:00 | 1.966 | 291.547 | 1.796 | 287.169 | 1.667 | 286.533 | 1.945 | 266.1 | -6.98 | 889.775 | 63.829 | 0.29844
2020-11-25 11:30:00 | 1.477 | 301.787 | 1.417 | 305.502 | 1.217 | 306.2 | 1.623 | 294.1 | -6.939 | 889.325 | 62.485 | 0.29986
2020-11-25 11:45:00 | 1.496 | 296.733 | 0.964 | 289.462 | 0.704 | 294.2 | 1.56 | 284.567 | -5.998 | 890.417 | 60.117 | 0.3027
2020-11-25 12:00:00 | 1.129 | 291.174 | 0.79 | 331.645 | 0.533 | 323.567 | 1.535 | 326.467 | -5.485 | 889.692 | 57.941 | 0.30412
2020-11-25 12:15:00 | 0.75 | 120.642 | 0.723 | 97.776 | 0.492 | 87.003 | 1.156 | 91.801 | -5.402 | 890.125 | 53.888 | 0.30128
2020-11-25 12:30:00 | 1.179 | 161.092 | 1.313 | 64.835 | 1.329 | 50.17 | 1.576 | 193.967 | -4.902 | 889.683 | 52.315 | 0.30412
2020-11-25 12:45:00 | 0.633 | 219.135 | 0.17 | 345.107 | 0.276 | 330.133 | 0.803 | 269.9 | -4.653 | 889.942 | 51.573 | 0.29986
2020-11-25 13:00:00 | 2.449 | 82.793 | 2.275 | 67.208 | 2.244 | 61.933 | 2.519 | 43.233 | -4.381 | 889.75 | 50.741 | 0.30554
2020-11-25 13:15:00 | 0.612 | 132.878 | 0.427 | 38.856 | 0.313 | 32.442 | 0.866 | 11.402 | -4.072 | 889.583 | 49.877 | 0.31976
2020-11-25 13:30:00 | 1.713 | 61.106 | 1.404 | 74.915 | 1.583 | 39.304 | 2.176 | 55.767 | -4.017 | 889.667 | 49.12 | 0.32118
2020-11-25 13:45:00 | 2.14 | 32.516 | 1.65 | 19.19 | 1.797 | 69.467 | 2.241 | 4.768 | -4.424 | 889.542 | 49.963 | 0.32544
2020-11-25 14:00:00 | 1.252 | 35.258 | 0.7 | 166.407 | 0.626 | 76.533 | 1.105 | 6.734 | -4.358 | 890.233 | 50.267 | 0.30981
2020-11-25 14:15:00 | 0.542 | 202.143 | 0.591 | 185.351 | 0.733 | 163.1 | 0.846 | 187.267 | -4.457 | 889.8 | 49.611 | 0.30696
2020-11-25 14:30:00 | 0.979 | 53.985 | 0.653 | 16.808 | 0.743 | 37.834 | 1.505 | 17.604 | -4.305 | 889.767 | 48.64 | 0.29986
2020-11-25 14:45:00 | 2.319 | 23.785 | 2.015 | 27.684 | 1.883 | 27.4 | 2.204 | 38.2 | -4.195 | 889.717 | 48.091 | 0.30412
2020-11-25 15:00:00 | 2.123 | 133.868 | 1.863 | 214.402 | 1.98 | 162.667 | 2.172 | 164.067 | -4.265 | 890.008 | 48.907 | 0.30412
2020-11-25 15:15:00 | 2.307 | 75.923 | 1.563 | 72.549 | 1.06 | 68 | 1.166 | 70.167 | -4.096 | 889.867 | 49.077 | 0.30128
2020-11-25 15:30:00 | 1.33 | 264.915 | 0.829 | 259.211 | 1.033 | 284.033 | 1.668 | 159.205 | -4.232 | 890.025 | 48.8 | 0.30128
2020-11-25 15:45:00 | 0.856 | 136.278 | 0.43 | 210.008 | 0.213 | 133.833 | 0.595 | 227.533 | -4.232 | 889.383 | 49.104 | 0.29844
2020-11-25 16:00:00 | 2.245 | 317 | 1.831 | 317.37 | 1.784 | 315 | 2.323 | 303 | -4.602 | 889.833 | 48.299 | 0.29702
2020-11-25 16:15:00 | 3.999 | 23.386 | 3.715 | 24.16 | 3.797 | 16.401 | 3.745 | 15.033 | -4.265 | 890 | 50.304 | 0.25083
2020-11-25 16:30:00 | 3.009 | 26.988 | 3.04 | 27.351 | 3.125 | 33.567 | 3.323 | 29.9 | -4.454 | 889.617 | 51.595 | 0.6324
2020-11-25 16:45:00 | 3.379 | 45.799 | 3.32 | 37.167 | 3.357 | 39.367 | 3.44 | 32.8 | -4.454 | 890.1 | 52.363 | 1.5043
2020-11-25 17:00:00 | 2.414 | 32.902 | 2.252 | 29.311 | 2.231 | 38.667 | 2.445 | 36.767 | -4.752 | 889.808 | 53.248 | 0.86547
2020-11-25 17:15:00 | 2.523 | 40.608 | 2.406 | 35.128 | 2.391 | 42.6 | 2.658 | 39.1 | -4.935 | 889.8 | 53.888 | 0.30128
2020-11-25 17:30:00 | 2.427 | 48.75 | 2.173 | 40.624 | 2.242 | 46.767 | 2.41 | 48 | -5.269 | 890.217 | 54.773 | 0.15917
2020-11-25 17:45:00 | 2.693 | 44.016 | 2.577 | 38.909 | 2.596 | 41.1 | 2.754 | 37.933 | -5.219 | 890 | 56.064 | 0.24728
2020-11-25 18:00:00 | 2.607 | 42.157 | 2.674 | 38.524 | 2.636 | 45 | 2.599 | 44.3 | -5.598 | 890.225 | 57.931 | 0.1478
2020-11-25 18:15:00 | 2.547 | 53.16 | 2.307 | 45.509 | 2.087 | 50.4 | 2.657 | 47.067 | -6.249 | 890.108 | 60.619 | 0.11227
2020-11-25 18:30:00 | 2.111 | 37.667 | 2.23 | 34.124 | 1.928 | 39 | 1.798 | 48.033 | -6.395 | 890.133 | 62.368 | 0.31336
2020-11-25 18:45:00 | 1.86 | 70.653 | 1.688 | 51.85 | 1.514 | 48.267 | 1.552 | 48 | -6.978 | 889.667 | 63.392 | 0.30128
2020-11-25 19:00:00 | 2.104 | 63.023 | 1.941 | 60.283 | 1.517 | 70.8 | 1.576 | 49 | -6.73 | 889.8 | 63.637 | 0.2956
2020-11-25 19:15:00 | 1.19 | 117.42 | 1.236 | 85.978 | 1.513 | 75.167 | 1.878 | 60.667 | -7.36 | 890.058 | 64.629 | 0.30128
2020-11-25 19:30:00 | 0.196 | 104.297 | 0 | 75.209 | 0.21 | 76 | 1.378 | 63 | -7.469 | 890.308 | 65.643 | 0.29844
2020-11-25 19:45:00 | 1.224 | 154.033 | 0 | 75.288 | 0 | 76.067 | 1.181 | 62.933 | -7.439 | 889.492 | 66.496 | 0.29844
2020-11-25 20:00:00 | 1.253 | 154.6 | 0 | 75.245 | 0.08 | 77.933 | 1.104 | 63 | -7.789 | 890.158 | 67.349 | 0.30554
2020-11-25 20:15:00 | 1.626 | 177.64 | 0 | 86.23 | 0 | 78 | 0.557 | 63 | -7.936 | 889.75 | 68.085 | 0.30128
2020-11-25 20:30:00 | 2.34 | 182.307 | 0.063 | 89.176 | 0 | 77.867 | 1.09 | 63 | -8.471 | 890.067 | 69.237 | 0.3027
2020-11-25 20:45:00 | 2.072 | 190.74 | 0 | 94.213 | 0 | 77.833 | 0 | 63 | -8.571 | 890 | 70.133 | 0.30412
2020-11-25 21:00:00 | 1.781 | 200.133 | 0 | 94.22 | 0 | 78 | 0 | 63 | -8.858 | 890.033 | 70.144 | 0.30554
2020-11-25 21:15:00 | 2.875 | 203.233 | 0.692 | 129.996 | 0 | 77.933 | 0.578 | 63 | -9.008 | 889.75 | 68.971 | 0.29702
2020-11-25 21:30:00 | 2.044 | 201.033 | 0 | 135.528 | 0 | 78 | 1.192 | 63 | -8.808 | 889.908 | 71.051 | 0.29844
2020-11-25 21:45:00 | 3.008 | 212.4 | 0.923 | 146.089 | 0 | 77.833 | 1.06 | 62.933 | -9.141 | 889.608 | 69.547 | 0.29844
2020-11-25 22:00:00 | 3.891 | 209.073 | 2.095 | 173.434 | 1.376 | 145.4 | 1.627 | 63 | -11.078 | 889.633 | 69.483 | 0.29702
2020-11-25 22:15:00 | 2.15 | 201.08 | 1.113 | 159.992 | 1.078 | 145.067 | 1.733 | 63 | -9.308 | 889.942 | 74.027 | 0.29844
2020-11-25 22:30:00 | 3.474 | 210.553 | 1.967 | 154.238 | 1.504 | 145 | 1.914 | 64.767 | -9.724 | 889.867 | 70.859 | 0.3027
2020-11-25 22:45:00 | 3.172 | 199.393 | 2.28 | 152.528 | 2.116 | 145.067 | 2.283 | 106.467 | -9.974 | 889.7 | 71.872 | 0.31265
2020-11-25 23:00:00 | 3.868 | 208.073 | 2.686 | 161.935 | 2.541 | 146.767 | 2.784 | 125.067 | -9.987 | 889.883 | 71.797 | 0.32615
2020-11-25 23:15:00 | 3.521 | 213.813 | 1.773 | 166.893 | 1.531 | 154.3 | 2.133 | 135 | -10.762 | 889.575 | 71.776 | 0.28849
2020-11-25 23:30:00 | 3.441 | 205.38 | 2.611 | 169.978 | 2.347 | 155.667 | 2.703 | 134.867 | -10.112 | 890.1 | 74.069 | 0.31407
2020-11-25 23:45:00 | 2.795 | 201.6 | 1.986 | 161.312 | 1.871 | 146.333 | 2.307 | 135 | -9.224 | 889.875 | 72.267 | 0.3027