## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-26 00:00:00 | 2.254 | 199.307 | 1.048 | 154.429 | 1.417 | 136.867 | 2.432 | 135.1 | -9.454 | 890.15 | 71.392 | 0.30839
2020-11-26 00:15:00 | 2.379 | 194.073 | 0.868 | 144.593 | 1.757 | 114.033 | 2.614 | 109.4 | -9.728 | 889.95 | 71.211 | 0.3226
2020-11-26 00:30:00 | 2.869 | 202.747 | 1.112 | 144.453 | 1.432 | 112.867 | 2.077 | 108.9 | -9.787 | 889.742 | 69.92 | 0.30412
2020-11-26 00:45:00 | 1.928 | 192.42 | 1.297 | 136.171 | 1.463 | 113.033 | 2.313 | 109 | -9.362 | 889.75 | 69.088 | 0.31265
2020-11-26 01:00:00 | 1.866 | 200.967 | 1.057 | 130.805 | 1.983 | 112.7 | 3.002 | 108.9 | -9.208 | 889.775 | 68.299 | 0.31549
2020-11-26 01:15:00 | 1.464 | 186.373 | 1.089 | 137.512 | 2.065 | 118.367 | 3.043 | 110 | -9.249 | 890.25 | 69.077 | 0.21814
2020-11-26 01:30:00 | 0.13 | 178.32 | 0.413 | 120.615 | 1.774 | 108.7 | 2.957 | 110.333 | -9.499 | 889.767 | 69.035 | 0.1748
2020-11-26 01:45:00 | 2.245 | 212.32 | 1.491 | 147.659 | 2.009 | 139.833 | 2.495 | 115.9 | -9.983 | 889.817 | 70.016 | 0.24799
2020-11-26 02:00:00 | 3.513 | 217.367 | 2.034 | 168.395 | 2.186 | 160.9 | 2.744 | 145.967 | -10.476 | 890 | 68.16 | 0.30199
2020-11-26 02:15:00 | 4.555 | 224.307 | 1.132 | 188.259 | 1.399 | 159.633 | 2.147 | 148 | -11.257 | 889.817 | 65.931 | 0.24941
2020-11-26 02:30:00 | 3.308 | 224.693 | 1.032 | 195.44 | 1.488 | 164.1 | 2.406 | 148.933 | -11.953 | 889.767 | 69.835 | 0.17196
2020-11-26 02:45:00 | 4.585 | 219.773 | 1.336 | 203.446 | 1.793 | 169.833 | 2.408 | 148.867 | -14.62 | 889.942 | 70.773 | 0.097348
2020-11-26 03:00:00 | 4.008 | 223.033 | 0.986 | 207.352 | 0.339 | 158 | 2.039 | 148 | -12.236 | 889.925 | 74.453 | 0.32544
2020-11-26 03:15:00 | 4.108 | 224.027 | 0.756 | 213.306 | 0.03 | 177.1 | 0.474 | 148 | -13.259 | 889.925 | 72.725 | 0.33539
2020-11-26 03:30:00 | 4.295 | 227.633 | 0.652 | 223.563 | 0 | 174.9 | 0.918 | 148 | -11.378 | 889.567 | 69.728 | 0.31549
2020-11-26 03:45:00 | 3.61 | 219.767 | 0 | 224.484 | 0 | 174.933 | 1.142 | 148 | -10.703 | 889.975 | 68.576 | 0.30554
2020-11-26 04:00:00 | 2.228 | 216.667 | 0 | 224.528 | 0 | 175.033 | 0.82 | 148 | -10.433 | 890.267 | 68.565 | 0.29986
2020-11-26 04:15:00 | 2.03 | 209.5 | 0 | 224.603 | 0 | 174.967 | 0.292 | 147.833 | -10.133 | 890.092 | 67.765 | 0.3027
2020-11-26 04:30:00 | 1.097 | 203.1 | 0 | 180.944 | 0 | 113 | 0.759 | 147.8 | -9.912 | 889.95 | 67.168 | 0.26575
2020-11-26 04:45:00 | 2.221 | 208.053 | 0.576 | 163.792 | 0.591 | 112.9 | 1.909 | 141 | -9.828 | 889.925 | 66.496 | 0.21459
2020-11-26 05:00:00 | 4.063 | 206.633 | 2.102 | 191.732 | 0.587 | 148.333 | 1.455 | 131 | -10.316 | 889.733 | 65.483 | 0.20962
2020-11-26 05:15:00 | 2.88 | 198.7 | 1.509 | 175.488 | 0.476 | 150.3 | 1.418 | 131 | -10.299 | 890.308 | 64.16 | 0.28849
2020-11-26 05:30:00 | 2.407 | 216.4 | 0.6 | 171.602 | 0.197 | 120.633 | 1.619 | 131 | -10.299 | 890.092 | 64.565 | 0.27712
2020-11-26 05:45:00 | 3.25 | 221.413 | 1.172 | 204.428 | 0 | 164 | 0.49 | 130.867 | -10.778 | 889.792 | 66.347 | 0.31833
2020-11-26 06:00:00 | 2.652 | 220.84 | 0.632 | 206.224 | 0 | 163.867 | 0 | 131 | -10.451 | 890.083 | 65.632 | 0.32828
2020-11-26 06:15:00 | 2.115 | 216.733 | 0 | 204.636 | 0 | 164.033 | 0.054 | 131 | -10.266 | 889.867 | 66.688 | 0.33397
2020-11-26 06:30:00 | 2.391 | 218.087 | 0 | 166.48 | 0 | 131 | 1.72 | 130.4 | -10.235 | 890.158 | 64.555 | 0.31407
2020-11-26 06:45:00 | 2.091 | 216.367 | 0 | 166.412 | 0 | 131.1 | 0.685 | 130 | -10.333 | 890.142 | 64.704 | 0.30412
2020-11-26 07:00:00 | 3.211 | 217.307 | 0.277 | 166.568 | 0.538 | 134.9 | 1.521 | 130.067 | -10.708 | 889.917 | 63.232 | 0.30839
2020-11-26 07:15:00 | 2.823 | 217.013 | 0 | 166.607 | 0.11 | 147 | 1.465 | 130.033 | -11.016 | 889.758 | 62.293 | 0.3226
2020-11-26 07:30:00 | 2.416 | 221.833 | 0 | 166.459 | 0 | 97.1 | 0.534 | 130 | -11.445 | 889.883 | 64.363 | 0.31833
2020-11-26 07:45:00 | 1.917 | 211.847 | 0 | 166.549 | 0 | 97 | 1.193 | 130 | -11.578 | 890.125 | 65.056 | 0.33397
2020-11-26 08:00:00 | 1.986 | 192.42 | 0.543 | 129.307 | 1.588 | 88 | 2.917 | 87.3 | -11.911 | 889.533 | 66.059 | 0.30981
2020-11-26 08:15:00 | 0.3 | 188.92 | 1.968 | 90.209 | 2.91 | 92.433 | 3.527 | 94.267 | -11.566 | 889.967 | 66.368 | 0.1343
2020-11-26 08:30:00 | 2.639 | 206.193 | 0.76 | 140.513 | 1.375 | 110.067 | 1.727 | 99.5 | -12.261 | 890.108 | 66.464 | 0.28067
2020-11-26 08:45:00 | 1.971 | 197.727 | 1.593 | 133.728 | 2.141 | 120.133 | 2.022 | 94.7 | -12.161 | 890.308 | 66.325 | 0.13856
2020-11-26 09:00:00 | 2.689 | 213.3 | 1.5 | 150.973 | 1.71 | 125.467 | 2.278 | 105.467 | -11.786 | 889.7 | 64.619 | 0.33468
2020-11-26 09:15:00 | 2.215 | 199.04 | 1.63 | 125.599 | 0.87 | 102.1 | 1.69 | 94.3 | -11.795 | 889.817 | 64.992 | 0.16627
2020-11-26 09:30:00 | 1.316 | 165.193 | 1.774 | 92.368 | 2.674 | 82.6 | 2.616 | 78.033 | -10.853 | 889.767 | 63.723 | 0.29275
2020-11-26 09:45:00 | 1.022 | 155.107 | 0.6 | 83.595 | 2.838 | 74.167 | 3.148 | 76.6 | -9.745 | 890.075 | 60.768 | 0.24017
2020-11-26 10:00:00 | 0.234 | 178.587 | 0.85 | 104.463 | 1.98 | 123.167 | 2.373 | 96.5 | -9.724 | 890.117 | 59.008 | 0.39436
2020-11-26 10:15:00 | 0.722 | 204.347 | 0.287 | 137.518 | 1.113 | 119.167 | 1.926 | 99 | -8.15 | 889.983 | 59.435 | 0.30412
2020-11-26 10:30:00 | 0 | 200.327 | 0.58 | 83.434 | 1.676 | 90 | 2.539 | 81.333 | -7.387 | 890.117 | 58.411 | 0.11937
2020-11-26 10:45:00 | 2.047 | 75.967 | 2.164 | 77.937 | 2.596 | 84.267 | 2.566 | 80.367 | -6.88 | 889.85 | 55.776 | 0.26007
2020-11-26 11:00:00 | 2.29 | 87.457 | 1.973 | 86.749 | 1.62 | 94.833 | 1.898 | 81.8 | -7.263 | 889.675 | 56.544 | 0.64022
2020-11-26 11:15:00 | 2.787 | 95.933 | 2.449 | 89.965 | 2.018 | 92.767 | 2.314 | 92.867 | -6.662 | 889.775 | 51.904 | 0.93795
2020-11-26 11:30:00 | 3.461 | 97.597 | 3.061 | 93.084 | 2.901 | 100.9 | 3.233 | 93.733 | -6.175 | 889.6 | 50.528 | 2.8593
2020-11-26 11:45:00 | 4.147 | 104.223 | 3.661 | 100.873 | 3.436 | 105.733 | 3.744 | 102.567 | -5.657 | 889.7 | 48.853 | 3.8712
2020-11-26 12:00:00 | 4.23 | 96.42 | 3.777 | 92.943 | 3.741 | 100.567 | 3.791 | 93.933 | -5.687 | 890.358 | 47.584 | 5.8018
2020-11-26 12:15:00 | 4.794 | 96.84 | 4.172 | 97.3 | 4.477 | 100.367 | 4.713 | 96.267 | -5.542 | 889.783 | 50.101 | 9.8428
2020-11-26 12:30:00 | 5.085 | 103.743 | 4.728 | 95.497 | 4.6 | 98.167 | 4.437 | 93.333 | -5.661 | 890.208 | 50.581 | 10.7075
2020-11-26 12:45:00 | 4.468 | 103.77 | 4.291 | 100.666 | 4.398 | 102.7 | 4.356 | 96.533 | -5.135 | 890 | 50.549 | 10.1391
2020-11-26 13:00:00 | 4.029 | 89.163 | 3.938 | 85.434 | 4.066 | 91.033 | 4.293 | 84.867 | -4.799 | 889.45 | 49.589 | 7.7132
2020-11-26 13:15:00 | 5.127 | 95.383 | 4.411 | 92.766 | 4.252 | 94.433 | 4.666 | 89.467 | -4.322 | 890.217 | 49.088 | 11.6313
2020-11-26 13:30:00 | 4.766 | 86.157 | 4.684 | 78.372 | 5.103 | 84.7 | 5.284 | 80.733 | -4.029 | 890.325 | 48.491 | 14.3641
2020-11-26 13:45:00 | 3.967 | 87.537 | 3.73 | 88.189 | 3.734 | 95.567 | 4.052 | 89.433 | -4.159 | 889.925 | 48.224 | 13.6997
2020-11-26 14:00:00 | 4.535 | 87.587 | 4.216 | 88.308 | 4.278 | 88.567 | 4.604 | 83.167 | -4.274 | 890.483 | 47.819 | 14.7748
2020-11-26 14:15:00 | 5.322 | 87.597 | 4.826 | 86.704 | 4.906 | 90.033 | 5.092 | 85.433 | -4.334 | 889.95 | 47.573 | 17.7549
2020-11-26 14:30:00 | 5.422 | 87.99 | 4.666 | 86.184 | 4.613 | 89.933 | 5.076 | 86.5 | -4.029 | 889.742 | 46.528 | 17.8771
2020-11-26 14:45:00 | 5.502 | 86.223 | 5.004 | 79.223 | 5.368 | 83.9 | 5.838 | 82.7 | -4.063 | 889.908 | 45.856 | 18.9046
2020-11-26 15:00:00 | 4.59 | 81.87 | 4.554 | 78.71 | 4.818 | 82.433 | 5.282 | 78.7 | -3.893 | 889.8 | 45.312 | 17.6761
2020-11-26 15:15:00 | 6.024 | 73.7 | 5.842 | 71.557 | 6.344 | 76.833 | 6.383 | 74.067 | -3.823 | 889.683 | 45.077 | 17.7933
2020-11-26 15:30:00 | 6.298 | 85.833 | 5.447 | 83.322 | 5.911 | 85.533 | 6.139 | 82.1 | -3.857 | 889.567 | 44.299 | 25.196
2020-11-26 15:45:00 | 6.078 | 80.433 | 5.832 | 76.502 | 6.017 | 81.867 | 6.053 | 78.867 | -3.874 | 889.55 | 44.672 | 27.7725
2020-11-26 16:00:00 | 5.438 | 84.067 | 5.378 | 80.158 | 5.449 | 84.533 | 5.531 | 80.8 | -3.739 | 889.892 | 43.84 | 24.5721
2020-11-26 16:15:00 | 5.398 | 80.4 | 5.828 | 75.728 | 6.265 | 80.5 | 6.432 | 78.967 | -3.639 | 889.833 | 43.477 | 22.7914
2020-11-26 16:30:00 | 5.928 | 84.167 | 5.33 | 83.933 | 5.43 | 86.5 | 5.724 | 81.533 | -3.689 | 890.058 | 43.328 | 20.3954
2020-11-26 16:45:00 | 5.205 | 98.9 | 4.492 | 91.721 | 4.11 | 97.733 | 4.343 | 87.1 | -3.689 | 889.692 | 43.573 | 17.4217
2020-11-26 17:00:00 | 5.339 | 81.633 | 5.203 | 77.388 | 5.655 | 81.9 | 5.788 | 77.133 | -3.857 | 889.7 | 43.936 | 15.6495
2020-11-26 17:15:00 | 4.958 | 77.003 | 4.888 | 74.53 | 5.325 | 79.5 | 5.516 | 74.7 | -4.195 | 890.125 | 44.331 | 14.1531
2020-11-26 17:30:00 | 5.286 | 83.303 | 5.459 | 79.444 | 5.692 | 82.8 | 5.843 | 77.367 | -4.226 | 889.975 | 44.992 | 14.0138
2020-11-26 17:45:00 | 4.639 | 78.3 | 4.571 | 75.124 | 5.126 | 80.1 | 5.464 | 74.567 | -4.869 | 889.675 | 46.187 | 14.0024
2020-11-26 18:00:00 | 4.252 | 75.432 | 4.512 | 71.122 | 5.078 | 75.733 | 5.391 | 71.967 | -5.385 | 890.183 | 47.819 | 13.5541
2020-11-26 18:15:00 | 4.215 | 83.097 | 4.349 | 77.656 | 4.927 | 80.333 | 5.268 | 76.233 | -5.978 | 889.7 | 49.472 | 12.6481
2020-11-26 18:30:00 | 4.188 | 85.333 | 4.373 | 78.864 | 4.651 | 84.2 | 4.798 | 80.8 | -6.262 | 890.25 | 50.88 | 11.1445
2020-11-26 18:45:00 | 3.739 | 91.4 | 3.567 | 86.316 | 3.394 | 91.4 | 3.537 | 84.4 | -7.074 | 889.708 | 52.395 | 8.1516
2020-11-26 19:00:00 | 2.87 | 95.123 | 2.787 | 90.112 | 2.316 | 96.4 | 2.371 | 84.333 | -7.263 | 889.725 | 53.675 | 4.9342
2020-11-26 19:15:00 | 2.163 | 88.33 | 2.477 | 85.089 | 2.123 | 89.5 | 1.914 | 86.367 | -7.436 | 889.725 | 54.837 | 2.1488
2020-11-26 19:30:00 | 1.897 | 77.03 | 2.007 | 63.419 | 2.117 | 71.967 | 2.472 | 71.2 | -7.943 | 889.883 | 56.448 | 0.27002
2020-11-26 19:45:00 | 1.666 | 72.26 | 1.897 | 68.774 | 2.01 | 72 | 2.364 | 73.133 | -8.013 | 890.167 | 58.048 | 0.28991
2020-11-26 20:00:00 | 0 | 72.22 | 0 | 63.124 | 0 | 72 | 1.004 | 73 | -8.321 | 889.958 | 59.2 | 0.3297
2020-11-26 20:15:00 | 0.536 | 284.8 | 0.063 | 62.616 | 1.022 | 59.192 | 1.135 | 72.833 | -9.041 | 890.05 | 62.208 | 0.29986
2020-11-26 20:30:00 | 1.096 | 287.2 | 0.053 | 39.097 | 1.091 | 52 | 1.195 | 72 | -8.758 | 889.858 | 62.432 | 0.29844
2020-11-26 20:45:00 | 1.787 | 338.267 | 1.066 | 0 | 1.981 | 39.467 | 2.472 | 53.867 | -8.708 | 889.483 | 61.621 | 0.38015
2020-11-26 21:00:00 | 1.189 | 330.867 | 0.733 | 24.901 | 1.568 | 54.788 | 2.67 | 62.8 | -8.958 | 890.25 | 60.96 | 0.68001
2020-11-26 21:15:00 | 1.401 | 302.994 | 1.343 | 27.43 | 2.082 | 55.35 | 3.236 | 67.167 | -9.174 | 889.983 | 61.76 | 1.0552
2020-11-26 21:30:00 | 0.457 | 352.173 | 1.317 | 59.307 | 2.802 | 74.483 | 3.683 | 75.033 | -9.878 | 889.967 | 63.083 | 1.6037
2020-11-26 21:45:00 | 0.754 | 258.92 | 0 | 79.228 | 0.686 | 92.55 | 2.032 | 78.733 | -11.014 | 889.767 | 65.792 | 0.72336
2020-11-26 22:00:00 | 2.438 | 230.713 | 0.057 | 126.053 | 0.233 | 105.067 | 1.74 | 96.6 | -10.872 | 889.975 | 67.157 | 0.24017
2020-11-26 22:15:00 | 3.557 | 244.447 | 2.018 | 225.41 | 1.046 | 203.8 | 0.776 | 110.033 | -10.872 | 890.092 | 67.051 | 0.19896
2020-11-26 22:30:00 | 3.704 | 247.887 | 1.936 | 237.677 | 0.814 | 211.2 | 1.186 | 154 | -10.926 | 889.517 | 65.888 | 0.29915
2020-11-26 22:45:00 | 2.743 | 249.207 | 0.722 | 242.352 | 0 | 244.017 | 0.614 | 110.9 | -11.382 | 889.808 | 67.243 | 0.29844
2020-11-26 23:00:00 | 2.04 | 275.187 | 0 | 247.52 | 0.234 | 161.2 | 1.737 | 73.767 | -11.64 | 889.883 | 67.605 | 0.29844
2020-11-26 23:15:00 | 1.61 | 237.087 | 0.063 | 63.1 | 1.073 | 83.067 | 2.53 | 83.2 | -10.832 | 890.05 | 65.568 | 0.437
2020-11-26 23:30:00 | 1.161 | 240.467 | 0 | 173.892 | 1.329 | 95.167 | 3.107 | 82.933 | -11.361 | 889.692 | 67.936 | 0.74538
2020-11-26 23:45:00 | 1.739 | 219.613 | 0 | 94.367 | 1.493 | 107.9 | 2.653 | 90.167 | -11.561 | 889.208 | 65.291 | 2.6504