## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-27 00:00:00 | 0.307 | 207.54 | 1.39 | 94.955 | 2.078 | 95.5 | 2.529 | 91.267 | -11.172 | 889.608 | 68.693 | 3.0569
2020-11-27 00:15:00 | 0.813 | 199.333 | 1.263 | 110.376 | 2.226 | 92.667 | 2.698 | 85.9 | -10.797 | 889.95 | 68.021 | 3.3411
2020-11-27 00:30:00 | 1.333 | 190.92 | 1.31 | 118.177 | 2.201 | 94.7 | 2.858 | 87.467 | -11.003 | 889.675 | 67.2 | 3.3525
2020-11-27 00:45:00 | 1.905 | 189.693 | 1.816 | 128.313 | 2.178 | 102.433 | 2.884 | 93 | -11.34 | 889.692 | 65.013 | 3.1187
2020-11-27 01:00:00 | 1.236 | 167.467 | 1.697 | 108.404 | 2.531 | 94.833 | 2.983 | 86.567 | -10.703 | 889.9 | 66.123 | 3.8506
2020-11-27 01:15:00 | 1.757 | 136.747 | 3.022 | 103.88 | 2.952 | 100.533 | 3.203 | 93.3 | -10.458 | 889.867 | 64.832 | 6.5301
2020-11-27 01:30:00 | 3.014 | 113.013 | 3.372 | 91.143 | 3.215 | 96.567 | 3.463 | 92.167 | -9.87 | 889.967 | 62.987 | 10.812
2020-11-27 01:45:00 | 3.942 | 112.287 | 4.651 | 102.711 | 4.989 | 104.167 | 4.861 | 98.267 | -9.233 | 889.85 | 62.016 | 13.9328
2020-11-27 02:00:00 | 3.973 | 104.92 | 4.363 | 100.928 | 4.533 | 102.667 | 4.629 | 95.8 | -9.299 | 890.208 | 61.856 | 25.9911
2020-11-27 02:15:00 | 3.93 | 117.967 | 4.079 | 111.182 | 4.373 | 113.3 | 4.829 | 105.9 | -9.258 | 889.792 | 62.069 | 18.5579
2020-11-27 02:30:00 | 4.386 | 114.9 | 4.564 | 108.99 | 4.964 | 110.967 | 5.206 | 102.5 | -8.908 | 889.833 | 62.123 | 12.4555
2020-11-27 02:45:00 | 3.183 | 110.767 | 3.693 | 103.434 | 3.577 | 101.2 | 3.256 | 92.267 | -8.808 | 889.967 | 61.899 | 10.0112
2020-11-27 03:00:00 | 2.956 | 111.333 | 3.323 | 103.644 | 3.089 | 107.433 | 2.819 | 97.467 | -8.991 | 890.025 | 62.101 | 6.4676
2020-11-27 03:15:00 | 1.778 | 102.167 | 2.127 | 88.845 | 2.067 | 89.033 | 2.541 | 82.4 | -9.141 | 890.042 | 62.549 | 4.8873
2020-11-27 03:30:00 | 2.217 | 78.3 | 3.217 | 77.109 | 3.538 | 85.333 | 4.017 | 83.467 | -9.224 | 889.892 | 63.157 | 7.1114
2020-11-27 03:45:00 | 3.08 | 261.26 | 1.095 | 241.766 | 0 | 124.142 | 0.887 | 99.533 | -9.641 | 889.842 | 62.464 | 3.3382
2020-11-27 04:00:00 | 2.61 | 267.347 | 1.282 | 257.206 | 0.08 | 185.3 | 0.574 | 85 | -9.849 | 889.525 | 62.555 | 0.29275
2020-11-27 04:15:00 | 2.628 | 269.533 | 1.998 | 284.829 | 1.235 | 278.867 | 0.172 | 307.467 | -10.216 | 889.833 | 63.067 | 0.22667
2020-11-27 04:30:00 | 2.498 | 281.373 | 0.619 | 287.143 | 0.203 | 187.218 | 0.322 | 23.965 | -9.828 | 890 | 63.989 | 0.18759
2020-11-27 04:45:00 | 2.32 | 290.84 | 0.988 | 295.864 | 0 | 280.567 | 0.034 | 25.063 | -9.983 | 890.108 | 64.368 | 0.21743
2020-11-27 05:00:00 | 0.845 | 306.48 | 0 | 309.003 | 0 | 279.867 | 0.185 | 72.242 | -9.641 | 889.608 | 64.555 | 0.30839
2020-11-27 05:15:00 | 1.62 | 289.733 | 0.317 | 200.666 | 0.377 | 153.865 | 1.885 | 66.621 | -10.449 | 889.867 | 64.656 | 0.14211
2020-11-27 05:30:00 | 1.799 | 154.333 | 2.421 | 21.076 | 2.238 | 38.054 | 2.748 | 56.433 | -10.166 | 890.042 | 65.792 | 0.23733
2020-11-27 05:45:00 | 4.042 | 37.567 | 3.701 | 45.596 | 3.51 | 60.733 | 4.822 | 65.5 | -10.383 | 889.658 | 66.901 | 3.3752
2020-11-27 06:00:00 | 2.551 | 59.093 | 3.598 | 60.998 | 4.051 | 71 | 4.635 | 70.933 | -9.92 | 889.8 | 66.592 | 6.1073
2020-11-27 06:15:00 | 4.368 | 76.367 | 5.017 | 71.914 | 5.43 | 79.467 | 5.453 | 77.1 | -10.149 | 889.492 | 66.293 | 8.6597
2020-11-27 06:30:00 | 3.273 | 195.8 | 2.723 | 167.022 | 2.266 | 141.733 | 3.462 | 112.833 | -10.283 | 889.875 | 66.005 | 8.3882
2020-11-27 06:45:00 | 2.184 | 169.467 | 2.343 | 138.67 | 2.618 | 131.067 | 3.205 | 112.867 | -10.249 | 889.958 | 64.363 | 3.0945
2020-11-27 07:00:00 | 3.004 | 193.853 | 2.645 | 170.363 | 2.294 | 159.5 | 2.485 | 143.133 | -10.535 | 890.033 | 66.443 | 1.6336
2020-11-27 07:15:00 | 2.115 | 211.727 | 1.54 | 185.936 | 1.353 | 186.2 | 1.777 | 154.4 | -9.974 | 889.783 | 64.757 | 0.92018
2020-11-27 07:30:00 | 3.53 | 252.233 | 3.153 | 249.334 | 3.283 | 245.383 | 3.148 | 231.533 | -10.349 | 889.9 | 63.829 | 0.25296
2020-11-27 07:45:00 | 2.09 | 267.9 | 1.746 | 279.811 | 1.369 | 265.317 | 1.233 | 234.983 | -10.959 | 890.042 | 64.469 | 0.34818
2020-11-27 08:00:00 | 2.979 | 270.86 | 1.724 | 273.605 | 0.763 | 243.767 | 0.88 | 200.683 | -10.174 | 889.667 | 64.315 | 0.30696
2020-11-27 08:15:00 | 3.344 | 304.92 | 4.667 | 322.023 | 3.593 | 332.433 | 2.488 | 141.702 | -10.616 | 890.167 | 64.923 | 0.31549
2020-11-27 08:30:00 | 3.971 | 303.453 | 5.108 | 307.692 | 4.967 | 325.533 | 4.175 | 335.233 | -10.947 | 889.667 | 67.136 | 1.4801
2020-11-27 08:45:00 | 2.874 | 302.467 | 4.23 | 307.822 | 3.931 | 328.7 | 3.053 | 288.7 | -10.316 | 889.992 | 67.088 | 1.8958
2020-11-27 09:00:00 | 2.822 | 326.733 | 3.321 | 347.009 | 2.762 | 3.408 | 2.991 | 11.867 | -10.466 | 889.583 | 66.683 | 0.10943
2020-11-27 09:15:00 | 2.563 | 71.501 | 3.636 | 22.581 | 4.403 | 33.808 | 4.62 | 40.7 | -10.576 | 889.8 | 66.763 | 5.0351
2020-11-27 09:30:00 | 1.757 | 45.1 | 3.075 | 62.092 | 3.936 | 73.033 | 4.434 | 72.3 | -10.016 | 889.792 | 65.461 | 3.1968
2020-11-27 09:45:00 | 2.567 | 287.253 | 0.45 | 179.452 | 0.18 | 88.892 | 1.373 | 74.167 | -9.437 | 889.725 | 63.659 | 3.4981
2020-11-27 10:00:00 | 0.489 | 338.8 | 0.027 | 358.241 | 0.416 | 54.933 | 1.982 | 71.367 | -9.291 | 889.583 | 62.56 | 0.33823
2020-11-27 10:15:00 | 1.216 | 324.4 | 0 | 357.131 | 0 | 55.025 | 1.501 | 85 | -9.124 | 889.85 | 61.525 | 0.30554
2020-11-27 10:30:00 | 2.94 | 307.4 | 2.784 | 310.52 | 2.225 | 324.433 | 1.86 | 188.781 | -8.924 | 889.708 | 61.035 | 0.29986
2020-11-27 10:45:00 | 2.017 | 315.2 | 1.89 | 320.458 | 1.877 | 329.433 | 2 | 341.633 | -8.291 | 890.167 | 58.347 | 0.32544
2020-11-27 11:00:00 | 2.333 | 304.533 | 2.267 | 305.346 | 2.187 | 311.333 | 2.289 | 316.967 | -7.789 | 890.158 | 56.507 | 0.30839
2020-11-27 11:15:00 | 1.59 | 308.72 | 1.617 | 326.672 | 1.602 | 338.467 | 1.759 | 284.3 | -7.19 | 890.2 | 54.299 | 0.28849
2020-11-27 11:30:00 | 1.586 | 326.76 | 1.036 | 327.904 | 0.696 | 248.94 | 0.951 | 122 | -7.131 | 889.7 | 51.824 | 0.32544
2020-11-27 11:45:00 | 1.228 | 223.945 | 0.885 | 11.421 | 1.066 | 6.833 | 1.504 | 7.033 | -6.302 | 890.025 | 49.109 | 0.32047
2020-11-27 12:00:00 | 1.796 | 53.722 | 1.42 | 44.871 | 1.364 | 53.8 | 1.898 | 41.367 | -6.037 | 889.808 | 46.869 | 0.32118
2020-11-27 12:15:00 | 0.913 | 135.582 | 0.694 | 84.064 | 1.436 | 29.448 | 2.092 | 29.233 | -5.819 | 889.992 | 46.491 | 0.30625
2020-11-27 12:30:00 | 3.569 | 59.163 | 3.617 | 52.554 | 3.58 | 59.167 | 3.749 | 58.367 | -5.185 | 890.292 | 42.997 | 0.29489
2020-11-27 12:45:00 | 1.838 | 108.147 | 1.035 | 98.541 | 0.976 | 86.3 | 1.478 | 73.1 | -5.997 | 890.283 | 45.963 | 1.635
2020-11-27 13:00:00 | 3.415 | 84.163 | 3.501 | 81.726 | 3.443 | 82.367 | 3.724 | 81.2 | -5.302 | 889.575 | 43.957 | 0.27428
2020-11-27 13:15:00 | 2.526 | 110.39 | 2.498 | 107.878 | 2.554 | 108.2 | 3.11 | 97.7 | -4.59 | 889.808 | 41.899 | 0.24301
2020-11-27 13:30:00 | 1.73 | 117.767 | 1.514 | 113.791 | 1.446 | 116.2 | 1.887 | 89.6 | -4.367 | 889.758 | 40.459 | 0.20464
2020-11-27 13:45:00 | 1.769 | 127.133 | 1.54 | 123.875 | 2.093 | 125.567 | 2.885 | 115.5 | -3.421 | 889.433 | 39.552 | 1.6407
2020-11-27 14:00:00 | 4.703 | 92.57 | 4.475 | 89.406 | 4.679 | 94.4 | 5.205 | 88.7 | -2.862 | 889.633 | 37.803 | 8.2866
2020-11-27 14:15:00 | 5.952 | 88.42 | 5.584 | 81.49 | 5.594 | 85.267 | 6.115 | 83.633 | -2.663 | 889.583 | 37.424 | 18.8272
2020-11-27 14:30:00 | 7.432 | 85.013 | 6.965 | 83.503 | 6.86 | 88.6 | 6.82 | 84.733 | -2.556 | 889.633 | 36.795 | 34.0077
2020-11-27 14:45:00 | 8.447 | 90.79 | 8.127 | 85.335 | 8.608 | 87.3 | 8.996 | 81.133 | -2.724 | 889.233 | 36.715 | 54.2354
2020-11-27 15:00:00 | 7.683 | 89.363 | 7.295 | 86.752 | 7.144 | 91.067 | 7.258 | 89.133 | -2.56 | 890.067 | 36.352 | 56.0317
2020-11-27 15:15:00 | 7.469 | 88.913 | 7.313 | 85.197 | 7.167 | 86.967 | 7.076 | 85.067 | -2.548 | 889.5 | 36.176 | 54.3946
2020-11-27 15:30:00 | 6.223 | 99.613 | 5.236 | 94.157 | 5.079 | 99.9 | 5.438 | 93.8 | -2.639 | 889.583 | 36.299 | 50.0203
2020-11-27 15:45:00 | 5.774 | 89.39 | 5.442 | 86.749 | 5.023 | 92.567 | 4.915 | 90.767 | -2.838 | 889.933 | 36.565 | 34.2721
2020-11-27 16:00:00 | 5.133 | 95.88 | 4.349 | 93.956 | 4.161 | 94.5 | 4.272 | 86.733 | -2.639 | 890.017 | 36.379 | 27.467
2020-11-27 16:15:00 | 5.696 | 86.073 | 5.457 | 80.65 | 5.592 | 85.4 | 5.666 | 81.9 | -2.94 | 889.917 | 36.48 | 25.7232
2020-11-27 16:30:00 | 5.376 | 86.69 | 5.054 | 81.876 | 5.243 | 86.433 | 5.429 | 82.2 | -2.618 | 889.45 | 36.325 | 24.5401
2020-11-27 16:45:00 | 5.261 | 97.05 | 4.272 | 94.573 | 4.13 | 97.3 | 4.442 | 90.667 | -2.7 | 889.683 | 36.213 | 17.7727
2020-11-27 17:00:00 | 6.034 | 74.617 | 6.064 | 71.13 | 6.411 | 74.733 | 6.574 | 69.767 | -3.002 | 889.683 | 36.565 | 17.3016
2020-11-27 17:15:00 | 5.309 | 72.633 | 5.37 | 67.781 | 5.711 | 71.433 | 6.022 | 67.767 | -3.589 | 889.867 | 37.675 | 19.9897
2020-11-27 17:30:00 | 5.046 | 73.1 | 5.052 | 71.867 | 5.595 | 75.6 | 5.858 | 71.733 | -3.672 | 889.75 | 38.224 | 16.3779
2020-11-27 17:45:00 | 5.626 | 72.74 | 5.385 | 68.952 | 5.812 | 73.933 | 5.698 | 71.5 | -4.128 | 889.5 | 38.955 | 15.9252
2020-11-27 18:00:00 | 5.058 | 84.92 | 5.158 | 79.086 | 5.514 | 82.833 | 5.56 | 80.467 | -4.258 | 889.8 | 39.301 | 15.7149
2020-11-27 18:15:00 | 4.114 | 81.993 | 4.134 | 77.878 | 4.777 | 81.133 | 5.219 | 77.233 | -4.133 | 889.817 | 39.68 | 15.1543
2020-11-27 18:30:00 | 4.49 | 83.03 | 4.184 | 81.026 | 4.152 | 87.733 | 4.436 | 82.833 | -4.384 | 889.983 | 40.208 | 11.8459
2020-11-27 18:45:00 | 4.306 | 83.603 | 4.38 | 80.289 | 4.786 | 85.8 | 4.702 | 82.733 | -4.44 | 889.633 | 40.635 | 7.9413
2020-11-27 19:00:00 | 4.168 | 83.333 | 4.278 | 79.261 | 4.572 | 85.367 | 4.407 | 80.5 | -4.819 | 889.783 | 41.301 | 8.2376
2020-11-27 19:15:00 | 3.23 | 87.167 | 3.461 | 80.45 | 3.148 | 87.333 | 3.558 | 81.533 | -4.852 | 889.892 | 41.995 | 7.0879
2020-11-27 19:30:00 | 3.471 | 83.8 | 3.598 | 81.682 | 3.464 | 86 | 3.792 | 81.933 | -5.269 | 889.908 | 42.56 | 5.5239
2020-11-27 19:45:00 | 4.152 | 87.833 | 4.223 | 82.392 | 4.344 | 87 | 4.241 | 85.267 | -5.535 | 889.842 | 43.296 | 6.599
2020-11-27 20:00:00 | 2.83 | 97.067 | 3.37 | 87.024 | 2.925 | 89.433 | 3.215 | 82.633 | -5.8 | 889.908 | 43.755 | 7.0261
2020-11-27 20:15:00 | 2.527 | 119.47 | 3.07 | 103.804 | 2.666 | 100.733 | 2.532 | 92.967 | -6.096 | 890.05 | 45.035 | 6.9252
2020-11-27 20:30:00 | 2.646 | 118.76 | 2.73 | 99.848 | 2.156 | 99 | 2.499 | 90.8 | -5.958 | 889.6 | 45.803 | 5.1147
2020-11-27 20:45:00 | 2.862 | 124.677 | 3.049 | 107.285 | 2.716 | 110.9 | 2.786 | 94 | -5.461 | 890.217 | 45.237 | 3.911
2020-11-27 21:00:00 | 2.252 | 137.447 | 2.602 | 108.633 | 2.05 | 102.767 | 2.401 | 89.333 | -6.306 | 890.292 | 45.28 | 4.7139
2020-11-27 21:15:00 | 1.868 | 142.96 | 2.398 | 104.992 | 1.994 | 104.733 | 2.097 | 87.6 | -6.638 | 890 | 45.611 | 2.4017
2020-11-27 21:30:00 | 1.557 | 137.633 | 1.697 | 115.396 | 1.874 | 111.367 | 1.676 | 97.633 | -6.853 | 889.667 | 48.501 | 1.073
2020-11-27 21:45:00 | 1.873 | 143.487 | 2.351 | 113.846 | 2.374 | 106.2 | 2.356 | 100.067 | -7.366 | 890.075 | 48.011 | 0.43984
2020-11-27 22:00:00 | 2.318 | 158.953 | 2.379 | 116.9 | 2.684 | 117.733 | 3.163 | 109.767 | -7.483 | 890.067 | 48.971 | 0.2018
2020-11-27 22:15:00 | 2.756 | 175.967 | 2.37 | 133.004 | 2.728 | 122.833 | 3.192 | 121.033 | -8.073 | 889.892 | 49.483 | 0.53719
2020-11-27 22:30:00 | 2.132 | 177.3 | 2.248 | 130.596 | 2.768 | 118.067 | 3.225 | 115.7 | -8.758 | 889.75 | 50.955 | 0.67717
2020-11-27 22:45:00 | 2.285 | 197.867 | 1.517 | 139.501 | 2.073 | 124.9 | 2.68 | 111.3 | -8.674 | 889.717 | 51.648 | 0.58835
2020-11-27 23:00:00 | 1.946 | 191.493 | 1.114 | 145.927 | 1.687 | 119.9 | 1.542 | 97.333 | -9.287 | 889.733 | 54.048 | 0.1883
2020-11-27 23:15:00 | 1.88 | 214.107 | 0.03 | 140.573 | 0.513 | 104 | 0.933 | 96 | -9.641 | 890.342 | 53.749 | 0.29844
2020-11-27 23:30:00 | 2.234 | 208.567 | 0.177 | 130.52 | 1.693 | 106.2 | 2.382 | 94.9 | -9.358 | 889.683 | 54.144 | 0.32118
2020-11-27 23:45:00 | 2.369 | 204.7 | 1.312 | 130.597 | 2.236 | 106.033 | 2.782 | 96.967 | -9.191 | 889.858 | 54.283 | 0.30412