## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-28 00:00:00 | 1.944 | 193.3 | 1.3 | 133.783 | 2.275 | 112.667 | 2.828 | 105.333 | -8.974 | 889.75 | 54.421 | 0.29133
2020-11-28 00:15:00 | 2.223 | 191.067 | 1.666 | 140.217 | 2.344 | 121.467 | 3.324 | 112.8 | -9.395 | 889.767 | 53.067 | 0.22028
2020-11-28 00:30:00 | 2.616 | 198.793 | 1.905 | 148.818 | 2.425 | 124.067 | 3.734 | 112 | -9.904 | 889.975 | 54.443 | 0.91521
2020-11-28 00:45:00 | 2.862 | 198.133 | 2.209 | 161.501 | 2.963 | 136.167 | 4.065 | 120.333 | -9.124 | 889.908 | 55.712 | 1.7523
2020-11-28 01:00:00 | 2.809 | 186.24 | 2.805 | 146.373 | 3.942 | 126.967 | 4.35 | 119.067 | -10.037 | 889.942 | 55.168 | 3.3681
2020-11-28 01:15:00 | 3.154 | 189.087 | 2.929 | 143.122 | 2.943 | 133.233 | 3.656 | 124.667 | -9.724 | 889.767 | 56.235 | 3.9799
2020-11-28 01:30:00 | 3.504 | 193.32 | 3.201 | 147.806 | 2.73 | 141.5 | 2.74 | 129.267 | -9.983 | 890.108 | 56.917 | 3.9678
2020-11-28 01:45:00 | 2.451 | 192.027 | 1.811 | 139.491 | 2.692 | 122.867 | 3.266 | 115.733 | -9.766 | 889.958 | 55.883 | 2.2589
2020-11-28 02:00:00 | 2.526 | 191.18 | 2.183 | 135.89 | 2.919 | 115.567 | 3.51 | 107.067 | -9.683 | 889.85 | 55.499 | 1.5057
2020-11-28 02:15:00 | 3.728 | 192.54 | 2.982 | 145.898 | 3.068 | 130.3 | 3.692 | 117.2 | -10.614 | 890.067 | 55.264 | 3.567
2020-11-28 02:30:00 | 3.584 | 192 | 2.764 | 151.035 | 2.979 | 133.167 | 3.729 | 120.167 | -10.516 | 890.317 | 57.568 | 3.7788
2020-11-28 02:45:00 | 3.18 | 187.273 | 2.437 | 146.17 | 2.923 | 128.967 | 3.575 | 118.433 | -10.004 | 889.958 | 56.864 | 2.2326
2020-11-28 03:00:00 | 2.908 | 198.947 | 1.957 | 143.705 | 2.596 | 124.867 | 3.145 | 114.367 | -9.787 | 890.008 | 55.403 | 2.3072
2020-11-28 03:15:00 | 3.364 | 202.967 | 2.104 | 160.466 | 2.117 | 145.533 | 3.139 | 127.1 | -9.274 | 889.717 | 55.019 | 0.70275
2020-11-28 03:30:00 | 4.112 | 203.927 | 2.4 | 174.184 | 2.278 | 156.933 | 2.585 | 134 | -9.749 | 889.825 | 55.616 | 0.62246
2020-11-28 03:45:00 | 3.716 | 213.167 | 1.781 | 175.848 | 1.771 | 158.567 | 2.421 | 140.067 | -9.549 | 889.992 | 55.349 | 0.25296
2020-11-28 04:00:00 | 3.066 | 213.547 | 0.934 | 165.729 | 1.237 | 143.667 | 2.343 | 127.033 | -9.891 | 890.208 | 55.872 | 0.28209
2020-11-28 04:15:00 | 2.573 | 220.56 | 0.097 | 183.152 | 1.05 | 135.333 | 2.189 | 116.933 | -10.124 | 890.067 | 57.429 | 0.3027
2020-11-28 04:30:00 | 2.532 | 221.127 | 0 | 182.457 | 0.944 | 128 | 2.192 | 110 | -9.662 | 889.592 | 56.501 | 0.1208
2020-11-28 04:45:00 | 3.05 | 225.6 | 0.107 | 169.478 | 0.81 | 153.833 | 2.293 | 134.467 | -9.912 | 889.583 | 56.544 | 0.22596
2020-11-28 05:00:00 | 4.738 | 225.227 | 1.152 | 195.88 | 0.66 | 167.733 | 1.599 | 131.4 | -10.564 | 889.992 | 55.232 | 0.32615
2020-11-28 05:15:00 | 4.976 | 227.013 | 1.8 | 211.916 | 1.229 | 184.167 | 1.639 | 148.6 | -12.366 | 889.875 | 59.477 | 0.1279
2020-11-28 05:30:00 | 5.759 | 229.267 | 3.076 | 230.958 | 1.957 | 227.033 | 1.697 | 185.567 | -14.066 | 890.067 | 64.192 | 0.20251
2020-11-28 05:45:00 | 5.048 | 236.38 | 3.205 | 259.531 | 2.467 | 262.6 | 1.808 | 226 | -14.87 | 889.933 | 68.213 | 0.31691
2020-11-28 06:00:00 | 5.006 | 232.94 | 2.217 | 277.642 | 1.378 | 292 | 1.546 | 226.1 | -14.158 | 889.842 | 68.72 | 0.30128
2020-11-28 06:15:00 | 6.037 | 230.367 | 3.203 | 245.4 | 0.797 | 271.5 | 0 | 225.9 | -13.672 | 890.092 | 69.525 | 0.3027
2020-11-28 06:30:00 | 6.372 | 227.513 | 4.424 | 235.351 | 2.874 | 243.733 | 1.962 | 226 | -13.466 | 889.742 | 67.221 | 0.30412
2020-11-28 06:45:00 | 6.823 | 227.42 | 4.825 | 230.795 | 3.133 | 235 | 2.316 | 225.567 | -13.597 | 890.208 | 67.979 | 0.31833
2020-11-28 07:00:00 | 5.554 | 235 | 4.408 | 241.376 | 2.958 | 248.867 | 2.341 | 226 | -13.662 | 889.858 | 66.88 | 0.23875
2020-11-28 07:15:00 | 5.516 | 237.653 | 3.502 | 242.539 | 2.146 | 251 | 2.04 | 224.8 | -13.409 | 889.767 | 69.227 | 0.14638
2020-11-28 07:30:00 | 6.289 | 233.453 | 4.252 | 235.869 | 3.528 | 239.1 | 2.643 | 218.967 | -12.888 | 889.742 | 66.08 | 0.13572
2020-11-28 07:45:00 | 5.602 | 234.633 | 4.248 | 239.378 | 3.466 | 232.167 | 2.436 | 219 | -12.232 | 889.525 | 65.44 | 0.052582
2020-11-28 08:00:00 | 4.685 | 230.787 | 4.084 | 240.59 | 3.163 | 237.267 | 2.088 | 217.867 | -12.082 | 890.133 | 65.248 | 0.1478
2020-11-28 08:15:00 | 4.69 | 229.853 | 3.208 | 245.518 | 3.102 | 248.1 | 1.862 | 221 | -11.553 | 889.733 | 62.731 | 0.32686
2020-11-28 08:30:00 | 5.492 | 227.7 | 2.771 | 247.493 | 2.57 | 252.033 | 1.959 | 221 | -13.941 | 889.933 | 65.077 | 0.30128
2020-11-28 08:45:00 | 3.636 | 237.907 | 1.884 | 255.311 | 1.885 | 255.933 | 0.732 | 221.4 | -11.849 | 890.117 | 69.733 | 0.30128
2020-11-28 09:00:00 | 3.083 | 239.033 | 2.053 | 264.904 | 0.93 | 256.033 | 0.027 | 221.467 | -9.291 | 889.992 | 61.973 | 0.30128
2020-11-28 09:15:00 | 3.784 | 222.293 | 1.047 | 266.307 | 0.413 | 256 | 0 | 221.6 | -11.97 | 889.942 | 59.76 | 0.30128
2020-11-28 09:30:00 | 4.043 | 224.333 | 0.799 | 264.836 | 0.233 | 255.967 | 0.803 | 221.817 | -11.736 | 890.092 | 63.755 | 0.30128
2020-11-28 09:45:00 | 2.919 | 229 | 0.347 | 277.01 | 0.52 | 325.933 | 1.031 | 305.933 | -9.158 | 889.608 | 61.216 | 0.29986
2020-11-28 10:00:00 | 2.54 | 223.913 | 0 | 271.017 | 0 | 326 | 0 | 305.9 | -8.334 | 889.892 | 56.075 | 0.29844
2020-11-28 10:15:00 | 1.427 | 220.573 | 0 | 271.005 | 0 | 326 | 0.03 | 306 | -7.59 | 889.808 | 55.701 | 0.29844
2020-11-28 10:30:00 | 0 | 220.153 | 0 | 271.009 | 0 | 326 | 0.773 | 305.967 | -4.58 | 890.275 | 50.347 | 0.30128
2020-11-28 10:45:00 | 0.073 | 220 | 0 | 275.134 | 0.033 | 72 | 1.448 | 89.933 | -3.338 | 890.108 | 45.563 | 0.29844
2020-11-28 11:00:00 | 1.547 | 39.55 | 1.223 | 29.219 | 1.391 | 42.067 | 1.888 | 63.433 | -5.185 | 889.758 | 43.371 | 0.21388
2020-11-28 11:15:00 | 2.157 | 65.343 | 2.104 | 60.296 | 2.001 | 68.9 | 2.3 | 69.467 | -5.402 | 889.558 | 43.36 | 0.2288
2020-11-28 11:30:00 | 2.972 | 105.07 | 2.978 | 102.231 | 3.006 | 106.267 | 3.323 | 106.8 | -5.485 | 889.5 | 43.221 | 0.16414
2020-11-28 11:45:00 | 2.731 | 126.54 | 2.906 | 120.29 | 3.127 | 122.933 | 3.283 | 115.733 | -4.915 | 889.717 | 41.675 | 0.34463
2020-11-28 12:00:00 | 2.126 | 104.34 | 1.997 | 92.672 | 2.07 | 99.9 | 2.399 | 92.8 | -4.048 | 889.783 | 39.141 | 1.208
2020-11-28 12:15:00 | 2.765 | 90.8 | 2.531 | 85.484 | 2.578 | 90.333 | 2.944 | 84.767 | -3.84 | 889.567 | 38.715 | 1.1227
2020-11-28 12:30:00 | 3.143 | 79.833 | 3.218 | 76.744 | 3.246 | 83.6 | 3.487 | 81.633 | -3.589 | 889.633 | 38.101 | 1.4709
2020-11-28 12:45:00 | 3.535 | 79.067 | 3.413 | 76.79 | 3.217 | 79.7 | 3.375 | 78.6 | -3.271 | 889.667 | 36.997 | 1.3863
2020-11-28 13:00:00 | 3.681 | 75.8 | 3.428 | 72.789 | 3.339 | 78.067 | 3.557 | 80.833 | -3.487 | 889.467 | 37.2 | 2.0628
2020-11-28 13:15:00 | 3.429 | 84.133 | 3.394 | 79.993 | 3.276 | 84.533 | 3.753 | 81.733 | -3.371 | 889.583 | 36.891 | 3.3411
2020-11-28 13:30:00 | 3.737 | 81.653 | 3.635 | 77.077 | 3.679 | 80.467 | 4.031 | 75.033 | -3.263 | 889.95 | 36.853 | 4.0097
2020-11-28 13:45:00 | 4.132 | 66.897 | 4.016 | 64.439 | 4.155 | 66.9 | 4.256 | 62.267 | -2.679 | 889.667 | 37.291 | 4.0204
2020-11-28 14:00:00 | 4.11 | 79.41 | 3.834 | 75.899 | 3.948 | 79.967 | 4.278 | 74.333 | -2.794 | 889.8 | 37.792 | 4.009
2020-11-28 14:15:00 | 4.09 | 72.542 | 3.703 | 69.729 | 3.746 | 73 | 3.972 | 68 | -2.855 | 890.033 | 37.627 | 5.0372
2020-11-28 14:30:00 | 3.782 | 79.467 | 3.576 | 77.265 | 3.686 | 82.9 | 3.984 | 77.567 | -3.254 | 889.983 | 37.445 | 5.045
2020-11-28 14:45:00 | 4.158 | 62.372 | 4.099 | 57.093 | 4.222 | 62.067 | 4.455 | 61.833 | -3.15 | 889.617 | 37.189 | 5.5154
2020-11-28 15:00:00 | 3.476 | 72.332 | 3.401 | 67.868 | 3.639 | 67.833 | 4.045 | 64.667 | -2.892 | 889.4 | 37.2 | 5.9844
2020-11-28 15:15:00 | 3.701 | 88.777 | 3.787 | 82.02 | 3.942 | 84.5 | 3.991 | 77.367 | -3.084 | 889.533 | 37.403 | 5.0578
2020-11-28 15:30:00 | 3.635 | 73.997 | 3.548 | 72.498 | 3.51 | 79.367 | 3.897 | 73.267 | -2.72 | 889.5 | 37.003 | 5.0003
2020-11-28 15:45:00 | 3.654 | 91.277 | 3.437 | 85.524 | 3.282 | 88.1 | 3.575 | 84.567 | -2.398 | 889.85 | 36.779 | 5.374
2020-11-28 16:00:00 | 4.156 | 81.71 | 3.931 | 77.119 | 4.025 | 82.067 | 4.17 | 77.2 | -2.217 | 890.033 | 36.613 | 6.0803
2020-11-28 16:15:00 | 3.564 | 78.497 | 3.491 | 72.726 | 3.733 | 78.467 | 4.054 | 74.233 | -2.72 | 889.517 | 36.789 | 6.2985
2020-11-28 16:30:00 | 4.148 | 79.655 | 3.92 | 74.754 | 4.108 | 75 | 4.418 | 72.133 | -2.589 | 889.617 | 36.917 | 6.1613
2020-11-28 16:45:00 | 3.789 | 87.38 | 3.662 | 82.268 | 3.514 | 87.3 | 3.827 | 80.433 | -2.458 | 889.65 | 37.184 | 6.1912
2020-11-28 17:00:00 | 4.133 | 75.613 | 3.98 | 70.564 | 4.108 | 72.8 | 4.452 | 68 | -2.639 | 889.767 | 37.504 | 5.4159
2020-11-28 17:15:00 | 4.036 | 73.93 | 3.854 | 68.836 | 4.111 | 72.767 | 4.322 | 69.9 | -3.093 | 889.833 | 38.149 | 6.2963
2020-11-28 17:30:00 | 3.69 | 71.433 | 3.742 | 68.37 | 3.973 | 73.167 | 4.252 | 71 | -3.171 | 889.95 | 38.832 | 6.2239
2020-11-28 17:45:00 | 3.56 | 71.767 | 3.484 | 67.608 | 3.901 | 72.1 | 4.103 | 69.5 | -3.689 | 889.817 | 40.059 | 5.7265
2020-11-28 18:00:00 | 3.323 | 67.58 | 3.311 | 65.29 | 3.738 | 72.633 | 4.105 | 69.2 | -3.97 | 890.267 | 41.205 | 5.1822
2020-11-28 18:15:00 | 2.98 | 68.758 | 3.046 | 65.185 | 3.376 | 70.333 | 3.754 | 66.933 | -4.384 | 889.792 | 42.325 | 4.7295
2020-11-28 18:30:00 | 2.541 | 71.197 | 2.83 | 68.363 | 3.261 | 71.6 | 3.622 | 68.733 | -4.819 | 890.092 | 43.115 | 3.8371
2020-11-28 18:45:00 | 2.448 | 75.1 | 2.51 | 72.73 | 2.676 | 76.2 | 3.004 | 76.8 | -5.252 | 889.85 | 44.288 | 1.6748
2020-11-28 19:00:00 | 1.888 | 85.343 | 2.586 | 72.779 | 2.563 | 80.1 | 2.549 | 72.967 | -5.611 | 889.942 | 44.853 | 0.64377
2020-11-28 19:15:00 | 1.337 | 81.647 | 1.973 | 74.348 | 1.964 | 80.733 | 2.314 | 73.533 | -5.879 | 890.033 | 46.251 | 0.19256
2020-11-28 19:30:00 | 1.129 | 76.2 | 1.968 | 63.258 | 2.114 | 69 | 2.385 | 72 | -6.378 | 889.633 | 48.128 | 0.18191
2020-11-28 19:45:00 | 0.764 | 75.2 | 2.191 | 62.126 | 2.306 | 66.067 | 2.457 | 71.9 | -6.478 | 890.108 | 50.176 | 0.2153
2020-11-28 20:00:00 | 0 | 75.257 | 2.063 | 62.127 | 2.178 | 66 | 2.626 | 72 | -7.032 | 890.15 | 51.509 | 0.23875
2020-11-28 20:15:00 | 0 | 75.257 | 1.069 | 62.094 | 1.787 | 66 | 1.93 | 72 | -8.05 | 889.8 | 54.603 | 0.29702
2020-11-28 20:30:00 | 0.159 | 207.087 | 0 | 62.1 | 1.811 | 65.967 | 1.861 | 72 | -7.93 | 889.625 | 55.819 | 0.29702
2020-11-28 20:45:00 | 1.679 | 218.5 | 0 | 62.119 | 0.147 | 66 | 1.523 | 72 | -7.665 | 889.633 | 54.485 | 0.29844
2020-11-28 21:00:00 | 1.726 | 223.9 | 0 | 62.134 | 0 | 66 | 1.286 | 72 | -7.622 | 889.658 | 53.728 | 0.29702
2020-11-28 21:15:00 | 1.867 | 226.527 | 0 | 62.128 | 0 | 66 | 0.547 | 72 | -7.452 | 890.1 | 52.821 | 0.29844
2020-11-28 21:30:00 | 1.621 | 224.6 | 0 | 62.126 | 0 | 65.833 | 0.054 | 72 | -7.606 | 890.283 | 52.875 | 0.29844
2020-11-28 21:45:00 | 1.47 | 219.6 | 0 | 62.136 | 0 | 66 | 1.179 | 72 | -7.556 | 889.65 | 52.736 | 0.29844
2020-11-28 22:00:00 | 1.649 | 213.5 | 0 | 62.124 | 0 | 66.067 | 0.89 | 72 | -7.723 | 889.967 | 52.789 | 0.29702
2020-11-28 22:15:00 | 1.272 | 210.227 | 0 | 62.138 | 0 | 66 | 1.405 | 73 | -7.943 | 890.225 | 53.28 | 0.29844
2020-11-28 22:30:00 | 1.85 | 221.433 | 0 | 62.155 | 0.143 | 110.033 | 1.387 | 74.6 | -8.19 | 889.7 | 53.28 | 0.29844
2020-11-28 22:45:00 | 2.613 | 225.627 | 0 | 63.131 | 0 | 110 | 0.608 | 74.2 | -8.177 | 889.633 | 53.173 | 0.29844
2020-11-28 23:00:00 | 2.844 | 228.867 | 0 | 63.122 | 0 | 110 | 0.762 | 73 | -8.774 | 890.125 | 53.995 | 0.29844
2020-11-28 23:15:00 | 2.318 | 238.767 | 0 | 56.714 | 0 | 78 | 1.134 | 59.767 | -8.658 | 889.767 | 54.507 | 0.29844
2020-11-28 23:30:00 | 2.696 | 242.073 | 0 | 5.893 | 0 | 54 | 0.497 | 59 | -8.488 | 889.317 | 54.048 | 0.29986
2020-11-28 23:45:00 | 3.052 | 252.613 | 0 | 339.468 | 0 | 18.002 | 0.329 | 58.867 | -8.824 | 889.733 | 54.741 | 0.30554