## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-29 00:00:00 | 2.918 | 262.733 | 0.176 | 322.98 | 0 | 51.092 | 0.426 | 59 | -8.974 | 889.975 | 55.952 | 0.30412
2020-11-29 00:15:00 | 4.81 | 261.4 | 2.673 | 276.144 | 1.517 | 291.633 | 1.049 | 277.688 | -9.241 | 890.208 | 55.611 | 0.30981
2020-11-29 00:30:00 | 5.46 | 250.893 | 4.145 | 269.389 | 3.257 | 275.9 | 2.545 | 268.067 | -10.999 | 890.017 | 56.581 | 0.33823
2020-11-29 00:45:00 | 3.374 | 273.813 | 2.321 | 302.35 | 1.594 | 314.467 | 1.456 | 306.8 | -9.987 | 889.858 | 58.859 | 0.32118
2020-11-29 01:00:00 | 2.061 | 283.787 | 1.339 | 325.057 | 0.716 | 344.3 | 1.467 | 220.567 | -8.11 | 889.642 | 54.437 | 0.29844
2020-11-29 01:15:00 | 2.582 | 264.533 | 1.61 | 334.928 | 1.184 | 354.4 | 1.273 | 0 | -8.641 | 889.592 | 54.112 | 0.29844
2020-11-29 01:30:00 | 3.22 | 268.867 | 2.048 | 320.533 | 1.135 | 354.7 | 1.21 | 11.833 | -8.908 | 890.108 | 55.691 | 0.29844
2020-11-29 01:45:00 | 4.235 | 253.14 | 2.333 | 291.933 | 1.796 | 342.733 | 1.514 | 0 | -10.087 | 889.917 | 56.149 | 0.29844
2020-11-29 02:00:00 | 4.41 | 253.56 | 2.79 | 291.419 | 2.007 | 320.8 | 1.488 | 291.5 | -9.87 | 890.092 | 57.248 | 0.29844
2020-11-29 02:15:00 | 5.667 | 257.333 | 4.518 | 281.728 | 3.521 | 300.633 | 2.961 | 304.067 | -10.249 | 890.058 | 58.485 | 0.3027
2020-11-29 02:30:00 | 6.14 | 253.7 | 5.9 | 270.898 | 5.271 | 281.4 | 4.711 | 290.467 | -11.311 | 890.633 | 60.107 | 1.1966
2020-11-29 02:45:00 | 5.924 | 257.673 | 6.471 | 274.448 | 6.136 | 282.933 | 5.874 | 283.167 | -11.478 | 890.067 | 61.499 | 9.685
2020-11-29 03:00:00 | 5.689 | 253.893 | 5.831 | 274.613 | 5.878 | 280.4 | 5.791 | 280.367 | -11.345 | 889.717 | 62.181 | 11.8437
2020-11-29 03:15:00 | 5.397 | 261.493 | 5.657 | 282.347 | 5.473 | 289.1 | 5.724 | 288.567 | -10.685 | 889.633 | 61.808 | 12.96
2020-11-29 03:30:00 | 5.232 | 251.927 | 5.693 | 272.554 | 5.487 | 283.467 | 5.621 | 285.833 | -10.799 | 889.967 | 62.037 | 14.2582
2020-11-29 03:45:00 | 5.038 | 257.827 | 5.026 | 271.734 | 5.08 | 278.867 | 5.355 | 280.567 | -10.886 | 889.683 | 64.048 | 11.0344
2020-11-29 04:00:00 | 4.47 | 240.213 | 5.159 | 261.196 | 5.382 | 264.867 | 5.668 | 260.417 | -10.524 | 890.2 | 64.747 | 10.289
2020-11-29 04:15:00 | 3.554 | 222.66 | 4.151 | 257.414 | 4.626 | 268.333 | 4.96 | 261.3 | -11.443 | 890.042 | 68.901 | 9.5848
2020-11-29 04:30:00 | 4.669 | 245.013 | 4.659 | 248.31 | 4.503 | 255.033 | 4.414 | 256.267 | -11.243 | 889.717 | 73.451 | 8.3392
2020-11-29 04:45:00 | 3.684 | 252.267 | 3.604 | 265.107 | 3.505 | 269.067 | 3.652 | 267.467 | -10.499 | 889.358 | 71.611 | 8.0017
2020-11-29 05:00:00 | 4.754 | 221.5 | 4.219 | 224.202 | 3.485 | 233.233 | 3.073 | 244.2 | -10.316 | 890.05 | 67.797 | 8.2589
2020-11-29 05:15:00 | 5.133 | 219.86 | 3.916 | 226.759 | 3.56 | 235.833 | 3.774 | 238.2 | -10.853 | 889.817 | 69.323 | 5.2191
2020-11-29 05:30:00 | 4.504 | 212.153 | 2.963 | 222.232 | 2.937 | 231.533 | 3.15 | 235 | -10.401 | 889.817 | 71.317 | 3.5983
2020-11-29 05:45:00 | 3.332 | 230.8 | 2.487 | 234.754 | 2.316 | 239.667 | 2.558 | 236 | -10.249 | 890.017 | 69.557 | 1.8034
2020-11-29 06:00:00 | 3.494 | 266.667 | 3.105 | 267.391 | 2.617 | 278.467 | 2.705 | 277.8 | -10.133 | 889.85 | 70.101 | 2.1409
2020-11-29 06:15:00 | 3.52 | 225.027 | 3.067 | 251.598 | 2.412 | 279.267 | 2.62 | 287.033 | -10.539 | 889.992 | 68.384 | 2.465
2020-11-29 06:30:00 | 4.666 | 220.293 | 3.869 | 226.665 | 3.516 | 250.7 | 3.518 | 259.367 | -9.87 | 890.083 | 69.547 | 2.9801
2020-11-29 06:45:00 | 4.523 | 205.987 | 4.694 | 210.658 | 4.17 | 211.633 | 3.928 | 204.7 | -9.828 | 890.117 | 69.152 | 7.3309
2020-11-29 07:00:00 | 3.552 | 222.867 | 2.619 | 234.904 | 1.883 | 238.667 | 1.862 | 236.033 | -9.274 | 890.358 | 67.573 | 2.4678
2020-11-29 07:15:00 | 4.901 | 212.9 | 3.963 | 213.157 | 3.392 | 218.933 | 3.179 | 218.467 | -9.341 | 889.983 | 67.584 | 2.0244
2020-11-29 07:30:00 | 4.402 | 221.167 | 4.749 | 225.818 | 4.201 | 231.367 | 3.852 | 225.6 | -9.008 | 889.475 | 66.624 | 4.532
2020-11-29 07:45:00 | 4.684 | 215.8 | 5.88 | 215.446 | 5.142 | 221.2 | 4.602 | 216.667 | -8.641 | 889.975 | 66.08 | 9.2828
2020-11-29 08:00:00 | 4.616 | 215.42 | 5.462 | 209.523 | 5.6 | 220.267 | 5.005 | 218.4 | -8.13 | 889.717 | 64.779 | 10.3217
2020-11-29 08:15:00 | 3.898 | 215.627 | 5.58 | 211.429 | 5.886 | 218.5 | 5.251 | 218 | -8.01 | 889.975 | 63.509 | 12.7582
2020-11-29 08:30:00 | 3.126 | 222.013 | 4.854 | 219.462 | 4.448 | 227.367 | 3.979 | 225.9 | -8.25 | 889.983 | 62.667 | 8.9723
2020-11-29 08:45:00 | 2.357 | 241.547 | 3.282 | 228.443 | 3.147 | 245.7 | 3.085 | 249.767 | -7.816 | 890.108 | 62.048 | 2.4358
2020-11-29 09:00:00 | 1.868 | 229.487 | 2.592 | 222.982 | 2.475 | 233.8 | 2.196 | 245 | -7.98 | 890.083 | 61.525 | 0.53648
2020-11-29 09:15:00 | 2.023 | 219.6 | 2.564 | 214.874 | 3.224 | 217.9 | 3.094 | 218.4 | -7.539 | 889.742 | 60.597 | 0.1883
2020-11-29 09:30:00 | 2.283 | 214.367 | 3.081 | 215.577 | 3.028 | 224 | 2.519 | 218.767 | -7.656 | 889.8 | 60.064 | 0.068214
2020-11-29 09:45:00 | 2.809 | 207 | 3.873 | 208.573 | 4.897 | 212.9 | 4.364 | 211 | -7.489 | 889.6 | 59.424 | 1.5625
2020-11-29 10:00:00 | 2.271 | 247.887 | 3.333 | 234.635 | 3.742 | 244.667 | 3.545 | 244 | -7.2 | 890.008 | 58.592 | 1.8347
2020-11-29 10:15:00 | 1.896 | 228.367 | 2.909 | 241.128 | 2.727 | 253.133 | 2.535 | 253.9 | -6.612 | 889.675 | 56.917 | 1.4019
2020-11-29 10:30:00 | 1.934 | 235.4 | 2.129 | 242.463 | 1.901 | 247.867 | 1.946 | 251.5 | -5.997 | 889.758 | 54.421 | 0.39365
2020-11-29 10:45:00 | 2.031 | 241.2 | 1.95 | 244.098 | 2.053 | 265.6 | 2.482 | 269.633 | -5.385 | 889.917 | 51.616 | 0.20677
2020-11-29 11:00:00 | 1.93 | 249.653 | 1.83 | 247.829 | 1.909 | 258.45 | 2.283 | 260.8 | -4.902 | 890 | 52.779 | 0.23164
2020-11-29 11:15:00 | 1.892 | 259.36 | 1.619 | 262.443 | 1.756 | 266.017 | 2.077 | 269.467 | -5.169 | 890.017 | 62.949 | 0.28138
2020-11-29 11:30:00 | 2.636 | 276.267 | 2.533 | 270.313 | 2.647 | 272.767 | 2.635 | 268.9 | -5.102 | 889.825 | 69.344 | 0.25651
2020-11-29 11:45:00 | 2.237 | 277.8 | 2.052 | 277.464 | 1.917 | 278.633 | 2.102 | 276.467 | -5.502 | 890.125 | 75.909 | 0.3297
2020-11-29 12:00:00 | 1.9 | 275.16 | 1.771 | 274.103 | 2.023 | 275.8 | 2.218 | 263.7 | -5.469 | 890.267 | 79.808 | 0.30412
2020-11-29 12:15:00 | 2.166 | 293.533 | 1.958 | 290.12 | 2.029 | 293.4 | 2.43 | 285.133 | -5.285 | 890.125 | 80.656 | 0.29275
2020-11-29 12:30:00 | 2.276 | 287.333 | 2.162 | 280.533 | 2.185 | 279.7 | 2.365 | 272.2 | -4.969 | 890.133 | 77.691 | 0.29986
2020-11-29 12:45:00 | 2.28 | 284.84 | 2.151 | 274.214 | 2.043 | 279.267 | 2.46 | 277.333 | -4.846 | 890.142 | 75.568 | 0.27854
2020-11-29 13:00:00 | 2.356 | 284.933 | 2.285 | 280.374 | 2.267 | 283.3 | 2.488 | 276.8 | -4.769 | 889.925 | 75.317 | 0.27144
2020-11-29 13:15:00 | 3.125 | 289.6 | 3.102 | 286.23 | 3.031 | 291.067 | 3.206 | 286.333 | -4.503 | 889.708 | 73.317 | 0.19754
2020-11-29 13:30:00 | 3.109 | 281.36 | 3.086 | 274.527 | 2.975 | 277.133 | 2.967 | 273.35 | -3.846 | 889.917 | 72.037 | 0.17977
2020-11-29 13:45:00 | 3.476 | 299.4 | 3.648 | 297.131 | 3.649 | 301.2 | 3.906 | 300.333 | -4.404 | 889.975 | 73.093 | 0.57201
2020-11-29 14:00:00 | 2.835 | 313.12 | 2.943 | 306.942 | 2.932 | 312.767 | 3.149 | 309.867 | -4.235 | 889.925 | 74.757 | 0.56277
2020-11-29 14:15:00 | 2.378 | 324.093 | 2.326 | 319.368 | 2.439 | 319.567 | 2.711 | 316.833 | -4.246 | 889.592 | 76.683 | 0.36239
2020-11-29 14:30:00 | 2.946 | 344.347 | 2.869 | 338.376 | 2.757 | 318.267 | 2.964 | 328.767 | -4.325 | 889.85 | 78.736 | 0.14567
2020-11-29 14:45:00 | 3.115 | 345.387 | 2.889 | 336.618 | 2.766 | 336.6 | 2.978 | 329.333 | -4.218 | 890.283 | 78.229 | 0.35102
2020-11-29 15:00:00 | 3.611 | 309.533 | 3.668 | 336.91 | 3.819 | 340.833 | 3.949 | 340.133 | -3.989 | 889.75 | 79.931 | 1.6954
2020-11-29 15:15:00 | 3.357 | 339.227 | 3.423 | 335.224 | 3.476 | 339.967 | 3.777 | 337.4 | -4.543 | 889.592 | 78.128 | 2.2575
2020-11-29 15:30:00 | 2.83 | 279.987 | 2.983 | 333.191 | 3.105 | 333.8 | 3.421 | 321.9 | -4.325 | 889.767 | 78.56 | 2.3385
2020-11-29 15:45:00 | 3.222 | 298.813 | 3.256 | 339.171 | 3.166 | 340.9 | 3.394 | 338.533 | -3.91 | 890.383 | 78.352 | 1.9612
2020-11-29 16:00:00 | 2.716 | 75.034 | 2.82 | 130.275 | 2.616 | 72.734 | 2.771 | 71.467 | -4.07 | 890.183 | 80.112 | 1.559
2020-11-29 16:15:00 | 2.828 | 95.581 | 3.273 | 307.1 | 3.223 | 248.2 | 3.548 | 200.833 | -4.133 | 889.758 | 80.581 | 0.2288
2020-11-29 16:30:00 | 3.241 | 288.394 | 3.302 | 331.894 | 3.306 | 321.867 | 3.308 | 344.5 | -4.325 | 890.017 | 80.661 | 0.13217
2020-11-29 16:45:00 | 2.416 | 333.173 | 2.399 | 330.702 | 2.412 | 329.867 | 2.828 | 333.567 | -4.364 | 889.408 | 81.408 | 0.13359
2020-11-29 17:00:00 | 1.809 | 251.754 | 1.56 | 257.211 | 1.373 | 173.9 | 1.937 | 339.233 | -4.364 | 890.1 | 81.008 | 0.27499
2020-11-29 17:15:00 | 1.969 | 317.733 | 1.702 | 314.262 | 1.586 | 324.033 | 1.918 | 323.167 | -4.769 | 889.15 | 81.669 | 0.28423
2020-11-29 17:30:00 | 2.304 | 317.267 | 2.146 | 311.829 | 2.146 | 315.4 | 2.447 | 317.3 | -4.636 | 889.9 | 82.229 | 0.29133
2020-11-29 17:45:00 | 2.753 | 335.72 | 2.914 | 331.438 | 2.914 | 334.4 | 3.208 | 331.167 | -4.949 | 890.133 | 83.499 | 0.17054
2020-11-29 18:00:00 | 2.61 | 338.4 | 2.73 | 328.884 | 2.862 | 330.467 | 3.236 | 329 | -5.102 | 889.912 | 84.363 | 0.22951
2020-11-29 18:15:00 | 2.06 | 328.2 | 2.27 | 327.192 | 2.416 | 333.133 | 2.769 | 333.667 | -5.119 | 889.858 | 86.091 | 0.31762
2020-11-29 18:30:00 | 1.739 | 327.133 | 2.057 | 325.475 | 2.109 | 332.933 | 2.24 | 332.467 | -5.435 | 890.279 | 87.307 | 0.099479
2020-11-29 18:45:00 | 1.344 | 344.493 | 1.378 | 335.12 | 1.076 | 339.133 | 1.255 | 335 | -5.607 | 889.979 | 88.555 | 0.30625
2020-11-29 19:00:00 | 0 | 346.573 | 0 | 334.905 | 0.645 | 319.267 | 1.826 | 328.667 | -5.859 | 889.912 | 89.472 | 0.30554
2020-11-29 19:15:00 | 0 | 345.227 | 0 | 328.996 | 0 | 308.767 | 0.997 | 335 | -6.302 | 890.288 | 89.451 | 0.29702
2020-11-29 19:30:00 | 0.07 | 329.2 | 0 | 327.078 | 0 | 308.867 | 1.072 | 334.967 | -6.462 | 889.867 | 89.899 | 0.29418
2020-11-29 19:45:00 | 0.978 | 275.693 | 0.287 | 313.696 | 0.273 | 303.4 | 0.37 | 329 | -6.545 | 889.725 | 90.507 | 0.29418
2020-11-29 20:00:00 | 1.41 | 254.4 | 1.013 | 274.004 | 0.767 | 290 | 1.535 | 290 | -6.345 | 889.629 | 91.157 | 0.29844
2020-11-29 20:15:00 | 1.631 | 261.6 | 1.604 | 268.797 | 1.69 | 282.133 | 2.088 | 284.5 | -6.495 | 889.496 | 90.827 | 0.30696
2020-11-29 20:30:00 | 2.666 | 263.6 | 2.888 | 261.722 | 2.884 | 268.3 | 3.289 | 264.467 | -6.595 | 889.492 | 91.211 | 0.30696
2020-11-29 20:45:00 | 2.898 | 272.88 | 3.241 | 274.494 | 3.842 | 278.167 | 4.485 | 276.333 | -5.935 | 889.946 | 91.307 | 4.6791
2020-11-29 21:00:00 | 3.427 | 270.72 | 4.588 | 280.562 | 4.708 | 284.933 | 4.927 | 283.333 | -7.038 | 889.996 | 86.389 | 6.5024
2020-11-29 21:15:00 | 3.962 | 266.867 | 4.634 | 280.111 | 4.616 | 285.3 | 4.975 | 283.733 | -7.622 | 889.8 | 83.264 | 5.2276
2020-11-29 21:30:00 | 3.805 | 266.533 | 5.216 | 273.032 | 5.764 | 277.833 | 6.231 | 273.733 | -7.506 | 889.529 | 82.517 | 7.3849
2020-11-29 21:45:00 | 4.656 | 278.893 | 5.453 | 276.623 | 5.843 | 280.2 | 6.212 | 277.1 | -6.899 | 889.817 | 77.157 | 15.5635
2020-11-29 22:00:00 | 4.55 | 269.6 | 5.614 | 269.138 | 6.12 | 273.633 | 6.398 | 269.067 | -6.495 | 889.55 | 74.507 | 21.3802
2020-11-29 22:15:00 | 4.09 | 262.667 | 5.149 | 264.168 | 5.83 | 269.667 | 6.093 | 265.567 | -6.826 | 890.258 | 74.581 | 17.5013
2020-11-29 22:30:00 | 3.483 | 249.02 | 3.964 | 257.046 | 4.374 | 263.067 | 4.509 | 259.933 | -6.896 | 890.233 | 75.435 | 8.8444
2020-11-29 22:45:00 | 3.284 | 249.927 | 3.727 | 257.165 | 3.869 | 259.9 | 4.074 | 258.3 | -6.992 | 889.808 | 76.117 | 7.9136
2020-11-29 23:00:00 | 3.065 | 236.1 | 3.333 | 253.814 | 3.508 | 261.2 | 3.803 | 258.95 | -7.589 | 890.108 | 77.195 | 6.6495
2020-11-29 23:15:00 | 3.184 | 235.3 | 3.268 | 250.655 | 3.394 | 260 | 3.586 | 259.067 | -7.108 | 889.717 | 76.789 | 7.1263
2020-11-29 23:30:00 | 2.957 | 220.533 | 3.386 | 240.567 | 3.248 | 254.967 | 3.2 | 253.867 | -7.406 | 889.992 | 77.824 | 5.9624
2020-11-29 23:45:00 | 3.19 | 236.067 | 3.23 | 248.603 | 3.223 | 262.333 | 3.581 | 264.6 | -7.572 | 889.8 | 78.304 | 3.8932