## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-30 00:00:00 | 3.189 | 259.4 | 4.111 | 272.753 | 4.348 | 280.4 | 4.734 | 279.233 | -7.472 | 889.983 | 79.083 | 4.6222
2020-11-30 00:15:00 | 3.118 | 273.6 | 3.978 | 277.896 | 4.169 | 282.133 | 4.386 | 280.933 | -6.678 | 889.775 | 79.461 | 6.5152
2020-11-30 00:30:00 | 2.929 | 269.2 | 3.544 | 269.608 | 3.627 | 273.867 | 3.891 | 269.5 | -6.428 | 890.308 | 83.061 | 5.8771
2020-11-30 00:45:00 | 2.787 | 266.24 | 3.807 | 266.513 | 4.272 | 270.4 | 4.575 | 268.433 | -6.671 | 889.688 | 86.037 | 6.037
2020-11-30 01:00:00 | 2.612 | 255.76 | 3.347 | 258.288 | 3.578 | 263.4 | 3.956 | 260 | -6.554 | 889.912 | 87.456 | 5.0145
2020-11-30 01:15:00 | 2.792 | 251.533 | 3.502 | 254.81 | 3.631 | 261.467 | 3.921 | 258.633 | -6.545 | 890.212 | 88.043 | 4.8063
2020-11-30 01:30:00 | 2.471 | 241.467 | 3.138 | 250.655 | 3.378 | 255.7 | 3.773 | 251.133 | -6.528 | 889.492 | 88.448 | 4.8311
2020-11-30 01:45:00 | 2.527 | 244.467 | 3.385 | 250.418 | 3.692 | 255 | 3.838 | 251 | -6.595 | 889.392 | 88.597 | 4.8141
2020-11-30 02:00:00 | 2.122 | 252.447 | 2.734 | 253.946 | 2.746 | 258.033 | 3.019 | 252.5 | -6.412 | 889.917 | 88.512 | 4.0701
2020-11-30 02:15:00 | 1.842 | 256.8 | 2.158 | 263.19 | 2.221 | 267.067 | 2.493 | 258.067 | -6.328 | 890.567 | 88.469 | 2.1843
2020-11-30 02:30:00 | 1.759 | 256.8 | 2.261 | 264.953 | 2.406 | 267 | 2.522 | 257.9 | -6.578 | 890.175 | 89.152 | 1.1142
2020-11-30 02:45:00 | 1.283 | 247.067 | 1.65 | 244.5 | 1.55 | 261.933 | 2.014 | 258.033 | -6.528 | 889.738 | 89.408 | 0.23804
2020-11-30 03:00:00 | 1.925 | 235.5 | 2.178 | 243.465 | 2.381 | 252 | 2.589 | 251 | -6.595 | 889.717 | 89.344 | 0.23164
2020-11-30 03:15:00 | 2.07 | 237.033 | 2.371 | 246.836 | 2.537 | 258.267 | 2.851 | 262.833 | -6.628 | 890.104 | 89.355 | 0.58337
2020-11-30 03:30:00 | 2.293 | 258.513 | 2.972 | 263.105 | 3.221 | 269.433 | 3.423 | 268.1 | -6.638 | 890.112 | 89.451 | 1.6094
2020-11-30 03:45:00 | 2.83 | 248.22 | 3.637 | 259.087 | 3.92 | 267.433 | 4.148 | 265.083 | -6.595 | 890.138 | 88.235 | 3.0618
2020-11-30 04:00:00 | 3.349 | 269.227 | 4.09 | 268.953 | 4.668 | 277.967 | 5.106 | 277.667 | -6.328 | 889.654 | 87.136 | 5.2653
2020-11-30 04:15:00 | 3.454 | 280 | 4.09 | 276.653 | 4.467 | 281.8 | 4.693 | 279.333 | -6.345 | 889.908 | 86.464 | 6.2509
2020-11-30 04:30:00 | 3.293 | 278.933 | 3.798 | 277.248 | 4.132 | 282.033 | 4.311 | 281.333 | -6.428 | 889.933 | 86.965 | 4.8233
2020-11-30 04:45:00 | 2.649 | 274.48 | 3.153 | 275.16 | 3.534 | 278.433 | 3.791 | 278.467 | -6.598 | 890.121 | 87.168 | 3.9614
2020-11-30 05:00:00 | 2.099 | 261.933 | 2.767 | 269.28 | 3.049 | 277.2 | 3.154 | 278.067 | -7.19 | 890.392 | 86.955 | 1.5085
2020-11-30 05:15:00 | 1.83 | 272.573 | 2.495 | 271.449 | 2.878 | 278.033 | 3.005 | 278.633 | -7.15 | 889.95 | 87.456 | 1.2058
2020-11-30 05:30:00 | 2.048 | 259.253 | 2.498 | 263.518 | 2.674 | 268.6 | 2.784 | 272.267 | -6.972 | 890.304 | 87.477 | 1.1866
2020-11-30 05:45:00 | 2.638 | 246.38 | 2.942 | 253.685 | 3.321 | 261.4 | 3.638 | 262.05 | -7.165 | 890.412 | 87.733 | 0.90526
2020-11-30 06:00:00 | 1.981 | 245.233 | 2.268 | 254.854 | 2.724 | 266.333 | 3.051 | 263.967 | -6.992 | 889.608 | 87.029 | 4.3146
2020-11-30 06:15:00 | 2.205 | 262.327 | 2.903 | 263.069 | 3.455 | 271.2 | 3.582 | 269.3 | -7.19 | 889.783 | 82.901 | 10.2592
2020-11-30 06:30:00 | 2.608 | 256.847 | 3.333 | 256.986 | 3.565 | 262.65 | 3.432 | 257.35 | -6.876 | 890.042 | 78.229 | 8.1353
2020-11-30 06:45:00 | 2.83 | 253.06 | 3.479 | 261.425 | 3.946 | 267.567 | 4.262 | 265.467 | -7.522 | 889.567 | 79.061 | 6.6218
2020-11-30 07:00:00 | 3.17 | 239.453 | 3.641 | 254.387 | 4.234 | 268.233 | 4.584 | 267.1 | -8.13 | 889.9 | 79.221 | 4.7416
2020-11-30 07:15:00 | 2.568 | 232.3 | 3.8 | 264.663 | 4.106 | 275.4 | 4.422 | 270.6 | -9.274 | 889.925 | 79.488 | 3.1499
2020-11-30 07:30:00 | 3.819 | 244.6 | 4.595 | 270.215 | 5.116 | 275 | 5.392 | 269.867 | -10.016 | 890.017 | 80.805 | 5.0038
2020-11-30 07:45:00 | 3.547 | 246.767 | 3.258 | 252.753 | 3.534 | 256.4 | 3.671 | 251.7 | -9.341 | 889.7 | 80.88 | 7.8198
2020-11-30 08:00:00 | 3.605 | 233.267 | 3.051 | 245.65 | 3.01 | 259.933 | 3.05 | 259.133 | -9.274 | 890.108 | 77.867 | 9.4235
2020-11-30 08:15:00 | 3.417 | 242.473 | 4.466 | 245.561 | 4.286 | 251.967 | 4.039 | 246.867 | -9.728 | 889.875 | 76.608 | 8.0159
2020-11-30 08:30:00 | 3.99 | 211.733 | 3.983 | 236.439 | 4.279 | 249.233 | 3.639 | 245.333 | -11.311 | 890.367 | 75.435 | 7.2364
2020-11-30 08:45:00 | 4.34 | 214.447 | 4.735 | 238.114 | 4.565 | 248.2 | 4.202 | 245.967 | -11.699 | 889.85 | 75.371 | 6.1983
2020-11-30 09:00:00 | 3.461 | 212.9 | 5.402 | 236.966 | 5.055 | 245.4 | 4.531 | 246.267 | -12.52 | 890.192 | 77.344 | 8.9126
2020-11-30 09:15:00 | 3.056 | 228.867 | 5.499 | 240.892 | 5.444 | 248.233 | 5.255 | 244.4 | -11.89 | 890.208 | 77.045 | 11.8359
2020-11-30 09:30:00 | 5.205 | 238.767 | 5.378 | 241.692 | 5.254 | 248.267 | 4.866 | 245.633 | -8.774 | 889.525 | 73.664 | 11.416
2020-11-30 09:45:00 | 4.741 | 227.98 | 4.622 | 228.678 | 4.21 | 235.367 | 3.541 | 237.6 | -7.48 | 889.908 | 66.347 | 9.5941
2020-11-30 10:00:00 | 3.503 | 231.533 | 3.743 | 232.631 | 3.77 | 237.467 | 3.582 | 234.967 | -6.794 | 889.8 | 63.861 | 8.2895
2020-11-30 10:15:00 | 4.03 | 245.233 | 4.481 | 247.416 | 4.673 | 253.667 | 4.739 | 248.55 | -5.285 | 889.992 | 60.096 | 10.7651
2020-11-30 10:30:00 | 3.546 | 232.267 | 4.651 | 244.246 | 4.69 | 254.267 | 4.53 | 251.717 | -4.487 | 889.75 | 55.925 | 15.7398
2020-11-30 10:45:00 | 2.268 | 259.973 | 4.33 | 251.061 | 5.124 | 255.983 | 4.899 | 251.75 | -3.866 | 889.617 | 55.115 | 14.7855
2020-11-30 11:00:00 | 0 | 274.667 | 0.257 | 243.734 | 3.484 | 245.917 | 5.245 | 245 | -5.997 | 889.65 | 54.005 | 11.6583
2020-11-30 11:15:00 | 0 | 85.707 | 1.904 | 237.823 | 4.178 | 250.467 | 4.514 | 250.017 | -3.511 | 890.192 | 52.192 | 11.8054
2020-11-30 11:30:00 | 2.366 | 233.92 | 4.007 | 241.762 | 4.034 | 249.5 | 4.093 | 247.333 | -2.582 | 889.5 | 49.579 | 8.7989
2020-11-30 11:45:00 | 4.073 | 244.1 | 5.121 | 244.264 | 5.5 | 249.533 | 5.566 | 244.033 | -3.304 | 889.9 | 49.013 | 11.0763
2020-11-30 12:00:00 | 3.44 | 245.913 | 4.357 | 247.662 | 4.62 | 253.3 | 4.739 | 250.2 | -2.329 | 889.683 | 46.987 | 10.0247
2020-11-30 12:15:00 | 3.122 | 254.14 | 4.26 | 254.38 | 4.657 | 259.25 | 4.892 | 254.283 | -1.68 | 889.625 | 45.04 | 8.5311
2020-11-30 12:30:00 | 1.489 | 246.12 | 2.531 | 248.929 | 3.17 | 257.567 | 3.329 | 250.033 | -2.501 | 889.858 | 46.645 | 6.1222
2020-11-30 12:45:00 | 2.005 | 254.973 | 3.171 | 259.106 | 3.059 | 261.967 | 3.011 | 262.067 | -1.176 | 889.767 | 44.533 | 4.1277
2020-11-30 13:00:00 | 2.414 | 268.707 | 3.642 | 259.949 | 3.877 | 264.6 | 4.039 | 260.233 | -0.106 | 889.683 | 42.336 | 3.8363
2020-11-30 13:15:00 | 2.812 | 284.213 | 3.328 | 278.192 | 3.743 | 281.767 | 4.164 | 281.433 | -4.424 | 889.742 | 48.347 | 3.3723
2020-11-30 13:30:00 | 2.483 | 281.96 | 2.716 | 277.742 | 3.092 | 277.767 | 3.524 | 275.633 | -4.294 | 889.775 | 48.453 | 3.0363
2020-11-30 13:45:00 | 1.62 | 274.253 | 2.154 | 274.988 | 2.817 | 282 | 3.463 | 279.533 | -2.548 | 889.633 | 49.819 | 4.91
2020-11-30 14:00:00 | 2.655 | 289.52 | 3.366 | 284.065 | 3.838 | 287.7 | 4.4 | 286.633 | -4.285 | 889.942 | 52.624 | 2.4941
2020-11-30 14:15:00 | 3.113 | 289.533 | 3.585 | 284.498 | 3.906 | 285.967 | 4.405 | 281.8 | -4.404 | 890.092 | 52.523 | 3.0242
2020-11-30 14:30:00 | 4.183 | 278.573 | 4.95 | 274.169 | 5.395 | 279.1 | 5.851 | 276.267 | -4.364 | 889.892 | 54.725 | 9.0228
2020-11-30 14:45:00 | 4.39 | 271.5 | 4.714 | 266.756 | 5.079 | 272.533 | 5.518 | 269.35 | -3.857 | 890.117 | 54.533 | 16.709
2020-11-30 15:00:00 | 4.038 | 287.213 | 4.674 | 285.011 | 5.201 | 289.933 | 5.825 | 288.6 | -4.424 | 889.867 | 54.789 | 13.7722
2020-11-30 15:15:00 | 4.8 | 293.64 | 5.377 | 287.482 | 5.781 | 289.433 | 6.023 | 287.6 | -4.562 | 889.875 | 55.931 | 13.64
2020-11-30 15:30:00 | 4.484 | 279.747 | 5.08 | 277.974 | 5.721 | 282.6 | 5.954 | 280.667 | -4.407 | 890.5 | 56.315 | 9.0583
2020-11-30 15:45:00 | 4.207 | 292.787 | 4.595 | 288.343 | 4.94 | 291.533 | 5.204 | 288.233 | -4.285 | 890.358 | 57.019 | 9.0775
2020-11-30 16:00:00 | 4.339 | 291.293 | 5.021 | 287.619 | 5.61 | 292.333 | 6.188 | 291.833 | -4.759 | 889.917 | 57.845 | 11.6384
2020-11-30 16:15:00 | 4.966 | 298.467 | 6.077 | 294.032 | 6.707 | 298.867 | 7.268 | 296.133 | -4.969 | 889.883 | 59.045 | 9.1208
2020-11-30 16:30:00 | 4.763 | 296.4 | 6.106 | 295.234 | 6.755 | 299.267 | 7.28 | 296.367 | -5.319 | 889.558 | 59.488 | 11.8864
2020-11-30 16:45:00 | 4.716 | 295.8 | 5.832 | 292.827 | 6.357 | 297.4 | 6.863 | 294.867 | -5.435 | 890.108 | 60.533 | 16.6649
2020-11-30 17:00:00 | 4.219 | 292.413 | 5.842 | 289.834 | 6.601 | 295.767 | 7.091 | 292.933 | -5.786 | 889.958 | 61.291 | 17.0238
2020-11-30 17:15:00 | 4.65 | 285.827 | 5.66 | 283.504 | 6.374 | 287.833 | 6.79 | 285.567 | -6.037 | 889.575 | 61.381 | 19.7175
2020-11-30 17:30:00 | 4.948 | 274.173 | 5.77 | 275.18 | 6.595 | 281.067 | 7.141 | 280.1 | -5.924 | 889.892 | 62.725 | 20.3528
2020-11-30 17:45:00 | 5.321 | 259.973 | 5.992 | 262.92 | 6.514 | 268.067 | 6.911 | 266.7 | -6.392 | 890.008 | 64.08 | 22.1292
2020-11-30 18:00:00 | 6.429 | 237.033 | 7.372 | 239.078 | 7.614 | 246.333 | 7.663 | 242.6 | -6.893 | 889.933 | 65.013 | 32.9582
2020-11-30 18:15:00 | 6.27 | 242.393 | 7.093 | 242.588 | 7.397 | 247.533 | 7.519 | 243.2 | -7.17 | 889.783 | 67.083 | 38.9071
2020-11-30 18:30:00 | 5.75 | 237.573 | 6.61 | 238.413 | 6.899 | 244.667 | 6.764 | 241.2 | -7.46 | 890.208 | 68.011 | 35.9433
2020-11-30 18:45:00 | 5.602 | 236.7 | 6.59 | 234.68 | 6.647 | 240.467 | 6.482 | 236.5 | -7.622 | 889.892 | 67.563 | 40.6522
2020-11-30 19:00:00 | 5.914 | 240.5 | 6.606 | 239.785 | 6.745 | 245.067 | 6.696 | 241.967 | -7.506 | 889.525 | 66.336 | 41.0139
2020-11-30 19:15:00 | 5.383 | 243.9 | 6.33 | 243.327 | 6.511 | 249.533 | 6.456 | 245.467 | -7.622 | 889.833 | 65.995 | 38.2235
2020-11-30 19:30:00 | 5.853 | 243.213 | 7.05 | 243.369 | 7.083 | 249.967 | 6.994 | 247.033 | -7.95 | 890.2 | 65.696 | 38.1574
2020-11-30 19:45:00 | 6.152 | 243.833 | 6.867 | 246.465 | 6.917 | 253.333 | 7.053 | 250.667 | -8.674 | 889.642 | 65.781 | 42.7875
2020-11-30 20:00:00 | 6.162 | 242.4 | 7.283 | 243.549 | 7.056 | 249.667 | 6.977 | 246.467 | -8.374 | 890.142 | 65.376 | 40.6259
2020-11-30 20:15:00 | 5.677 | 242.1 | 6.79 | 241.464 | 6.874 | 247.867 | 6.758 | 244.067 | -8.458 | 889.908 | 65.696 | 35.188
2020-11-30 20:30:00 | 5.647 | 245.367 | 6.499 | 244.154 | 6.676 | 249.233 | 6.525 | 245.367 | -8.291 | 889.817 | 65.771 | 33.4386
2020-11-30 20:45:00 | 5.274 | 238.333 | 6.281 | 241.03 | 6.378 | 248.2 | 6.194 | 246 | -8.658 | 889.583 | 65.984 | 29.3713
2020-11-30 21:00:00 | 4.498 | 233.4 | 6.072 | 238.374 | 6.161 | 246.567 | 5.924 | 243.867 | -8.824 | 890.233 | 67.296 | 22.596
2020-11-30 21:15:00 | 4.585 | 232.533 | 6.29 | 235.894 | 6.611 | 241.233 | 6.591 | 236.467 | -9.124 | 890.45 | 67.648 | 24.8393
2020-11-30 21:30:00 | 5.312 | 242.387 | 6.336 | 240.015 | 6.626 | 245.233 | 6.517 | 240.667 | -8.13 | 890.083 | 65.216 | 25.569
2020-11-30 21:45:00 | 4.62 | 242.32 | 5.928 | 244.389 | 5.916 | 250.1 | 5.89 | 246.167 | -8.381 | 889.917 | 64.757 | 17.6121
2020-11-30 22:00:00 | 3.635 | 219.333 | 5.483 | 231.627 | 5.629 | 238.7 | 5.37 | 235.733 | -8.974 | 889.733 | 66.037 | 13.2649
2020-11-30 22:15:00 | 4.466 | 207.22 | 4.161 | 216.633 | 4.51 | 231.2 | 5.229 | 233.233 | -9.724 | 889.575 | 68.096 | 11.2341
2020-11-30 22:30:00 | 4.388 | 225.833 | 5.039 | 233.698 | 5.189 | 243.967 | 5.12 | 241.1 | -9.324 | 889.4 | 67.328 | 10.8511
2020-11-30 22:45:00 | 4.661 | 225.353 | 5.675 | 231.208 | 5.552 | 239.633 | 5.188 | 237.833 | -10.166 | 890.017 | 67.648 | 10.6287
2020-11-30 23:00:00 | 4.54 | 183.853 | 4.444 | 205.5 | 5.558 | 231.667 | 5.155 | 231.733 | -11.303 | 890.158 | 70.656 | 9.2558
2020-11-30 23:15:00 | 5.029 | 196.193 | 5.005 | 207.651 | 5.318 | 230.3 | 4.972 | 229.433 | -11.24 | 890.267 | 69.888 | 9.1485
2020-11-30 23:30:00 | 4.872 | 202.04 | 5.075 | 214.249 | 5.362 | 234.433 | 4.984 | 234.467 | -11.724 | 890.058 | 70.891 | 10.0794
2020-11-30 23:45:00 | 4.872 | 202.04 | 5.075 | 214.249 | 5.362 | 234.433 | 4.984 | 234.467 | -11.724 | 890.058 | 70.891 | 10.0439