## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-01 00:00:00 | 4.872 | 202.04 | 5.075 | 214.249 | 5.362 | 234.433 | 4.984 | 234.467 | -11.724 | 890.058 | 70.891 | 16.7132
2020-12-01 00:15:00 | 4.872 | 202.04 | 5.075 | 214.249 | 5.362 | 234.433 | 4.984 | 234.467 | -11.724 | 890.058 | 70.891 | 22.4084
2020-12-01 00:30:00 | 4.872 | 202.04 | 5.075 | 214.249 | 5.362 | 234.433 | 4.984 | 234.467 | -11.724 | 890.058 | 70.891 | 19.4894
2020-12-01 00:45:00 | 4.872 | 202.04 | 5.075 | 214.249 | 5.362 | 234.433 | 4.984 | 234.467 | -11.724 | 890.058 | 70.891 | 15.2672
2020-12-01 01:00:00 | 4.872 | 202.04 | 5.075 | 214.249 | 5.362 | 234.433 | 4.984 | 234.467 | -11.724 | 890.058 | 70.891 | 9.8165
2020-12-01 01:15:00 | 4.872 | 202.04 | 5.075 | 214.249 | 5.362 | 234.433 | 4.984 | 234.467 | -11.724 | 890.058 | 70.891 | 11.2135
2020-12-01 01:30:00 | 4.872 | 202.04 | 5.075 | 214.249 | 5.362 | 234.433 | 4.984 | 234.467 | -11.724 | 890.058 | 70.891 | 12.3759
2020-12-01 01:45:00 | 4.872 | 202.04 | 5.075 | 214.249 | 5.362 | 234.433 | 4.984 | 234.467 | -11.724 | 890.058 | 70.891 | 12.3838
2020-12-01 02:00:00 | 4.872 | 202.04 | 5.075 | 214.249 | 5.362 | 234.433 | 4.984 | 234.467 | -11.724 | 890.058 | 70.891 | 10.3743
2020-12-01 02:15:00 | 4.872 | 202.04 | 5.075 | 214.249 | 5.362 | 234.433 | 4.984 | 234.467 | -11.724 | 890.058 | 70.891 | 12.2544
2020-12-01 02:30:00 | 4.872 | 202.04 | 5.075 | 214.249 | 5.362 | 234.433 | 4.984 | 234.467 | -11.724 | 890.058 | 70.891 | 15.2601
2020-12-01 02:45:00 | 4.872 | 202.04 | 5.075 | 214.249 | 5.362 | 234.433 | 4.984 | 234.467 | -11.724 | 890.058 | 70.891 | 22.3345
2020-12-01 03:00:00 | 4.872 | 202.04 | 5.075 | 214.249 | 5.362 | 234.433 | 4.984 | 234.467 | -11.724 | 890.058 | 70.891 | 21.2296
2020-12-01 03:15:00 | 4.872 | 202.04 | 5.075 | 214.249 | 5.362 | 234.433 | 4.984 | 234.467 | -11.724 | 890.058 | 70.891 | 21.1294
2020-12-01 03:30:00 | 4.872 | 202.04 | 5.075 | 214.249 | 5.362 | 234.433 | 4.984 | 234.467 | -11.724 | 890.058 | 70.891 | 21.9125
2020-12-01 03:45:00 | 4.872 | 202.04 | 5.075 | 214.249 | 5.362 | 234.433 | 4.984 | 234.467 | -11.724 | 890.058 | 70.891 | 20.8772
2020-12-01 04:00:00 | 4.872 | 202.04 | 5.075 | 214.249 | 5.362 | 234.433 | 4.984 | 234.467 | -11.724 | 890.058 | 70.891 | 19.9058
2020-12-01 04:15:00 | 4.872 | 202.04 | 5.075 | 214.249 | 5.362 | 234.433 | 4.984 | 234.467 | -11.724 | 890.058 | 70.891 | 15.9281
2020-12-01 04:30:00 | 4.872 | 202.04 | 5.075 | 214.249 | 5.362 | 234.433 | 4.984 | 234.467 | -11.724 | 890.058 | 70.891 | 14.7357
2020-12-01 04:45:00 | 4.872 | 202.04 | 5.075 | 214.249 | 5.362 | 234.433 | 4.984 | 234.467 | -11.724 | 890.058 | 70.891 | 15.0079
2020-12-01 05:00:00 | 4.872 | 202.04 | 5.075 | 214.249 | 5.362 | 234.433 | 4.984 | 234.467 | -11.724 | 890.058 | 70.891 | 16.0041
2020-12-01 05:15:00 | 5.868 | 223.867 | 6.547 | 236.213 | 6.506 | 244.367 | 6.388 | 242.067 | -11.824 | 889.633 | 61.717 | 15.9806
2020-12-01 05:30:00 | 5.868 | 223.867 | 6.547 | 236.213 | 6.506 | 244.367 | 6.388 | 242.067 | -11.824 | 889.633 | 61.717 | 13.9207
2020-12-01 05:45:00 | 5.868 | 223.867 | 6.547 | 236.213 | 6.506 | 244.367 | 6.388 | 242.067 | -11.824 | 889.633 | 61.717 | 11.6156
2020-12-01 06:00:00 | 5.868 | 223.867 | 6.547 | 236.213 | 6.506 | 244.367 | 6.388 | 242.067 | -11.824 | 889.633 | 61.717 | 11.7933
2020-12-01 06:15:00 | 5.868 | 223.867 | 6.547 | 236.213 | 6.506 | 244.367 | 6.388 | 242.067 | -11.824 | 889.633 | 61.717 | 14.5602
2020-12-01 06:30:00 | 5.868 | 223.867 | 6.547 | 236.213 | 6.506 | 244.367 | 6.388 | 242.067 | -11.824 | 889.633 | 61.717 | 13.6805
2020-12-01 06:45:00 | 5.868 | 223.867 | 6.547 | 236.213 | 6.506 | 244.367 | 6.388 | 242.067 | -11.824 | 889.633 | 61.717 | 13.4297
2020-12-01 07:00:00 | 5.868 | 223.867 | 6.547 | 236.213 | 6.506 | 244.367 | 6.388 | 242.067 | -11.824 | 889.633 | 61.717 | 11.3072
2020-12-01 07:15:00 | 5.868 | 223.867 | 6.547 | 236.213 | 6.506 | 244.367 | 6.388 | 242.067 | -11.824 | 889.633 | 61.717 | 10.3224
2020-12-01 07:30:00 | 5.868 | 223.867 | 6.547 | 236.213 | 6.506 | 244.367 | 6.388 | 242.067 | -11.824 | 889.633 | 61.717 | 10.2741
2020-12-01 07:45:00 | 5.868 | 223.867 | 6.547 | 236.213 | 6.506 | 244.367 | 6.388 | 242.067 | -11.824 | 889.633 | 61.717 | 12.0541
2020-12-01 08:00:00 | 5.868 | 223.867 | 6.547 | 236.213 | 6.506 | 244.367 | 6.388 | 242.067 | -11.824 | 889.633 | 61.717 | 12.4982
2020-12-01 08:15:00 | 5.868 | 223.867 | 6.547 | 236.213 | 6.506 | 244.367 | 6.388 | 242.067 | -11.824 | 889.633 | 61.717 | 15.0363
2020-12-01 08:30:00 | 5.868 | 223.867 | 6.547 | 236.213 | 6.506 | 244.367 | 6.388 | 242.067 | -11.824 | 889.633 | 61.717 | 17.0948
2020-12-01 08:45:00 | 5.868 | 223.867 | 6.547 | 236.213 | 6.506 | 244.367 | 6.388 | 242.067 | -11.824 | 889.633 | 61.717 | 20.4721
2020-12-01 09:00:00 | 5.868 | 223.867 | 6.547 | 236.213 | 6.506 | 244.367 | 6.388 | 242.067 | -11.824 | 889.633 | 61.717 | 23.6924
2020-12-01 09:15:00 | 5.868 | 223.867 | 6.547 | 236.213 | 6.506 | 244.367 | 6.388 | 242.067 | -11.824 | 889.633 | 61.717 | 23.3073
2020-12-01 09:30:00 | 5.868 | 223.867 | 6.547 | 236.213 | 6.506 | 244.367 | 6.388 | 242.067 | -11.824 | 889.633 | 61.717 | 25.3267
2020-12-01 09:45:00 | 5.868 | 223.867 | 6.547 | 236.213 | 6.506 | 244.367 | 6.388 | 242.067 | -11.824 | 889.633 | 61.717 | 23.2526
2020-12-01 10:00:00 | 6.059 | 222.733 | 7.346 | 231.236 | 7.055 | 241.333 | 6.681 | 240.1 | -12.453 | 890.15 | 63.435 | 22.7879
2020-12-01 10:15:00 | 6.652 | 227.533 | 7.401 | 233.661 | 7.12 | 241.233 | 6.786 | 239.633 | -11.261 | 890.367 | 62.379 | 21.7455
2020-12-01 10:30:00 | 5.37 | 221.9 | 6.78 | 227.938 | 6.528 | 238.467 | 6.136 | 237 | -10.366 | 889.733 | 60.309 | 20.9553
2020-12-01 10:45:00 | 4.501 | 217.827 | 5.892 | 224.361 | 6.003 | 238.067 | 5.757 | 236.3 | -9.87 | 889.883 | 59.317 | 16.8085
2020-12-01 11:00:00 | 4.296 | 218.7 | 5.352 | 226.71 | 5.398 | 236.7 | 5.168 | 235.367 | -9.191 | 889.75 | 58.208 | 13.4148
2020-12-01 11:15:00 | 3.721 | 227.22 | 5.026 | 234.569 | 5.062 | 244.033 | 4.805 | 242.067 | -7.679 | 889.992 | 56.256 | 11.8338
2020-12-01 11:30:00 | 3.466 | 230.98 | 4.633 | 235.506 | 5.052 | 243.467 | 4.851 | 240.533 | -6.735 | 889.767 | 52.843 | 8.4792
2020-12-01 11:45:00 | 3.269 | 226.933 | 4.128 | 230.266 | 4.314 | 237.267 | 4.295 | 235.433 | -6.195 | 889.358 | 49.376 | 5.9787
2020-12-01 12:00:00 | 2.662 | 226.167 | 3.162 | 227.709 | 3.286 | 236.167 | 3.312 | 235.867 | -5.202 | 889.65 | 46.581 | 2.9517
2020-12-01 12:15:00 | 2.37 | 225.133 | 2.438 | 225.069 | 2.915 | 233.167 | 3.098 | 231.5 | -4.421 | 889.583 | 44 | 1.657
2020-12-01 12:30:00 | 2.067 | 244.033 | 2.112 | 241.551 | 2.449 | 251.233 | 2.696 | 251.9 | -3.387 | 890.075 | 40.704 | 0.64235
2020-12-01 12:45:00 | 2.094 | 283.96 | 2.109 | 272.978 | 2.242 | 273.9 | 2.465 | 272.9 | -4.959 | 889.583 | 38.256 | 0.2153
2020-12-01 13:00:00 | 1.943 | 310.933 | 1.814 | 296.206 | 1.878 | 289.633 | 1.974 | 282.067 | -6.345 | 889.867 | 43.643 | 0.2082
2020-12-01 13:15:00 | 1.133 | 334.027 | 0.653 | 319.652 | 1.286 | 329.967 | 1.717 | 303.133 | -6.252 | 890.192 | 44.907 | 0.27215
2020-12-01 13:30:00 | 1.923 | 307.68 | 1.834 | 302.826 | 2.01 | 303.967 | 2.255 | 302.567 | -6.15 | 889.633 | 43.893 | 0.29346
2020-12-01 13:45:00 | 1.998 | 303 | 2.057 | 295.878 | 2.383 | 297.4 | 2.806 | 299.967 | -5.997 | 889.775 | 47.776 | 0.13927
2020-12-01 14:00:00 | 2.756 | 297.2 | 2.798 | 290.155 | 2.835 | 291.6 | 3.185 | 291.8 | -6.462 | 890.342 | 49.509 | 0.21104
2020-12-01 14:15:00 | 2.684 | 297.533 | 2.711 | 292.126 | 3.031 | 298.1 | 3.387 | 296.967 | -6.695 | 889.4 | 50.784 | 1.095
2020-12-01 14:30:00 | 3.836 | 307.933 | 3.898 | 301.274 | 4.237 | 305.467 | 4.424 | 302.7 | -6.695 | 889.492 | 50.811 | 2.1807
2020-12-01 14:45:00 | 3.389 | 299.267 | 3.45 | 293.922 | 3.654 | 302.3 | 3.919 | 303.1 | -6.528 | 889.908 | 50.672 | 2.973
2020-12-01 15:00:00 | 3.331 | 302.267 | 3.589 | 296.931 | 3.876 | 300.367 | 4.143 | 299.4 | -6.562 | 889.667 | 52.251 | 3.8491
2020-12-01 15:15:00 | 3.193 | 305.4 | 3.396 | 301.281 | 3.554 | 302.033 | 3.852 | 301 | -5.898 | 890.175 | 51.84 | 2.9339
2020-12-01 15:30:00 | 3.424 | 303.453 | 3.447 | 299.79 | 3.567 | 304 | 3.739 | 301.433 | -5.932 | 889.9 | 52.048 | 2.1331
2020-12-01 15:45:00 | 3.065 | 294.933 | 3.186 | 293.182 | 3.211 | 301.333 | 3.421 | 300.2 | -6.512 | 889.992 | 51.429 | 1.6052
2020-12-01 16:00:00 | 2.792 | 311.373 | 2.794 | 304.606 | 3 | 308.267 | 3.163 | 306.267 | -6.372 | 889.792 | 53.195 | 1.1085
2020-12-01 16:15:00 | 2.371 | 312.52 | 2.481 | 306.386 | 2.733 | 311.8 | 3.06 | 307.467 | -6.143 | 889.258 | 53.685 | 0.95713
2020-12-01 16:30:00 | 2.286 | 302.333 | 2.551 | 302.688 | 2.841 | 306.967 | 3.19 | 304.033 | -6.362 | 889.642 | 53.456 | 0.48674
2020-12-01 16:45:00 | 2.094 | 298.267 | 2.479 | 296.17 | 2.781 | 300.967 | 3.141 | 302.867 | -6.562 | 889.967 | 53.845 | 0.31904
2020-12-01 17:00:00 | 1.649 | 284.827 | 1.789 | 291.123 | 1.965 | 296.5 | 2.16 | 300 | -6.651 | 889.75 | 54.315 | 0.2153
2020-12-01 17:15:00 | 1.487 | 280.8 | 1.537 | 288.929 | 1.924 | 297.133 | 2.307 | 300.067 | -6.478 | 890.183 | 54.875 | 0.32899
2020-12-01 17:30:00 | 1.871 | 269.48 | 1.81 | 285.261 | 2.186 | 294.9 | 2.548 | 292.3 | -6.565 | 890.375 | 55.056 | 0.28707
2020-12-01 17:45:00 | 1.563 | 250.62 | 1.539 | 273.139 | 1.839 | 282 | 2.176 | 287 | -7.316 | 890.2 | 57.376 | 0.30554
2020-12-01 18:00:00 | 1.549 | 225.433 | 1.031 | 247.856 | 1.269 | 278.933 | 1.602 | 286.7 | -7.889 | 889.542 | 61.216 | 0.29702
2020-12-01 18:15:00 | 2.469 | 224.933 | 2.024 | 231.64 | 1.955 | 250.667 | 2.242 | 264.033 | -8.605 | 889.883 | 63.872 | 0.29844
2020-12-01 18:30:00 | 3.984 | 231.533 | 2.619 | 221.64 | 2.442 | 238.067 | 2.838 | 240.633 | -8.691 | 890.092 | 63.147 | 0.30625
2020-12-01 18:45:00 | 4.665 | 228.213 | 3.384 | 247.862 | 3.385 | 255.6 | 3.532 | 252.583 | -9.82 | 889.825 | 61.12 | 0.45618
2020-12-01 19:00:00 | 4.49 | 233.56 | 3.702 | 238.544 | 3.521 | 247 | 3.463 | 251 | -11.047 | 890.183 | 65.333 | 2.2333
2020-12-01 19:15:00 | 3.996 | 233.953 | 3.064 | 243.49 | 3.081 | 251 | 3.114 | 251 | -11.003 | 889.725 | 65.376 | 1.7253
2020-12-01 19:30:00 | 5.914 | 214.58 | 3.968 | 230.822 | 2.967 | 246.433 | 2.923 | 240.867 | -11.174 | 889.892 | 61.6 | 1.4467
2020-12-01 19:45:00 | 6.157 | 216.567 | 6.09 | 224.107 | 5.162 | 235.9 | 4.561 | 234.667 | -13.103 | 889.992 | 67.029 | 5.7144
2020-12-01 20:00:00 | 5.894 | 219.467 | 6.218 | 218.135 | 5.44 | 224.167 | 4.793 | 224.5 | -13.12 | 889.808 | 68.416 | 10.0716
2020-12-01 20:15:00 | 6.183 | 218.633 | 6.321 | 219.821 | 5.596 | 222.833 | 4.948 | 220.4 | -12.886 | 889.692 | 67.765 | 9.7241
2020-12-01 20:30:00 | 6.145 | 219.967 | 5.901 | 225.312 | 5.201 | 233.1 | 4.793 | 232.967 | -12.97 | 890.017 | 67.445 | 9.0043
2020-12-01 20:45:00 | 6.369 | 219 | 6.096 | 221.534 | 5.01 | 228.433 | 4.43 | 227.567 | -13.153 | 889.983 | 67.125 | 7.9335
2020-12-01 21:00:00 | 6.318 | 216.553 | 6.459 | 220.483 | 5.265 | 222.767 | 4.136 | 224.5 | -13.122 | 889.317 | 66.923 | 7.3302
2020-12-01 21:15:00 | 6.184 | 219.227 | 7.074 | 216.447 | 6.121 | 220 | 5.732 | 219.567 | -13.541 | 890 | 67.243 | 10.9434
2020-12-01 21:30:00 | 5.979 | 220.073 | 7.064 | 216.658 | 6.176 | 219.2 | 5.284 | 215.567 | -13.428 | 890.567 | 65.92 | 10.1007
2020-12-01 21:45:00 | 6.015 | 217.5 | 5.957 | 216.402 | 5.443 | 216.933 | 4.936 | 215.8 | -13.186 | 889.517 | 64.971 | 10.3764
2020-12-01 22:00:00 | 6.424 | 218.533 | 6.233 | 215.28 | 5.814 | 215.667 | 5.556 | 212 | -13.203 | 889.875 | 64.32 | 11.7869
2020-12-01 22:15:00 | 6.241 | 216.567 | 7.13 | 217.02 | 6.798 | 217.867 | 6.614 | 212.367 | -13.17 | 889.708 | 64.832 | 14.939
2020-12-01 22:30:00 | 6.176 | 213.433 | 7.503 | 214.826 | 7.248 | 216.633 | 7.001 | 212.067 | -13.003 | 890.258 | 65.739 | 14.7968
2020-12-01 22:45:00 | 6.343 | 216.967 | 6.415 | 214.12 | 6.451 | 217.633 | 6.326 | 212.7 | -12.903 | 889.858 | 65.696 | 13.1384
2020-12-01 23:00:00 | 6.424 | 214.433 | 7.195 | 212.928 | 6.932 | 216.067 | 6.401 | 212.567 | -12.92 | 889.567 | 64.267 | 10.1668
2020-12-01 23:15:00 | 5.862 | 216.4 | 6.749 | 213.085 | 6.461 | 217.833 | 5.976 | 215.433 | -12.986 | 889.775 | 63.84 | 9.5323
2020-12-01 23:30:00 | 6.572 | 217.567 | 6.198 | 213.186 | 5.979 | 214.767 | 5.751 | 211.8 | -13.02 | 890.083 | 64.107 | 7.7637
2020-12-01 23:45:00 | 5.355 | 220.247 | 6.214 | 214.338 | 5.657 | 217.7 | 5.315 | 216.633 | -13.56 | 890.075 | 64.853 | 5.5481