## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-02 00:00:00 | 5.301 | 218.667 | 5.656 | 210.58 | 5.314 | 212.033 | 5.308 | 212.033 | -14.033 | 889.492 | 65.739 | 5.9347
2020-12-02 00:15:00 | 6.552 | 224.833 | 5.685 | 215.762 | 5.148 | 217.367 | 5.095 | 214.067 | -14.033 | 889.275 | 66.987 | 4.5078
2020-12-02 00:30:00 | 6.236 | 225.033 | 6.63 | 219.543 | 5.895 | 220.933 | 5.285 | 220.067 | -13.933 | 889.95 | 65.685 | 6.4257
2020-12-02 00:45:00 | 5.956 | 221.147 | 5.579 | 218.99 | 5.277 | 225.3 | 4.569 | 222.633 | -13.914 | 890 | 65.408 | 6.9366
2020-12-02 01:00:00 | 5.908 | 231.633 | 6.35 | 213.158 | 5.104 | 218 | 4.209 | 215.433 | -14.32 | 889.925 | 65.675 | 3.6132
2020-12-02 01:15:00 | 5.454 | 225.413 | 5.736 | 208.068 | 5.08 | 210.067 | 4.847 | 208.3 | -14.181 | 889.975 | 66.421 | 3.6452
2020-12-02 01:30:00 | 5.832 | 226.967 | 5.299 | 215.495 | 5.305 | 212.333 | 4.719 | 200.533 | -13.983 | 889.733 | 64.843 | 1.8219
2020-12-02 01:45:00 | 5.431 | 230.247 | 5.03 | 217.741 | 4.414 | 220.533 | 3.936 | 212.7 | -13.416 | 889.45 | 62.08 | 1.5469
2020-12-02 02:00:00 | 6.107 | 221.433 | 5.062 | 209.524 | 4.373 | 207.767 | 4.811 | 202.567 | -14.116 | 889.642 | 64.096 | 1.7821
2020-12-02 02:15:00 | 6.148 | 217.927 | 5.186 | 200.592 | 4.468 | 199.433 | 4.018 | 192.7 | -13.243 | 889.758 | 62.091 | 0.80507
2020-12-02 02:30:00 | 5.815 | 214.373 | 4.66 | 195.692 | 3.453 | 194.133 | 3.098 | 182.1 | -13.616 | 889.842 | 62.112 | 0.24586
2020-12-02 02:45:00 | 4.93 | 213.013 | 4.562 | 194.966 | 3.317 | 187.8 | 2.903 | 180.8 | -13.747 | 889.633 | 62.485 | 0.19541
2020-12-02 03:00:00 | 4.784 | 211.687 | 3.595 | 192.218 | 2.547 | 178.6 | 2.354 | 165 | -13.503 | 890.158 | 62.005 | 0.23875
2020-12-02 03:15:00 | 3.918 | 197.353 | 2.658 | 183.483 | 2.16 | 168 | 2.532 | 152.067 | -13.155 | 889.658 | 61.259 | 0.093795
2020-12-02 03:30:00 | 4.854 | 187.933 | 4.572 | 173.821 | 3.636 | 163.233 | 2.945 | 155.167 | -12.67 | 889.933 | 60.608 | 0.70133
2020-12-02 03:45:00 | 6.07 | 192.667 | 3.71 | 169.474 | 2.798 | 169.467 | 2.776 | 158 | -12.97 | 889.675 | 59.531 | 2.1289
2020-12-02 04:00:00 | 5.255 | 203.12 | 3.446 | 172.493 | 2.394 | 163.8 | 2.31 | 151.4 | -13.409 | 890.067 | 58.261 | 1.0339
2020-12-02 04:15:00 | 5.069 | 203.607 | 2.896 | 172.887 | 1.856 | 162.2 | 2.297 | 148.1 | -14.724 | 890.15 | 62.101 | 0.77381
2020-12-02 04:30:00 | 4.77 | 202.793 | 3.471 | 173.265 | 2.312 | 168.667 | 2.287 | 144.433 | -14.849 | 889.725 | 63.659 | 1.738
2020-12-02 04:45:00 | 5.513 | 200.42 | 3.524 | 172.82 | 2.549 | 161.267 | 3.095 | 150.1 | -14.704 | 889.717 | 63.093 | 2.9645
2020-12-02 05:00:00 | 5.043 | 201.96 | 3.165 | 163.854 | 2.833 | 154.567 | 2.971 | 143.5 | -14.537 | 890 | 62.475 | 2.9602
2020-12-02 05:15:00 | 4.958 | 203.847 | 3.467 | 176.731 | 2.615 | 165.433 | 2.95 | 148.867 | -14.662 | 889.675 | 62.603 | 3.1052
2020-12-02 05:30:00 | 5.016 | 204.513 | 3.419 | 178.031 | 2.609 | 168.6 | 2.779 | 152.567 | -14.937 | 889.683 | 63.403 | 2.5303
2020-12-02 05:45:00 | 4.962 | 208.307 | 3.139 | 176.597 | 2.297 | 169.033 | 2.341 | 148.6 | -13.716 | 889.858 | 58.123 | 1.4233
2020-12-02 06:00:00 | 5.451 | 206.9 | 4.231 | 181.726 | 2.906 | 175.167 | 2.446 | 152.367 | -15.391 | 889.567 | 61.611 | 1.4091
2020-12-02 06:15:00 | 5.277 | 208.667 | 3.766 | 184.074 | 2.729 | 176.867 | 2.522 | 163.433 | -15.274 | 890.175 | 62.645 | 0.14709
2020-12-02 06:30:00 | 5.198 | 208.607 | 3.453 | 190.368 | 2.713 | 179.1 | 2.552 | 168.533 | -14.024 | 889.967 | 60.864 | 0.21104
2020-12-02 06:45:00 | 4.875 | 208.787 | 3.309 | 187.928 | 2.267 | 181.567 | 2.036 | 161.1 | -13.63 | 889.45 | 58.315 | 0.34107
2020-12-02 07:00:00 | 5.272 | 211.567 | 3.479 | 188.781 | 2.569 | 185.933 | 2.265 | 165 | -15.024 | 890.133 | 60.725 | 0.29773
2020-12-02 07:15:00 | 5.03 | 213.133 | 3.063 | 189.125 | 1.844 | 181.767 | 2.027 | 164.1 | -14.991 | 889.808 | 62.091 | 0.28138
2020-12-02 07:30:00 | 4.953 | 210.253 | 3.334 | 187.159 | 2.701 | 178.833 | 2.595 | 165.5 | -13.647 | 889.233 | 58.4 | 0.22028
2020-12-02 07:45:00 | 5.353 | 211.867 | 3.31 | 188.357 | 2.609 | 180.4 | 2.744 | 164.133 | -15.174 | 890.075 | 60.128 | 0.19612
2020-12-02 08:00:00 | 5.629 | 214.807 | 2.764 | 190.768 | 1.992 | 182.2 | 2.154 | 166.067 | -15.195 | 889.758 | 59.915 | 0.25651
2020-12-02 08:15:00 | 4.692 | 212.4 | 2.28 | 180.216 | 1.473 | 180.033 | 2.017 | 164 | -15.274 | 889.7 | 62.421 | 0.35813
2020-12-02 08:30:00 | 5.041 | 213.093 | 2.471 | 185.835 | 1.867 | 164.367 | 1.92 | 158 | -15.888 | 889.925 | 62.101 | 0.30981
2020-12-02 08:45:00 | 4.73 | 211.893 | 2.264 | 193.214 | 1.514 | 176.433 | 1.859 | 145 | -15.133 | 889.575 | 63.979 | 0.29844
2020-12-02 09:00:00 | 5.3 | 209.707 | 2.72 | 195.368 | 1.902 | 176.467 | 2.218 | 147.2 | -14.195 | 889.592 | 56.789 | 0.23022
2020-12-02 09:15:00 | 4.932 | 202.52 | 4.486 | 185.972 | 3.267 | 188.733 | 2.627 | 173.633 | -13.503 | 890.033 | 58.336 | 0.085268
2020-12-02 09:30:00 | 5.019 | 196.927 | 3.049 | 170.178 | 1.91 | 154.333 | 2.21 | 139.867 | -12.161 | 889.492 | 53.877 | 0.082426
2020-12-02 09:45:00 | 4.548 | 199.213 | 3.643 | 169.264 | 2.464 | 156.733 | 2.704 | 146.733 | -12.182 | 890.008 | 52.555 | 0.098769
2020-12-02 10:00:00 | 4.568 | 200.787 | 3.888 | 170.417 | 2.668 | 163.033 | 2.4 | 146.933 | -13.166 | 889.925 | 54.176 | 0.28067
2020-12-02 10:15:00 | 3.994 | 199.887 | 2.6 | 158.211 | 2.64 | 144.133 | 2.938 | 133.433 | -11.636 | 889.775 | 54.357 | 0.23875
2020-12-02 10:30:00 | 3.456 | 202.427 | 2.502 | 154.049 | 2.641 | 143.733 | 2.78 | 128.533 | -10.76 | 889.617 | 52.032 | 0.15348
2020-12-02 10:45:00 | 2.194 | 197.56 | 2.733 | 144.326 | 2.862 | 132.2 | 3.226 | 122.133 | -9.766 | 889.583 | 51.669 | 0.37802
2020-12-02 11:00:00 | 3.126 | 182.667 | 2.662 | 143.957 | 2.201 | 136.133 | 2.965 | 125.2 | -8.908 | 889.75 | 48.939 | 0.47395
2020-12-02 11:15:00 | 3.392 | 188.28 | 2.99 | 155.154 | 2.826 | 145.167 | 2.641 | 132.9 | -8.25 | 889.992 | 45.397 | 0.32473
2020-12-02 11:30:00 | 2.55 | 186.5 | 2.483 | 147.946 | 2.183 | 138.533 | 2.127 | 134.267 | -7.108 | 889.45 | 44.8 | 0.18759
2020-12-02 11:45:00 | 1.5 | 166.06 | 2.085 | 137.619 | 2.503 | 134 | 2.776 | 125.6 | -6.658 | 890.242 | 41.184 | 0.13856
2020-12-02 12:00:00 | 1.206 | 140.033 | 1.968 | 113.466 | 2.276 | 111.733 | 2.75 | 107.467 | -7.556 | 889.492 | 40.635 | 0.32402
2020-12-02 12:15:00 | 2.139 | 73.77 | 1.831 | 74.68 | 2.104 | 85.233 | 2.199 | 88.833 | -7.111 | 889.55 | 40.949 | 0.26362
2020-12-02 12:30:00 | 2.572 | 91.39 | 2.277 | 87.607 | 2.319 | 95.033 | 2.562 | 95.233 | -7.346 | 889.375 | 40.203 | 0.29986
2020-12-02 12:45:00 | 2.252 | 109.967 | 1.975 | 103.25 | 1.975 | 106.9 | 2.091 | 102.767 | -7.522 | 889.917 | 39.717 | 0.30554
2020-12-02 13:00:00 | 2.127 | 73.825 | 1.809 | 73.175 | 1.927 | 75.4 | 2.22 | 71.833 | -7.174 | 890.15 | 39.749 | 0.29986
2020-12-02 13:15:00 | 1.433 | 82.428 | 1.126 | 74.203 | 1.521 | 79.933 | 1.868 | 71.067 | -7.289 | 890.058 | 42.059 | 0.30412
2020-12-02 13:30:00 | 1.773 | 111.8 | 1.59 | 102.977 | 1.594 | 98.167 | 1.701 | 86.233 | -7.306 | 889.825 | 44.395 | 0.29986
2020-12-02 13:45:00 | 1.564 | 124.563 | 1.199 | 115.993 | 1.46 | 115.1 | 1.798 | 102.5 | -7.032 | 890.233 | 45.984 | 0.29986
2020-12-02 14:00:00 | 1.373 | 139.093 | 0.916 | 128.545 | 0.744 | 128.233 | 1.274 | 114.033 | -7.486 | 889.95 | 47.392 | 0.29844
2020-12-02 14:15:00 | 1.585 | 113.6 | 1.328 | 115.392 | 1.421 | 115.3 | 1.73 | 119.967 | -7.606 | 889.958 | 48.565 | 0.29844
2020-12-02 14:30:00 | 0.719 | 149.567 | 0.27 | 127.709 | 0.692 | 139.5 | 1.566 | 127.3 | -7.839 | 889.858 | 49.227 | 0.29702
2020-12-02 14:45:00 | 0 | 123.3 | 0 | 121.238 | 0 | 144 | 0.446 | 128.967 | -7.522 | 889.583 | 47.925 | 0.29702
2020-12-02 15:00:00 | 0.959 | 54.623 | 0.86 | 54.485 | 1.242 | 54.533 | 1.397 | 71.833 | -6.512 | 890.15 | 45.632 | 0.29844
2020-12-02 15:15:00 | 0.216 | 66.03 | 0 | 51.816 | 0.319 | 51.067 | 0.54 | 35 | -6.975 | 889.967 | 44.832 | 0.29844
2020-12-02 15:30:00 | 0 | 71.2 | 0 | 51.123 | 0 | 51.067 | 0.403 | 35 | -6.328 | 889.992 | 44.736 | 0.29275
2020-12-02 15:45:00 | 0 | 71.187 | 0 | 68.659 | 0.066 | 86 | 0.292 | 35 | -6.266 | 890.042 | 44.853 | 0.29844
2020-12-02 16:00:00 | 1.038 | 166.113 | 0.283 | 119.848 | 0.246 | 106.333 | 0.785 | 43.6 | -6.468 | 889.85 | 45.344 | 0.29418
2020-12-02 16:15:00 | 1.352 | 143.167 | 0.84 | 138.553 | 1.11 | 148 | 1.337 | 82.367 | -7.556 | 889.708 | 49.803 | 0.29844
2020-12-02 16:30:00 | 2.072 | 139.907 | 1.897 | 130.676 | 1.989 | 138.067 | 2.17 | 134 | -7.803 | 890.1 | 54.016 | 0.3027
2020-12-02 16:45:00 | 2.133 | 145.767 | 2.069 | 140.546 | 2.134 | 144.267 | 2.185 | 140 | -8.09 | 890.075 | 57.323 | 0.30412
2020-12-02 17:00:00 | 1.468 | 138.4 | 0.955 | 131.622 | 0.983 | 127 | 1.469 | 137.967 | -8.708 | 890.317 | 57.92 | 0.29844
2020-12-02 17:15:00 | 0 | 138.4 | 0 | 133.618 | 0.076 | 135.067 | 1.32 | 138.067 | -8.658 | 890.342 | 58.763 | 0.2956
2020-12-02 17:30:00 | 1.372 | 144.967 | 1.125 | 138.06 | 1.34 | 135 | 1.637 | 138 | -8.741 | 890.242 | 60.373 | 0.29844
2020-12-02 17:45:00 | 1.707 | 158.9 | 1.236 | 140.435 | 1.217 | 143.867 | 1.34 | 138.067 | -8.808 | 889.817 | 60.139 | 0.29844
2020-12-02 18:00:00 | 1.77 | 172.4 | 1.282 | 152.387 | 1.331 | 145 | 1.645 | 138.067 | -8.908 | 889.858 | 60.416 | 0.29702
2020-12-02 18:15:00 | 1.789 | 186.867 | 0.791 | 155.471 | 0.776 | 145 | 1.269 | 138 | -9.808 | 889.525 | 62.101 | 0.29844
2020-12-02 18:30:00 | 1.968 | 196.967 | 0.303 | 155.464 | 0 | 145.067 | 0.733 | 138 | -10.266 | 890.15 | 62.421 | 0.29844
2020-12-02 18:45:00 | 1.804 | 202.067 | 0.203 | 155.563 | 0 | 144.933 | 0 | 138 | -10.433 | 889.9 | 63.2 | 0.29844
2020-12-02 19:00:00 | 1.914 | 208.867 | 0 | 155.464 | 0 | 145.1 | 0 | 138 | -10.366 | 889.85 | 65.237 | 0.29844
2020-12-02 19:15:00 | 2.361 | 212.9 | 0 | 155.541 | 0 | 145 | 1.179 | 100.033 | -10.984 | 889.933 | 66.389 | 0.29986
2020-12-02 19:30:00 | 1.685 | 212.18 | 0 | 142.448 | 0.377 | 61.233 | 1.902 | 79 | -10.685 | 889.742 | 66.144 | 0.29844
2020-12-02 19:45:00 | 2.264 | 207.933 | 0 | 142.472 | 0.037 | 61.167 | 1.75 | 79.1 | -10.797 | 890.25 | 65.355 | 0.30839
2020-12-02 20:00:00 | 1.613 | 196.167 | 0 | 140.793 | 0.474 | 78 | 1.692 | 78.867 | -11.178 | 889.533 | 66.848 | 0.29844
2020-12-02 20:15:00 | 1.426 | 191.867 | 0 | 109.118 | 0.257 | 84.533 | 1.65 | 79.767 | -11.566 | 889.958 | 68.661 | 0.3027
2020-12-02 20:30:00 | 1.044 | 183.573 | 0 | 96.24 | 0.587 | 79 | 2.144 | 72.933 | -11.536 | 889.583 | 70.72 | 0.30981
2020-12-02 20:45:00 | 2.131 | 189.293 | 0 | 96.278 | 0.39 | 79.033 | 1.777 | 78.167 | -12.057 | 889.775 | 71.712 | 0.30554
2020-12-02 21:00:00 | 2.141 | 189.42 | 0 | 96.247 | 0.577 | 105.833 | 2.099 | 94 | -12.12 | 889.867 | 72.971 | 0.29986
2020-12-02 21:15:00 | 2.285 | 197.98 | 0 | 96.218 | 1.125 | 121.1 | 1.724 | 113 | -12.078 | 889.933 | 73.109 | 0.29986
2020-12-02 21:30:00 | 2.426 | 217.407 | 0 | 100.284 | 0 | 120.967 | 1.131 | 113.1 | -11.811 | 889.558 | 72.448 | 0.30128
2020-12-02 21:45:00 | 2.936 | 219.78 | 0.204 | 104.249 | 0 | 120.867 | 0.924 | 113 | -11.974 | 889.567 | 72.352 | 0.29986
2020-12-02 22:00:00 | 2.911 | 216.727 | 0 | 140.488 | 0 | 121 | 0.369 | 113 | -12.057 | 890.067 | 72.235 | 0.30412
2020-12-02 22:15:00 | 3.191 | 214.2 | 0.489 | 168.494 | 0 | 121 | 0.43 | 111.133 | -12.303 | 890.283 | 72.96 | 0.3027
2020-12-02 22:30:00 | 2.744 | 213.487 | 0 | 173.522 | 0 | 120.967 | 1.037 | 111.267 | -12.12 | 890.342 | 72.8 | 0.30412
2020-12-02 22:45:00 | 2.85 | 214.667 | 0 | 173.519 | 0 | 120.967 | 1.331 | 111.133 | -12.47 | 889.85 | 72.565 | 0.30554
2020-12-02 23:00:00 | 3.021 | 222.933 | 0 | 173.428 | 0 | 121 | 1.057 | 111.1 | -12.636 | 890.067 | 73.12 | 0.30839
2020-12-02 23:15:00 | 2.466 | 223.167 | 0 | 173.611 | 0 | 121 | 1.186 | 111 | -12.67 | 889.842 | 74.816 | 0.30554
2020-12-02 23:30:00 | 3.124 | 228.1 | 0 | 173.463 | 0 | 121 | 0 | 111.067 | -12.736 | 889.883 | 72.8 | 0.3027
2020-12-02 23:45:00 | 2.911 | 231.333 | 0 | 173.59 | 0 | 121.067 | 0 | 111 | -13.053 | 890.258 | 72.853 | 0.30128