## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-03 00:00:00 | 3.699 | 227.2 | 0 | 173.504 | 0 | 16 | 0.332 | 111.1 | -13.933 | 890.117 | 70.635 | 0.30128
2020-12-03 00:15:00 | 3.179 | 226.747 | 0 | 173.508 | 0 | 15.6 | 1.194 | 111 | -13.747 | 889.85 | 70.763 | 0.30128
2020-12-03 00:30:00 | 3.062 | 232.347 | 0 | 207.51 | 0 | 16 | 1.256 | 51.367 | -13.753 | 889.917 | 69.195 | 0.30412
2020-12-03 00:45:00 | 2.979 | 229.18 | 0 | 210.531 | 0 | 15.833 | 1.172 | 40.667 | -13.653 | 889.683 | 69.195 | 0.3027
2020-12-03 01:00:00 | 1.833 | 219.813 | 0 | 185.459 | 1.507 | 47.2 | 2.358 | 52.467 | -13.653 | 890.15 | 70.251 | 0.30696
2020-12-03 01:15:00 | 0.588 | 214.667 | 0 | 76.242 | 1.885 | 65.333 | 2.979 | 66.767 | -13.578 | 889.65 | 72.437 | 0.30696
2020-12-03 01:30:00 | 0.14 | 209.873 | 0.713 | 61.191 | 2.476 | 66.367 | 3.248 | 73.033 | -13.522 | 890.108 | 74.635 | 0.26291
2020-12-03 01:45:00 | 0 | 213 | 1.187 | 57.042 | 2.523 | 73.333 | 3.296 | 74.267 | -14.32 | 889.95 | 77.152 | 0.74823
2020-12-03 02:00:00 | 0 | 109.26 | 0.24 | 63.275 | 2.059 | 83.333 | 2.512 | 83.9 | -14.704 | 890.042 | 79.616 | 0.97916
2020-12-03 02:15:00 | 1.43 | 231.593 | 0 | 79.214 | 0.714 | 96.6 | 1.777 | 99.133 | -14.537 | 889.762 | 81.333 | 0.19541
2020-12-03 02:30:00 | 1.591 | 223.1 | 0 | 79.299 | 1.213 | 107.333 | 2.005 | 104.867 | -14.683 | 889.917 | 80.885 | 0.17693
2020-12-03 02:45:00 | 2.519 | 225.833 | 0 | 79.246 | 0.03 | 101.933 | 1.525 | 98.033 | -14.787 | 889.583 | 80.683 | 0.2082
2020-12-03 03:00:00 | 2.88 | 227.033 | 0 | 100.378 | 0.14 | 109.5 | 2.216 | 104.7 | -14.578 | 889.658 | 80.491 | 0.30341
2020-12-03 03:15:00 | 2.564 | 224.367 | 0 | 142.538 | 0.966 | 132.833 | 2.431 | 104.467 | -14.266 | 889.342 | 81.131 | 0.32686
2020-12-03 03:30:00 | 3.048 | 228.133 | 0.05 | 144.03 | 0 | 114 | 0.604 | 102.867 | -14.216 | 889.617 | 81.621 | 0.31407
2020-12-03 03:45:00 | 2.625 | 230.367 | 0 | 157.524 | 0.167 | 114 | 1.888 | 103 | -14.083 | 889.846 | 82.336 | 0.30839
2020-12-03 04:00:00 | 2.73 | 236.4 | 0 | 157.512 | 0 | 114.1 | 1.484 | 99.3 | -14.474 | 890.062 | 81.44 | 0.3027
2020-12-03 04:15:00 | 3.071 | 242.427 | 0 | 157.54 | 0.03 | 81.233 | 1.613 | 80.4 | -14.312 | 889.975 | 83.072 | 0.30554
2020-12-03 04:30:00 | 3.469 | 243.667 | 0.488 | 268.733 | 0 | 251.733 | 0.292 | 79 | -15.241 | 889.867 | 81.115 | 0.30696
2020-12-03 04:45:00 | 3.878 | 232.267 | 0.469 | 266.89 | 0 | 328 | 0 | 79.075 | -15.558 | 889.842 | 81.547 | 0.30554
2020-12-03 05:00:00 | 3.868 | 225.493 | 1.594 | 248.166 | 0 | 328 | 0 | 79 | -16.705 | 889.958 | 79.317 | 0.30412
2020-12-03 05:15:00 | 3.932 | 229.333 | 1.186 | 241.452 | 0 | 325.933 | 0 | 80.033 | -15.424 | 890.033 | 81.163 | 0.30839
2020-12-03 05:30:00 | 3.99 | 225.56 | 1.573 | 235.663 | 0.37 | 278.433 | 0.661 | 111.917 | -16.382 | 889.842 | 78.069 | 0.31549
2020-12-03 05:45:00 | 3.897 | 225.3 | 0.989 | 217.529 | 0.94 | 217.167 | 1.138 | 171.9 | -15.391 | 889.983 | 78.112 | 0.32118
2020-12-03 06:00:00 | 4.301 | 227.313 | 0.397 | 217.473 | 0 | 217 | 1.179 | 172.133 | -16.486 | 889.725 | 72.171 | 0.32544
2020-12-03 06:15:00 | 4.979 | 227.7 | 2.18 | 223.549 | 1.538 | 214.9 | 2.124 | 171.167 | -16.334 | 889.592 | 68.971 | 0.34249
2020-12-03 06:30:00 | 4.989 | 227.567 | 3.141 | 240.081 | 1.864 | 233.633 | 1.411 | 197.533 | -17.881 | 889.617 | 67.179 | 0.33112
2020-12-03 06:45:00 | 3.263 | 235.753 | 1.557 | 246.665 | 0.133 | 237 | 0.05 | 197.733 | -14.704 | 889.742 | 76.277 | 0.31549
2020-12-03 07:00:00 | 2.689 | 237.64 | 1.34 | 287.476 | 0.147 | 268.4 | 0 | 199.35 | -14.978 | 889.992 | 72.053 | 0.29489
2020-12-03 07:15:00 | 2.593 | 227.213 | 0.193 | 286.993 | 0.236 | 267.867 | 0 | 121.242 | -15.054 | 890 | 72.395 | 0.33112
2020-12-03 07:30:00 | 0.595 | 234.773 | 0 | 287.792 | 0.685 | 158.8 | 1.783 | 93.2 | -14.724 | 889.792 | 73.6 | 0.33254
2020-12-03 07:45:00 | 1.783 | 209.1 | 0 | 0 | 1.228 | 34 | 2.278 | 48 | -15.808 | 889.658 | 73.771 | 0.33681
2020-12-03 08:00:00 | 2.363 | 178.5 | 0 | 0 | 0.097 | 34 | 2.253 | 55 | -15.208 | 890.025 | 71.029 | 0.32402
2020-12-03 08:15:00 | 2.224 | 179.967 | 0 | 0 | 0 | 34.033 | 1.862 | 67.1 | -15.591 | 889.817 | 69.429 | 0.32544
2020-12-03 08:30:00 | 1.364 | 182.4 | 0 | 0 | 0 | 33.967 | 1.632 | 69.333 | -15.391 | 889.958 | 72.811 | 0.32402
2020-12-03 08:45:00 | 1.21 | 188.633 | 0 | 0 | 0.13 | 34 | 2.047 | 69.1 | -15.424 | 889.667 | 73.867 | 0.3297
2020-12-03 09:00:00 | 1.514 | 202.233 | 0 | 5.849 | 0.597 | 54.967 | 2.099 | 74.467 | -15.574 | 889.833 | 74.144 | 0.3226
2020-12-03 09:15:00 | 1.658 | 226.8 | 0 | 17.062 | 0.133 | 77.9 | 1.761 | 93 | -15.074 | 890.1 | 73.589 | 0.34391
2020-12-03 09:30:00 | 1.67 | 244.333 | 0 | 17.064 | 1.077 | 56.367 | 1.619 | 73.067 | -14.266 | 890.375 | 72.203 | 0.33112
2020-12-03 09:45:00 | 1.726 | 240.84 | 0 | 17.059 | 0.65 | 38.733 | 1.791 | 56 | -13.743 | 889.958 | 70.603 | 0.32828
2020-12-03 10:00:00 | 2.459 | 253.933 | 1.151 | 292.326 | 1.083 | 330.633 | 1.316 | 29.867 | -13.376 | 889.925 | 66.597 | 0.32828
2020-12-03 10:15:00 | 2.263 | 263.867 | 1.096 | 287.2 | 1.007 | 306.933 | 0.936 | 299.634 | -12.203 | 889.35 | 64.267 | 0.33112
2020-12-03 10:30:00 | 1.658 | 275.853 | 0.846 | 317.205 | 0.886 | 338.633 | 1.189 | 39.2 | -11.728 | 889.933 | 62.485 | 0.31976
2020-12-03 10:45:00 | 1.162 | 277.04 | 0.223 | 316.793 | 0.057 | 338.067 | 1.075 | 357.967 | -11.12 | 890.275 | 60.405 | 0.32118
2020-12-03 11:00:00 | 0.828 | 284.48 | 0.07 | 0 | 0.439 | 25.117 | 0.978 | 357.933 | -12.324 | 890.25 | 57.781 | 0.31976
2020-12-03 11:15:00 | 1.15 | 316.267 | 1.36 | 347.476 | 1.337 | 0 | 1.077 | 357.333 | -13.086 | 889.775 | 59.109 | 0.31833
2020-12-03 11:30:00 | 1.794 | 341.533 | 1.476 | 317.337 | 1.549 | 107.271 | 1.458 | 6.002 | -13.07 | 889.967 | 61.376 | 0.32118
2020-12-03 11:45:00 | 1.4 | 340.533 | 1.317 | 351.028 | 1.316 | 12.77 | 1.704 | 6.767 | -13.203 | 889.642 | 62.459 | 0.32544
2020-12-03 12:00:00 | 1.126 | 332.107 | 0.947 | 0 | 1.203 | 8.55 | 2.068 | 8.7 | -12.503 | 889.925 | 63.328 | 0.31976
2020-12-03 12:15:00 | 2.574 | 61.612 | 2.414 | 55.522 | 2.394 | 55.267 | 2.582 | 53.2 | -12.016 | 889.692 | 60.256 | 0.35386
2020-12-03 12:30:00 | 3.098 | 70.013 | 2.879 | 63.113 | 2.872 | 66.433 | 3.192 | 59.8 | -11.766 | 889.892 | 61.685 | 0.1613
2020-12-03 12:45:00 | 2.452 | 81.2 | 2.355 | 74.932 | 2.382 | 77.567 | 2.588 | 74.033 | -11.461 | 889.483 | 64.075 | 0.10516
2020-12-03 13:00:00 | 2.915 | 84.2 | 2.689 | 77.493 | 2.873 | 83.7 | 3.027 | 78.3 | -11.478 | 889.717 | 63.531 | 0.21246
2020-12-03 13:15:00 | 2.633 | 104.833 | 2.582 | 100.735 | 2.573 | 104.533 | 3.045 | 99.367 | -11.345 | 889.708 | 62.251 | 0.04974
2020-12-03 13:30:00 | 2.363 | 104.433 | 2.259 | 105.212 | 2.27 | 111.267 | 2.664 | 107.367 | -11.495 | 889.575 | 62.155 | 0.25012
2020-12-03 13:45:00 | 2.75 | 118.02 | 2.638 | 110.685 | 2.841 | 112.167 | 3.086 | 105.467 | -11.078 | 890.158 | 64.363 | 0.17125
2020-12-03 14:00:00 | 2.42 | 129.31 | 2.341 | 122.813 | 2.383 | 120.867 | 2.747 | 110.933 | -10.724 | 890.158 | 65.035 | 0.20962
2020-12-03 14:15:00 | 2.66 | 123.043 | 2.542 | 114.001 | 2.608 | 115.9 | 2.858 | 108.233 | -10.797 | 889.642 | 66.005 | 0.27286
2020-12-03 14:30:00 | 1.866 | 115.56 | 1.656 | 116.318 | 1.772 | 112 | 1.958 | 101.067 | -10.928 | 889.958 | 65.483 | 0.29986
2020-12-03 14:45:00 | 2.186 | 112.53 | 2.12 | 106.27 | 2.37 | 105.433 | 2.849 | 96.7 | -10.439 | 889.617 | 65.067 | 0.30981
2020-12-03 15:00:00 | 2.748 | 115.92 | 2.785 | 105.316 | 3.117 | 105.367 | 3.617 | 98.7 | -10.554 | 890.133 | 66.059 | 0.22454
2020-12-03 15:15:00 | 2.785 | 116.8 | 2.772 | 111.179 | 3.034 | 114.033 | 3.565 | 105.367 | -10.333 | 889.85 | 66.549 | 0.13998
2020-12-03 15:30:00 | 1.995 | 128.613 | 1.923 | 121.295 | 2.262 | 121.5 | 3.038 | 114.6 | -10.162 | 889.9 | 65.568 | 0.14993
2020-12-03 15:45:00 | 1.67 | 133.813 | 1.648 | 118.952 | 1.891 | 121.6 | 2.454 | 109.767 | -9.995 | 889.408 | 64.299 | 0.33681
2020-12-03 16:00:00 | 1.556 | 139.433 | 1.377 | 128.641 | 1.627 | 130.467 | 2.008 | 124 | -9.912 | 890.025 | 63.349 | 0.32402
2020-12-03 16:15:00 | 1.269 | 156.693 | 0.813 | 140.212 | 1.26 | 141.9 | 1.706 | 138.033 | -9.87 | 889.767 | 62.443 | 0.31265
2020-12-03 16:30:00 | 0.642 | 172.433 | 0 | 154.548 | 0 | 152.067 | 1.084 | 140 | -9.174 | 889.625 | 61.461 | 0.31976
2020-12-03 16:45:00 | 1.236 | 192.12 | 0.877 | 178.434 | 0.94 | 172.333 | 1.364 | 139.867 | -8.23 | 889.617 | 59.04 | 0.31976
2020-12-03 17:00:00 | 0.979 | 200.467 | 0.343 | 195.551 | 0.776 | 184.9 | 1.347 | 140.067 | -8.207 | 889.45 | 59.776 | 0.31976
2020-12-03 17:15:00 | 1.122 | 200.467 | 0.35 | 165.49 | 0.616 | 133.567 | 1.713 | 118.533 | -8.908 | 889.758 | 61.365 | 0.31976
2020-12-03 17:30:00 | 1.25 | 217.28 | 0.04 | 165.535 | 0 | 134.967 | 0.05 | 106.867 | -9.528 | 889.667 | 63.989 | 0.32118
2020-12-03 17:45:00 | 1.988 | 255.973 | 0.876 | 247.669 | 0 | 210.533 | 0.537 | 98.167 | -10.949 | 890.042 | 67.669 | 0.31691
2020-12-03 18:00:00 | 1.381 | 256.72 | 0 | 259.044 | 0.09 | 323.133 | 0.52 | 66.633 | -10.853 | 889.683 | 71.595 | 0.27428
2020-12-03 18:15:00 | 0.309 | 293.12 | 0 | 277.059 | 0.723 | 32.667 | 1.764 | 49.433 | -11.04 | 889.767 | 73.952 | 0.33752
2020-12-03 18:30:00 | 0.307 | 211.233 | 0.444 | 63.287 | 0.998 | 73.354 | 2.049 | 78.5 | -11.295 | 889.975 | 75.349 | 0.80365
2020-12-03 18:45:00 | 2.362 | 78.467 | 3.238 | 79.073 | 3.902 | 82.467 | 3.843 | 80.667 | -11.682 | 889.35 | 73.451 | 1.0012
2020-12-03 19:00:00 | 2.855 | 84.927 | 2.551 | 79.706 | 2.772 | 82.867 | 2.943 | 79.2 | -11.911 | 890.283 | 70.667 | 1.5448
2020-12-03 19:15:00 | 1.264 | 97.2 | 1.74 | 82.666 | 1.545 | 83.833 | 1.915 | 78.8 | -12.603 | 889.675 | 71.477 | 0.44695
2020-12-03 19:30:00 | 1.201 | 185.467 | 0.932 | 89.242 | 1.788 | 96 | 2.335 | 91.967 | -13.391 | 890.217 | 73.813 | 0.31123
2020-12-03 19:45:00 | 1.909 | 219.78 | 0 | 93.494 | 0 | 96 | 1.283 | 92 | -13.278 | 889.658 | 78.037 | 0.34391
2020-12-03 20:00:00 | 2.326 | 224.56 | 0 | 100.299 | 0 | 96 | 0.827 | 92 | -13.226 | 889.733 | 78.08 | 0.33965
2020-12-03 20:15:00 | 2.678 | 228.033 | 0.452 | 198.262 | 0 | 96 | 0 | 92 | -13.153 | 890.158 | 77.909 | 0.33397
2020-12-03 20:30:00 | 2.711 | 241.107 | 0.15 | 226.294 | 0 | 211.867 | 0 | 92 | -13.843 | 889.742 | 77.323 | 0.33397
2020-12-03 20:45:00 | 1.637 | 246.84 | 0 | 226.44 | 0 | 211.833 | 0.104 | 92 | -14.516 | 890.3 | 78.357 | 0.34107
2020-12-03 21:00:00 | 1.217 | 234.48 | 0 | 49.274 | 0.723 | 66.467 | 1.946 | 70.467 | -14.349 | 890.2 | 80.096 | 0.33539
2020-12-03 21:15:00 | 1.596 | 235.413 | 0 | 51.127 | 0.087 | 59 | 1.343 | 71 | -14.87 | 890.3 | 80.053 | 0.29986
2020-12-03 21:30:00 | 2.092 | 236.867 | 0 | 51.12 | 0 | 59.1 | 1.844 | 70.867 | -14.474 | 889.742 | 79.797 | 0.31549
2020-12-03 21:45:00 | 2.27 | 244.193 | 0 | 49.986 | 0 | 59 | 1.768 | 71 | -14.641 | 889.633 | 80.491 | 0.29631
2020-12-03 22:00:00 | 2.879 | 241.4 | 0 | 49.122 | 0.19 | 59 | 2.244 | 74.333 | -15.274 | 889.917 | 78.731 | 0.2956
2020-12-03 22:15:00 | 2.312 | 234.167 | 0 | 49.145 | 1.113 | 66.133 | 2.515 | 71.933 | -15.174 | 889.667 | 79.957 | 0.12435
2020-12-03 22:30:00 | 2.129 | 231.4 | 0 | 69.23 | 0.043 | 71 | 1.976 | 91.433 | -14.891 | 889.833 | 80.352 | 0.33752
2020-12-03 22:45:00 | 3.231 | 228.633 | 0 | 69.901 | 0 | 115.667 | 1.629 | 113.033 | -15.208 | 889.483 | 79.008 | 0.32402
2020-12-03 23:00:00 | 2.649 | 227.12 | 0.083 | 197.509 | 0.293 | 118.233 | 2.187 | 113.033 | -14.495 | 889.975 | 80.437 | 0.22951
2020-12-03 23:15:00 | 2.252 | 235.4 | 0 | 197.41 | 0.55 | 121.233 | 2.818 | 103.033 | -14.578 | 889.742 | 79.275 | 0.85979
2020-12-03 23:30:00 | 2.636 | 232.633 | 0 | 197.443 | 0.2 | 106.867 | 2.221 | 94.3 | -15.191 | 890.142 | 79.072 | 0.80578
2020-12-03 23:45:00 | 3.593 | 227.647 | 0.036 | 183.45 | 1.224 | 110.967 | 2.608 | 98.4 | -14.816 | 889.642 | 78.944 | 0.22667