## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-04 00:00:00 | 3.388 | 226.367 | 0.4 | 222.523 | 0 | 116 | 2.022 | 89.8 | -15.608 | 890.1 | 78.229 | 0.19398
2020-12-04 00:15:00 | 2.412 | 228.16 | 0.569 | 222.261 | 0 | 205.933 | 0.329 | 87 | -14.641 | 889.775 | 81.237 | 0.30341
2020-12-04 00:30:00 | 2.864 | 231.333 | 0 | 216.438 | 0 | 206 | 0.88 | 86.067 | -15.041 | 889.983 | 78.784 | 0.35813
2020-12-04 00:45:00 | 2.559 | 235.4 | 0 | 216.501 | 0 | 205.8 | 1.051 | 86.333 | -15.341 | 889.675 | 79.84 | 0.34676
2020-12-04 01:00:00 | 3.591 | 237.4 | 0 | 216.409 | 0 | 143.067 | 2.291 | 97.567 | -15.341 | 890.333 | 79.605 | 0.35528
2020-12-04 01:15:00 | 2.341 | 238.567 | 0 | 236.495 | 0 | 87 | 1.896 | 90 | -16.558 | 890.033 | 78.592 | 0.34107
2020-12-04 01:30:00 | 3.159 | 237.84 | 0.43 | 259.727 | 0.744 | 25.2 | 1.927 | 55.438 | -16.254 | 889.942 | 79.317 | 0.34107
2020-12-04 01:45:00 | 2.988 | 250.113 | 0.621 | 313.529 | 0.736 | 34.267 | 2.302 | 70.7 | -15.976 | 889.692 | 80.747 | 0.32686
2020-12-04 02:00:00 | 2.428 | 260.64 | 0.027 | 341.698 | 0.484 | 56.1 | 2.229 | 71.933 | -15.491 | 890.312 | 81.643 | 0.33823
2020-12-04 02:15:00 | 2.614 | 267.067 | 0.49 | 313.311 | 0.857 | 41.058 | 1.905 | 67.467 | -15.858 | 889.6 | 80.405 | 0.34249
2020-12-04 02:30:00 | 3.482 | 250.167 | 1.553 | 301.298 | 0.28 | 5.133 | 1.851 | 55.9 | -16.232 | 890 | 79.696 | 0.31407
2020-12-04 02:45:00 | 3.65 | 241.467 | 1.102 | 279.839 | 0.12 | 334.067 | 0.581 | 68.992 | -15.725 | 889.138 | 80.347 | 0.3496
2020-12-04 03:00:00 | 3.178 | 235.133 | 0.093 | 277.017 | 0 | 334 | 0.104 | 69.067 | -16.054 | 889.967 | 77.525 | 0.34107
2020-12-04 03:15:00 | 2.939 | 232.007 | 0 | 262.894 | 0 | 334 | 0 | 69.067 | -16.36 | 890.183 | 77.216 | 0.34107
2020-12-04 03:30:00 | 3.628 | 227.36 | 0.562 | 261.146 | 0 | 332 | 0 | 69.033 | -15.922 | 890.325 | 76.853 | 0.34249
2020-12-04 03:45:00 | 2.971 | 233.933 | 0 | 260.895 | 0 | 330 | 0 | 69.183 | -15.658 | 890.083 | 76.821 | 0.34249
2020-12-04 04:00:00 | 3.347 | 242.487 | 1.236 | 268.08 | 0 | 330 | 0 | 68.283 | -15.912 | 889.767 | 76.128 | 0.34391
2020-12-04 04:15:00 | 2.934 | 227.5 | 0.233 | 268.673 | 0 | 330 | 0.473 | 68.317 | -15.358 | 889.708 | 76.661 | 0.34676
2020-12-04 04:30:00 | 3.076 | 224.367 | 1.607 | 237.482 | 1.18 | 241 | 1.269 | 180 | -15.391 | 890.158 | 76.619 | 0.34534
2020-12-04 04:45:00 | 3.399 | 219.533 | 1.42 | 209.277 | 1.084 | 200.433 | 1.942 | 150.433 | -15.141 | 889.933 | 74.869 | 0.35386
2020-12-04 05:00:00 | 3.096 | 209 | 1.288 | 203.594 | 1.556 | 158.8 | 2.522 | 140.567 | -15.108 | 890.192 | 74.955 | 0.36665
2020-12-04 05:15:00 | 2.534 | 203.133 | 1.539 | 196.662 | 1.835 | 173.567 | 2.348 | 146.167 | -14.891 | 890.208 | 79.829 | 0.17409
2020-12-04 05:30:00 | 1.997 | 196.5 | 0 | 196.436 | 1.126 | 143.467 | 2.521 | 137.967 | -15.341 | 889.658 | 78.656 | 0.098769
2020-12-04 05:45:00 | 1.137 | 193.633 | 0 | 164.547 | 0 | 152.1 | 1.828 | 136.767 | -15.141 | 889.429 | 81.6 | 0.20962
2020-12-04 06:00:00 | 1.53 | 212.4 | 0 | 164.535 | 1.579 | 163.767 | 2.559 | 140.533 | -15.391 | 889.592 | 81.28 | 0.20109
2020-12-04 06:15:00 | 1.226 | 238.467 | 0 | 164.518 | 0.221 | 111.2 | 2.397 | 109 | -15.141 | 889.517 | 79.467 | 0.22454
2020-12-04 06:30:00 | 1.803 | 241.533 | 0 | 164.52 | 0 | 111 | 0.883 | 109 | -15.524 | 889.892 | 74.197 | 0.32189
2020-12-04 06:45:00 | 2.198 | 244.733 | 0 | 164.569 | 0 | 111 | 0.806 | 115.3 | -15.258 | 890.05 | 71.957 | 0.3297
2020-12-04 07:00:00 | 3.151 | 239.433 | 1.293 | 282.144 | 0 | 63 | 0 | 117.867 | -15.724 | 889.75 | 70.699 | 0.36026
2020-12-04 07:15:00 | 2.607 | 248.033 | 1.701 | 298.621 | 1.507 | 335.733 | 0.362 | 117.383 | -15.858 | 889.917 | 71.749 | 0.34676
2020-12-04 07:30:00 | 1.82 | 255.253 | 1.768 | 318.319 | 1.88 | 336.533 | 1.673 | 7.102 | -15.824 | 889.592 | 72.101 | 0.34534
2020-12-04 07:45:00 | 3.039 | 242.953 | 1.851 | 303.012 | 1.926 | 337.733 | 0.983 | 7.002 | -16.232 | 890.025 | 71.147 | 0.34818
2020-12-04 08:00:00 | 2.837 | 246.067 | 1.917 | 290.011 | 0.741 | 319.933 | 0.064 | 7.005 | -15.658 | 890.008 | 72.363 | 0.34818
2020-12-04 08:15:00 | 2.386 | 252.967 | 1.882 | 301.94 | 1.223 | 320 | 0.292 | 7 | -15.608 | 889.975 | 72.011 | 0.34676
2020-12-04 08:30:00 | 2.31 | 256.507 | 2.059 | 302.046 | 1.62 | 340.267 | 0.88 | 7.005 | -15.841 | 890.117 | 71.712 | 0.34676
2020-12-04 08:45:00 | 2.368 | 254.027 | 2.117 | 316.142 | 1.767 | 271.2 | 1.573 | 24.023 | -15.891 | 889.792 | 71.552 | 0.34676
2020-12-04 09:00:00 | 2.043 | 247.727 | 1.605 | 304.824 | 0.869 | 347.667 | 1.101 | 24.059 | -15.824 | 889.675 | 72.224 | 0.34818
2020-12-04 09:15:00 | 1.683 | 249.48 | 1.306 | 312.848 | 0.186 | 347.967 | 0.803 | 24.061 | -15.174 | 889.858 | 71.488 | 0.34391
2020-12-04 09:30:00 | 2.338 | 247.52 | 1.018 | 311.063 | 0 | 15.84 | 0.746 | 45.533 | -14.395 | 889.842 | 68.352 | 0.33823
2020-12-04 09:45:00 | 2.54 | 245.2 | 1.177 | 302.148 | 0 | 16.067 | 1.205 | 92.867 | -13.883 | 889.658 | 66.336 | 0.34676
2020-12-04 10:00:00 | 1.844 | 258.127 | 1.548 | 309.466 | 0.277 | 9.019 | 0.924 | 80 | -13.259 | 889.758 | 64.672 | 0.34391
2020-12-04 10:15:00 | 2.254 | 256.687 | 2.001 | 298.452 | 1.781 | 334.533 | 0.245 | 80.042 | -12.353 | 889.742 | 61.509 | 0.34534
2020-12-04 10:30:00 | 1.569 | 253.027 | 1.411 | 301.834 | 1.31 | 320.233 | 1.283 | 29.193 | -11.461 | 890.183 | 58.123 | 0.34534
2020-12-04 10:45:00 | 0.44 | 288.467 | 1.814 | 333.828 | 2.04 | 300.867 | 1.817 | 10.871 | -12.903 | 889.95 | 55.989 | 0.34676
2020-12-04 11:00:00 | 0.88 | 294.4 | 2.004 | 326.989 | 1.326 | 183.467 | 1.565 | 7.002 | -12.753 | 889.858 | 56.453 | 0.34391
2020-12-04 11:15:00 | 0.644 | 301.867 | 1.652 | 331.578 | 1.293 | 6.422 | 1.72 | 23.233 | -13.003 | 889.775 | 56.549 | 0.34534
2020-12-04 11:30:00 | 1.17 | 311 | 1.12 | 326.375 | 0.406 | 6.772 | 1.33 | 25 | -13.153 | 889.908 | 57.163 | 0.34534
2020-12-04 11:45:00 | 0.829 | 307.067 | 0.554 | 318.422 | 0 | 5.509 | 1.074 | 25 | -13.003 | 890.208 | 57.611 | 0.33681
2020-12-04 12:00:00 | 0.658 | 294.813 | 0.39 | 220.644 | 0.283 | 0 | 0.725 | 23.667 | -12.357 | 889.708 | 56.176 | 0.3226
2020-12-04 12:15:00 | 0.153 | 346.24 | 0 | 344.943 | 0.136 | 7.312 | 1.33 | 19.7 | -11.703 | 889.675 | 54.048 | 0.31976
2020-12-04 12:30:00 | 0.817 | 18.06 | 0.774 | 16.608 | 0.776 | 34.167 | 1.582 | 27.1 | -11.003 | 889.992 | 50.72 | 0.32118
2020-12-04 12:45:00 | 1.203 | 79.867 | 1.267 | 76.897 | 1.51 | 91.267 | 2.048 | 91.5 | -9.912 | 889.308 | 46.965 | 0.32402
2020-12-04 13:00:00 | 1.264 | 126.677 | 1.573 | 109.728 | 2.195 | 113.367 | 3.313 | 109.633 | -10.628 | 889.775 | 49.269 | 0.19896
2020-12-04 13:15:00 | 1.895 | 117.967 | 1.996 | 113.935 | 2.068 | 114.733 | 2.616 | 103.467 | -10.834 | 889.75 | 52.469 | 0.063951
2020-12-04 13:30:00 | 2.067 | 105.267 | 2.027 | 103.415 | 2.267 | 103.667 | 2.711 | 96.333 | -10.516 | 889.992 | 54.976 | 0.13785
2020-12-04 13:45:00 | 1.96 | 107.867 | 1.988 | 103.308 | 2.093 | 108.2 | 2.34 | 107.1 | -9.808 | 889.892 | 57.301 | 0.30554
2020-12-04 14:00:00 | 1.927 | 108.567 | 1.802 | 109.111 | 2.116 | 113.833 | 2.621 | 102.6 | -10.216 | 889.558 | 57.355 | 0.29773
2020-12-04 14:15:00 | 1.617 | 111.467 | 1.793 | 111.864 | 1.859 | 116.9 | 2.275 | 108.1 | -10.399 | 889.883 | 57.856 | 0.34107
2020-12-04 14:30:00 | 1.859 | 125.107 | 1.857 | 111.037 | 1.97 | 115.1 | 2.442 | 109.3 | -10.278 | 890.2 | 58.123 | 0.32402
2020-12-04 14:45:00 | 2.083 | 126.593 | 2.077 | 116.34 | 2.008 | 112.267 | 2.536 | 108.433 | -9.829 | 888.567 | 57.632 | 0.33965
2020-12-04 15:00:00 | 2.254 | 113.093 | 2.166 | 104.907 | 2.373 | 108.133 | 2.7 | 98.167 | -9.62 | 889.975 | 57.995 | 0.31833
2020-12-04 15:15:00 | 2.431 | 111.267 | 2.359 | 107.355 | 2.554 | 111.633 | 2.936 | 105.3 | -9.308 | 890.308 | 57.493 | 0.26646
2020-12-04 15:30:00 | 2.352 | 113.233 | 2.25 | 109.924 | 2.333 | 111.667 | 2.533 | 101.033 | -9.108 | 890.275 | 58.016 | 0.2622
2020-12-04 15:45:00 | 2.347 | 121.427 | 2.134 | 113.508 | 2.2 | 117.733 | 2.461 | 105.767 | -9.308 | 889.9 | 58.016 | 0.20322
2020-12-04 16:00:00 | 2.08 | 109.167 | 2.033 | 104.489 | 2.451 | 105.5 | 2.876 | 100.1 | -9.308 | 890.042 | 57.995 | 0.21957
2020-12-04 16:15:00 | 1.71 | 119.847 | 1.67 | 108.903 | 1.97 | 109.867 | 2.429 | 104.333 | -9.358 | 889.642 | 58.603 | 0.46542
2020-12-04 16:30:00 | 2.382 | 111.093 | 2.282 | 104.433 | 2.571 | 107.3 | 3.107 | 100.933 | -9.058 | 889.833 | 59.232 | 1.6144
2020-12-04 16:45:00 | 3.07 | 87.333 | 2.976 | 80.364 | 3.007 | 86.967 | 3.101 | 87 | -8.791 | 889.767 | 58.944 | 2.6277
2020-12-04 17:00:00 | 3.448 | 81.433 | 3.164 | 79.96 | 2.986 | 86.867 | 2.889 | 81.233 | -9.074 | 889.6 | 60.288 | 2.3307
2020-12-04 17:15:00 | 3.254 | 84.56 | 3.106 | 83.38 | 2.974 | 88.167 | 3.192 | 83.467 | -9.433 | 890.2 | 61.301 | 2.6085
2020-12-04 17:30:00 | 3.423 | 88.107 | 3.678 | 83.377 | 3.891 | 86.733 | 3.984 | 81.8 | -10.041 | 890.083 | 62.485 | 3.8882
2020-12-04 17:45:00 | 3.302 | 92.3 | 3.606 | 82.877 | 3.667 | 87.433 | 3.608 | 84.067 | -10.266 | 890.1 | 63.637 | 4.3984
2020-12-04 18:00:00 | 2.586 | 106.617 | 3.413 | 85.912 | 2.902 | 92.1 | 2.597 | 89.333 | -11.068 | 889.667 | 66.507 | 4.77
2020-12-04 18:15:00 | 2.01 | 95.99 | 3.383 | 80.401 | 3.955 | 83.3 | 3.76 | 79.1 | -11.193 | 889.4 | 68.373 | 3.5038
2020-12-04 18:30:00 | 1.858 | 100.087 | 3.108 | 77.003 | 3.617 | 80.467 | 3.925 | 77.367 | -11.657 | 890.108 | 68.949 | 2.7542
2020-12-04 18:45:00 | 1.838 | 101.567 | 3.007 | 79.518 | 3.654 | 83.733 | 3.74 | 80.633 | -11.566 | 889.425 | 70.144 | 1.6734
2020-12-04 19:00:00 | 0.59 | 135.97 | 1.553 | 94.264 | 2.078 | 81.567 | 2.358 | 83.767 | -11.828 | 889.475 | 69.003 | 0.57769
2020-12-04 19:15:00 | 0 | 178.2 | 1.562 | 80.883 | 2.289 | 78.367 | 2.719 | 75.267 | -12.67 | 889.6 | 71.659 | 0.13074
2020-12-04 19:30:00 | 0 | 178.2 | 0.906 | 84.203 | 1.953 | 79.433 | 2.621 | 74 | -12.97 | 889.9 | 74.005 | 0.15917
2020-12-04 19:45:00 | 0 | 178.36 | 0.619 | 85.095 | 1.537 | 80 | 2.308 | 75.033 | -13.186 | 889.525 | 75.093 | 0.34676
2020-12-04 20:00:00 | 0.824 | 216.38 | 0 | 85.27 | 1.447 | 80 | 2.25 | 75.033 | -13.372 | 890.225 | 75.467 | 0.34391
2020-12-04 20:15:00 | 1.95 | 227.433 | 0 | 84.618 | 0.89 | 79.833 | 2.042 | 75.033 | -13.391 | 889.9 | 75.509 | 0.31976
2020-12-04 20:30:00 | 2.376 | 226.96 | 0 | 84.87 | 0 | 80 | 1.589 | 75 | -13.259 | 889.983 | 74.965 | 0.32118
2020-12-04 20:45:00 | 3.005 | 227.867 | 0.801 | 213.572 | 0 | 79.833 | 0 | 75 | -13.02 | 889.717 | 74.101 | 0.31976
2020-12-04 21:00:00 | 3.238 | 235.4 | 0.974 | 221.907 | 0 | 118.2 | 0 | 74.9 | -13.12 | 890.125 | 73.376 | 0.31976
2020-12-04 21:15:00 | 2.982 | 237.76 | 0.253 | 240.502 | 0 | 206 | 0 | 74.933 | -13.353 | 889.925 | 72.811 | 0.32118
2020-12-04 21:30:00 | 3.572 | 243.467 | 1.543 | 258.112 | 1.264 | 253.867 | 0.752 | 81.233 | -14.049 | 889.75 | 72.741 | 0.32118
2020-12-04 21:45:00 | 4.783 | 235.067 | 2.457 | 256.938 | 2.175 | 254 | 1.908 | 282.8 | -15.258 | 889.933 | 71.915 | 0.32118
2020-12-04 22:00:00 | 4.643 | 239.3 | 3.117 | 254.593 | 2.664 | 256 | 2.444 | 279.333 | -15.541 | 889.925 | 74.475 | 0.35955
2020-12-04 22:15:00 | 4.301 | 231.433 | 2.567 | 258.752 | 1.746 | 256.333 | 1.667 | 278.833 | -15.491 | 890.2 | 74.336 | 0.35386
2020-12-04 22:30:00 | 4.611 | 234.8 | 2.828 | 266.77 | 1.546 | 276.067 | 1.098 | 278 | -15.624 | 889.817 | 74.64 | 0.34107
2020-12-04 22:45:00 | 4.366 | 241.433 | 2.794 | 263.965 | 2.005 | 269.5 | 1.616 | 278.1 | -15.374 | 889.925 | 74.635 | 0.34107
2020-12-04 23:00:00 | 3.777 | 246.38 | 2.671 | 267.401 | 2.154 | 280.533 | 1.746 | 279.3 | -14.454 | 889.792 | 75.728 | 0.34391
2020-12-04 23:15:00 | 4.002 | 245.7 | 2.817 | 275.225 | 2.264 | 287.667 | 1.853 | 282.3 | -14.099 | 889.933 | 72.405 | 0.34676
2020-12-04 23:30:00 | 4.245 | 245.433 | 3.037 | 271.748 | 2.519 | 284.267 | 2.001 | 294.367 | -14.474 | 889.375 | 74.64 | 0.34107
2020-12-04 23:45:00 | 3.613 | 253.04 | 2.792 | 278.387 | 2.045 | 291.5 | 1.357 | 294.167 | -13.376 | 889.4 | 74.192 | 0.34107