## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-05 00:00:00 | 3.495 | 257.96 | 2.63 | 294.227 | 2.015 | 300.433 | 1.695 | 301.067 | -13.297 | 890.117 | 73.557 | 0.34391
2020-12-05 00:15:00 | 3.062 | 248.633 | 2.068 | 288.996 | 1.326 | 300 | 1.131 | 306.067 | -12.853 | 889.825 | 72.928 | 0.34534
2020-12-05 00:30:00 | 2.715 | 264.533 | 2.273 | 297.113 | 1.732 | 317.5 | 1.421 | 306.7 | -12.703 | 890.233 | 72.8 | 0.33539
2020-12-05 00:45:00 | 2.878 | 273.733 | 2.566 | 301.185 | 2.404 | 320.333 | 1.951 | 320.8 | -12.536 | 889.667 | 72.043 | 0.32828
2020-12-05 01:00:00 | 3.186 | 273.267 | 2.895 | 296.328 | 2.5 | 310.367 | 2.095 | 320.033 | -12.37 | 889.9 | 71.189 | 0.3297
2020-12-05 01:15:00 | 2.958 | 272.6 | 2.621 | 295.022 | 2.077 | 310.333 | 1.784 | 320 | -12.52 | 889.8 | 72.203 | 0.32402
2020-12-05 01:30:00 | 3.508 | 268.533 | 3.388 | 290.15 | 3.133 | 306.333 | 2.896 | 318 | -12.253 | 889.708 | 72.539 | 0.33539
2020-12-05 01:45:00 | 2.875 | 286.133 | 3.1 | 301.993 | 3.141 | 312.067 | 2.739 | 318.7 | -11.682 | 889.825 | 72.592 | 0.1613
2020-12-05 02:00:00 | 2.912 | 278.8 | 3.037 | 294.881 | 2.777 | 308.933 | 2.388 | 317.3 | -12.099 | 889.917 | 73.28 | 0.22454
2020-12-05 02:15:00 | 2.385 | 284.173 | 2.293 | 300.636 | 1.888 | 305.967 | 1.795 | 316 | -11.911 | 890 | 73.568 | 0.33326
2020-12-05 02:30:00 | 3.49 | 257.733 | 3.284 | 280.211 | 2.824 | 291.267 | 2.642 | 292.667 | -12.099 | 890.067 | 73.392 | 0.3567
2020-12-05 02:45:00 | 3.232 | 250.353 | 3.101 | 264.98 | 2.653 | 280.133 | 2.472 | 280.933 | -12.016 | 889.617 | 74.539 | 0.30412
2020-12-05 03:00:00 | 2.451 | 256.153 | 3.056 | 271.741 | 2.634 | 280.633 | 2.391 | 280.967 | -12.278 | 890.117 | 74.869 | 0.35102
2020-12-05 03:15:00 | 2.777 | 257.733 | 3.181 | 275.016 | 2.76 | 280.633 | 2.561 | 280.967 | -12.303 | 890.033 | 75.627 | 0.3496
2020-12-05 03:30:00 | 2.675 | 258.4 | 2.998 | 275.077 | 2.679 | 281 | 2.531 | 281 | -12.203 | 889.883 | 76.459 | 0.2487
2020-12-05 03:45:00 | 2.933 | 266.133 | 3.248 | 278.87 | 2.964 | 287.9 | 2.779 | 281.9 | -11.89 | 889.525 | 76.544 | 0.32189
2020-12-05 04:00:00 | 3.067 | 258.787 | 3.082 | 276.875 | 2.637 | 283.533 | 2.262 | 282.7 | -11.953 | 889.325 | 76.864 | 0.29702
2020-12-05 04:15:00 | 2.617 | 254.893 | 2.77 | 277.032 | 2.342 | 282.067 | 2.048 | 282.967 | -11.849 | 890.158 | 77.12 | 0.35528
2020-12-05 04:30:00 | 2.796 | 260.933 | 2.753 | 274.573 | 1.899 | 281.667 | 2.048 | 281.867 | -11.77 | 889.975 | 77.28 | 0.33183
2020-12-05 04:45:00 | 2.23 | 265.013 | 1.786 | 274.578 | 1.325 | 279.2 | 1.344 | 280.967 | -11.64 | 889.592 | 77.579 | 0.34534
2020-12-05 05:00:00 | 2.498 | 240.867 | 1.954 | 257.195 | 1.021 | 278.067 | 0.714 | 281.133 | -11.995 | 890.317 | 78.037 | 0.34107
2020-12-05 05:15:00 | 3.52 | 242.067 | 2.601 | 245.207 | 1.754 | 256.033 | 1.433 | 280.233 | -11.89 | 889.892 | 79.669 | 0.34107
2020-12-05 05:30:00 | 3.588 | 235.887 | 2.659 | 239.037 | 2.193 | 250 | 1.91 | 254 | -11.807 | 890.117 | 80.267 | 0.34391
2020-12-05 05:45:00 | 3.205 | 253.227 | 2.341 | 255.037 | 2.173 | 258.2 | 1.883 | 258.3 | -12.536 | 889.692 | 79.621 | 0.35528
2020-12-05 06:00:00 | 3.379 | 244.82 | 2.757 | 265.027 | 2.366 | 274 | 2.43 | 259.8 | -13.132 | 890.033 | 78.315 | 0.34534
2020-12-05 06:15:00 | 3.546 | 256.853 | 2.974 | 276.306 | 2.556 | 282.033 | 2.634 | 279.4 | -13.186 | 889.608 | 79.861 | 0.31407
2020-12-05 06:30:00 | 3.02 | 264.133 | 3.254 | 295.745 | 3.034 | 306.567 | 3.057 | 306.933 | -13.136 | 890 | 80.315 | 0.2217
2020-12-05 06:45:00 | 2.997 | 264.6 | 3.045 | 297.548 | 2.968 | 311.7 | 3.022 | 312.033 | -13.036 | 889.767 | 79.499 | 0.073899
2020-12-05 07:00:00 | 3.372 | 259.653 | 2.909 | 286.905 | 2.53 | 305.833 | 2.82 | 306.667 | -12.97 | 890.075 | 79.563 | 0.14851
2020-12-05 07:15:00 | 3.421 | 245.567 | 3.54 | 267.86 | 3.411 | 282 | 3.385 | 294.167 | -13.12 | 889.575 | 79.029 | 0.11937
2020-12-05 07:30:00 | 3.287 | 257.24 | 3.506 | 274.742 | 3.688 | 282.6 | 3.65 | 288 | -12.72 | 890.025 | 79.552 | 0.14922
2020-12-05 07:45:00 | 2.922 | 264.333 | 3.724 | 276.572 | 3.622 | 282.4 | 3.786 | 281.9 | -12.32 | 889.967 | 80.544 | 0.28565
2020-12-05 08:00:00 | 2.591 | 279.947 | 3.806 | 284.464 | 3.756 | 285.067 | 3.572 | 281.467 | -11.828 | 889.758 | 81.477 | 0.2757
2020-12-05 08:15:00 | 2.643 | 267.467 | 3.582 | 277.932 | 3.675 | 280.967 | 3.557 | 276.533 | -11.461 | 889.721 | 81.685 | 0.63098
2020-12-05 08:30:00 | 2.588 | 264.907 | 3.193 | 268.88 | 2.936 | 279 | 3.21 | 268.733 | -11.807 | 889.938 | 82.053 | 0.68854
2020-12-05 08:45:00 | 1.284 | 244.2 | 3.353 | 250.583 | 3.154 | 258.2 | 3.126 | 261.167 | -12.536 | 890.012 | 81.92 | 0.8001
2020-12-05 09:00:00 | 1.207 | 247.533 | 3.36 | 251.144 | 3.046 | 266 | 2.909 | 262 | -13.136 | 889.833 | 82.539 | 0.58124
2020-12-05 09:15:00 | 3.416 | 236.6 | 3.116 | 260.231 | 2.933 | 267.333 | 3.074 | 268.333 | -13.899 | 889.704 | 82.816 | 0.46045
2020-12-05 09:30:00 | 3.788 | 241.58 | 3.286 | 256.898 | 3.059 | 260 | 3.146 | 260.733 | -11.093 | 889.729 | 87.712 | 0.45618
2020-12-05 09:45:00 | 4.109 | 237.213 | 3.398 | 257.418 | 3.393 | 264.133 | 3.526 | 263.567 | -11.732 | 889.796 | 81.232 | 1.1341
2020-12-05 10:00:00 | 4.428 | 233.167 | 3.336 | 254.546 | 3.247 | 265.467 | 3.334 | 265.767 | -12.636 | 889.817 | 79.851 | 0.82852
2020-12-05 10:15:00 | 3.608 | 244.467 | 3.071 | 265.533 | 3.083 | 274 | 3.148 | 279 | -10.67 | 890.079 | 81.461 | 1.522
2020-12-05 10:30:00 | 3.833 | 233.66 | 3.146 | 259.975 | 2.94 | 272.2 | 2.918 | 274 | -10.666 | 890.067 | 75.781 | 1.019
2020-12-05 10:45:00 | 2.995 | 248.533 | 2.652 | 271.497 | 2.399 | 282 | 2.52 | 280.033 | -10.366 | 889.908 | 76.885 | 1.0019
2020-12-05 11:00:00 | 2.53 | 262.667 | 2.389 | 282.901 | 2.213 | 292.6 | 2.182 | 282 | -8.824 | 889.967 | 74.699 | 0.56135
2020-12-05 11:15:00 | 2.704 | 254.22 | 2.453 | 268.068 | 2.323 | 281.767 | 2.487 | 282.467 | -7.264 | 889.883 | 70.155 | 1.1049
2020-12-05 11:30:00 | 2.606 | 253.113 | 2.889 | 266.914 | 2.874 | 278.067 | 3.157 | 281 | -6.767 | 890.042 | 65.792 | 1.451
2020-12-05 11:45:00 | 2.581 | 228.433 | 2.792 | 238.523 | 2.371 | 261.867 | 2.51 | 266 | -7.589 | 890.158 | 67.509 | 0.87329
2020-12-05 12:00:00 | 2.913 | 249.367 | 3.486 | 253.952 | 3.427 | 260.267 | 3.421 | 264.367 | -7.656 | 889.858 | 69.045 | 1.564
2020-12-05 12:15:00 | 2.766 | 265.467 | 3.132 | 263.511 | 3.203 | 270.8 | 3.405 | 269.167 | -7.19 | 889.625 | 67.637 | 2.3562
2020-12-05 12:30:00 | 2.457 | 281.373 | 2.692 | 279.362 | 2.937 | 284.4 | 3.453 | 289.467 | -8.03 | 889.725 | 69.952 | 2.6255
2020-12-05 12:45:00 | 2.052 | 287.733 | 2.337 | 285.694 | 2.548 | 292.367 | 3.064 | 292.3 | -8.391 | 890.317 | 71.451 | 2.4806
2020-12-05 13:00:00 | 2.074 | 296.08 | 2.284 | 288.251 | 2.371 | 293.433 | 2.614 | 295.7 | -8.471 | 889.783 | 70.24 | 2.2966
2020-12-05 13:15:00 | 2.566 | 287.067 | 2.784 | 279.752 | 2.711 | 284.033 | 2.897 | 284.333 | -8.408 | 889.742 | 69.141 | 3.0277
2020-12-05 13:30:00 | 2.871 | 283.227 | 3.232 | 282.714 | 3.395 | 287.667 | 3.607 | 288.033 | -8.134 | 889.758 | 69.275 | 4.3906
2020-12-05 13:45:00 | 2.674 | 287.867 | 2.73 | 282.394 | 2.837 | 284.7 | 3.063 | 282.8 | -7.706 | 890.225 | 68.384 | 3.8996
2020-12-05 14:00:00 | 2.936 | 283.133 | 3.188 | 278.419 | 3.239 | 282.067 | 3.376 | 283.8 | -7.506 | 890.05 | 70.491 | 2.5552
2020-12-05 14:15:00 | 3.423 | 284.32 | 3.694 | 279.858 | 3.615 | 287.367 | 3.821 | 287.5 | -7.909 | 889.725 | 72.379 | 1.1049
2020-12-05 14:30:00 | 3.214 | 282.267 | 3.412 | 276.271 | 3.364 | 280.267 | 3.685 | 277.733 | -7.656 | 889.675 | 71.056 | 0.77381
2020-12-05 14:45:00 | 2.53 | 263.76 | 2.705 | 262.009 | 2.592 | 269 | 2.763 | 273.833 | -5.938 | 889.725 | 68.032 | 0.19754
2020-12-05 15:00:00 | 2.002 | 248.533 | 2.122 | 248.654 | 2.117 | 252.8 | 2.18 | 248.517 | -5.135 | 889.642 | 64.651 | 0.18688
2020-12-05 15:15:00 | 2.064 | 258.027 | 2.104 | 255.97 | 2.119 | 260.833 | 2.414 | 260.7 | -4.919 | 889.975 | 63.477 | 0.19967
2020-12-05 15:30:00 | 3.29 | 248.22 | 3.49 | 246.472 | 3.437 | 253.533 | 3.368 | 252.833 | -5.305 | 889.458 | 64.213 | 0.15917
2020-12-05 15:45:00 | 3.579 | 241.333 | 3.759 | 239.887 | 3.715 | 248.033 | 3.656 | 244.567 | -5.551 | 889.942 | 65.845 | 0.49313
2020-12-05 16:00:00 | 2.635 | 235.727 | 2.988 | 234.197 | 3.069 | 240.867 | 3.125 | 242.133 | -5.581 | 889.908 | 66.251 | 1.1724
2020-12-05 16:15:00 | 2.284 | 241.433 | 2.924 | 240.506 | 3.128 | 247 | 3.202 | 243 | -5.569 | 889.783 | 65.771 | 2.067
2020-12-05 16:30:00 | 2.983 | 230.4 | 3.445 | 231.129 | 3.491 | 238.633 | 3.43 | 234.933 | -5.302 | 889.925 | 66.187 | 2.6717
2020-12-05 16:45:00 | 3.124 | 236.067 | 3.606 | 237.613 | 3.705 | 245.6 | 3.643 | 246.3 | -5.997 | 890.1 | 67.904 | 2.1679
2020-12-05 17:00:00 | 3.408 | 252.94 | 3.796 | 259.055 | 3.839 | 272.933 | 4.139 | 281.067 | -5.422 | 890.017 | 68.928 | 1.915
2020-12-05 17:15:00 | 3.245 | 241.727 | 3.483 | 250.647 | 3.536 | 261.867 | 3.695 | 268.433 | -6.044 | 889.892 | 70.517 | 1.9825
2020-12-05 17:30:00 | 3.487 | 234.507 | 3.555 | 238.918 | 3.374 | 248.1 | 3.144 | 253.033 | -6.582 | 890.108 | 72.288 | 1.3977
2020-12-05 17:45:00 | 2.374 | 243.313 | 2.271 | 245.323 | 2.25 | 251.233 | 2.34 | 255.667 | -6.933 | 889.717 | 76.277 | 0.96921
2020-12-05 18:00:00 | 1.787 | 231.9 | 1.884 | 247.602 | 1.751 | 252.867 | 1.788 | 255.867 | -7.489 | 890.317 | 77.877 | 0.10658
2020-12-05 18:15:00 | 2.382 | 244.1 | 2.103 | 257.767 | 1.994 | 264 | 1.988 | 258.533 | -7.689 | 890.05 | 81.12 | 0.25083
2020-12-05 18:30:00 | 3.68 | 249.527 | 2.893 | 267.005 | 2.166 | 274.467 | 1.978 | 259.367 | -8.21 | 889.783 | 79.573 | 0.16556
2020-12-05 18:45:00 | 3.604 | 251.833 | 3.413 | 280.606 | 2.897 | 289.767 | 2.864 | 296.233 | -8.641 | 889.942 | 76.229 | 0.15561
2020-12-05 19:00:00 | 3.804 | 249.9 | 3.421 | 294.292 | 2.361 | 318.367 | 2.388 | 331.767 | -9.462 | 889.767 | 75.2 | 0.74183
2020-12-05 19:15:00 | 3.456 | 271.133 | 1.564 | 317.703 | 1.984 | 352.533 | 2.384 | 342 | -9.208 | 889.742 | 78.192 | 0.23449
2020-12-05 19:30:00 | 3.474 | 261.553 | 1.993 | 297.661 | 1.587 | 336.833 | 2.166 | 344.067 | -8.991 | 889.967 | 75.611 | 0.33254
2020-12-05 19:45:00 | 3.057 | 253.567 | 1.702 | 293.036 | 0.818 | 336.2 | 1.472 | 344 | -8.791 | 889.517 | 76.512 | 0.33965
2020-12-05 20:00:00 | 2.981 | 243.533 | 1.6 | 291.028 | 0.9 | 332 | 1.275 | 344 | -8.991 | 890.15 | 77.525 | 0.30981
2020-12-05 20:15:00 | 2.77 | 242.5 | 1.216 | 292.871 | 0 | 332.067 | 1.08 | 344 | -9.191 | 890.142 | 78.741 | 0.31123
2020-12-05 20:30:00 | 3.265 | 248.187 | 2.117 | 288.895 | 0.897 | 323.867 | 1.949 | 338.033 | -9.195 | 889.808 | 79.84 | 0.31123
2020-12-05 20:45:00 | 4.658 | 226.027 | 1.783 | 273.649 | 0.12 | 324 | 1.704 | 322.133 | -10.322 | 890.033 | 78.048 | 0.30128
2020-12-05 21:00:00 | 4.43 | 225.5 | 2.491 | 249.2 | 1.051 | 296.4 | 1.647 | 311.1 | -10.133 | 889.775 | 82 | 0.3027
2020-12-05 21:15:00 | 3.918 | 223.9 | 2.711 | 216.485 | 0.942 | 231.267 | 0.611 | 310 | -10.033 | 890.154 | 81.973 | 0.30128
2020-12-05 21:30:00 | 3.383 | 227.8 | 2.739 | 221.397 | 2.362 | 221 | 2.089 | 221 | -8.891 | 890.088 | 82.411 | 0.33112
2020-12-05 21:45:00 | 3.893 | 220.967 | 1.994 | 227.954 | 1.67 | 223.933 | 1.932 | 220.9 | -9.291 | 889.983 | 80.032 | 0.32402
2020-12-05 22:00:00 | 5.166 | 216.18 | 2.461 | 227.272 | 1.62 | 237.933 | 1.699 | 222.4 | -10.582 | 889.775 | 79.563 | 0.31407
2020-12-05 22:15:00 | 5.674 | 214.167 | 3.022 | 221.469 | 2.13 | 231 | 1.998 | 223 | -11.511 | 889.958 | 77.536 | 0.31265
2020-12-05 22:30:00 | 4.346 | 215.787 | 3.12 | 213.632 | 2.552 | 223.433 | 2.425 | 223 | -9.933 | 889.958 | 81.515 | 0.23093
2020-12-05 22:45:00 | 5.408 | 219 | 2.53 | 219.631 | 2.15 | 230 | 2.237 | 223.7 | -12.403 | 889.892 | 75.627 | 0.28707
2020-12-05 23:00:00 | 5.334 | 219.6 | 2.755 | 213.693 | 1.81 | 228.833 | 1.909 | 235.067 | -12.553 | 889.7 | 76.917 | 0.34107
2020-12-05 23:15:00 | 5.056 | 222.46 | 3.156 | 226.399 | 2.544 | 232.833 | 2.461 | 230.067 | -12.14 | 889.758 | 77.931 | 0.31691
2020-12-05 23:30:00 | 5.088 | 226.927 | 2.666 | 229.073 | 1.996 | 235.6 | 1.921 | 230 | -11.524 | 889.6 | 79.627 | 0.32828
2020-12-05 23:45:00 | 5.186 | 228.82 | 3.364 | 236.306 | 2.753 | 240.433 | 2.491 | 238.4 | -10.903 | 890.221 | 77.835 | 0.31976