## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-06 00:00:00 | 4.049 | 227.907 | 2.604 | 240.482 | 2.037 | 248.133 | 1.826 | 265.867 | -9.641 | 889.562 | 82.443 | 0.29986
2020-12-06 00:15:00 | 4.255 | 230.973 | 2.155 | 249.573 | 1.746 | 259.8 | 1.966 | 274.733 | -9.745 | 889.583 | 78.389 | 0.33539
2020-12-06 00:30:00 | 3.478 | 234.567 | 2.193 | 252.657 | 1.754 | 269 | 1.85 | 268.033 | -9.191 | 890.308 | 79.904 | 0.33397
2020-12-06 00:45:00 | 3.709 | 229.1 | 2.116 | 236.867 | 1.737 | 253.633 | 1.96 | 265.2 | -8.974 | 889.817 | 78.165 | 0.31976
2020-12-06 01:00:00 | 4.421 | 233.727 | 2.462 | 246.43 | 2.156 | 262.733 | 2.33 | 258.5 | -9.27 | 890.117 | 76.821 | 0.30767
2020-12-06 01:15:00 | 5.06 | 233.227 | 2.972 | 253.096 | 2.685 | 264 | 2.93 | 268 | -10.649 | 889.8 | 76.16 | 0.19541
2020-12-06 01:30:00 | 4.753 | 227.14 | 2.369 | 258.979 | 2.14 | 270.067 | 2.584 | 282.967 | -10.087 | 889.792 | 78.741 | 0.32118
2020-12-06 01:45:00 | 5.535 | 223.633 | 2.727 | 245.443 | 1.725 | 270.133 | 2.227 | 282.967 | -13.02 | 889.758 | 74.88 | 0.32544
2020-12-06 02:00:00 | 6.386 | 223.553 | 4.015 | 233.716 | 3.003 | 246.367 | 2.631 | 254.533 | -14.412 | 889.567 | 77.579 | 0.32544
2020-12-06 02:15:00 | 6.822 | 222 | 4.289 | 231.168 | 3.529 | 243.133 | 3.077 | 248.7 | -15.191 | 890.067 | 78.325 | 0.22525
2020-12-06 02:30:00 | 6.894 | 223 | 4.414 | 231.036 | 3.874 | 241.433 | 3.266 | 238.467 | -15.341 | 889.575 | 78.475 | 0.27002
2020-12-06 02:45:00 | 6.873 | 221.733 | 4.334 | 231.533 | 3.413 | 238.3 | 2.731 | 243 | -15.391 | 889.767 | 78.709 | 0.56419
2020-12-06 03:00:00 | 6.994 | 220.567 | 4.262 | 236.756 | 2.926 | 247.9 | 2.267 | 247.733 | -14.908 | 889.475 | 79.008 | 0.5919
2020-12-06 03:15:00 | 6.323 | 225.053 | 3.95 | 236.427 | 2.814 | 248 | 2.034 | 248 | -14.656 | 889.875 | 79.765 | 1.2328
2020-12-06 03:30:00 | 6.299 | 226.033 | 4.078 | 235.582 | 3.051 | 244.333 | 2.027 | 248 | -14.199 | 889.733 | 80.032 | 0.437
2020-12-06 03:45:00 | 6.712 | 223.62 | 4.253 | 231.419 | 3.366 | 239.367 | 2.542 | 237.933 | -14.808 | 889.433 | 78.251 | 0.18972
2020-12-06 04:00:00 | 6.833 | 222.067 | 4.749 | 228.877 | 3.91 | 235.667 | 3.125 | 234.333 | -15.224 | 890.108 | 78.187 | 0.86618
2020-12-06 04:15:00 | 6.593 | 223.633 | 5.262 | 234.069 | 4.443 | 239.833 | 3.572 | 235.233 | -15.341 | 889.792 | 79.285 | 2.018
2020-12-06 04:30:00 | 6.342 | 221.7 | 4.73 | 232.495 | 3.763 | 242.167 | 3.358 | 243 | -15.374 | 890.1 | 79.168 | 2.0486
2020-12-06 04:45:00 | 6.671 | 221.9 | 5.491 | 233.475 | 4.339 | 242.733 | 3.512 | 241.333 | -15.324 | 890.008 | 78.667 | 1.6805
2020-12-06 05:00:00 | 6.422 | 221.067 | 4.831 | 232.666 | 3.757 | 243.067 | 3.198 | 243 | -15.208 | 889.917 | 78.56 | 2.2624
2020-12-06 05:15:00 | 6.775 | 219.467 | 4.456 | 231.574 | 3.582 | 241.867 | 2.986 | 245.1 | -15.091 | 889.508 | 78.912 | 1.9327
2020-12-06 05:30:00 | 7.515 | 219.167 | 5.398 | 228.757 | 3.709 | 234.167 | 3.138 | 234.033 | -15.158 | 890.333 | 78.091 | 1.8098
2020-12-06 05:45:00 | 7.134 | 218.167 | 5.635 | 229.791 | 4.334 | 236.9 | 3.32 | 234.867 | -15.274 | 890.558 | 77.877 | 4.1454
2020-12-06 06:00:00 | 6.48 | 223.333 | 4.876 | 235.344 | 3.932 | 246.133 | 3.308 | 243.067 | -15.341 | 889.867 | 77.419 | 3.5713
2020-12-06 06:15:00 | 6.784 | 219.567 | 4.666 | 234.058 | 3.576 | 246.2 | 2.852 | 250.033 | -15.474 | 889.642 | 77.408 | 1.9974
2020-12-06 06:30:00 | 7.105 | 218.5 | 5.132 | 225.685 | 4.037 | 234.333 | 3.142 | 233.767 | -15.374 | 890.242 | 77.899 | 2.2617
2020-12-06 06:45:00 | 7.137 | 219.3 | 4.564 | 224.364 | 3.689 | 232.433 | 3.031 | 229.833 | -15.324 | 890.242 | 77.664 | 1.6883
2020-12-06 07:00:00 | 7.213 | 219.933 | 4.82 | 223.217 | 3.674 | 232.633 | 3.085 | 230.033 | -15.224 | 889.533 | 77.259 | 1.4723
2020-12-06 07:15:00 | 7.073 | 218.533 | 4.56 | 223.394 | 3.612 | 231.267 | 2.905 | 230.2 | -15.374 | 889.917 | 77.376 | 1.8368
2020-12-06 07:30:00 | 6.944 | 219.667 | 4.726 | 221.818 | 3.506 | 227.8 | 2.88 | 232.033 | -15.191 | 889.367 | 77.067 | 1.2293
2020-12-06 07:45:00 | 7.22 | 220.4 | 4.36 | 222.909 | 2.851 | 232.4 | 2.207 | 230.1 | -15.391 | 889.525 | 76.341 | 0.68428
2020-12-06 08:00:00 | 7.035 | 219.467 | 3.88 | 224.559 | 2.488 | 235.533 | 1.874 | 241.233 | -15.308 | 889.825 | 76.267 | 0.37589
2020-12-06 08:15:00 | 6.957 | 219.5 | 4.031 | 228.371 | 2.669 | 243.9 | 1.713 | 243 | -15.141 | 889.583 | 75.84 | 0.33539
2020-12-06 08:30:00 | 6.785 | 216.867 | 5.475 | 219.091 | 3.43 | 228.3 | 2.366 | 241.233 | -14.941 | 889.633 | 75.104 | 0.52227
2020-12-06 08:45:00 | 6.798 | 219.367 | 5.019 | 221.628 | 3.679 | 227.933 | 2.424 | 230.833 | -15.241 | 889.95 | 75.296 | 1.9526
2020-12-06 09:00:00 | 6.955 | 219.9 | 4.765 | 220.997 | 3.642 | 227.733 | 2.788 | 229.833 | -15.108 | 889.6 | 75.072 | 0.98342
2020-12-06 09:15:00 | 6.384 | 220.5 | 4.411 | 219.512 | 3.15 | 225.267 | 2.703 | 224.333 | -14.266 | 889.917 | 74.208 | 0.59545
2020-12-06 09:30:00 | 6.47 | 218.927 | 4.018 | 218.867 | 3.183 | 222.5 | 2.688 | 221.633 | -13.728 | 890.117 | 72.533 | 0.15846
2020-12-06 09:45:00 | 6.417 | 220.933 | 4.518 | 215.877 | 3.278 | 220.6 | 2.597 | 219.367 | -13.17 | 889.667 | 71.221 | 0.08811
2020-12-06 10:00:00 | 6.055 | 223.033 | 3.196 | 227.024 | 2.275 | 238.067 | 1.988 | 237.533 | -12.82 | 889.625 | 70.144 | 0.22028
2020-12-06 10:15:00 | 4.87 | 221.967 | 2.14 | 225.535 | 0.75 | 239.733 | 0.46 | 230.033 | -10.516 | 889.517 | 68.096 | 0.31833
2020-12-06 10:30:00 | 5.844 | 217.733 | 3.309 | 218.761 | 1.825 | 223.533 | 0.631 | 230.033 | -10.299 | 890.125 | 65.653 | 0.30696
2020-12-06 10:45:00 | 4.622 | 216.873 | 3.527 | 212.488 | 2.793 | 212.9 | 2.41 | 212.8 | -9.849 | 890.117 | 67.179 | 0.3027
2020-12-06 11:00:00 | 4.076 | 213.853 | 2.017 | 203.405 | 1.632 | 196.367 | 1.788 | 201.833 | -9.012 | 890.067 | 65.675 | 0.30981
2020-12-06 11:15:00 | 2.931 | 220.387 | 0.492 | 203.509 | 0 | 195.833 | 0 | 200.167 | -7.83 | 889.708 | 63.499 | 0.30412
2020-12-06 11:30:00 | 2.464 | 224.353 | 0.033 | 203.57 | 0 | 199.1 | 0 | 200.467 | -5.611 | 889.692 | 56.683 | 0.30128
2020-12-06 11:45:00 | 2.308 | 223.767 | 0.057 | 203.46 | 0 | 199.033 | 0 | 200.267 | -5.069 | 889.8 | 54.421 | 0.30412
2020-12-06 12:00:00 | 0.415 | 227.08 | 0 | 203.652 | 0 | 199.067 | 0.763 | 200.3 | -3.073 | 890.15 | 49.131 | 0.30412
2020-12-06 12:15:00 | 0 | 227.573 | 0 | 203.53 | 0 | 199.033 | 0.332 | 201.733 | 0.949 | 889.633 | 42.373 | 0.31407
2020-12-06 12:30:00 | 0 | 227.22 | 0 | 203.474 | 0 | 198.767 | 0.04 | 202.033 | 2.621 | 889.683 | 35.147 | 0.31265
2020-12-06 12:45:00 | 0 | 227.273 | 0 | 203.462 | 0 | 199.1 | 0.074 | 201.833 | -1.68 | 889.617 | 36.043 | 0.31691
2020-12-06 13:00:00 | 0 | 227.333 | 0 | 203.495 | 0 | 199 | 0 | 202 | -1.726 | 889.833 | 35.456 | 0.31123
2020-12-06 13:15:00 | 0 | 326 | 0 | 322.995 | 0 | 292 | 0.027 | 206.7 | -3.404 | 889.967 | 36.288 | 0.3027
2020-12-06 13:30:00 | 0 | 58.083 | 0 | 325.218 | 0 | 292 | 0 | 206.017 | -1.952 | 889.983 | 38.555 | 0.30128
2020-12-06 13:45:00 | 1.294 | 132.493 | 1.18 | 129.953 | 0.856 | 124.167 | 1.522 | 139.3 | -4.251 | 889.625 | 41.152 | 0.30128
2020-12-06 14:00:00 | 0 | 147.2 | 0 | 137.566 | 0 | 133.067 | 0 | 137 | -4.885 | 889.633 | 44.651 | 0.30128
2020-12-06 14:15:00 | 0 | 147.047 | 0 | 135.397 | 0 | 133 | 0 | 137 | -4.079 | 890.058 | 42.411 | 0.2956
2020-12-06 14:30:00 | 0.023 | 158.2 | 0.033 | 136.894 | 0 | 132.833 | 0.06 | 137 | -4.885 | 889.692 | 41.781 | 0.29844
2020-12-06 14:45:00 | 0.05 | 158.2 | 0.053 | 137.578 | 0 | 133 | 0.433 | 137.067 | -4.869 | 889.467 | 41.803 | 0.29702
2020-12-06 15:00:00 | 0.572 | 151.067 | 0.4 | 137.415 | 0 | 148 | 0.554 | 137.033 | -5.385 | 889.725 | 44.864 | 0.29986
2020-12-06 15:15:00 | 1.076 | 168.233 | 0.957 | 159.203 | 0.303 | 158.033 | 1.145 | 137.167 | -5.419 | 889.75 | 45.664 | 0.29986
2020-12-06 15:30:00 | 1.436 | 151.54 | 1.19 | 147.513 | 1.213 | 151.833 | 1.687 | 138 | -5.786 | 889.758 | 48.352 | 0.31265
2020-12-06 15:45:00 | 1.819 | 154.72 | 1.782 | 152.528 | 1.687 | 158.667 | 2.028 | 149 | -5.958 | 890.175 | 51.936 | 0.3226
2020-12-06 16:00:00 | 1.497 | 127.923 | 1.473 | 124.8 | 1.276 | 131.767 | 1.7 | 140 | -5.839 | 889.858 | 54.496 | 0.3027
2020-12-06 16:15:00 | 1.521 | 134.247 | 1.324 | 123.232 | 1.156 | 129.9 | 1.589 | 139.867 | -5.74 | 889.892 | 55.296 | 0.29844
2020-12-06 16:30:00 | 0.923 | 123.173 | 0.652 | 121.201 | 0.846 | 123 | 1.671 | 140 | -6.037 | 889.967 | 56.171 | 0.29844
2020-12-06 16:45:00 | 0.16 | 123.143 | 0 | 121.258 | 0 | 123 | 1.225 | 140 | -5.859 | 889.883 | 56.288 | 0.29844
2020-12-06 17:00:00 | 0.63 | 123.2 | 0.783 | 121.279 | 0.393 | 123.033 | 1.296 | 139.833 | -6.445 | 889.442 | 57.621 | 0.29844
2020-12-06 17:15:00 | 0.08 | 123.187 | 0 | 121.249 | 0 | 122.867 | 1.219 | 140.033 | -6.166 | 889.992 | 57.376 | 0.29702
2020-12-06 17:30:00 | 0 | 123.2 | 0.067 | 121.224 | 0 | 123 | 1.45 | 140 | -6.528 | 890.05 | 58.613 | 0.29986
2020-12-06 17:45:00 | 0.802 | 126.87 | 0.683 | 121.239 | 0.594 | 120.967 | 1.869 | 106.6 | -6.933 | 890 | 60.629 | 0.30412
2020-12-06 18:00:00 | 0.289 | 111.643 | 0.94 | 70.494 | 1.638 | 70.4 | 2.754 | 66.133 | -6.952 | 889.583 | 63.232 | 0.49029
2020-12-06 18:15:00 | 1.112 | 95.61 | 1.995 | 90.925 | 2.697 | 104.933 | 3.24 | 103.367 | -7.913 | 890.033 | 63.349 | 1.5092
2020-12-06 18:30:00 | 1.79 | 155.54 | 2.117 | 118.572 | 2.47 | 114.6 | 2.537 | 104.133 | -8.621 | 889.975 | 67.797 | 0.80934
2020-12-06 18:45:00 | 1.287 | 143.833 | 1.716 | 105.494 | 1.57 | 100.367 | 1.852 | 88.667 | -8.724 | 889.942 | 66.795 | 0.4704
2020-12-06 19:00:00 | 1.712 | 163.267 | 1.83 | 116.733 | 1.594 | 106 | 1.67 | 82.233 | -9.008 | 889.6 | 69.344 | 0.45405
2020-12-06 19:15:00 | 2.047 | 169.587 | 1.52 | 113.101 | 0.886 | 94.467 | 1.724 | 83.867 | -9.604 | 889.7 | 68.309 | 0.32757
2020-12-06 19:30:00 | 2.152 | 174.767 | 1.516 | 129.545 | 1.328 | 106.633 | 1.801 | 101.4 | -9.428 | 890.25 | 67.179 | 0.16911
2020-12-06 19:45:00 | 2.524 | 182.607 | 1.51 | 118.294 | 1.729 | 101.833 | 2.627 | 99.833 | -9.641 | 890.158 | 67.616 | 0.32828
2020-12-06 20:00:00 | 1.891 | 185.067 | 1.004 | 118.203 | 1.296 | 102.033 | 1.818 | 100 | -10.333 | 890.05 | 68.192 | 0.35813
2020-12-06 20:15:00 | 1.938 | 191.5 | 1.069 | 118.269 | 1.548 | 103 | 2.118 | 100 | -10.516 | 889.75 | 68.512 | 0.31976
2020-12-06 20:30:00 | 2.084 | 196 | 0.412 | 118.273 | 1.556 | 103 | 2.39 | 100 | -10.483 | 889.933 | 68.075 | 0.31549
2020-12-06 20:45:00 | 1.763 | 200.2 | 0 | 131.497 | 1.147 | 106 | 2.529 | 100 | -10.349 | 889.742 | 67.595 | 0.32686
2020-12-06 21:00:00 | 1.22 | 200.067 | 0.16 | 131.596 | 1.455 | 105.933 | 2.459 | 100 | -10.449 | 889.792 | 67.285 | 0.31407
2020-12-06 21:15:00 | 1.095 | 201.467 | 0.45 | 121.236 | 1.968 | 101.167 | 2.711 | 98.733 | -10.349 | 889.942 | 67.157 | 0.29986
2020-12-06 21:30:00 | 1.529 | 218.013 | 0.583 | 103.681 | 1.942 | 102.033 | 3.334 | 96.9 | -11.193 | 890.192 | 67.819 | 0.23236
2020-12-06 21:45:00 | 1.58 | 219.433 | 0.066 | 104.231 | 1.981 | 106.4 | 3.175 | 99.8 | -11.378 | 889.617 | 68.981 | 0.13074
2020-12-06 22:00:00 | 1.071 | 220.867 | 0.336 | 103.707 | 2.085 | 102.5 | 2.892 | 92.867 | -11.378 | 890.075 | 70.336 | 0.11369
2020-12-06 22:15:00 | 1.3 | 222.067 | 0.04 | 104.24 | 1.852 | 83.167 | 2.719 | 79 | -11.378 | 890.167 | 70.283 | 0.24515
2020-12-06 22:30:00 | 0.819 | 214.993 | 0.376 | 94.668 | 2.112 | 84.167 | 2.808 | 79.2 | -11.64 | 889.825 | 70.56 | 0.33112
2020-12-06 22:45:00 | 1.344 | 220.5 | 0 | 94.241 | 1.049 | 79.967 | 2.176 | 79 | -11.461 | 889.633 | 70.251 | 0.32544
2020-12-06 23:00:00 | 0.156 | 224.6 | 0.03 | 81.536 | 1.261 | 64.833 | 2.309 | 68.633 | -11.411 | 890.092 | 70.24 | 0.32118
2020-12-06 23:15:00 | 1.267 | 234.68 | 0 | 59.136 | 1.341 | 55.967 | 2.369 | 68.133 | -11.766 | 889.45 | 69.696 | 0.31976
2020-12-06 23:30:00 | 1.37 | 236.24 | 0 | 28.891 | 0.447 | 52 | 2.157 | 68 | -11.932 | 889.1 | 69.675 | 0.31976
2020-12-06 23:45:00 | 1.398 | 236.227 | 0 | 21.06 | 1.602 | 52.133 | 2.517 | 64.867 | -12.057 | 890.217 | 69.216 | 0.3226