## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-07 00:00:00 | 1.713 | 229.4 | 0 | 14.035 | 0.594 | 55 | 2.005 | 66 | -12.203 | 889.958 | 69.504 | 0.3226
2020-12-07 00:15:00 | 2.457 | 238.133 | 0 | 14.031 | 0 | 55 | 0 | 66.067 | -12.099 | 889.383 | 68.64 | 0.33539
2020-12-07 00:30:00 | 2.318 | 241.373 | 0.193 | 286.999 | 0 | 55 | 0 | 66.067 | -12.14 | 889.783 | 68.661 | 0.33965
2020-12-07 00:45:00 | 3.64 | 236.433 | 1.57 | 260.799 | 0 | 27.567 | 0 | 66 | -12.903 | 890.025 | 66.725 | 0.33965
2020-12-07 01:00:00 | 4.064 | 239.433 | 2.036 | 258.951 | 0.589 | 281 | 0 | 66.125 | -12.77 | 890.1 | 66.379 | 0.33397
2020-12-07 01:15:00 | 4.429 | 233.887 | 2.166 | 244.024 | 0 | 281.8 | 0 | 66.025 | -13.503 | 889.65 | 66.955 | 0.32828
2020-12-07 01:30:00 | 4.607 | 232.193 | 2.224 | 240.046 | 0.707 | 248 | 0.04 | 66.067 | -14.103 | 889.908 | 65.141 | 0.32402
2020-12-07 01:45:00 | 4.602 | 233.733 | 2.501 | 246.748 | 1.537 | 251.533 | 1.025 | 219.983 | -15.324 | 889.517 | 68.448 | 0.3297
2020-12-07 02:00:00 | 4.649 | 232.407 | 2.17 | 258.516 | 1.166 | 258 | 1.216 | 260.75 | -16.484 | 889.825 | 67.312 | 0.3226
2020-12-07 02:15:00 | 4.635 | 234.087 | 2.599 | 270.172 | 1.861 | 282 | 1.64 | 268.867 | -16.662 | 889.775 | 70.805 | 0.32118
2020-12-07 02:30:00 | 5.151 | 230.5 | 2.293 | 277.47 | 1.774 | 298 | 1.867 | 284.133 | -16.814 | 889.775 | 67.648 | 0.32828
2020-12-07 02:45:00 | 5.154 | 234.567 | 2.79 | 279.928 | 2.103 | 311.8 | 2.236 | 326.267 | -17.881 | 890.042 | 70.453 | 0.34107
2020-12-07 03:00:00 | 4.709 | 233.447 | 2.579 | 278.826 | 2.166 | 302.2 | 2.103 | 308.567 | -17.048 | 890.058 | 73.819 | 0.33823
2020-12-07 03:15:00 | 3.657 | 236.133 | 2.484 | 281.814 | 1.586 | 282.533 | 1.478 | 310.533 | -15.441 | 889.617 | 73.045 | 0.3226
2020-12-07 03:30:00 | 3.712 | 238.167 | 2.016 | 269.953 | 0.267 | 311.533 | 1.186 | 352.767 | -15.258 | 889.967 | 69.989 | 0.31265
2020-12-07 03:45:00 | 3.598 | 238.36 | 1.118 | 277.445 | 0.216 | 304 | 0.421 | 353 | -14.658 | 889.858 | 69.461 | 0.31407
2020-12-07 04:00:00 | 2.874 | 244.167 | 0.027 | 251.436 | 0 | 304 | 0.528 | 353 | -14.787 | 889.983 | 69.227 | 0.31976
2020-12-07 04:15:00 | 3.712 | 234.407 | 1.66 | 250.384 | 0.146 | 295.8 | 0 | 352.8 | -14.62 | 889.875 | 69.419 | 0.30554
2020-12-07 04:30:00 | 5.771 | 225.58 | 3.165 | 239.576 | 1.471 | 251 | 0 | 352 | -16.19 | 889.708 | 67.136 | 0.30981
2020-12-07 04:45:00 | 5.549 | 228.233 | 2.81 | 248.682 | 1.333 | 251 | 0.957 | 274 | -15.874 | 889.767 | 68.992 | 0.31407
2020-12-07 05:00:00 | 5.032 | 229.913 | 2.858 | 250.444 | 1.38 | 251 | 0.795 | 274 | -16.71 | 890.142 | 68.341 | 0.32828
2020-12-07 05:15:00 | 4.057 | 229.953 | 1.956 | 250.468 | 0.05 | 251 | 0 | 274 | -15.969 | 889.808 | 70.837 | 0.33397
2020-12-07 05:30:00 | 3.822 | 233.767 | 1.707 | 257.331 | 0.093 | 251 | 0.108 | 274 | -15.524 | 889.75 | 71.157 | 0.33539
2020-12-07 05:45:00 | 4.391 | 238.4 | 2.152 | 255.502 | 0.566 | 251 | 0.506 | 274 | -15.508 | 890 | 69.131 | 0.33681
2020-12-07 06:00:00 | 3.582 | 244.767 | 1.958 | 265.236 | 0.34 | 251 | 0 | 273.933 | -14.249 | 889.808 | 70.517 | 0.34249
2020-12-07 06:15:00 | 3.301 | 247.933 | 2.163 | 275.058 | 0.993 | 284 | 0 | 274.933 | -14.049 | 889.683 | 69.147 | 0.34534
2020-12-07 06:30:00 | 3.387 | 243.827 | 2.015 | 275.171 | 0.117 | 283.2 | 0.124 | 257.825 | -13.728 | 889.967 | 68.299 | 0.34249
2020-12-07 06:45:00 | 3.436 | 239.933 | 0.942 | 259.673 | 0 | 209.367 | 0.265 | 106.9 | -13.799 | 889.842 | 67.253 | 0.34107
2020-12-07 07:00:00 | 2.88 | 236.38 | 0 | 258.929 | 0 | 156.3 | 1.976 | 90.367 | -13.56 | 889.575 | 67.093 | 0.33823
2020-12-07 07:15:00 | 2.231 | 241.267 | 0 | 260.779 | 0 | 88.6 | 1.663 | 87.133 | -13.02 | 889.858 | 67.051 | 0.33397
2020-12-07 07:30:00 | 1.71 | 236.353 | 0 | 260.856 | 0.18 | 38.967 | 1.603 | 58.833 | -13.409 | 889.642 | 67.083 | 0.34249
2020-12-07 07:45:00 | 0.314 | 255.847 | 0.574 | 7.017 | 1.353 | 14.34 | 2.088 | 22.8 | -14.083 | 889.717 | 68.352 | 0.35955
2020-12-07 08:00:00 | 1.416 | 247.893 | 1.34 | 358.333 | 1.33 | 6.033 | 2.03 | 20 | -14.416 | 889.733 | 69.525 | 0.3496
2020-12-07 08:15:00 | 1.542 | 254.753 | 1.948 | 345.553 | 1.984 | 2.1 | 1.959 | 20 | -15.074 | 889.633 | 70.731 | 0.33823
2020-12-07 08:30:00 | 1.736 | 273.8 | 1.785 | 332.895 | 1.468 | 26.505 | 1.97 | 20.367 | -15.008 | 890.083 | 72.08 | 0.34249
2020-12-07 08:45:00 | 1.654 | 273.787 | 1.496 | 0.601 | 1.918 | 33.508 | 2.469 | 42.967 | -15.174 | 889.658 | 71.211 | 0.34391
2020-12-07 09:00:00 | 1.999 | 254.253 | 1.299 | 350.417 | 1.418 | 29.842 | 2.029 | 48.033 | -15.12 | 890.167 | 72.635 | 0.33823
2020-12-07 09:15:00 | 2.377 | 239.667 | 0.03 | 318.884 | 0 | 10 | 1.221 | 48 | -15.024 | 890.167 | 73.621 | 0.33254
2020-12-07 09:30:00 | 2.305 | 247.347 | 0.856 | 302.982 | 0.353 | 351.033 | 0.977 | 47.062 | -14.391 | 889.758 | 71.456 | 0.32544
2020-12-07 09:45:00 | 2.124 | 251.1 | 1.369 | 297.681 | 0.637 | 330.8 | 0.974 | 47.125 | -13.484 | 889.808 | 69.376 | 0.32118
2020-12-07 10:00:00 | 2.011 | 263.067 | 0.781 | 297.001 | 0 | 328.3 | 0 | 47.025 | -12.853 | 890.142 | 67.616 | 0.32402
2020-12-07 10:15:00 | 2.761 | 247.167 | 1.341 | 270.998 | 0.027 | 305.8 | 0 | 47.038 | -12.42 | 890.108 | 63.243 | 0.32118
2020-12-07 10:30:00 | 2.345 | 247.96 | 1.239 | 271.342 | 0 | 288 | 0 | 47.058 | -11.59 | 889.933 | 62.347 | 0.32544
2020-12-07 10:45:00 | 0.398 | 255.88 | 0.395 | 273.183 | 0 | 288.067 | 0 | 47.054 | -8.887 | 889.8 | 58.507 | 0.3297
2020-12-07 11:00:00 | 2.024 | 251.367 | 1.249 | 282.973 | 0 | 288 | 0 | 47.125 | -9.808 | 890.025 | 54.805 | 0.33539
2020-12-07 11:15:00 | 1.561 | 237.953 | 0.239 | 283.042 | 0 | 288.133 | 0.067 | 46.954 | -9.366 | 889.967 | 52.843 | 0.34249
2020-12-07 11:30:00 | 0.623 | 237.567 | 0.472 | 278.848 | 0 | 287.933 | 0 | 47.121 | -8.508 | 890.225 | 51.243 | 0.33112
2020-12-07 11:45:00 | 0.07 | 238.387 | 0 | 279 | 0 | 288 | 0 | 47.154 | -6.406 | 889.742 | 47.573 | 0.33823
2020-12-07 12:00:00 | 0.22 | 307.893 | 0 | 278.95 | 0 | 289 | 0.151 | 47.067 | -9.845 | 889.925 | 46.315 | 0.33112
2020-12-07 12:15:00 | 0.62 | 320.827 | 0.4 | 302.882 | 0 | 289.9 | 0.151 | 47.054 | -10.524 | 889.925 | 49.819 | 0.32402
2020-12-07 12:30:00 | 1.45 | 132.738 | 1.266 | 193.332 | 0.697 | 186.933 | 0.655 | 43.1 | -10.639 | 889.992 | 51.797 | 0.32544
2020-12-07 12:45:00 | 0.459 | 46.397 | 0.32 | 38.5 | 0.476 | 53.2 | 1.841 | 61.2 | -9.47 | 889.742 | 51.488 | 0.36381
2020-12-07 13:00:00 | 2.651 | 109.94 | 2.361 | 100.556 | 2.092 | 98.7 | 2.481 | 91.833 | -9.908 | 889.958 | 52.651 | 0.10943
2020-12-07 13:15:00 | 1.757 | 109.033 | 1.726 | 95.849 | 1.608 | 99.8 | 2.267 | 87.733 | -9.291 | 889.667 | 51.947 | 0.21672
2020-12-07 13:30:00 | 0.81 | 127.973 | 0.55 | 109.835 | 0.524 | 109.8 | 1.41 | 82.067 | -8.824 | 889.658 | 49.205 | 0.34249
2020-12-07 13:45:00 | 1.531 | 135.193 | 1.21 | 115.882 | 1.579 | 103.5 | 2.509 | 91.5 | -8.448 | 889.9 | 47.339 | 0.20535
2020-12-07 14:00:00 | 1.889 | 153.567 | 1.607 | 135.903 | 1.777 | 125.567 | 2.166 | 107.9 | -8.674 | 889.675 | 49.141 | 0.15917
2020-12-07 14:15:00 | 2.063 | 133.28 | 1.986 | 122.208 | 2.09 | 126.033 | 2.383 | 114.567 | -8.858 | 889.692 | 50.624 | 0.25296
2020-12-07 14:30:00 | 2.229 | 112.76 | 2.333 | 103.376 | 2.464 | 108.167 | 2.594 | 98.267 | -8.891 | 890.117 | 51.509 | 0.26078
2020-12-07 14:45:00 | 2.793 | 105.4 | 2.821 | 96.343 | 2.97 | 100.567 | 3.05 | 91.967 | -8.808 | 889.817 | 51.616 | 0.58906
2020-12-07 15:00:00 | 4.704 | 83.497 | 4.568 | 76.821 | 5.034 | 79.233 | 5.248 | 75.467 | -8.24 | 890.125 | 50.144 | 2.875
2020-12-07 15:15:00 | 4.33 | 82.107 | 3.804 | 82.074 | 3.888 | 86 | 3.897 | 83 | -8.451 | 890.05 | 50.507 | 4.8681
2020-12-07 15:30:00 | 4.279 | 85.733 | 3.843 | 81.454 | 4.088 | 84.8 | 4.539 | 81.333 | -8.624 | 889.625 | 51.083 | 5.0436
2020-12-07 15:45:00 | 4.384 | 81.9 | 4.129 | 77.352 | 4.465 | 81.7 | 4.648 | 76.6 | -8.724 | 889.942 | 51.883 | 5.0727
2020-12-07 16:00:00 | 4.802 | 83.867 | 4.408 | 78.893 | 4.662 | 82.633 | 4.838 | 79.233 | -8.708 | 890.058 | 52.213 | 5.158
2020-12-07 16:15:00 | 4.611 | 82.337 | 4.3 | 76.332 | 4.669 | 81.233 | 4.798 | 75.967 | -8.754 | 889.725 | 53.301 | 5.9602
2020-12-07 16:30:00 | 4.1 | 83.133 | 3.744 | 80.127 | 3.492 | 86.5 | 3.468 | 85.167 | -9.058 | 889.55 | 53.237 | 5.7627
2020-12-07 16:45:00 | 3.591 | 80.33 | 3.503 | 75.883 | 3.54 | 81.5 | 3.812 | 77.733 | -8.974 | 889.675 | 54.187 | 4.456
2020-12-07 17:00:00 | 3.793 | 81.3 | 3.924 | 78.038 | 3.832 | 82.4 | 4.073 | 76.533 | -9.124 | 889.758 | 54.411 | 3.8811
2020-12-07 17:15:00 | 3.179 | 77.8 | 3.314 | 72.88 | 3.518 | 77.767 | 3.758 | 73.233 | -9.341 | 889.7 | 55.68 | 3.9301
2020-12-07 17:30:00 | 3.21 | 82.42 | 3.244 | 79.069 | 3.241 | 84.2 | 3.188 | 81.233 | -9.283 | 889.942 | 57.643 | 2.6845
2020-12-07 17:45:00 | 2.609 | 80.26 | 2.714 | 73.025 | 2.73 | 78.733 | 2.946 | 74.867 | -9.933 | 890.192 | 59.232 | 2.0436
2020-12-07 18:00:00 | 2.118 | 69.803 | 2.319 | 63.924 | 2.399 | 69.167 | 2.608 | 64.867 | -10.439 | 889.858 | 60.149 | 0.76244
2020-12-07 18:15:00 | 1.217 | 69.15 | 1.82 | 64.333 | 2.044 | 67.5 | 2.26 | 68.4 | -10.543 | 889.758 | 61.899 | 0.22738
2020-12-07 18:30:00 | 0.783 | 62.102 | 1.586 | 58.176 | 1.756 | 70.567 | 2.116 | 69 | -11.055 | 889.708 | 63.573 | 0.18475
2020-12-07 18:45:00 | 0 | 60.817 | 1.531 | 61.699 | 1.394 | 69.233 | 1.879 | 69 | -11.395 | 889.65 | 65.291 | 0.32331
2020-12-07 19:00:00 | 0 | 61.12 | 1.124 | 68.645 | 1.643 | 71 | 1.811 | 69.067 | -11.716 | 890.042 | 67.115 | 0.31123
2020-12-07 19:15:00 | 0 | 61.07 | 0 | 72.262 | 0.744 | 70.933 | 1.41 | 69 | -12.161 | 890.175 | 69.259 | 0.30554
2020-12-07 19:30:00 | 0.971 | 61.05 | 0 | 72.195 | 0 | 71.033 | 0 | 69 | -12.603 | 889.9 | 70.955 | 0.30128
2020-12-07 19:45:00 | 1.692 | 238.533 | 0 | 72.304 | 0 | 70.933 | 0 | 68.933 | -12.453 | 889.9 | 71.627 | 0.30554
2020-12-07 20:00:00 | 1.054 | 236.007 | 0 | 72.3 | 0 | 71 | 1.138 | 69.067 | -12.086 | 889.608 | 71.008 | 0.30696
2020-12-07 20:15:00 | 2.415 | 239.133 | 0 | 6.014 | 0 | 71 | 0.917 | 69 | -12.603 | 889.742 | 69.291 | 0.30696
2020-12-07 20:30:00 | 2.38 | 242.053 | 0 | 295.284 | 0 | 71 | 0.164 | 69 | -13.105 | 890.233 | 70.293 | 0.31833
2020-12-07 20:45:00 | 2.122 | 254.987 | 0.253 | 311.99 | 0.053 | 1.267 | 0.907 | 31 | -13.391 | 890.175 | 70.992 | 0.30839
2020-12-07 21:00:00 | 2.16 | 253.893 | 0.153 | 305.352 | 0 | 0 | 0.393 | 30.967 | -13.616 | 890.192 | 70.475 | 0.31833
2020-12-07 21:15:00 | 1.962 | 247.273 | 0 | 279.141 | 0 | 0 | 0 | 31 | -13.943 | 889.725 | 71.691 | 0.31833
2020-12-07 21:30:00 | 2.915 | 241.033 | 0 | 278.902 | 0 | 0.133 | 0.037 | 31.1 | -13.999 | 889.892 | 70.528 | 0.31976
2020-12-07 21:45:00 | 3.345 | 245.8 | 0.467 | 268.944 | 0 | 0.133 | 0.705 | 34 | -14.216 | 889.917 | 71.136 | 0.32544
2020-12-07 22:00:00 | 3.836 | 235.567 | 0.857 | 239.646 | 0 | 55.067 | 1.354 | 78.1 | -14.249 | 889.792 | 71.68 | 0.32544
2020-12-07 22:15:00 | 4.108 | 232.467 | 1.267 | 219.233 | 0.213 | 186.633 | 1.69 | 127.6 | -14.216 | 889.833 | 70.432 | 0.3226
2020-12-07 22:30:00 | 3.81 | 236.467 | 1.385 | 222.16 | 0.027 | 181.6 | 0.739 | 133.267 | -14.183 | 890.092 | 70.027 | 0.32544
2020-12-07 22:45:00 | 3.445 | 238.887 | 0.731 | 237.278 | 0 | 196 | 0 | 133 | -14.139 | 889.817 | 69.28 | 0.31691
2020-12-07 23:00:00 | 4.29 | 236.567 | 1.376 | 240.43 | 0 | 196.267 | 0 | 132.833 | -15.914 | 889.958 | 70.027 | 0.31976
2020-12-07 23:15:00 | 3.81 | 236.633 | 0.436 | 226.503 | 0 | 214.067 | 0.363 | 133 | -15.541 | 890 | 72.619 | 0.31691
2020-12-07 23:30:00 | 4.128 | 235.16 | 0.841 | 228.497 | 0 | 214 | 0.03 | 133.133 | -14.641 | 889.567 | 71.808 | 0.31265
2020-12-07 23:45:00 | 4.666 | 233.873 | 1.81 | 240.332 | 0 | 214.233 | 0 | 133 | -15.45 | 889.7 | 70.773 | 0.31549