## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-08 00:00:00 | 4.241 | 236.76 | 1.596 | 241.494 | 0 | 214 | 0 | 133.033 | -16.488 | 890.067 | 72.992 | 0.31691
2020-12-08 00:15:00 | 3.317 | 238.92 | 0 | 241.546 | 0 | 214.233 | 0 | 133 | -14.599 | 889.917 | 74.635 | 0.31265
2020-12-08 00:30:00 | 3.417 | 236.147 | 0 | 241.507 | 0 | 214.133 | 0 | 133 | -14.183 | 890.3 | 72.021 | 0.31549
2020-12-08 00:45:00 | 3.67 | 238.967 | 1.151 | 244.488 | 0 | 214 | 0 | 133 | -14.099 | 889.842 | 71.925 | 0.31976
2020-12-08 01:00:00 | 4.467 | 233.873 | 2.933 | 245.627 | 1.901 | 240.033 | 1.445 | 137.867 | -14.362 | 890.058 | 70.688 | 0.32118
2020-12-08 01:15:00 | 4.818 | 235.153 | 3.38 | 248.783 | 2.391 | 250.467 | 1.932 | 235 | -16.339 | 889.658 | 68.267 | 0.33254
2020-12-08 01:30:00 | 5.907 | 227.5 | 4.244 | 248.91 | 3.3 | 255.733 | 2.706 | 246.033 | -17.531 | 889.833 | 69.376 | 0.3496
2020-12-08 01:45:00 | 5.921 | 233.267 | 4.686 | 250.143 | 3.689 | 255.133 | 3.082 | 252.683 | -17.964 | 890.192 | 73.579 | 0.21317
2020-12-08 02:00:00 | 4.974 | 237.5 | 4.125 | 266.895 | 3.534 | 278.2 | 3.254 | 273.7 | -17.364 | 889.85 | 74.539 | 0.3162
2020-12-08 02:15:00 | 5.21 | 236.107 | 3.988 | 268.575 | 3.474 | 285.733 | 3.332 | 290.1 | -17.514 | 889.958 | 74.539 | 0.52298
2020-12-08 02:30:00 | 5.844 | 234.293 | 4.799 | 257.162 | 3.952 | 275.067 | 3.461 | 282.333 | -16.848 | 890.208 | 73.84 | 0.83065
2020-12-08 02:45:00 | 4.884 | 239.6 | 4.584 | 263.654 | 3.845 | 277.6 | 3.602 | 288.767 | -16.798 | 889.942 | 74.56 | 1.2499
2020-12-08 03:00:00 | 4.888 | 234.6 | 4.72 | 256.895 | 4.127 | 265.933 | 3.591 | 266.467 | -16.531 | 889.775 | 76.245 | 1.8318
2020-12-08 03:15:00 | 4.528 | 237.267 | 4.038 | 263.966 | 3.443 | 282.333 | 3.398 | 288.7 | -16.998 | 890.108 | 74.389 | 2.6312
2020-12-08 03:30:00 | 5.242 | 233.633 | 4.799 | 252.208 | 4.11 | 266.3 | 3.687 | 272.233 | -16.614 | 889.875 | 75.099 | 2.789
2020-12-08 03:45:00 | 4.975 | 244.307 | 4.522 | 260.662 | 4.063 | 273.267 | 3.82 | 274.067 | -16.484 | 889.725 | 75.381 | 3.5329
2020-12-08 04:00:00 | 4.884 | 245.207 | 4.388 | 265.468 | 3.81 | 273.867 | 3.688 | 275.333 | -16.254 | 889.9 | 75.381 | 3.4683
2020-12-08 04:15:00 | 4.695 | 234.673 | 4.058 | 268.581 | 3.752 | 281.533 | 3.75 | 282.233 | -16.36 | 889.758 | 73.963 | 3.5877
2020-12-08 04:30:00 | 5.111 | 233.773 | 4.224 | 260.962 | 3.622 | 278 | 3.588 | 282.8 | -16.567 | 889.308 | 73.973 | 2.4316
2020-12-08 04:45:00 | 4.503 | 244.133 | 3.91 | 272.729 | 3.621 | 286.4 | 3.856 | 287.2 | -16.531 | 889.8 | 74.805 | 2.46
2020-12-08 05:00:00 | 4.97 | 258.133 | 4.384 | 284.177 | 4.461 | 294.1 | 4.965 | 296.867 | -16.084 | 889.167 | 74.395 | 2.9638
2020-12-08 05:15:00 | 5.013 | 234.5 | 4.068 | 269.141 | 3.754 | 286.267 | 4.09 | 291.233 | -16.424 | 889.825 | 73.403 | 4.3309
2020-12-08 05:30:00 | 5.507 | 235.5 | 4.795 | 258.973 | 4.209 | 276 | 4.354 | 280.133 | -16.898 | 889.767 | 74.064 | 3.69
2020-12-08 05:45:00 | 5.634 | 233.1 | 5.13 | 254.777 | 4.5 | 274 | 4.456 | 278.2 | -16.681 | 889.417 | 73.664 | 4.338
2020-12-08 06:00:00 | 5.766 | 230.093 | 4.819 | 258.247 | 4.229 | 271.933 | 4.275 | 274.667 | -16.382 | 889.758 | 73.259 | 4.9626
2020-12-08 06:15:00 | 5.829 | 227.313 | 5.015 | 247.681 | 4.229 | 261.267 | 4.305 | 268.8 | -16.51 | 890.258 | 72.437 | 4.2193
2020-12-08 06:30:00 | 6.313 | 232.233 | 5.126 | 252.449 | 4.621 | 268.267 | 4.759 | 269.433 | -16.531 | 889.567 | 73.771 | 5.0408
2020-12-08 06:45:00 | 5.751 | 234.027 | 5.053 | 256.208 | 4.741 | 270.067 | 4.706 | 275.067 | -16.572 | 889.633 | 75.659 | 6.5649
2020-12-08 07:00:00 | 5.566 | 242.9 | 4.642 | 260.506 | 4.225 | 273.267 | 4.31 | 277.7 | -16.458 | 890.025 | 77.605 | 6.1215
2020-12-08 07:15:00 | 6.064 | 228.56 | 4.78 | 260.446 | 4.136 | 276.4 | 4.186 | 280.167 | -16.168 | 889.5 | 76.448 | 4.3664
2020-12-08 07:30:00 | 5.614 | 226.467 | 4.795 | 254.468 | 4.153 | 269.933 | 3.669 | 279.233 | -16.104 | 890.175 | 78.987 | 4.0978
2020-12-08 07:45:00 | 5.507 | 231 | 4.305 | 245.99 | 3.731 | 261.6 | 3.283 | 268.233 | -15.541 | 890.075 | 80.032 | 2.7236
2020-12-08 08:00:00 | 6.068 | 219.447 | 4.491 | 234.378 | 3.892 | 243.067 | 3.36 | 245.933 | -15.96 | 890.2 | 76.555 | 2.2781
2020-12-08 08:15:00 | 5.948 | 221.967 | 4.656 | 228.667 | 4.427 | 233.7 | 4.026 | 230.933 | -15.608 | 889.783 | 77.845 | 2.9652
2020-12-08 08:30:00 | 5.813 | 219.207 | 4.29 | 234.195 | 4.402 | 242.667 | 4.272 | 237.1 | -16.024 | 889.817 | 75.115 | 4.7167
2020-12-08 08:45:00 | 6.545 | 222.9 | 4.58 | 233.959 | 4.355 | 242.267 | 4.183 | 239.6 | -16.211 | 889.592 | 76.064 | 3.5678
2020-12-08 09:00:00 | 6.239 | 222.4 | 4.692 | 230.915 | 4.451 | 238.267 | 4.265 | 235.6 | -16.178 | 889.892 | 76.16 | 5.3541
2020-12-08 09:15:00 | 6.44 | 218.133 | 5.034 | 233.058 | 4.538 | 242.633 | 4.276 | 242.4 | -16.211 | 889.658 | 74.752 | 5.0138
2020-12-08 09:30:00 | 6.039 | 221.1 | 4.852 | 237.144 | 4.218 | 249.3 | 3.858 | 251.967 | -15.892 | 889 | 74.037 | 5.1303
2020-12-08 09:45:00 | 5.483 | 223.5 | 4.603 | 239.046 | 3.969 | 251.167 | 3.649 | 258.267 | -14.924 | 889.658 | 72.875 | 4.3828
2020-12-08 10:00:00 | 4.799 | 231.973 | 3.345 | 245.911 | 3.051 | 257.2 | 3 | 265.633 | -13.649 | 889.792 | 71.755 | 2.8366
2020-12-08 10:15:00 | 5.643 | 222.167 | 3.472 | 245.25 | 2.847 | 253.867 | 2.631 | 260.7 | -13.02 | 890.15 | 68.448 | 0.31336
2020-12-08 10:30:00 | 5.246 | 219.533 | 3.779 | 236.591 | 2.874 | 255 | 2.623 | 261.667 | -12.686 | 889.908 | 68.853 | 0.40005
2020-12-08 10:45:00 | 5.995 | 220.233 | 4.264 | 227.728 | 3.478 | 239.267 | 2.94 | 250.7 | -11.478 | 889.542 | 68.459 | 1.4737
2020-12-08 11:00:00 | 5.129 | 224.433 | 4.254 | 233.584 | 3.753 | 238.167 | 3.612 | 239.1 | -10.383 | 890.042 | 65.888 | 2.8565
2020-12-08 11:15:00 | 4.478 | 222.467 | 4.449 | 232.21 | 4.22 | 237.933 | 4.207 | 232.2 | -9.141 | 889.783 | 64.64 | 5.2347
2020-12-08 11:30:00 | 3.58 | 229.267 | 4.171 | 236.172 | 4.167 | 243.833 | 4.137 | 238.333 | -7.572 | 889.883 | 62.955 | 5.5474
2020-12-08 11:45:00 | 2.809 | 229.853 | 3.786 | 235.014 | 3.839 | 241.733 | 3.751 | 238.633 | -6.156 | 890.058 | 59.648 | 4.4148
2020-12-08 12:00:00 | 2.351 | 245.733 | 2.78 | 245.757 | 3.327 | 250.45 | 3.693 | 244.767 | -4.596 | 889.708 | 54.229 | 2.1431
2020-12-08 12:15:00 | 2.996 | 244.967 | 3.115 | 240.672 | 3.598 | 246.067 | 3.953 | 241.133 | -3.907 | 890 | 49.781 | 1.3153
2020-12-08 12:30:00 | 3.91 | 239.167 | 3.941 | 234.786 | 4.305 | 240.167 | 4.61 | 236.7 | -3.773 | 889.967 | 48.469 | 4.2137
2020-12-08 12:45:00 | 3.266 | 249.433 | 3.36 | 247.08 | 3.627 | 251.733 | 3.738 | 248.883 | -3.421 | 889.692 | 48.395 | 4.8944
2020-12-08 13:00:00 | 2.716 | 261.58 | 2.706 | 258.634 | 2.679 | 265.433 | 2.824 | 268.1 | -2.496 | 889.9 | 46.597 | 3.8264
2020-12-08 13:15:00 | 1.593 | 299.387 | 1.32 | 288.642 | 1.473 | 286.133 | 1.892 | 282.667 | -4.384 | 889.658 | 46.747 | 1.8468
2020-12-08 13:30:00 | 2.828 | 295.067 | 2.751 | 289.138 | 3.034 | 295.767 | 3.434 | 292.867 | -4.503 | 890.008 | 49.584 | 0.62814
2020-12-08 13:45:00 | 4.367 | 295.56 | 4.402 | 289.583 | 4.545 | 291.167 | 4.754 | 286.033 | -4.229 | 890.108 | 52.752 | 2.0905
2020-12-08 14:00:00 | 4.686 | 296.707 | 4.877 | 291.93 | 5.223 | 295.333 | 5.575 | 291.5 | -4.265 | 890.125 | 53.797 | 6.7035
2020-12-08 14:15:00 | 3.495 | 292.24 | 3.676 | 292.689 | 3.738 | 297.267 | 3.99 | 295.167 | -4.463 | 889.733 | 53.461 | 8.9091
2020-12-08 14:30:00 | 5.044 | 285.4 | 5.234 | 281.436 | 5.828 | 284.333 | 6.254 | 281.633 | -3.924 | 889.95 | 53.936 | 7.2449
2020-12-08 14:45:00 | 5.838 | 276.133 | 6.763 | 270.018 | 7.02 | 272.667 | 7.187 | 269.533 | -3.756 | 889.592 | 54.181 | 9.572
2020-12-08 15:00:00 | 5.124 | 290.733 | 5.375 | 286.026 | 5.727 | 289.933 | 5.917 | 287.2 | -3.588 | 889.75 | 50.027 | 12.9799
2020-12-08 15:15:00 | 5.506 | 285.8 | 5.882 | 281.854 | 6.41 | 284.533 | 6.567 | 282.167 | -3.187 | 890.175 | 48.885 | 16.3089
2020-12-08 15:30:00 | 5.424 | 292.533 | 5.873 | 286.952 | 6.082 | 291.033 | 6.307 | 286 | -3.588 | 890.158 | 47.968 | 15.7192
2020-12-08 15:45:00 | 3.779 | 293.267 | 4.44 | 286.001 | 4.41 | 286.1 | 4.721 | 278.233 | -3.639 | 889.525 | 49.909 | 14.3648
2020-12-08 16:00:00 | 6.163 | 279.533 | 6.786 | 275.065 | 7.062 | 278.6 | 7.435 | 273.267 | -3.288 | 889.292 | 48.069 | 15.5309
2020-12-08 16:15:00 | 6.035 | 278.933 | 6.862 | 271.896 | 6.995 | 275.9 | 7.105 | 270.2 | -3.84 | 890.175 | 49.68 | 28.3211
2020-12-08 16:30:00 | 5.251 | 276.12 | 5.891 | 271.151 | 6.11 | 273.3 | 6.551 | 269.467 | -4.184 | 890.275 | 52.363 | 31.0056
2020-12-08 16:45:00 | 5.767 | 262.693 | 6.568 | 261.361 | 6.702 | 264.967 | 6.714 | 261.2 | -4.463 | 890.1 | 53.627 | 35.5013
2020-12-08 17:00:00 | 6.334 | 260.847 | 7.11 | 255.914 | 7.502 | 261.667 | 7.631 | 258.267 | -4.381 | 889.55 | 53.739 | 44.7287
2020-12-08 17:15:00 | 5.722 | 261.493 | 6.358 | 259.548 | 7.06 | 264.933 | 7.398 | 261.633 | -4.885 | 890.058 | 51.227 | 47.2662
2020-12-08 17:30:00 | 5.153 | 255.08 | 5.896 | 253.184 | 6.549 | 257.167 | 6.726 | 252.95 | -5.554 | 889.9 | 55.317 | 34.1108
2020-12-08 17:45:00 | 6.08 | 256.487 | 6.917 | 254.84 | 7.355 | 258.133 | 7.412 | 255.1 | -6.256 | 889.625 | 56.032 | 35.9632
2020-12-08 18:00:00 | 5.947 | 251.853 | 7.857 | 251.864 | 8.536 | 255.683 | 8.974 | 252.883 | -6.627 | 889.825 | 59.04 | 47.0871
2020-12-08 18:15:00 | 6.93 | 250.773 | 8.465 | 250.576 | 9.015 | 256.017 | 9.182 | 250.633 | -6.913 | 889.833 | 59.605 | 62.5213
2020-12-08 18:30:00 | 7.061 | 243.78 | 8.63 | 243.9 | 9.174 | 249.533 | 9.34 | 244.9 | -7.247 | 889.975 | 61.163 | 66.524
2020-12-08 18:45:00 | 6.95 | 248.867 | 8.034 | 248.987 | 8.407 | 253.367 | 8.614 | 249.167 | -7.756 | 889.65 | 62.016 | 71.2848
2020-12-08 19:00:00 | 6.833 | 251.6 | 7.648 | 251.05 | 8.131 | 257.033 | 8.338 | 253.95 | -7.373 | 890.225 | 60.869 | 67.4768
2020-12-08 19:15:00 | 7.126 | 236.447 | 7.593 | 242.67 | 8.183 | 250.167 | 8.46 | 246.733 | -8.15 | 889.75 | 61.835 | 60.9261
2020-12-08 19:30:00 | 7.094 | 243.2 | 7.488 | 247.407 | 7.925 | 254.933 | 8.466 | 251.717 | -8.758 | 890.092 | 63.445 | 49.4775
2020-12-08 19:45:00 | 6.619 | 244.633 | 7.092 | 247.832 | 7.609 | 254.367 | 8.162 | 252.533 | -8.741 | 889.983 | 63.552 | 39.4045
2020-12-08 20:00:00 | 4.547 | 232.353 | 6.839 | 240.377 | 7.486 | 251.6 | 7.698 | 249.633 | -9.499 | 890.117 | 64.683 | 36.7327
2020-12-08 20:15:00 | 5.911 | 229.033 | 7.126 | 235.894 | 7.261 | 246.4 | 7.389 | 244 | -10.333 | 890.45 | 67.168 | 41.9007
2020-12-08 20:30:00 | 5.354 | 226.233 | 6.604 | 236.408 | 7.137 | 246.167 | 7.501 | 244.733 | -10.433 | 890.017 | 67.744 | 40.2877
2020-12-08 20:45:00 | 5.115 | 222.947 | 6.849 | 238.928 | 7.406 | 248.767 | 7.783 | 247.9 | -10.362 | 889.783 | 66.795 | 37.1804
2020-12-08 21:00:00 | 5.779 | 214.387 | 6.477 | 230.774 | 6.681 | 242.467 | 6.9 | 242.167 | -11.076 | 889.558 | 67.168 | 29.7742
2020-12-08 21:15:00 | 6.018 | 216.567 | 5.99 | 227.812 | 6.026 | 241 | 6.148 | 242.5 | -10.483 | 889.95 | 69.045 | 28.1448
2020-12-08 21:30:00 | 6.437 | 216.967 | 6.716 | 226.666 | 6.549 | 237.967 | 6.571 | 241.867 | -10.349 | 889.825 | 68.405 | 33.8443
2020-12-08 21:45:00 | 5.655 | 216.767 | 6.446 | 227.378 | 6.606 | 238.067 | 6.749 | 240.033 | -9.804 | 890.433 | 67.723 | 32.1268
2020-12-08 22:00:00 | 6.495 | 221.753 | 6.557 | 230.186 | 7.058 | 241.533 | 7.391 | 242.233 | -9.312 | 889.658 | 67.776 | 35.5958
2020-12-08 22:15:00 | 6.694 | 233.567 | 7.266 | 240.569 | 8.025 | 250.533 | 8.565 | 249.017 | -9.124 | 890.058 | 67.179 | 41.7017
2020-12-08 22:30:00 | 6.611 | 225.253 | 7.11 | 237.014 | 7.632 | 250.267 | 8.066 | 249.833 | -9.012 | 889.908 | 66.528 | 44.0772
2020-12-08 22:45:00 | 6.329 | 236.767 | 7.614 | 244.879 | 7.831 | 252.9 | 7.846 | 253.067 | -10.099 | 889.733 | 68.299 | 47.6854
2020-12-08 23:00:00 | 4.897 | 218.913 | 5.74 | 235.005 | 6.384 | 245.233 | 6.596 | 244.233 | -9.512 | 889.767 | 67.36 | 38.9355
2020-12-08 23:15:00 | 6.218 | 217.533 | 6.93 | 226.54 | 7.178 | 234.133 | 7.204 | 232.133 | -10.703 | 889.35 | 69.12 | 30.6325
2020-12-08 23:30:00 | 6.297 | 218.64 | 7.148 | 222.419 | 7.443 | 232.133 | 7.374 | 229.533 | -11.155 | 889.867 | 70.133 | 32.4288
2020-12-08 23:45:00 | 6.269 | 216.593 | 6.784 | 222.952 | 7.039 | 233.867 | 7.113 | 231.9 | -11.124 | 889.925 | 70.101 | 33.4719