## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-09 00:00:00 | 6.232 | 219.493 | 7.493 | 229.808 | 7.967 | 236.4 | 8.048 | 232.8 | -10.666 | 889.5 | 69.035 | 35.3393
2020-12-09 00:15:00 | 6.032 | 231.167 | 7.757 | 235.96 | 8.401 | 241.733 | 8.389 | 236.833 | -10.233 | 889.7 | 68.843 | 43.6991
2020-12-09 00:30:00 | 4.848 | 229.733 | 6.282 | 229.769 | 7.113 | 237.867 | 7.327 | 235.433 | -9.024 | 889.842 | 66.336 | 41.6115
2020-12-09 00:45:00 | 5.02 | 231.427 | 6.399 | 229.347 | 6.968 | 238.433 | 7.009 | 237.067 | -9.474 | 889.8 | 65.835 | 33.5501
2020-12-09 01:00:00 | 5.655 | 228.367 | 6.882 | 225.35 | 7.07 | 235.2 | 7.134 | 235.2 | -11.134 | 889.5 | 68.779 | 33.6013
2020-12-09 01:15:00 | 5.604 | 223.253 | 6.948 | 225.082 | 6.964 | 235.4 | 6.866 | 236.5 | -10.285 | 890.008 | 68.491 | 31.935
2020-12-09 01:30:00 | 6.311 | 221.567 | 7.785 | 221.266 | 7.391 | 228.7 | 7.351 | 229.433 | -10.941 | 889.8 | 69.579 | 30.0456
2020-12-09 01:45:00 | 6.717 | 223.267 | 7.6 | 223.203 | 7.332 | 231.367 | 7.203 | 231.767 | -10.984 | 889.492 | 69.387 | 31.6657
2020-12-09 02:00:00 | 5.593 | 225.233 | 7.639 | 221.64 | 7.237 | 228.2 | 6.563 | 227.367 | -11.195 | 890.008 | 68.448 | 31.3324
2020-12-09 02:15:00 | 7.126 | 218.733 | 7.474 | 219.407 | 7.18 | 225.133 | 6.568 | 223.6 | -11.378 | 890.35 | 69.92 | 29.7209
2020-12-09 02:30:00 | 7.796 | 215.833 | 7.826 | 220.579 | 7.344 | 228.667 | 7.011 | 230.667 | -11.395 | 889.783 | 68.341 | 29.087
2020-12-09 02:45:00 | 8.154 | 218.633 | 8.152 | 227.519 | 8.168 | 238.7 | 8.054 | 241.1 | -11.378 | 889.883 | 68.299 | 35.2029
2020-12-09 03:00:00 | 7.57 | 218.613 | 7.809 | 230.298 | 7.851 | 241.967 | 7.877 | 243.067 | -11.528 | 889.95 | 68.224 | 39.3377
2020-12-09 03:15:00 | 7.282 | 225.367 | 7.393 | 234.234 | 7.287 | 245.933 | 7.489 | 247.867 | -11.445 | 889.842 | 68.277 | 34.2188
2020-12-09 03:30:00 | 7.58 | 222.4 | 7.984 | 227.551 | 7.923 | 239.233 | 7.945 | 239.8 | -10.433 | 890.3 | 64.821 | 37.4788
2020-12-09 03:45:00 | 8.051 | 225.1 | 7.962 | 234.037 | 7.945 | 244.1 | 8.083 | 246.233 | -10.283 | 890.025 | 63.669 | 46.2046
2020-12-09 04:00:00 | 8.164 | 229.36 | 7.497 | 238.196 | 7.591 | 249.2 | 7.82 | 249.8 | -9.974 | 889.692 | 63.776 | 51.3519
2020-12-09 04:15:00 | 7.226 | 225.433 | 6.976 | 231.984 | 7.496 | 237.867 | 7.596 | 234.467 | -9.704 | 889.708 | 60.203 | 46.0817
2020-12-09 04:30:00 | 6.359 | 217.013 | 6.471 | 226.541 | 7.21 | 235.533 | 7.534 | 232.533 | -9.891 | 890.292 | 63.232 | 38.4246
2020-12-09 04:45:00 | 6.67 | 214.46 | 8.421 | 213.434 | 7.972 | 219.267 | 7.521 | 219.433 | -9.97 | 889.883 | 62.24 | 35.1155
2020-12-09 05:00:00 | 6.631 | 214.24 | 8.529 | 214.512 | 8.033 | 218.3 | 7.699 | 218.033 | -10.287 | 889.6 | 63.947 | 38.2562
2020-12-09 05:15:00 | 6.998 | 217.007 | 9.061 | 216.022 | 8.649 | 221.233 | 8.061 | 220.2 | -10.741 | 889.975 | 64.768 | 40.7808
2020-12-09 05:30:00 | 7.195 | 215.14 | 8.963 | 216.291 | 8.509 | 219.367 | 8.066 | 217.3 | -10.928 | 890.308 | 65.952 | 45.2652
2020-12-09 05:45:00 | 6.523 | 220.667 | 8.043 | 221.532 | 7.363 | 226.467 | 6.618 | 225.3 | -10.249 | 890.158 | 64.053 | 41.3244
2020-12-09 06:00:00 | 7.6 | 225.267 | 7.215 | 227.187 | 6.863 | 236.4 | 6.537 | 237.9 | -10.383 | 889.608 | 64.448 | 33.7214
2020-12-09 06:15:00 | 6.868 | 224.093 | 6.622 | 227.731 | 6.272 | 239 | 6.198 | 239.767 | -9.662 | 889.983 | 62.624 | 30.9544
2020-12-09 06:30:00 | 7.111 | 223.887 | 7.495 | 223.582 | 6.93 | 231.833 | 6.707 | 233.633 | -10.335 | 889.667 | 64.011 | 29.313
2020-12-09 06:45:00 | 6.718 | 226.88 | 6.341 | 229.745 | 6.796 | 240.067 | 6.686 | 239.167 | -9.787 | 890.325 | 64.405 | 30.7263
2020-12-09 07:00:00 | 6.613 | 228.153 | 6.858 | 233.498 | 7.024 | 242.767 | 6.84 | 241.1 | -9.845 | 889.733 | 62.315 | 28.1804
2020-12-09 07:15:00 | 4.801 | 234.2 | 7.348 | 236.174 | 7.01 | 247.267 | 6.707 | 246.667 | -11.295 | 890.092 | 64.267 | 30.3916
2020-12-09 07:30:00 | 5.647 | 237.227 | 6.961 | 238.068 | 6.492 | 248.933 | 6.168 | 247.8 | -11.19 | 889.808 | 67.968 | 31.2088
2020-12-09 07:45:00 | 5.226 | 234.267 | 6.909 | 237.429 | 6.303 | 248.3 | 5.974 | 247.967 | -11.345 | 890.108 | 67.275 | 25.7289
2020-12-09 08:00:00 | 6.422 | 227.933 | 6.371 | 242.396 | 6.292 | 252.1 | 6.038 | 250.5 | -11.395 | 889.542 | 67.349 | 22.0666
2020-12-09 08:15:00 | 6.52 | 224.393 | 6.008 | 238.063 | 5.934 | 246.067 | 5.661 | 242.433 | -10.676 | 889.65 | 66.283 | 20.4217
2020-12-09 08:30:00 | 5.702 | 226.507 | 6.331 | 233.691 | 6.085 | 240.4 | 5.853 | 235.9 | -11.155 | 889.883 | 64.981 | 18.6026
2020-12-09 08:45:00 | 6.451 | 223.367 | 6.085 | 226.309 | 6.014 | 234.333 | 6.068 | 231.433 | -11.578 | 889.975 | 67.157 | 14.0813
2020-12-09 09:00:00 | 6.556 | 218.493 | 5.768 | 221.926 | 5.567 | 230.5 | 5.377 | 229 | -11.19 | 889.808 | 67.275 | 11.2007
2020-12-09 09:15:00 | 6.024 | 216.187 | 5.298 | 224.545 | 5.238 | 232.333 | 5.129 | 229.333 | -10.385 | 889.708 | 65.301 | 10.9505
2020-12-09 09:30:00 | 6.014 | 214.1 | 4.688 | 220.418 | 4.778 | 226.767 | 4.782 | 226.167 | -8.941 | 889.85 | 62.432 | 9.3063
2020-12-09 09:45:00 | 5.283 | 212.693 | 3.852 | 221.228 | 4.184 | 232.433 | 4.766 | 233.6 | -7.17 | 889.825 | 57.376 | 6.5443
2020-12-09 10:00:00 | 4.48 | 210.02 | 3.575 | 216.342 | 3.475 | 232.3 | 4.225 | 236.567 | -6.538 | 889.658 | 55.829 | 6.0611
2020-12-09 10:15:00 | 4.244 | 208.507 | 4.774 | 211.068 | 4.535 | 219.467 | 4.297 | 220.533 | -5.438 | 889.917 | 53.515 | 11.8508
2020-12-09 10:30:00 | 2.88 | 208.033 | 3.851 | 229.204 | 6.448 | 246.2 | 7.874 | 246.667 | -5.569 | 889.8 | 54.997 | 15.5962
2020-12-09 10:45:00 | 6.298 | 251.167 | 7.934 | 247.081 | 8.65 | 251.567 | 8.631 | 246.65 | -4.666 | 889.742 | 54.027 | 26.0629
2020-12-09 11:00:00 | 5.186 | 251.2 | 7.016 | 243.434 | 7.892 | 250.383 | 8.235 | 246.917 | -3.739 | 889.825 | 52.171 | 39.3682
2020-12-09 11:15:00 | 5.497 | 251.827 | 6.874 | 247.531 | 7.639 | 251.95 | 7.744 | 248.333 | -2.499 | 890.033 | 49.717 | 40.8242
2020-12-09 11:30:00 | 5.893 | 253.613 | 7.062 | 249.608 | 7.687 | 252.567 | 7.887 | 247.617 | -2.148 | 889.917 | 46.827 | 35.0629
2020-12-09 11:45:00 | 4.606 | 261.447 | 5.557 | 255.246 | 6.035 | 256.133 | 6.423 | 248.833 | -1.109 | 889.608 | 45.749 | 27.1145
2020-12-09 12:00:00 | 4.624 | 252.667 | 5.532 | 246.806 | 6.023 | 249.55 | 6.195 | 245.1 | -0.266 | 889.883 | 43.243 | 23.6391
2020-12-09 12:15:00 | 4.022 | 256.493 | 4.437 | 253.136 | 4.652 | 257.7 | 4.931 | 254.583 | 0.416 | 889.55 | 40.371 | 21.582
2020-12-09 12:30:00 | 4.363 | 273.947 | 4.799 | 268.12 | 5.029 | 273.4 | 5.466 | 268.8 | 0.117 | 889.858 | 39.347 | 19.7111
2020-12-09 12:45:00 | 5.061 | 307.573 | 5.792 | 298.601 | 5.95 | 298.733 | 6.284 | 292.167 | -1.356 | 889.817 | 39.531 | 15.5763
2020-12-09 13:00:00 | 4.102 | 314.16 | 4.506 | 305.212 | 4.931 | 307.467 | 5.289 | 301.867 | -1.115 | 889.533 | 40.896 | 15.4939
2020-12-09 13:15:00 | 6.26 | 302.76 | 6.541 | 293.478 | 7.026 | 294.4 | 7.103 | 290.5 | -0.785 | 889.483 | 39.869 | 18.4101
2020-12-09 13:30:00 | 5.965 | 297.013 | 6.006 | 289.834 | 6.464 | 292.4 | 6.816 | 288.9 | -1.042 | 889.433 | 40.645 | 29.75
2020-12-09 13:45:00 | 6.528 | 280.333 | 6.989 | 276.006 | 7.166 | 277.767 | 7.4 | 274.133 | -0.498 | 889.9 | 41.093 | 31.8611
2020-12-09 14:00:00 | 7.142 | 283.507 | 7.894 | 276.604 | 7.865 | 278.3 | 7.853 | 275.367 | -0.495 | 890.117 | 41.021 | 35.2278
2020-12-09 14:15:00 | 7.151 | 287.293 | 7.676 | 279.438 | 7.916 | 281.667 | 8.294 | 277.567 | -0.848 | 890.017 | 41.528 | 32.9262
2020-12-09 14:30:00 | 7.043 | 278.867 | 7.65 | 270.926 | 7.768 | 273.7 | 7.85 | 269.567 | -0.618 | 890.125 | 41.109 | 39.99
2020-12-09 14:45:00 | 6.695 | 266.113 | 7.485 | 260.181 | 7.847 | 265.6 | 7.763 | 261.65 | -0.126 | 889.508 | 42.043 | 44.8368
2020-12-09 15:00:00 | 7.466 | 266.52 | 8.243 | 261.572 | 8.67 | 265.65 | 8.922 | 260.867 | -0.219 | 889.617 | 41.888 | 51.3534
2020-12-09 15:15:00 | 7.948 | 270.24 | 8.63 | 262.778 | 8.959 | 265.733 | 8.986 | 261.017 | -0.183 | 889.625 | 41.347 | 59.8553
2020-12-09 15:30:00 | 7.284 | 263.533 | 8.164 | 258.756 | 8.513 | 261.15 | 8.546 | 256.9 | -0.518 | 890 | 42.603 | 65.4503
2020-12-09 15:45:00 | 7.743 | 263.02 | 8.378 | 258.749 | 8.683 | 261.783 | 8.611 | 257.617 | -0.379 | 889.467 | 41.443 | 72.8622
2020-12-09 16:00:00 | 7.535 | 260.98 | 8.503 | 255.619 | 8.57 | 260.017 | 8.572 | 254.333 | -1.185 | 889.9 | 42.024 | 74.4198
2020-12-09 16:15:00 | 8.06 | 258.293 | 8.827 | 256.868 | 9.292 | 259.983 | 9.509 | 255.817 | -0.752 | 890.042 | 41.035 | 73.5984
2020-12-09 16:30:00 | 8.811 | 259.607 | 9.776 | 256.457 | 10.139 | 260.35 | 10.274 | 256.133 | -1.099 | 889.9 | 40.603 | 71.8909
2020-12-09 16:45:00 | 6.306 | 255.633 | 7.186 | 254.518 | 7.802 | 257.817 | 8.274 | 254.667 | -1.432 | 889.933 | 43.435 | 68.3387
2020-12-09 17:00:00 | 7.362 | 254.913 | 8.335 | 252.62 | 8.76 | 256.2 | 8.722 | 250.833 | -1.669 | 889.983 | 44.475 | 61.5173
2020-12-09 17:15:00 | 7.697 | 254.02 | 8.666 | 251.656 | 9.348 | 256.367 | 9.606 | 252.15 | -2.098 | 889.433 | 44.117 | 68.0083
2020-12-09 17:30:00 | 6.504 | 249.3 | 7.649 | 247.886 | 8.357 | 251.983 | 8.708 | 249.433 | -2.648 | 889.808 | 46.523 | 63.0038
2020-12-09 17:45:00 | 6.74 | 245.44 | 7.927 | 245.61 | 8.462 | 250.117 | 8.708 | 247.1 | -3.066 | 889.492 | 46.571 | 56.9505
2020-12-09 18:00:00 | 5.568 | 257.267 | 6.84 | 256.792 | 7.354 | 259.867 | 7.888 | 255.333 | -3.488 | 890.358 | 48.709 | 45.4741
2020-12-09 18:15:00 | 5.168 | 264.893 | 6.416 | 262.719 | 6.901 | 265.767 | 7.087 | 260.5 | -4.445 | 889.925 | 51.195 | 30.6254
2020-12-09 18:30:00 | 5.364 | 253.6 | 5.832 | 257.892 | 6.052 | 261.533 | 6.308 | 256 | -5.272 | 890.133 | 54.357 | 23.5439
2020-12-09 18:45:00 | 5.841 | 245.1 | 5.832 | 249.484 | 6.28 | 255.8 | 6.611 | 251.533 | -5.519 | 890.058 | 55.456 | 25.8398
2020-12-09 19:00:00 | 6.062 | 247.773 | 6.149 | 247.588 | 6.365 | 254 | 6.536 | 251.45 | -5.438 | 889.983 | 52.597 | 25.9804
2020-12-09 19:15:00 | 5.311 | 244 | 5.65 | 243.704 | 5.782 | 249.467 | 5.818 | 244.833 | -4.869 | 890.142 | 50.293 | 22.6763
2020-12-09 19:30:00 | 6.048 | 232.167 | 5.541 | 236.414 | 5.517 | 245.067 | 5.517 | 242.2 | -6.512 | 889.742 | 54.411 | 17.9915
2020-12-09 19:45:00 | 5.775 | 233.247 | 6.017 | 235.997 | 5.657 | 244.967 | 5.371 | 244.033 | -7.716 | 890.167 | 58.901 | 15.7298
2020-12-09 20:00:00 | 4.408 | 298.267 | 3.752 | 276.142 | 4.143 | 262.35 | 4.717 | 254.05 | -8.824 | 890.058 | 62.331 | 14.816
2020-12-09 20:15:00 | 4.848 | 278.933 | 4.554 | 264.442 | 4.354 | 252.433 | 4.166 | 244.667 | -10.149 | 890.092 | 67.051 | 14.5055
2020-12-09 20:30:00 | 5.259 | 261.913 | 4.601 | 245.29 | 4.591 | 243.733 | 4.377 | 231.433 | -9.987 | 889.9 | 66.955 | 13.9776
2020-12-09 20:45:00 | 4.779 | 229.92 | 5.346 | 229.451 | 5.24 | 231.3 | 5.204 | 226.233 | -9.62 | 889.9 | 65.813 | 14.9759
2020-12-09 21:00:00 | 3.091 | 260.133 | 4.832 | 238.142 | 5.81 | 240.65 | 5.634 | 236.333 | -10.137 | 889.608 | 67.093 | 21.0363
2020-12-09 21:15:00 | 2.916 | 251.273 | 4.044 | 243.295 | 5.701 | 246.683 | 6.038 | 243.1 | -8.891 | 889.9 | 63.803 | 23.8594
2020-12-09 21:30:00 | 5.447 | 233.887 | 5.839 | 241.48 | 6.17 | 249.133 | 6.057 | 244.2 | -9.349 | 889.983 | 64.896 | 21.8535
2020-12-09 21:45:00 | 1.968 | 303.38 | 3.111 | 267.373 | 4.314 | 247.333 | 5.844 | 240.1 | -9.895 | 889.483 | 62.832 | 27.4407
2020-12-09 22:00:00 | 2.91 | 296.107 | 3.386 | 273.892 | 4.202 | 262.25 | 4.583 | 252.05 | -9.212 | 889.567 | 61.653 | 31.7538
2020-12-09 22:15:00 | 3.192 | 289.36 | 3.602 | 270.165 | 4.281 | 257.267 | 5.166 | 244.483 | -10.041 | 890.008 | 64.773 | 28.4013
2020-12-09 22:30:00 | 2.98 | 309.893 | 3.578 | 266.511 | 4.529 | 255.367 | 6.58 | 241.1 | -9.985 | 889.575 | 62.427 | 34.5243
2020-12-09 22:45:00 | 3.573 | 263.12 | 6.704 | 236.917 | 8.552 | 244.1 | 8.673 | 242.967 | -10.556 | 889.825 | 64.437 | 39.0961
2020-12-09 23:00:00 | 7.824 | 234.067 | 9.531 | 237.636 | 9.823 | 246.167 | 9.856 | 244 | -8.474 | 889.967 | 59.339 | 54.4969
2020-12-09 23:15:00 | 7.738 | 230.613 | 9.565 | 234.626 | 9.857 | 243.7 | 9.795 | 242.4 | -8.468 | 890.092 | 57.547 | 71.5711
2020-12-09 23:30:00 | 7.144 | 232.033 | 8.868 | 236.45 | 9.276 | 245.7 | 9.441 | 243.983 | -9.008 | 889.917 | 58.336 | 70.1898
2020-12-09 23:45:00 | 6.229 | 235.7 | 7.831 | 237.377 | 7.936 | 246 | 8.108 | 245.4 | -8.574 | 889.917 | 58.005 | 58.1954