## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-10 00:00:00 | 7.636 | 236.68 | 8.622 | 238.937 | 9.009 | 249.433 | 9.232 | 247.4 | -8.401 | 889.692 | 56.885 | 56.7871
2020-12-10 00:15:00 | 7.388 | 234.453 | 8.863 | 237.341 | 9.297 | 244.733 | 9.317 | 242.8 | -8.247 | 890.167 | 56.043 | 57.8472
2020-12-10 00:30:00 | 6.665 | 247.4 | 7.324 | 246.282 | 7.722 | 251.8 | 8.093 | 248.1 | -7.956 | 890.108 | 52.768 | 45.6532
2020-12-10 00:45:00 | 7.1 | 254.833 | 8.494 | 250.348 | 9.135 | 253.583 | 9.289 | 248.55 | -8.924 | 890.008 | 54.117 | 35.8161
2020-12-10 01:00:00 | 6.592 | 254.113 | 7.812 | 248.652 | 8.413 | 249.75 | 8.829 | 243.567 | -8.621 | 890.033 | 52.661 | 31.3694
2020-12-10 01:15:00 | 6.29 | 239.8 | 6.76 | 235.824 | 7.511 | 244.433 | 7.819 | 242.8 | -9.174 | 889.883 | 53.611 | 29.0345
2020-12-10 01:30:00 | 5.401 | 258.493 | 5.854 | 256.563 | 6.423 | 255.133 | 7.2 | 248.667 | -9.837 | 889.95 | 56.683 | 30.4997
2020-12-10 01:45:00 | 6.441 | 251.873 | 6.74 | 253.449 | 7.155 | 256.633 | 7.126 | 251.3 | -9.745 | 890.292 | 57.723 | 29.1474
2020-12-10 02:00:00 | 6.304 | 258.993 | 6.264 | 261.16 | 6.667 | 264.7 | 6.764 | 256.433 | -8.858 | 889.942 | 55.147 | 29.1354
2020-12-10 02:15:00 | 5.285 | 258.873 | 4.798 | 262.762 | 5.279 | 266.483 | 5.48 | 258.333 | -8.05 | 890.092 | 52.971 | 27.7725
2020-12-10 02:30:00 | 4.148 | 253.213 | 4.698 | 249.722 | 4.937 | 256.033 | 4.631 | 252.283 | -8.634 | 889.808 | 52.459 | 23.0252
2020-12-10 02:45:00 | 3.87 | 241.067 | 3.581 | 247.815 | 3.444 | 254.7 | 3.381 | 257.3 | -10.61 | 890.017 | 56.459 | 16.8774
2020-12-10 03:00:00 | 4.36 | 253.767 | 4.199 | 252.178 | 4.435 | 257.333 | 4.659 | 254.117 | -10.333 | 889.933 | 58.112 | 14.7876
2020-12-10 03:15:00 | 5.212 | 251.867 | 4.69 | 254.965 | 4.877 | 263.867 | 4.921 | 263.533 | -10.233 | 889.717 | 57.189 | 16.5853
2020-12-10 03:30:00 | 4.682 | 258.66 | 4.281 | 264.685 | 4.605 | 272.233 | 4.911 | 272.2 | -8.874 | 889.758 | 54.928 | 19.6713
2020-12-10 03:45:00 | 4.231 | 291.413 | 4.12 | 287.182 | 4.562 | 290.5 | 5.107 | 286.4 | -8.488 | 889.725 | 59.056 | 23.8026
2020-12-10 04:00:00 | 4.759 | 284.6 | 4.577 | 281.723 | 5.392 | 290.433 | 6.183 | 289.367 | -7.99 | 889.517 | 57.067 | 21.3539
2020-12-10 04:15:00 | 5.135 | 275.6 | 6.436 | 282.404 | 7.602 | 287 | 8.441 | 284.667 | -8.758 | 889.925 | 58.725 | 28.4987
2020-12-10 04:30:00 | 5.403 | 249.633 | 5.999 | 264.468 | 7.057 | 272.8 | 7.98 | 270.133 | -8.941 | 889.85 | 58.629 | 41.8204
2020-12-10 04:45:00 | 6.245 | 247.133 | 7.079 | 256.157 | 7.989 | 263.4 | 8.617 | 261.233 | -9.141 | 890.292 | 60.491 | 46.1648
2020-12-10 05:00:00 | 6.998 | 246.367 | 7.766 | 252.03 | 8.564 | 259.167 | 9.266 | 257.3 | -8.791 | 889.725 | 57.579 | 56.4261
2020-12-10 05:15:00 | 8.446 | 252.967 | 9.879 | 253.206 | 10.475 | 258.183 | 10.904 | 254.75 | -8.508 | 889.85 | 55.077 | 69.158
2020-12-10 05:30:00 | 8.057 | 246.947 | 9.657 | 248.604 | 10.527 | 253.117 | 10.888 | 251.467 | -9.274 | 890.142 | 55.579 | 76.0861
2020-12-10 05:45:00 | 7.933 | 245.567 | 9.994 | 248.245 | 10.92 | 255 | 11.513 | 253.517 | -8.858 | 889.8 | 56.363 | 75.4309
2020-12-10 06:00:00 | 7.773 | 245.36 | 9.995 | 252.154 | 11.113 | 258.667 | 11.802 | 255.967 | -9.662 | 889.658 | 58.357 | 78.9702
2020-12-10 06:15:00 | 7.78 | 249.46 | 9.873 | 253.03 | 10.965 | 259.633 | 11.776 | 257.85 | -9.541 | 889.933 | 58.373 | 79.6574
2020-12-10 06:30:00 | 6.804 | 255.913 | 9.814 | 257.284 | 11.322 | 262 | 11.762 | 258.017 | -9.628 | 889.692 | 59.467 | 71.3466
2020-12-10 06:45:00 | 7.145 | 255.847 | 9.259 | 256.421 | 10.263 | 260.583 | 10.653 | 257.683 | -8.741 | 889.792 | 56.272 | 65.4105
2020-12-10 07:00:00 | 5.651 | 248.66 | 7.818 | 251.208 | 8.804 | 258.35 | 9.143 | 256.25 | -9.091 | 890.092 | 55.883 | 61.3922
2020-12-10 07:15:00 | 6.793 | 243.867 | 8.359 | 248.139 | 8.687 | 254.033 | 9.053 | 250.9 | -9.599 | 889.558 | 56.736 | 54.3633
2020-12-10 07:30:00 | 6.607 | 235.087 | 8.697 | 243.27 | 9.005 | 250.767 | 9.113 | 248.183 | -9.862 | 890.142 | 56.981 | 53.7636
2020-12-10 07:45:00 | 6.413 | 237.267 | 8.681 | 241.395 | 9.212 | 248.833 | 9.475 | 245.5 | -9.704 | 890.033 | 56.576 | 56.4034
2020-12-10 08:00:00 | 5.563 | 237.213 | 7.915 | 238.259 | 8.943 | 245.7 | 9.006 | 242.9 | -9.683 | 889.65 | 57.003 | 58.2785
2020-12-10 08:15:00 | 5.413 | 227.893 | 7.705 | 234.538 | 8.753 | 241.9 | 8.776 | 240 | -9.87 | 889.908 | 57.109 | 54.8295
2020-12-10 08:30:00 | 5.202 | 225.347 | 7.386 | 231.338 | 8.229 | 241.433 | 8.38 | 239.967 | -9.87 | 890.108 | 57.941 | 53.576
2020-12-10 08:45:00 | 5.637 | 221.513 | 7.689 | 229.061 | 8.21 | 238.9 | 8.022 | 238.367 | -10.558 | 889.817 | 60.235 | 45.369
2020-12-10 09:00:00 | 5.559 | 222.913 | 7.679 | 233.364 | 8.033 | 243.2 | 7.971 | 240.333 | -10.762 | 890.033 | 60.661 | 43.4327
2020-12-10 09:15:00 | 5.555 | 215.753 | 7.334 | 227.791 | 7.582 | 238.467 | 7.549 | 236.933 | -10.816 | 889.633 | 61.515 | 41.4566
2020-12-10 09:30:00 | 6.068 | 226.54 | 7.679 | 230.274 | 7.888 | 238.633 | 7.709 | 237.167 | -10.928 | 889.567 | 61.387 | 44.1667
2020-12-10 09:45:00 | 5.825 | 228.56 | 7.676 | 231.859 | 7.929 | 240.7 | 7.895 | 237.767 | -10.76 | 889.45 | 60.757 | 47.4182
2020-12-10 10:00:00 | 6.381 | 228.22 | 8.009 | 231.158 | 8.055 | 238.5 | 7.919 | 235.833 | -9.962 | 889.733 | 59.264 | 44.6286
2020-12-10 10:15:00 | 5.957 | 231.233 | 7.239 | 234.389 | 7.394 | 242.333 | 7.573 | 238.9 | -7.706 | 889.692 | 53.696 | 42.8465
2020-12-10 10:30:00 | 3.805 | 241.153 | 5.256 | 240.023 | 6.351 | 246.467 | 6.813 | 244.033 | -6.456 | 889.508 | 51.307 | 30.3895
2020-12-10 10:45:00 | 4.609 | 235.633 | 5.793 | 231.376 | 6.586 | 237.267 | 6.5 | 235.9 | -5.385 | 889.95 | 48.352 | 23.7422
2020-12-10 11:00:00 | 4.253 | 240.16 | 5.175 | 235.351 | 5.999 | 240.1 | 6.105 | 237.433 | -4.632 | 889.775 | 45.163 | 23.1815
2020-12-10 11:15:00 | 5.702 | 236.8 | 6.636 | 234.014 | 6.88 | 240.167 | 6.902 | 237.6 | -4.156 | 889.917 | 42.859 | 24.3
2020-12-10 11:30:00 | 5.272 | 238.3 | 5.461 | 237.228 | 5.877 | 242.5 | 6.015 | 239.933 | -3.538 | 889.617 | 41.685 | 21.7092
2020-12-10 11:45:00 | 4.831 | 244.033 | 4.932 | 242.457 | 5.074 | 245.933 | 5.327 | 240.833 | -2.902 | 889.75 | 37.312 | 15.2182
2020-12-10 12:00:00 | 4.341 | 250.133 | 4.543 | 246.797 | 4.684 | 249.95 | 4.652 | 245.717 | -2.041 | 889.9 | 36.544 | 10.9115
2020-12-10 12:15:00 | 4.143 | 247.813 | 4.219 | 245.371 | 4.276 | 250.267 | 4.393 | 246.85 | -1.376 | 889.967 | 34.821 | 10.1377
2020-12-10 12:30:00 | 6.132 | 283.347 | 6.99 | 281.156 | 7.156 | 282.6 | 7.442 | 281.933 | -2.868 | 890.017 | 32.347 | 11.0692
2020-12-10 12:45:00 | 7.472 | 296.827 | 8.26 | 289.88 | 8.406 | 292.3 | 8.913 | 290.133 | -2.971 | 889.8 | 32.853 | 21.3213
2020-12-10 13:00:00 | 6.956 | 294.507 | 7.36 | 291.157 | 7.784 | 295.567 | 8.088 | 294.367 | -3.032 | 889.6 | 33.744 | 33.8507
2020-12-10 13:15:00 | 6.758 | 298.587 | 7.156 | 294.436 | 7.282 | 298 | 7.633 | 294.333 | -2.639 | 890.083 | 34.413 | 34.0887
2020-12-10 13:30:00 | 7.268 | 294.373 | 7.694 | 290.582 | 7.852 | 294.433 | 8.011 | 292.833 | -2.781 | 889.867 | 33.605 | 32.8786
2020-12-10 13:45:00 | 5.871 | 300.573 | 6.087 | 295.523 | 6.255 | 297.233 | 6.327 | 293.033 | -2.214 | 889.733 | 34.68 | 34.0383
2020-12-10 14:00:00 | 6.755 | 287.24 | 7.172 | 282.809 | 7.39 | 288.733 | 7.635 | 286.367 | -2.296 | 889.917 | 33.701 | 31.6025
2020-12-10 14:15:00 | 7.142 | 278.2 | 7.28 | 272.341 | 7.399 | 277.067 | 7.488 | 274.533 | -2.23 | 889.9 | 33.157 | 42.2986
2020-12-10 14:30:00 | 6.993 | 279.747 | 7.635 | 271.987 | 7.628 | 275.733 | 7.672 | 271.3 | -1.78 | 890.167 | 33.973 | 43.9457
2020-12-10 14:45:00 | 7.845 | 269.76 | 8.416 | 264.384 | 8.725 | 268.333 | 8.554 | 264.583 | -1.519 | 889.75 | 34.181 | 47.7188
2020-12-10 15:00:00 | 7.867 | 275.52 | 8.431 | 271.285 | 8.66 | 272.6 | 8.685 | 269.133 | -1.519 | 889.917 | 34.915 | 50.6243
2020-12-10 15:15:00 | 6.804 | 274.72 | 6.801 | 269.502 | 7.1 | 276.2 | 7.288 | 273.233 | -1.66 | 889.933 | 35.069 | 44.9263
2020-12-10 15:30:00 | 7.156 | 287.827 | 7.685 | 283.117 | 7.912 | 285.8 | 7.856 | 282.267 | -1.742 | 889.667 | 34.888 | 41.7465
2020-12-10 15:45:00 | 7.666 | 272.773 | 8.158 | 268.253 | 8.579 | 271.633 | 8.844 | 268.8 | -1.935 | 889.583 | 35.864 | 42.3079
2020-12-10 16:00:00 | 7.878 | 287.44 | 8.439 | 283.142 | 8.656 | 286.6 | 8.871 | 285.133 | -1.974 | 889.267 | 36.829 | 46.3496
2020-12-10 16:15:00 | 7.407 | 282.587 | 8.027 | 277.761 | 8.286 | 281.233 | 8.499 | 277.667 | -1.789 | 889.85 | 37.387 | 45.9936
2020-12-10 16:30:00 | 7.318 | 272.507 | 7.707 | 265.174 | 8.108 | 269.733 | 8.237 | 266.833 | -2.296 | 889.7 | 37.467 | 43.8874
2020-12-10 16:45:00 | 6.946 | 277.04 | 7.405 | 272.628 | 7.75 | 276.7 | 7.849 | 271.1 | -2.131 | 889.417 | 37.952 | 37.4248
2020-12-10 17:00:00 | 4.72 | 262.213 | 4.913 | 259.114 | 4.99 | 262.8 | 4.977 | 257.95 | -2.76 | 889.817 | 39.325 | 25.5726
2020-12-10 17:15:00 | 3.768 | 255.587 | 4.338 | 252.086 | 4.6 | 255.6 | 4.818 | 251.133 | -2.781 | 889.775 | 41.547 | 23.5475
2020-12-10 17:30:00 | 4.819 | 250.293 | 5.659 | 249.547 | 5.894 | 254.4 | 6.278 | 248.167 | -3.01 | 889.517 | 40.925 | 30.4165
2020-12-10 17:45:00 | 5.062 | 254.4 | 6.163 | 254.741 | 6.457 | 260.617 | 6.754 | 255.033 | -3.505 | 890.117 | 42.587 | 36.3803
2020-12-10 18:00:00 | 4.16 | 268.613 | 4.829 | 265.62 | 5.274 | 269.633 | 5.676 | 262.767 | -3.843 | 889.883 | 43.707 | 27.953
2020-12-10 18:15:00 | 3.701 | 266.613 | 4.936 | 258.342 | 5.866 | 258.333 | 6.742 | 252.433 | -4.153 | 890.367 | 44.917 | 24.6304
2020-12-10 18:30:00 | 7.387 | 246.06 | 8.772 | 244.19 | 9.611 | 249.067 | 9.83 | 245.367 | -4.649 | 889.9 | 45.024 | 52.3645
2020-12-10 18:45:00 | 6.706 | 246.4 | 8.311 | 245.614 | 8.829 | 251.5 | 9.051 | 247.117 | -4.785 | 889.808 | 45.621 | 65.4261
2020-12-10 19:00:00 | 5.104 | 250.233 | 6.142 | 249.459 | 6.891 | 253.767 | 7.136 | 249.767 | -5.185 | 889.775 | 47.499 | 45.5985
2020-12-10 19:15:00 | 5.499 | 236.34 | 6.303 | 243.843 | 6.923 | 249.5 | 7.249 | 246.167 | -6.116 | 890.142 | 50.005 | 30.5863
2020-12-10 19:30:00 | 5.145 | 237.507 | 5.879 | 243.515 | 5.902 | 248.833 | 5.789 | 244.333 | -6.432 | 890.083 | 51.339 | 23.4125
2020-12-10 19:45:00 | 4.86 | 234.507 | 5.634 | 240.723 | 6.205 | 248.733 | 6.271 | 243.483 | -6.814 | 889.825 | 51.915 | 23.8239
2020-12-10 20:00:00 | 4.874 | 243.4 | 5.885 | 249.193 | 6.358 | 255.967 | 6.856 | 251.967 | -6.627 | 890.233 | 52.229 | 26.5318
2020-12-10 20:15:00 | 5.822 | 250.773 | 7.586 | 246.786 | 7.939 | 251.083 | 8.018 | 244.983 | -7.051 | 890.1 | 53.163 | 42.44
2020-12-10 20:30:00 | 6.672 | 238.8 | 8.154 | 239.752 | 8.938 | 245.333 | 9.012 | 242.5 | -6.462 | 889.9 | 49.696 | 53.478
2020-12-10 20:45:00 | 6.46 | 231.713 | 7.989 | 236.113 | 8.908 | 244.167 | 9.336 | 241.267 | -6.286 | 889.758 | 48.832 | 65.2428
2020-12-10 21:00:00 | 5.152 | 246.427 | 7.139 | 243.57 | 8.225 | 249.883 | 8.876 | 247.517 | -6.535 | 889.65 | 51.125 | 73.6644
2020-12-10 21:15:00 | 6.232 | 250.58 | 7.745 | 250.511 | 8.62 | 255.9 | 9.164 | 254.8 | -6.462 | 889.717 | 53.035 | 77.4376
2020-12-10 21:30:00 | 6.395 | 247.613 | 7.822 | 244.756 | 8.197 | 250.8 | 8.302 | 246.4 | -6.252 | 890.167 | 52.149 | 69.1481
2020-12-10 21:45:00 | 4.889 | 240.1 | 6.805 | 237.829 | 7.612 | 244.167 | 7.796 | 241.4 | -6.545 | 890.025 | 53.92 | 49.2224
2020-12-10 22:00:00 | 4.736 | 226 | 7.537 | 225.665 | 8.107 | 233.5 | 8.03 | 230.5 | -7.423 | 890.075 | 55.733 | 38.3365
2020-12-10 22:15:00 | 5.642 | 224.067 | 8.054 | 227.496 | 8.18 | 234.767 | 7.836 | 230.867 | -8.19 | 889.842 | 58.805 | 35.4928
2020-12-10 22:30:00 | 5.648 | 223.5 | 7.679 | 226.441 | 7.802 | 232.667 | 7.631 | 228.833 | -8.641 | 889.658 | 61.941 | 33.3696
2020-12-10 22:45:00 | 5.349 | 226.067 | 7.121 | 229.947 | 7.066 | 237.5 | 6.865 | 232.967 | -8.424 | 889.733 | 62.891 | 27.4705
2020-12-10 23:00:00 | 5.259 | 223.1 | 6.873 | 229.746 | 6.72 | 234.4 | 6.468 | 230.467 | -7.956 | 890.067 | 62.965 | 23.6391
2020-12-10 23:15:00 | 5.939 | 221.5 | 6.212 | 226.276 | 6.071 | 230.4 | 5.828 | 227.733 | -7.207 | 889.683 | 61.547 | 16.0254
2020-12-10 23:30:00 | 4.23 | 218.553 | 4.706 | 225.983 | 4.847 | 232.8 | 4.848 | 227.933 | -7.15 | 889.842 | 59.915 | 10.9015
2020-12-10 23:45:00 | 3.492 | 225.967 | 4.839 | 228.228 | 5.636 | 234.833 | 5.384 | 231.767 | -6.695 | 889.8 | 59.712 | 9.982