## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-11 00:00:00 | 4.778 | 226.96 | 6.128 | 234.923 | 6.431 | 242.367 | 6.451 | 240.233 | -6.641 | 889.583 | 61.6 | 16.6578
2020-12-11 00:15:00 | 5.108 | 230.367 | 6.778 | 231.969 | 7.116 | 240.167 | 7.078 | 236.433 | -6.545 | 889.875 | 61.003 | 24.1785
2020-12-11 00:30:00 | 5.542 | 227.68 | 7.165 | 231.394 | 7.555 | 238.767 | 7.574 | 235.2 | -6.204 | 889.925 | 60.021 | 32.08
2020-12-11 00:45:00 | 5.039 | 226.24 | 6.692 | 229.604 | 7.209 | 237 | 7.294 | 234.167 | -6.067 | 890.108 | 60.011 | 30.7817
2020-12-11 01:00:00 | 5.042 | 227.8 | 6.897 | 230.938 | 7.276 | 238.3 | 7.216 | 235.567 | -5.997 | 889.8 | 59.573 | 29.8715
2020-12-11 01:15:00 | 5.025 | 232.327 | 6.689 | 230.785 | 7.41 | 237.033 | 7.526 | 234.733 | -5.978 | 889.817 | 60.011 | 30.0662
2020-12-11 01:30:00 | 5.823 | 237.86 | 7.556 | 236.773 | 8.146 | 243.267 | 8.305 | 238.967 | -5.681 | 889.683 | 57.888 | 39.2751
2020-12-11 01:45:00 | 6.279 | 249.1 | 7.708 | 248.392 | 8.156 | 254.933 | 8.247 | 250.683 | -5.385 | 889.625 | 56.043 | 48.8067
2020-12-11 02:00:00 | 5.526 | 245 | 7.216 | 241.504 | 7.693 | 247.333 | 7.725 | 243.633 | -5.385 | 889.95 | 57.109 | 44.0907
2020-12-11 02:15:00 | 6.345 | 241.333 | 7.569 | 239.396 | 7.79 | 244.5 | 7.879 | 240.033 | -5.569 | 890.2 | 55.595 | 42.9395
2020-12-11 02:30:00 | 4.641 | 242.333 | 6.387 | 239.545 | 7.324 | 244.667 | 7.708 | 241.067 | -5.352 | 889.925 | 55.595 | 39.4194
2020-12-11 02:45:00 | 4.803 | 252.267 | 6.462 | 250.136 | 7.107 | 255.05 | 7.265 | 250.883 | -5.085 | 889.7 | 54.112 | 31.5783
2020-12-11 03:00:00 | 3.954 | 251.18 | 5.755 | 249.865 | 6.568 | 253.133 | 6.964 | 248.167 | -5.285 | 890.142 | 56.192 | 32.0899
2020-12-11 03:15:00 | 5.128 | 255.6 | 6.766 | 252.062 | 7.522 | 257.75 | 7.979 | 251.317 | -5.035 | 889.875 | 56.08 | 28.9847
2020-12-11 03:30:00 | 4.879 | 278.573 | 6.2 | 269.798 | 6.725 | 269.9 | 7.033 | 264.183 | -4.696 | 890.092 | 55.04 | 35.954
2020-12-11 03:45:00 | 2.706 | 306.48 | 3.639 | 286.374 | 4.019 | 285.033 | 4.438 | 277.4 | -6.05 | 889.658 | 56.779 | 27.2865
2020-12-11 04:00:00 | 2.349 | 281.267 | 3.179 | 278.712 | 3.92 | 273.233 | 4.787 | 261.733 | -6.578 | 889.625 | 59.12 | 21.8165
2020-12-11 04:15:00 | 3.444 | 292.96 | 4.644 | 283.532 | 5.134 | 278.7 | 6.199 | 271.567 | -6.8 | 889.792 | 61.696 | 23.3769
2020-12-11 04:30:00 | 5.363 | 269.06 | 6.811 | 265.293 | 7.402 | 268.5 | 7.796 | 264.3 | -5.502 | 889.808 | 63.259 | 25.8689
2020-12-11 04:45:00 | 6.837 | 267.553 | 8.343 | 263.125 | 9.114 | 265.7 | 9.44 | 261.7 | -5.319 | 889.558 | 61.52 | 31.2997
2020-12-11 05:00:00 | 8.363 | 262.033 | 9.853 | 258.321 | 10.462 | 262.533 | 10.734 | 257.95 | -4.919 | 889.55 | 59.419 | 45.3654
2020-12-11 05:15:00 | 7.259 | 269.427 | 8.733 | 265.715 | 9.446 | 268.633 | 9.824 | 262.767 | -5.069 | 889.717 | 60.096 | 53.7778
2020-12-11 05:30:00 | 8.528 | 261.7 | 9.958 | 259.893 | 10.895 | 263.233 | 11.575 | 258.55 | -4.969 | 889.85 | 60.491 | 75.0508
2020-12-11 05:45:00 | 10.824 | 258.453 | 12.485 | 254.231 | 13.45 | 256.867 | 13.793 | 251.25 | -5.135 | 889.917 | 59.344 | 86.7936
2020-12-11 06:00:00 | 11.554 | 256.007 | 13.435 | 253.172 | 14.435 | 255.9 | 14.923 | 250.7 | -5.069 | 889.525 | 59.387 | 83.5015
2020-12-11 06:15:00 | 14.03 | 251.053 | 16.027 | 248.223 | 17.052 | 252.15 | 17.351 | 246.767 | -5.435 | 889.767 | 57.259 | 80.6543
2020-12-11 06:30:00 | 13.188 | 251.36 | 15.059 | 247.451 | 16.52 | 249.783 | 17.185 | 244.433 | -5.335 | 889.858 | 57.227 | 80.596
2020-12-11 06:45:00 | 12.443 | 243.867 | 14.277 | 241.263 | 15.495 | 244.6 | 15.701 | 240.567 | -5.302 | 889.85 | 59.413 | 82.4065
2020-12-11 07:00:00 | 10.815 | 238.54 | 12.436 | 236.626 | 13.672 | 239.867 | 14.043 | 235.367 | -5.605 | 890.142 | 59.744 | 80.8092
2020-12-11 07:15:00 | 9.816 | 241.433 | 11.351 | 238.34 | 11.955 | 243.2 | 12.177 | 237.733 | -5.102 | 889.833 | 57.365 | 79.7476
2020-12-11 07:30:00 | 8.902 | 249.14 | 9.859 | 246.132 | 10.615 | 249.633 | 10.5 | 243.983 | -4.802 | 889.708 | 59.253 | 81.8374
2020-12-11 07:45:00 | 9.26 | 265.593 | 10.596 | 260.077 | 10.985 | 263.867 | 11.146 | 259.833 | -5.102 | 889.317 | 60.933 | 79.2644
2020-12-11 08:00:00 | 9.625 | 260.547 | 10.633 | 256.911 | 11.224 | 260.567 | 11.771 | 254.95 | -5.419 | 890.108 | 61.76 | 90.8779
2020-12-11 08:15:00 | 7.63 | 261.8 | 8.699 | 257.906 | 9.174 | 260.833 | 9.606 | 255.317 | -5.419 | 889.375 | 62.4 | 88.5878
2020-12-11 08:30:00 | 5.331 | 290.267 | 5.775 | 281.22 | 6.442 | 282.933 | 6.988 | 276.933 | -5.419 | 889.392 | 62.453 | 52.7738
2020-12-11 08:45:00 | 5.888 | 264.947 | 6.886 | 258.212 | 7.465 | 257.767 | 8.205 | 251.417 | -5.502 | 889.808 | 62.4 | 34.196
2020-12-11 09:00:00 | 5.718 | 261.14 | 6.694 | 254.697 | 7.409 | 255.783 | 7.632 | 247.917 | -5.119 | 889.733 | 60 | 41.2356
2020-12-11 09:15:00 | 7.393 | 249.86 | 8.537 | 247.419 | 9.596 | 251.317 | 9.652 | 244.467 | -5.035 | 889.625 | 60.651 | 48.0748
2020-12-11 09:30:00 | 10.007 | 262.833 | 11.027 | 256.834 | 11.752 | 261.25 | 11.829 | 256.1 | -4.582 | 889.908 | 61.088 | 85.4385
2020-12-11 09:45:00 | 10.691 | 255.733 | 11.922 | 253.257 | 12.678 | 256.583 | 12.836 | 252.333 | -4.166 | 889.933 | 60.117 | 88.6126
2020-12-11 10:00:00 | 11.204 | 260.453 | 12.31 | 257.947 | 12.895 | 261.767 | 13.082 | 257.95 | -4.305 | 889.308 | 60.613 | 85.398
2020-12-11 10:15:00 | 10.114 | 270.307 | 11.046 | 265.567 | 11.753 | 266.95 | 11.985 | 260.767 | -4.862 | 889.692 | 61.536 | 84.9951
2020-12-11 10:30:00 | 11.693 | 268.693 | 12.936 | 264.191 | 13.4 | 265.733 | 13.364 | 259.7 | -4.653 | 890.2 | 60.645 | 83.5598
2020-12-11 10:45:00 | 11.6 | 261.02 | 12.85 | 256.728 | 12.979 | 259.65 | 13.282 | 254.967 | -4.799 | 890.008 | 59.819 | 81.988
2020-12-11 11:00:00 | 12.249 | 260.347 | 13.435 | 256.11 | 13.832 | 258.4 | 14.314 | 254.483 | -4.547 | 890.167 | 59.909 | 86.4426
2020-12-11 11:15:00 | 12.578 | 256.407 | 13.928 | 254.203 | 14.595 | 257.433 | 14.664 | 253.817 | -4.919 | 889.608 | 60.432 | 81.1304
2020-12-11 11:30:00 | 11.816 | 258.713 | 12.984 | 255.378 | 13.702 | 259 | 13.494 | 254.4 | -4.67 | 889.658 | 60.752 | 80.7644
2020-12-11 11:45:00 | 10.998 | 257.067 | 12.155 | 253.174 | 12.806 | 257.917 | 12.862 | 254.183 | -4.49 | 890 | 60.309 | 80.4738
2020-12-11 12:00:00 | 10.948 | 260.727 | 12.417 | 257.021 | 12.683 | 259.883 | 12.768 | 255.683 | -4.463 | 890.025 | 57.643 | 80.5235
2020-12-11 12:15:00 | 12.202 | 260.58 | 13.074 | 258.13 | 13.518 | 260.317 | 13.584 | 257.95 | -4.325 | 889.65 | 55.605 | 58.9742
2020-12-11 12:30:00 | 12.848 | 260.16 | 14.082 | 255.045 | 14.628 | 257.5 | 14.474 | 252.983 | -4.424 | 889.65 | 55.589 | 55.1961
2020-12-11 12:45:00 | 13.552 | 256.647 | 14.688 | 253.123 | 14.859 | 256.033 | 15.171 | 253.183 | -4.246 | 889.75 | 55.589 | 53.8062
2020-12-11 13:00:00 | 13.324 | 261.567 | 15.113 | 256.815 | 15.724 | 259.783 | 15.719 | 255.85 | -4.401 | 890.108 | 54.971 | 48.7868
2020-12-11 13:15:00 | 13.622 | 259.56 | 15.002 | 254.547 | 15.6 | 257.267 | 15.559 | 252.783 | -4.712 | 890.083 | 56.064 | 48.6042
2020-12-11 13:30:00 | 13.678 | 259.927 | 15.188 | 256.071 | 15.367 | 261.033 | 15.1 | 255.833 | -4.487 | 889.633 | 56.811 | 51.3519
2020-12-11 13:45:00 | 12.878 | 270.06 | 14.092 | 265.348 | 14.613 | 267.817 | 14.707 | 265.3 | -4.732 | 889.567 | 57.024 | 56.2435
2020-12-11 14:00:00 | 13.827 | 268.22 | 14.876 | 263.103 | 15.042 | 266.433 | 15.172 | 261.3 | -4.985 | 890.183 | 55.664 | 53.9363
2020-12-11 14:15:00 | 12.665 | 276.667 | 14.067 | 269.463 | 14.261 | 273.7 | 14.424 | 269.067 | -4.719 | 889.65 | 54.656 | 54.3413
2020-12-11 14:30:00 | 15.075 | 271.26 | 16.681 | 266.916 | 16.679 | 270.333 | 16.926 | 265.483 | -4.835 | 890.117 | 55.28 | 57.8579
2020-12-11 14:45:00 | 15.369 | 270.267 | 17.094 | 265.044 | 17.224 | 267.7 | 17.352 | 262.9 | -4.752 | 889.625 | 55.776 | 61.3965
2020-12-11 15:00:00 | 14.592 | 270.287 | 16.084 | 265.561 | 16.719 | 269.167 | 16.846 | 266.567 | -4.902 | 890.033 | 55.707 | 62.6151
2020-12-11 15:15:00 | 13.019 | 279.467 | 14.345 | 274.353 | 14.88 | 276.467 | 15.658 | 274.033 | -5.369 | 890.1 | 55.131 | 65.0467
2020-12-11 15:30:00 | 14.082 | 279.787 | 15.621 | 273.534 | 15.896 | 275.567 | 16.116 | 271.133 | -5.614 | 890.125 | 54.763 | 65.9292
2020-12-11 15:45:00 | 13.262 | 275.12 | 14.337 | 269.884 | 15.022 | 272.467 | 15.356 | 268.6 | -5.73 | 889.775 | 55.243 | 51.9971
2020-12-11 16:00:00 | 11.53 | 275.08 | 12.697 | 268.073 | 13.188 | 270.6 | 13.714 | 268.15 | -5.879 | 889.792 | 55.909 | 57.2504
2020-12-11 16:15:00 | 10.72 | 279.027 | 12.135 | 274.407 | 12.488 | 278.833 | 12.704 | 275.4 | -6.27 | 889.817 | 56.827 | 71.8759
2020-12-11 16:30:00 | 12.073 | 288.293 | 13.568 | 282.917 | 14.129 | 285.933 | 14.84 | 283.733 | -6.65 | 889.8 | 55.787 | 63.8217
2020-12-11 16:45:00 | 11.936 | 283.867 | 13.092 | 278.315 | 13.525 | 280.533 | 13.928 | 280.167 | -7.091 | 889.608 | 55.915 | 79.587
2020-12-11 17:00:00 | 10.841 | 288.467 | 11.958 | 281.269 | 12.68 | 283.5 | 13.14 | 280.733 | -7.556 | 889.967 | 56.613 | 79.4215
2020-12-11 17:15:00 | 10.415 | 289.88 | 11.253 | 283.356 | 11.473 | 285.833 | 11.812 | 282.833 | -7.703 | 889.958 | 56.592 | 78.9923
2020-12-11 17:30:00 | 9.851 | 284.28 | 11.077 | 278.16 | 11.503 | 280.067 | 11.956 | 277.467 | -7.736 | 889.75 | 57.771 | 79.0115
2020-12-11 17:45:00 | 11.473 | 280.133 | 12.857 | 274.94 | 13.367 | 277.067 | 14.056 | 274.233 | -8.09 | 890.167 | 58.043 | 80.6401
2020-12-11 18:00:00 | 9.675 | 270.207 | 10.576 | 267.186 | 10.734 | 271.4 | 11.316 | 269 | -8.311 | 889.408 | 59.541 | 81.5063
2020-12-11 18:15:00 | 9.542 | 265.433 | 10.579 | 261.816 | 10.987 | 265.383 | 11.254 | 262.75 | -8.601 | 889.625 | 59.616 | 82.8755
2020-12-11 18:30:00 | 10.176 | 262.687 | 11.392 | 259.345 | 11.723 | 264 | 11.814 | 259.067 | -8.551 | 889.983 | 60.688 | 83.5363
2020-12-11 18:45:00 | 11.157 | 250.707 | 11.857 | 250.52 | 12.382 | 254.083 | 12.646 | 250.033 | -8.641 | 890.283 | 61.611 | 82.9985
2020-12-11 19:00:00 | 8.817 | 251.013 | 10.075 | 244.968 | 10.429 | 250.367 | 10.441 | 246.967 | -8.858 | 889.867 | 62.629 | 82.5543
2020-12-11 19:15:00 | 9.749 | 246.327 | 10.626 | 243.36 | 11.436 | 248.467 | 11.56 | 245.683 | -8.674 | 889.992 | 62.443 | 81.4572
2020-12-11 19:30:00 | 10.344 | 262.347 | 11.154 | 259.894 | 11.466 | 262.833 | 11.533 | 257.983 | -9.124 | 889.792 | 60.565 | 80.952
2020-12-11 19:45:00 | 9.728 | 274.467 | 10.628 | 267.845 | 10.955 | 272.167 | 11.319 | 266.433 | -9.041 | 890.242 | 60.56 | 72.3058
2020-12-11 20:00:00 | 8.416 | 288.773 | 9.094 | 283.046 | 9.263 | 284.633 | 9.763 | 281.533 | -9.245 | 889.542 | 63.424 | 75.0806
2020-12-11 20:15:00 | 7.94 | 280.76 | 8.958 | 273.925 | 9.132 | 277.567 | 9.408 | 273.233 | -9.787 | 889.567 | 65.173 | 71.8127
2020-12-11 20:30:00 | 7.612 | 281.173 | 8.909 | 274.625 | 9.742 | 276.933 | 10.076 | 273.3 | -9.845 | 889.917 | 67.92 | 75.5105
2020-12-11 20:45:00 | 7.573 | 285.6 | 8.371 | 280.788 | 8.565 | 282.567 | 8.857 | 278.6 | -10.366 | 890.017 | 69.829 | 68.5675
2020-12-11 21:00:00 | 7.444 | 276.467 | 8.21 | 272.53 | 8.578 | 273.767 | 8.947 | 271.6 | -10.249 | 889.867 | 67.611 | 58.545
2020-12-11 21:15:00 | 8.012 | 273.133 | 8.617 | 270.634 | 9.31 | 272.2 | 9.354 | 268.467 | -10.316 | 889.733 | 64.059 | 59.4595
2020-12-11 21:30:00 | 7.47 | 272.8 | 8.386 | 267.359 | 8.672 | 270.067 | 8.966 | 266.35 | -10.283 | 889.658 | 63.675 | 61.7212
2020-12-11 21:45:00 | 6.744 | 267.367 | 7.761 | 266.051 | 8.238 | 268.483 | 8.588 | 265.05 | -10.366 | 889.942 | 63.979 | 58.7482
2020-12-11 22:00:00 | 6.992 | 276 | 7.924 | 269.866 | 8.124 | 274.5 | 8.324 | 270.4 | -10.349 | 889.867 | 65.413 | 61.9955
2020-12-11 22:15:00 | 7.233 | 264.133 | 7.772 | 262.01 | 8.448 | 265.067 | 8.482 | 259.817 | -10.449 | 889.592 | 65.232 | 65.5881
2020-12-11 22:30:00 | 6.068 | 273.08 | 7.123 | 266.088 | 7.526 | 269.267 | 7.952 | 265.833 | -10.741 | 890.033 | 63.893 | 71.4198
2020-12-11 22:45:00 | 7.1 | 263.427 | 8.01 | 257.352 | 8.616 | 263.7 | 8.602 | 257.783 | -11.003 | 889.958 | 64.821 | 68.1959
2020-12-11 23:00:00 | 7.932 | 255.813 | 9.158 | 253.286 | 9.673 | 256.783 | 9.907 | 251.217 | -10.966 | 889.925 | 64.24 | 79.6133
2020-12-11 23:15:00 | 8.231 | 258.327 | 8.988 | 253.028 | 9.435 | 257.133 | 9.439 | 252.483 | -11.078 | 889.783 | 63.584 | 89.8647
2020-12-11 23:30:00 | 10.345 | 248.927 | 12.18 | 244.489 | 12.84 | 249.067 | 12.808 | 244.967 | -11.003 | 889.767 | 61.851 | 92.2465
2020-12-11 23:45:00 | 8.558 | 244.553 | 9.498 | 241.901 | 10.195 | 247.233 | 10.232 | 242.083 | -10.722 | 890.092 | 61.355 | 96.3237