## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-12 00:00:00 | 8.32 | 247.18 | 9.663 | 245.458 | 10.191 | 248.8 | 10.321 | 244.7 | -11.03 | 890.008 | 62.24 | 95.1932
2020-12-12 00:15:00 | 8.427 | 247.787 | 9.287 | 245.998 | 9.833 | 250.633 | 9.662 | 245.667 | -10.984 | 890.125 | 60.997 | 92.1847
2020-12-12 00:30:00 | 8.19 | 245.453 | 9.104 | 244.041 | 9.623 | 249.2 | 9.7 | 245.9 | -10.722 | 889.95 | 61.301 | 90.7259
2020-12-12 00:45:00 | 7.58 | 250.88 | 8.259 | 247.456 | 8.764 | 252.317 | 8.746 | 246.7 | -10.872 | 889.967 | 61.413 | 88.683
2020-12-12 01:00:00 | 8.104 | 247.807 | 8.654 | 245.968 | 9.194 | 251.9 | 9.282 | 245.967 | -11.222 | 890.125 | 60.533 | 84.9404
2020-12-12 01:15:00 | 8.397 | 250.293 | 9.286 | 247.508 | 9.751 | 251.667 | 9.74 | 248.033 | -11.151 | 889.925 | 59.835 | 82.1841
2020-12-12 01:30:00 | 8.363 | 248.3 | 9.262 | 247.13 | 9.682 | 250.05 | 9.768 | 247.267 | -11.174 | 889.558 | 59.579 | 85.16
2020-12-12 01:45:00 | 8.388 | 243.833 | 9.406 | 239.128 | 9.858 | 245.233 | 9.94 | 241.5 | -11.461 | 890.292 | 58.901 | 87.2576
2020-12-12 02:00:00 | 9.599 | 240.067 | 10.653 | 238.296 | 11.557 | 243.233 | 11.604 | 238.733 | -11.361 | 889.417 | 58.976 | 93.8786
2020-12-12 02:15:00 | 10.262 | 242.733 | 11.738 | 239.398 | 12.47 | 245.467 | 12.332 | 240.967 | -11.545 | 889.575 | 58.144 | 90.1659
2020-12-12 02:30:00 | 9.787 | 244.133 | 11.2 | 240.771 | 11.766 | 245.75 | 11.712 | 240.167 | -11.545 | 890.275 | 58.443 | 87.48
2020-12-12 02:45:00 | 8.556 | 252.247 | 9.496 | 247.224 | 10.164 | 250.45 | 10.199 | 244.967 | -11.953 | 889.825 | 58.613 | 89.1917
2020-12-12 03:00:00 | 7.835 | 264.867 | 9.143 | 256.757 | 9.553 | 257.983 | 9.709 | 251.083 | -11.953 | 889.867 | 58.155 | 88.1486
2020-12-12 03:15:00 | 6.621 | 274.827 | 7.476 | 265.12 | 8.238 | 265 | 8.817 | 257.367 | -12.12 | 889.9 | 56.432 | 77.2493
2020-12-12 03:30:00 | 6.623 | 268.68 | 7.481 | 261.956 | 8.308 | 263.95 | 8.5 | 255.6 | -12.224 | 890.117 | 55.136 | 69.6533
2020-12-12 03:45:00 | 6.873 | 265.267 | 8.037 | 261.147 | 8.698 | 265.783 | 9.035 | 258.267 | -12.403 | 889.625 | 53.803 | 65.1448
2020-12-12 04:00:00 | 7.539 | 262.033 | 8.884 | 257.878 | 9.443 | 265.433 | 9.906 | 262.833 | -12.453 | 890.083 | 52.368 | 50.3571
2020-12-12 04:15:00 | 7.04 | 252.98 | 8.134 | 251.29 | 8.977 | 257.367 | 8.908 | 253.383 | -11.974 | 890.158 | 50.021 | 60.4856
2020-12-12 04:30:00 | 5.207 | 276.933 | 6.403 | 272.995 | 7.205 | 276.3 | 7.634 | 271.4 | -12.586 | 890.042 | 53.659 | 46.4306
2020-12-12 04:45:00 | 7.251 | 272.393 | 8.671 | 266.309 | 9.262 | 268.533 | 9.677 | 265.65 | -12.903 | 890.217 | 52.827 | 41.5404
2020-12-12 05:00:00 | 5.56 | 264.653 | 6.682 | 261.458 | 7.379 | 265.033 | 7.599 | 259.433 | -13.178 | 889.7 | 51.941 | 41.1297
2020-12-12 05:15:00 | 5.918 | 272.813 | 6.94 | 267.124 | 7.742 | 270.1 | 8.004 | 265.433 | -13.616 | 889.817 | 51.872 | 35.7955
2020-12-12 05:30:00 | 5.575 | 272.627 | 7.078 | 267.119 | 7.942 | 270.433 | 8.099 | 266.283 | -13.466 | 889.642 | 51.851 | 36.8102
2020-12-12 05:45:00 | 5.556 | 269.4 | 6.389 | 264.121 | 7.012 | 266.633 | 7.374 | 262.75 | -13.816 | 889.817 | 52.021 | 38.1098
2020-12-12 06:00:00 | 6.167 | 264.2 | 7.556 | 259.057 | 8.182 | 263.8 | 8.4 | 260.167 | -14.266 | 890.067 | 53.051 | 38.4957
2020-12-12 06:15:00 | 5.648 | 248.027 | 6.546 | 247.815 | 7.266 | 254 | 7.567 | 247.783 | -14.262 | 889.742 | 53.931 | 39.5324
2020-12-12 06:30:00 | 5.683 | 246.133 | 6.498 | 246.533 | 6.94 | 252.7 | 7.287 | 248.183 | -15.291 | 890.058 | 55.403 | 43.1847
2020-12-12 06:45:00 | 3.78 | 255.933 | 4.98 | 251.52 | 6.347 | 254.433 | 6.547 | 249.233 | -15.191 | 889.708 | 56.315 | 41.151
2020-12-12 07:00:00 | 4.596 | 278.133 | 6.276 | 262.705 | 7.525 | 260.733 | 8.24 | 253.25 | -15.091 | 889.933 | 56.811 | 40.432
2020-12-12 07:15:00 | 5.521 | 263.62 | 6.757 | 255.672 | 7.524 | 257.983 | 7.812 | 253.15 | -15.124 | 889.408 | 57.216 | 40.9322
2020-12-12 07:30:00 | 4.895 | 262.987 | 6.246 | 254.392 | 6.86 | 257.017 | 7.09 | 252.133 | -15.158 | 890 | 57.723 | 34.7602
2020-12-12 07:45:00 | 5.899 | 247.167 | 6.386 | 244.937 | 6.959 | 251.4 | 6.894 | 248.267 | -15.424 | 889.475 | 59.349 | 28.3466
2020-12-12 08:00:00 | 4.482 | 246.58 | 6.329 | 247.233 | 6.338 | 255.7 | 6.083 | 252.75 | -15.91 | 889.925 | 59.819 | 26.4565
2020-12-12 08:15:00 | 4.049 | 221.333 | 5.321 | 234.51 | 5.598 | 246.233 | 5.166 | 246.6 | -16.931 | 889.617 | 61.728 | 18.8798
2020-12-12 08:30:00 | 5.239 | 227.32 | 5.461 | 237.888 | 5.462 | 249.933 | 5.165 | 252.233 | -17.081 | 890 | 62.741 | 17.7777
2020-12-12 08:45:00 | 4.796 | 222.3 | 4.775 | 234.468 | 4.951 | 241.7 | 4.833 | 238.333 | -16.898 | 889.692 | 61.088 | 11.7577
2020-12-12 09:00:00 | 5.023 | 225.6 | 4.761 | 238.285 | 4.923 | 248.033 | 4.815 | 246.4 | -17.531 | 889.433 | 61.824 | 9.9813
2020-12-12 09:15:00 | 4.411 | 226.373 | 4.169 | 240.933 | 4.322 | 248.6 | 4.158 | 246.167 | -17.264 | 889.783 | 59.317 | 7.6642
2020-12-12 09:30:00 | 4.596 | 220.273 | 4.395 | 236.173 | 4.666 | 243.533 | 4.369 | 241.367 | -16.55 | 889.867 | 56.608 | 5.4302
2020-12-12 09:45:00 | 4.02 | 215.167 | 3.646 | 236.297 | 3.719 | 244.6 | 3.641 | 239.6 | -15.891 | 890.025 | 55.104 | 4.1582
2020-12-12 10:00:00 | 3.599 | 209.767 | 3.785 | 223.82 | 3.716 | 236.1 | 3.438 | 233.2 | -15.641 | 889.983 | 54.592 | 2.7982
2020-12-12 10:15:00 | 3.534 | 211.727 | 4.354 | 215.998 | 4.016 | 222.8 | 3.614 | 223.2 | -14.162 | 889.958 | 51.883 | 2.7527
2020-12-12 10:30:00 | 3.165 | 215.467 | 3.369 | 222.833 | 3.252 | 227.967 | 2.808 | 223.5 | -12.87 | 889.883 | 47.488 | 1.8702
2020-12-12 10:45:00 | 2.824 | 211.467 | 2.848 | 212.792 | 2.817 | 221 | 2.769 | 218.833 | -11.411 | 889.758 | 42.923 | 0.55708
2020-12-12 11:00:00 | 3.184 | 210.34 | 3.245 | 209.916 | 3.305 | 212.733 | 3.452 | 209.3 | -10.895 | 889.817 | 39.285 | 0.26575
2020-12-12 11:15:00 | 1.4 | 202.133 | 1.585 | 191.15 | 1.756 | 200.367 | 2.24 | 198.267 | -9.808 | 889.817 | 36.555 | 0.27073
2020-12-12 11:30:00 | 1.714 | 246.193 | 1.412 | 252.044 | 1.56 | 256.95 | 1.93 | 251.633 | -9.537 | 889.683 | 35.107 | 0.33823
2020-12-12 11:45:00 | 1.506 | 320.493 | 1.741 | 303.375 | 1.91 | 302.633 | 2.254 | 294.533 | -10.872 | 889.383 | 36.976 | 0.32402
2020-12-12 12:00:00 | 2.05 | 293.933 | 1.951 | 281.671 | 2.015 | 286.267 | 2.153 | 282.533 | -10.984 | 889.95 | 37.213 | 0.28565
2020-12-12 12:15:00 | 2.711 | 299.973 | 2.583 | 295.781 | 2.606 | 299.933 | 2.809 | 298.067 | -11.003 | 889.917 | 37.128 | 0.13856
2020-12-12 12:30:00 | 2.737 | 331.693 | 2.7 | 319.661 | 3.04 | 319.367 | 3.331 | 318.533 | -10.778 | 889.7 | 37.035 | 0.17196
2020-12-12 12:45:00 | 2.866 | 297.293 | 2.822 | 296.45 | 2.978 | 308.533 | 3.235 | 303.567 | -10.685 | 889.783 | 37.165 | 0.20606
2020-12-12 13:00:00 | 2.372 | 300.48 | 2.313 | 299.383 | 2.614 | 298.967 | 2.656 | 294.933 | -10.708 | 889.633 | 36.901 | 0.16414
2020-12-12 13:15:00 | 2.551 | 210.12 | 2.659 | 316.479 | 2.627 | 329.433 | 2.857 | 322.767 | -10.197 | 889.467 | 35.691 | 0.18333
2020-12-12 13:30:00 | 2.084 | 298.387 | 2.386 | 311.416 | 2.567 | 318.133 | 2.439 | 322.867 | -10.091 | 889.717 | 36.541 | 0.22596
2020-12-12 13:45:00 | 2.28 | 312.133 | 1.986 | 303.268 | 1.913 | 306.167 | 1.841 | 311.7 | -9.912 | 889.65 | 37.52 | 0.30981
2020-12-12 14:00:00 | 1.564 | 160.432 | 1.653 | 91.793 | 2.456 | 104.334 | 2.611 | 22.534 | -9.845 | 889.933 | 38.648 | 0.31833
2020-12-12 14:15:00 | 2.963 | 19.1 | 2.525 | 36.741 | 2.536 | 73.4 | 2.406 | 150.733 | -10.349 | 889.767 | 38.467 | 0.29915
2020-12-12 14:30:00 | 2.678 | 322.867 | 2.549 | 329.369 | 2.782 | 326.567 | 2.961 | 306.5 | -10.316 | 889.317 | 38.123 | 0.32402
2020-12-12 14:45:00 | 1.876 | 140.467 | 1.862 | 230.818 | 2.158 | 162.968 | 2.303 | 278.2 | -10.266 | 889.767 | 37.84 | 0.30412
2020-12-12 15:00:00 | 2.413 | 205.733 | 2.596 | 308.627 | 2.668 | 288.4 | 2.753 | 324.833 | -10.433 | 889.783 | 37.923 | 0.27499
2020-12-12 15:15:00 | 2.538 | 34.4 | 2.37 | 66.583 | 2.567 | 39.367 | 2.79 | 17.633 | -10.266 | 889.967 | 37.229 | 0.2892
2020-12-12 15:30:00 | 2.52 | 79.225 | 2.592 | 101.879 | 2.879 | 26.5 | 2.992 | 18 | -9.899 | 889.967 | 36.589 | 0.28209
2020-12-12 15:45:00 | 1.803 | 42.158 | 1.645 | 71.239 | 1.857 | 70.2 | 2.231 | 35.468 | -9.704 | 889.3 | 35.869 | 0.30767
2020-12-12 16:00:00 | 0.479 | 10.412 | 0.543 | 14.172 | 1.414 | 9.133 | 1.996 | 24.433 | -9.662 | 889.867 | 36.187 | 0.34391
2020-12-12 16:15:00 | 0.966 | 32.904 | 1.043 | 39.788 | 1.47 | 48.467 | 2.217 | 49.7 | -9.766 | 889.85 | 36.165 | 0.53364
2020-12-12 16:30:00 | 3.714 | 67.23 | 3.586 | 59.772 | 3.641 | 59.4 | 3.924 | 55.9 | -9.958 | 889.667 | 37.936 | 2.3008
2020-12-12 16:45:00 | 3.577 | 59.5 | 3.23 | 53.894 | 3.325 | 60.033 | 3.384 | 55.167 | -10.499 | 889.667 | 40.88 | 3.0448
2020-12-12 17:00:00 | 2.941 | 71.363 | 3.14 | 65.446 | 3.294 | 70.333 | 3.5 | 67.2 | -10.522 | 889.908 | 41.867 | 1.6293
2020-12-12 17:15:00 | 3.074 | 78.1 | 3.105 | 72.866 | 3.126 | 77.767 | 3.369 | 73.767 | -10.909 | 890.142 | 42.453 | 0.75391
2020-12-12 17:30:00 | 3.035 | 75.585 | 2.984 | 71.189 | 3.108 | 76.167 | 3.258 | 74 | -10.922 | 889.917 | 43.157 | 0.42634
2020-12-12 17:45:00 | 3.064 | 71.928 | 2.976 | 72.264 | 3.099 | 79.933 | 3.25 | 79.433 | -11.328 | 889.658 | 43.957 | 0.76528
2020-12-12 18:00:00 | 2.249 | 88.633 | 1.91 | 88.348 | 1.937 | 95 | 1.861 | 88.533 | -11.411 | 889.8 | 44.683 | 0.81786
2020-12-12 18:15:00 | 2.797 | 78.133 | 3.037 | 75.835 | 3.133 | 78.933 | 3.236 | 78.133 | -11.736 | 889.608 | 45.493 | 0.48105
2020-12-12 18:30:00 | 2.682 | 73.52 | 2.895 | 70.096 | 3.094 | 73.367 | 3.308 | 73 | -11.932 | 889.667 | 46.016 | 0.28636
2020-12-12 18:45:00 | 2.448 | 73.133 | 2.516 | 71.023 | 2.699 | 78.1 | 2.966 | 75.833 | -11.89 | 889.542 | 46.197 | 0.095216
2020-12-12 19:00:00 | 1.017 | 81.18 | 1.032 | 84.267 | 0.896 | 93.533 | 1.392 | 95.067 | -12.14 | 889.825 | 46.336 | 0.21246
2020-12-12 19:15:00 | 1.097 | 95.2 | 1.756 | 96.683 | 1.897 | 106 | 2.2 | 97 | -12.47 | 890.233 | 48.331 | 0.33681
2020-12-12 19:30:00 | 0.3 | 127.1 | 0.784 | 116.032 | 2.078 | 127 | 2.706 | 113.867 | -12.386 | 890.017 | 48.672 | 0.29489
2020-12-12 19:45:00 | 1.761 | 167.4 | 2.125 | 142.36 | 2.524 | 135.4 | 2.883 | 130.033 | -12.62 | 889.917 | 49.28 | 0.20962
2020-12-12 20:00:00 | 2.092 | 169.3 | 2.001 | 134.544 | 2.256 | 133.967 | 2.629 | 128 | -12.453 | 890.15 | 48.331 | 0.21104
2020-12-12 20:15:00 | 2.625 | 195.267 | 0.977 | 143.472 | 1.097 | 127.1 | 2.539 | 127.733 | -12.72 | 890.108 | 48.363 | 0.65301
2020-12-12 20:30:00 | 3.543 | 192.287 | 2.458 | 159.177 | 2.845 | 148.933 | 3.113 | 134 | -13.503 | 889.65 | 49.771 | 0.57201
2020-12-12 20:45:00 | 3.585 | 202.18 | 2.152 | 161.404 | 2.455 | 151.733 | 3.078 | 137.4 | -13.56 | 890.292 | 49.995 | 0.2558
2020-12-12 21:00:00 | 3.469 | 202.1 | 2.126 | 159.155 | 2.507 | 149.167 | 2.974 | 137 | -14.099 | 890.058 | 50.592 | 0.14851
2020-12-12 21:15:00 | 3.148 | 202.473 | 1.757 | 157.657 | 2.12 | 145.233 | 2.662 | 133 | -13.71 | 889.717 | 50.4 | 0.17338
2020-12-12 21:30:00 | 2.976 | 208.267 | 1.616 | 159.799 | 1.925 | 147.9 | 2.413 | 128 | -14.116 | 889.775 | 50.923 | 0.29773
2020-12-12 21:45:00 | 3.227 | 218.18 | 1.197 | 179.588 | 1.119 | 155.067 | 1.591 | 133.967 | -13.831 | 889.967 | 50.88 | 0.34391
2020-12-12 22:00:00 | 3.379 | 220.993 | 0.83 | 179.658 | 0.954 | 155.133 | 1.32 | 134 | -15.033 | 889.692 | 53.227 | 0.30128
2020-12-12 22:15:00 | 4.372 | 226.133 | 1.531 | 206.341 | 0.057 | 155.1 | 1.289 | 133.9 | -15.491 | 889.708 | 51.829 | 0.29844
2020-12-12 22:30:00 | 4.12 | 222.64 | 1.83 | 209.902 | 1.333 | 182.967 | 1.506 | 134 | -16.04 | 890.075 | 53.483 | 0.30412
2020-12-12 22:45:00 | 3.139 | 222.707 | 0.847 | 197.787 | 0.43 | 163.367 | 1.438 | 124.767 | -14.724 | 889.892 | 53.131 | 0.30696
2020-12-12 23:00:00 | 3.211 | 219.233 | 0.05 | 170.544 | 0.057 | 141.8 | 1.159 | 121 | -15.174 | 890.008 | 51.392 | 0.30696
2020-12-12 23:15:00 | 1.905 | 214.7 | 0.113 | 120.995 | 1.771 | 92.133 | 2.341 | 90.667 | -15.341 | 889.317 | 51.648 | 0.32544
2020-12-12 23:30:00 | 0.485 | 220.4 | 0.037 | 89.239 | 1.495 | 81.467 | 2.606 | 81.6 | -15.024 | 889.892 | 51.04 | 0.28352
2020-12-12 23:45:00 | 0.622 | 207.4 | 0.93 | 78.733 | 2.393 | 95.933 | 3.004 | 88.167 | -15.274 | 890.2 | 51.947 | 0.10374