## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-13 00:00:00 | 0.726 | 186.767 | 1.21 | 103.214 | 2.649 | 104.867 | 3.334 | 95.867 | -15.824 | 889.95 | 52.48 | 0.079583
2020-12-13 00:15:00 | 1.478 | 208.6 | 0.133 | 99.248 | 2.199 | 100.2 | 2.8 | 96 | -16.104 | 889.775 | 52.629 | 0.27002
2020-12-13 00:30:00 | 1.909 | 210.093 | 0 | 100.053 | 1.752 | 101.4 | 2.368 | 96.8 | -16.275 | 890.4 | 52.587 | 0.31123
2020-12-13 00:45:00 | 1.462 | 209.4 | 0 | 100.281 | 1.737 | 102.4 | 2.154 | 95.933 | -15.891 | 889.892 | 51.861 | 0.32118
2020-12-13 01:00:00 | 1.808 | 204.967 | 1.223 | 125.247 | 2.09 | 109 | 2.183 | 96 | -15.891 | 889.633 | 51.499 | 0.31691
2020-12-13 01:15:00 | 1.848 | 200.267 | 1.359 | 124.247 | 1.698 | 109 | 1.872 | 96.1 | -15.791 | 890.2 | 51.221 | 0.30839
2020-12-13 01:30:00 | 1.158 | 199.247 | 1.602 | 100.333 | 1.708 | 96.833 | 2.493 | 87.433 | -15.96 | 890.15 | 51.808 | 0.31976
2020-12-13 01:45:00 | 0.991 | 182.633 | 1.446 | 100.316 | 1.989 | 96 | 2.78 | 85 | -15.891 | 890.017 | 52.608 | 0.33112
2020-12-13 02:00:00 | 0.907 | 180.373 | 1.184 | 99.222 | 2.056 | 96.033 | 2.658 | 85 | -16.147 | 889.442 | 53.675 | 0.33254
2020-12-13 02:15:00 | 2.277 | 198.54 | 1.569 | 114.364 | 2.222 | 104.1 | 2.532 | 88.267 | -16.147 | 889.8 | 52.917 | 0.34534
2020-12-13 02:30:00 | 3.2 | 209.593 | 2.131 | 146.631 | 2.496 | 128.333 | 2.668 | 107.1 | -16.488 | 890.1 | 50.304 | 0.33539
2020-12-13 02:45:00 | 3.534 | 212.433 | 2.207 | 160.135 | 2.449 | 133.833 | 2.629 | 114.067 | -15.758 | 889.808 | 47.083 | 0.3226
2020-12-13 03:00:00 | 3.514 | 213.167 | 2.166 | 175.81 | 2.445 | 141.967 | 2.604 | 113.867 | -15.998 | 889.883 | 46.805 | 0.33397
2020-12-13 03:15:00 | 3.637 | 212.387 | 2.483 | 177.285 | 2.491 | 142.733 | 2.649 | 125 | -16.339 | 890.317 | 47.424 | 0.3297
2020-12-13 03:30:00 | 3.806 | 218.48 | 2.167 | 176.513 | 2.087 | 148 | 2.334 | 134 | -16.363 | 890.258 | 47.093 | 0.32686
2020-12-13 03:45:00 | 3.976 | 219.7 | 2.102 | 180.547 | 1.889 | 149 | 2.213 | 134 | -16.531 | 889.783 | 48.149 | 0.30981
2020-12-13 04:00:00 | 3.046 | 220.68 | 1.24 | 173.546 | 1.896 | 144.767 | 2.152 | 133.433 | -16.829 | 890.208 | 50.88 | 0.31549
2020-12-13 04:15:00 | 4.319 | 224.5 | 0.293 | 167.702 | 1.415 | 137.9 | 1.921 | 133.033 | -17.798 | 889.392 | 49.088 | 0.31407
2020-12-13 04:30:00 | 3.778 | 224.093 | 1.303 | 201.133 | 1.375 | 138.067 | 1.784 | 133 | -17.131 | 889.825 | 49.781 | 0.30981
2020-12-13 04:45:00 | 4.44 | 224.367 | 1.619 | 201.069 | 1.777 | 158 | 1.808 | 134 | -18.664 | 889.908 | 50.805 | 0.31691
2020-12-13 05:00:00 | 3.876 | 223.067 | 1.322 | 195.621 | 1.666 | 158 | 1.937 | 133.733 | -16.764 | 890.567 | 48.235 | 0.31265
2020-12-13 05:15:00 | 4.191 | 221.3 | 1.254 | 195.476 | 1.599 | 158.033 | 2.035 | 133.9 | -16.714 | 889.65 | 47.552 | 0.30839
2020-12-13 05:30:00 | 4.294 | 221.667 | 1.27 | 195.466 | 1.454 | 158.033 | 1.798 | 134 | -17.364 | 890.042 | 48.341 | 0.31691
2020-12-13 05:45:00 | 3.729 | 220.24 | 0.833 | 195.51 | 1.56 | 159.367 | 1.835 | 134 | -16.784 | 890.1 | 49.461 | 0.32686
2020-12-13 06:00:00 | 4.359 | 219.627 | 1.625 | 195.526 | 1.797 | 178.067 | 2.027 | 134 | -17.031 | 889.642 | 48.576 | 0.32118
2020-12-13 06:15:00 | 5.253 | 219.84 | 1.86 | 196.19 | 2.038 | 181.167 | 2.069 | 138.667 | -17.623 | 889.95 | 48.661 | 0.33397
2020-12-13 06:30:00 | 4.626 | 218.12 | 2.628 | 204.129 | 2.452 | 194.533 | 2.523 | 166.033 | -17.548 | 890.158 | 52.203 | 0.34534
2020-12-13 06:45:00 | 4.224 | 218.84 | 1.919 | 200.038 | 1.621 | 185.867 | 2.068 | 166.067 | -17.681 | 889.9 | 49.995 | 0.35244
2020-12-13 07:00:00 | 5.056 | 214.84 | 2.244 | 207.118 | 1.602 | 187.867 | 2.068 | 166 | -20.51 | 889.9 | 53.792 | 0.33397
2020-12-13 07:15:00 | 4.493 | 212.893 | 2.255 | 202.45 | 1.625 | 184.233 | 2.295 | 165.767 | -21.218 | 889.967 | 58.421 | 0.35244
2020-12-13 07:30:00 | 4.136 | 212.933 | 1.742 | 195.551 | 2.075 | 162.067 | 2.48 | 142 | -18.564 | 889.7 | 55.936 | 0.35528
2020-12-13 07:45:00 | 4.324 | 206.6 | 2.202 | 185.495 | 2.582 | 166.2 | 2.923 | 149.067 | -19.123 | 889.658 | 52.608 | 0.31691
2020-12-13 08:00:00 | 3.937 | 210.24 | 3.285 | 184.693 | 2.476 | 172.7 | 2.648 | 149 | -19.814 | 889.792 | 54.997 | 0.31194
2020-12-13 08:15:00 | 3.619 | 208.8 | 2.93 | 163.686 | 2.42 | 148.267 | 2.568 | 140.967 | -17.564 | 889.683 | 50.944 | 0.34391
2020-12-13 08:30:00 | 3.565 | 202.68 | 2.732 | 158.344 | 2.497 | 139.3 | 2.636 | 129.067 | -17.564 | 890.108 | 49.44 | 0.36097
2020-12-13 08:45:00 | 4.095 | 206.24 | 3.018 | 165.305 | 2.67 | 137.6 | 2.899 | 127 | -17.281 | 890.233 | 47.52 | 0.34107
2020-12-13 09:00:00 | 4.353 | 210.567 | 3.624 | 174.766 | 2.59 | 158.967 | 2.849 | 136.9 | -18.656 | 889.875 | 50.72 | 0.26788
2020-12-13 09:15:00 | 3.959 | 213.833 | 2.541 | 168.069 | 2.339 | 149.2 | 2.909 | 134.1 | -17.731 | 890.383 | 47.413 | 0.34534
2020-12-13 09:30:00 | 3.35 | 205.8 | 2.311 | 159.015 | 2.636 | 145.7 | 2.814 | 137.467 | -15.904 | 889.55 | 44.331 | 0.33539
2020-12-13 09:45:00 | 4.815 | 206.44 | 3.907 | 177.276 | 2.686 | 163.033 | 2.44 | 147.2 | -17.181 | 889.717 | 44.437 | 0.22738
2020-12-13 10:00:00 | 4.252 | 202.8 | 3.22 | 155.178 | 3.221 | 149.7 | 3.435 | 138.767 | -17.848 | 889.45 | 48.981 | 0.22241
2020-12-13 10:15:00 | 3.131 | 198.64 | 3.001 | 153.1 | 3.118 | 137.1 | 3.193 | 128.5 | -16.517 | 889.7 | 50.677 | 0.15206
2020-12-13 10:30:00 | 2.499 | 198.267 | 2.395 | 152.212 | 2.582 | 133.4 | 2.74 | 120.367 | -15.258 | 890.292 | 49.515 | 0.15348
2020-12-13 10:45:00 | 1.798 | 186.967 | 2.147 | 146.3 | 2.484 | 134.8 | 2.616 | 120.1 | -13.153 | 889.75 | 47.467 | 0.27357
2020-12-13 11:00:00 | 1.444 | 166.067 | 2.148 | 133.647 | 2.571 | 128.133 | 2.871 | 124.8 | -13.153 | 889.525 | 41.728 | 0.3027
2020-12-13 11:15:00 | 1.585 | 139.95 | 1.377 | 137.712 | 1.608 | 141.833 | 2.123 | 131.567 | -12.52 | 889.65 | 36.469 | 0.28991
2020-12-13 11:30:00 | 1.875 | 129.573 | 1.626 | 127.498 | 1.942 | 134.233 | 2.293 | 133.133 | -12.461 | 889.65 | 35.248 | 0.32828
2020-12-13 11:45:00 | 1.984 | 114.18 | 2.321 | 110.637 | 2.37 | 116.7 | 2.5 | 110.767 | -12.161 | 889.533 | 35.365 | 0.33965
2020-12-13 12:00:00 | 1.934 | 112.533 | 1.894 | 98.82 | 2.112 | 103.5 | 2.405 | 99.2 | -12.078 | 889.617 | 35.413 | 0.30483
2020-12-13 12:15:00 | 2.378 | 103.877 | 2.323 | 101.465 | 2.359 | 109.667 | 2.683 | 107.167 | -11.736 | 889.783 | 35.013 | 0.19398
2020-12-13 12:30:00 | 2.815 | 99.793 | 2.599 | 96.932 | 2.722 | 101.3 | 2.994 | 89.333 | -11.686 | 890.067 | 35.035 | 0.10303
2020-12-13 12:45:00 | 3.118 | 88.133 | 3.042 | 82.747 | 3.25 | 87.9 | 3.511 | 83.667 | -11.478 | 889.55 | 34.507 | 0.38228
2020-12-13 13:00:00 | 2.715 | 95.703 | 2.566 | 86.756 | 2.841 | 93.767 | 3.18 | 84.933 | -11.305 | 889.65 | 34.091 | 1.225
2020-12-13 13:15:00 | 3.683 | 76.18 | 3.53 | 69.605 | 3.923 | 78.767 | 4.265 | 76.633 | -11.345 | 889.833 | 33.904 | 2.0294
2020-12-13 13:30:00 | 4.007 | 86.378 | 3.79 | 80.264 | 4.252 | 85.567 | 4.358 | 80.267 | -11.001 | 889.45 | 34.245 | 3.8939
2020-12-13 13:45:00 | 4.266 | 80.953 | 3.638 | 77.783 | 4.009 | 81.833 | 4.291 | 79 | -11.016 | 889.783 | 34.496 | 5.4415
2020-12-13 14:00:00 | 3.69 | 90.928 | 3.165 | 88.937 | 3.588 | 95.233 | 3.79 | 90.5 | -11.278 | 889.75 | 34.747 | 5.8316
2020-12-13 14:15:00 | 3.835 | 83.518 | 3.515 | 76.4 | 3.623 | 81.7 | 3.791 | 79.4 | -11.261 | 889.483 | 35.755 | 4.2975
2020-12-13 14:30:00 | 2.992 | 89.338 | 2.913 | 80.726 | 3.157 | 85.667 | 3.547 | 77.4 | -11.378 | 889.417 | 36.251 | 2.4081
2020-12-13 14:45:00 | 3.002 | 83.973 | 3.136 | 81.067 | 3.259 | 81.133 | 3.626 | 80.4 | -10.778 | 890.133 | 35.264 | 2.0436
2020-12-13 15:00:00 | 3.047 | 66.622 | 3.006 | 63.118 | 3.422 | 67.2 | 3.698 | 62.467 | -10.891 | 889.883 | 34.869 | 2.3506
2020-12-13 15:15:00 | 4.147 | 62.147 | 3.885 | 57.441 | 3.99 | 58.833 | 3.94 | 58.2 | -10.966 | 889.867 | 35.435 | 2.5957
2020-12-13 15:30:00 | 3.886 | 72.847 | 3.683 | 69.099 | 4.103 | 73.067 | 4.287 | 67.8 | -10.909 | 889.267 | 35.408 | 2.9616
2020-12-13 15:45:00 | 2.8 | 54.033 | 2.346 | 55.85 | 2.986 | 58.7 | 3.609 | 53.7 | -10.872 | 889.567 | 35.595 | 3.0867
2020-12-13 16:00:00 | 3.029 | 79.018 | 2.731 | 75.397 | 2.845 | 80.933 | 3.02 | 79.067 | -11.059 | 889.767 | 35.589 | 2.4628
2020-12-13 16:15:00 | 3.448 | 71.283 | 3.299 | 68.38 | 3.121 | 73.067 | 3.114 | 68.233 | -11.195 | 890.233 | 35.973 | 2.0365
2020-12-13 16:30:00 | 2.926 | 45.028 | 3.141 | 40.543 | 3.504 | 46.4 | 3.681 | 43.767 | -11.07 | 889.983 | 36.304 | 1.1298
2020-12-13 16:45:00 | 2.522 | 78.48 | 2.442 | 72.464 | 2.593 | 78.2 | 2.846 | 74.167 | -10.853 | 890 | 36.4 | 0.60682
2020-12-13 17:00:00 | 2.416 | 69.293 | 2.307 | 65.986 | 2.3 | 69.267 | 2.429 | 65.1 | -11.211 | 889.533 | 36.736 | 0.11937
2020-12-13 17:15:00 | 2.709 | 61.547 | 2.749 | 57.284 | 2.961 | 63.233 | 3.1 | 63.267 | -11.62 | 889.45 | 37.248 | 0.12435
2020-12-13 17:30:00 | 2.631 | 75.367 | 2.524 | 68.144 | 2.737 | 72.2 | 2.939 | 69.767 | -11.753 | 889.483 | 38.085 | 0.17409
2020-12-13 17:45:00 | 2.158 | 56.263 | 1.75 | 51.234 | 1.816 | 60.267 | 2.113 | 59.433 | -12.295 | 889.567 | 39.179 | 0.2956
2020-12-13 18:00:00 | 1.944 | 57.32 | 1.4 | 53.077 | 1.503 | 60.333 | 1.585 | 63.733 | -12.403 | 889.75 | 40.544 | 0.27996
2020-12-13 18:15:00 | 2.208 | 58.383 | 2.356 | 55.351 | 2.442 | 62 | 2.617 | 58.967 | -12.936 | 889.525 | 41.739 | 0.26788
2020-12-13 18:30:00 | 1.933 | 66.8 | 1.948 | 60.854 | 2.011 | 64.833 | 2.199 | 65 | -12.886 | 890.417 | 42.741 | 0.2956
2020-12-13 18:45:00 | 1.419 | 79.967 | 1.482 | 72.174 | 1.684 | 77.867 | 2.086 | 66 | -13.153 | 890.033 | 43.008 | 0.34107
2020-12-13 19:00:00 | 1.112 | 94.047 | 1.806 | 74.255 | 1.994 | 80.2 | 2.188 | 69.467 | -13.541 | 890.2 | 44.107 | 0.31265
2020-12-13 19:15:00 | 1.293 | 100.783 | 1.838 | 75.215 | 2.092 | 82.033 | 2.299 | 74.267 | -13.672 | 889.708 | 45.248 | 0.3297
2020-12-13 19:30:00 | 1.47 | 141.533 | 1.954 | 88.705 | 2.226 | 96.2 | 2.443 | 92.333 | -13.833 | 889.85 | 45.376 | 0.3297
2020-12-13 19:45:00 | 1.185 | 149.547 | 1.567 | 97.133 | 1.836 | 99.967 | 1.983 | 95.967 | -13.931 | 889.308 | 46.24 | 0.31265
2020-12-13 20:00:00 | 1.451 | 176.54 | 1.104 | 100.117 | 1.684 | 100.533 | 1.867 | 95.933 | -14.158 | 889.392 | 46.944 | 0.31833
2020-12-13 20:15:00 | 1.666 | 188.427 | 0.223 | 106.224 | 1.62 | 103 | 1.741 | 96 | -15.025 | 890.05 | 48 | 0.32544
2020-12-13 20:30:00 | 1.861 | 189.467 | 0 | 106.241 | 1.096 | 103.033 | 1.456 | 95.8 | -14.787 | 889.817 | 48.757 | 0.31691
2020-12-13 20:45:00 | 1.676 | 194.253 | 0 | 106.269 | 1.045 | 103.033 | 1.409 | 96 | -14.858 | 890.025 | 49.131 | 0.31691
2020-12-13 21:00:00 | 2.17 | 208 | 0.033 | 106.28 | 1.071 | 103.1 | 1.358 | 96 | -14.958 | 889.867 | 49.045 | 0.31833
2020-12-13 21:15:00 | 2.95 | 216.5 | 0.057 | 148.526 | 0 | 103 | 1.303 | 95.8 | -15.241 | 889.633 | 49.109 | 0.30981
2020-12-13 21:30:00 | 2.388 | 220.967 | 0 | 151.128 | 0 | 103 | 0.268 | 96 | -15.291 | 889.142 | 49.365 | 0.30696
2020-12-13 21:45:00 | 3.967 | 226.7 | 1.203 | 208.108 | 0 | 103 | 0.037 | 96 | -16.558 | 889.942 | 48.096 | 0.31123
2020-12-13 22:00:00 | 3.489 | 219.567 | 1.867 | 216.094 | 1.537 | 211.067 | 1.458 | 150.233 | -15.874 | 889.833 | 50.987 | 0.30839
2020-12-13 22:15:00 | 3.596 | 221.633 | 0.353 | 217.56 | 0.816 | 205.967 | 1.207 | 175 | -15.124 | 889.683 | 49.109 | 0.31265
2020-12-13 22:30:00 | 2.282 | 220.4 | 0 | 217.516 | 0 | 206 | 0.982 | 175.033 | -15.341 | 889.958 | 49.472 | 0.31265
2020-12-13 22:45:00 | 2.458 | 222.333 | 0 | 217.525 | 0 | 206.133 | 0 | 174.9 | -15.358 | 890.075 | 48.992 | 0.30839
2020-12-13 23:00:00 | 1.805 | 219.767 | 0 | 217.532 | 0 | 206 | 0 | 174.9 | -15.491 | 889.942 | 49.525 | 0.30839
2020-12-13 23:15:00 | 1.124 | 230.767 | 0 | 217.451 | 0 | 205.833 | 1.001 | 175 | -15.308 | 889.692 | 50.016 | 0.31265
2020-12-13 23:30:00 | 2.99 | 224.567 | 0 | 217.397 | 1.273 | 263.467 | 1.453 | 175.433 | -15.791 | 890.317 | 50.411 | 0.30981
2020-12-13 23:45:00 | 3.487 | 218.3 | 2.06 | 209.692 | 1.133 | 230.333 | 1.453 | 175.083 | -15.391 | 889.992 | 50.219 | 0.3226