## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-14 00:00:00 | 3.692 | 220 | 2.19 | 214.452 | 1.68 | 223.1 | 1.34 | 175 | -15.591 | 889.808 | 49.984 | 0.3226
2020-12-14 00:15:00 | 5.659 | 218.793 | 2.752 | 204.48 | 1.594 | 207.167 | 1.603 | 175 | -17.181 | 889.925 | 50.539 | 0.32828
2020-12-14 00:30:00 | 4.669 | 220.293 | 2.209 | 216.083 | 2.174 | 219 | 2.1 | 190.733 | -18.364 | 889.992 | 56.971 | 0.33965
2020-12-14 00:45:00 | 5.754 | 223.507 | 3.54 | 223.437 | 3.098 | 230.633 | 2.724 | 223 | -18.185 | 889.758 | 56.085 | 0.32118
2020-12-14 01:00:00 | 6.253 | 231.667 | 4.331 | 230.196 | 4.09 | 239.6 | 3.92 | 230.733 | -19.323 | 889.792 | 60.213 | 0.2153
2020-12-14 01:15:00 | 5.454 | 230.233 | 3.372 | 251.304 | 3.392 | 263.733 | 2.966 | 252.35 | -18.014 | 889.25 | 58.741 | 0.071767
2020-12-14 01:30:00 | 5.441 | 228.1 | 3.532 | 264.722 | 2.862 | 288 | 2.719 | 267.2 | -19.106 | 889.808 | 59.2 | 0.15419
2020-12-14 01:45:00 | 5.61 | 226.833 | 3.276 | 260.473 | 2.29 | 286.533 | 2.082 | 267.933 | -19.306 | 889.883 | 60.08 | 0.18333
2020-12-14 02:00:00 | 5.383 | 234.7 | 3.264 | 262.198 | 2.337 | 282.267 | 2 | 268.067 | -19.006 | 890.067 | 60.048 | 0.26078
2020-12-14 02:15:00 | 5.834 | 233.74 | 3.318 | 252.311 | 2.438 | 264 | 1.956 | 267.267 | -18.564 | 889.65 | 57.909 | 0.35528
2020-12-14 02:30:00 | 5.4 | 241.933 | 3.639 | 264.298 | 2.934 | 275.533 | 2.334 | 268.233 | -19.289 | 889.925 | 59.925 | 0.27925
2020-12-14 02:45:00 | 5.896 | 233.94 | 4.103 | 253.774 | 3.483 | 260.067 | 2.902 | 265.467 | -18.885 | 889.95 | 57.6 | 0.076741
2020-12-14 03:00:00 | 5.936 | 230.3 | 4.042 | 246.756 | 3.323 | 254.8 | 2.74 | 264.467 | -19.864 | 890.175 | 60.885 | 0.10587
2020-12-14 03:15:00 | 6.025 | 230.633 | 3.652 | 238.372 | 3.013 | 248 | 2.562 | 264.067 | -19.556 | 889.95 | 61.131 | 0.14851
2020-12-14 03:30:00 | 6.153 | 229.887 | 3.523 | 247.447 | 2.799 | 256.733 | 2.326 | 264.767 | -20.114 | 889.917 | 61.92 | 0.34107
2020-12-14 03:45:00 | 6.3 | 230.533 | 4.163 | 248.235 | 3.193 | 257.067 | 2.626 | 264.467 | -19.76 | 889.608 | 62.773 | 0.11937
2020-12-14 04:00:00 | 5.001 | 236.973 | 3.612 | 249.874 | 3.05 | 258.633 | 2.625 | 262.833 | -19.018 | 889.858 | 63.349 | 0.17551
2020-12-14 04:15:00 | 4.757 | 236.1 | 3.115 | 254.206 | 2.386 | 263.867 | 2.294 | 262.333 | -18.889 | 890.142 | 62.427 | 0.12293
2020-12-14 04:30:00 | 5.722 | 229.433 | 3.351 | 254.306 | 2.751 | 267.067 | 2.36 | 261.967 | -18.989 | 890.042 | 60.8 | 0.18617
2020-12-14 04:45:00 | 5.7 | 235.533 | 3.938 | 245.578 | 3.252 | 255.4 | 2.76 | 258.433 | -19.256 | 890.292 | 64.917 | 0.14638
2020-12-14 05:00:00 | 4.982 | 237.067 | 3.598 | 250.548 | 3.197 | 257.7 | 2.884 | 258.267 | -19.006 | 889.975 | 63.099 | 0.39508
2020-12-14 05:15:00 | 4.552 | 234.447 | 3.526 | 241.272 | 3.352 | 247.733 | 3.041 | 248.083 | -17.448 | 889.983 | 61.493 | 0.22454
2020-12-14 05:30:00 | 5.83 | 230.673 | 4.365 | 244.212 | 3.871 | 249.567 | 3.608 | 247 | -19.523 | 889.642 | 62.133 | 0.23236
2020-12-14 05:45:00 | 5.586 | 243.7 | 4.765 | 253.7 | 4.041 | 258.667 | 3.941 | 249.917 | -19.306 | 890.058 | 65.381 | 1.5
2020-12-14 06:00:00 | 5.426 | 243.567 | 4.829 | 262.804 | 4.362 | 270.133 | 4.258 | 263.333 | -19.023 | 889.817 | 63.824 | 2.2809
2020-12-14 06:15:00 | 6.484 | 231.387 | 4.975 | 257.255 | 4.257 | 271.2 | 4.051 | 266.2 | -19.906 | 890.408 | 63.275 | 3.1279
2020-12-14 06:30:00 | 6.107 | 231.167 | 4.547 | 248.176 | 3.902 | 258.4 | 3.461 | 265.067 | -19.656 | 889.992 | 64.331 | 3.7731
2020-12-14 06:45:00 | 6.492 | 221.38 | 4.189 | 240.3 | 3.637 | 252.333 | 3.157 | 263.867 | -19.823 | 890.358 | 62.891 | 3.1087
2020-12-14 07:00:00 | 5.688 | 229.54 | 4.333 | 241.55 | 3.68 | 250.4 | 3.251 | 258 | -19.739 | 889.85 | 63.392 | 2.5317
2020-12-14 07:15:00 | 5.598 | 235.22 | 4.095 | 245.516 | 3.959 | 254.833 | 3.681 | 255.033 | -19.906 | 890.033 | 63.2 | 2.2205
2020-12-14 07:30:00 | 5.231 | 234.613 | 4.026 | 250.588 | 4.05 | 258.733 | 3.839 | 259.267 | -19.806 | 889.7 | 61.979 | 2.7577
2020-12-14 07:45:00 | 5.53 | 233.113 | 4.108 | 255.758 | 3.801 | 267.933 | 3.907 | 275.267 | -19.927 | 889.908 | 62.304 | 2.9631
2020-12-14 08:00:00 | 4.915 | 234.4 | 3.238 | 260.099 | 3.126 | 272.933 | 3.139 | 275.167 | -19.173 | 889.95 | 60.405 | 1.7906
2020-12-14 08:15:00 | 5.545 | 223.033 | 3.118 | 239.652 | 2.675 | 261.2 | 2.562 | 274.5 | -19.406 | 889.858 | 57.387 | 0.56277
2020-12-14 08:30:00 | 5.477 | 227.267 | 3.215 | 244.808 | 2.956 | 258.533 | 2.893 | 259.7 | -19.489 | 890.017 | 56.352 | 0.24515
2020-12-14 08:45:00 | 5.544 | 230.18 | 3.441 | 246.462 | 2.973 | 262.867 | 3.019 | 260.3 | -19.718 | 890 | 58.432 | 0.95571
2020-12-14 09:00:00 | 5.618 | 226.967 | 3.617 | 245.756 | 3.191 | 260.933 | 3.365 | 270.1 | -19.864 | 889.633 | 58.229 | 1.2932
2020-12-14 09:15:00 | 5.296 | 229.567 | 3.718 | 245.508 | 3.49 | 257.8 | 3.218 | 261.4 | -19.306 | 889.608 | 57.189 | 1.3188
2020-12-14 09:30:00 | 4.972 | 233.933 | 3.395 | 245.806 | 3.143 | 255.8 | 3.108 | 259.267 | -17.731 | 890.05 | 53.152 | 0.96779
2020-12-14 09:45:00 | 5.095 | 231.84 | 3.118 | 263.127 | 2.84 | 274.733 | 3.008 | 284.8 | -17.431 | 889.692 | 52.032 | 0.39508
2020-12-14 10:00:00 | 5.598 | 225.893 | 3.407 | 257.255 | 3.082 | 266.4 | 2.922 | 274.5 | -17.464 | 889.608 | 54.363 | 0.084557
2020-12-14 10:15:00 | 5.367 | 219.533 | 3.37 | 248.803 | 2.934 | 259.933 | 2.762 | 268.767 | -15.858 | 890.125 | 54.912 | 0.088821
2020-12-14 10:30:00 | 4.242 | 216.207 | 3.2 | 234.091 | 3.152 | 257.933 | 2.918 | 259.8 | -14.274 | 889.875 | 51.531 | 0.10872
2020-12-14 10:45:00 | 3.631 | 211.573 | 3.051 | 218.439 | 2.674 | 251.467 | 2.697 | 257.867 | -13.334 | 889.6 | 49.12 | 0.28209
2020-12-14 11:00:00 | 2.766 | 211.9 | 3.393 | 212.774 | 2.285 | 226.5 | 2.012 | 256.667 | -12.132 | 889.683 | 44.821 | 0.28849
2020-12-14 11:15:00 | 2.775 | 215.8 | 2.46 | 215.108 | 2.184 | 224.7 | 2.178 | 225.733 | -10.797 | 889.608 | 41.435 | 0.15561
2020-12-14 11:30:00 | 0.975 | 239.513 | 0.354 | 226.449 | 0.493 | 244.1 | 0.588 | 225.9 | -8.551 | 889.533 | 32.043 | 0.34107
2020-12-14 11:45:00 | 0.579 | 306.8 | 0.117 | 304.154 | 0.373 | 279.067 | 0.49 | 226.5 | -8.824 | 890 | 22.363 | 0.31833
2020-12-14 12:00:00 | 1.016 | 299.733 | 0.751 | 280.068 | 1.455 | 291.267 | 1.957 | 283.2 | -8.724 | 889.467 | 21.411 | 0.29915
2020-12-14 12:15:00 | 2.464 | 328.933 | 2.51 | 321.891 | 2.482 | 326.567 | 2.582 | 318.867 | -9.124 | 889.533 | 19.997 | 0.16769
2020-12-14 12:30:00 | 1.806 | 243.988 | 1.858 | 326.272 | 2.108 | 296.367 | 2.329 | 271.4 | -8.824 | 889.467 | 19.524 | 0.11156
2020-12-14 12:45:00 | 2.936 | 299.4 | 2.752 | 295.798 | 2.959 | 299.367 | 3.311 | 299.533 | -9.058 | 889.433 | 19.453 | 0.20393
2020-12-14 13:00:00 | 3.856 | 313.333 | 3.912 | 312.804 | 4.11 | 318.433 | 4.176 | 317.233 | -8.741 | 889.3 | 19.545 | 1.1469
2020-12-14 13:15:00 | 3.785 | 308.373 | 3.796 | 312.391 | 4.008 | 309.667 | 4.222 | 305.8 | -8.891 | 889.6 | 20.407 | 2.7591
2020-12-14 13:30:00 | 4.286 | 338.533 | 4.137 | 329.469 | 4.404 | 334.633 | 4.527 | 330.533 | -8.841 | 889.75 | 21.744 | 3.6374
2020-12-14 13:45:00 | 3.65 | 324.667 | 3.521 | 317.991 | 3.765 | 321 | 4.146 | 320.367 | -8.691 | 889.267 | 21.867 | 3.3027
2020-12-14 14:00:00 | 3.539 | 316.827 | 3.569 | 306.018 | 3.665 | 311.167 | 3.905 | 311.033 | -8.368 | 889.733 | 22.296 | 2.7527
2020-12-14 14:15:00 | 3.969 | 310.707 | 3.861 | 301.194 | 4.515 | 297.567 | 4.904 | 295.633 | -8.23 | 889.633 | 21.813 | 3.1762
2020-12-14 14:30:00 | 4.78 | 305.88 | 4.933 | 300.714 | 5.06 | 302.2 | 5.094 | 302.5 | -7.92 | 889.633 | 21.547 | 5.1559
2020-12-14 14:45:00 | 4.862 | 301.6 | 4.987 | 299.343 | 5.002 | 303.667 | 5.171 | 301.833 | -7.589 | 889.7 | 20.896 | 8.4714
2020-12-14 15:00:00 | 4.82 | 314.907 | 4.871 | 307.787 | 5.197 | 309.9 | 5.442 | 306.6 | -7.712 | 889.783 | 21.037 | 9.1521
2020-12-14 15:15:00 | 4.411 | 309.933 | 4.337 | 303.473 | 4.701 | 305.367 | 5 | 301.8 | -7.772 | 889.133 | 20.049 | 10.0538
2020-12-14 15:30:00 | 4.548 | 311.6 | 4.725 | 304.717 | 4.816 | 308.8 | 5.13 | 307.133 | -7.722 | 889.333 | 19.845 | 9.3695
2020-12-14 15:45:00 | 4.748 | 315.733 | 4.786 | 310.077 | 5.2 | 311 | 5.539 | 308.2 | -7.789 | 889.267 | 19.392 | 9.2004
2020-12-14 16:00:00 | 4.184 | 316.933 | 4.373 | 313.341 | 4.764 | 316.133 | 5.067 | 314.567 | -7.522 | 889.767 | 20.104 | 8.6817
2020-12-14 16:15:00 | 4.433 | 320.8 | 4.406 | 310.29 | 4.662 | 315.4 | 4.941 | 313.933 | -7.706 | 889.7 | 19.771 | 10.2648
2020-12-14 16:30:00 | 4.683 | 309.133 | 4.671 | 305.244 | 5.121 | 309.9 | 5.416 | 308.6 | -7.722 | 889.533 | 19.876 | 11.9105
2020-12-14 16:45:00 | 4.698 | 310.093 | 4.702 | 306.415 | 5.083 | 311.333 | 5.368 | 309.533 | -7.799 | 889.067 | 19.716 | 11.8224
2020-12-14 17:00:00 | 4.768 | 314.013 | 4.75 | 310.479 | 5.204 | 315.833 | 5.526 | 314 | -8.12 | 889.267 | 19.516 | 12.0036
2020-12-14 17:15:00 | 3.514 | 333.867 | 3.357 | 324.357 | 3.59 | 327.867 | 3.984 | 323.667 | -8.09 | 889.867 | 22.195 | 11.293
2020-12-14 17:30:00 | 3.1 | 351.2 | 3.181 | 342.502 | 3.403 | 345.567 | 3.428 | 344.6 | -8.891 | 889.883 | 27.469 | 6.2366
2020-12-14 17:45:00 | 1.98 | 345.2 | 2.014 | 332.628 | 2.502 | 332.967 | 2.791 | 326.267 | -9.241 | 889.583 | 30.328 | 1.4517
2020-12-14 18:00:00 | 1.301 | 338.413 | 1.284 | 329.023 | 1.986 | 321.8 | 2.836 | 318.9 | -9.624 | 889.767 | 32.136 | 0.22383
2020-12-14 18:15:00 | 1.206 | 328.267 | 1.797 | 316.502 | 2.45 | 315.833 | 3.176 | 313.2 | -9.874 | 889.767 | 32.891 | 0.28707
2020-12-14 18:30:00 | 1.14 | 320.053 | 1.375 | 315.741 | 1.982 | 319.267 | 2.796 | 311.5 | -10.091 | 889.967 | 34.227 | 0.26362
2020-12-14 18:45:00 | 0.452 | 320.627 | 0.527 | 338.948 | 1.253 | 333.667 | 2.399 | 309.667 | -10.76 | 889.917 | 34.917 | 0.30696
2020-12-14 19:00:00 | 0.339 | 320.96 | 0 | 338.464 | 1.695 | 306.867 | 2.74 | 309 | -10.999 | 889.817 | 35.979 | 0.3027
2020-12-14 19:15:00 | 0.326 | 313.147 | 0 | 336.858 | 0.803 | 306.967 | 1.802 | 309 | -11.436 | 890.083 | 35.867 | 0.30412
2020-12-14 19:30:00 | 2.391 | 247.633 | 0.81 | 290.286 | 1.297 | 304.733 | 2.108 | 303.033 | -11.753 | 890 | 35.827 | 0.30981
2020-12-14 19:45:00 | 2.24 | 215 | 0.56 | 224.425 | 0.074 | 300.967 | 0.984 | 290.967 | -11.545 | 890.033 | 33.136 | 0.30128
2020-12-14 20:00:00 | 1.928 | 217.72 | 1.03 | 224.525 | 0.659 | 230 | 1.195 | 287.8 | -11.053 | 889.9 | 31.691 | 0.3027
2020-12-14 20:15:00 | 2.086 | 230.7 | 1.102 | 235.46 | 1.441 | 247 | 1.929 | 270.067 | -11.345 | 889.183 | 30.181 | 0.31123
2020-12-14 20:30:00 | 3.022 | 222.867 | 0.888 | 248.296 | 1.424 | 246.933 | 1.953 | 270.133 | -11.411 | 889.45 | 30.187 | 0.30554
2020-12-14 20:45:00 | 4.895 | 221.987 | 2.01 | 226.568 | 1.843 | 241.467 | 2.103 | 252.367 | -12.12 | 889.833 | 38.571 | 0.30412
2020-12-14 21:00:00 | 5.505 | 226.567 | 2.968 | 220.11 | 2.329 | 221.933 | 2.33 | 221 | -13.772 | 890.042 | 42.8 | 0.31549
2020-12-14 21:15:00 | 5.713 | 229.033 | 3.298 | 231.793 | 2.585 | 230.4 | 2.222 | 221.2 | -14.116 | 889.608 | 46.432 | 0.27357
2020-12-14 21:30:00 | 5.553 | 228.693 | 4.446 | 239.12 | 3.636 | 243.267 | 2.732 | 230.733 | -14.745 | 889.483 | 49.141 | 0.19327
2020-12-14 21:45:00 | 6.281 | 221.113 | 4.374 | 234.683 | 2.973 | 243.8 | 1.999 | 233 | -14.662 | 889.667 | 50.187 | 0.13074
2020-12-14 22:00:00 | 6.041 | 226.947 | 4.191 | 235.383 | 3.209 | 243.433 | 2.073 | 233.067 | -14.662 | 890.225 | 50.827 | 0.18475
2020-12-14 22:15:00 | 5.732 | 224.567 | 4.377 | 233.621 | 3.377 | 238.3 | 2.38 | 233 | -15.141 | 889.658 | 51.861 | 0.29346
2020-12-14 22:30:00 | 5.652 | 225.867 | 4.733 | 236.953 | 3.753 | 246.467 | 2.919 | 240.167 | -15.241 | 890.375 | 52.448 | 0.66367
2020-12-14 22:45:00 | 5.782 | 228.267 | 4.664 | 238.225 | 4.013 | 245.3 | 3.38 | 241.067 | -15.074 | 889.983 | 52.843 | 1.8624
2020-12-14 23:00:00 | 6.049 | 230.433 | 4.354 | 245.361 | 3.669 | 251.7 | 3.207 | 251.033 | -15.224 | 889.908 | 52.853 | 1.8418
2020-12-14 23:15:00 | 5.932 | 229.473 | 4.9 | 247.678 | 4.118 | 254.433 | 3.698 | 249.55 | -14.62 | 889.492 | 51.339 | 2.5971
2020-12-14 23:30:00 | 4.47 | 238.7 | 4.154 | 262.533 | 3.742 | 270.467 | 3.618 | 269.767 | -14.787 | 889.442 | 51.152 | 3.2665
2020-12-14 23:45:00 | 4.012 | 232.32 | 3.363 | 265.506 | 2.853 | 276.4 | 2.951 | 282 | -14.495 | 890.167 | 50.629 | 1.0069