## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-15 00:00:00 | 6.088 | 224.633 | 3.719 | 250.601 | 2.79 | 274.733 | 2.656 | 281.467 | -14.287 | 889.517 | 49.739 | 0.48461
2020-12-15 00:15:00 | 6.001 | 218.893 | 3.605 | 227.607 | 2.564 | 237.967 | 1.877 | 243.5 | -14.537 | 889.717 | 49.109 | 0.15988
2020-12-15 00:30:00 | 6.107 | 220.367 | 4.229 | 227.518 | 3.843 | 232.867 | 3.339 | 224.2 | -15.308 | 889.725 | 49.024 | 0.32118
2020-12-15 00:45:00 | 5.685 | 224.353 | 3.81 | 224.821 | 3.502 | 228.2 | 3.22 | 223.3 | -14.891 | 889.975 | 46.795 | 1.2158
2020-12-15 01:00:00 | 6.891 | 219.093 | 5.037 | 219.453 | 4.17 | 222.8 | 3.643 | 216.2 | -14.708 | 890 | 42.581 | 0.79086
2020-12-15 01:15:00 | 6.862 | 218.833 | 5.43 | 218.747 | 4.361 | 221.133 | 3.626 | 216.533 | -15.274 | 889.758 | 42.933 | 2.887
2020-12-15 01:30:00 | 6.631 | 220.333 | 5.574 | 223.17 | 4.754 | 226.533 | 4.147 | 221.133 | -15.524 | 890.2 | 43.424 | 4.0893
2020-12-15 01:45:00 | 6.651 | 216.633 | 4.999 | 223.46 | 4.231 | 229.667 | 3.625 | 226 | -15.391 | 889.658 | 44.352 | 5.1324
2020-12-15 02:00:00 | 6.201 | 221.067 | 4.393 | 228.105 | 3.95 | 234.367 | 3.526 | 231.1 | -15.674 | 889.983 | 46.613 | 4.031
2020-12-15 02:15:00 | 6.35 | 221.067 | 4.738 | 228.624 | 3.995 | 235.067 | 3.459 | 233.6 | -15.741 | 890.15 | 47.744 | 2.9396
2020-12-15 02:30:00 | 6.282 | 222.233 | 5.269 | 226.889 | 4.68 | 236.233 | 4.252 | 234.567 | -15.741 | 889.717 | 49.643 | 4.8965
2020-12-15 02:45:00 | 6.525 | 218.1 | 5.305 | 222.083 | 4.737 | 227.433 | 4.315 | 225.6 | -15.658 | 890.042 | 50.944 | 6.5649
2020-12-15 03:00:00 | 6.962 | 215.233 | 6.457 | 213.27 | 5.554 | 214.7 | 4.607 | 212.167 | -15.274 | 889.925 | 51.552 | 6.712
2020-12-15 03:15:00 | 6.67 | 219.933 | 5.918 | 218.374 | 5.343 | 221.2 | 4.717 | 216.667 | -15.158 | 889.75 | 51.744 | 6.8762
2020-12-15 03:30:00 | 6.179 | 221.233 | 5.52 | 224.578 | 4.749 | 229.5 | 4.287 | 226 | -15.208 | 890.033 | 52.651 | 5.5971
2020-12-15 03:45:00 | 7.004 | 218.427 | 5.385 | 221.448 | 4.508 | 229.9 | 4.207 | 230.167 | -14.433 | 890.017 | 53.045 | 4.3508
2020-12-15 04:00:00 | 6.653 | 219.867 | 6.167 | 221.86 | 5.617 | 229.833 | 4.92 | 229.6 | -15.091 | 889.583 | 54.336 | 6.6758
2020-12-15 04:15:00 | 6.404 | 220.933 | 6.018 | 222.962 | 5.147 | 230.067 | 4.491 | 229.367 | -14.787 | 889.833 | 55.051 | 7.5988
2020-12-15 04:30:00 | 6.67 | 218.2 | 5.864 | 221.696 | 4.876 | 227.667 | 4.416 | 226.033 | -14.891 | 890.4 | 55.424 | 8.0834
2020-12-15 04:45:00 | 6.448 | 218.56 | 6.22 | 223.595 | 5.262 | 231.533 | 4.669 | 228.933 | -14.745 | 890.308 | 55.221 | 7.9726
2020-12-15 05:00:00 | 6.12 | 217.767 | 6.802 | 221.394 | 5.696 | 230.133 | 5.165 | 228.8 | -15.124 | 890.2 | 56.416 | 9.9259
2020-12-15 05:15:00 | 5.792 | 215.967 | 7.179 | 216.863 | 6.331 | 223.9 | 5.531 | 221.933 | -15.058 | 889.9 | 57.269 | 12.8513
2020-12-15 05:30:00 | 5.379 | 220.833 | 6.567 | 222.782 | 5.452 | 231.567 | 5.101 | 230.133 | -15.174 | 889.808 | 57.771 | 12.6701
2020-12-15 05:45:00 | 4.421 | 222.133 | 7.073 | 221.39 | 5.856 | 232.1 | 5.333 | 231.333 | -15.541 | 890.025 | 57.973 | 11.2447
2020-12-15 06:00:00 | 4.653 | 225.567 | 6.818 | 225.511 | 5.781 | 233.733 | 5.286 | 232 | -15.641 | 890.05 | 59.797 | 11.4884
2020-12-15 06:15:00 | 5.625 | 227.733 | 6.108 | 229.331 | 5.569 | 238.433 | 5.072 | 237.833 | -15.608 | 889.883 | 59.957 | 10.9036
2020-12-15 06:30:00 | 5.354 | 228.867 | 5.908 | 231.886 | 5.396 | 240.2 | 5.05 | 239.367 | -15.374 | 889.975 | 60.267 | 10.2478
2020-12-15 06:45:00 | 4.994 | 227.913 | 5.999 | 230.749 | 5.407 | 241.933 | 4.742 | 239.8 | -15.004 | 890.358 | 60.064 | 8.6725
2020-12-15 07:00:00 | 5.316 | 229.6 | 5.713 | 230.118 | 5.003 | 242.733 | 4.6 | 243.6 | -15.391 | 890.15 | 61.451 | 8.0116
2020-12-15 07:15:00 | 5.712 | 228.333 | 5.374 | 233.271 | 4.71 | 246.967 | 4.046 | 250.65 | -15.291 | 889.8 | 61.877 | 6.6495
2020-12-15 07:30:00 | 6.048 | 222.767 | 5.83 | 228.592 | 5.001 | 243.167 | 4.268 | 244.9 | -15.158 | 889.642 | 61.899 | 6.7923
2020-12-15 07:45:00 | 6.396 | 221.4 | 5.411 | 231.409 | 4.635 | 244.133 | 4.076 | 244.467 | -15.174 | 889.942 | 63.061 | 6.7674
2020-12-15 08:00:00 | 6.176 | 222.6 | 5.381 | 227.912 | 4.786 | 237.233 | 4.239 | 237.567 | -15.341 | 889.875 | 63.659 | 7.6016
2020-12-15 08:15:00 | 6.014 | 224.3 | 4.8 | 232.77 | 4.235 | 243.667 | 3.803 | 244.567 | -15.341 | 889.683 | 63.691 | 6.1919
2020-12-15 08:30:00 | 6.203 | 224.167 | 4.877 | 227.85 | 4.272 | 239.267 | 3.858 | 241.5 | -15.324 | 889.8 | 63.573 | 5.8487
2020-12-15 08:45:00 | 6.462 | 224.833 | 5.058 | 234.853 | 4.309 | 245.667 | 4.046 | 247.867 | -15.391 | 889.525 | 63.456 | 4.5355
2020-12-15 09:00:00 | 6.287 | 222.7 | 5.091 | 231.596 | 4.179 | 241.967 | 3.728 | 242.467 | -15.241 | 889.517 | 64.181 | 4.667
2020-12-15 09:15:00 | 6.509 | 217.333 | 4.11 | 223.317 | 3.528 | 230.3 | 3.219 | 230.033 | -15.241 | 889.758 | 63.883 | 3.6665
2020-12-15 09:30:00 | 6.963 | 213.74 | 5.081 | 218.152 | 4.109 | 222.4 | 3.67 | 221 | -14.345 | 889.933 | 62.411 | 3.2693
2020-12-15 09:45:00 | 5.313 | 212.333 | 6.347 | 214.207 | 4.897 | 219.5 | 4.004 | 216.8 | -13.783 | 889.767 | 62.069 | 3.9209
2020-12-15 10:00:00 | 5.768 | 219.067 | 5.571 | 217.163 | 4.661 | 224 | 3.74 | 222.267 | -13.086 | 889.625 | 61.291 | 4.8923
2020-12-15 10:15:00 | 5.565 | 218.007 | 5.977 | 213.664 | 5.152 | 217.067 | 4.621 | 215.067 | -11.322 | 889.408 | 58.869 | 5.045
2020-12-15 10:30:00 | 4.832 | 219.56 | 4.908 | 213.478 | 4.364 | 214.267 | 3.762 | 213.8 | -10.141 | 889.833 | 54.848 | 5.3115
2020-12-15 10:45:00 | 4.717 | 224.033 | 5.936 | 221.367 | 5.209 | 224.533 | 4.242 | 219.833 | -8.624 | 890.267 | 50.187 | 5.3932
2020-12-15 11:00:00 | 3.45 | 227.053 | 3.792 | 225.302 | 3.503 | 233.267 | 2.997 | 233 | -7.449 | 890.217 | 47.296 | 4.1888
2020-12-15 11:15:00 | 2.531 | 231.473 | 2.203 | 223.678 | 2.372 | 227.833 | 2.519 | 231 | -5.819 | 889.9 | 43.253 | 0.2487
2020-12-15 11:30:00 | 2.096 | 234.167 | 1.741 | 226.732 | 1.66 | 235.067 | 1.876 | 230.8 | -4.67 | 889.65 | 39.707 | 0.3297
2020-12-15 11:45:00 | 1.85 | 233.2 | 1.573 | 235.096 | 1.538 | 239.167 | 2.025 | 229.7 | -3.84 | 890.1 | 36.293 | 0.31123
2020-12-15 12:00:00 | 1.409 | 277.847 | 1.243 | 276.026 | 1.174 | 284.267 | 1.352 | 277.45 | -3.642 | 889.983 | 34.053 | 0.30412
2020-12-15 12:15:00 | 2.499 | 336.8 | 2.097 | 318.701 | 1.833 | 325.967 | 2.254 | 305.267 | -5.385 | 889.9 | 33.736 | 0.32544
2020-12-15 12:30:00 | 2.799 | 339.667 | 2.622 | 330.997 | 2.474 | 329.433 | 2.494 | 318.767 | -5.385 | 889.983 | 33.515 | 0.20322
2020-12-15 12:45:00 | 2.687 | 342.533 | 2.583 | 336.29 | 2.384 | 331.4 | 2.675 | 325.8 | -5.319 | 889.65 | 31.859 | 0.11867
2020-12-15 13:00:00 | 1.655 | 316 | 1.477 | 300.838 | 1.891 | 304.467 | 2.342 | 301.1 | -5.352 | 889.583 | 29.987 | 0.14496
2020-12-15 13:15:00 | 2.863 | 337 | 2.438 | 330.831 | 2.559 | 325.8 | 2.778 | 320 | -4.785 | 889.767 | 28.403 | 0.17835
2020-12-15 13:30:00 | 3.28 | 19.29 | 2.682 | 58.175 | 2.762 | 57.6 | 2.324 | 87 | -4.785 | 889.767 | 29.533 | 0.13572
2020-12-15 13:45:00 | 2.899 | 26.164 | 2.65 | 21.923 | 2.639 | 8.967 | 2.648 | 8.5 | -4.852 | 889.467 | 29.536 | 0.18972
2020-12-15 14:00:00 | 2.894 | 30.634 | 2.738 | 46.949 | 2.904 | 34.733 | 3.069 | 42.633 | -5.069 | 889.617 | 29.848 | 1.5163
2020-12-15 14:15:00 | 3.395 | 55.397 | 3.144 | 47.856 | 3.296 | 47.367 | 3.486 | 41.767 | -5.918 | 890.117 | 27.776 | 2.1203
2020-12-15 14:30:00 | 3.267 | 56.553 | 2.995 | 54.499 | 3.152 | 57 | 3.386 | 47.233 | -6.445 | 889.967 | 27.696 | 1.3195
2020-12-15 14:45:00 | 3.956 | 47.6 | 3.307 | 43.068 | 3.246 | 51.6 | 3.145 | 50.233 | -6.445 | 889.667 | 27.952 | 1.4169
2020-12-15 15:00:00 | 2.921 | 65.133 | 2.729 | 56.272 | 2.667 | 58.3 | 2.842 | 57.533 | -6.644 | 889.45 | 28.56 | 0.74894
2020-12-15 15:15:00 | 2.183 | 80.22 | 2.054 | 72.127 | 1.796 | 77.567 | 2.244 | 67.1 | -7.071 | 889.517 | 28.693 | 0.17267
2020-12-15 15:30:00 | 1.769 | 83.1 | 1.18 | 84.538 | 1.458 | 86.9 | 1.931 | 74.333 | -6.685 | 889.8 | 28.795 | 0.31123
2020-12-15 15:45:00 | 0.28 | 105.523 | 0.027 | 103.691 | 0.1 | 93.3 | 0.906 | 78.9 | -5.898 | 889.817 | 28.603 | 0.28281
2020-12-15 16:00:00 | 2.366 | 29.708 | 2.012 | 30.914 | 2.001 | 43.233 | 2.312 | 44.933 | -5.607 | 889.783 | 28.069 | 0.29418
2020-12-15 16:15:00 | 1.826 | 163.655 | 1.397 | 201.385 | 1.414 | 267.267 | 1.814 | 218.138 | -5.369 | 889.5 | 28.555 | 0.2956
2020-12-15 16:30:00 | 1.285 | 306.181 | 0.36 | 341.692 | 0.323 | 239.167 | 1.243 | 339.067 | -5.548 | 889.9 | 28.512 | 0.29986
2020-12-15 16:45:00 | 0.396 | 298.467 | 0 | 299.048 | 0 | 312.867 | 0.67 | 306 | -5.668 | 889.683 | 29.003 | 0.29844
2020-12-15 17:00:00 | 1.052 | 336.133 | 0.583 | 319.871 | 0.804 | 320.5 | 1.668 | 305.433 | -5.485 | 890.133 | 28.979 | 0.29986
2020-12-15 17:15:00 | 1.868 | 295.067 | 1.496 | 293.068 | 1.573 | 298.3 | 2.134 | 300.333 | -5.469 | 889.783 | 29.699 | 0.29844
2020-12-15 17:30:00 | 1.45 | 298.44 | 0.876 | 297.914 | 0.986 | 304.9 | 1.556 | 307 | -5.411 | 889.8 | 29.949 | 0.30128
2020-12-15 17:45:00 | 2.627 | 290.481 | 2.707 | 269.14 | 2.988 | 251.6 | 3.274 | 280.9 | -5.786 | 889.417 | 31.68 | 0.29986
2020-12-15 18:00:00 | 3.18 | 43.962 | 2.882 | 39.539 | 2.56 | 43.567 | 2.607 | 35.9 | -7.065 | 889.583 | 29.643 | 0.27996
2020-12-15 18:15:00 | 3.495 | 42.502 | 3.699 | 40.156 | 3.565 | 45.633 | 3.058 | 45.267 | -8.488 | 890.05 | 30.096 | 0.20606
2020-12-15 18:30:00 | 3.004 | 40.2 | 3.19 | 39.97 | 3 | 48.433 | 3.107 | 43.033 | -8.991 | 889.65 | 31.365 | 0.10232
2020-12-15 18:45:00 | 1.394 | 57.547 | 2.031 | 47.973 | 1.852 | 58.033 | 1.831 | 41.867 | -9.191 | 889.867 | 32.464 | 0.27854
2020-12-15 19:00:00 | 1.512 | 82.2 | 1.488 | 65.996 | 1.38 | 61.833 | 1.603 | 48.1 | -9.912 | 889.667 | 33.264 | 0.30128
2020-12-15 19:15:00 | 1.904 | 142.367 | 1.627 | 100.684 | 1.506 | 90.1 | 1.674 | 66 | -10.033 | 890.15 | 33.627 | 0.29844
2020-12-15 19:30:00 | 0.488 | 144.133 | 0 | 96.231 | 0 | 97.2 | 1.269 | 65.967 | -9.824 | 890.317 | 33.488 | 0.29844
2020-12-15 19:45:00 | 1.453 | 161.287 | 0 | 96.262 | 0 | 99 | 1.214 | 66 | -9.933 | 889.9 | 34.096 | 0.29844
2020-12-15 20:00:00 | 1.673 | 183.06 | 0.273 | 100.743 | 1.189 | 144.467 | 1.682 | 132.2 | -10.439 | 889.517 | 34.693 | 0.29844
2020-12-15 20:15:00 | 3.146 | 191.3 | 2.329 | 173.745 | 1.871 | 161.1 | 1.978 | 152 | -10.333 | 889.933 | 34.96 | 0.29844
2020-12-15 20:30:00 | 2.806 | 194.747 | 2.371 | 179.231 | 2.197 | 177.167 | 1.925 | 171.067 | -10.585 | 889.767 | 35.024 | 0.29844
2020-12-15 20:45:00 | 2.736 | 212 | 1.773 | 190.555 | 1.876 | 189.3 | 1.822 | 179 | -9.978 | 889.5 | 35.925 | 0.29844
2020-12-15 21:00:00 | 4.147 | 223.973 | 1.561 | 209.831 | 1.309 | 205 | 0.929 | 179 | -10.962 | 890.083 | 46.667 | 0.29986
2020-12-15 21:15:00 | 5.091 | 228.06 | 2.383 | 226.74 | 1.293 | 216.1 | 1.36 | 179 | -12.003 | 889.95 | 52.437 | 0.30412
2020-12-15 21:30:00 | 4.64 | 227.767 | 2.044 | 244.786 | 0.786 | 248.133 | 0.618 | 179 | -12.686 | 890.1 | 55.339 | 0.23164
2020-12-15 21:45:00 | 5.048 | 224.533 | 1.582 | 241.979 | 0 | 250 | 0 | 179 | -12.62 | 889.883 | 58.805 | 0.1748
2020-12-15 22:00:00 | 3.715 | 228.1 | 1.308 | 241.658 | 0.224 | 261.733 | 0.101 | 179.033 | -12.47 | 889.933 | 60.368 | 0.28849
2020-12-15 22:15:00 | 4.241 | 232.5 | 1.577 | 253.517 | 0 | 271.933 | 0.134 | 179.017 | -12.903 | 890.092 | 60.336 | 0.32118
2020-12-15 22:30:00 | 3.623 | 235.733 | 1.576 | 258.95 | 0.407 | 291.933 | 0.441 | 308.3 | -11.034 | 890.025 | 58.539 | 0.30128
2020-12-15 22:45:00 | 4.817 | 233.033 | 3.161 | 272.968 | 2.342 | 290.667 | 1.946 | 288.4 | -13.23 | 889.917 | 60.363 | 0.14851
2020-12-15 23:00:00 | 4.045 | 237.7 | 2.806 | 274.027 | 2.444 | 290.533 | 2.529 | 297.233 | -12.57 | 889.758 | 62.261 | 0.24586
2020-12-15 23:15:00 | 3.933 | 234.613 | 2.057 | 267.707 | 2.21 | 293 | 2.641 | 293.033 | -13.399 | 889.9 | 60.875 | 0.32544
2020-12-15 23:30:00 | 3.397 | 241.693 | 2.471 | 280.495 | 2.486 | 284.067 | 2.828 | 278.3 | -12.322 | 889.875 | 61.029 | 0.3297
2020-12-15 23:45:00 | 3.464 | 232.267 | 1.687 | 242.956 | 2.379 | 248.9 | 2.775 | 253.6 | -12.099 | 889.975 | 62.453 | 0.2828