## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-16 00:00:00 | 6.13 | 220.533 | 3.218 | 227.06 | 2.575 | 234.167 | 2.699 | 229.9 | -12.953 | 889.683 | 62.709 | 0.18475
2020-12-16 00:15:00 | 5.986 | 223.867 | 3.938 | 233.894 | 3.358 | 243.2 | 3.143 | 235.767 | -12.87 | 889.992 | 63.445 | 0.59616
2020-12-16 00:30:00 | 5.811 | 223.9 | 4.165 | 231.051 | 3.654 | 240.167 | 3.343 | 237.5 | -13.578 | 890.208 | 64.693 | 1.4041
2020-12-16 00:45:00 | 6.018 | 223.173 | 5.18 | 222.653 | 4.159 | 229.067 | 3.415 | 229.933 | -13.428 | 890.167 | 65.323 | 1.3927
2020-12-16 01:00:00 | 5.913 | 221.067 | 4.961 | 222.045 | 4.14 | 227.067 | 3.474 | 223.2 | -13.17 | 889.983 | 64.309 | 2.0251
2020-12-16 01:15:00 | 6.891 | 220.533 | 5.73 | 220.03 | 4.554 | 225.933 | 3.777 | 223.867 | -13.153 | 889.742 | 63.563 | 2.234
2020-12-16 01:30:00 | 6.449 | 223.1 | 5.317 | 222.602 | 4.561 | 226.7 | 3.767 | 224.067 | -13.053 | 889.7 | 63.456 | 3.2544
2020-12-16 01:45:00 | 6.14 | 223.5 | 4.63 | 226.076 | 3.56 | 236.033 | 3.044 | 237.333 | -12.836 | 889.625 | 62.581 | 2.0386
2020-12-16 02:00:00 | 5.661 | 224.967 | 5.592 | 223.964 | 4.381 | 231.033 | 3.416 | 231.967 | -13.053 | 889.858 | 63.051 | 2.266
2020-12-16 02:15:00 | 5.76 | 222.473 | 5.759 | 223.376 | 4.185 | 233.333 | 3.714 | 234.267 | -13.428 | 889.692 | 64.203 | 2.1928
2020-12-16 02:30:00 | 5.755 | 225.24 | 5.352 | 227.025 | 3.913 | 241.933 | 3.369 | 248.333 | -13.522 | 890 | 64.789 | 3.2835
2020-12-16 02:45:00 | 5.796 | 227.66 | 4.529 | 237.074 | 4.096 | 250.767 | 3.706 | 250.567 | -13.353 | 889.408 | 63.744 | 3.6864
2020-12-16 03:00:00 | 5.947 | 223.733 | 5.218 | 226.94 | 4.032 | 239.533 | 3.42 | 237.533 | -13.816 | 889.983 | 65.024 | 3.0476
2020-12-16 03:15:00 | 5.831 | 221.533 | 4.315 | 229.716 | 3.678 | 243.4 | 3.544 | 244.533 | -13.766 | 889.733 | 64.021 | 2.7392
2020-12-16 03:30:00 | 5.798 | 222.967 | 4.732 | 236.597 | 4.186 | 247.367 | 3.847 | 245.133 | -13.949 | 890.008 | 63.787 | 2.4749
2020-12-16 03:45:00 | 5.84 | 222.1 | 4.517 | 236.338 | 3.915 | 247.067 | 3.665 | 245.233 | -14.116 | 889.6 | 64.395 | 2.6831
2020-12-16 04:00:00 | 5.706 | 225.1 | 3.202 | 244.405 | 2.688 | 265.4 | 2.783 | 260.667 | -14.066 | 889.842 | 64.096 | 2.0116
2020-12-16 04:15:00 | 5.352 | 224.32 | 4 | 242.118 | 3.369 | 256.467 | 3.167 | 258 | -14.599 | 890.058 | 64.245 | 0.81218
2020-12-16 04:30:00 | 5.326 | 222.9 | 3.83 | 233.026 | 3.3 | 248.633 | 3.008 | 250.75 | -14.133 | 889.7 | 64.075 | 0.5713
2020-12-16 04:45:00 | 6.383 | 219.687 | 5.385 | 219.224 | 4.344 | 224.833 | 3.757 | 222.367 | -13.503 | 890.017 | 62.133 | 0.70417
2020-12-16 05:00:00 | 6.358 | 223.567 | 5.752 | 221.879 | 4.712 | 228.533 | 3.744 | 227.833 | -13.578 | 890.133 | 62.923 | 1.7963
2020-12-16 05:15:00 | 6.123 | 223.287 | 5.768 | 222.852 | 4.363 | 230.867 | 3.355 | 229.233 | -13.409 | 890.392 | 62.603 | 3.2096
2020-12-16 05:30:00 | 6.366 | 221.307 | 5.89 | 224.73 | 5.1 | 233.367 | 4.489 | 231.667 | -13.649 | 889.958 | 62.208 | 3.4512
2020-12-16 05:45:00 | 5.982 | 225.433 | 5.037 | 238.139 | 4.393 | 252.033 | 4.083 | 254.533 | -14.266 | 890.342 | 62.699 | 4.9832
2020-12-16 06:00:00 | 6.278 | 220.6 | 4.758 | 232.124 | 3.987 | 242.867 | 3.584 | 243.067 | -14.133 | 889.942 | 63.328 | 5.3491
2020-12-16 06:15:00 | 5.913 | 222.633 | 4.601 | 233.04 | 4.031 | 242.867 | 3.707 | 241.7 | -13.899 | 889.842 | 63.893 | 4.5625
2020-12-16 06:30:00 | 6.341 | 220.767 | 5.103 | 230.268 | 4.297 | 240.733 | 3.833 | 242.067 | -14.099 | 890.075 | 64.107 | 3.9834
2020-12-16 06:45:00 | 6.05 | 220.9 | 5.592 | 228.952 | 4.865 | 239.033 | 4.339 | 235.867 | -13.983 | 890.208 | 64.576 | 5.9887
2020-12-16 07:00:00 | 5.823 | 219.833 | 5.542 | 228.616 | 4.73 | 241.167 | 4.188 | 238.267 | -14.133 | 890.058 | 65.248 | 7.5199
2020-12-16 07:15:00 | 6.028 | 221.3 | 5.542 | 226.392 | 4.628 | 236.933 | 4.324 | 236.067 | -14.183 | 889.875 | 65.803 | 7.4311
2020-12-16 07:30:00 | 6.266 | 221.467 | 5.755 | 224.669 | 5.062 | 233.767 | 4.551 | 233.067 | -14.266 | 890.017 | 65.877 | 7.9285
2020-12-16 07:45:00 | 6.531 | 219.267 | 5.945 | 224.234 | 5.126 | 232.6 | 4.612 | 233.067 | -13.983 | 889.517 | 65.728 | 7.8589
2020-12-16 08:00:00 | 6.316 | 219.967 | 5.812 | 228.915 | 5.264 | 239.533 | 4.756 | 238.233 | -14.033 | 889.383 | 65.76 | 8.5403
2020-12-16 08:15:00 | 6.459 | 221 | 6.078 | 231.84 | 5.657 | 241.067 | 5.167 | 238.667 | -14.049 | 890.467 | 66.069 | 10.3821
2020-12-16 08:30:00 | 6.515 | 221.047 | 5.969 | 232.993 | 5.448 | 244.167 | 4.906 | 242.8 | -13.897 | 889.875 | 65.717 | 10.127
2020-12-16 08:45:00 | 6.172 | 223.433 | 5.852 | 233.762 | 5.439 | 242.867 | 5.03 | 243.767 | -13.966 | 889.867 | 65.579 | 9.5735
2020-12-16 09:00:00 | 6.36 | 220.233 | 5.463 | 234.194 | 4.86 | 245.167 | 4.51 | 245.033 | -14.016 | 889.95 | 65.664 | 8.762
2020-12-16 09:15:00 | 6.207 | 222.067 | 5.63 | 233.853 | 5.12 | 243.067 | 4.653 | 242.667 | -14.133 | 890.317 | 66.101 | 7.9747
2020-12-16 09:30:00 | 6.666 | 222.433 | 5.965 | 234.159 | 5.447 | 242.3 | 5.066 | 238.7 | -13.186 | 889.725 | 64.427 | 9.4946
2020-12-16 09:45:00 | 6.367 | 218.967 | 6.007 | 231.319 | 5.602 | 238.167 | 5.182 | 235 | -12.503 | 889.667 | 63.52 | 11.3705
2020-12-16 10:00:00 | 5.816 | 219.027 | 6.339 | 229.518 | 5.736 | 237.633 | 5.312 | 234.9 | -11.816 | 890.367 | 63.243 | 12.1073
2020-12-16 10:15:00 | 5.299 | 220.467 | 6.246 | 227.395 | 5.777 | 235.733 | 5.311 | 233.733 | -10.449 | 889.75 | 61.717 | 12.2971
2020-12-16 10:30:00 | 4.48 | 221.5 | 5.83 | 224.846 | 5.483 | 235.967 | 5.033 | 233.767 | -8.974 | 890.042 | 58.165 | 10.4816
2020-12-16 10:45:00 | 3.597 | 220.1 | 4.992 | 219.97 | 5.197 | 233.2 | 4.803 | 234.2 | -7.639 | 889.667 | 54.528 | 10.2833
2020-12-16 11:00:00 | 3.713 | 226.58 | 4.315 | 225.955 | 4.969 | 236.833 | 4.754 | 234.3 | -6.169 | 889.967 | 49.803 | 8.6952
2020-12-16 11:15:00 | 3.784 | 233.067 | 3.831 | 229.797 | 4.047 | 236.533 | 4.183 | 234.233 | -4.902 | 889.942 | 44.661 | 6.8648
2020-12-16 11:30:00 | 3.827 | 248.033 | 3.628 | 241.812 | 3.692 | 245.4 | 3.906 | 239.467 | -3.806 | 889.808 | 41.301 | 4.7935
2020-12-16 11:45:00 | 3.85 | 239.44 | 3.78 | 237.779 | 3.865 | 244.167 | 3.996 | 241.433 | -2.912 | 889.667 | 38.336 | 4.2456
2020-12-16 12:00:00 | 3.286 | 268.207 | 3.383 | 261.813 | 3.58 | 266.783 | 3.692 | 259.533 | -2.784 | 889.617 | 37.24 | 2.7385
2020-12-16 12:15:00 | 3.383 | 291.267 | 3.606 | 285.577 | 3.754 | 288.633 | 4.032 | 287.033 | -3.321 | 889.817 | 36.752 | 3.7028
2020-12-16 12:30:00 | 3.984 | 288.2 | 4.287 | 279.784 | 4.507 | 281.467 | 4.741 | 277.3 | -3.588 | 889.633 | 36.093 | 5.8316
2020-12-16 12:45:00 | 4.14 | 296.333 | 4.272 | 289.326 | 4.38 | 293.667 | 4.769 | 289.75 | -3.521 | 889.383 | 35.693 | 7.6414
2020-12-16 13:00:00 | 4.124 | 301.04 | 4.582 | 294.25 | 4.772 | 294.367 | 4.872 | 290.767 | -3.267 | 889.6 | 35.576 | 9.6836
2020-12-16 13:15:00 | 4.424 | 309.853 | 4.645 | 305.022 | 4.885 | 307.1 | 5.099 | 301.8 | -3.143 | 889.7 | 34.307 | 11.2632
2020-12-16 13:30:00 | 5.341 | 311.133 | 5.255 | 308.59 | 5.668 | 310.4 | 5.947 | 307.033 | -3.052 | 889.967 | 34.949 | 10.7487
2020-12-16 13:45:00 | 6.256 | 304.867 | 6.062 | 300.541 | 6.207 | 304.533 | 6.49 | 301.4 | -2.952 | 889.65 | 35.437 | 14.0891
2020-12-16 14:00:00 | 6.427 | 306.4 | 6.535 | 301.93 | 6.737 | 304.4 | 7.085 | 301.967 | -3.404 | 889.55 | 35.92 | 18.5991
2020-12-16 14:15:00 | 6.056 | 310.147 | 6.045 | 303.209 | 6.538 | 307.3 | 6.937 | 303.733 | -2.929 | 890.05 | 35.64 | 20.772
2020-12-16 14:30:00 | 4.897 | 287.827 | 4.926 | 285.963 | 5.244 | 289.267 | 5.45 | 286.7 | -3.073 | 889.917 | 35.227 | 20.0124
2020-12-16 14:45:00 | 5.818 | 317.387 | 5.715 | 309.484 | 6.172 | 314 | 6.459 | 311.067 | -2.875 | 889.833 | 34.939 | 16.4439
2020-12-16 15:00:00 | 6.577 | 306.787 | 6.842 | 300.529 | 6.819 | 304.167 | 7.187 | 301.4 | -3.16 | 889.833 | 35.16 | 15.6808
2020-12-16 15:15:00 | 5.706 | 302.32 | 5.997 | 295.604 | 6.08 | 299.967 | 6.306 | 298.367 | -2.74 | 889.867 | 34.909 | 16.6166
2020-12-16 15:30:00 | 5.498 | 326.973 | 5.602 | 319.798 | 5.801 | 320.3 | 6.17 | 319.533 | -2.781 | 889.883 | 31.397 | 18.2637
2020-12-16 15:45:00 | 6.992 | 315.667 | 7.2 | 310.982 | 7.492 | 317.333 | 7.703 | 316.633 | -3.337 | 889.55 | 30.744 | 23.4764
2020-12-16 16:00:00 | 7.384 | 324.867 | 7.702 | 317.569 | 7.978 | 321.233 | 8.108 | 318.8 | -3.471 | 889.6 | 30.915 | 31.3196
2020-12-16 16:15:00 | 6.631 | 319.267 | 7.026 | 315.261 | 7.325 | 319.867 | 7.676 | 317.633 | -3.84 | 889.383 | 29.963 | 35.1262
2020-12-16 16:30:00 | 6.511 | 318.8 | 6.577 | 312.718 | 6.942 | 315.5 | 7.382 | 313.167 | -3.639 | 889.283 | 28.181 | 37.1633
2020-12-16 16:45:00 | 6.54 | 308.867 | 6.576 | 307.428 | 6.949 | 313.6 | 7.435 | 311.5 | -3.823 | 890.05 | 26.845 | 35.1873
2020-12-16 17:00:00 | 6.852 | 315.227 | 6.718 | 309.747 | 7.044 | 314.467 | 7.328 | 313.2 | -4.195 | 889.7 | 25.573 | 34.1953
2020-12-16 17:15:00 | 6.702 | 312.947 | 6.714 | 310.246 | 7.035 | 316.167 | 7.354 | 315.333 | -4.325 | 889.883 | 26.701 | 31.7744
2020-12-16 17:30:00 | 5.56 | 311.72 | 6.133 | 307.834 | 6.944 | 312.367 | 7.414 | 310.233 | -4.932 | 889.65 | 29.299 | 27.3547
2020-12-16 17:45:00 | 4.638 | 306.533 | 4.817 | 302.608 | 5.631 | 306.867 | 6.249 | 304.867 | -4.885 | 889.767 | 30.565 | 20.0394
2020-12-16 18:00:00 | 2.937 | 303.2 | 3.389 | 301.753 | 3.881 | 307.167 | 4.351 | 303.167 | -5.252 | 889.9 | 34.288 | 15.0711
2020-12-16 18:15:00 | 2.627 | 284.96 | 3.111 | 294.18 | 4.001 | 302.8 | 4.819 | 300.5 | -6.137 | 890 | 36.045 | 9.3361
2020-12-16 18:30:00 | 3.756 | 295.253 | 4.76 | 302.44 | 4.983 | 304.4 | 5.33 | 296.7 | -6.972 | 890.067 | 38.371 | 8.1381
2020-12-16 18:45:00 | 3.167 | 274.153 | 4.51 | 298.319 | 4.936 | 298.033 | 5.668 | 290.167 | -8.291 | 889.767 | 40.243 | 9.4989
2020-12-16 19:00:00 | 3.493 | 267.713 | 4.483 | 289.796 | 4.808 | 288.933 | 5.289 | 285.9 | -8.13 | 890.167 | 43.525 | 8.1623
2020-12-16 19:15:00 | 3.172 | 267.253 | 4.676 | 290.25 | 5.413 | 294.5 | 6.187 | 292.833 | -8.09 | 889.842 | 43.781 | 7.4737
2020-12-16 19:30:00 | 3.904 | 257.527 | 3.671 | 273.468 | 3.937 | 286.2 | 4.571 | 288.167 | -8.958 | 890.133 | 47.808 | 6.1436
2020-12-16 19:45:00 | 3.463 | 223.167 | 3.087 | 254.275 | 3.857 | 279.6 | 4.459 | 279.9 | -9.308 | 889.942 | 49.504 | 4.932
2020-12-16 20:00:00 | 3.115 | 242.84 | 4.207 | 248.081 | 4.361 | 268.333 | 4.944 | 276.033 | -10.137 | 890.008 | 51.216 | 7.0019
2020-12-16 20:15:00 | 4.074 | 234.82 | 5.312 | 261.531 | 5.234 | 272.867 | 5.356 | 269.967 | -11.516 | 889.975 | 56.325 | 9.0334
2020-12-16 20:30:00 | 5.662 | 240.913 | 5.311 | 256.41 | 5.109 | 270.533 | 5.434 | 272.167 | -10.966 | 889.875 | 57.963 | 8.8991
2020-12-16 20:45:00 | 5.895 | 237.853 | 5.593 | 247.884 | 5.461 | 257.967 | 5.519 | 260.667 | -10.816 | 889.817 | 56.725 | 9.9557
2020-12-16 21:00:00 | 5.327 | 220.247 | 5.345 | 245.684 | 5.032 | 255.767 | 5.288 | 258.967 | -11.545 | 889.517 | 56.661 | 10.5349
2020-12-16 21:15:00 | 6.049 | 223.2 | 5.389 | 244.587 | 5.128 | 255.1 | 5.316 | 258.867 | -12.52 | 889.467 | 58.965 | 9.992
2020-12-16 21:30:00 | 6.054 | 225.533 | 5.689 | 244.4 | 5.395 | 253.7 | 5.412 | 257.783 | -12.57 | 890.133 | 59.968 | 9.0533
2020-12-16 21:45:00 | 5.745 | 224.6 | 5.704 | 244.561 | 5.441 | 256.433 | 5.623 | 260.033 | -12.703 | 889.808 | 60.747 | 8.2667
2020-12-16 22:00:00 | 6.048 | 218.667 | 5.712 | 238.171 | 5.514 | 250 | 5.332 | 253.533 | -12.87 | 889.233 | 61.504 | 7.689
2020-12-16 22:15:00 | 5.498 | 223.233 | 5.596 | 240.387 | 5.421 | 249.1 | 5.274 | 251.333 | -13.086 | 889.725 | 62.219 | 9.7376
2020-12-16 22:30:00 | 5.438 | 223.367 | 5.796 | 243.236 | 5.419 | 253.3 | 5.226 | 256.767 | -12.986 | 889.308 | 62.581 | 10.4411
2020-12-16 22:45:00 | 5.235 | 220.1 | 5.648 | 239.616 | 5.498 | 251.333 | 5.21 | 251.733 | -12.97 | 890.125 | 63.115 | 11.087
2020-12-16 23:00:00 | 5.451 | 222.667 | 5.582 | 243.348 | 5.409 | 253.4 | 5.212 | 254.467 | -13.136 | 890.117 | 63.147 | 12.5159
2020-12-16 23:15:00 | 5.764 | 227.1 | 5.589 | 245.792 | 5.352 | 254.767 | 5.134 | 255.3 | -12.836 | 889.933 | 62.88 | 12.2445
2020-12-16 23:30:00 | 4.779 | 230.967 | 5.457 | 249.027 | 5.324 | 257.733 | 5.102 | 257.483 | -12.653 | 889.792 | 62.293 | 11.5964
2020-12-16 23:45:00 | 4.151 | 219.767 | 5.464 | 230.504 | 5.087 | 251.267 | 5.038 | 251.3 | -13.07 | 889.85 | 63.008 | 13.2975