## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-17 00:00:00 | 3.958 | 224.467 | 5.017 | 236.27 | 5.295 | 256.767 | 5.202 | 257.9 | -13.578 | 889.867 | 63.605 | 13.1199
2020-12-17 00:15:00 | 4.511 | 221.233 | 5.912 | 230.149 | 5.618 | 249.067 | 5.399 | 250.2 | -13.578 | 890.458 | 63.84 | 13.5995
2020-12-17 00:30:00 | 5.932 | 220.4 | 6.042 | 229.772 | 5.589 | 243.733 | 5.41 | 244.733 | -13.07 | 889.775 | 62.485 | 14.7606
2020-12-17 00:45:00 | 6.016 | 220.733 | 5.815 | 235.232 | 5.435 | 246.967 | 5.333 | 248.6 | -12.953 | 889.85 | 60.299 | 12.7319
2020-12-17 01:00:00 | 5.984 | 221.9 | 5.988 | 235.69 | 5.286 | 251.6 | 5.08 | 253.233 | -12.92 | 889.842 | 59.637 | 12.1187
2020-12-17 01:15:00 | 5.642 | 223.267 | 5.493 | 234.258 | 4.926 | 246.1 | 4.509 | 250.267 | -13.203 | 889.433 | 59.595 | 11.5304
2020-12-17 01:30:00 | 5.445 | 221.6 | 5.109 | 230.926 | 4.681 | 242.033 | 4.308 | 244.3 | -13.103 | 889.883 | 59.573 | 10.6287
2020-12-17 01:45:00 | 5.648 | 221.647 | 5.535 | 228.8 | 4.926 | 240.967 | 4.557 | 241.633 | -13.278 | 889.883 | 60.288 | 10.0289
2020-12-17 02:00:00 | 5.559 | 222 | 5.348 | 227.055 | 5.031 | 236.9 | 4.767 | 236.8 | -13.12 | 889.625 | 60.427 | 10.3373
2020-12-17 02:15:00 | 5.635 | 221.08 | 5.55 | 229.095 | 5.351 | 240 | 5.03 | 241.167 | -13.466 | 890.05 | 60.523 | 10.7722
2020-12-17 02:30:00 | 5.12 | 221.78 | 5.325 | 235.029 | 5.112 | 246.467 | 4.932 | 246.067 | -13.56 | 889.617 | 60.821 | 12.5436
2020-12-17 02:45:00 | 5.657 | 223.927 | 6.024 | 233.851 | 5.606 | 247.967 | 5.44 | 247.583 | -13.728 | 889.742 | 61.397 | 14.7777
2020-12-17 03:00:00 | 5.333 | 222.947 | 6.045 | 234.235 | 5.694 | 249.333 | 5.534 | 248.867 | -13.814 | 889.917 | 61.621 | 15.8741
2020-12-17 03:15:00 | 5.287 | 224.08 | 5.858 | 235.961 | 5.535 | 254.067 | 5.436 | 254.1 | -13.847 | 889.75 | 61.259 | 13.5271
2020-12-17 03:30:00 | 6.536 | 219.867 | 6.221 | 234.348 | 5.761 | 250.267 | 5.541 | 249.433 | -13.933 | 889.867 | 61.301 | 13.0226
2020-12-17 03:45:00 | 6.507 | 221.78 | 6.41 | 233.147 | 6.03 | 246.567 | 5.794 | 246.3 | -13.653 | 889.842 | 60.981 | 14.8352
2020-12-17 04:00:00 | 6.392 | 220.907 | 6.183 | 233.784 | 6.189 | 244 | 6.01 | 243.7 | -13.616 | 890.108 | 60.373 | 16.3388
2020-12-17 04:15:00 | 5.7 | 220.467 | 5.781 | 234.586 | 5.724 | 246.033 | 5.504 | 245.567 | -13.999 | 889.45 | 61.163 | 16.331
2020-12-17 04:30:00 | 5.66 | 223.833 | 5.35 | 239.448 | 5.471 | 250.967 | 5.382 | 250 | -14.266 | 889.833 | 62.091 | 15.7035
2020-12-17 04:45:00 | 6.053 | 225.6 | 5.26 | 243.563 | 5.276 | 253.033 | 5.24 | 249.983 | -13.766 | 890.008 | 61.365 | 13.9257
2020-12-17 05:00:00 | 5.71 | 221.127 | 5.182 | 240.427 | 5.179 | 250.967 | 5.128 | 248.167 | -14.078 | 889.958 | 62.283 | 12.9273
2020-12-17 05:15:00 | 6.063 | 220.633 | 5.011 | 236.742 | 5.137 | 245.367 | 5.058 | 242 | -14.266 | 889.317 | 63.051 | 11.7158
2020-12-17 05:30:00 | 6.619 | 218.933 | 5.649 | 232.783 | 5.74 | 241.5 | 5.62 | 238.6 | -14.578 | 890.008 | 63.136 | 12.3049
2020-12-17 05:45:00 | 6.42 | 219.06 | 6.026 | 231.403 | 5.972 | 240 | 5.85 | 237.1 | -14.641 | 890.133 | 63.723 | 14.3399
2020-12-17 06:00:00 | 6.516 | 218.107 | 5.86 | 227.862 | 6.009 | 237 | 5.822 | 234.9 | -14.516 | 889.875 | 63.659 | 13.5533
2020-12-17 06:15:00 | 6.745 | 217.7 | 6.336 | 222.229 | 6.294 | 230.867 | 6.125 | 229.4 | -14.578 | 890.383 | 63.221 | 14.8729
2020-12-17 06:30:00 | 6.639 | 218.833 | 6.212 | 226.323 | 6.165 | 236.233 | 5.895 | 234.4 | -14.149 | 889.533 | 62.219 | 17.4735
2020-12-17 06:45:00 | 6.87 | 218.267 | 6.718 | 221.542 | 6.302 | 232.567 | 5.979 | 232.733 | -13.983 | 889.525 | 61.269 | 17.8416
2020-12-17 07:00:00 | 6.716 | 219.933 | 6.508 | 227.558 | 6.292 | 236.733 | 6.092 | 237.6 | -14.133 | 889.983 | 61.067 | 17.9333
2020-12-17 07:15:00 | 6.677 | 216.987 | 6.482 | 223.032 | 6.399 | 232.367 | 6.011 | 233.3 | -14.495 | 889.708 | 61.952 | 18.4882
2020-12-17 07:30:00 | 6.488 | 217.313 | 6.461 | 223.563 | 6.27 | 234.2 | 5.878 | 234.933 | -14.216 | 889.617 | 62.08 | 17.6007
2020-12-17 07:45:00 | 6.829 | 217.433 | 6.346 | 221.999 | 6.115 | 230.867 | 5.848 | 231.667 | -13.983 | 889.342 | 61.451 | 16.9122
2020-12-17 08:00:00 | 6.884 | 221.633 | 6.276 | 225.159 | 6.129 | 235.667 | 5.895 | 237.333 | -14.099 | 889.958 | 60.832 | 16.3317
2020-12-17 08:15:00 | 6.611 | 218.367 | 6.178 | 223.509 | 6.148 | 231.6 | 5.781 | 233.767 | -14.099 | 889.542 | 60.448 | 15.4747
2020-12-17 08:30:00 | 7.135 | 216.313 | 6.097 | 221.044 | 5.689 | 228.133 | 5.459 | 232.433 | -14.558 | 890.117 | 61.045 | 13.1547
2020-12-17 08:45:00 | 7.574 | 218.94 | 5.771 | 224.312 | 5.426 | 232.867 | 5.16 | 237.633 | -14.412 | 889.983 | 60.448 | 11.3804
2020-12-17 09:00:00 | 6.965 | 221.247 | 5.629 | 225.88 | 5.303 | 233.867 | 4.755 | 234.967 | -14.766 | 889.733 | 60.608 | 9.9231
2020-12-17 09:15:00 | 6.818 | 221.133 | 5.657 | 228.163 | 4.991 | 237.233 | 4.482 | 234.933 | -14.578 | 890.042 | 60.533 | 8.1637
2020-12-17 09:30:00 | 6.284 | 222.647 | 5.122 | 229.167 | 4.622 | 238.2 | 4.222 | 237.367 | -13.864 | 889.925 | 59.115 | 6.4242
2020-12-17 09:45:00 | 5.908 | 222.033 | 4.872 | 226.721 | 4.612 | 234.367 | 4.275 | 231.933 | -12.92 | 889.833 | 57.195 | 5.9382
2020-12-17 10:00:00 | 5.445 | 220.493 | 5.283 | 223.736 | 4.532 | 233.2 | 4.175 | 231.9 | -12.378 | 889.883 | 55.168 | 5.5609
2020-12-17 10:15:00 | 5.51 | 223.773 | 4.85 | 229.761 | 4.48 | 240.4 | 4.26 | 241.1 | -10.928 | 889.5 | 52.704 | 6.1222
2020-12-17 10:30:00 | 4.484 | 227.013 | 4.73 | 228.276 | 4.272 | 240.367 | 3.935 | 239.433 | -9.545 | 889.975 | 49.248 | 5.1537
2020-12-17 10:45:00 | 3.262 | 226.793 | 3.809 | 226.382 | 4.3 | 234.933 | 3.879 | 238.933 | -8.01 | 889.833 | 45.984 | 4.3416
2020-12-17 11:00:00 | 3.309 | 227.327 | 3.233 | 223.165 | 3.856 | 230.1 | 3.839 | 232.767 | -6.708 | 889.958 | 42.752 | 3.0171
2020-12-17 11:15:00 | 2.733 | 233.233 | 2.59 | 235.168 | 2.709 | 241.8 | 3.038 | 238.2 | -5.285 | 889.867 | 39.883 | 1.6101
2020-12-17 11:30:00 | 3.04 | 249.233 | 2.961 | 245.38 | 2.899 | 248.717 | 3.081 | 245.433 | -3.857 | 889.583 | 37.435 | 0.40218
2020-12-17 11:45:00 | 3.078 | 266.167 | 3.117 | 260.6 | 3.077 | 260.083 | 3.214 | 255.383 | -3.874 | 889.95 | 36.48 | 0.73117
2020-12-17 12:00:00 | 2.893 | 281.827 | 2.916 | 273.068 | 3.081 | 276.067 | 3.2 | 269.9 | -4.361 | 889.733 | 36.485 | 1.2947
2020-12-17 12:15:00 | 2.866 | 268.353 | 2.806 | 265.87 | 2.805 | 268.6 | 3.273 | 264.967 | -4.322 | 889.7 | 36.264 | 1.4446
2020-12-17 12:30:00 | 2.827 | 300.693 | 2.583 | 292.892 | 2.794 | 290.367 | 3.251 | 284.067 | -3.995 | 889.783 | 35.507 | 1.6123
2020-12-17 12:45:00 | 3.556 | 312.333 | 3.581 | 305.757 | 3.811 | 306.733 | 4.012 | 301.667 | -4.139 | 889.983 | 35.621 | 2.504
2020-12-17 13:00:00 | 3.551 | 298.16 | 3.443 | 291.711 | 3.494 | 294.967 | 3.763 | 290.8 | -4.079 | 889.833 | 36.304 | 3.243
2020-12-17 13:15:00 | 3.551 | 298.16 | 3.443 | 291.711 | 3.494 | 294.967 | 3.763 | 290.8 | -4.079 | 889.833 | 36.304 | 3.9621
2020-12-17 13:30:00 | 3.551 | 298.16 | 3.443 | 291.711 | 3.494 | 294.967 | 3.763 | 290.8 | -4.079 | 889.833 | 36.304 | 3.626
2020-12-17 13:45:00 | 3.551 | 298.16 | 3.443 | 291.711 | 3.494 | 294.967 | 3.763 | 290.8 | -4.079 | 889.833 | 36.304 | 2.789
2020-12-17 14:00:00 | 3.189 | 233.5 | 2.969 | 318.601 | 2.884 | 318.179 | 2.856 | 309.393 | -3.846 | 889.768 | 36.843 | 3.6161
2020-12-17 14:15:00 | 2.385 | 294.333 | 2.304 | 293.03 | 2.588 | 302.367 | 3.167 | 299.1 | -3.638 | 889.817 | 37.221 | 6.0242
2020-12-17 14:30:00 | 3.205 | 325.533 | 3.268 | 319.982 | 3.49 | 320.733 | 3.593 | 313.833 | -3.806 | 889.95 | 37.568 | 10.8127
2020-12-17 14:45:00 | 4.925 | 308.933 | 4.673 | 303.755 | 5.112 | 309.167 | 5.428 | 308.467 | -4.172 | 890.05 | 37.533 | 12.3127
2020-12-17 15:00:00 | 4.476 | 318.333 | 4.405 | 315.632 | 4.84 | 320.7 | 5.234 | 318.8 | -4.206 | 889.767 | 36.907 | 11.983
2020-12-17 15:15:00 | 4.753 | 310.987 | 4.64 | 304.859 | 5.063 | 307.433 | 5.413 | 304.567 | -4.351 | 889.45 | 35.504 | 9.7028
2020-12-17 15:30:00 | 4.439 | 303.427 | 4.346 | 298.803 | 4.849 | 303.533 | 5.11 | 301.567 | -4.029 | 889.767 | 34.707 | 11.5325
2020-12-17 15:45:00 | 5.503 | 330.533 | 5.5 | 326.67 | 5.819 | 329.067 | 5.983 | 327.167 | -3.472 | 889.55 | 35.005 | 11.2795
2020-12-17 16:00:00 | 5.494 | 333.2 | 5.277 | 325.188 | 5.546 | 327.667 | 5.834 | 325.067 | -3.79 | 889.783 | 35.909 | 10.3558
2020-12-17 16:15:00 | 5.151 | 329.333 | 4.973 | 323.929 | 5.28 | 326.333 | 5.649 | 327.5 | -3.74 | 890.133 | 36.117 | 6.4861
2020-12-17 16:30:00 | 4.968 | 260 | 4.713 | 338.859 | 4.983 | 331.367 | 5.056 | 330.667 | -3.488 | 889.867 | 35.981 | 3.4192
2020-12-17 16:45:00 | 4.039 | 141.733 | 3.852 | 224.26 | 4.281 | 164.033 | 4.413 | 256.367 | -3.706 | 889.467 | 34.648 | 3.631
2020-12-17 17:00:00 | 5.043 | 318.867 | 5.119 | 312.437 | 5.672 | 318.3 | 5.904 | 316.8 | -3.79 | 889.75 | 37.517 | 1.3558
2020-12-17 17:15:00 | 3.821 | 12.068 | 3.72 | 162.256 | 3.789 | 60.033 | 4.248 | 95.433 | -4.246 | 889.917 | 33.715 | 0.38086
2020-12-17 17:30:00 | 4.017 | 10.947 | 3.632 | 17.679 | 3.742 | 6.533 | 3.719 | 37.233 | -4.869 | 889.683 | 34.117 | 0.16272
2020-12-17 17:45:00 | 3.21 | 5.473 | 3.09 | 25.958 | 3.221 | 1.067 | 3.673 | 12 | -5.335 | 889.55 | 34.624 | 0.18119
2020-12-17 18:00:00 | 3.343 | 14.451 | 3.021 | 6.083 | 2.997 | 3.133 | 3.699 | 23.8 | -5.388 | 890.117 | 34.821 | 0.30839
2020-12-17 18:15:00 | 2.319 | 12.156 | 2.348 | 0.401 | 2.915 | 0 | 3.812 | 354 | -6.14 | 890.083 | 36.112 | 0.28991
2020-12-17 18:30:00 | 1.917 | 43.535 | 2.068 | 22.091 | 2.216 | 11.8 | 2.129 | 355.067 | -6.548 | 889.583 | 37.333 | 0.29702
2020-12-17 18:45:00 | 1.529 | 47.132 | 1.311 | 27.631 | 1.222 | 23.933 | 1.656 | 0 | -7.071 | 889.967 | 38.539 | 0.2956
2020-12-17 19:00:00 | 0.652 | 47.18 | 0 | 27.069 | 0 | 31 | 0.675 | 0 | -7.399 | 889.917 | 39.605 | 0.2956
2020-12-17 19:15:00 | 0.898 | 68.3 | 0 | 27.024 | 0 | 31 | 1.105 | 0 | -7.289 | 891.5 | 39.84 | 0.32828
2020-12-17 19:30:00 | 0.898 | 68.3 | 0 | 27.024 | 0 | 31 | 1.105 | 0 | -7.289 | 891.5 | 39.84 | 0.30128
2020-12-17 19:45:00 | 0.898 | 68.3 | 0 | 27.024 | 0 | 31 | 1.105 | 0 | -7.289 | 891.5 | 39.84 | 0.30412
2020-12-17 20:00:00 | 0.898 | 68.3 | 0 | 27.024 | 0 | 31 | 1.105 | 0 | -7.289 | 891.5 | 39.84 | 0.29844
2020-12-17 20:15:00 | 0.898 | 68.3 | 0 | 27.024 | 0 | 31 | 1.105 | 0 | -7.289 | 891.5 | 39.84 | 0.20393
2020-12-17 20:30:00 | 0.898 | 68.3 | 0 | 27.024 | 0 | 31 | 1.105 | 0 | -7.289 | 891.5 | 39.84 | 0.9145
2020-12-17 20:45:00 | 0.898 | 68.3 | 0 | 27.024 | 0 | 31 | 1.105 | 0 | -7.289 | 891.5 | 39.84 | 3.8207
2020-12-17 21:00:00 | 0.898 | 68.3 | 0 | 27.024 | 0 | 31 | 1.105 | 0 | -7.289 | 891.5 | 39.84 | 5.6945
2020-12-17 21:15:00 | 0.898 | 68.3 | 0 | 27.024 | 0 | 31 | 1.105 | 0 | -7.289 | 891.5 | 39.84 | 6.8222
2020-12-17 21:30:00 | 0.898 | 68.3 | 0 | 27.024 | 0 | 31 | 1.105 | 0 | -7.289 | 891.5 | 39.84 | 9.1379
2020-12-17 21:45:00 | 5.592 | 224.56 | 5.773 | 230.339 | 5.359 | 237.8 | 5.188 | 237.9 | -12.057 | 889.883 | 58.112 | 8.9453
2020-12-17 22:00:00 | 5.92 | 227.627 | 5.805 | 236.291 | 5.64 | 245.3 | 5.722 | 244.3 | -12.195 | 890.125 | 59.093 | 10.1789
2020-12-17 22:15:00 | 4.889 | 221.933 | 5.228 | 238.654 | 5.43 | 246.767 | 5.462 | 243 | -12.553 | 889.775 | 59.605 | 8.5147
2020-12-17 22:30:00 | 4.465 | 222.1 | 5.218 | 239.378 | 5.096 | 250.433 | 5.117 | 246.033 | -12.586 | 889.742 | 61.141 | 5.7009
2020-12-17 22:45:00 | 5.031 | 230.533 | 5.106 | 243.82 | 5.166 | 250.3 | 5.249 | 245.567 | -12.886 | 890.167 | 62.325 | 4.6272
2020-12-17 23:00:00 | 4.655 | 220.9 | 4.585 | 236.186 | 4.128 | 246.233 | 4.231 | 244.1 | -12.82 | 889.942 | 62.475 | 6.4626
2020-12-17 23:15:00 | 5.027 | 215.367 | 4.823 | 227.825 | 4.454 | 235.433 | 4.341 | 232.533 | -12.886 | 889.933 | 62.859 | 8.3179
2020-12-17 23:30:00 | 6.269 | 218.833 | 6.118 | 217.98 | 5.505 | 224.467 | 5.186 | 222.367 | -12.703 | 890.067 | 63.627 | 7.7544
2020-12-17 23:45:00 | 6.182 | 214.267 | 6.268 | 213.691 | 5.701 | 217.2 | 5.282 | 215.9 | -12.149 | 889.45 | 62.731 | 8.2255