## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-18 00:00:00 | 6.654 | 212.913 | 6.029 | 212.54 | 5.416 | 214.667 | 5.24 | 214.467 | -12.078 | 889.5 | 62.411 | 5.5311
2020-12-18 00:15:00 | 5.853 | 215.407 | 6.141 | 212.47 | 5.771 | 213.633 | 5.45 | 212.6 | -11.932 | 889.892 | 60.373 | 2.7286
2020-12-18 00:30:00 | 5.7 | 222.013 | 4.847 | 213.384 | 4.374 | 212.333 | 4.255 | 209.267 | -12.266 | 889.933 | 60.341 | 1.4865
2020-12-18 00:45:00 | 5.306 | 225.667 | 5.036 | 218.292 | 4.373 | 220.733 | 3.689 | 215.533 | -12.203 | 889.467 | 59.552 | 0.39436
2020-12-18 01:00:00 | 5.571 | 222.5 | 4.925 | 217.068 | 3.816 | 220.833 | 3.054 | 228.9 | -11.995 | 890.242 | 59.253 | 0.21175
2020-12-18 01:15:00 | 5.479 | 218.76 | 4.369 | 216.53 | 3.017 | 218.067 | 2.401 | 223.133 | -12.057 | 889.725 | 58.869 | 0.27854
2020-12-18 01:30:00 | 5.817 | 220.873 | 3.947 | 218.15 | 2.769 | 228.633 | 2.069 | 232.533 | -12.036 | 889.792 | 58.56 | 0.3162
2020-12-18 01:45:00 | 6.029 | 220.167 | 3.873 | 219.676 | 2.726 | 225.433 | 2.296 | 226.5 | -12.42 | 889.808 | 57.685 | 0.28281
2020-12-18 02:00:00 | 6.376 | 221.833 | 4.175 | 219.242 | 2.807 | 226.533 | 2.39 | 223 | -12.603 | 889.708 | 56.565 | 0.63169
2020-12-18 02:15:00 | 6.714 | 218.633 | 5.078 | 221.133 | 3.561 | 222.367 | 2.63 | 220.333 | -13.07 | 889.908 | 57.312 | 0.5649
2020-12-18 02:30:00 | 5.701 | 215.353 | 5.599 | 218.929 | 4.139 | 221.667 | 3.324 | 215.567 | -13.216 | 890.2 | 58.411 | 1.0658
2020-12-18 02:45:00 | 6.722 | 219.62 | 4.927 | 220.808 | 3.374 | 224.8 | 2.373 | 216 | -13.155 | 889.817 | 59.147 | 1.3899
2020-12-18 03:00:00 | 7.299 | 217.433 | 5.91 | 218.536 | 4.11 | 223 | 2.974 | 218.133 | -13.086 | 889.783 | 58.965 | 0.91734
2020-12-18 03:15:00 | 7 | 220.1 | 5.928 | 217.813 | 4.462 | 224.2 | 3.112 | 215.967 | -12.803 | 890.017 | 58.197 | 0.74396
2020-12-18 03:30:00 | 6.356 | 218.833 | 6.203 | 217.246 | 4.617 | 224.067 | 3.436 | 219.8 | -12.986 | 889.833 | 58.912 | 0.42705
2020-12-18 03:45:00 | 5.91 | 219.967 | 5.899 | 215.63 | 4.746 | 223.233 | 3.407 | 223.067 | -13.02 | 890.15 | 59.648 | 0.82213
2020-12-18 04:00:00 | 5.668 | 217.307 | 6.265 | 214.727 | 4.757 | 217.9 | 3.323 | 217.9 | -13.428 | 890.258 | 60.523 | 1.0829
2020-12-18 04:15:00 | 5.626 | 216.467 | 6.181 | 214.54 | 4.684 | 217.9 | 3.769 | 212.033 | -14.116 | 889.667 | 61.696 | 1.0573
2020-12-18 04:30:00 | 6.683 | 220.947 | 5.996 | 218.637 | 4.778 | 224.167 | 3.878 | 221.7 | -13.466 | 890.192 | 60.896 | 0.89958
2020-12-18 04:45:00 | 5.86 | 216.3 | 5.145 | 216.796 | 4.048 | 221.5 | 3.113 | 216.1 | -13.628 | 889.333 | 60.885 | 1.4396
2020-12-18 05:00:00 | 5.553 | 215.013 | 5.563 | 213.162 | 4.267 | 218 | 3.569 | 214.867 | -14.558 | 889.95 | 62.635 | 2.207
2020-12-18 05:15:00 | 5.66 | 219.027 | 6.022 | 212.391 | 4.726 | 218.267 | 3.787 | 213.633 | -14.745 | 889.992 | 63.253 | 2.5659
2020-12-18 05:30:00 | 5.827 | 215.153 | 5.996 | 213.1 | 4.622 | 215.133 | 3.644 | 210.333 | -14.599 | 889.933 | 62.933 | 2.9481
2020-12-18 05:45:00 | 6.446 | 220.5 | 5.463 | 219.11 | 4.294 | 225.067 | 3.188 | 218.567 | -14.37 | 889.858 | 63.211 | 3.3283
2020-12-18 06:00:00 | 6.672 | 220.067 | 6.447 | 219.454 | 4.824 | 225.033 | 3.637 | 221.833 | -14.016 | 890.158 | 62.123 | 2.5268
2020-12-18 06:15:00 | 6.244 | 221.733 | 6.815 | 220.103 | 5.53 | 226.4 | 4.195 | 223.1 | -14.099 | 889.367 | 62.091 | 1.8219
2020-12-18 06:30:00 | 6.24 | 222.2 | 5.187 | 222.907 | 4.177 | 229.967 | 2.835 | 228.667 | -14.578 | 889.642 | 62.357 | 1.1326
2020-12-18 06:45:00 | 6.385 | 221.093 | 5.706 | 221.448 | 4.522 | 228 | 3.27 | 228.733 | -14.433 | 890.083 | 62.571 | 0.64235
2020-12-18 07:00:00 | 6.539 | 219.18 | 5.98 | 217.54 | 4.701 | 223.467 | 3.434 | 223.767 | -14.283 | 889.958 | 62.752 | 1.0488
2020-12-18 07:15:00 | 6.464 | 219.933 | 5.453 | 221.547 | 3.93 | 227.733 | 2.972 | 225.833 | -14.337 | 889.675 | 63.371 | 1.4098
2020-12-18 07:30:00 | 6.476 | 219.013 | 5.843 | 217.51 | 4.637 | 223.933 | 3.671 | 222.3 | -14.454 | 889.958 | 63.456 | 1.618
2020-12-18 07:45:00 | 5.479 | 214.507 | 6.202 | 213.284 | 4.764 | 218.7 | 3.69 | 217.267 | -14.395 | 889.592 | 63.328 | 2.2539
2020-12-18 08:00:00 | 5.588 | 214.467 | 5.278 | 211.397 | 4.469 | 212.633 | 3.542 | 210.9 | -14.787 | 889.767 | 64.747 | 3.0917
2020-12-18 08:15:00 | 5.935 | 213.833 | 5.181 | 210.356 | 4.239 | 212.733 | 3.54 | 209.867 | -14.974 | 889.95 | 65.504 | 3.2579
2020-12-18 08:30:00 | 5.974 | 212.087 | 5.972 | 205.945 | 5.037 | 211.2 | 4.16 | 205.6 | -14.704 | 889.617 | 63.925 | 2.6042
2020-12-18 08:45:00 | 5.918 | 212.867 | 5.583 | 205.098 | 5.159 | 209.767 | 4.878 | 207.067 | -14.216 | 890.017 | 62.379 | 2.2994
2020-12-18 09:00:00 | 4.718 | 211.873 | 5.279 | 206.514 | 4.704 | 210 | 4.248 | 206.967 | -14.516 | 889.708 | 61.259 | 1.7018
2020-12-18 09:15:00 | 4.04 | 210.467 | 5.249 | 209.583 | 4.548 | 212 | 4.309 | 207.067 | -15.658 | 889.875 | 64.021 | 1.5171
2020-12-18 09:30:00 | 3.96 | 212.3 | 5.019 | 207.853 | 4.365 | 211.933 | 4.214 | 207.067 | -15.491 | 890.008 | 64.448 | 0.97987
2020-12-18 09:45:00 | 3.787 | 213 | 5.049 | 205.686 | 4.901 | 208.8 | 4.32 | 205 | -15.741 | 890.117 | 64.768 | 0.4441
2020-12-18 10:00:00 | 4.385 | 215.4 | 4.399 | 204.974 | 3.88 | 207.6 | 3.599 | 202.067 | -14.37 | 889.917 | 62.741 | 0.21957
2020-12-18 10:15:00 | 1.802 | 172.6 | 4.577 | 209.73 | 4.318 | 206.5 | 3.913 | 202 | -14.249 | 889.833 | 60.683 | 0.14425
2020-12-18 10:30:00 | 3.912 | 205.833 | 4.543 | 206.562 | 3.797 | 206.533 | 3.309 | 200 | -12.57 | 890.117 | 56.373 | 0.23307
2020-12-18 10:45:00 | 3.643 | 212.787 | 4.154 | 206.516 | 3.347 | 204 | 2.642 | 195.867 | -10.909 | 889.575 | 52.693 | 0.3027
2020-12-18 11:00:00 | 0.819 | 87.833 | 0.69 | 197.182 | 1.539 | 214.167 | 2.96 | 209.867 | -9.891 | 889.725 | 50.261 | 0.3027
2020-12-18 11:15:00 | 0.649 | 66.133 | 0.097 | 83.797 | 0.556 | 190.833 | 2.314 | 209.933 | -9.158 | 889.467 | 47.296 | 0.29844
2020-12-18 11:30:00 | 0 | 69.22 | 0 | 80.36 | 0.226 | 156.233 | 0.211 | 206.833 | -8.371 | 889.75 | 45.515 | 0.30696
2020-12-18 11:45:00 | 0.615 | 20.639 | 0 | 35.13 | 0.043 | 37.067 | 0.097 | 192.333 | -6.632 | 890.175 | 42.901 | 0.3027
2020-12-18 12:00:00 | 1.482 | 73.147 | 0.903 | 62.779 | 1.214 | 65 | 1.297 | 97.933 | -7.17 | 890.308 | 42.571 | 0.33112
2020-12-18 12:15:00 | 1.437 | 89.54 | 0.886 | 88.923 | 1.108 | 92.333 | 1.492 | 79.4 | -7.131 | 889.775 | 41.157 | 0.31549
2020-12-18 12:30:00 | 2.367 | 99.553 | 2.081 | 92.919 | 2.235 | 100.033 | 2.367 | 102.433 | -7.46 | 890.05 | 39.307 | 0.27641
2020-12-18 12:45:00 | 2.564 | 103.21 | 2.404 | 97.32 | 2.648 | 95.867 | 2.721 | 90.367 | -6.738 | 889.85 | 35.632 | 0.74752
2020-12-18 13:00:00 | 2.265 | 86.597 | 2.153 | 84.763 | 2.523 | 90.667 | 2.734 | 87.467 | -6.459 | 889.883 | 33.381 | 1.1689
2020-12-18 13:15:00 | 2.69 | 61.527 | 2.65 | 62.592 | 2.776 | 65.867 | 2.96 | 62.8 | -5.747 | 889.667 | 30.565 | 1.451
2020-12-18 13:30:00 | 2.457 | 69.613 | 1.845 | 71.227 | 2.117 | 78.733 | 2.51 | 78.1 | -5.269 | 889.733 | 29.339 | 0.99764
2020-12-18 13:45:00 | 3.173 | 80.095 | 3.257 | 77.999 | 3.446 | 84.633 | 3.749 | 79.067 | -5.558 | 889.317 | 31.733 | 0.42563
2020-12-18 14:00:00 | 2.346 | 80.74 | 1.824 | 81.944 | 2.216 | 84.167 | 2.27 | 84.533 | -5.681 | 889.6 | 32.032 | 0.32402
2020-12-18 14:15:00 | 3.138 | 68.952 | 2.964 | 65.404 | 3.162 | 70.733 | 3.168 | 71.033 | -5.402 | 889.483 | 34.357 | 0.69778
2020-12-18 14:30:00 | 3.058 | 84.13 | 2.816 | 79.666 | 3.012 | 80.1 | 3.424 | 77.867 | -5.202 | 890.017 | 35.931 | 2.2923
2020-12-18 14:45:00 | 3.485 | 71.662 | 3.302 | 69.096 | 3.915 | 69.5 | 4.105 | 67.133 | -5.938 | 889.533 | 37.115 | 1.9335
2020-12-18 15:00:00 | 3.551 | 67.345 | 3.377 | 64.423 | 3.661 | 69.833 | 4.038 | 69.033 | -5.938 | 889.833 | 37.877 | 1.613
2020-12-18 15:15:00 | 3.851 | 57.772 | 3.482 | 60.475 | 4.003 | 65.767 | 4.196 | 65.133 | -6.057 | 890.133 | 37.717 | 2.0422
2020-12-18 15:30:00 | 3.59 | 89.012 | 3.293 | 84.036 | 3.356 | 88.967 | 3.438 | 83.633 | -6.076 | 889.65 | 37.573 | 2.9233
2020-12-18 15:45:00 | 3.918 | 74.757 | 3.792 | 70.716 | 4.004 | 73.967 | 4.08 | 69.9 | -5.76 | 889.683 | 37.44 | 3.9245
2020-12-18 16:00:00 | 3.649 | 67.895 | 3.578 | 67.445 | 3.722 | 71.3 | 3.875 | 67.8 | -5.958 | 889.667 | 38.037 | 4.4304
2020-12-18 16:15:00 | 3.908 | 67.582 | 3.706 | 63.453 | 3.859 | 69.5 | 3.946 | 66.967 | -6.087 | 889.983 | 38.368 | 4.5533
2020-12-18 16:30:00 | 4.243 | 57.087 | 4.053 | 53.667 | 4.25 | 60.733 | 4.531 | 58.067 | -6.478 | 889.917 | 38.875 | 4.2172
2020-12-18 16:45:00 | 4.262 | 57.128 | 3.966 | 52.623 | 4.208 | 59 | 4.244 | 56.233 | -6.81 | 889.5 | 39.397 | 3.4782
2020-12-18 17:00:00 | 3.98 | 64.955 | 3.737 | 61.34 | 3.976 | 66.633 | 4.089 | 66.633 | -6.952 | 889.717 | 39.973 | 2.8401
2020-12-18 17:15:00 | 3.736 | 64.805 | 3.377 | 59.909 | 3.777 | 65.8 | 3.964 | 63.7 | -7.091 | 889.583 | 40.523 | 2.2155
2020-12-18 17:30:00 | 3.686 | 78.54 | 3.377 | 76.18 | 3.734 | 80.267 | 3.826 | 77.7 | -7.164 | 890.158 | 40.811 | 2.1765
2020-12-18 17:45:00 | 3.276 | 79.267 | 2.932 | 76.747 | 2.931 | 81.033 | 3.174 | 74.533 | -7.472 | 889.283 | 41.76 | 1.8006
2020-12-18 18:00:00 | 3.062 | 72.828 | 2.772 | 67.019 | 2.908 | 72.333 | 3.143 | 70.567 | -7.439 | 890.1 | 42.347 | 0.87187
2020-12-18 18:15:00 | 2.871 | 71.28 | 2.858 | 67.74 | 3.014 | 73.467 | 3.17 | 73.533 | -8.07 | 890.025 | 43.211 | 0.17693
2020-12-18 18:30:00 | 2.68 | 64.258 | 2.363 | 58.106 | 2.34 | 64.133 | 2.425 | 61.667 | -8.427 | 889.983 | 44.565 | 0.32473
2020-12-18 18:45:00 | 2.353 | 67.797 | 2.474 | 63.864 | 2.672 | 71.067 | 2.828 | 73.133 | -8.791 | 889.783 | 46.005 | 0.23307
2020-12-18 19:00:00 | 1.609 | 65.2 | 1.87 | 66.246 | 1.951 | 76 | 2.281 | 75.133 | -9.024 | 889.642 | 47.168 | 0.33823
2020-12-18 19:15:00 | 1.12 | 71.127 | 2.01 | 71.968 | 2.259 | 88.533 | 2.113 | 80.167 | -9.724 | 889.925 | 48.608 | 0.33397
2020-12-18 19:30:00 | 0 | 93.033 | 1.793 | 82.279 | 2.187 | 85.9 | 2.367 | 84.933 | -10.162 | 889.592 | 49.099 | 0.30839
2020-12-18 19:45:00 | 0 | 93.17 | 1.253 | 72.156 | 1.926 | 78.367 | 2.338 | 82.033 | -10.834 | 889.917 | 51.872 | 0.30412
2020-12-18 20:00:00 | 0 | 93.16 | 1.687 | 70.679 | 1.776 | 78.033 | 2.199 | 82.033 | -10.816 | 890.192 | 54.741 | 0.30128
2020-12-18 20:15:00 | 0.12 | 97.65 | 0.868 | 87.251 | 1.697 | 86.3 | 1.978 | 81.933 | -10.797 | 890.15 | 55.072 | 0.29418
2020-12-18 20:30:00 | 1.056 | 178.46 | 0 | 90.492 | 1.578 | 99.667 | 1.94 | 85.267 | -11.014 | 890.208 | 54.901 | 0.2956
2020-12-18 20:45:00 | 1.587 | 196.867 | 0.053 | 100.906 | 1.063 | 101.8 | 1.859 | 86 | -11.161 | 889.925 | 54.88 | 0.29275
2020-12-18 21:00:00 | 1.49 | 197.32 | 0.3 | 141.485 | 0.85 | 125.067 | 1.781 | 99 | -10.816 | 889.367 | 54.208 | 0.29702
2020-12-18 21:15:00 | 2.397 | 221.6 | 0.997 | 180.238 | 0.814 | 169.2 | 1.232 | 99 | -11.078 | 889.692 | 53.909 | 0.29844
2020-12-18 21:30:00 | 2.372 | 214.38 | 0.844 | 197.637 | 0.76 | 183.1 | 1.215 | 99.033 | -10.872 | 889.45 | 53.515 | 0.29986
2020-12-18 21:45:00 | 1.934 | 217.34 | 0.673 | 199.511 | 1.182 | 194.767 | 0.88 | 98.9 | -10.834 | 889.9 | 53.515 | 0.29844
2020-12-18 22:00:00 | 2.374 | 223.133 | 0 | 199.543 | 0.14 | 187.967 | 1.141 | 99 | -11.461 | 889.8 | 53.312 | 0.29844
2020-12-18 22:15:00 | 3.397 | 220.847 | 0.11 | 199.529 | 0.21 | 193.067 | 1.025 | 175 | -12.378 | 889.525 | 52.021 | 0.29844
2020-12-18 22:30:00 | 2.776 | 219.54 | 0.19 | 200.562 | 0.09 | 193.067 | 0.457 | 175 | -13.572 | 890.183 | 57.269 | 0.29844
2020-12-18 22:45:00 | 2.401 | 224.367 | 0 | 200.478 | 0 | 192.9 | 0 | 175 | -11.578 | 889.783 | 56.107 | 0.29418
2020-12-18 23:00:00 | 1.028 | 209.833 | 0 | 200.517 | 0 | 193 | 0 | 175 | -11.345 | 889.7 | 54.859 | 0.29986
2020-12-18 23:15:00 | 1.421 | 204.44 | 0 | 200.457 | 0 | 192.867 | 0 | 175 | -11.828 | 889.925 | 55.744 | 0.29844
2020-12-18 23:30:00 | 0.11 | 204.48 | 0 | 151.406 | 0 | 193 | 0.232 | 175 | -11.749 | 890.15 | 56.555 | 0.30696
2020-12-18 23:45:00 | 0.256 | 196.573 | 0.546 | 82.001 | 0 | 131.7 | 0.554 | 175 | -11.586 | 889.583 | 58.005 | 0.30412