## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-19 00:00:00 | 1.238 | 197.24 | 0.24 | 79.396 | 0.193 | 103 | 0.396 | 175 | -11.828 | 889.75 | 56.523 | 0.29986
2020-12-19 00:15:00 | 0.492 | 216.5 | 0 | 79.276 | 0.506 | 102.9 | 0.813 | 173.067 | -12.403 | 889.958 | 57.44 | 0.30981
2020-12-19 00:30:00 | 0.482 | 177.593 | 0 | 87.262 | 0.19 | 103 | 1.421 | 155.667 | -12.161 | 889.883 | 58.517 | 0.30981
2020-12-19 00:45:00 | 2.254 | 224.967 | 0 | 87.235 | 0 | 103.033 | 0.158 | 133.067 | -12.936 | 889.442 | 57.12 | 0.29844
2020-12-19 01:00:00 | 1.213 | 221.2 | 0 | 87.273 | 0 | 103 | 0.628 | 133 | -12.62 | 889.442 | 58.837 | 0.29844
2020-12-19 01:15:00 | 1.926 | 221.413 | 0 | 125.227 | 0.955 | 186 | 1.485 | 146.9 | -11.87 | 889.742 | 58.464 | 0.30554
2020-12-19 01:30:00 | 1.62 | 217.2 | 0.24 | 173.452 | 0.424 | 188 | 1.71 | 151.6 | -12.203 | 889.892 | 57.824 | 0.2956
2020-12-19 01:45:00 | 2.884 | 226.62 | 0 | 173.603 | 0 | 188 | 1.309 | 148.033 | -11.895 | 889.908 | 56.885 | 0.29986
2020-12-19 02:00:00 | 2.654 | 231.627 | 0 | 173.482 | 0 | 188 | 1.066 | 148.1 | -12.057 | 889.783 | 57.899 | 0.29418
2020-12-19 02:15:00 | 2.86 | 234.693 | 0 | 174.085 | 0 | 187.8 | 0.383 | 148.033 | -11.953 | 889.725 | 57.44 | 0.29702
2020-12-19 02:30:00 | 3.923 | 228.533 | 0.389 | 255.472 | 0 | 235 | 0 | 148.4 | -12.403 | 890.108 | 57.568 | 0.29844
2020-12-19 02:45:00 | 4.574 | 216.067 | 1.402 | 221.186 | 0.274 | 235 | 0.635 | 188.033 | -14.083 | 889.825 | 58.176 | 0.29986
2020-12-19 03:00:00 | 5.045 | 216.3 | 1.707 | 212.371 | 0.692 | 234.7 | 1.891 | 209 | -14.595 | 889.75 | 59.392 | 0.30839
2020-12-19 03:15:00 | 4.821 | 212.267 | 1.82 | 212.145 | 0.421 | 226 | 2.829 | 213 | -15.741 | 889.817 | 64.832 | 0.30412
2020-12-19 03:30:00 | 3.91 | 205.153 | 2.133 | 193.706 | 1.133 | 224.633 | 2.149 | 212.433 | -14.22 | 889.633 | 64.523 | 0.30839
2020-12-19 03:45:00 | 3.74 | 206.4 | 2.571 | 188.535 | 1.474 | 197.5 | 1.657 | 196 | -12.453 | 889.875 | 60.683 | 0.30412
2020-12-19 04:00:00 | 4.553 | 212.753 | 2.086 | 194.437 | 1.371 | 188.067 | 1.938 | 195 | -13.409 | 889.842 | 58.048 | 0.2956
2020-12-19 04:15:00 | 4.194 | 213.093 | 1.562 | 193.841 | 1.104 | 188.033 | 1.083 | 193 | -14.828 | 889.908 | 61.483 | 0.29702
2020-12-19 04:30:00 | 3.543 | 202.4 | 0.75 | 176.505 | 0.513 | 175.133 | 1.296 | 183 | -12.62 | 889.942 | 58.24 | 0.30128
2020-12-19 04:45:00 | 4.307 | 211.373 | 0.253 | 179.447 | 0 | 172 | 0.47 | 168 | -13.251 | 889.808 | 55.872 | 0.3027
2020-12-19 05:00:00 | 4.268 | 210.3 | 1.431 | 191.972 | 0.71 | 175 | 1.034 | 168 | -13.07 | 889.842 | 58.848 | 0.30128
2020-12-19 05:15:00 | 3.301 | 196.9 | 0.959 | 162.55 | 1.056 | 166 | 2.082 | 157.667 | -12.903 | 890.042 | 58.699 | 0.30839
2020-12-19 05:30:00 | 2.728 | 204.76 | 0.376 | 162.475 | 0.893 | 156.067 | 1.599 | 155 | -12.178 | 889.608 | 58.123 | 0.3226
2020-12-19 05:45:00 | 2.134 | 217.007 | 0 | 164.543 | 0 | 156.5 | 0.594 | 155 | -11.932 | 890.108 | 57.664 | 0.32118
2020-12-19 06:00:00 | 3.332 | 218.4 | 0.117 | 203.565 | 0 | 139.933 | 0.597 | 154.9 | -12.586 | 889.733 | 56.928 | 0.32544
2020-12-19 06:15:00 | 2.235 | 215.033 | 0 | 203.489 | 0 | 136.967 | 0.363 | 155 | -12.436 | 889.992 | 57.045 | 0.30981
2020-12-19 06:30:00 | 3.5 | 203.047 | 1.127 | 164.624 | 1.005 | 137.133 | 1.521 | 138.333 | -13.305 | 890.05 | 58.88 | 0.31123
2020-12-19 06:45:00 | 2.114 | 166.933 | 1.884 | 128.396 | 1.597 | 127.233 | 1.246 | 135 | -13.003 | 889.9 | 59.872 | 0.30554
2020-12-19 07:00:00 | 2.238 | 161.667 | 1.72 | 138.697 | 1.82 | 131.767 | 1.555 | 134.8 | -12.253 | 889.8 | 58.571 | 0.31123
2020-12-19 07:15:00 | 2.359 | 159.587 | 2.083 | 145.537 | 2.058 | 145 | 1.716 | 134 | -11.757 | 889.725 | 57.088 | 0.3027
2020-12-19 07:30:00 | 2.336 | 165.253 | 2.22 | 144.784 | 2.365 | 145 | 1.894 | 134 | -12.016 | 890.2 | 56.725 | 0.31549
2020-12-19 07:45:00 | 4.118 | 177.367 | 2.778 | 149.326 | 2.189 | 142.233 | 1.492 | 134 | -12.803 | 889.858 | 58.891 | 0.30981
2020-12-19 08:00:00 | 3.173 | 181.933 | 2.141 | 158.149 | 1.913 | 153.533 | 2.175 | 137.567 | -12.503 | 889.675 | 57.867 | 0.30412
2020-12-19 08:15:00 | 3.131 | 181.067 | 2.343 | 136.988 | 2.198 | 134.067 | 2.22 | 127.667 | -13.766 | 889.55 | 58.763 | 0.30839
2020-12-19 08:30:00 | 2.355 | 193.913 | 1.513 | 113.972 | 1.553 | 110.733 | 1.492 | 123.067 | -14.42 | 890.125 | 59.253 | 0.31123
2020-12-19 08:45:00 | 1.042 | 203.547 | 0.166 | 133.102 | 0.48 | 84.833 | 1.149 | 84.933 | -13.466 | 889.608 | 60.171 | 0.31265
2020-12-19 09:00:00 | 0.694 | 207.72 | 0 | 104.255 | 0 | 85 | 0.974 | 42 | -13.105 | 889.95 | 60.085 | 0.30696
2020-12-19 09:15:00 | 2.236 | 239.093 | 0 | 104.259 | 0.829 | 129.067 | 1.632 | 27.621 | -13.728 | 889.683 | 61.333 | 0.30696
2020-12-19 09:30:00 | 3.675 | 223.32 | 0.635 | 237.528 | 0 | 344 | 0 | 17.867 | -13.774 | 889.808 | 60.757 | 0.30981
2020-12-19 09:45:00 | 2.397 | 231.887 | 0 | 237.56 | 0 | 344 | 0 | 18 | -13.409 | 890.025 | 61.365 | 0.31265
2020-12-19 10:00:00 | 2.5 | 208.987 | 0 | 237.522 | 0 | 343.8 | 1.081 | 18.002 | -12.12 | 889.792 | 58.272 | 0.30981
2020-12-19 10:15:00 | 3.715 | 202.813 | 0.143 | 192.471 | 0.227 | 343.933 | 1.283 | 114 | -11.87 | 890.158 | 56.235 | 0.22454
2020-12-19 10:30:00 | 2.888 | 193.947 | 0 | 192.426 | 0.113 | 344 | 1.387 | 114 | -10.558 | 889.817 | 54.645 | 0.18688
2020-12-19 10:45:00 | 2.659 | 192.347 | 1.756 | 164.559 | 1.936 | 169.8 | 2.238 | 159.8 | -9.683 | 889.65 | 50.869 | 0.16343
2020-12-19 11:00:00 | 3.189 | 189.553 | 2.268 | 171.37 | 2.235 | 165.133 | 2.689 | 154.267 | -9.604 | 890.208 | 48.619 | 0.31265
2020-12-19 11:15:00 | 1.975 | 216.293 | 0.703 | 205.355 | 1.007 | 196.933 | 1.542 | 173.567 | -9.766 | 890.183 | 54.443 | 0.30128
2020-12-19 11:30:00 | 0.672 | 306.327 | 0 | 271.832 | 0 | 224.317 | 0 | 175 | -8.153 | 889.858 | 52.208 | 0.3027
2020-12-19 11:45:00 | 0 | 313.093 | 0 | 294.775 | 0 | 224.567 | 0.111 | 175 | -7.247 | 889.433 | 49.963 | 0.30839
2020-12-19 12:00:00 | 0.113 | 34.132 | 0 | 13.031 | 0 | 144 | 1.024 | 173.933 | -8.01 | 889.75 | 48.747 | 0.30981
2020-12-19 12:15:00 | 0.935 | 59.518 | 0.184 | 59.542 | 0.72 | 88.8 | 1.471 | 127.6 | -8 | 890.008 | 45.685 | 0.30128
2020-12-19 12:30:00 | 1.722 | 105.267 | 1.13 | 100.663 | 1.3 | 97.8 | 1.878 | 103 | -7.539 | 889.667 | 42.016 | 0.51658
2020-12-19 12:45:00 | 3.105 | 75.428 | 2.766 | 69.087 | 2.924 | 75.5 | 3.084 | 73.967 | -7.739 | 889.825 | 40.971 | 1.6414
2020-12-19 13:00:00 | 2.518 | 64.452 | 1.98 | 59.032 | 2.47 | 62.367 | 2.697 | 66.1 | -7.776 | 889.9 | 40.528 | 2.1992
2020-12-19 13:15:00 | 2.593 | 62.143 | 2.384 | 61.199 | 2.464 | 65.8 | 2.939 | 63.033 | -7.656 | 889.583 | 37.493 | 2.8792
2020-12-19 13:30:00 | 3.281 | 62.727 | 3.071 | 62.231 | 3.237 | 67.6 | 3.708 | 68.067 | -7.071 | 889.683 | 36.811 | 3.7454
2020-12-19 13:45:00 | 3.671 | 70.88 | 3.255 | 63.145 | 3.388 | 64.033 | 3.532 | 61.933 | -7.19 | 889.333 | 37.547 | 4.2286
2020-12-19 14:00:00 | 3.575 | 65.687 | 3.534 | 61.658 | 3.552 | 65.9 | 3.564 | 60.2 | -7.091 | 889.8 | 39.733 | 4.3082
2020-12-19 14:15:00 | 3.574 | 69.282 | 3.215 | 60.447 | 3.708 | 65.9 | 4.034 | 65.8 | -7.051 | 889.792 | 40.805 | 4.9804
2020-12-19 14:30:00 | 3.47 | 72.8 | 3.429 | 68.992 | 3.786 | 74.567 | 4.035 | 73.433 | -7.071 | 889.808 | 41.237 | 6.6736
2020-12-19 14:45:00 | 4.113 | 68.925 | 3.83 | 60.117 | 4.066 | 66.9 | 4.121 | 62.167 | -6.893 | 889.658 | 40.592 | 7.0801
2020-12-19 15:00:00 | 4.536 | 54.963 | 3.688 | 51.605 | 4.076 | 55.333 | 4.33 | 55.267 | -7.071 | 889.817 | 40.288 | 6.6957
2020-12-19 15:15:00 | 4.413 | 74.458 | 4.007 | 67.814 | 4.34 | 72.267 | 4.453 | 68.933 | -7.131 | 889.617 | 40.464 | 6.2921
2020-12-19 15:30:00 | 4.202 | 78.235 | 3.958 | 73.442 | 4.257 | 76.633 | 4.338 | 73.9 | -7.012 | 889.708 | 40.528 | 5.0059
2020-12-19 15:45:00 | 3.798 | 82.697 | 3.437 | 79.517 | 3.627 | 83.033 | 3.775 | 78.133 | -7.342 | 889.642 | 40.832 | 4.5029
2020-12-19 16:00:00 | 3.987 | 76.29 | 3.902 | 74.585 | 3.846 | 78.267 | 4.081 | 80.067 | -7.091 | 889.875 | 40.661 | 5.0507
2020-12-19 16:15:00 | 4.322 | 79.953 | 3.848 | 75.47 | 4.32 | 80.3 | 4.387 | 74.467 | -7.012 | 889.925 | 40.832 | 3.4903
2020-12-19 16:30:00 | 4.15 | 80.198 | 3.934 | 76.927 | 4.167 | 82.1 | 4.371 | 78.5 | -7.131 | 889.567 | 41.072 | 3.6964
2020-12-19 16:45:00 | 3.671 | 83.52 | 3.472 | 79.006 | 3.442 | 83.967 | 3.842 | 83.4 | -7.21 | 889.725 | 40.843 | 3.3183
2020-12-19 17:00:00 | 3.402 | 82.542 | 3.209 | 79.206 | 3.044 | 82.667 | 3.084 | 79.167 | -7.17 | 889.692 | 40.736 | 3.2828
2020-12-19 17:15:00 | 3.626 | 76.28 | 3.351 | 74.799 | 3.825 | 78.333 | 4.002 | 75.133 | -7.032 | 889.7 | 40.32 | 2.7399
2020-12-19 17:30:00 | 3.54 | 77.127 | 3.159 | 74.639 | 3.225 | 82.667 | 3.381 | 80.8 | -7.051 | 890.142 | 40.741 | 3.1528
2020-12-19 17:45:00 | 3.147 | 77.555 | 3.146 | 74.997 | 3.364 | 79.667 | 3.574 | 73.9 | -7.449 | 889.633 | 41.611 | 3.8136
2020-12-19 18:00:00 | 3.372 | 71.862 | 3.335 | 68.948 | 3.464 | 74.433 | 3.626 | 71.7 | -7.522 | 889.767 | 42.336 | 2.7712
2020-12-19 18:15:00 | 3.292 | 72.978 | 3.392 | 69.786 | 3.43 | 75.7 | 3.587 | 72.4 | -8.09 | 890.15 | 43.445 | 2.5943
2020-12-19 18:30:00 | 2.889 | 74.94 | 2.898 | 73.14 | 3.014 | 78.767 | 3.186 | 75.033 | -8.551 | 889.55 | 44.896 | 2.3712
2020-12-19 18:45:00 | 2.923 | 74.6 | 3.064 | 71.385 | 2.977 | 77 | 3.158 | 73.967 | -9.058 | 889.633 | 46.187 | 1.3387
2020-12-19 19:00:00 | 3.114 | 72.633 | 3.238 | 70.288 | 3.214 | 74.233 | 3.18 | 72.067 | -9.124 | 890.058 | 47.136 | 1.1653
2020-12-19 19:15:00 | 2.206 | 81.773 | 2.464 | 77.498 | 2.464 | 84.4 | 2.714 | 80.867 | -9.683 | 889.967 | 47.915 | 0.58053
2020-12-19 19:30:00 | 2.695 | 80.273 | 2.673 | 73.834 | 2.757 | 80.133 | 2.974 | 75.133 | -10.195 | 890.008 | 48.992 | 0.17125
2020-12-19 19:45:00 | 1.901 | 90.467 | 2.219 | 82.389 | 2.075 | 85.433 | 2.052 | 79.233 | -10.499 | 889.8 | 49.675 | 0.28281
2020-12-19 20:00:00 | 2.057 | 103.91 | 1.687 | 92.586 | 1.426 | 93.767 | 1.72 | 88.133 | -10.418 | 890.125 | 50.901 | 0.3496
2020-12-19 20:15:00 | 1.396 | 104.73 | 1.697 | 78.652 | 1.908 | 92.333 | 2.163 | 85.867 | -10.76 | 889.383 | 51.125 | 0.34249
2020-12-19 20:30:00 | 1.668 | 147.133 | 2.006 | 102.299 | 2.147 | 111 | 2.643 | 107.1 | -10.984 | 890.183 | 52.363 | 0.32828
2020-12-19 20:45:00 | 1.154 | 148.453 | 1.873 | 99.488 | 2.013 | 105.933 | 2.549 | 106.267 | -11.053 | 889.958 | 52.811 | 0.32402
2020-12-19 21:00:00 | 0.146 | 147.867 | 1.491 | 86.154 | 2.303 | 92.867 | 2.663 | 94 | -11.261 | 889.85 | 53.941 | 0.3091
2020-12-19 21:15:00 | 0.05 | 148.5 | 1.226 | 82.11 | 2.214 | 86 | 2.49 | 90 | -11.195 | 889.683 | 54.901 | 0.26362
2020-12-19 21:30:00 | 0 | 171.253 | 1.054 | 79.581 | 2.935 | 82.967 | 3.218 | 82.467 | -12.12 | 889.708 | 56.597 | 0.19967
2020-12-19 21:45:00 | 0 | 171.36 | 0.23 | 62.12 | 1.92 | 78 | 2.63 | 77.767 | -11.953 | 890.167 | 58.752 | 0.17125
2020-12-19 22:00:00 | 0 | 171.347 | 0 | 62.107 | 1.894 | 86.267 | 2.795 | 90.6 | -11.974 | 889.608 | 59.403 | 0.17551
2020-12-19 22:15:00 | 0 | 171.2 | 0.437 | 62.114 | 2.18 | 94 | 2.903 | 90.367 | -13.036 | 889.808 | 59.712 | 0.25296
2020-12-19 22:30:00 | 2.108 | 191.9 | 0.954 | 124.117 | 2.192 | 118 | 2.996 | 101.467 | -12.92 | 889.917 | 60.928 | 0.11369
2020-12-19 22:45:00 | 2.226 | 178.833 | 1.726 | 138.97 | 2.467 | 122.867 | 2.84 | 109.633 | -12.386 | 889.5 | 59.829 | 0.11014
2020-12-19 23:00:00 | 2.851 | 173.533 | 2.478 | 139.584 | 2.797 | 125.367 | 3.402 | 108.767 | -11.736 | 890 | 57.355 | 0.081715
2020-12-19 23:15:00 | 3.274 | 182.16 | 2.047 | 140.945 | 2.046 | 133.7 | 2.63 | 122.833 | -11.849 | 889.792 | 55.563 | 0.12577
2020-12-19 23:30:00 | 2.808 | 185.267 | 2.031 | 145.976 | 2.675 | 128.233 | 2.928 | 118.4 | -12.286 | 890.092 | 56.288 | 0.1208
2020-12-19 23:45:00 | 2.184 | 187.16 | 1.784 | 139.806 | 2.393 | 118.533 | 2.688 | 111.9 | -14.103 | 889.908 | 63.093 | 0.60967