## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-20 00:00:00 | 2.495 | 185.973 | 2.034 | 133.588 | 2.389 | 114.333 | 2.692 | 104 | -13.251 | 890.15 | 57.365 | 0.50379
2020-12-20 00:15:00 | 1.724 | 169.393 | 1.56 | 113.749 | 2.644 | 101.267 | 3.468 | 91.733 | -12.161 | 889.758 | 58.923 | 0.92942
2020-12-20 00:30:00 | 1.924 | 178.3 | 1.587 | 124.925 | 2.482 | 106.967 | 3.239 | 97.6 | -12.72 | 889.892 | 58.56 | 0.97632
2020-12-20 00:45:00 | 1.886 | 152.913 | 2.414 | 107.946 | 2.846 | 99.9 | 3.22 | 90.8 | -12.178 | 889.95 | 57.323 | 0.37873
2020-12-20 01:00:00 | 2.923 | 199.147 | 1.747 | 147.376 | 1.654 | 132.933 | 2.13 | 128.1 | -13.261 | 889.4 | 57.269 | 0.20962
2020-12-20 01:15:00 | 3.121 | 211.433 | 1.942 | 165.68 | 2.314 | 139.133 | 2.754 | 124 | -13.086 | 889.8 | 57.44 | 0.26291
2020-12-20 01:30:00 | 2.545 | 178.867 | 1.92 | 136.528 | 1.931 | 122.5 | 3.2 | 116.567 | -12.603 | 890.1 | 57.653 | 0.80152
2020-12-20 01:45:00 | 1.676 | 191.667 | 0.877 | 127.964 | 2.087 | 101.233 | 3.098 | 91.3 | -12.87 | 889.758 | 56.235 | 0.27996
2020-12-20 02:00:00 | 2.036 | 242.033 | 0 | 114.244 | 1.393 | 85.467 | 2.71 | 75 | -13.003 | 889.85 | 57.664 | 0.87542
2020-12-20 02:15:00 | 0.588 | 215.2 | 0 | 169.218 | 1.278 | 124.3 | 2.374 | 97.133 | -12.553 | 889.958 | 58.976 | 2.2902
2020-12-20 02:30:00 | 0 | 179.2 | 0.597 | 99.869 | 2.108 | 90.067 | 3.112 | 81.067 | -12.67 | 890.3 | 58.837 | 2.1523
2020-12-20 02:45:00 | 0.57 | 77.998 | 2.576 | 79.41 | 3.124 | 82.3 | 3.688 | 78.9 | -12.586 | 890.175 | 57.899 | 0.95287
2020-12-20 03:00:00 | 0.376 | 160.66 | 1.54 | 101.526 | 1.736 | 97.867 | 2.018 | 102.367 | -14.212 | 889.692 | 59.381 | 0.55211
2020-12-20 03:15:00 | 1.38 | 173.933 | 1.408 | 107.651 | 1.547 | 94.833 | 2.394 | 94.333 | -14.099 | 889.933 | 62.144 | 0.60469
2020-12-20 03:30:00 | 0.509 | 206.567 | 0.62 | 123.329 | 1.415 | 85.033 | 2.206 | 75.833 | -14.266 | 890.208 | 62.101 | 0.22099
2020-12-20 03:45:00 | 1.13 | 207.607 | 0.03 | 124.247 | 0.757 | 121.067 | 1.518 | 96 | -13.893 | 889.9 | 62.293 | 0.15775
2020-12-20 04:00:00 | 1.961 | 216.18 | 1.724 | 176.489 | 1.327 | 159.267 | 1.872 | 118 | -13.797 | 890.325 | 60.704 | 0.13856
2020-12-20 04:15:00 | 3.23 | 206.733 | 2.452 | 169.944 | 1.958 | 144.667 | 2.493 | 119.933 | -14.216 | 889.733 | 59.648 | 0.41426
2020-12-20 04:30:00 | 2.75 | 179.433 | 2.73 | 139.596 | 2.914 | 122.667 | 3.03 | 111 | -13.916 | 890.325 | 58.891 | 0.81218
2020-12-20 04:45:00 | 2.519 | 172.727 | 2.911 | 136.182 | 3.236 | 121.367 | 3.725 | 120.633 | -13.635 | 889.892 | 57.675 | 0.15419
2020-12-20 05:00:00 | 2.272 | 212.587 | 1.547 | 174.071 | 1.82 | 152.3 | 2.593 | 130 | -13.791 | 889.6 | 59.52 | 0.31691
2020-12-20 05:15:00 | 3.088 | 227.98 | 0.266 | 168.989 | 1.124 | 147.667 | 1.924 | 118.4 | -14.783 | 889.492 | 58.165 | 0.28636
2020-12-20 05:30:00 | 2.483 | 233.367 | 0 | 214.495 | 1.516 | 154.9 | 2.107 | 128.833 | -13.833 | 889.708 | 58.645 | 0.29133
2020-12-20 05:45:00 | 3.09 | 227.487 | 0 | 214.552 | 0.043 | 157 | 2.117 | 144.6 | -14.599 | 890 | 58.219 | 0.31265
2020-12-20 06:00:00 | 3.069 | 226.467 | 0 | 214.302 | 1.505 | 157.533 | 2.269 | 142.133 | -14.116 | 890.308 | 57.621 | 0.31976
2020-12-20 06:15:00 | 2.404 | 221.593 | 0.554 | 200.079 | 1.226 | 148.8 | 2.788 | 121.4 | -13.635 | 889.775 | 57.877 | 0.32402
2020-12-20 06:30:00 | 2.312 | 213.16 | 1.601 | 169.766 | 1.696 | 149.6 | 2.244 | 121.767 | -13.353 | 889.7 | 56.683 | 0.31691
2020-12-20 06:45:00 | 1.086 | 215.433 | 0.844 | 152.711 | 0.986 | 147.433 | 1.912 | 118 | -12.736 | 889.892 | 56.629 | 0.17125
2020-12-20 07:00:00 | 0 | 212.4 | 0.441 | 125.4 | 1.513 | 100 | 2.216 | 94.967 | -12.97 | 890.092 | 56.672 | 0.22738
2020-12-20 07:15:00 | 1.819 | 167.9 | 1.774 | 108.664 | 2.301 | 98.033 | 3.026 | 88.033 | -12.953 | 889.758 | 57.323 | 0.23164
2020-12-20 07:30:00 | 1.74 | 146.267 | 1.31 | 110.761 | 2.251 | 90 | 2.549 | 85.033 | -12.62 | 889.867 | 55.829 | 0.24515
2020-12-20 07:45:00 | 1.495 | 157.967 | 0.027 | 109.914 | 1.039 | 96.933 | 2.347 | 94.867 | -13.036 | 890.083 | 55.2 | 0.39579
2020-12-20 08:00:00 | 1.995 | 171.713 | 1.327 | 116.317 | 2.328 | 102 | 3.217 | 104 | -13.095 | 889.658 | 54.304 | 0.87684
2020-12-20 08:15:00 | 1.333 | 162.72 | 1.202 | 98.223 | 1.264 | 93.333 | 1.761 | 88.267 | -13.691 | 890.242 | 55.616 | 0.40502
2020-12-20 08:30:00 | 0 | 162.68 | 0.821 | 81.124 | 2.212 | 85 | 2.661 | 84 | -13.67 | 889.583 | 58.933 | 0.11582
2020-12-20 08:45:00 | 0 | 206.44 | 0 | 89.292 | 1.257 | 83.867 | 2.39 | 78.167 | -14.828 | 890.133 | 60.672 | 0.14567
2020-12-20 09:00:00 | 0.233 | 177.833 | 0.027 | 110.119 | 1.478 | 121.3 | 1.871 | 96 | -14.199 | 889.767 | 62.24 | 0.10303
2020-12-20 09:15:00 | 1.553 | 168.333 | 1.337 | 110.315 | 1.573 | 108.367 | 2.036 | 99.333 | -13.849 | 889.908 | 60.683 | 0.27996
2020-12-20 09:30:00 | 2.122 | 178.6 | 2.212 | 125.226 | 2.771 | 133.367 | 2.949 | 122.8 | -13.595 | 889.975 | 57.515 | 0.22738
2020-12-20 09:45:00 | 1.511 | 186.5 | 1.498 | 128.033 | 2.294 | 119.467 | 2.668 | 120.4 | -13.578 | 889.983 | 56.512 | 0.1748
2020-12-20 10:00:00 | 1.444 | 169.307 | 1.546 | 135.057 | 1.958 | 118.4 | 1.85 | 96 | -12.709 | 889.708 | 54.336 | 0.32686
2020-12-20 10:15:00 | 1.522 | 191.26 | 1.087 | 134.727 | 1.348 | 117.333 | 2.161 | 105.233 | -12.295 | 889.808 | 50.389 | 0.33539
2020-12-20 10:30:00 | 1.423 | 216.5 | 1.571 | 110.363 | 2.353 | 116.933 | 2.659 | 120.8 | -12.57 | 890.167 | 51.083 | 0.19825
2020-12-20 10:45:00 | 2.377 | 221.8 | 0.333 | 121.449 | 2.431 | 145.267 | 2.817 | 125.467 | -12.82 | 889.75 | 50.667 | 1.1611
2020-12-20 11:00:00 | 2.053 | 232.767 | 0.316 | 164.819 | 1.754 | 133.933 | 2.415 | 106.467 | -12.436 | 890.125 | 52.256 | 2.8366
2020-12-20 11:15:00 | 0.677 | 143.38 | 1.05 | 107.992 | 1.603 | 96.8 | 2.276 | 94.667 | -10.178 | 889.892 | 49.067 | 2.7492
2020-12-20 11:30:00 | 0 | 171.293 | 0 | 107.242 | 1.703 | 73.9 | 3.4 | 74.467 | -9.541 | 890.008 | 46.624 | 5.4145
2020-12-20 11:45:00 | 1.412 | 26.14 | 0.883 | 32.893 | 1.987 | 59.667 | 3.34 | 69.233 | -10.116 | 889.892 | 45.28 | 7.9029
2020-12-20 12:00:00 | 3.462 | 71.443 | 3.367 | 74.268 | 3.22 | 84.267 | 2.926 | 83.133 | -9.749 | 889.842 | 44.117 | 6.1436
2020-12-20 12:15:00 | 4.076 | 75.93 | 3.605 | 73.178 | 3.736 | 81.633 | 3.651 | 81 | -8.808 | 889.45 | 44.491 | 5.2497
2020-12-20 12:30:00 | 3.25 | 77.393 | 2.836 | 76.355 | 2.868 | 83.867 | 2.744 | 83.267 | -8.791 | 890.092 | 43.808 | 2.9162
2020-12-20 12:45:00 | 3.403 | 81.583 | 2.804 | 83.322 | 2.658 | 86.567 | 2.613 | 86.867 | -8.407 | 889.733 | 43.968 | 5.153
2020-12-20 13:00:00 | 3.954 | 79.34 | 3.645 | 78.102 | 3.7 | 82.567 | 3.684 | 79.933 | -8.15 | 890.308 | 43.531 | 7.4027
2020-12-20 13:15:00 | 4.466 | 73.8 | 4.09 | 68.827 | 4.548 | 73.667 | 4.958 | 70.667 | -8.311 | 889.908 | 44.011 | 10.6528
2020-12-20 13:30:00 | 4.924 | 73.98 | 4.573 | 68.05 | 5.199 | 73.1 | 5.372 | 71.5 | -7.539 | 889.525 | 44.096 | 11.3911
2020-12-20 13:45:00 | 5.277 | 72.918 | 5.039 | 69.13 | 5.225 | 73.7 | 5.3 | 71.633 | -7.522 | 889.983 | 43.253 | 9.2914
2020-12-20 14:00:00 | 4.574 | 76.962 | 4.498 | 72.648 | 4.997 | 74.233 | 5.009 | 72.4 | -7.539 | 889.8 | 43.136 | 10.8987
2020-12-20 14:15:00 | 4.705 | 77.685 | 4.386 | 70.305 | 4.841 | 75.8 | 4.915 | 71.067 | -7.706 | 889.742 | 43.733 | 13.8632
2020-12-20 14:30:00 | 5.457 | 72.565 | 4.853 | 65.243 | 5.426 | 71.9 | 5.68 | 70.967 | -7.572 | 889.9 | 44.416 | 11.0102
2020-12-20 14:45:00 | 4.713 | 78.862 | 4.518 | 73.676 | 4.808 | 75.7 | 4.993 | 71.3 | -7.706 | 889.358 | 44.288 | 9.3674
2020-12-20 15:00:00 | 5.021 | 72.55 | 4.673 | 70.415 | 4.801 | 74 | 4.851 | 71.7 | -8.053 | 889.908 | 44.363 | 8.2205
2020-12-20 15:15:00 | 4.861 | 82.8 | 4.437 | 80.379 | 4.844 | 80.467 | 4.977 | 76.133 | -7.506 | 889.667 | 44.64 | 7.1419
2020-12-20 15:30:00 | 4.642 | 70.165 | 4.266 | 65.767 | 4.817 | 71.167 | 5.088 | 68.4 | -7.639 | 889.767 | 44.896 | 4.6421
2020-12-20 15:45:00 | 3.415 | 72.535 | 3.43 | 66.676 | 3.659 | 73.267 | 3.929 | 70.1 | -7.869 | 889.483 | 44.384 | 5.2113
2020-12-20 16:00:00 | 3.4 | 70.883 | 3.308 | 66.503 | 3.512 | 74.3 | 3.873 | 74.233 | -7.612 | 889.533 | 44.491 | 5.0898
2020-12-20 16:15:00 | 3.953 | 66.4 | 3.476 | 63.393 | 3.772 | 70.667 | 4.127 | 67.833 | -7.99 | 889.95 | 45.472 | 6.8698
2020-12-20 16:30:00 | 4.091 | 73.608 | 3.989 | 72.042 | 4.179 | 73.633 | 4.329 | 69.567 | -7.556 | 889.825 | 45.771 | 5.5446
2020-12-20 16:45:00 | 4.452 | 76.357 | 4.205 | 69.164 | 4.492 | 73.467 | 4.636 | 70.167 | -7.622 | 889.917 | 45.483 | 3.6708
2020-12-20 17:00:00 | 4.41 | 79.23 | 4.142 | 76.37 | 4.364 | 80.7 | 4.441 | 75.433 | -7.943 | 889.75 | 46.133 | 3.6601
2020-12-20 17:15:00 | 4.158 | 71.765 | 3.92 | 66.855 | 3.992 | 71.933 | 4.18 | 67.567 | -8.023 | 889.975 | 46.219 | 3.0476
2020-12-20 17:30:00 | 3.497 | 69.525 | 3.359 | 67.413 | 3.455 | 75.267 | 3.704 | 72.033 | -8.23 | 890.35 | 46.4 | 1.6741
2020-12-20 17:45:00 | 3.364 | 70.913 | 3.422 | 67.054 | 3.509 | 69.533 | 3.59 | 67.533 | -7.97 | 889.667 | 47.189 | 1.0907
2020-12-20 18:00:00 | 2.945 | 73.778 | 2.72 | 67.068 | 2.87 | 71.833 | 3.128 | 68.7 | -8.227 | 890.233 | 47.765 | 0.72904
2020-12-20 18:15:00 | 2.859 | 47.033 | 2.637 | 45.373 | 2.594 | 51.867 | 2.459 | 48.033 | -8.808 | 890.142 | 48.864 | 1.2215
2020-12-20 18:30:00 | 2.812 | 46.557 | 2.84 | 46.647 | 2.695 | 53.4 | 2.599 | 46.467 | -9.32 | 890.067 | 50.635 | 0.21814
2020-12-20 18:45:00 | 2.477 | 41.903 | 2.943 | 40.98 | 2.723 | 47.633 | 2.486 | 41.167 | -9.995 | 890.35 | 52.693 | 0.30696
2020-12-20 19:00:00 | 2.08 | 35.567 | 2.646 | 38.208 | 2.5 | 49.333 | 2.58 | 42.633 | -10.283 | 889.533 | 54.101 | 0.30696
2020-12-20 19:15:00 | 1.743 | 62 | 2.387 | 55.32 | 2.744 | 59.433 | 2.944 | 51.733 | -10.383 | 889.583 | 56.32 | 0.31123
2020-12-20 19:30:00 | 0.879 | 62 | 1.6 | 60.192 | 2.273 | 62.1 | 2.524 | 56.167 | -10.416 | 889.883 | 56.629 | 0.29844
2020-12-20 19:45:00 | 0 | 59.125 | 1.35 | 54.38 | 1.922 | 61 | 2.116 | 55.967 | -11.084 | 889.675 | 57.301 | 0.29844
2020-12-20 20:00:00 | 0.493 | 180.593 | 1.3 | 74.045 | 1.722 | 75.233 | 2.12 | 67.867 | -11.745 | 889.908 | 60.757 | 0.29844
2020-12-20 20:15:00 | 0.629 | 181.447 | 0.203 | 85.247 | 1.229 | 83 | 1.936 | 72 | -11.595 | 890.058 | 61.248 | 0.29844
2020-12-20 20:30:00 | 1.493 | 193.933 | 0 | 85.247 | 0.15 | 86 | 1.128 | 78 | -11.278 | 889.35 | 61.525 | 0.29844
2020-12-20 20:45:00 | 1.79 | 218.167 | 0 | 85.254 | 0 | 86 | 0.733 | 77.867 | -11.686 | 889.692 | 61.376 | 0.29844
2020-12-20 21:00:00 | 1.426 | 236.053 | 0 | 85.249 | 0 | 85.733 | 0 | 77.633 | -11.703 | 890.383 | 61.536 | 0.29844
2020-12-20 21:15:00 | 2.028 | 230.787 | 0 | 85.28 | 0 | 85.8 | 0 | 77.6 | -11.516 | 890.3 | 61.173 | 0.29844
2020-12-20 21:30:00 | 2.947 | 226.747 | 0 | 85.288 | 0 | 85.8 | 0 | 77.867 | -12.182 | 890.392 | 60.288 | 0.29844
2020-12-20 21:45:00 | 3.184 | 233.2 | 1.007 | 206.861 | 0 | 86 | 0 | 77.667 | -12.203 | 889.942 | 60.821 | 0.29844
2020-12-20 22:00:00 | 3.176 | 230.887 | 1.213 | 220.898 | 0 | 85.933 | 0 | 77.2 | -12.186 | 889.85 | 61.248 | 0.29844
2020-12-20 22:15:00 | 3.321 | 230.833 | 1.035 | 231.518 | 0 | 86 | 0 | 76.133 | -12.52 | 889.883 | 60.533 | 0.29986
2020-12-20 22:30:00 | 2.266 | 227.513 | 0 | 231.521 | 0 | 86 | 0 | 76.333 | -12.078 | 889.858 | 62.059 | 0.29844
2020-12-20 22:45:00 | 2.911 | 242.813 | 0.552 | 234.285 | 0 | 239 | 0.413 | 76.233 | -11.974 | 889.742 | 61.237 | 0.29986
2020-12-20 23:00:00 | 2.547 | 225.033 | 0 | 235.56 | 0 | 316.067 | 0.191 | 76.317 | -12.203 | 889.867 | 61.12 | 0.30696
2020-12-20 23:15:00 | 3 | 237.567 | 0 | 235.487 | 0.113 | 316 | 1.188 | 58.292 | -12.603 | 889.742 | 59.712 | 0.30696
2020-12-20 23:30:00 | 2.966 | 232.2 | 0 | 267.064 | 0.03 | 0 | 1.737 | 24.067 | -13.153 | 889.875 | 61.984 | 0.29844
2020-12-20 23:45:00 | 3.511 | 230.833 | 0.576 | 257.929 | 0 | 23.6 | 0.551 | 41.008 | -12.986 | 889.8 | 62.096 | 0.30128