## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-21 00:00:00 | 2.95 | 234.933 | 0.067 | 235.475 | 0 | 332 | 0.917 | 41 | -12.686 | 889.742 | 62.048 | 0.29986
2020-12-21 00:15:00 | 2.418 | 231.867 | 0 | 235.564 | 0 | 332 | 1.502 | 54.833 | -12.503 | 889.692 | 63.541 | 0.29986
2020-12-21 00:30:00 | 2.803 | 232.867 | 0 | 235.533 | 0 | 332.067 | 1.135 | 76.067 | -12.503 | 889.908 | 63.68 | 0.29986
2020-12-21 00:45:00 | 2.539 | 231.833 | 0 | 235.507 | 0 | 332 | 0.094 | 76 | -12.52 | 889.942 | 64.267 | 0.30839
2020-12-21 01:00:00 | 3.564 | 222.333 | 0.167 | 235.05 | 0 | 331.933 | 0.702 | 76.008 | -13.07 | 888.908 | 63.691 | 0.3027
2020-12-21 01:15:00 | 2.253 | 231.233 | 0.05 | 221.534 | 0 | 332 | 0 | 76 | -13.153 | 889.833 | 64.213 | 0.34249
2020-12-21 01:30:00 | 3.754 | 249.293 | 2.405 | 265.049 | 1.98 | 276.467 | 1.917 | 315.733 | -13.161 | 889.817 | 64.912 | 0.30696
2020-12-21 01:45:00 | 2.412 | 270.16 | 1.818 | 301.566 | 1.985 | 296.9 | 2.225 | 290.567 | -13.466 | 890.075 | 65.643 | 0.30128
2020-12-21 02:00:00 | 2.068 | 243.613 | 1.227 | 321.072 | 0.687 | 320 | 1.033 | 312 | -14.558 | 889.875 | 65.419 | 0.29986
2020-12-21 02:15:00 | 3.557 | 227.467 | 0.435 | 308.112 | 0 | 319.667 | 0 | 312 | -14.116 | 890.267 | 65.371 | 0.30412
2020-12-21 02:30:00 | 2.711 | 232.107 | 0 | 282.834 | 0 | 320 | 0 | 312 | -13.522 | 889.725 | 65.056 | 0.3027
2020-12-21 02:45:00 | 3.45 | 227.653 | 1.139 | 278.988 | 0 | 320 | 0.485 | 294.2 | -13.724 | 889.692 | 62.965 | 0.30696
2020-12-21 03:00:00 | 3.261 | 233.933 | 1.702 | 249.931 | 0.236 | 276 | 0.554 | 272.067 | -13.186 | 889.983 | 63.563 | 0.30128
2020-12-21 03:15:00 | 3.216 | 232.833 | 1.7 | 251.72 | 0.064 | 276 | 0.161 | 272 | -13.484 | 889.808 | 62.581 | 0.3027
2020-12-21 03:30:00 | 3.072 | 226.827 | 0.852 | 239.616 | 0.264 | 255 | 0.657 | 256.4 | -13.541 | 889.825 | 62.507 | 0.30554
2020-12-21 03:45:00 | 2.554 | 228.127 | 0.651 | 243.469 | 0.097 | 242.133 | 0.215 | 215.05 | -13.32 | 890.433 | 63.424 | 0.30412
2020-12-21 04:00:00 | 1.832 | 206.9 | 0 | 241.41 | 0 | 238 | 0 | 212 | -12.82 | 889.925 | 62.976 | 0.31549
2020-12-21 04:15:00 | 2.196 | 203.933 | 0 | 241.443 | 0 | 237.967 | 0.36 | 212 | -12.603 | 889.908 | 67.221 | 0.3226
2020-12-21 04:30:00 | 2.038 | 192.82 | 0 | 241.518 | 0.146 | 238.1 | 1.771 | 155 | -12.253 | 890.175 | 67.275 | 0.2217
2020-12-21 04:45:00 | 1.61 | 213.733 | 0 | 241.547 | 0 | 238 | 0.477 | 154.867 | -12.453 | 889.558 | 66.411 | 0.25083
2020-12-21 05:00:00 | 1.07 | 214.733 | 0 | 241.537 | 0 | 138 | 0.819 | 154.967 | -12.47 | 889.492 | 65.547 | 0.33539
2020-12-21 05:15:00 | 1.454 | 234.1 | 0 | 241.542 | 0 | 137.867 | 0 | 155 | -12.453 | 889.617 | 66.4 | 0.3297
2020-12-21 05:30:00 | 1.74 | 230.3 | 0 | 241.49 | 0 | 138 | 0.322 | 155 | -13.086 | 889.95 | 65.963 | 0.30839
2020-12-21 05:45:00 | 1.001 | 233.267 | 0 | 241.348 | 0 | 103 | 1.65 | 128 | -12.853 | 889.75 | 66.56 | 0.14567
2020-12-21 06:00:00 | 2.31 | 227.073 | 0 | 241.089 | 1.694 | 116.467 | 3.097 | 122.833 | -13.301 | 889.658 | 63.968 | 0.76883
2020-12-21 06:15:00 | 2.751 | 229.233 | 1.2 | 202.604 | 1.732 | 154.967 | 2.878 | 129.5 | -13.036 | 890.125 | 63.52 | 0.85694
2020-12-21 06:30:00 | 4.147 | 219.767 | 2.808 | 185.391 | 2.88 | 165.467 | 3.514 | 144.9 | -13.053 | 889.842 | 59.765 | 0.21104
2020-12-21 06:45:00 | 5.214 | 228.733 | 2.6 | 213.531 | 2.39 | 190.833 | 2.727 | 159.133 | -13.916 | 889.875 | 57.397 | 0.31833
2020-12-21 07:00:00 | 4.758 | 227.133 | 2.84 | 229.46 | 1.916 | 215.933 | 1.665 | 173.033 | -13.774 | 890.108 | 53.675 | 0.26149
2020-12-21 07:15:00 | 4.601 | 232.573 | 1.939 | 233.235 | 0.493 | 224.2 | 0.893 | 183.1 | -14.345 | 890.092 | 54.389 | 0.27357
2020-12-21 07:30:00 | 4.173 | 231.52 | 1.593 | 226.27 | 0.624 | 202.4 | 1.219 | 142 | -13.222 | 890.008 | 56.587 | 0.30839
2020-12-21 07:45:00 | 3.496 | 241.4 | 0.327 | 239.719 | 0.066 | 140.6 | 1.407 | 142.1 | -12.853 | 889.558 | 55.701 | 0.31123
2020-12-21 08:00:00 | 4.856 | 234.867 | 2.91 | 250.069 | 1.91 | 241.067 | 1.29 | 167.633 | -13.18 | 889.917 | 52.512 | 0.23449
2020-12-21 08:15:00 | 3.654 | 237.933 | 1.069 | 240.418 | 0 | 221 | 1.245 | 158.033 | -12.57 | 889.567 | 52.32 | 0.22596
2020-12-21 08:30:00 | 2.265 | 229.833 | 0 | 239.123 | 0.32 | 150.4 | 2.19 | 124.267 | -12.099 | 890.017 | 50.805 | 0.3027
2020-12-21 08:45:00 | 3.666 | 223 | 0.574 | 179.819 | 1.665 | 148.433 | 2.727 | 135.433 | -11.995 | 889.492 | 49.323 | 0.22951
2020-12-21 09:00:00 | 3.087 | 213 | 2.1 | 190.401 | 2.216 | 169.433 | 2.257 | 147.433 | -13.28 | 889.7 | 54.336 | 0.12932
2020-12-21 09:15:00 | 3.731 | 217.2 | 2.237 | 182.811 | 2.078 | 169.133 | 2.59 | 148.3 | -12.603 | 889.967 | 52.555 | 0.22525
2020-12-21 09:30:00 | 3.188 | 222.727 | 1.565 | 185.56 | 1.667 | 162.533 | 2.47 | 143.067 | -11.936 | 890.25 | 50.08 | 0.19896
2020-12-21 09:45:00 | 3.266 | 220.153 | 1.217 | 172.543 | 1.626 | 147.633 | 2.637 | 128.367 | -11.911 | 889.833 | 49.184 | 0.29702
2020-12-21 10:00:00 | 1.78 | 238.66 | 0 | 151.614 | 0.884 | 83.133 | 2.343 | 88.4 | -11.04 | 889.7 | 48.949 | 0.31691
2020-12-21 10:15:00 | 2.867 | 268.713 | 1.197 | 322.799 | 1.406 | 77.876 | 2.073 | 46.942 | -10.564 | 889.75 | 46.731 | 0.11937
2020-12-21 10:30:00 | 2.307 | 284.813 | 1.869 | 351.131 | 2.433 | 15.321 | 3.042 | 30.733 | -11.088 | 890.167 | 48.299 | 0.32828
2020-12-21 10:45:00 | 2.448 | 242.727 | 0.756 | 319.325 | 1.157 | 223.369 | 2.119 | 22.344 | -11.499 | 890 | 49.013 | 0.31123
2020-12-21 11:00:00 | 2.467 | 284.893 | 1.946 | 303.474 | 1.836 | 313.8 | 1.9 | 312.467 | -10.424 | 889.858 | 49.84 | 0.29702
2020-12-21 11:15:00 | 1.683 | 328.533 | 1.794 | 276.143 | 2.032 | 315.267 | 2.49 | 325.867 | -10.449 | 890.108 | 48.565 | 0.10161
2020-12-21 11:30:00 | 1.936 | 319.027 | 2.108 | 319.645 | 2.527 | 324.167 | 2.881 | 329.833 | -9.891 | 889.958 | 47.717 | 0.10445
2020-12-21 11:45:00 | 2.403 | 320.933 | 2.086 | 308.79 | 2.368 | 307.4 | 2.946 | 316.033 | -9.258 | 889.475 | 47.653 | 0.11156
2020-12-21 12:00:00 | 2.774 | 317.067 | 2.643 | 312.629 | 2.679 | 318.467 | 2.812 | 320.533 | -9.374 | 889.908 | 46.005 | 0.16769
2020-12-21 12:15:00 | 3.216 | 296.2 | 3.131 | 294.139 | 3.134 | 299.9 | 3.232 | 295.533 | -8.941 | 889.975 | 44.384 | 1.2286
2020-12-21 12:30:00 | 3.619 | 322.6 | 3.59 | 314.916 | 3.621 | 316.867 | 3.683 | 313.6 | -8.908 | 890.233 | 45.211 | 1.1824
2020-12-21 12:45:00 | 3.356 | 317.667 | 3.11 | 312.585 | 3.197 | 316.567 | 3.364 | 315.333 | -8.641 | 890.083 | 46.032 | 2.2155
2020-12-21 13:00:00 | 3.934 | 324.36 | 3.711 | 318.552 | 3.795 | 320.7 | 3.957 | 318.7 | -8.601 | 889.942 | 45.424 | 2.4891
2020-12-21 13:15:00 | 4.022 | 319.24 | 4.014 | 316.78 | 4.122 | 321.833 | 4.175 | 320.667 | -8.464 | 889.967 | 44.325 | 4.0168
2020-12-21 13:30:00 | 3.586 | 320.747 | 3.307 | 312.588 | 3.478 | 312.833 | 3.544 | 308.433 | -8.137 | 890.558 | 44.005 | 6.6559
2020-12-21 13:45:00 | 3.841 | 329.293 | 3.948 | 322.602 | 3.974 | 323.4 | 4.319 | 324.7 | -7.9 | 890.108 | 43.035 | 7.4467
2020-12-21 14:00:00 | 4.068 | 320.253 | 3.931 | 318.877 | 4.412 | 322.2 | 4.472 | 319.1 | -7.636 | 889.933 | 43.371 | 4.986
2020-12-21 14:15:00 | 3.455 | 308.947 | 3.606 | 306.825 | 3.757 | 315.667 | 4.174 | 313.233 | -7.276 | 889.967 | 43.904 | 37.9549
2020-12-21 14:30:00 | 7.164 | 328.867 | 7.344 | 319.49 | 7.936 | 322.733 | 8.363 | 319.9 | -6.462 | 889.783 | 44.043 | 60.5374
2020-12-21 14:45:00 | 9.493 | 335.92 | 9.893 | 331.225 | 10.1 | 334.533 | 10.324 | 332.067 | -6.774 | 889.592 | 46.421 | 69.7819
2020-12-21 15:00:00 | 9.034 | 322.267 | 9.295 | 314.064 | 9.733 | 317 | 10.148 | 316.133 | -6.578 | 889.708 | 46.853 | 77.0276
2020-12-21 15:15:00 | 9.748 | 321.373 | 10.276 | 314.567 | 10.689 | 317.8 | 11.112 | 315.1 | -6.19 | 889.725 | 46.08 | 62.0346
2020-12-21 15:30:00 | 10.96 | 317.56 | 11.328 | 308.051 | 11.683 | 311.667 | 12.027 | 308.2 | -6.136 | 889.825 | 46.277 | 42.1821
2020-12-21 15:45:00 | 12.548 | 291.067 | 13.427 | 285.901 | 13.968 | 288.033 | 14.291 | 286.633 | -5.469 | 889.45 | 41.701 | 37.7091
2020-12-21 16:00:00 | 12.596 | 295.28 | 13.693 | 289.485 | 13.954 | 290.9 | 14.065 | 289.733 | -5.819 | 889.425 | 44.448 | 24.9942
2020-12-21 16:15:00 | 11.075 | 296.88 | 11.798 | 289.891 | 12.244 | 290.7 | 12.775 | 289.667 | -6.05 | 890.067 | 48.336 | 19.5363
2020-12-21 16:30:00 | 11.399 | 301.413 | 12.446 | 294.702 | 13.115 | 296.9 | 13.766 | 293.667 | -6.747 | 890.267 | 52.363 | 21.1813
2020-12-21 16:45:00 | 10.368 | 292.853 | 11.662 | 286.548 | 12.354 | 286.767 | 12.758 | 287.2 | -7.071 | 889.767 | 54.837 | 25.5797
2020-12-21 17:00:00 | 13.37 | 282.68 | 14.892 | 276.848 | 15.425 | 279.1 | 15.694 | 277.8 | -7.128 | 889.917 | 53.648 | 28.9876
2020-12-21 17:15:00 | 14.589 | 277.747 | 16.284 | 272.278 | 16.604 | 275 | 16.635 | 271.367 | -7.886 | 889.858 | 53.515 | 22.8071
2020-12-21 17:30:00 | 12.247 | 275.28 | 13.598 | 268.351 | 13.837 | 271.2 | 14.164 | 267.533 | -8.371 | 889.392 | 54.139 | 23.3997
2020-12-21 17:45:00 | 13.677 | 264.953 | 15.156 | 258.975 | 15.648 | 262.25 | 15.708 | 258.833 | -8.19 | 889.95 | 54.277 | 24.7576
2020-12-21 18:00:00 | 13.182 | 266.44 | 14.976 | 262.398 | 15.602 | 264.1 | 15.698 | 260.283 | -8.431 | 889.142 | 53.061 | 26.4118
2020-12-21 18:15:00 | 11.271 | 262.813 | 12.844 | 258.593 | 13.361 | 259.8 | 13.686 | 255.567 | -8.858 | 889.683 | 51.696 | 25.0489
2020-12-21 18:30:00 | 13.015 | 258.82 | 14.94 | 256.511 | 15.523 | 260.05 | 15.959 | 256.35 | -8.624 | 889.667 | 50.112 | 46.9223
2020-12-21 18:45:00 | 12.86 | 264.947 | 14.609 | 260.592 | 15.386 | 263.917 | 15.752 | 260.4 | -8.908 | 889.725 | 49.845 | 51.2681
2020-12-21 19:00:00 | 13.066 | 261.547 | 14.791 | 255.526 | 15.437 | 258.867 | 15.47 | 254.417 | -9.212 | 890.125 | 51.381 | 51.9851
2020-12-21 19:15:00 | 12.428 | 260.693 | 14.246 | 260.829 | 14.842 | 262.95 | 15.302 | 260.4 | -9.995 | 890.033 | 52.277 | 52.8832
2020-12-21 19:30:00 | 13.804 | 268.493 | 15.28 | 264.653 | 15.959 | 267.933 | 16.493 | 264 | -10.062 | 889.817 | 53.029 | 55.8015
2020-12-21 19:45:00 | 14.139 | 265 | 15.97 | 258.828 | 16.432 | 262.133 | 16.831 | 258.4 | -10.483 | 889.867 | 55.168 | 57.0251
2020-12-21 20:00:00 | 11.338 | 263.767 | 12.935 | 260.059 | 13.812 | 263.567 | 14.466 | 258.883 | -10.483 | 889.9 | 55.456 | 57.8984
2020-12-21 20:15:00 | 12.685 | 260.133 | 13.875 | 258.162 | 14.58 | 260.967 | 14.887 | 257.75 | -10.199 | 889.892 | 54.48 | 60.3896
2020-12-21 20:30:00 | 13.096 | 260 | 14.11 | 255.593 | 15.079 | 258.667 | 15.314 | 257.133 | -10.466 | 889.925 | 53.835 | 59.9278
2020-12-21 20:45:00 | 13.941 | 269.44 | 15.134 | 263.564 | 15.882 | 265.967 | 15.967 | 261.717 | -10.166 | 889.858 | 54.011 | 60.1274
2020-12-21 21:00:00 | 11.343 | 258.947 | 12.016 | 252.62 | 13.138 | 256.7 | 13.611 | 254.517 | -10.212 | 890.117 | 53.899 | 61.7511
2020-12-21 21:15:00 | 13.513 | 260.933 | 15.108 | 256.21 | 15.647 | 258.967 | 16.001 | 254.483 | -10.333 | 889.925 | 54.037 | 62.505
2020-12-21 21:30:00 | 13.938 | 258.087 | 15.792 | 256.126 | 16.47 | 259 | 16.778 | 256.417 | -10.418 | 889.942 | 54.181 | 62.6279
2020-12-21 21:45:00 | 14.837 | 263.453 | 16.49 | 260.116 | 17.199 | 262.217 | 17.772 | 259.35 | -10.909 | 890.233 | 55.019 | 62.3508
2020-12-21 22:00:00 | 13.805 | 260.413 | 15.564 | 255.822 | 16.702 | 258.667 | 17.087 | 254.767 | -10.747 | 889.675 | 54.624 | 61.0647
2020-12-21 22:15:00 | 14.336 | 259.047 | 16.546 | 255.847 | 17.43 | 258.8 | 17.784 | 255.733 | -10.722 | 890.475 | 54.896 | 60.8401
2020-12-21 22:30:00 | 13.022 | 256.32 | 15.058 | 254.678 | 16.001 | 258.65 | 16.832 | 255.35 | -10.518 | 889.683 | 54.469 | 60.9219
2020-12-21 22:45:00 | 15.024 | 262.067 | 16.865 | 258.826 | 17.65 | 261.533 | 18.39 | 258.85 | -10.349 | 889.65 | 54.155 | 60.433
2020-12-21 23:00:00 | 15.768 | 266.7 | 18 | 262.656 | 18.9 | 266.5 | 19.438 | 262.367 | -10.383 | 890.267 | 55.088 | 59.4915
2020-12-21 23:15:00 | 14.834 | 261.28 | 17.028 | 255.595 | 17.558 | 259.867 | 18.399 | 255.283 | -10.37 | 889.942 | 55.589 | 56.9214
2020-12-21 23:30:00 | 12.878 | 250.647 | 14.345 | 247.324 | 15.023 | 252.233 | 15.398 | 247.783 | -10.724 | 889.867 | 55.904 | 54.0684
2020-12-21 23:45:00 | 13.382 | 261.407 | 15.325 | 256.896 | 15.869 | 259.9 | 16.548 | 257.617 | -10.595 | 890.083 | 56.688 | 63.757