## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-22 00:00:00 | 12.902 | 257.267 | 14.944 | 255.161 | 16.012 | 257.45 | 16.576 | 254.15 | -10.283 | 890.1 | 57.275 | 81.2725
2020-12-22 00:15:00 | 11.678 | 256.467 | 13.623 | 253.72 | 14.789 | 255.917 | 15.075 | 253.3 | -10.233 | 889.725 | 58.139 | 81.1595
2020-12-22 00:30:00 | 11.47 | 255.233 | 13.595 | 253.201 | 14.305 | 257.167 | 14.863 | 252.767 | -10.349 | 889.783 | 58.491 | 81.1304
2020-12-22 00:45:00 | 12.329 | 256.207 | 13.82 | 253.068 | 14.473 | 255.9 | 14.911 | 252.45 | -10.443 | 890.108 | 57.605 | 80.8838
2020-12-22 01:00:00 | 9.878 | 265.4 | 11.165 | 261.506 | 11.877 | 262.9 | 12.396 | 260.05 | -10.449 | 889.55 | 57.728 | 76.9494
2020-12-22 01:15:00 | 8.764 | 268.8 | 9.736 | 263.642 | 10.39 | 265.233 | 10.838 | 261.133 | -10.316 | 890.083 | 56.464 | 81.8566
2020-12-22 01:30:00 | 11.802 | 272.933 | 13.147 | 268.235 | 13.266 | 269.333 | 13.735 | 265.767 | -10.199 | 890.633 | 56.005 | 81.8537
2020-12-22 01:45:00 | 11.464 | 258.9 | 12.58 | 254.05 | 13.115 | 259 | 13.411 | 254.417 | -10.349 | 890.042 | 55.419 | 83.461
2020-12-22 02:00:00 | 11.412 | 251.753 | 13.005 | 249.664 | 13.593 | 253.45 | 13.812 | 248.817 | -10.834 | 890.05 | 54.779 | 85.1941
2020-12-22 02:15:00 | 10.846 | 255.487 | 11.927 | 251.381 | 12.619 | 254.65 | 12.81 | 251.033 | -10.628 | 889.917 | 54.203 | 83.3722
2020-12-22 02:30:00 | 10.711 | 250.6 | 11.933 | 248.798 | 12.559 | 251.233 | 12.363 | 245.45 | -10.872 | 889.808 | 54.891 | 73.7192
2020-12-22 02:45:00 | 9.52 | 238.1 | 10.64 | 235.706 | 10.971 | 240.833 | 10.937 | 237.433 | -11.078 | 889.775 | 56.928 | 70.2154
2020-12-22 03:00:00 | 7.584 | 239.567 | 8.384 | 236.462 | 8.895 | 243.5 | 9.11 | 236.033 | -10.891 | 890.108 | 57.323 | 74.2528
2020-12-22 03:15:00 | 7.434 | 243.607 | 8.332 | 239.096 | 8.9 | 243.983 | 9.054 | 238.567 | -10.928 | 889.675 | 59.264 | 68.6258
2020-12-22 03:30:00 | 8.601 | 241.327 | 9.472 | 238.638 | 10.093 | 244.433 | 10.087 | 239.833 | -10.947 | 889.983 | 60.256 | 53.3067
2020-12-22 03:45:00 | 6.776 | 241.573 | 7.384 | 239.981 | 8.146 | 244.467 | 8.193 | 238.733 | -10.928 | 890.175 | 60.331 | 44.9078
2020-12-22 04:00:00 | 7.478 | 231.813 | 8.103 | 233.473 | 8.521 | 238.167 | 8.607 | 232.7 | -10.872 | 890.033 | 61.301 | 57.6689
2020-12-22 04:15:00 | 6.104 | 236.367 | 6.699 | 232.53 | 7.639 | 238.267 | 7.86 | 234.733 | -11.478 | 889.933 | 62.709 | 78.3712
2020-12-22 04:30:00 | 7.526 | 226.42 | 8.324 | 226.121 | 8.862 | 232.367 | 8.95 | 229.867 | -11.382 | 889.775 | 64.363 | 86.6827
2020-12-22 04:45:00 | 7.712 | 228.1 | 8.716 | 226.877 | 9.365 | 232.367 | 9.246 | 229.5 | -11.736 | 890.008 | 65.504 | 83.0674
2020-12-22 05:00:00 | 9.313 | 235.787 | 10.707 | 234.175 | 11.419 | 241.067 | 11.611 | 236 | -11.911 | 890.217 | 65.387 | 84.2981
2020-12-22 05:15:00 | 9.478 | 242.687 | 10.624 | 241.124 | 11.224 | 245.867 | 11.522 | 242.567 | -12.12 | 889.917 | 64.48 | 87.5972
2020-12-22 05:30:00 | 8.779 | 245.053 | 10.296 | 243.019 | 11.069 | 248.567 | 11.39 | 244.533 | -12.12 | 889.958 | 63.52 | 90.453
2020-12-22 05:45:00 | 7.815 | 243.1 | 9.242 | 242.456 | 9.882 | 247.867 | 10.104 | 244.133 | -11.89 | 890.208 | 63.168 | 90.2349
2020-12-22 06:00:00 | 7.885 | 242.88 | 9.339 | 240.807 | 9.976 | 246.067 | 10.106 | 242.167 | -12.232 | 890.342 | 62.955 | 91.7633
2020-12-22 06:15:00 | 7.883 | 239.133 | 9.164 | 237.344 | 9.942 | 241.167 | 9.908 | 236.6 | -12.386 | 889.858 | 62.763 | 92.061
2020-12-22 06:30:00 | 8.952 | 240.253 | 10.469 | 237.244 | 10.959 | 242.533 | 11.049 | 238 | -12.12 | 890.142 | 61.237 | 88.2112
2020-12-22 06:45:00 | 8.987 | 245.567 | 10.62 | 242.979 | 11.347 | 247.8 | 11.554 | 242.467 | -11.995 | 889.892 | 60.117 | 68.2378
2020-12-22 07:00:00 | 8.626 | 248.26 | 10.362 | 246.013 | 10.907 | 251.333 | 11.215 | 245.567 | -11.97 | 890.217 | 60.096 | 56.4829
2020-12-22 07:15:00 | 6.593 | 237.6 | 8.521 | 236.59 | 9.302 | 243.9 | 9.557 | 239.7 | -12.57 | 889.983 | 60.651 | 62.4233
2020-12-22 07:30:00 | 7.854 | 221.22 | 9.113 | 225.767 | 9.581 | 233.533 | 9.826 | 230.033 | -13.088 | 889.967 | 60.373 | 70.5401
2020-12-22 07:45:00 | 6.681 | 224.7 | 8.683 | 225.986 | 9.555 | 234.133 | 9.698 | 230.967 | -14.249 | 890.058 | 63.136 | 74.0595
2020-12-22 08:00:00 | 7.589 | 219.667 | 9.513 | 219.613 | 9.866 | 224.3 | 9.58 | 221.567 | -13.766 | 890.042 | 63.275 | 56.4019
2020-12-22 08:15:00 | 6.099 | 226.453 | 8.047 | 224.394 | 9.494 | 228.667 | 9.732 | 225 | -13.691 | 890.267 | 62.656 | 59.8134
2020-12-22 08:30:00 | 6.839 | 222.333 | 8.991 | 223.265 | 9.918 | 231.067 | 9.73 | 229.867 | -13.872 | 889.708 | 62.976 | 54.4436
2020-12-22 08:45:00 | 6.805 | 224.467 | 8.519 | 226.544 | 9.239 | 234.4 | 9.037 | 232.2 | -13.966 | 890.367 | 62.752 | 41.2605
2020-12-22 09:00:00 | 7.479 | 233.58 | 9.417 | 232.708 | 9.975 | 238.9 | 10.012 | 234.833 | -13.747 | 889.742 | 62.421 | 38.7707
2020-12-22 09:15:00 | 6.717 | 220.427 | 8.905 | 226.543 | 9.725 | 234.7 | 9.728 | 231.5 | -13.541 | 890.558 | 60.832 | 39.1075
2020-12-22 09:30:00 | 6.634 | 229.907 | 8.851 | 228.634 | 9.292 | 235.3 | 9.267 | 231.167 | -14.274 | 889.992 | 61.429 | 39.624
2020-12-22 09:45:00 | 5.864 | 220.54 | 7.996 | 221.71 | 9.374 | 226.8 | 9.38 | 224.533 | -14.828 | 889.467 | 61.856 | 40.8661
2020-12-22 10:00:00 | 7.195 | 227.38 | 9.997 | 227.38 | 10.525 | 234.333 | 10.163 | 230.267 | -13.914 | 889.742 | 59.744 | 45.8195
2020-12-22 10:15:00 | 7.101 | 228.867 | 9.568 | 228.75 | 9.549 | 235.733 | 9.313 | 232.867 | -13.203 | 889.733 | 56.181 | 46.3055
2020-12-22 10:30:00 | 6.011 | 225.8 | 7.855 | 227.423 | 8.568 | 236.2 | 8.56 | 233.567 | -12.703 | 890.4 | 53.28 | 38.3614
2020-12-22 10:45:00 | 5.202 | 230.413 | 6.669 | 229.651 | 7.488 | 236.6 | 7.415 | 232.8 | -11.766 | 889.9 | 51.253 | 32.9909
2020-12-22 11:00:00 | 5.217 | 241.833 | 6.749 | 237.96 | 7.579 | 244.8 | 7.662 | 240.867 | -10.366 | 889.742 | 47.125 | 21.9302
2020-12-22 11:15:00 | 5.852 | 246.367 | 6.601 | 241.662 | 7.447 | 246.1 | 7.734 | 241.2 | -8.991 | 890.125 | 43.051 | 15.5657
2020-12-22 11:30:00 | 5.073 | 252.607 | 5.535 | 249.604 | 5.785 | 253.883 | 6.172 | 248.583 | -8.384 | 889.875 | 41.224 | 13.6002
2020-12-22 11:45:00 | 4.551 | 250.393 | 4.975 | 247.385 | 5.184 | 251.8 | 5.376 | 247.733 | -7.393 | 889.783 | 38.429 | 15.2587
2020-12-22 12:00:00 | 4.802 | 258.78 | 4.854 | 254.341 | 4.91 | 259.233 | 5.048 | 256.567 | -7.356 | 889.85 | 36.365 | 21.6908
2020-12-22 12:15:00 | 5.666 | 266.827 | 5.816 | 258.398 | 5.673 | 259.267 | 5.753 | 250.667 | -7.042 | 889.883 | 34.971 | 36.2382
2020-12-22 12:30:00 | 6.639 | 281.92 | 6.793 | 276.871 | 7.476 | 281.433 | 7.676 | 277.467 | -8.06 | 890.25 | 35.08 | 45.4933
2020-12-22 12:45:00 | 7.642 | 277.58 | 8.386 | 269.707 | 8.258 | 270.167 | 8.438 | 265.583 | -7.522 | 889.383 | 33.549 | 51.1921
2020-12-22 13:00:00 | 7.973 | 281.64 | 8.679 | 276.241 | 8.794 | 278.933 | 8.849 | 277.067 | -7.629 | 889.95 | 33.299 | 48.4493
2020-12-22 13:15:00 | 7.916 | 292.08 | 8.111 | 286.846 | 8.283 | 288.533 | 8.605 | 287.2 | -8.17 | 889.867 | 34.235 | 49.0817
2020-12-22 13:30:00 | 8.304 | 298.693 | 8.644 | 292.231 | 9.047 | 295.133 | 9.443 | 294.367 | -7.95 | 889.483 | 31.928 | 47.1951
2020-12-22 13:45:00 | 8.093 | 288.653 | 8.777 | 282.743 | 8.941 | 287 | 9.206 | 286.967 | -7.926 | 889.7 | 32.267 | 44.2605
2020-12-22 14:00:00 | 8.036 | 286.933 | 8.609 | 280.482 | 8.638 | 283.4 | 8.73 | 282.067 | -7.606 | 889.467 | 31.323 | 45.4947
2020-12-22 14:15:00 | 7.159 | 291.52 | 7.673 | 287.058 | 7.823 | 290.733 | 8.15 | 287.733 | -7.776 | 889.7 | 32.717 | 40.5869
2020-12-22 14:30:00 | 7.036 | 296.253 | 7.314 | 289.595 | 7.295 | 295.833 | 7.779 | 295.167 | -7.692 | 889.583 | 32.125 | 37.7609
2020-12-22 14:45:00 | 6.661 | 313.6 | 6.676 | 306.131 | 7.091 | 311.867 | 7.254 | 307.167 | -8.09 | 889.9 | 33.371 | 39.0598
2020-12-22 15:00:00 | 7.058 | 291.467 | 7.396 | 285.73 | 7.319 | 290.2 | 7.386 | 287.033 | -7.856 | 889.8 | 33.211 | 42.0286
2020-12-22 15:15:00 | 7.231 | 297.2 | 7.521 | 288.528 | 7.567 | 291.633 | 7.953 | 288.333 | -7.622 | 889.817 | 31.613 | 43.6366
2020-12-22 15:30:00 | 6.742 | 304.4 | 7.033 | 298.167 | 7.461 | 300.5 | 7.629 | 297.6 | -7.141 | 889.683 | 30.931 | 34.012
2020-12-22 15:45:00 | 7.864 | 291.813 | 8.29 | 285.772 | 8.162 | 288.967 | 8.384 | 289.533 | -7.26 | 889.767 | 33.16 | 23.88
2020-12-22 16:00:00 | 6.335 | 316.547 | 6.627 | 311.047 | 6.768 | 315.1 | 7.033 | 310.933 | -7.21 | 889.533 | 34.84 | 29.0991
2020-12-22 16:15:00 | 6.423 | 318.267 | 6.496 | 312.03 | 6.666 | 313.233 | 6.999 | 312.3 | -7.174 | 889.867 | 35.763 | 33.9701
2020-12-22 16:30:00 | 7.089 | 320.493 | 7.241 | 315.325 | 7.443 | 318.633 | 7.512 | 316.7 | -7.147 | 889.85 | 37.051 | 40.1975
2020-12-22 16:45:00 | 7.602 | 328.2 | 7.556 | 321.078 | 7.806 | 322.067 | 7.961 | 318.1 | -7.689 | 889.717 | 40.349 | 43.2408
2020-12-22 17:00:00 | 7.121 | 330.8 | 7.509 | 323.026 | 7.66 | 325.967 | 8.085 | 324.333 | -7.706 | 889.833 | 40.893 | 53.4744
2020-12-22 17:15:00 | 6.546 | 328 | 6.837 | 320.186 | 7.322 | 322.567 | 7.708 | 321.233 | -7.506 | 889.883 | 39.792 | 57.1125
2020-12-22 17:30:00 | 8.052 | 326.16 | 8.597 | 316.588 | 8.801 | 320.133 | 9.133 | 318.7 | -7.749 | 889.758 | 40.771 | 48.7115
2020-12-22 17:45:00 | 7.74 | 321.333 | 8.25 | 313.442 | 8.304 | 316.467 | 8.559 | 313.733 | -8.874 | 890.1 | 43.813 | 48.1068
2020-12-22 18:00:00 | 8.33 | 325.4 | 8.77 | 319.336 | 9.065 | 322.7 | 9.202 | 321.533 | -8.908 | 890.192 | 44.251 | 39.0343
2020-12-22 18:15:00 | 6.491 | 313.467 | 6.938 | 306.239 | 7.123 | 308.767 | 7.454 | 302.333 | -9.274 | 890.017 | 45.301 | 50.4005
2020-12-22 18:30:00 | 5.277 | 294.48 | 5.992 | 287.043 | 6.461 | 287.5 | 6.752 | 282.133 | -9.233 | 889.658 | 46.411 | 46.0497
2020-12-22 18:45:00 | 6.626 | 282.04 | 7.603 | 276.869 | 7.849 | 279.733 | 8.078 | 278 | -9.516 | 889.958 | 46.773 | 40.5776
2020-12-22 19:00:00 | 7.111 | 281.787 | 8.217 | 276.76 | 8.629 | 279.367 | 8.946 | 275.8 | -9.799 | 889.858 | 47.035 | 38.0523
2020-12-22 19:15:00 | 6.028 | 291.2 | 7.505 | 284.055 | 7.755 | 283.767 | 8.169 | 282.633 | -10.449 | 890.058 | 48.347 | 36.4371
2020-12-22 19:30:00 | 6.583 | 276.853 | 7.64 | 272.102 | 8.118 | 274.533 | 8.446 | 270.6 | -10.616 | 889.508 | 49.68 | 33.8244
2020-12-22 19:45:00 | 6.852 | 261.52 | 8.261 | 260.205 | 8.753 | 263.7 | 8.954 | 260.233 | -10.672 | 889.992 | 49.621 | 30.6837
2020-12-22 20:00:00 | 6.151 | 256.7 | 7.536 | 254.726 | 7.82 | 259.117 | 8.084 | 254.417 | -10.947 | 889.517 | 49.787 | 35.0523
2020-12-22 20:15:00 | 5.216 | 259.867 | 6.744 | 256.596 | 7.507 | 260.833 | 7.701 | 255.983 | -11.172 | 889.85 | 49.963 | 43.9066
2020-12-22 20:30:00 | 5.511 | 247.267 | 7.077 | 247.318 | 7.653 | 254.5 | 7.878 | 250.45 | -11.857 | 889.567 | 51.349 | 57.0358
2020-12-22 20:45:00 | 5.79 | 254.267 | 7.333 | 252.434 | 7.869 | 256.5 | 8.188 | 252.4 | -11.932 | 889.942 | 51.808 | 65.5214
2020-12-22 21:00:00 | 6.008 | 254.533 | 7.295 | 254.292 | 7.912 | 258.417 | 8.045 | 253.917 | -11.974 | 889.817 | 50.464 | 71.6692
2020-12-22 21:15:00 | 6.1 | 252.993 | 7.735 | 252.455 | 8.265 | 257.233 | 8.417 | 253.517 | -12.036 | 889.758 | 49.931 | 60.5005
2020-12-22 21:30:00 | 5.886 | 256.64 | 7.027 | 254.591 | 7.467 | 260 | 7.644 | 256.8 | -11.974 | 889.75 | 49.685 | 52.4405
2020-12-22 21:45:00 | 6.187 | 253.12 | 7.282 | 253.815 | 7.602 | 259.1 | 7.747 | 256.083 | -12.636 | 890.008 | 50.853 | 57.5367
2020-12-22 22:00:00 | 6.757 | 252.273 | 7.844 | 254.61 | 8.485 | 259.4 | 8.906 | 257.4 | -13.12 | 890.167 | 52.117 | 62.2833
2020-12-22 22:15:00 | 6.786 | 252.14 | 8.086 | 253.349 | 8.7 | 258.167 | 8.931 | 255.483 | -13.372 | 890.083 | 53.381 | 60.6248
2020-12-22 22:30:00 | 7.09 | 244.967 | 8.684 | 245.122 | 9.34 | 252.8 | 9.663 | 249.133 | -13.203 | 889.867 | 53.493 | 53.252
2020-12-22 22:45:00 | 7.388 | 247.307 | 9.267 | 246.571 | 9.72 | 252.517 | 9.853 | 248.733 | -12.903 | 889.767 | 52.501 | 45.4379
2020-12-22 23:00:00 | 6.343 | 241.633 | 8.006 | 244.414 | 8.442 | 252.467 | 8.768 | 250.65 | -12.786 | 889.558 | 52.245 | 45.5836
2020-12-22 23:15:00 | 6.172 | 231.02 | 7.482 | 235.015 | 8.226 | 243 | 8.367 | 241.1 | -13.597 | 889.9 | 54.805 | 34.6856
2020-12-22 23:30:00 | 5.369 | 232.847 | 7.288 | 236.258 | 8.077 | 243.133 | 8.187 | 240.167 | -13.653 | 889.583 | 55.275 | 35.9035
2020-12-22 23:45:00 | 4.172 | 234.867 | 5.63 | 236.926 | 7.039 | 244.6 | 7.576 | 242.567 | -13.484 | 890.2 | 55.573 | 41.3052